## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5890-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5890-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5890-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5890-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5890-13_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5890-13_0_4_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_5890-13_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_5890-13_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5890-13_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_5890-13_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_5890-13_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_5890-13_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5890-13_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5890-13_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5890-13_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5890-13_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5890-13_0_4_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_5890-13_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5890-13_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_5890-13_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5890-13_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5890-13_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5890-13_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5890-13_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5890-13_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5890-13_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_5890-13_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_5890-13_0_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_5890-13_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5890-13_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5890-13_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5890-13_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5890-13_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5890-13_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5890-13_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5890-13_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5890-13_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5890-13_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5890-13_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5890-13_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5890-13_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5890-13_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5890-13_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5890-13_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5890-13_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_5890-13_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_5890-13_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_MV_263_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5890-13_0_4_load_0 | 0 | 0.055317 | 0.013864 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5890-13_0_4_load_1 | 1 | 0.020081 | 0.0050326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5890-13_0_4_load_3 | 3 | 0.022659 | 0.0056789 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5890-13_0_4_load_5 | 4 | 0.023078 | 0.0057838 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5890-13_0_4_load_40 | 5 | 0.0093034 | 0.0023317 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5890-13_0_4_load_31 | 8 | 0.0059109 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5890-13_0_4_load_42 | 10 | 0.029504 | 0.0073945 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5890-13_0_4_load_6 | 11 | 0.018083 | 0.0045321 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5890-13_0_4_load_10 | 15 | 0.0032162 | 0.00080606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5890-13_0_4_load_39 | 16 | 0.0062661 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5890-13_0_4_load_22 | 17 | 0.0038607 | 0.00096759 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5890-13_0_4_load_37 | 18 | 0.0037156 | 0.00093122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5890-13_0_4_load_11 | 20 | 0.013171 | 0.003301 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5890-13_0_4_load_12 | 21 | 0.016247 | 0.0040718 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5890-13_0_4_load_14 | 23 | 0.016191 | 0.0040579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5890-13_0_4_load_15 | 24 | 0.028377 | 0.0071118 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5890-13_0_4_load_26 | 25 | 0.019787 | 0.004959 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5890-13_0_4_load_48 | 26 | 0.015508 | 0.0038867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5890-13_0_4_load_47 | 27 | 0.0074962 | 0.0018787 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5890-13_0_4_load_16 | 28 | 0.0093456 | 0.0023422 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5890-13_0_4_load_17 | 29 | 0.03893 | 0.0097568 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5890-13_0_4_load_20 | 31 | 0.0075514 | 0.0018926 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5890-13_0_4_load_21 | 32 | 0.0031037 | 0.00077786 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5890-13_0_4_load_33 | 33 | 0.015879 | 0.0039797 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5890-13_0_4_load_34 | 34 | 0.0027412 | 0.00068701 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5890-13_0_4_load_24 | 35 | 0.006608 | 0.0016561 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5890-13_0_4_load_30 | 36 | 0.0050448 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5890-13_0_4_load_25 | 37 | 0.014091 | 0.0035316 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5890-13_0_4_load_27 | 38 | 0.0066576 | 0.0016686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5890-13_0_4_load_28 | 39 | 0.0034065 | 0.00085374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5890-13_0_4_load_32 | 40 | 0.0077705 | 0.0019475 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5890-13_0_4_load_36 | 41 | 0.011566 | 0.0028987 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5890-13_0_4_load_38 | 42 | 0.0044523 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5890-13_0_4_load_41 | 43 | 0.027596 | 0.0069162 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5890-13_0_4_load_49 | 45 | 0.021129 | 0.0052954 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5890-13_0_4_load_46 | 46 | 0.0062731 | 0.0015722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5890-13_0_4_line_0 |  | 0 | 1 | 0.0043268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5890-13_0_4_line_1 |  | 0 | 2 | 0.02564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5890-13_0_4_line_2 |  | 1 | 3 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5890-13_0_4_line_3 |  | 2 | 4 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5890-13_0_4_line_4 |  | 3 | 5 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5890-13_0_4_line_5 |  | 4 | 6 | 0.052318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5890-13_0_4_line_6 |  | 5 | 7 | 0.0098117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5890-13_0_4_line_7 |  | 6 | 10 | 0.047421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5890-13_0_4_line_8 |  | 7 | 25 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5890-13_0_4_line_9 |  | 7 | 29 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5890-13_0_4_line_10 |  | 8 | 9 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5890-13_0_4_line_11 |  | 9 | 40 | 0.061466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5890-13_0_4_line_12 |  | 9 | 38 | 0.02189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5890-13_0_4_line_13 |  | 10 | 43 | 0.02305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5890-13_0_4_line_14 |  | 11 | 12 | 0.043952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5890-13_0_4_line_15 |  | 11 | 13 | 0.042646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5890-13_0_4_line_16 |  | 12 | 14 | 0.050707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5890-13_0_4_line_17 |  | 13 | 15 | 0.05847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5890-13_0_4_line_18 |  | 14 | 16 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5890-13_0_4_line_19 |  | 15 | 17 | 0.0039821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5890-13_0_4_line_20 |  | 16 | 18 | 0.022309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5890-13_0_4_line_21 |  | 17 | 19 | 0.013703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5890-13_0_4_line_22 |  | 18 | 42 | 0.001724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5890-13_0_4_line_23 |  | 19 | 35 | 0.0080987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5890-13_0_4_line_24 |  | 19 | 37 | 0.04629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5890-13_0_4_line_25 |  | 20 | 21 | 0.037432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5890-13_0_4_line_26 |  | 20 | 22 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5890-13_0_4_line_27 |  | 21 | 23 | 0.0090003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5890-13_0_4_line_28 |  | 22 | 24 | 0.027357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5890-13_0_4_line_29 |  | 23 | 25 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5890-13_0_4_line_30 |  | 24 | 26 | 0.0033842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5890-13_0_4_line_31 |  | 26 | 27 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5890-13_0_4_line_32 |  | 27 | 46 | 0.012366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5890-13_0_4_line_33 |  | 28 | 29 | 0.035666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5890-13_0_4_line_34 |  | 28 | 30 | 0.039295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5890-13_0_4_line_35 |  | 30 | 31 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5890-13_0_4_line_36 |  | 30 | 32 | 0.0044676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5890-13_0_4_line_37 |  | 31 | 33 | 0.0029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5890-13_0_4_line_38 |  | 32 | 34 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5890-13_0_4_line_39 |  | 33 | 35 | 0.021681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5890-13_0_4_line_40 |  | 34 | 36 | 0.0045359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5890-13_0_4_line_41 |  | 36 | 39 | 0.010532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5890-13_0_4_line_42 |  | 38 | 39 | 0.021092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5890-13_0_4_line_43 |  | 41 | 42 | 0.029987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5890-13_0_4_line_44 |  | 44 | 45 | 0.020516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5890-13_0_4_line_45 |  | 44 | 46 | 0.035524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5890-13_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 47 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2553747.1891 | 1146222.4575 | 2553748.587 | 1146218.3628
1 | 2553738.9032 | 1146246.7216 | 2553741.0668 | 1146240.3906 | 2553747.1891 | 1146222.4575
2 | 2553754.2005 | 1146201.9203 | 2553748.587 | 1146218.3628
3 | 2553738.9032 | 1146246.7216 | 2553746.574 | 1146251.2983 | 2553751.1429 | 1146254.0292
4 | 2553758.8789 | 1146188.2163 | 2553754.2005 | 1146201.9203
5 | 2553796.1314 | 1146280.7327 | 2553789.8892 | 1146277.1121 | 2553786.147 | 1146274.9509 | 2553751.1429 | 1146254.0292
6 | 2553762.049 | 1146178.9309 | 2553758.8789 | 1146188.2163
7 | 2553796.1314 | 1146280.7327 | 2553829.5641 | 1146247.1017
8 | 2553762.049 | 1146178.9309 | 2553766.3661 | 1146165.8112
9 | 2553762.049 | 1146178.9309 | 2553755.168 | 1146173.1808 | 2553748.676 | 1146168.4144
10 | 2553665.0728 | 1146199.5543 | 2553679.5286 | 1146208.4106
11 | 2553665.0728 | 1146199.5543 | 2553646.204 | 1146189.2499 | 2553612.6104 | 1146167.597
12 | 2553665.0728 | 1146199.5543 | 2553671.2116 | 1146178.5425
13 | 2553845.8157 | 1146230.7555 | 2553836.768 | 1146239.8552 | 2553829.5641 | 1146247.1017
14 | 2553645.8692 | 1145975.4198 | 2553687.2491 | 1145990.2335
15 | 2553727.3996 | 1146004.6072 | 2553687.2491 | 1145990.2335
16 | 2553633.7885 | 1146024.6383 | 2553643.835 | 1145986.5856 | 2553644.3539 | 1145984.1359 | 2553645.8692 | 1145975.4198
17 | 2553727.3996 | 1146004.6072 | 2553715.3921 | 1146037.4499 | 2553708.1169 | 1146059.7963
18 | 2553633.7885 | 1146024.6383 | 2553627.4079 | 1146043.861
19 | 2553706.8842 | 1146063.5828 | 2553708.1169 | 1146059.7963
20 | 2553620.1535 | 1146064.9534 | 2553622.2571 | 1146059.3785 | 2553627.4079 | 1146043.861
21 | 2553702.6421 | 1146076.6127 | 2553706.8842 | 1146063.5828
22 | 2553620.1535 | 1146064.9534 | 2553619.5449 | 1146066.5664
23 | 2553702.6421 | 1146076.6127 | 2553701.0286 | 1146081.561 | 2553700.1959 | 1146084.3325
24 | 2553702.6421 | 1146076.6127 | 2553725.863 | 1146084.4269 | 2553733.1913 | 1146090.3959 | 2553744.9341 | 1146094.1808
25 | 2553784.0666 | 1146112.0194 | 2553772.3665 | 1146147.576
26 | 2553787.2254 | 1146102.4201 | 2553784.0666 | 1146112.0194
27 | 2553772.3665 | 1146147.576 | 2553769.5533 | 1146156.1253
28 | 2553787.2254 | 1146102.4201 | 2553794.358 | 1146106.9343 | 2553808.978 | 1146118.9373
29 | 2553766.3661 | 1146165.8112 | 2553769.5533 | 1146156.1253
30 | 2553811.5936 | 1146121.0847 | 2553808.978 | 1146118.9373
31 | 2553811.5936 | 1146121.0847 | 2553831.6107 | 1146137.5186
32 | 2553841.1685 | 1146145.3655 | 2553831.6107 | 1146137.5186
33 | 2553748.676 | 1146168.4144 | 2553719.9267 | 1146147.3073
34 | 2553687.4327 | 1146125.5661 | 2553693.3109 | 1146127.7665 | 2553719.9267 | 1146147.3073
35 | 2553687.4327 | 1146125.5661 | 2553691.9959 | 1146111.6238 | 2553693.1085 | 1146107.9209
36 | 2553687.4327 | 1146125.5661 | 2553686.0874 | 1146129.8264
37 | 2553693.1085 | 1146107.9209 | 2553693.9571 | 1146105.0964
38 | 2553686.0874 | 1146129.8264 | 2553681.6365 | 1146143.9204
39 | 2553700.1959 | 1146084.3325 | 2553693.9571 | 1146105.0964
40 | 2553680.2705 | 1146148.2458 | 2553681.6365 | 1146143.9204
41 | 2553677.0989 | 1146158.2891 | 2553680.2705 | 1146148.2458
42 | 2553677.0989 | 1146158.2891 | 2553676.7694 | 1146159.3323 | 2553671.3521 | 1146178.0615 | 2553671.2116 | 1146178.5425
43 | 2553607.6151 | 1146093.9977 | 2553612.4632 | 1146085.334 | 2553619.5449 | 1146066.5664
44 | 2553868.6248 | 1146167.907 | 2553855.6496 | 1146183.8258
45 | 2553868.6248 | 1146167.907 | 2553841.1685 | 1146145.3655

## bus_geodata
| x | y | coords
0 | 2553747.1891 | 1146222.4575
1 | 2553748.587 | 1146218.3628
2 | 2553738.9032 | 1146246.7216
3 | 2553754.2005 | 1146201.9203
4 | 2553751.1429 | 1146254.0292
5 | 2553758.8789 | 1146188.2163
6 | 2553796.1314 | 1146280.7327
7 | 2553762.049 | 1146178.9309
8 | 2553679.5286 | 1146208.4106
9 | 2553665.0728 | 1146199.5543
10 | 2553829.5641 | 1146247.1017
11 | 2553687.2491 | 1145990.2335
12 | 2553645.8692 | 1145975.4198
13 | 2553727.3996 | 1146004.6072
14 | 2553633.7885 | 1146024.6383
15 | 2553708.1169 | 1146059.7963
16 | 2553627.4079 | 1146043.861
17 | 2553706.8842 | 1146063.5828
18 | 2553620.1535 | 1146064.9534
19 | 2553702.6421 | 1146076.6127
20 | 2553784.0666 | 1146112.0194
21 | 2553772.3665 | 1146147.576
22 | 2553787.2254 | 1146102.4201
23 | 2553769.5533 | 1146156.1253
24 | 2553808.978 | 1146118.9373
25 | 2553766.3661 | 1146165.8112
26 | 2553811.5936 | 1146121.0847
27 | 2553831.6107 | 1146137.5186
28 | 2553719.9267 | 1146147.3073
29 | 2553748.676 | 1146168.4144
30 | 2553687.4327 | 1146125.5661
31 | 2553693.1085 | 1146107.9209
32 | 2553686.0874 | 1146129.8264
33 | 2553693.9571 | 1146105.0964
34 | 2553681.6365 | 1146143.9204
35 | 2553700.1959 | 1146084.3325
36 | 2553680.2705 | 1146148.2458
37 | 2553744.9341 | 1146094.1808
38 | 2553671.2116 | 1146178.5425
39 | 2553677.0989 | 1146158.2891
40 | 2553612.6104 | 1146167.597
41 | 2553607.6151 | 1146093.9977
42 | 2553619.5449 | 1146066.5664
43 | 2553845.8157 | 1146230.7555
44 | 2553868.6248 | 1146167.907
45 | 2553855.6496 | 1146183.8258
46 | 2553841.1685 | 1146145.3655
47 | 2553762.049 | 1146178.9309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99516 | -0.092715 | 0.055317 | 0.013864
1 | 0.9957 | -0.082403 | 0.020081 | 0.0050326
2 | 0.99327 | -0.12897 | 0 | 0
3 | 0.99693 | -0.058671 | 0.022659 | 0.0056789
4 | 0.99222 | -0.14918 | 0.023078 | 0.0057838
5 | 0.99772 | -0.043595 | 0.0093034 | 0.0023317
6 | 0.98948 | -0.20222 | 0 | 0
7 | 0.99828 | -0.032861 | 0 | 0
8 | 0.98905 | -0.20979 | 0.0059109 | 0.0014814
9 | 0.98914 | -0.208 | 0 | 0
10 | 0.98699 | -0.25054 | 0.029504 | 0.0073945
11 | 0.98199 | -0.3467 | 0.018083 | 0.0045321
12 | 0.98093 | -0.36738 | 0 | 0
13 | 0.98373 | -0.31278 | 0 | 0
14 | 0.97971 | -0.3913 | 0 | 0
15 | 0.98611 | -0.26646 | 0.0032162 | 0.00080606
16 | 0.97922 | -0.40087 | 0.0062661 | 0.0015704
17 | 0.98629 | -0.26308 | 0.0038607 | 0.00096759
18 | 0.97881 | -0.40887 | 0.0037156 | 0.00093122
19 | 0.98693 | -0.25053 | 0 | 0
20 | 0.99216 | -0.15042 | 0.013171 | 0.003301
21 | 0.99531 | -0.089662 | 0.016247 | 0.0040718
22 | 0.99143 | -0.16452 | 0 | 0
23 | 0.99621 | -0.072543 | 0.016191 | 0.0040579
24 | 0.98945 | -0.20282 | 0.028377 | 0.0071118
25 | 0.99737 | -0.050292 | 0.019787 | 0.004959
26 | 0.98929 | -0.20586 | 0.015508 | 0.0038867
27 | 0.98846 | -0.22197 | 0.0074962 | 0.0018787
28 | 0.99543 | -0.086985 | 0.0093456 | 0.0023422
29 | 1 | 0 | -0.4768 | -0.12069
30 | 0.99073 | -0.17723 | 0 | 0
31 | 0.9891 | -0.20865 | 0.0075514 | 0.0018926
32 | 0.99059 | -0.17998 | 0.0031037 | 0.00077786
33 | 0.98886 | -0.21326 | 0.015879 | 0.0039797
34 | 0.99016 | -0.18826 | 0.0027412 | 0.00068701
35 | 0.98742 | -0.24108 | 0.006608 | 0.0016561
36 | 0.99004 | -0.19058 | 0.0050448 | 0.0012644
37 | 0.98634 | -0.26221 | 0.014091 | 0.0035316
38 | 0.98942 | -0.20267 | 0.0066576 | 0.0016686
39 | 0.98981 | -0.19503 | 0.0034065 | 0.00085374
40 | 0.9887 | -0.21652 | 0.0077705 | 0.0019475
41 | 0.97846 | -0.41569 | 0.011566 | 0.0028987
42 | 0.97879 | -0.40938 | 0.0044523 | 0.0011159
43 | 0.9864 | -0.26193 | 0.027596 | 0.0069162
44 | 0.98746 | -0.24142 | 0 | 0
45 | 0.98707 | -0.24918 | 0.021129 | 0.0052954
46 | 0.98815 | -0.22802 | 0.0062731 | 0.0015722
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13601 | -0.034283 | 0.13607 | 0.034326 | 6.7149e-05 | 4.2919e-05 | 0.20343 | 0.20343 | 0.20343 | 0.99516 | -0.092715 | 0.9957 | -0.082403 | 55.8881
1 | 0.080688 | 0.020419 | -0.080548 | -0.02033 | 0.00014012 | 8.9344e-05 | 0.12072 | 0.12072 | 0.12072 | 0.99516 | -0.092715 | 0.99327 | -0.12897 | 33.1647
2 | -0.15615 | -0.039358 | 0.15633 | 0.039472 | 0.00017753 | 0.00011317 | 0.23344 | 0.23344 | 0.23344 | 0.9957 | -0.082403 | 0.99693 | -0.058671 | 32.0662
3 | 0.080548 | 0.02033 | -0.08047 | -0.02028 | 7.7904e-05 | 4.9674e-05 | 0.12072 | 0.12072 | 0.12072 | 0.99327 | -0.12897 | 0.99222 | -0.14918 | 33.1647
4 | -0.17899 | -0.04515 | 0.17912 | 0.045233 | 0.00012929 | 8.218e-05 | 0.26726 | 0.26726 | 0.26726 | 0.99693 | -0.058671 | 0.99772 | -0.043595 | 24.4746
5 | 0.057393 | 0.014496 | -0.057247 | -0.014404 | 0.00014548 | 9.2431e-05 | 0.086111 | 0.086111 | 0.086111 | 0.99222 | -0.14918 | 0.98948 | -0.20222 | 23.6568
6 | -0.18842 | -0.047564 | 0.18852 | 0.047626 | 9.6937e-05 | 6.1655e-05 | 0.28114 | 0.28114 | 0.28114 | 0.99772 | -0.043595 | 0.99828 | -0.032861 | 25.7452
7 | 0.057247 | 0.014404 | -0.057116 | -0.01432 | 0.00013186 | 8.3785e-05 | 0.086111 | 0.086111 | 0.086111 | 0.98948 | -0.20222 | 0.98699 | -0.25054 | 23.6569
8 | 0.14505 | 0.036691 | -0.14493 | -0.036613 | 0.0001212 | 7.7204e-05 | 0.21633 | 0.21633 | 0.21633 | 0.99828 | -0.032861 | 0.99737 | -0.050292 | 29.7157
9 | -0.33357 | -0.084317 | 0.3341 | 0.084653 | 0.00052653 | 0.00033631 | 0.49747 | 0.49747 | 0.49747 | 0.99828 | -0.032861 | 1 | 0 | 45.5556
10 | -0.0059109 | -0.0014814 | 0.0059114 | 0.0014815 | 5.0276e-07 | 1.0418e-07 | 0.0088929 | 0.0088928 | 0.0088929 | 0.98905 | -0.20979 | 0.98914 | -0.208 | 2.4431
11 | 0.0077737 | 0.0019487 | -0.0077705 | -0.0019475 | 3.1524e-06 | 1.2289e-06 | 0.011695 | 0.011695 | 0.011695 | 0.98914 | -0.208 | 0.9887 | -0.21652 | 3.2129
12 | -0.013685 | -0.0034302 | 0.013689 | 0.0034322 | 3.4792e-06 | 1.9456e-06 | 0.020587 | 0.020587 | 0.020587 | 0.98914 | -0.208 | 0.98942 | -0.20267 | 5.6559
13 | 0.027611 | 0.0069255 | -0.027596 | -0.0069162 | 1.498e-05 | 9.2927e-06 | 0.041629 | 0.041629 | 0.041629 | 0.98699 | -0.25054 | 0.9864 | -0.26193 | 11.4367
14 | 0.026079 | 0.0065645 | -0.026053 | -0.0065486 | 2.5752e-05 | 1.5926e-05 | 0.039528 | 0.039528 | 0.039528 | 0.98199 | -0.3467 | 0.98093 | -0.36738 | 10.8594
15 | -0.044162 | -0.011097 | 0.044234 | 0.011142 | 7.1638e-05 | 4.5308e-05 | 0.06693 | 0.066929 | 0.06693 | 0.98199 | -0.3467 | 0.98373 | -0.31278 | 18.3873
16 | 0.026053 | 0.0065486 | -0.026023 | -0.0065302 | 2.9711e-05 | 1.8376e-05 | 0.039528 | 0.039528 | 0.039528 | 0.98093 | -0.36738 | 0.97971 | -0.3913 | 10.8594
17 | -0.044234 | -0.011142 | 0.044332 | 0.011204 | 9.8219e-05 | 6.2116e-05 | 0.066929 | 0.066929 | 0.066929 | 0.98373 | -0.31278 | 0.98611 | -0.26646 | 18.3872
18 | 0.026023 | 0.0065302 | -0.026012 | -0.0065229 | 1.1867e-05 | 7.3403e-06 | 0.039528 | 0.039528 | 0.039528 | 0.97971 | -0.3913 | 0.97922 | -0.40087 | 10.8594
19 | -0.047548 | -0.01201 | 0.047556 | 0.012015 | 7.6945e-06 | 4.8737e-06 | 0.071782 | 0.071782 | 0.071782 | 0.98611 | -0.26646 | 0.98629 | -0.26308 | 19.7204
20 | 0.019745 | 0.0049524 | -0.019738 | -0.0049479 | 7.5324e-06 | 4.5402e-06 | 0.030006 | 0.030007 | 0.030007 | 0.97922 | -0.40087 | 0.97881 | -0.40887 | 8.2435
21 | -0.051417 | -0.012983 | 0.051448 | 0.013002 | 3.0949e-05 | 1.9632e-05 | 0.077607 | 0.077607 | 0.077607 | 0.98629 | -0.26308 | 0.98693 | -0.25053 | 21.3206
22 | 0.016022 | 0.0040167 | -0.016022 | -0.0040165 | 3.8356e-07 | 2.2381e-07 | 0.024358 | 0.024358 | 0.024358 | 0.97881 | -0.40887 | 0.97879 | -0.40938 | 6.6917
23 | -0.065547 | -0.016538 | 0.065576 | 0.016557 | 2.9685e-05 | 1.8895e-05 | 0.098865 | 0.098865 | 0.098865 | 0.98693 | -0.25053 | 0.98742 | -0.24108 | 27.1607
24 | 0.014099 | 0.003536 | -0.014091 | -0.0035316 | 7.8445e-06 | 4.4293e-06 | 0.021258 | 0.021258 | 0.021258 | 0.98693 | -0.25053 | 0.98634 | -0.26221 | 5.8402
25 | -0.092215 | -0.023211 | 0.092484 | 0.023383 | 0.00026863 | 0.00017144 | 0.13834 | 0.13834 | 0.13834 | 0.99216 | -0.15042 | 0.99531 | -0.089662 | 38.0047
26 | 0.079044 | 0.01991 | -0.07899 | -0.019876 | 5.3289e-05 | 3.3975e-05 | 0.11858 | 0.11858 | 0.11858 | 0.99216 | -0.15042 | 0.99143 | -0.16452 | 32.5778
27 | -0.10873 | -0.027454 | 0.10882 | 0.027511 | 8.9262e-05 | 5.7011e-05 | 0.16263 | 0.16263 | 0.16263 | 0.99531 | -0.089662 | 0.99621 | -0.072543 | 44.6775
28 | 0.07899 | 0.019876 | -0.078846 | -0.019784 | 0.00014426 | 9.1975e-05 | 0.11858 | 0.11858 | 0.11858 | 0.99143 | -0.16452 | 0.98945 | -0.20282 | 32.5779
29 | -0.12501 | -0.031569 | 0.12514 | 0.031654 | 0.00013344 | 8.5271e-05 | 0.18681 | 0.18681 | 0.18681 | 0.99621 | -0.072543 | 0.99737 | -0.050292 | 51.3215
30 | 0.05047 | 0.012672 | -0.050462 | -0.012668 | 7.3124e-06 | 4.6365e-06 | 0.075908 | 0.075908 | 0.075908 | 0.98945 | -0.20282 | 0.98929 | -0.20586 | 20.854
31 | 0.034954 | 0.008781 | -0.034927 | -0.0087641 | 2.6853e-05 | 1.6854e-05 | 0.052582 | 0.052583 | 0.052583 | 0.98929 | -0.20586 | 0.98846 | -0.22197 | 14.4458
32 | 0.027431 | 0.0068854 | -0.027423 | -0.0068805 | 7.9092e-06 | 4.9034e-06 | 0.041298 | 0.041298 | 0.041298 | 0.98846 | -0.22197 | 0.98815 | -0.22802 | 11.3456
33 | -0.14046 | -0.03566 | 0.14105 | 0.036037 | 0.00059056 | 0.0003775 | 0.21013 | 0.21013 | 0.21013 | 0.99543 | -0.086985 | 1 | 0 | 57.7288
34 | 0.13112 | 0.033318 | -0.13055 | -0.032955 | 0.00056703 | 0.00036239 | 0.19616 | 0.19616 | 0.19616 | 0.99543 | -0.086985 | 0.99073 | -0.17723 | 53.8908
35 | 0.095875 | 0.024251 | -0.095731 | -0.024159 | 0.0001443 | 9.2111e-05 | 0.14408 | 0.14408 | 0.14408 | 0.99073 | -0.17723 | 0.9891 | -0.20865 | 39.5819
36 | 0.034675 | 0.0087039 | -0.03467 | -0.008701 | 4.5449e-06 | 2.8512e-06 | 0.052085 | 0.052085 | 0.052085 | 0.99073 | -0.17723 | 0.99059 | -0.17998 | 14.309
37 | 0.088179 | 0.022267 | -0.08816 | -0.022254 | 1.948e-05 | 1.243e-05 | 0.13272 | 0.13272 | 0.13272 | 0.9891 | -0.20865 | 0.98886 | -0.21326 | 36.4609
38 | 0.031567 | 0.0079232 | -0.031554 | -0.0079154 | 1.2465e-05 | 7.7872e-06 | 0.047422 | 0.047423 | 0.047423 | 0.99059 | -0.17998 | 0.99016 | -0.18826 | 13.0282
39 | 0.072281 | 0.018275 | -0.072184 | -0.018213 | 9.6283e-05 | 6.1343e-05 | 0.10882 | 0.10882 | 0.10882 | 0.98886 | -0.21326 | 0.98742 | -0.24108 | 29.8965
40 | 0.028813 | 0.0072284 | -0.02881 | -0.0072264 | 3.1896e-06 | 1.983e-06 | 0.043303 | 0.043303 | 0.043303 | 0.99016 | -0.18826 | 0.99004 | -0.19058 | 11.8964
41 | 0.023765 | 0.005962 | -0.02376 | -0.0059589 | 5.0395e-06 | 3.0899e-06 | 0.035721 | 0.035721 | 0.035721 | 0.99004 | -0.19058 | 0.98981 | -0.19503 | 9.8134
42 | -0.020346 | -0.0051007 | 0.020354 | 0.0051052 | 7.406e-06 | 4.4689e-06 | 0.0306 | 0.0306 | 0.0306 | 0.98942 | -0.20267 | 0.98981 | -0.19503 | 8.4065
43 | -0.011566 | -0.0028987 | 0.01157 | 0.0029006 | 3.4791e-06 | 1.8498e-06 | 0.017589 | 0.017589 | 0.017589 | 0.97846 | -0.41569 | 0.97879 | -0.40938 | 4.8323
44 | 0.021137 | 0.0053001 | -0.021129 | -0.0052954 | 7.8054e-06 | 4.7331e-06 | 0.031852 | 0.031852 | 0.031852 | 0.98746 | -0.24142 | 0.98707 | -0.24918 | 8.7505
45 | -0.021137 | -0.0053001 | 0.02115 | 0.0053083 | 1.3515e-05 | 8.1949e-06 | 0.031852 | 0.031852 | 0.031852 | 0.98746 | -0.24142 | 0.98815 | -0.22802 | 8.7505

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51573 | 0.13045

## res_load
| p_mw | q_mvar
0 | 0.055317 | 0.013864
1 | 0.020081 | 0.0050326
2 | 0.022659 | 0.0056789
3 | 0.023078 | 0.0057838
4 | 0.0093034 | 0.0023317
5 | 0.0059109 | 0.0014814
6 | 0.029504 | 0.0073945
7 | 0.018083 | 0.0045321
8 | 0.0032162 | 0.00080606
9 | 0.0062661 | 0.0015704
10 | 0.0038607 | 0.00096759
11 | 0.0037156 | 0.00093122
12 | 0.013171 | 0.003301
13 | 0.016247 | 0.0040718
14 | 0.016191 | 0.0040579
15 | 0.028377 | 0.0071118
16 | 0.019787 | 0.004959
17 | 0.015508 | 0.0038867
18 | 0.0074962 | 0.0018787
19 | 0.0093456 | 0.0023422
20 | 0.03893 | 0.0097568
21 | 0.0075514 | 0.0018926
22 | 0.0031037 | 0.00077786
23 | 0.015879 | 0.0039797
24 | 0.0027412 | 0.00068701
25 | 0.006608 | 0.0016561
26 | 0.0050448 | 0.0012644
27 | 0.014091 | 0.0035316
28 | 0.0066576 | 0.0016686
29 | 0.0034065 | 0.00085374
30 | 0.0077705 | 0.0019475
31 | 0.011566 | 0.0028987
32 | 0.0044523 | 0.0011159
33 | 0.027596 | 0.0069162
34 | 0.021129 | 0.0052954
35 | 0.0062731 | 0.0015722

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1