## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5890-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5890-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5890-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5890-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5890-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5890-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5890-18_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5890-18_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_5890-18_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_5890-18_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5890-18_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5890-18_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5890-18_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_5890-18_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_5890-18_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5890-18_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5890-18_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5890-18_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5890-18_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5890-18_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_5890-18_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5890-18_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5890-18_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_5890-18_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5890-18_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5890-18_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5890-18_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_5890-18_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5890-18_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5890-18_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5890-18_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_5890-18_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5890-18_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5890-18_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5890-18_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_5890-18_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5890-18_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5890-18_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_5890-18_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_MV_263_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5890-18_0_4_load_0 | 0 | 0.0059511 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5890-18_0_4_load_1 | 1 | 0.0051462 | 0.0012898 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5890-18_0_4_load_3 | 3 | 0.022211 | 0.0055666 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5890-18_0_4_load_4 | 4 | 0.0063264 | 0.0015855 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5890-18_0_4_load_5 | 5 | 0.0025855 | 0.00064798 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5890-18_0_4_load_6 | 6 | 0.0087313 | 0.0021883 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5890-18_0_4_load_33 | 7 | 0.0047885 | 0.0012001 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5890-18_0_4_load_18 | 8 | 0.037162 | 0.0093136 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5890-18_0_4_load_7 | 9 | 0.002141 | 0.00053659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5890-18_0_4_load_17 | 10 | 0.0089158 | 0.0022345 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5890-18_0_4_load_8 | 11 | 0.0029696 | 0.00074426 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5890-18_0_4_load_27 | 12 | 0.0030237 | 0.0007578 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5890-18_0_4_load_25 | 13 | 0.0022017 | 0.00055179 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5890-18_0_4_load_9 | 14 | 0.03089 | 0.0077419 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5890-18_0_4_load_10 | 15 | 0.031262 | 0.0078349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5890-18_0_4_load_12 | 16 | 0.022619 | 0.0056689 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5890-18_0_4_load_13 | 18 | 0.029245 | 0.0073296 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5890-18_0_4_load_22 | 19 | 0.027031 | 0.0067745 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5890-18_0_4_load_15 | 20 | 0.007398 | 0.0018541 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5890-18_0_4_load_21 | 22 | 0.012598 | 0.0031573 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5890-18_0_4_load_39 | 24 | 0.013375 | 0.0033521 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5890-18_0_4_load_28 | 25 | 0.01053 | 0.002639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5890-18_0_4_load_24 | 26 | 0.0044317 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5890-18_0_4_load_19 | 27 | 0.0015878 | 0.00039795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5890-18_0_4_load_23 | 29 | 0.0083515 | 0.0020931 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5890-18_0_4_load_30 | 30 | 0.0046796 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5890-18_0_4_load_29 | 31 | 0.0078859 | 0.0019764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5890-18_0_4_load_32 | 33 | 0.013678 | 0.003428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5890-18_0_4_load_35 | 34 | 0.0079092 | 0.0019822 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5890-18_0_4_load_36 | 35 | 0.0056059 | 0.001405 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5890-18_0_4_load_34 | 36 | 0.010443 | 0.0026174 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5890-18_0_4_load_38 | 38 | 0.0053529 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5890-18_0_4_line_0 |  | 0 | 1 | 0.014395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5890-18_0_4_line_1 |  | 0 | 2 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5890-18_0_4_line_2 |  | 1 | 3 | 0.0022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5890-18_0_4_line_3 |  | 2 | 4 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5890-18_0_4_line_4 |  | 2 | 5 | 0.018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5890-18_0_4_line_5 |  | 3 | 6 | 0.0055189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5890-18_0_4_line_6 |  | 4 | 7 | 0.0038199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5890-18_0_4_line_7 |  | 5 | 8 | 0.03638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5890-18_0_4_line_8 |  | 6 | 9 | 0.0060654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5890-18_0_4_line_9 |  | 8 | 10 | 0.023172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5890-18_0_4_line_10 |  | 9 | 11 | 0.0004865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5890-18_0_4_line_11 |  | 10 | 27 | 0.015809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5890-18_0_4_line_12 |  | 11 | 12 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5890-18_0_4_line_13 |  | 12 | 13 | 0.0091962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5890-18_0_4_line_14 |  | 13 | 29 | 0.0072424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5890-18_0_4_line_15 |  | 14 | 15 | 0.022901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5890-18_0_4_line_16 |  | 15 | 16 | 0.019853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5890-18_0_4_line_17 |  | 16 | 17 | 0.0075926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5890-18_0_4_line_18 |  | 17 | 20 | 0.0080297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5890-18_0_4_line_19 |  | 17 | 21 | 0.054904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5890-18_0_4_line_20 |  | 18 | 19 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5890-18_0_4_line_21 |  | 19 | 22 | 0.031075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5890-18_0_4_line_22 |  | 20 | 23 | 0.017544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5890-18_0_4_line_23 |  | 21 | 24 | 0.006443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5890-18_0_4_line_24 |  | 22 | 28 | 0.029128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5890-18_0_4_line_25 |  | 23 | 25 | 0.016409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5890-18_0_4_line_26 |  | 23 | 26 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5890-18_0_4_line_27 |  | 25 | 30 | 0.0094653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5890-18_0_4_line_28 |  | 26 | 29 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5890-18_0_4_line_29 |  | 27 | 28 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5890-18_0_4_line_30 |  | 30 | 31 | 0.013609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5890-18_0_4_line_31 |  | 31 | 32 | 0.028387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5890-18_0_4_line_32 |  | 32 | 33 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5890-18_0_4_line_33 |  | 33 | 34 | 0.020273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5890-18_0_4_line_34 |  | 34 | 35 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5890-18_0_4_line_35 |  | 35 | 38 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5890-18_0_4_line_36 |  | 36 | 37 | 0.015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5890-18_0_4_line_37 |  | 37 | 38 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5890-18_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 39 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2553923.0962 | 1145661.9432 | 2553934.7409 | 1145653.4799
1 | 2553911.0573 | 1145670.6361 | 2553918.8503 | 1145665.029 | 2553923.0962 | 1145661.9432
2 | 2553934.7409 | 1145653.4799 | 2553936.5441 | 1145652.1694
3 | 2553911.0573 | 1145670.6361 | 2553920.925 | 1145683.0254
4 | 2553911.0573 | 1145670.6361 | 2553900.6042 | 1145654.8988
5 | 2553941.0084 | 1145648.9247 | 2553936.5441 | 1145652.1694
6 | 2553920.925 | 1145683.0254 | 2553923.3049 | 1145686.0135
7 | 2553880.4751 | 1145624.5945 | 2553900.6042 | 1145654.8988
8 | 2553941.0084 | 1145648.9247 | 2553945.9149 | 1145645.3588
9 | 2553880.4751 | 1145624.5945 | 2553867.6543 | 1145605.2927
10 | 2553946.3084 | 1145645.0728 | 2553945.9149 | 1145645.3588
11 | 2553858.9075 | 1145592.1243 | 2553867.6543 | 1145605.2927
12 | 2553955.3776 | 1145638.4813 | 2553946.3084 | 1145645.0728
13 | 2553955.3776 | 1145638.4813 | 2553962.8166 | 1145633.0747
14 | 2553962.8166 | 1145633.0747 | 2553968.6752 | 1145628.8168
15 | 2553946.7238 | 1145549.3788 | 2553958.9506 | 1145568.7429
16 | 2553958.9506 | 1145568.7429 | 2553969.5502 | 1145585.53
17 | 2553973.6039 | 1145591.95 | 2553969.5502 | 1145585.53
18 | 2553973.6039 | 1145591.95 | 2553978.5322 | 1145598.2894
19 | 2553973.6007 | 1145541.3461 | 2553972.7571 | 1145557.5943 | 2553974.4981 | 1145565.2515 | 2553978.2331 | 1145571.4373 | 2553979.8247 | 1145577.6394 | 2553980.156 | 1145585.7967 | 2553973.6039 | 1145591.95
20 | 2553895.6118 | 1145540.6924 | 2553905.1871 | 1145534.2217 | 2553913.109 | 1145528.5388
21 | 2553869.079 | 1145556.8366 | 2553887.4327 | 1145546.2195 | 2553895.6118 | 1145540.6924
22 | 2553989.3 | 1145612.1403 | 2553978.5322 | 1145598.2894
23 | 2553970.255 | 1145535.8355 | 2553973.6007 | 1145541.3461
24 | 2553843.7029 | 1145571.1232 | 2553849.8247 | 1145567.9747 | 2553869.079 | 1145556.8366
25 | 2553989.3 | 1145612.1403 | 2553997.9476 | 1145626.0862
26 | 2553989.3 | 1145612.1403 | 2553979.5566 | 1145620.9083 | 2553979.5221 | 1145620.9333
27 | 2554002.9357 | 1145634.1304 | 2553997.9476 | 1145626.0862
28 | 2553979.5221 | 1145620.9333 | 2553968.6752 | 1145628.8168
29 | 2553843.7029 | 1145571.1232 | 2553849.1833 | 1145577.4845 | 2553858.9075 | 1145592.1243
30 | 2554010.1077 | 1145645.6967 | 2554002.9357 | 1145634.1304
31 | 2554025.1794 | 1145669.7513 | 2554020.8256 | 1145662.9811 | 2554010.1077 | 1145645.6967
32 | 2554025.1794 | 1145669.7513 | 2554013.6552 | 1145678.0085
33 | 2554013.6552 | 1145678.0085 | 2553997.176 | 1145689.8161
34 | 2553997.176 | 1145689.8161 | 2553991.1794 | 1145694.1127 | 2553984.1498 | 1145699.3064
35 | 2553984.1498 | 1145699.3064 | 2553973.5698 | 1145707.1233
36 | 2553956.7576 | 1145719.5447 | 2553945.3135 | 1145709.5003
37 | 2553956.7576 | 1145719.5447 | 2553973.5698 | 1145707.1233

## bus_geodata
| x | y | coords
0 | 2553923.0962 | 1145661.9432
1 | 2553934.7409 | 1145653.4799
2 | 2553911.0573 | 1145670.6361
3 | 2553936.5441 | 1145652.1694
4 | 2553920.925 | 1145683.0254
5 | 2553900.6042 | 1145654.8988
6 | 2553941.0084 | 1145648.9247
7 | 2553923.3049 | 1145686.0135
8 | 2553880.4751 | 1145624.5945
9 | 2553945.9149 | 1145645.3588
10 | 2553867.6543 | 1145605.2927
11 | 2553946.3084 | 1145645.0728
12 | 2553955.3776 | 1145638.4813
13 | 2553962.8166 | 1145633.0747
14 | 2553946.7238 | 1145549.3788
15 | 2553958.9506 | 1145568.7429
16 | 2553969.5502 | 1145585.53
17 | 2553973.6039 | 1145591.95
18 | 2553913.109 | 1145528.5388
19 | 2553895.6118 | 1145540.6924
20 | 2553978.5322 | 1145598.2894
21 | 2553973.6007 | 1145541.3461
22 | 2553869.079 | 1145556.8366
23 | 2553989.3 | 1145612.1403
24 | 2553970.255 | 1145535.8355
25 | 2553997.9476 | 1145626.0862
26 | 2553979.5221 | 1145620.9333
27 | 2553858.9075 | 1145592.1243
28 | 2553843.7029 | 1145571.1232
29 | 2553968.6752 | 1145628.8168
30 | 2554002.9357 | 1145634.1304
31 | 2554010.1077 | 1145645.6967
32 | 2554025.1794 | 1145669.7513
33 | 2554013.6552 | 1145678.0085
34 | 2553997.176 | 1145689.8161
35 | 2553984.1498 | 1145699.3064
36 | 2553945.3135 | 1145709.5003
37 | 2553956.7576 | 1145719.5447
38 | 2553973.5698 | 1145707.1233
39 | 2553973.6039 | 1145591.95

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99158 | -0.16041 | 0.0059511 | 0.0014915
1 | 0.9934 | -0.12572 | 0.0051462 | 0.0012898
2 | 0.98979 | -0.19476 | 0 | 0
3 | 0.99354 | -0.12294 | 0.022211 | 0.0055666
4 | 0.98963 | -0.19789 | 0.0063264 | 0.0015855
5 | 0.98771 | -0.23489 | 0.0025855 | 0.00064798
6 | 0.99382 | -0.11763 | 0.0087313 | 0.0021883
7 | 0.98961 | -0.19822 | 0.0047885 | 0.0012001
8 | 0.98378 | -0.31094 | 0.037162 | 0.0093136
9 | 0.99414 | -0.11148 | 0.002141 | 0.00053659
10 | 0.98207 | -0.34412 | 0.0089158 | 0.0022345
11 | 0.99417 | -0.11098 | 0.0029696 | 0.00074426
12 | 0.99478 | -0.099301 | 0.0030237 | 0.0007578
13 | 0.99529 | -0.089564 | 0.0022017 | 0.00055179
14 | 0.99824 | -0.033897 | 0.03089 | 0.0077419
15 | 0.99888 | -0.021531 | 0.031262 | 0.0078349
16 | 1 | 0 | -0.34933 | -0.088397
17 | 0.99934 | -0.01246 | 0 | 0
18 | 0.9753 | -0.47661 | 0.029245 | 0.0073296
19 | 0.97588 | -0.4652 | 0.027031 | 0.0067745
20 | 0.99868 | -0.02503 | 0.007398 | 0.0018541
21 | 0.99868 | -0.025286 | 0 | 0
22 | 0.97751 | -0.43325 | 0.012598 | 0.0031573
23 | 0.99728 | -0.051792 | 0 | 0
24 | 0.9986 | -0.026792 | 0.013375 | 0.0033521
25 | 0.99629 | -0.070816 | 0.01053 | 0.002639
26 | 0.99649 | -0.066815 | 0.0044317 | 0.0011107
27 | 0.98103 | -0.36427 | 0.0015878 | 0.00039795
28 | 0.97937 | -0.39672 | 0 | 0
29 | 0.9957 | -0.08181 | 0.0083515 | 0.0020931
30 | 0.99581 | -0.080055 | 0.0046796 | 0.0011728
31 | 0.99517 | -0.092234 | 0.0078859 | 0.0019764
32 | 0.99406 | -0.11374 | 0 | 0
33 | 0.9935 | -0.12449 | 0.013678 | 0.003428
34 | 0.99296 | -0.13499 | 0.0079092 | 0.0019822
35 | 0.99264 | -0.14109 | 0.0056059 | 0.001405
36 | 0.99211 | -0.15145 | 0.010443 | 0.0026174
37 | 0.99226 | -0.14863 | 0 | 0
38 | 0.99246 | -0.14477 | 0.0053529 | 0.0013416
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1376 | -0.035029 | 0.13783 | 0.035176 | 0.00023059 | 0.00014739 | 0.20668 | 0.20668 | 0.20668 | 0.99158 | -0.16041 | 0.9934 | -0.12572 | 56.7791
1 | 0.13164 | 0.033537 | -0.13143 | -0.033398 | 0.00021775 | 0.00013917 | 0.19775 | 0.19775 | 0.19775 | 0.99158 | -0.16041 | 0.98979 | -0.19476 | 54.3257
2 | -0.14297 | -0.036466 | 0.14299 | 0.036478 | 1.921e-05 | 1.2237e-05 | 0.21438 | 0.21438 | 0.21438 | 0.9934 | -0.12572 | 0.99354 | -0.12294 | 29.4484
3 | 0.011117 | 0.0027865 | -0.011115 | -0.0027856 | 1.6589e-06 | 8.5819e-07 | 0.016712 | 0.016712 | 0.016712 | 0.98979 | -0.19476 | 0.98963 | -0.19789 | 4.5913
4 | 0.12031 | 0.030612 | -0.12008 | -0.030463 | 0.00023219 | 0.00014836 | 0.18103 | 0.18103 | 0.18103 | 0.98979 | -0.19476 | 0.98771 | -0.23489 | 49.7345
5 | -0.1652 | -0.042045 | 0.16524 | 0.042072 | 4.2309e-05 | 2.6863e-05 | 0.24765 | 0.24765 | 0.24765 | 0.99354 | -0.12294 | 0.99382 | -0.11763 | 22.6785
6 | 0.0047885 | 0.0012001 | -0.0047885 | -0.0012001 | 7.4261e-08 | -1.553e-09 | 0.0072001 | 0.0072001 | 0.0072001 | 0.98963 | -0.19789 | 0.98961 | -0.19822 | 1.978
7 | 0.11749 | 0.029815 | -0.11706 | -0.029542 | 0.00042808 | 0.00027351 | 0.17714 | 0.17714 | 0.17714 | 0.98771 | -0.23489 | 0.98378 | -0.31094 | 48.6645
8 | -0.17398 | -0.04426 | 0.17403 | 0.044293 | 5.1538e-05 | 3.2748e-05 | 0.26072 | 0.26072 | 0.26072 | 0.99382 | -0.11763 | 0.99414 | -0.11148 | 23.8756
9 | 0.079903 | 0.020228 | -0.079776 | -0.020147 | 0.00012707 | 8.1034e-05 | 0.12093 | 0.12093 | 0.12093 | 0.98378 | -0.31094 | 0.98207 | -0.34412 | 33.2224
10 | -0.17617 | -0.044829 | 0.17617 | 0.044832 | 4.236e-06 | 2.6921e-06 | 0.26393 | 0.26393 | 0.26393 | 0.99414 | -0.11148 | 0.99417 | -0.11098 | 24.1691
11 | 0.07086 | 0.017913 | -0.070791 | -0.017869 | 6.8407e-05 | 4.3581e-05 | 0.10742 | 0.10742 | 0.10742 | 0.98207 | -0.34412 | 0.98103 | -0.36427 | 29.5112
12 | -0.17914 | -0.045576 | 0.17924 | 0.04564 | 0.00010094 | 6.4162e-05 | 0.26837 | 0.26837 | 0.26837 | 0.99417 | -0.11098 | 0.99478 | -0.099301 | 24.5761
13 | -0.18227 | -0.046398 | 0.18235 | 0.046452 | 8.5607e-05 | 5.443e-05 | 0.27289 | 0.27289 | 0.27289 | 0.99478 | -0.099301 | 0.99529 | -0.089564 | 24.9903
14 | -0.18455 | -0.047004 | 0.18462 | 0.047048 | 6.9055e-05 | 4.3913e-05 | 0.27619 | 0.27619 | 0.27619 | 0.99529 | -0.089564 | 0.9957 | -0.08181 | 25.2917
15 | -0.03089 | -0.0077419 | 0.030909 | 0.0077532 | 1.8209e-05 | 1.1354e-05 | 0.046047 | 0.046046 | 0.046047 | 0.99824 | -0.033897 | 0.99888 | -0.021531 | 12.6502
16 | -0.06217 | -0.015588 | 0.062234 | 0.015629 | 6.3862e-05 | 4.0612e-05 | 0.092617 | 0.092616 | 0.092617 | 0.99888 | -0.021531 | 1 | 0 | 25.4441
17 | 0.28544 | 0.072769 | -0.28527 | -0.072659 | 0.00017157 | 0.00010951 | 0.42518 | 0.42518 | 0.42518 | 1 | 0 | 0.99934 | -0.01246 | 38.9356
18 | 0.27189 | 0.069302 | -0.27172 | -0.069197 | 0.00016484 | 0.00010518 | 0.40525 | 0.40525 | 0.40525 | 0.99934 | -0.01246 | 0.99868 | -0.02503 | 37.1105
19 | 0.013384 | 0.0033572 | -0.013376 | -0.0033527 | 8.1782e-06 | 4.5152e-06 | 0.01993 | 0.01993 | 0.01993 | 0.99934 | -0.01246 | 0.99868 | -0.025286 | 5.4754
20 | -0.029245 | -0.0073296 | 0.029261 | 0.0073395 | 1.5907e-05 | 9.9144e-06 | 0.04462 | 0.044619 | 0.04462 | 0.9753 | -0.47661 | 0.97588 | -0.4652 | 12.2581
21 | -0.056292 | -0.014114 | 0.056378 | 0.014169 | 8.5857e-05 | 5.4559e-05 | 0.085836 | 0.085835 | 0.085836 | 0.97588 | -0.4652 | 0.97751 | -0.43325 | 23.5812
22 | 0.26432 | 0.067343 | -0.26398 | -0.067125 | 0.00034082 | 0.00021744 | 0.39422 | 0.39422 | 0.39422 | 0.99868 | -0.02503 | 0.99728 | -0.051792 | 36.1011
23 | 0.013376 | 0.0033527 | -0.013375 | -0.0033521 | 9.5973e-07 | 5.2993e-07 | 0.01993 | 0.01993 | 0.01993 | 0.99868 | -0.025286 | 0.9986 | -0.026792 | 5.4754
24 | -0.068976 | -0.017326 | 0.069096 | 0.017403 | 0.00012045 | 7.6724e-05 | 0.10501 | 0.10501 | 0.10501 | 0.97751 | -0.43325 | 0.97937 | -0.39672 | 28.8496
25 | 0.066292 | 0.016693 | -0.066232 | -0.016655 | 6.0239e-05 | 3.8339e-05 | 0.098941 | 0.098942 | 0.098942 | 0.99728 | -0.051792 | 0.99629 | -0.070816 | 27.1817
26 | 0.19769 | 0.050432 | -0.19755 | -0.050341 | 0.00014333 | 9.1214e-05 | 0.29528 | 0.29528 | 0.29528 | 0.99728 | -0.051792 | 0.99649 | -0.066815 | 27.0406
27 | 0.055702 | 0.014016 | -0.055678 | -0.014 | 2.4579e-05 | 1.5607e-05 | 0.083214 | 0.083214 | 0.083214 | 0.99629 | -0.070816 | 0.99581 | -0.080055 | 22.8611
28 | 0.19311 | 0.04923 | -0.19297 | -0.049141 | 0.00013967 | 8.8865e-05 | 0.28867 | 0.28867 | 0.28867 | 0.99649 | -0.066815 | 0.9957 | -0.08181 | 26.4346
29 | 0.069203 | 0.017471 | -0.069096 | -0.017403 | 0.0001074 | 6.8409e-05 | 0.10501 | 0.10501 | 0.10501 | 0.98103 | -0.36427 | 0.97937 | -0.39672 | 28.8495
30 | 0.050998 | 0.012827 | -0.050968 | -0.012809 | 2.965e-05 | 1.8799e-05 | 0.076222 | 0.076222 | 0.076222 | 0.99581 | -0.080055 | 0.99517 | -0.092234 | 20.9401
31 | 0.043082 | 0.010832 | -0.043038 | -0.010804 | 4.4191e-05 | 2.7914e-05 | 0.064431 | 0.064431 | 0.064431 | 0.99517 | -0.092234 | 0.99406 | -0.11374 | 17.7007
32 | 0.043038 | 0.010804 | -0.043016 | -0.01079 | 2.207e-05 | 1.3941e-05 | 0.064431 | 0.064431 | 0.064431 | 0.99406 | -0.11374 | 0.9935 | -0.12449 | 17.7008
33 | 0.029338 | 0.0073623 | -0.029324 | -0.0073532 | 1.4681e-05 | 9.1336e-06 | 0.043945 | 0.043945 | 0.043945 | 0.9935 | -0.12449 | 0.99296 | -0.13499 | 12.0728
34 | 0.021415 | 0.005371 | -0.021408 | -0.0053672 | 6.2248e-06 | 3.7755e-06 | 0.032093 | 0.032093 | 0.032093 | 0.99296 | -0.13499 | 0.99264 | -0.14109 | 8.8167
35 | 0.015802 | 0.0039622 | -0.0158 | -0.0039606 | 2.7682e-06 | 1.6016e-06 | 0.023689 | 0.023689 | 0.023689 | 0.99264 | -0.14109 | 0.99246 | -0.14477 | 6.508
36 | -0.010443 | -0.0026174 | 0.010445 | 0.0026181 | 1.4009e-06 | 6.9994e-07 | 0.015663 | 0.015663 | 0.015663 | 0.99211 | -0.15145 | 0.99226 | -0.14863 | 4.3032
37 | -0.010445 | -0.0026181 | 0.010447 | 0.002619 | 1.9231e-06 | 9.6076e-07 | 0.015663 | 0.015663 | 0.015663 | 0.99226 | -0.14863 | 0.99246 | -0.14477 | 4.3031

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37194 | 0.094066

## res_load
| p_mw | q_mvar
0 | 0.0059511 | 0.0014915
1 | 0.0051462 | 0.0012898
2 | 0.022211 | 0.0055666
3 | 0.0063264 | 0.0015855
4 | 0.0025855 | 0.00064798
5 | 0.0087313 | 0.0021883
6 | 0.0047885 | 0.0012001
7 | 0.037162 | 0.0093136
8 | 0.002141 | 0.00053659
9 | 0.0089158 | 0.0022345
10 | 0.0029696 | 0.00074426
11 | 0.0030237 | 0.0007578
12 | 0.0022017 | 0.00055179
13 | 0.03089 | 0.0077419
14 | 0.031262 | 0.0078349
15 | 0.022619 | 0.0056689
16 | 0.029245 | 0.0073296
17 | 0.027031 | 0.0067745
18 | 0.007398 | 0.0018541
19 | 0.012598 | 0.0031573
20 | 0.013375 | 0.0033521
21 | 0.01053 | 0.002639
22 | 0.0044317 | 0.0011107
23 | 0.0015878 | 0.00039795
24 | 0.0083515 | 0.0020931
25 | 0.0046796 | 0.0011728
26 | 0.0078859 | 0.0019764
27 | 0.013678 | 0.003428
28 | 0.0079092 | 0.0019822
29 | 0.0056059 | 0.001405
30 | 0.010443 | 0.0026174
31 | 0.0053529 | 0.0013416

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1