## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5890-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5890-1_0_8_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5890-1_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5890-1_0_8_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_5890-1_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5890-1_0_8_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_5890-1_0_8_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_5890-1_0_8_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5890-1_0_8_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5890-1_0_8_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5890-1_0_8_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5890-1_0_8_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_5890-1_0_8_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5890-1_0_8_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_5890-1_0_8_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_5890-1_0_8_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_5890-1_0_8_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_5890-1_0_8_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5890-1_0_8_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5890-1_0_8_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_5890-1_0_8_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_5890-1_0_8_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5890-1_0_8_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5890-1_0_8_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5890-1_0_8_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5890-1_0_8_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_5890-1_0_8_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_5890-1_0_8_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5890-1_0_8_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5890-1_0_8_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_5890-1_0_8_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_5890-1_0_8_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_5890-1_0_8_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_5890-1_0_8_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5890-1_0_8_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_5890-1_0_8_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5890-1_0_8_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5890-1_0_8_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_5890-1_0_8_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_5890-1_0_8_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5890-1_0_8_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5890-1_0_8_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_5890-1_0_8_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_5890-1_0_8_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5890-1_0_8_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5890-1_0_8_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5890-1_0_8_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_5890-1_0_8_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_5890-1_0_8_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_5890-1_0_8_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_5890-1_0_8_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_5890-1_0_8_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_5890-1_0_8_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_5890-1_0_8_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_5890-1_0_8_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5890-1_0_8_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5890-1_0_8_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5890-1_0_8_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5890-1_0_8_node_49 | 0.4 | n |  | TRUE
59 | bus_MV_263_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5890-1_0_8_load_0 | 0 | 0.045793 | 0.011477 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5890-1_0_8_load_34 | 3 | 0.068006 | 0.017044 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5890-1_0_8_load_46 | 5 | 0.0021963 | 0.00055044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5890-1_0_8_load_51 | 6 | 0.0034192 | 0.00085693 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5890-1_0_8_load_33 | 11 | 0.0023805 | 0.0005966 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5890-1_0_8_load_30 | 13 | 0.0020165 | 0.00050539 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5890-1_0_8_load_39 | 17 | 0.0042098 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5890-1_0_8_load_58 | 19 | 0.0035452 | 0.00088851 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5890-1_0_8_load_62 | 20 | 0.0062993 | 0.0015788 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5890-1_0_8_load_32 | 22 | 0.0015895 | 0.00039836 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5890-1_0_8_load_35 | 25 | 0.016838 | 0.0042199 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5890-1_0_8_load_54 | 29 | 0.054108 | 0.013561 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5890-1_0_8_load_28 | 30 | 0.0096812 | 0.0024263 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5890-1_0_8_load_41 | 31 | 0.0017706 | 0.00044376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5890-1_0_8_load_50 | 32 | 0.0046707 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5890-1_0_8_load_29 | 33 | 0.026261 | 0.0065817 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5890-1_0_8_load_53 | 34 | 0.01321 | 0.0033108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5890-1_0_8_load_55 | 35 | 0.0060038 | 0.0015047 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5890-1_0_8_load_57 | 37 | 0.011497 | 0.0028814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5890-1_0_8_load_56 | 38 | 0.0057147 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5890-1_0_8_load_21 | 39 | 0.015947 | 0.0039968 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5890-1_0_8_load_40 | 40 | 0.0015222 | 0.00038149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5890-1_0_8_load_61 | 41 | 0.0043204 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5890-1_0_8_load_60 | 42 | 0.0046156 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5890-1_0_8_load_36 | 43 | 0.034742 | 0.0087072 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5890-1_0_8_load_37 | 44 | 0.017424 | 0.0043669 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5890-1_0_8_load_27 | 45 | 0.028349 | 0.007105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5890-1_0_8_load_18 | 46 | 0.012807 | 0.0032098 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5890-1_0_8_load_19 | 47 | 0.030817 | 0.0077234 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5890-1_0_8_load_20 | 48 | 0.04694 | 0.011764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5890-1_0_8_load_22 | 49 | 0.083074 | 0.02082 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5890-1_0_8_load_26 | 53 | 0.012803 | 0.0032088 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5890-1_0_8_load_52 | 54 | 0.0071434 | 0.0017903 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5890-1_0_8_load_38 | 55 | 0.0017941 | 0.00044964 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5890-1_0_8_load_47 | 56 | 0.0019139 | 0.00047966 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5890-1_0_8_load_48 | 57 | 0.0018591 | 0.00046593 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5890-1_0_8_load_49 | 58 | 0.0018462 | 0.0004627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5890-1_0_8_line_0 |  | 0 | 1 | 0.014666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5890-1_0_8_line_1 |  | 1 | 2 | 0.12602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5890-1_0_8_line_2 |  | 2 | 3 | 0.01558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5890-1_0_8_line_3 |  | 3 | 24 | 0.007335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5890-1_0_8_line_4 |  | 4 | 5 | 0.0071171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5890-1_0_8_line_5 |  | 4 | 6 | 0.0028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5890-1_0_8_line_6 |  | 5 | 31 | 0.008785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5890-1_0_8_line_7 |  | 6 | 32 | 0.017252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5890-1_0_8_line_8 |  | 7 | 8 | 0.039979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5890-1_0_8_line_9 |  | 7 | 9 | 0.1402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5890-1_0_8_line_10 |  | 8 | 20 | 0.040155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5890-1_0_8_line_11 |  | 8 | 18 | 0.051758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5890-1_0_8_line_12 |  | 9 | 14 | 0.16654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5890-1_0_8_line_13 |  | 9 | 15 | 0.1278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5890-1_0_8_line_14 |  | 9 | 16 | 0.13739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5890-1_0_8_line_15 |  | 9 | 17 | 0.053696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5890-1_0_8_line_16 |  | 10 | 11 | 0.073277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5890-1_0_8_line_17 |  | 10 | 12 | 0.044223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5890-1_0_8_line_18 |  | 10 | 13 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5890-1_0_8_line_19 |  | 12 | 21 | 0.029976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5890-1_0_8_line_20 |  | 12 | 22 | 0.02406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5890-1_0_8_line_21 |  | 13 | 33 | 0.0327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5890-1_0_8_line_22 |  | 14 | 34 | 0.071957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5890-1_0_8_line_23 |  | 15 | 35 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5890-1_0_8_line_24 |  | 16 | 39 | 0.10451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5890-1_0_8_line_25 |  | 17 | 40 | 0.017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5890-1_0_8_line_26 |  | 18 | 19 | 0.032067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5890-1_0_8_line_27 |  | 19 | 23 | 0.018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5890-1_0_8_line_28 |  | 20 | 41 | 0.00020094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5890-1_0_8_line_29 |  | 21 | 23 | 0.035222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5890-1_0_8_line_30 |  | 23 | 26 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5890-1_0_8_line_31 |  | 24 | 25 | 0.014936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5890-1_0_8_line_32 |  | 25 | 41 | 0.019617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5890-1_0_8_line_33 |  | 26 | 42 | 0.0043574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5890-1_0_8_line_34 |  | 27 | 28 | 0.021347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5890-1_0_8_line_35 |  | 27 | 29 | 0.024717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5890-1_0_8_line_36 |  | 28 | 30 | 0.022465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5890-1_0_8_line_37 |  | 30 | 45 | 0.010741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5890-1_0_8_line_38 |  | 31 | 40 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5890-1_0_8_line_39 |  | 32 | 58 | 0.012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5890-1_0_8_line_40 |  | 34 | 54 | 0.0019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5890-1_0_8_line_41 |  | 35 | 38 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5890-1_0_8_line_42 |  | 36 | 37 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5890-1_0_8_line_43 |  | 36 | 38 | 0.013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5890-1_0_8_line_44 |  | 39 | 47 | 0.030277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5890-1_0_8_line_45 |  | 43 | 44 | 0.019863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5890-1_0_8_line_46 |  | 44 | 55 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5890-1_0_8_line_47 |  | 45 | 53 | 0.037049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5890-1_0_8_line_48 |  | 46 | 47 | 0.02675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5890-1_0_8_line_49 |  | 46 | 48 | 0.036624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5890-1_0_8_line_50 |  | 49 | 50 | 0.004402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5890-1_0_8_line_51 |  | 50 | 51 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5890-1_0_8_line_52 |  | 51 | 52 | 0.082173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5890-1_0_8_line_53 |  | 51 | 53 | 0.028932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5890-1_0_8_line_54 |  | 52 | 54 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5890-1_0_8_line_55 |  | 55 | 56 | 0.010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5890-1_0_8_line_56 |  | 56 | 57 | 0.010462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5890-1_0_8_line_57 |  | 57 | 58 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5890-1_0_8_trafo_9 | 0.63 MVA 20/0.4 kV | 59 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2554531.0894 | 1145802.4861 | 2554544.8953 | 1145797.5379
1 | 2554501.3804 | 1145884.4419 | 2554487.604 | 1145856.7096 | 2554483.6944 | 1145845.6223 | 2554481.8809 | 1145840.489 | 2554504.3773 | 1145831.7698 | 2554525.6482 | 1145823.5159 | 2554518.9079 | 1145806.8582 | 2554531.0894 | 1145802.4861
2 | 2554501.3804 | 1145884.4419 | 2554486.6053 | 1145889.3835
3 | 2554479.6491 | 1145891.71 | 2554486.6053 | 1145889.3835
4 | 2554421.3131 | 1146028.7224 | 2554419.414 | 1146021.8633
5 | 2554421.3131 | 1146028.7224 | 2554421.9278 | 1146031.4982
6 | 2554416.9107 | 1146013.4429 | 2554418.9358 | 1146020.136 | 2554419.414 | 1146021.8633
7 | 2554425.6577 | 1146048.3417 | 2554421.9278 | 1146031.4982
8 | 2554407.1852 | 1145920.1957 | 2554410.2212 | 1145915.3479 | 2554417.3588 | 1145914.4601 | 2554425.0127 | 1145925.9525 | 2554437.0918 | 1145931.4193
9 | 2554377.2208 | 1145934.7859 | 2554379.3765 | 1145933.3911 | 2554374.5814 | 1145925.0898 | 2554377.7726 | 1145919.4294 | 2554381.3374 | 1145921.4923 | 2554385.5217 | 1145924.2175 | 2554392.1541 | 1145931.6822 | 2554401.2933 | 1145943.519 | 2554409.4005 | 1145957.0535 | 2554417.1684 | 1145972.4359 | 2554415.8129 | 1145945.6323 | 2554406.3527 | 1145925.9049 | 2554407.1852 | 1145920.1957
10 | 2554437.0918 | 1145931.4193 | 2554430.3325 | 1145910.2485 | 2554447.1175 | 1145903.9389
11 | 2554437.0918 | 1145931.4193 | 2554441.8574 | 1145930.7607 | 2554449.9329 | 1145945.1848 | 2554455.7173 | 1145961.4049 | 2554460.1518 | 1145973.8333
12 | 2554311.147 | 1145789.0789 | 2554318.4379 | 1145798.2504 | 2554323.7138 | 1145808.1266 | 2554327.8863 | 1145817.3663 | 2554332.0718 | 1145828.3291 | 2554334.3913 | 1145835.3485 | 2554337.0228 | 1145838.9415 | 2554342.3091 | 1145846.1495 | 2554348.8586 | 1145857.8503 | 2554361.1237 | 1145878.6791 | 2554374.672 | 1145901.5881 | 2554376.3255 | 1145904.8773 | 2554376.5359 | 1145908.3108 | 2554375.2862 | 1145911.6664 | 2554373.1053 | 1145916.8301 | 2554371.3868 | 1145921.1787 | 2554370.3389 | 1145923.8102 | 2554377.2208 | 1145934.7859
13 | 2554355.5285 | 1146011.9125 | 2554364.8558 | 1145981.7484 | 2554347.4652 | 1145957.6345 | 2554348.3442 | 1145954.0149 | 2554348.6093 | 1145951.4894 | 2554348.3046 | 1145948.8014 | 2554347.8162 | 1145946.1926 | 2554346.2063 | 1145942.5808 | 2554351.1022 | 1145930.7709 | 2554352.4845 | 1145927.6699 | 2554354.247 | 1145925.0663 | 2554356.4117 | 1145922.8376 | 2554358.7752 | 1145921.4856 | 2554361.8722 | 1145920.6173 | 2554365.0355 | 1145920.4043 | 2554367.4771 | 1145921.2417 | 2554370.3389 | 1145923.8102 | 2554377.2208 | 1145934.7859
14 | 2554280.9746 | 1145998.6384 | 2554283.0034 | 1145997.7336 | 2554285.2698 | 1145996.7604 | 2554333.3835 | 1145957.5525 | 2554338.8653 | 1145951.0631 | 2554346.2063 | 1145942.5808 | 2554351.1022 | 1145930.7709 | 2554352.4845 | 1145927.6699 | 2554354.247 | 1145925.0663 | 2554356.4117 | 1145922.8376 | 2554358.7752 | 1145921.4856 | 2554361.8722 | 1145920.6173 | 2554365.0355 | 1145920.4043 | 2554367.4771 | 1145921.2417 | 2554370.3389 | 1145923.8102 | 2554377.2208 | 1145934.7859
15 | 2554377.2208 | 1145934.7859 | 2554389.113 | 1145954.0946 | 2554401.4105 | 1145974.1784 | 2554403.4112 | 1145977.6539 | 2554404.8408 | 1145980.8042
16 | 2554467.8097 | 1146060.9425 | 2554459.1858 | 1146049.1461 | 2554456.4161 | 1146035.4044 | 2554455.982 | 1146018.6546 | 2554452.5104 | 1146001.4943 | 2554448.3314 | 1145991.9895
17 | 2554467.8097 | 1146060.9425 | 2554473.7417 | 1146057.1067 | 2554507.5618 | 1146041.465
18 | 2554467.8097 | 1146060.9425 | 2554476.2021 | 1146075.7605
19 | 2554487.7554 | 1146041.1369 | 2554506.8113 | 1146033.6555 | 2554509.4902 | 1146040.4944 | 2554507.5618 | 1146041.465
20 | 2554507.5618 | 1146041.465 | 2554511.3993 | 1146050.1627 | 2554517.2873 | 1146063.4714
21 | 2554489.949 | 1146105.3358 | 2554483.4515 | 1146088.5606 | 2554476.2021 | 1146075.7605
22 | 2554311.147 | 1145789.0789 | 2554315.2968 | 1145786.2348 | 2554363.4631 | 1145755.7312 | 2554371.9174 | 1145750.5537
23 | 2554355.5285 | 1146011.9125 | 2554368.1427 | 1146022.0998
24 | 2554280.9746 | 1145998.6384 | 2554318.0229 | 1146046.9708 | 2554324.1383 | 1146059.1862 | 2554342.5537 | 1146082.8129
25 | 2554404.8408 | 1145980.8042 | 2554407.6143 | 1145986.9157 | 2554411.4801 | 1145996.2802 | 2554411.7996 | 1145997.2811
26 | 2554460.1518 | 1145973.8333 | 2554461.7685 | 1145978.3567 | 2554469.2903 | 1145975.4649 | 2554476.5242 | 1145993.2553
27 | 2554483.4271 | 1146010.2315 | 2554476.5242 | 1145993.2553
28 | 2554447.1175 | 1145903.9389 | 2554447.3056 | 1145903.8682
29 | 2554483.4271 | 1146010.2315 | 2554486.7101 | 1146019.7449 | 2554484.1444 | 1146024.8224 | 2554481.4249 | 1146025.8213 | 2554487.7554 | 1146041.1369
30 | 2554483.4271 | 1146010.2315 | 2554473.9131 | 1146013.7942
31 | 2554479.6491 | 1145891.71 | 2554465.6679 | 1145896.9656
32 | 2554465.6679 | 1145896.9656 | 2554447.3056 | 1145903.8682
33 | 2554473.9131 | 1146013.7942 | 2554469.888 | 1146015.463
34 | 2554379.2969 | 1145807.4601 | 2554388.5871 | 1145809.8131 | 2554393.9367 | 1145806.1373 | 2554399.205 | 1145805.9194
35 | 2554399.205 | 1145805.9194 | 2554401.1238 | 1145804.6709 | 2554403.4782 | 1145802.1184 | 2554407.1422 | 1145799.0224 | 2554411.6137 | 1145797.0653 | 2554415.0372 | 1145796.6947 | 2554417.9385 | 1145797.3731 | 2554419.7986 | 1145799.5379
36 | 2554379.2969 | 1145807.4601 | 2554397.711 | 1145794.5918
37 | 2554406.5151 | 1145788.4393 | 2554397.711 | 1145794.5918
38 | 2554411.7996 | 1145997.2811 | 2554416.0598 | 1146010.6306 | 2554416.9107 | 1146013.4429
39 | 2554425.6577 | 1146048.3417 | 2554426.0219 | 1146049.9866 | 2554428.3137 | 1146059.4519 | 2554428.7374 | 1146060.5703
40 | 2554373.5579 | 1145749.549 | 2554371.9174 | 1145750.5537
41 | 2554368.1427 | 1146022.0998 | 2554368.1427 | 1146022.0998 | 2554378.5146 | 1146016.3786
42 | 2554390.5185 | 1146009.7571 | 2554390.9164 | 1146022.7052
43 | 2554390.5185 | 1146009.7571 | 2554378.5146 | 1146016.3786
44 | 2554361.1667 | 1146106.6931 | 2554342.5537 | 1146082.8129
45 | 2554444.8365 | 1146099.5317 | 2554451.7692 | 1146115.6032 | 2554452.7181 | 1146117.7641
46 | 2554444.8365 | 1146099.5317 | 2554440.7653 | 1146090.094
47 | 2554406.5151 | 1145788.4393 | 2554417.2836 | 1145780.914 | 2554437.3431 | 1145767.8998 | 2554437.3431 | 1145767.8998
48 | 2554377.6115 | 1146127.7916 | 2554361.1667 | 1146106.6931
49 | 2554377.6115 | 1146127.7916 | 2554400.1261 | 1146156.6775
50 | 2554466.0131 | 1145747.6056 | 2554470.3397 | 1145746.7946
51 | 2554452.7891 | 1145745.2044 | 2554455.96 | 1145746.9814 | 2554458.5534 | 1145747.5731 | 2554466.0131 | 1145747.6056
52 | 2554389.5996 | 1145739.7248 | 2554400.0286 | 1145734.2096 | 2554412.8154 | 1145728.5875 | 2554419.1547 | 1145726.7497 | 2554442.8465 | 1145721.6454 | 2554447.8781 | 1145733.7802 | 2554452.7891 | 1145745.2044
53 | 2554452.7891 | 1145745.2044 | 2554452.4175 | 1145749.8986 | 2554451.1389 | 1145754.5217 | 2554449.1814 | 1145757.7605 | 2554445.4857 | 1145761.746 | 2554437.3431 | 1145767.8998
54 | 2554389.5996 | 1145739.7248 | 2554373.5579 | 1145749.549
55 | 2554436.5326 | 1146080.2816 | 2554440.7653 | 1146090.094
56 | 2554436.5326 | 1146080.2816 | 2554433.84 | 1146074.0397 | 2554432.542 | 1146070.6135
57 | 2554432.542 | 1146070.6135 | 2554428.7374 | 1146060.5703

## bus_geodata
| x | y | coords
0 | 2554544.8953 | 1145797.5379
1 | 2554531.0894 | 1145802.4861
2 | 2554501.3804 | 1145884.4419
3 | 2554486.6053 | 1145889.3835
4 | 2554421.3131 | 1146028.7224
5 | 2554419.414 | 1146021.8633
6 | 2554421.9278 | 1146031.4982
7 | 2554407.1852 | 1145920.1957
8 | 2554437.0918 | 1145931.4193
9 | 2554377.2208 | 1145934.7859
10 | 2554467.8097 | 1146060.9425
11 | 2554448.3314 | 1145991.9895
12 | 2554507.5618 | 1146041.465
13 | 2554476.2021 | 1146075.7605
14 | 2554311.147 | 1145789.0789
15 | 2554355.5285 | 1146011.9125
16 | 2554280.9746 | 1145998.6384
17 | 2554404.8408 | 1145980.8042
18 | 2554460.1518 | 1145973.8333
19 | 2554476.5242 | 1145993.2553
20 | 2554447.1175 | 1145903.9389
21 | 2554487.7554 | 1146041.1369
22 | 2554517.2873 | 1146063.4714
23 | 2554483.4271 | 1146010.2315
24 | 2554479.6491 | 1145891.71
25 | 2554465.6679 | 1145896.9657
26 | 2554473.9131 | 1146013.7942
27 | 2554399.205 | 1145805.9194
28 | 2554379.2969 | 1145807.4601
29 | 2554419.7986 | 1145799.5379
30 | 2554397.711 | 1145794.5918
31 | 2554416.9107 | 1146013.4429
32 | 2554425.6577 | 1146048.3417
33 | 2554489.949 | 1146105.3358
34 | 2554371.9174 | 1145750.5537
35 | 2554368.1427 | 1146022.0998
36 | 2554390.5185 | 1146009.7571
37 | 2554390.9164 | 1146022.7052
38 | 2554378.5146 | 1146016.3786
39 | 2554342.5537 | 1146082.8129
40 | 2554411.7996 | 1145997.2811
41 | 2554447.3056 | 1145903.8682
42 | 2554469.888 | 1146015.463
43 | 2554452.7181 | 1146117.7641
44 | 2554444.8365 | 1146099.5317
45 | 2554406.5151 | 1145788.4393
46 | 2554377.6115 | 1146127.7916
47 | 2554361.1667 | 1146106.6931
48 | 2554400.1261 | 1146156.6775
49 | 2554470.3397 | 1145746.7946
50 | 2554466.0131 | 1145747.6056
51 | 2554452.7891 | 1145745.2044
52 | 2554389.5996 | 1145739.7248
53 | 2554437.3431 | 1145767.8998
54 | 2554373.5579 | 1145749.549
55 | 2554440.7653 | 1146090.094
56 | 2554436.5326 | 1146080.2816
57 | 2554432.542 | 1146070.6135
58 | 2554428.7374 | 1146060.5703
59 | 2554441.8574 | 1145930.7607

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98613 | -0.26718 | 0.045793 | 0.011477
1 | 0.98675 | -0.25515 | 0 | 0
2 | 0.99205 | -0.1524 | 0 | 0
3 | 0.99271 | -0.13977 | 0.068006 | 0.017044
4 | 0.97883 | -0.40512 | 0 | 0
5 | 0.97928 | -0.39636 | 0.0021963 | 0.00055044
6 | 0.97865 | -0.40862 | 0.0034192 | 0.00085693
7 | 0.99691 | -0.058105 | 0 | 0
8 | 1 | 0 | -0.60972 | -0.15658
9 | 0.98606 | -0.26474 | 0 | 0
10 | 0.99313 | -0.13203 | 0 | 0
11 | 0.99297 | -0.13511 | 0.0023805 | 0.0005966
12 | 0.99437 | -0.10809 | 0 | 0
13 | 0.99269 | -0.14054 | 0.0020165 | 0.00050539
14 | 0.97958 | -0.39001 | 0 | 0
15 | 0.98551 | -0.27539 | 0 | 0
16 | 0.98335 | -0.31737 | 0 | 0
17 | 0.9822 | -0.33951 | 0.0042098 | 0.0010551
18 | 0.99809 | -0.036533 | 0 | 0
19 | 0.99691 | -0.059237 | 0.0035452 | 0.00088851
20 | 0.9974 | -0.049563 | 0.0062993 | 0.0015788
21 | 0.99525 | -0.091066 | 0 | 0
22 | 0.99433 | -0.10877 | 0.0015895 | 0.00039836
23 | 0.99629 | -0.071095 | 0 | 0
24 | 0.99348 | -0.12502 | 0 | 0
25 | 0.99503 | -0.095047 | 0.016838 | 0.0042199
26 | 0.99625 | -0.071917 | 0 | 0
27 | 0.97125 | -0.55356 | 0 | 0
28 | 0.97161 | -0.54645 | 0 | 0
29 | 0.97 | -0.5783 | 0.054108 | 0.013561
30 | 0.97184 | -0.54196 | 0.0096812 | 0.0024263
31 | 0.97985 | -0.38521 | 0.0017706 | 0.00044376
32 | 0.97762 | -0.42881 | 0.0046707 | 0.0011706
33 | 0.9919 | -0.15574 | 0.026261 | 0.0065817
34 | 0.97678 | -0.44465 | 0.01321 | 0.0033108
35 | 0.98534 | -0.27877 | 0.0060038 | 0.0015047
36 | 0.98501 | -0.28526 | 0 | 0
37 | 0.98487 | -0.28794 | 0.011497 | 0.0028814
38 | 0.98515 | -0.28243 | 0.0057147 | 0.0014322
39 | 0.98129 | -0.35759 | 0.015947 | 0.0039968
40 | 0.98098 | -0.36319 | 0.0015222 | 0.00038149
41 | 0.99738 | -0.050038 | 0.0043204 | 0.0010828
42 | 0.99623 | -0.07227 | 0.0046156 | 0.0011568
43 | 0.97412 | -0.49762 | 0.034742 | 0.0087072
44 | 0.97477 | -0.48495 | 0.017424 | 0.0043669
45 | 0.97197 | -0.53943 | 0.028349 | 0.007105
46 | 0.98004 | -0.38201 | 0.012807 | 0.0032098
47 | 0.98078 | -0.36752 | 0.030817 | 0.0077234
48 | 0.97845 | -0.41326 | 0.04694 | 0.011764
49 | 0.97279 | -0.52322 | 0.083074 | 0.02082
50 | 0.97296 | -0.51985 | 0 | 0
51 | 0.97317 | -0.51566 | 0 | 0
52 | 0.97605 | -0.45895 | 0 | 0
53 | 0.9726 | -0.52684 | 0.012803 | 0.0032088
54 | 0.97671 | -0.44602 | 0.0071434 | 0.0017903
55 | 0.97526 | -0.47512 | 0.0017941 | 0.00044964
56 | 0.9758 | -0.46456 | 0.0019139 | 0.00047966
57 | 0.97634 | -0.45386 | 0.0018591 | 0.00046593
58 | 0.97692 | -0.44253 | 0.0018462 | 0.0004627
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.045793 | -0.011477 | 0.045819 | 0.011493 | 2.6259e-05 | 1.6619e-05 | 0.069099 | 0.069099 | 0.069099 | 0.98613 | -0.26718 | 0.98675 | -0.25515 | 18.9833
1 | -0.045819 | -0.011493 | 0.046045 | 0.011636 | 0.00022564 | 0.00014279 | 0.069099 | 0.069099 | 0.069099 | 0.98675 | -0.25515 | 0.99205 | -0.1524 | 18.9833
2 | -0.046045 | -0.011636 | 0.046073 | 0.011654 | 2.7895e-05 | 1.7651e-05 | 0.069099 | 0.069099 | 0.069099 | 0.99205 | -0.1524 | 0.99271 | -0.13977 | 18.9832
3 | -0.11408 | -0.028698 | 0.11416 | 0.028749 | 8.0464e-05 | 5.1402e-05 | 0.17104 | 0.17104 | 0.17104 | 0.99271 | -0.13977 | 0.99348 | -0.12502 | 46.9876
4 | -0.067915 | -0.017115 | 0.067943 | 0.017133 | 2.8467e-05 | 1.813e-05 | 0.10328 | 0.10328 | 0.10328 | 0.97883 | -0.40512 | 0.97928 | -0.39636 | 28.3729
5 | 0.067915 | 0.017115 | -0.067903 | -0.017108 | 1.1372e-05 | 7.2422e-06 | 0.10328 | 0.10328 | 0.10328 | 0.97883 | -0.40512 | 0.97865 | -0.40862 | 28.3729
6 | -0.070139 | -0.017684 | 0.070177 | 0.017708 | 3.7446e-05 | 2.3855e-05 | 0.10661 | 0.10661 | 0.10661 | 0.97928 | -0.39636 | 0.97985 | -0.38521 | 29.2897
7 | 0.064484 | 0.016251 | -0.064422 | -0.016212 | 6.2231e-05 | 3.9611e-05 | 0.098079 | 0.098079 | 0.098079 | 0.97865 | -0.40862 | 0.97762 | -0.42881 | 26.9447
8 | -0.42379 | -0.10939 | 0.42499 | 0.11015 | 0.0012041 | 0.000768 | 0.6337 | 0.6337 | 0.6337 | 0.99691 | -0.058105 | 1 | 0 | 34.8185
9 | 0.42379 | 0.10939 | -0.41957 | -0.10669 | 0.0042225 | 0.0026934 | 0.6337 | 0.6337 | 0.6337 | 0.99691 | -0.058105 | 0.98606 | -0.26474 | 34.8187
10 | 0.14241 | 0.036134 | -0.14207 | -0.035918 | 0.00033857 | 0.00021564 | 0.21206 | 0.21206 | 0.21206 | 1 | 0 | 0.9974 | -0.049563 | 29.1289
11 | 0.040668 | 0.010289 | -0.040597 | -0.010244 | 7.1158e-05 | 4.4863e-05 | 0.060549 | 0.060549 | 0.060549 | 1 | 0 | 0.99809 | -0.036533 | 16.6344
12 | 0.21107 | 0.053922 | -0.2098 | -0.05312 | 0.0012701 | 0.00080233 | 0.31888 | 0.31889 | 0.31889 | 0.98606 | -0.26474 | 0.97958 | -0.39001 | 17.5213
13 | 0.023237 | 0.0058231 | -0.023225 | -0.0058237 | 1.1787e-05 | -6.0316e-07 | 0.035066 | 0.035069 | 0.035069 | 0.98606 | -0.26474 | 0.98551 | -0.27539 | 1.9268
14 | 0.10714 | 0.027078 | -0.10687 | -0.026915 | 0.00026963 | 0.00016383 | 0.16176 | 0.16176 | 0.16176 | 0.98606 | -0.26474 | 0.98335 | -0.31737 | 8.8882
15 | 0.078119 | 0.019868 | -0.077839 | -0.01969 | 0.00028033 | 0.00017873 | 0.11799 | 0.11799 | 0.11799 | 0.98606 | -0.26474 | 0.9822 | -0.33951 | 32.4149
16 | 0.0023808 | 0.00059587 | -0.0023805 | -0.0005966 | 3.4964e-07 | -7.2425e-07 | 0.0035669 | 0.0035672 | 0.0035672 | 0.99313 | -0.13203 | 0.99297 | -0.13511 | 0.98001
17 | -0.030689 | -0.0077019 | 0.030724 | 0.0077237 | 3.5069e-05 | 2.1871e-05 | 0.045986 | 0.045985 | 0.045986 | 0.99313 | -0.13203 | 0.99437 | -0.10809 | 12.6334
18 | 0.028308 | 0.007106 | -0.028297 | -0.0070989 | 1.1491e-05 | 7.1339e-06 | 0.042419 | 0.042419 | 0.042419 | 0.99313 | -0.13203 | 0.99269 | -0.14054 | 11.6535
19 | -0.032314 | -0.0081218 | 0.03234 | 0.0081383 | 2.6293e-05 | 1.6438e-05 | 0.048364 | 0.048364 | 0.048364 | 0.99437 | -0.10809 | 0.99525 | -0.091066 | 13.2868
20 | 0.0015895 | 0.00039808 | -0.0015895 | -0.00039836 | 5.1045e-08 | -2.7942e-07 | 0.0023785 | 0.0023786 | 0.0023786 | 0.99437 | -0.10809 | 0.99433 | -0.10877 | 0.65347
21 | 0.02628 | 0.0065935 | -0.026261 | -0.0065817 | 1.9032e-05 | 1.1758e-05 | 0.039396 | 0.039396 | 0.039396 | 0.99269 | -0.14054 | 0.9919 | -0.15574 | 10.8232
22 | 0.2098 | 0.05312 | -0.20925 | -0.052773 | 0.0005488 | 0.00034672 | 0.31889 | 0.31889 | 0.31889 | 0.97958 | -0.39001 | 0.97678 | -0.44465 | 17.5214
23 | 0.023225 | 0.0058237 | -0.023222 | -0.0058217 | 3.7388e-06 | 1.9797e-06 | 0.035069 | 0.035069 | 0.035069 | 0.98551 | -0.27539 | 0.98534 | -0.27877 | 4.8171
24 | 0.10687 | 0.026915 | -0.10667 | -0.02679 | 0.00020512 | 0.00012466 | 0.16176 | 0.16177 | 0.16177 | 0.98335 | -0.31737 | 0.98129 | -0.35759 | 8.8883
25 | 0.073629 | 0.018635 | -0.073546 | -0.018581 | 8.3587e-05 | 5.327e-05 | 0.11161 | 0.11161 | 0.11161 | 0.9822 | -0.33951 | 0.98098 | -0.36319 | 30.6627
26 | 0.040597 | 0.010244 | -0.040553 | -0.010216 | 4.4087e-05 | 2.7797e-05 | 0.060549 | 0.060549 | 0.060549 | 0.99809 | -0.036533 | 0.99691 | -0.059237 | 16.6344
27 | 0.037008 | 0.0093275 | -0.036987 | -0.0093143 | 2.0984e-05 | 1.3191e-05 | 0.055258 | 0.055258 | 0.055258 | 0.99691 | -0.059237 | 0.99629 | -0.071095 | 15.1807
28 | 0.13577 | 0.034339 | -0.13576 | -0.034338 | 3.0948e-06 | 1.9781e-06 | 0.20266 | 0.20266 | 0.20266 | 0.9974 | -0.049563 | 0.99738 | -0.050038 | 55.6759
29 | -0.03234 | -0.0081383 | 0.032371 | 0.0081576 | 3.0895e-05 | 1.9315e-05 | 0.048364 | 0.048364 | 0.048364 | 0.99525 | -0.091066 | 0.99629 | -0.071095 | 13.2868
30 | 0.0046158 | 0.0011567 | -0.0046156 | -0.0011568 | 1.806e-07 | -1.6365e-08 | 0.006894 | 0.006894 | 0.006894 | 0.99629 | -0.071095 | 0.99625 | -0.071917 | 1.894
31 | -0.11416 | -0.028749 | 0.11432 | 0.028854 | 0.00016385 | 0.00010467 | 0.17104 | 0.17103 | 0.17104 | 0.99348 | -0.12502 | 0.99503 | -0.095047 | 46.9876
32 | -0.13116 | -0.033074 | 0.13144 | 0.033255 | 0.00028322 | 0.000181 | 0.19621 | 0.19621 | 0.19621 | 0.99503 | -0.095047 | 0.99738 | -0.050038 | 53.9051
33 | 0.0046156 | 0.0011568 | -0.0046156 | -0.0011568 | 7.7661e-08 | -7.0333e-09 | 0.006894 | 0.006894 | 0.006894 | 0.99625 | -0.071917 | 0.99623 | -0.07227 | 1.894
34 | -0.054171 | -0.013601 | 0.05419 | 0.013612 | 1.8384e-05 | 1.0973e-05 | 0.083003 | 0.083002 | 0.083003 | 0.97125 | -0.55356 | 0.97161 | -0.54645 | 7.601
35 | 0.054171 | 0.013601 | -0.054108 | -0.013561 | 6.3857e-05 | 4.0563e-05 | 0.083003 | 0.083003 | 0.083003 | 0.97125 | -0.55356 | 0.97 | -0.5783 | 22.803
36 | -0.05419 | -0.013612 | 0.054201 | 0.013618 | 1.1608e-05 | 6.0374e-06 | 0.083002 | 0.083002 | 0.083002 | 0.97161 | -0.54645 | 0.97184 | -0.54196 | 4.5606
37 | -0.063883 | -0.016045 | 0.06389 | 0.016049 | 7.7091e-06 | 4.2683e-06 | 0.097825 | 0.097825 | 0.097825 | 0.97184 | -0.54196 | 0.97197 | -0.53943 | 5.375
38 | -0.071947 | -0.018152 | 0.072023 | 0.0182 | 7.5944e-05 | 4.8391e-05 | 0.1093 | 0.1093 | 0.1093 | 0.97985 | -0.38521 | 0.98098 | -0.36319 | 30.0284
39 | 0.059751 | 0.015041 | -0.059712 | -0.015016 | 3.9162e-05 | 2.4906e-05 | 0.09097 | 0.09097 | 0.09097 | 0.97762 | -0.42881 | 0.97692 | -0.44253 | 24.9916
40 | 0.19604 | 0.049462 | -0.19603 | -0.049454 | 1.2878e-05 | 8.1216e-06 | 0.29877 | 0.29877 | 0.29877 | 0.97678 | -0.44465 | 0.97671 | -0.44602 | 16.4157
41 | 0.017218 | 0.004317 | -0.017215 | -0.0043152 | 3.0032e-06 | 1.7712e-06 | 0.026002 | 0.026002 | 0.026002 | 0.98534 | -0.27877 | 0.98515 | -0.28243 | 7.1434
42 | 0.011498 | 0.0028822 | -0.011497 | -0.0028814 | 1.4662e-06 | 7.7344e-07 | 0.01737 | 0.01737 | 0.01737 | 0.98501 | -0.28526 | 0.98487 | -0.28794 | 4.7721
43 | -0.011498 | -0.0028822 | 0.0115 | 0.002883 | 1.5512e-06 | 8.1822e-07 | 0.01737 | 0.01737 | 0.01737 | 0.98501 | -0.28526 | 0.98515 | -0.28243 | 4.7721
44 | 0.090718 | 0.022793 | -0.090675 | -0.022768 | 4.2985e-05 | 2.5599e-05 | 0.13758 | 0.13759 | 0.13759 | 0.98129 | -0.35759 | 0.98078 | -0.36752 | 7.5596
45 | -0.034742 | -0.0087072 | 0.034763 | 0.0087204 | 2.0978e-05 | 1.3179e-05 | 0.05307 | 0.05307 | 0.05307 | 0.97412 | -0.49762 | 0.97477 | -0.48495 | 14.5797
46 | -0.052187 | -0.013087 | 0.052212 | 0.013103 | 2.4464e-05 | 1.5529e-05 | 0.079668 | 0.079668 | 0.079668 | 0.97477 | -0.48495 | 0.97526 | -0.47512 | 21.8869
47 | -0.092239 | -0.023154 | 0.092295 | 0.023187 | 5.5419e-05 | 3.3171e-05 | 0.14123 | 0.14122 | 0.14123 | 0.97197 | -0.53943 | 0.9726 | -0.52684 | 7.7597
48 | -0.059817 | -0.015018 | 0.059859 | 0.015044 | 4.1381e-05 | 2.5809e-05 | 0.090831 | 0.090831 | 0.090831 | 0.98004 | -0.38201 | 0.98078 | -0.36752 | 12.4768
49 | 0.04701 | 0.011809 | -0.04694 | -0.011764 | 6.9988e-05 | 4.4332e-05 | 0.071386 | 0.071386 | 0.071386 | 0.98004 | -0.38201 | 0.97845 | -0.41326 | 19.6116
50 | -0.083074 | -0.02082 | 0.083087 | 0.020829 | 1.3328e-05 | 8.4204e-06 | 0.12707 | 0.12707 | 0.12707 | 0.97279 | -0.52322 | 0.97296 | -0.51985 | 17.455
51 | -0.083087 | -0.020829 | 0.083104 | 0.020838 | 1.6613e-05 | 9.7805e-06 | 0.12707 | 0.12707 | 0.12707 | 0.97296 | -0.51985 | 0.97317 | -0.51566 | 6.982
52 | -0.18826 | -0.047268 | 0.18877 | 0.04759 | 0.00051077 | 0.00032177 | 0.28788 | 0.28788 | 0.28788 | 0.97317 | -0.51566 | 0.97605 | -0.45895 | 15.8178
53 | 0.10515 | 0.02643 | -0.1051 | -0.026396 | 5.6114e-05 | 3.4117e-05 | 0.16081 | 0.16081 | 0.16081 | 0.97317 | -0.51566 | 0.9726 | -0.52684 | 8.8359
54 | -0.18877 | -0.04759 | 0.18889 | 0.047664 | 0.00011692 | 7.3655e-05 | 0.28788 | 0.28788 | 0.28788 | 0.97605 | -0.45895 | 0.97671 | -0.44602 | 15.8177
55 | -0.054006 | -0.013552 | 0.054033 | 0.01357 | 2.7213e-05 | 1.7283e-05 | 0.082406 | 0.082406 | 0.082406 | 0.97526 | -0.47512 | 0.9758 | -0.46456 | 22.6389
56 | -0.055947 | -0.014049 | 0.055975 | 0.014068 | 2.8561e-05 | 1.8149e-05 | 0.085324 | 0.085324 | 0.085324 | 0.9758 | -0.46456 | 0.97634 | -0.45386 | 23.4407
57 | -0.057834 | -0.014533 | 0.057866 | 0.014553 | 3.13e-05 | 1.9898e-05 | 0.088158 | 0.088158 | 0.088158 | 0.97634 | -0.45386 | 0.97692 | -0.44253 | 24.2191

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60972 | 0.15658

## res_load
| p_mw | q_mvar
0 | 0.045793 | 0.011477
1 | 0.068006 | 0.017044
2 | 0.0021963 | 0.00055044
3 | 0.0034192 | 0.00085693
4 | 0.0023805 | 0.0005966
5 | 0.0020165 | 0.00050539
6 | 0.0042098 | 0.0010551
7 | 0.0035452 | 0.00088851
8 | 0.0062993 | 0.0015788
9 | 0.0015895 | 0.00039836
10 | 0.016838 | 0.0042199
11 | 0.054108 | 0.013561
12 | 0.0096812 | 0.0024263
13 | 0.0017706 | 0.00044376
14 | 0.0046707 | 0.0011706
15 | 0.026261 | 0.0065817
16 | 0.01321 | 0.0033108
17 | 0.0060038 | 0.0015047
18 | 0.011497 | 0.0028814
19 | 0.0057147 | 0.0014322
20 | 0.015947 | 0.0039968
21 | 0.0015222 | 0.00038149
22 | 0.0043204 | 0.0010828
23 | 0.0046156 | 0.0011568
24 | 0.034742 | 0.0087072
25 | 0.017424 | 0.0043669
26 | 0.028349 | 0.007105
27 | 0.012807 | 0.0032098
28 | 0.030817 | 0.0077234
29 | 0.04694 | 0.011764
30 | 0.083074 | 0.02082
31 | 0.012803 | 0.0032088
32 | 0.0071434 | 0.0017903
33 | 0.0017941 | 0.00044964
34 | 0.0019139 | 0.00047966
35 | 0.0018591 | 0.00046593
36 | 0.0018462 | 0.0004627

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1