## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5909-1_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5909-1_1_2_node_37 | 0.4 | n |  | TRUE
2 | bus_LV_5909-1_1_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_5909-1_1_2_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_5909-1_1_2_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_5909-1_1_2_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_5909-1_1_2_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_5909-1_1_2_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_5909-1_1_2_node_138 | 0.4 | n |  | TRUE
9 | bus_LV_5909-1_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_5909-1_1_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_5909-1_1_2_node_137 | 0.4 | n |  | TRUE
12 | bus_LV_5909-1_1_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5909-1_1_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5909-1_1_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5909-1_1_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5909-1_1_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5909-1_1_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5909-1_1_2_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_5909-1_1_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_5909-1_1_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5909-1_1_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_5909-1_1_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5909-1_1_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5909-1_1_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5909-1_1_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5909-1_1_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_5909-1_1_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_5909-1_1_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5909-1_1_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_5909-1_1_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5909-1_1_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5909-1_1_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5909-1_1_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5909-1_1_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5909-1_1_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5909-1_1_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5909-1_1_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5909-1_1_2_node_157 | 0.4 | n |  | TRUE
39 | bus_LV_5909-1_1_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5909-1_1_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5909-1_1_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5909-1_1_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5909-1_1_2_node_127 | 0.4 | n |  | TRUE
44 | bus_LV_5909-1_1_2_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_5909-1_1_2_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5909-1_1_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5909-1_1_2_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_5909-1_1_2_node_123 | 0.4 | n |  | TRUE
49 | bus_LV_5909-1_1_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5909-1_1_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5909-1_1_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5909-1_1_2_node_160 | 0.4 | n |  | TRUE
53 | bus_LV_5909-1_1_2_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_5909-1_1_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5909-1_1_2_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5909-1_1_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5909-1_1_2_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5909-1_1_2_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5909-1_1_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5909-1_1_2_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5909-1_1_2_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_5909-1_1_2_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_5909-1_1_2_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_5909-1_1_2_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5909-1_1_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5909-1_1_2_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5909-1_1_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5909-1_1_2_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_5909-1_1_2_node_139 | 0.4 | n |  | TRUE
70 | bus_LV_5909-1_1_2_node_140 | 0.4 | n |  | TRUE
71 | bus_LV_5909-1_1_2_node_122 | 0.4 | n |  | TRUE
72 | bus_MV_455_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5909-1_1_2_load_128 | 0 | 0.0036971 | 0.00092657 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5909-1_1_2_load_129 | 2 | 0.010037 | 0.0025156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5909-1_1_2_load_132 | 4 | 0.015112 | 0.0037873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5909-1_1_2_load_33 | 5 | 0.0018564 | 0.00046525 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5909-1_1_2_load_133 | 6 | 0.0016728 | 0.00041926 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5909-1_1_2_load_134 | 7 | 0.00080683 | 0.00020221 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5909-1_1_2_load_138 | 8 | 0.00077442 | 0.00019409 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5909-1_1_2_load_135 | 9 | 0.0017837 | 0.00044704 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5909-1_1_2_load_136 | 10 | 0.0015038 | 0.00037689 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5909-1_1_2_load_137 | 11 | 0.0020725 | 0.00051941 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5909-1_1_2_load_9 | 12 | 0.0027842 | 0.00069779 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5909-1_1_2_load_10 | 13 | 0.0020486 | 0.00051343 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5909-1_1_2_load_13 | 16 | 0.0024827 | 0.00062223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5909-1_1_2_load_14 | 17 | 0.0033511 | 0.00083987 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5909-1_1_2_load_40 | 18 | 0.002947 | 0.00073858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5909-1_1_2_load_26 | 23 | 0.0025012 | 0.00062687 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5909-1_1_2_load_30 | 24 | 0.0028207 | 0.00070693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5909-1_1_2_load_54 | 26 | 0.0015158 | 0.0003799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5909-1_1_2_load_52 | 27 | 0.0014395 | 0.00036078 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5909-1_1_2_load_57 | 29 | 0.00068061 | 0.00017058 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5909-1_1_2_load_19 | 30 | 0.0035305 | 0.00088483 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5909-1_1_2_load_20 | 31 | 0.0035982 | 0.00090179 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5909-1_1_2_load_27 | 33 | 0.0034875 | 0.00087406 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5909-1_1_2_load_28 | 34 | 0.003685 | 0.00092356 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5909-1_1_2_load_23 | 35 | 0.0030022 | 0.00075242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5909-1_1_2_load_157 | 38 | 0.00089463 | 0.00022421 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5909-1_1_2_load_45 | 39 | 0.0029904 | 0.00074946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5909-1_1_2_load_29 | 40 | 0.00074683 | 0.00018717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5909-1_1_2_load_127 | 43 | 0.0066222 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5909-1_1_2_load_121 | 44 | 0.019054 | 0.0047753 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5909-1_1_2_load_126 | 47 | 0.0024374 | 0.00061087 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5909-1_1_2_load_38 | 49 | 0.0024962 | 0.00062561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5909-1_1_2_load_160 | 52 | 0.0026496 | 0.00066406 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5909-1_1_2_load_159 | 53 | 0.0044758 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5909-1_1_2_load_43 | 54 | 0.0034009 | 0.00085235 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5909-1_1_2_load_46 | 56 | 0.0030278 | 0.00075884 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5909-1_1_2_load_47 | 57 | 0.0013055 | 0.00032719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5909-1_1_2_load_48 | 58 | 0.0012236 | 0.00030666 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5909-1_1_2_load_49 | 59 | 0.00044487 | 0.0001115 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5909-1_1_2_load_51 | 60 | 0.0013668 | 0.00034255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5909-1_1_2_load_101 | 61 | 0.0041338 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5909-1_1_2_load_53 | 62 | 0.0019669 | 0.00049295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5909-1_1_2_load_59 | 63 | 0.00094555 | 0.00023698 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5909-1_1_2_load_55 | 64 | 0.0011818 | 0.00029619 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5909-1_1_2_load_56 | 65 | 0.0019404 | 0.00048631 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5909-1_1_2_load_58 | 66 | 0.0016656 | 0.00041743 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5909-1_1_2_load_60 | 67 | 0.0012266 | 0.00030741 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5909-1_1_2_load_120 | 68 | 0.0013821 | 0.00034639 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5909-1_1_2_load_139 | 69 | 0.0019355 | 0.00048508 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5909-1_1_2_load_140 | 70 | 0.0017837 | 0.00044705 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5909-1_1_2_load_122 | 71 | 0.0030023 | 0.00075244 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5909-1_1_2_line_0 |  | 0 | 1 | 0.00021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5909-1_1_2_line_1 |  | 1 | 2 | 0.012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5909-1_1_2_line_2 |  | 1 | 46 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5909-1_1_2_line_3 |  | 2 | 3 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5909-1_1_2_line_4 |  | 3 | 48 | 0.086979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5909-1_1_2_line_5 |  | 4 | 5 | 0.016788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5909-1_1_2_line_6 |  | 4 | 6 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5909-1_1_2_line_7 |  | 5 | 41 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5909-1_1_2_line_8 |  | 6 | 7 | 0.0091528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5909-1_1_2_line_9 |  | 7 | 8 | 0.00053637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5909-1_1_2_line_10 |  | 8 | 69 | 0.0086717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5909-1_1_2_line_11 |  | 9 | 10 | 0.0049107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5909-1_1_2_line_12 |  | 10 | 11 | 0.0098264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5909-1_1_2_line_13 |  | 11 | 46 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5909-1_1_2_line_14 |  | 12 | 13 | 0.025428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5909-1_1_2_line_15 |  | 12 | 14 | 0.047991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5909-1_1_2_line_16 |  | 13 | 15 | 0.0041026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5909-1_1_2_line_17 |  | 14 | 16 | 0.019017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5909-1_1_2_line_18 |  | 14 | 17 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5909-1_1_2_line_19 |  | 15 | 18 | 0.023886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5909-1_1_2_line_20 |  | 15 | 19 | 0.038798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5909-1_1_2_line_21 |  | 16 | 20 | 0.021617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5909-1_1_2_line_22 |  | 17 | 21 | 0.037387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5909-1_1_2_line_23 |  | 18 | 50 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5909-1_1_2_line_24 |  | 19 | 54 | 0.022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5909-1_1_2_line_25 |  | 19 | 33 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5909-1_1_2_line_26 |  | 20 | 23 | 0.0056774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5909-1_1_2_line_27 |  | 20 | 25 | 0.020827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5909-1_1_2_line_28 |  | 21 | 28 | 0.003636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5909-1_1_2_line_29 |  | 21 | 37 | 0.04197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5909-1_1_2_line_30 |  | 22 | 23 | 0.023647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5909-1_1_2_line_31 |  | 22 | 24 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5909-1_1_2_line_32 |  | 24 | 40 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5909-1_1_2_line_33 |  | 25 | 26 | 0.029662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5909-1_1_2_line_34 |  | 25 | 27 | 0.015415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5909-1_1_2_line_35 |  | 26 | 63 | 0.034556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5909-1_1_2_line_36 |  | 27 | 62 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5909-1_1_2_line_37 |  | 28 | 29 | 0.0062445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5909-1_1_2_line_38 |  | 29 | 64 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5909-1_1_2_line_39 |  | 30 | 31 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5909-1_1_2_line_40 |  | 31 | 32 | 0.0075956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5909-1_1_2_line_41 |  | 32 | 33 | 0.024169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5909-1_1_2_line_42 |  | 32 | 34 | 0.014755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5909-1_1_2_line_43 |  | 34 | 39 | 0.037299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5909-1_1_2_line_44 |  | 35 | 36 | 0.071839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5909-1_1_2_line_45 |  | 36 | 37 | 0.018726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5909-1_1_2_line_46 |  | 37 | 38 | 0.032299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5909-1_1_2_line_47 |  | 41 | 42 | 0.00311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5909-1_1_2_line_48 |  | 42 | 43 | 0.024603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5909-1_1_2_line_49 |  | 42 | 44 | 0.16203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5909-1_1_2_line_50 |  | 43 | 47 | 0.045227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5909-1_1_2_line_51 |  | 44 | 68 | 0.021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5909-1_1_2_line_52 |  | 45 | 46 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5909-1_1_2_line_53 |  | 45 | 47 | 0.01202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5909-1_1_2_line_54 |  | 48 | 71 | 0.030684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5909-1_1_2_line_55 |  | 49 | 50 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5909-1_1_2_line_56 |  | 50 | 51 | 0.008278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5909-1_1_2_line_57 |  | 51 | 52 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5909-1_1_2_line_58 |  | 51 | 53 | 0.02374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5909-1_1_2_line_59 |  | 54 | 55 | 0.040417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5909-1_1_2_line_60 |  | 55 | 60 | 0.014502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5909-1_1_2_line_61 |  | 55 | 59 | 0.0056629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5909-1_1_2_line_62 |  | 56 | 57 | 0.032801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5909-1_1_2_line_63 |  | 57 | 58 | 0.0023415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5909-1_1_2_line_64 |  | 58 | 59 | 0.0047916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5909-1_1_2_line_65 |  | 60 | 61 | 0.029033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5909-1_1_2_line_66 |  | 63 | 67 | 0.027974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5909-1_1_2_line_67 |  | 64 | 65 | 0.068662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5909-1_1_2_line_68 |  | 65 | 66 | 0.049332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5909-1_1_2_line_69 |  | 67 | 68 | 0.032197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5909-1_1_2_line_70 |  | 69 | 70 | 0.00017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5909-1_1_2_trafo_29 | 0.63 MVA 20/0.4 kV | 72 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2541390.2208 | 1181051.0267 | 2541390.0056 | 1181050.9961
1 | 2541390.2208 | 1181051.0267 | 2541402.299 | 1181052.3296
2 | 2541375.1451 | 1181040.1905 | 2541380.0888 | 1181045.8786 | 2541383.8193 | 1181047.7765 | 2541390.2208 | 1181051.0267
3 | 2541414.944 | 1181054.2086 | 2541411.9495 | 1181053.3707 | 2541402.299 | 1181052.3296
4 | 2541485.8274 | 1181103.3646 | 2541444.8763 | 1181069.1239 | 2541426.064 | 1181057.3125 | 2541414.944 | 1181054.2086
5 | 2541301.7072 | 1180991.6278 | 2541295.9691 | 1181007.4049
6 | 2541301.7072 | 1180991.6278 | 2541301.7072 | 1180991.6278 | 2541315.6349 | 1180996.6594
7 | 2541287.5252 | 1181030.6221 | 2541295.9691 | 1181007.4049
8 | 2541324.2431 | 1180999.7693 | 2541315.6349 | 1180996.6594
9 | 2541324.7476 | 1180999.9515 | 2541324.2431 | 1180999.7693
10 | 2541324.7476 | 1180999.9515 | 2541332.9034 | 1181002.898
11 | 2541379.1162 | 1181010.5109 | 2541377.4158 | 1181015.1178
12 | 2541377.4158 | 1181015.1178 | 2541374.9272 | 1181021.8602 | 2541374.6786 | 1181024.4879
13 | 2541375.1451 | 1181040.1905 | 2541373.903 | 1181032.6874 | 2541374.6786 | 1181024.4879
14 | 2540985.1975 | 1180929.9503 | 2540985.1578 | 1180932.5863 | 2540986.4669 | 1180955.3408
15 | 2540989.2233 | 1181003.2524 | 2540986.4669 | 1180955.3408
16 | 2540985.2594 | 1180925.8482 | 2540985.1975 | 1180929.9503
17 | 2540989.2233 | 1181003.2524 | 2541008.2403 | 1181003.3353
18 | 2540989.2233 | 1181003.2524 | 2540973.5524 | 1181009.4408
19 | 2540985.2594 | 1180925.8482 | 2541009.0429 | 1180928.0597
20 | 2540985.2594 | 1180925.8482 | 2540985.5967 | 1180917.4624 | 2540988.2693 | 1180905.0179 | 2540994.4835 | 1180888.4696
21 | 2541029.857 | 1181003.4296 | 2541008.2403 | 1181003.3353
22 | 2540938.8849 | 1181023.4381 | 2540959.8872 | 1181014.8371 | 2540973.5524 | 1181009.4408
23 | 2541019.3088 | 1180929.0142 | 2541009.0429 | 1180928.0597
24 | 2540994.4835 | 1180888.4696 | 2541005.1545 | 1180868.6052
25 | 2540994.4835 | 1180888.4696 | 2540976.5655 | 1180879.6362
26 | 2541029.857 | 1181003.4296 | 2541035.5333 | 1181003.5394
27 | 2541029.857 | 1181003.4296 | 2541033.4659 | 1181006.9294 | 2541044.8016 | 1181017.9349
28 | 2540938.8849 | 1181023.4381 | 2540941.1963 | 1181026.2502
29 | 2540938.8849 | 1181023.4381 | 2540899.9145 | 1181039.2984
30 | 2541059.1755 | 1181003.9966 | 2541035.5333 | 1181003.5394
31 | 2541059.1755 | 1181003.9966 | 2541059.2856 | 1181001.2162 | 2541078.1102 | 1181001.4346
32 | 2541088.5856 | 1181001.5562 | 2541078.1102 | 1181001.4346
33 | 2541044.8016 | 1181017.9349 | 2541066.0294 | 1181038.6528
34 | 2541044.8016 | 1181017.9349 | 2541034.0289 | 1181028.9609
35 | 2541066.0294 | 1181038.6528 | 2541090.7597 | 1181062.789
36 | 2541023.8645 | 1181039.3644 | 2541034.0289 | 1181028.9609
37 | 2540941.1963 | 1181026.2502 | 2540945.1635 | 1181031.0724
38 | 2540953.5375 | 1181041.2511 | 2540945.1635 | 1181031.0724
39 | 2540934.7666 | 1180859.0252 | 2540948.0757 | 1180865.5895
40 | 2540954.8878 | 1180868.9493 | 2540948.0757 | 1180865.5895
41 | 2540954.8878 | 1180868.9493 | 2540976.5655 | 1180879.6362
42 | 2540954.8878 | 1180868.9493 | 2540949.0549 | 1180882.5022
43 | 2540936.2397 | 1180917.4407 | 2540940.1939 | 1180903.0912 | 2540949.0549 | 1180882.5022
44 | 2540882.0161 | 1181037.3853 | 2540885.2587 | 1181033.1842 | 2540889.4073 | 1181027.1398 | 2540892.8903 | 1181019.4456 | 2540896.2634 | 1181010.674 | 2540898.7361 | 1181003.5234 | 2540900.4626 | 1180996.6136 | 2540901.6155 | 1180991.1658 | 2540902.4546 | 1180984.8762 | 2540902.4033 | 1180970.1212
45 | 2540899.9145 | 1181039.2984 | 2540892.796 | 1181040.814 | 2540889.8241 | 1181040.7211 | 2540885.9854 | 1181039.4806 | 2540882.0161 | 1181037.3853
46 | 2540917.9495 | 1181012.5275 | 2540912.7955 | 1181018.8486 | 2540899.9145 | 1181039.2984
47 | 2541286.4617 | 1181033.5453 | 2541287.5252 | 1181030.6221
48 | 2541286.4617 | 1181033.5453 | 2541310.5502 | 1181038.5512
49 | 2541149.5099 | 1181120.128 | 2541286.4617 | 1181033.5453
50 | 2541355.1317 | 1181046.0359 | 2541327.9417 | 1181042.1654 | 2541310.5502 | 1181038.5512
51 | 2541149.5099 | 1181120.128 | 2541133.8204 | 1181104.8153
52 | 2541367.0316 | 1181047.7298 | 2541370.3428 | 1181045.8185 | 2541372.3325 | 1181044.665 | 2541375.1451 | 1181040.1905
53 | 2541367.0316 | 1181047.7298 | 2541355.1317 | 1181046.0359
54 | 2541485.8274 | 1181103.3646 | 2541480.0702 | 1181115.2164 | 2541476.2634 | 1181124.2365 | 2541475.2423 | 1181131.886
55 | 2541019.3088 | 1180929.0142 | 2541024.6557 | 1180942.9222
56 | 2541027.6104 | 1180928.9657 | 2541019.3088 | 1180929.0142
57 | 2541033.5382 | 1180912.02 | 2541031.5524 | 1180922.0897 | 2541027.6104 | 1180928.9657
58 | 2541045.1519 | 1180945.0129 | 2541027.6104 | 1180928.9657
59 | 2541024.2811 | 1180833.0004 | 2541005.1545 | 1180868.6052
60 | 2541024.2811 | 1180833.0004 | 2541030.5562 | 1180846.075
61 | 2541024.2811 | 1180833.0004 | 2541021.9385 | 1180827.8447
62 | 2540999.6768 | 1180794.6982 | 2541018.0161 | 1180821.8939
63 | 2541019.3252 | 1180823.8353 | 2541018.0161 | 1180821.8939
64 | 2541019.3252 | 1180823.8353 | 2541021.7516 | 1180827.4333 | 2541021.9385 | 1180827.8447
65 | 2541041.3262 | 1180873.0326 | 2541031.1901 | 1180847.3959 | 2541030.5562 | 1180846.075
66 | 2541110.7789 | 1181082.3274 | 2541090.7597 | 1181062.789
67 | 2540953.5375 | 1181041.2511 | 2540965.0752 | 1181055.2752 | 2540972.2372 | 1181067.4558 | 2540981.4978 | 1181081.7836 | 2540984.1799 | 1181085.7927 | 2540984.6313 | 1181088.9678 | 2540983.52 | 1181091.6692 | 2540979.5998 | 1181093.7757 | 2540976.6774 | 1181096.3726
68 | 2540937.4089 | 1181116.816 | 2540942.0539 | 1181118.5044 | 2540947.3134 | 1181119.7755 | 2540951.2449 | 1181118.825 | 2540960.0664 | 1181113.435 | 2540971.6097 | 1181105.2498 | 2540974.0765 | 1181102.9131 | 2540975.0928 | 1181099.868 | 2540976.6774 | 1181096.3726
69 | 2541133.8204 | 1181104.8153 | 2541110.7789 | 1181082.3274
70 | 2541333.0688 | 1181002.9577 | 2541332.9034 | 1181002.898

## bus_geodata
| x | y | coords
0 | 2541390.0056 | 1181050.9961
1 | 2541390.2208 | 1181051.0267
2 | 2541402.299 | 1181052.3296
3 | 2541414.944 | 1181054.2086
4 | 2541301.7072 | 1180991.6278
5 | 2541295.9692 | 1181007.4049
6 | 2541315.6349 | 1180996.6594
7 | 2541324.2431 | 1180999.7693
8 | 2541324.7476 | 1180999.9515
9 | 2541379.1162 | 1181010.5109
10 | 2541377.4158 | 1181015.1178
11 | 2541374.6786 | 1181024.4879
12 | 2540986.4669 | 1180955.3408
13 | 2540985.1975 | 1180929.9503
14 | 2540989.2233 | 1181003.2524
15 | 2540985.2594 | 1180925.8482
16 | 2541008.2403 | 1181003.3353
17 | 2540973.5524 | 1181009.4408
18 | 2541009.0429 | 1180928.0597
19 | 2540994.4835 | 1180888.4696
20 | 2541029.857 | 1181003.4296
21 | 2540938.8849 | 1181023.4381
22 | 2541059.1755 | 1181003.9966
23 | 2541035.5333 | 1181003.5394
24 | 2541078.1102 | 1181001.4346
25 | 2541044.8016 | 1181017.9349
26 | 2541066.0294 | 1181038.6528
27 | 2541034.0289 | 1181028.9609
28 | 2540941.1963 | 1181026.2502
29 | 2540945.1635 | 1181031.0724
30 | 2540934.7666 | 1180859.0252
31 | 2540948.0757 | 1180865.5895
32 | 2540954.8878 | 1180868.9493
33 | 2540976.5655 | 1180879.6362
34 | 2540949.0549 | 1180882.5022
35 | 2540902.4033 | 1180970.1212
36 | 2540882.0161 | 1181037.3853
37 | 2540899.9145 | 1181039.2984
38 | 2540917.9495 | 1181012.5276
39 | 2540936.2397 | 1180917.4407
40 | 2541088.5856 | 1181001.5562
41 | 2541287.5252 | 1181030.6221
42 | 2541286.4617 | 1181033.5453
43 | 2541310.5502 | 1181038.5512
44 | 2541149.5099 | 1181120.128
45 | 2541367.0316 | 1181047.7298
46 | 2541375.1451 | 1181040.1905
47 | 2541355.1317 | 1181046.0359
48 | 2541485.8274 | 1181103.3646
49 | 2541024.6557 | 1180942.9222
50 | 2541019.3088 | 1180929.0142
51 | 2541027.6104 | 1180928.9657
52 | 2541033.5382 | 1180912.02
53 | 2541045.1519 | 1180945.0129
54 | 2541005.1545 | 1180868.6052
55 | 2541024.2811 | 1180833.0004
56 | 2540999.6768 | 1180794.6982
57 | 2541018.0161 | 1180821.8939
58 | 2541019.3252 | 1180823.8353
59 | 2541021.9385 | 1180827.8447
60 | 2541030.5562 | 1180846.075
61 | 2541041.3262 | 1180873.0326
62 | 2541023.8645 | 1181039.3644
63 | 2541090.7597 | 1181062.789
64 | 2540953.5375 | 1181041.2511
65 | 2540976.6774 | 1181096.3726
66 | 2540937.4089 | 1181116.816
67 | 2541110.7789 | 1181082.3274
68 | 2541133.8204 | 1181104.8153
69 | 2541332.9034 | 1181002.898
70 | 2541333.0688 | 1181002.9577
71 | 2541475.2423 | 1181131.886
72 | 2541059.1755 | 1181003.9966

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1