## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5922-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5922-1_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5922-1_0_8_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_5922-1_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5922-1_0_8_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5922-1_0_8_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_5922-1_0_8_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5922-1_0_8_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5922-1_0_8_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_5922-1_0_8_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_5922-1_0_8_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5922-1_0_8_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_5922-1_0_8_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5922-1_0_8_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_5922-1_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5922-1_0_8_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_5922-1_0_8_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_5922-1_0_8_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5922-1_0_8_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5922-1_0_8_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5922-1_0_8_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_5922-1_0_8_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5922-1_0_8_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5922-1_0_8_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5922-1_0_8_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_5922-1_0_8_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_5922-1_0_8_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5922-1_0_8_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_5922-1_0_8_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5922-1_0_8_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5922-1_0_8_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_5922-1_0_8_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_5922-1_0_8_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_5922-1_0_8_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5922-1_0_8_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_5922-1_0_8_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_5922-1_0_8_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5922-1_0_8_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_5922-1_0_8_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5922-1_0_8_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_5922-1_0_8_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5922-1_0_8_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5922-1_0_8_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5922-1_0_8_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5922-1_0_8_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5922-1_0_8_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5922-1_0_8_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5922-1_0_8_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5922-1_0_8_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5922-1_0_8_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5922-1_0_8_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_316_1_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5922-1_0_8_load_0 | 0 | 0.01143 | 0.0028645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5922-1_0_8_load_28 | 5 | 0.012391 | 0.0031055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5922-1_0_8_load_56 | 8 | 0.028612 | 0.0071708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5922-1_0_8_load_46 | 11 | 0.0042519 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5922-1_0_8_load_30 | 13 | 0.0090579 | 0.0022701 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5922-1_0_8_load_42 | 16 | 0.012401 | 0.003108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5922-1_0_8_load_32 | 20 | 0.035049 | 0.0087841 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5922-1_0_8_load_55 | 24 | 0.014972 | 0.0037523 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5922-1_0_8_load_54 | 25 | 0.032929 | 0.0082528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5922-1_0_8_load_51 | 28 | 0.0071173 | 0.0017838 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5922-1_0_8_load_49 | 30 | 0.070935 | 0.017778 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5922-1_0_8_load_34 | 31 | 0.0041138 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5922-1_0_8_load_48 | 32 | 0.047546 | 0.011916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5922-1_0_8_load_43 | 35 | 0.011542 | 0.0028927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5922-1_0_8_load_44 | 36 | 0.071785 | 0.017991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5922-1_0_8_load_47 | 37 | 0.042475 | 0.010645 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5922-1_0_8_load_33 | 41 | 0.00914 | 0.0022907 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5922-1_0_8_load_52 | 44 | 0.0041053 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5922-1_0_8_load_35 | 49 | 0.0044691 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5922-1_0_8_load_50 | 50 | 0.068572 | 0.017186 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5922-1_0_8_line_0 |  | 0 | 1 | 0.058685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5922-1_0_8_line_1 |  | 1 | 2 | 0.043512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5922-1_0_8_line_2 |  | 2 | 9 | 0.041073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5922-1_0_8_line_3 |  | 2 | 5 | 0.058737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5922-1_0_8_line_4 |  | 3 | 4 | 0.0399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5922-1_0_8_line_5 |  | 3 | 5 | 0.060275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5922-1_0_8_line_6 |  | 4 | 12 | 0.10808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5922-1_0_8_line_7 |  | 4 | 13 | 0.057267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5922-1_0_8_line_8 |  | 4 | 10 | 0.03346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5922-1_0_8_line_9 |  | 6 | 7 | 0.065796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5922-1_0_8_line_10 |  | 6 | 8 | 0.026648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5922-1_0_8_line_11 |  | 7 | 32 | 0.057008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5922-1_0_8_line_12 |  | 8 | 38 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5922-1_0_8_line_13 |  | 9 | 45 | 0.0084382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5922-1_0_8_line_14 |  | 10 | 11 | 0.031121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5922-1_0_8_line_15 |  | 11 | 43 | 0.032735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5922-1_0_8_line_16 |  | 12 | 37 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5922-1_0_8_line_17 |  | 14 | 15 | 0.026012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5922-1_0_8_line_18 |  | 14 | 16 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5922-1_0_8_line_19 |  | 15 | 47 | 0.11035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5922-1_0_8_line_20 |  | 15 | 48 | 0.093968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5922-1_0_8_line_21 |  | 16 | 46 | 0.0043312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5922-1_0_8_line_22 |  | 17 | 18 | 0.05241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5922-1_0_8_line_23 |  | 17 | 19 | 0.18428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5922-1_0_8_line_24 |  | 17 | 20 | 0.021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5922-1_0_8_line_25 |  | 18 | 25 | 0.073237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5922-1_0_8_line_26 |  | 19 | 30 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5922-1_0_8_line_27 |  | 21 | 22 | 0.056063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5922-1_0_8_line_28 |  | 21 | 23 | 0.068044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5922-1_0_8_line_29 |  | 21 | 24 | 0.027452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5922-1_0_8_line_30 |  | 22 | 31 | 0.027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5922-1_0_8_line_31 |  | 23 | 36 | 0.037214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5922-1_0_8_line_32 |  | 25 | 47 | 0.033842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5922-1_0_8_line_33 |  | 26 | 27 | 0.072115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5922-1_0_8_line_34 |  | 26 | 28 | 0.021836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5922-1_0_8_line_35 |  | 27 | 36 | 0.042225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5922-1_0_8_line_36 |  | 27 | 29 | 0.009434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5922-1_0_8_line_37 |  | 29 | 30 | 0.038543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5922-1_0_8_line_38 |  | 31 | 42 | 0.0018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5922-1_0_8_line_39 |  | 32 | 45 | 0.044444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5922-1_0_8_line_40 |  | 33 | 34 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5922-1_0_8_line_41 |  | 33 | 35 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5922-1_0_8_line_42 |  | 34 | 49 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5922-1_0_8_line_43 |  | 35 | 46 | 0.006804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5922-1_0_8_line_44 |  | 38 | 39 | 0.077441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5922-1_0_8_line_45 |  | 39 | 40 | 0.31553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5922-1_0_8_line_46 |  | 39 | 41 | 0.071423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5922-1_0_8_line_47 |  | 40 | 44 | 0.067797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5922-1_0_8_line_48 |  | 42 | 43 | 0.06789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5922-1_0_8_line_49 |  | 48 | 50 | 0.095208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5922-1_0_8_trafo_14 | 0.63 MVA 20/0.4 kV | 51 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38
0 | 2537629.7733 | 1182673.3372 | 2537684.3308 | 1182651.7191
1 | 2537612.923 | 1182633.2235 | 2537615.7553 | 1182640.487 | 2537629.7733 | 1182673.3372
2 | 2537597.9247 | 1182594.9805 | 2537612.923 | 1182633.2235
3 | 2537612.923 | 1182633.2235 | 2537667.3003 | 1182611.0165
4 | 2537707.7142 | 1182551.4339 | 2537710.2613 | 1182556.2545 | 2537721.6437 | 1182584.6188 | 2537723.1015 | 1182588.2278
5 | 2537723.1015 | 1182588.2278 | 2537667.3003 | 1182611.0165
6 | 2537707.7142 | 1182551.4339 | 2537712.3138 | 1182549.5182 | 2537718.2165 | 1182564.9433 | 2537727.2877 | 1182561.2801 | 2537740.2749 | 1182556.042 | 2537755.4216 | 1182549.9365 | 2537767.6706 | 1182544.9284 | 2537762.5398 | 1182531.7632 | 2537755.5969 | 1182513.9698
7 | 2537707.7142 | 1182551.4339 | 2537654.4813 | 1182572.548
8 | 2537695.9808 | 1182520.1828 | 2537698.0059 | 1182524.7309 | 2537706.7938 | 1182546.6407 | 2537707.7142 | 1182551.4339
9 | 2537497.2196 | 1182629.4291 | 2537491.5228 | 1182631.5565 | 2537475.5539 | 1182637.1265 | 2537475.9534 | 1182641.7361 | 2537476.5795 | 1182648.311 | 2537477.0683 | 1182653.4311 | 2537492.8077 | 1182647.0963 | 2537501.5821 | 1182643.5582
10 | 2537501.5821 | 1182643.5582 | 2537504.5443 | 1182650.8203 | 2537511.599 | 1182668.2513
11 | 2537497.2196 | 1182629.4291 | 2537550.494 | 1182609.1381
12 | 2537519.5226 | 1182687.8292 | 2537511.599 | 1182668.2513
13 | 2537597.9247 | 1182594.9805 | 2537596.6687 | 1182591.6917 | 2537592.0279 | 1182593.3189
14 | 2537695.9808 | 1182520.1828 | 2537667.227 | 1182532.0885
15 | 2537636.9824 | 1182544.6114 | 2537667.227 | 1182532.0885
16 | 2537755.5969 | 1182513.9698 | 2537745.908 | 1182489.1121
17 | 2537529.358 | 1182209.2108 | 2537531.9536 | 1182211.3405 | 2537547.6951 | 1182221.1706 | 2537550.7626 | 1182223.8846
18 | 2537550.7626 | 1182223.8846 | 2537547.6325 | 1182227.6082 | 2537540.0137 | 1182236.6554
19 | 2537529.358 | 1182209.2108 | 2537515.1319 | 1182197.5194 | 2537546.3527 | 1182161.373 | 2537548.005 | 1182159.4546 | 2537564.5511 | 1182140.2933 | 2537568.3986 | 1182137.2625 | 2537570.5437 | 1182136.4619 | 2537573.588 | 1182136.2189 | 2537579.6489 | 1182136.7337
20 | 2537529.358 | 1182209.2108 | 2537515.1319 | 1182197.5194 | 2537508.9956 | 1182192.703 | 2537506.562 | 1182190.7384 | 2537505.448 | 1182189.3604 | 2537504.7228 | 1182187.9227 | 2537504.3094 | 1182186.3595 | 2537499.2823 | 1182126.945
21 | 2537537.2238 | 1182239.9683 | 2537540.0137 | 1182236.6554
22 | 2537661.0733 | 1182206.2686 | 2537671.9487 | 1182215.9386 | 2537677.5444 | 1182220.9164 | 2537700.4693 | 1182240.8334
23 | 2537654.6178 | 1182383.9476 | 2537655.0312 | 1182380.3857 | 2537661.221 | 1182320.7764 | 2537665.058 | 1182321.1366 | 2537665.5112 | 1182306.0122 | 2537662.2793 | 1182303.6334 | 2537659.924 | 1182300.3783 | 2537658.7264 | 1182296.8332 | 2537658.5804 | 1182293.0882 | 2537659.5124 | 1182289.4653 | 2537661.4414 | 1182286.2545 | 2537663.6337 | 1182284.1305 | 2537666.2595 | 1182282.5689 | 2537668.9126 | 1182275.5706 | 2537669.4696 | 1182273.3302 | 2537669.285 | 1182271.0086 | 2537677.3271 | 1182271.8698 | 2537677.0361 | 1182269.5937 | 2537678.0182 | 1182265.6479 | 2537678.9011 | 1182263.9044 | 2537679.7139 | 1182262.762 | 2537680.8939 | 1182261.6824 | 2537682.6697 | 1182260.63 | 2537684.6395 | 1182259.8646 | 2537687.3992 | 1182259.4245 | 2537691.2942 | 1182259.4839 | 2537695.9455 | 1182259.58 | 2537697.9273 | 1182259.2369 | 2537699.3192 | 1182258.711 | 2537700.7383 | 1182257.8624 | 2537702.2138 | 1182256.5574 | 2537703.9511 | 1182254.7383 | 2537704.9833 | 1182253.3935 | 2537705.6631 | 1182251.9523 | 2537705.5906 | 1182250.1186 | 2537705.0735 | 1182247.4003 | 2537704.2518 | 1182245.4855 | 2537702.5781 | 1182243.1572 | 2537700.4693 | 1182240.8334
24 | 2537700.4693 | 1182240.8334 | 2537697.8088 | 1182241.2613 | 2537692.8617 | 1182242.1022 | 2537691.8622 | 1182242.1793 | 2537690.6395 | 1182242.092 | 2537689.3969 | 1182241.5602 | 2537681.688 | 1182235.0172
25 | 2537661.0733 | 1182206.2686 | 2537651.6717 | 1182198.0619 | 2537628.5526 | 1182177.8692 | 2537605.5473 | 1182158.5183
26 | 2537654.6178 | 1182383.9476 | 2537630.7219 | 1182381.5379
27 | 2537569.3531 | 1182527.7961 | 2537566.4734 | 1182529.1602 | 2537557.5605 | 1182507.0296 | 2537549.6743 | 1182486.7004 | 2537546.9443 | 1182484.1274 | 2537543.9558 | 1182482.3799
28 | 2537543.9558 | 1182482.3799 | 2537539.0231 | 1182479.463 | 2537535.6545 | 1182480.0763 | 2537532.9094 | 1182481.1723 | 2537531.3128 | 1182477.4424 | 2537529.6911 | 1182473.5127 | 2537570.6278 | 1182456.8092 | 2537573.7909 | 1182455.531
29 | 2537543.9558 | 1182482.3799 | 2537538.9378 | 1182489.5697 | 2537521.7173 | 1182496.8186
30 | 2537569.3531 | 1182527.7961 | 2537594.8162 | 1182517.397
31 | 2537573.7909 | 1182455.531 | 2537578.091 | 1182418.5663
32 | 2537579.6489 | 1182136.7337 | 2537605.5473 | 1182158.5183
33 | 2537582.9701 | 1182376.6239 | 2537515.229 | 1182369.7604 | 2537511.7492 | 1182372.1648
34 | 2537511.7492 | 1182372.1648 | 2537508.9471 | 1182393.82
35 | 2537582.9701 | 1182376.6239 | 2537578.091 | 1182418.5663
36 | 2537582.9701 | 1182376.6239 | 2537592.3732 | 1182377.6708
37 | 2537592.3732 | 1182377.6708 | 2537630.7219 | 1182381.5379
38 | 2537596.535 | 1182516.6951 | 2537594.8162 | 1182517.397
39 | 2537592.0279 | 1182593.3189 | 2537550.494 | 1182609.1381
40 | 2537545.4645 | 1182258.3816 | 2537547.3757 | 1182257.1276 | 2537549.5195 | 1182254.7484 | 2537552.6069 | 1182251.3253 | 2537555.0903 | 1182248.5645
41 | 2537555.0903 | 1182248.5645 | 2537546.509 | 1182247.9871 | 2537542.3733 | 1182244.4155
42 | 2537545.4645 | 1182258.3816 | 2537541.7209 | 1182259.6548 | 2537536.0901 | 1182259.3689 | 2537532.1107 | 1182257.0759 | 2537522.6388 | 1182249.1094
43 | 2537537.2238 | 1182239.9683 | 2537542.3733 | 1182244.4155
44 | 2537496.9487 | 1182744.4861 | 2537500.3631 | 1182742.427 | 2537499.0425 | 1182738.8054 | 2537511.9722 | 1182733.9676 | 2537516.7478 | 1182732.1056 | 2537516.4339 | 1182727.6396 | 2537513.0458 | 1182695.6902 | 2537511.1034 | 1182691.019 | 2537519.5226 | 1182687.8292
45 | 2537496.9487 | 1182744.4861 | 2537462.8851 | 1182756.7157 | 2537462.2787 | 1182762.2474 | 2537468.0837 | 1182807.7125 | 2537480.2132 | 1182890.655 | 2537453.5318 | 1182901.9625 | 2537437.1912 | 1182905.5021 | 2537418.8757 | 1182908.5509 | 2537420.2993 | 1182915.4511 | 2537449.2092 | 1182908.4336 | 2537486.0922 | 1182892.8281 | 2537488.8669 | 1182891.6651
46 | 2537496.9487 | 1182744.4861 | 2537501.8795 | 1182758.9316 | 2537510.2775 | 1182814.4594
47 | 2537488.8669 | 1182891.6651 | 2537492.0791 | 1182910.4422 | 2537492.546 | 1182912.0049 | 2537493.1313 | 1182912.4879 | 2537494.2101 | 1182912.699 | 2537495.686 | 1182912.1944 | 2537536.0953 | 1182895.5629
48 | 2537596.535 | 1182516.6951 | 2537621.2913 | 1182506.5756 | 2537636.9824 | 1182544.6114
49 | 2537499.2823 | 1182126.945 | 2537501.16 | 1182128.3262 | 2537508.7302 | 1182129.3143 | 2537509.8481 | 1182129.6028 | 2537510.502 | 1182130.0629 | 2537511.1503 | 1182130.7232 | 2537511.475 | 1182131.8315 | 2537512.2155 | 1182137.6604 | 2537513.2393 | 1182139.1728 | 2537515.1209 | 1182140.1982 | 2537517.279 | 1182140.6537 | 2537518.9512 | 1182140.6362 | 2537520.6213 | 1182139.696 | 2537524.3547 | 1182135.2434 | 2537533.0588 | 1182124.8911 | 2537533.7115 | 1182123.0499 | 2537533.7507 | 1182121.682 | 2537533.2106 | 1182120.4203 | 2537531.7879 | 1182118.7342 | 2537519.9187 | 1182108.2633 | 2537517.6204 | 1182106.8198 | 2537514.8659 | 1182105.5701 | 2537512.9218 | 1182105.1346 | 2537511.3046 | 1182105.296 | 2537510.3828 | 1182106.2395 | 2537510.0019 | 1182107.7888 | 2537510.2781 | 1182117.4136 | 2537510.0045 | 1182118.9952

## bus_geodata
| x | y | coords
0 | 2537684.3308 | 1182651.7191
1 | 2537629.7733 | 1182673.3372
2 | 2537612.923 | 1182633.2235
3 | 2537723.1015 | 1182588.2278
4 | 2537707.7142 | 1182551.4339
5 | 2537667.3003 | 1182611.0165
6 | 2537501.5821 | 1182643.5582
7 | 2537497.2196 | 1182629.4291
8 | 2537511.599 | 1182668.2513
9 | 2537597.9247 | 1182594.9805
10 | 2537695.9808 | 1182520.1828
11 | 2537667.227 | 1182532.0885
12 | 2537755.5969 | 1182513.9698
13 | 2537654.4813 | 1182572.548
14 | 2537550.7626 | 1182223.8846
15 | 2537529.358 | 1182209.2108
16 | 2537540.0137 | 1182236.6554
17 | 2537700.4693 | 1182240.8334
18 | 2537661.0733 | 1182206.2686
19 | 2537654.6178 | 1182383.9476
20 | 2537681.688 | 1182235.0172
21 | 2537543.9558 | 1182482.3799
22 | 2537569.3531 | 1182527.7961
23 | 2537573.7909 | 1182455.531
24 | 2537521.7173 | 1182496.8186
25 | 2537605.5473 | 1182158.5183
26 | 2537511.7492 | 1182372.1648
27 | 2537582.9701 | 1182376.6239
28 | 2537508.9471 | 1182393.82
29 | 2537592.3732 | 1182377.6708
30 | 2537630.7219 | 1182381.5379
31 | 2537594.8162 | 1182517.397
32 | 2537550.494 | 1182609.1381
33 | 2537555.0903 | 1182248.5645
34 | 2537545.4645 | 1182258.3816
35 | 2537542.3733 | 1182244.4155
36 | 2537578.091 | 1182418.5663
37 | 2537745.908 | 1182489.1121
38 | 2537519.5226 | 1182687.8292
39 | 2537496.9487 | 1182744.4861
40 | 2537488.8669 | 1182891.6651
41 | 2537510.2775 | 1182814.4594
42 | 2537596.535 | 1182516.6951
43 | 2537636.9824 | 1182544.6114
44 | 2537536.0953 | 1182895.5629
45 | 2537592.0279 | 1182593.3189
46 | 2537537.2238 | 1182239.9683
47 | 2537579.6489 | 1182136.7337
48 | 2537499.2823 | 1182126.945
49 | 2537522.6388 | 1182249.1094
50 | 2537510.0045 | 1182118.9952
51 | 2537591.8408 | 1182382.2568

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1