## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5922-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5922-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5922-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5922-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5922-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5922-3_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5922-3_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_5922-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5922-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5922-3_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5922-3_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5922-3_0_4_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_5922-3_0_4_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_5922-3_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5922-3_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_5922-3_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5922-3_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5922-3_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_5922-3_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_5922-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5922-3_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5922-3_0_4_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_5922-3_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5922-3_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_5922-3_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5922-3_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5922-3_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5922-3_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5922-3_0_4_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_5922-3_0_4_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_5922-3_0_4_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_5922-3_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5922-3_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5922-3_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5922-3_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5922-3_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5922-3_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5922-3_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5922-3_0_4_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_5922-3_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_5922-3_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5922-3_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5922-3_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5922-3_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5922-3_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5922-3_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5922-3_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5922-3_0_4_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_5922-3_0_4_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_5922-3_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5922-3_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5922-3_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5922-3_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5922-3_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5922-3_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5922-3_0_4_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_5922-3_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5922-3_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5922-3_0_4_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_5922-3_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5922-3_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5922-3_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_5922-3_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_5922-3_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5922-3_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5922-3_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5922-3_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5922-3_0_4_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_5922-3_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5922-3_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_5922-3_0_4_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_5922-3_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5922-3_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_5922-3_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_5922-3_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5922-3_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5922-3_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5922-3_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5922-3_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_5922-3_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5922-3_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5922-3_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_5922-3_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_5922-3_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_5922-3_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5922-3_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5922-3_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5922-3_0_4_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_5922-3_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_5922-3_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_5922-3_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5922-3_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_MV_316_1_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5922-3_0_4_load_0 | 0 | 0.0028591 | 0.00071657 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5922-3_0_4_load_1 | 1 | 0.001767 | 0.00044285 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5922-3_0_4_load_4 | 4 | 0.0036769 | 0.00092153 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5922-3_0_4_load_11 | 5 | 0.0022956 | 0.00057533 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5922-3_0_4_load_12 | 6 | 0.0022266 | 0.00055803 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5922-3_0_4_load_23 | 9 | 0.001841 | 0.0004614 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5922-3_0_4_load_10 | 10 | 0.001538 | 0.00038545 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5922-3_0_4_load_82 | 11 | 0.0016047 | 0.00040219 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5922-3_0_4_load_80 | 12 | 0.001695 | 0.00042482 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5922-3_0_4_load_7 | 13 | 0.0090478 | 0.0022676 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5922-3_0_4_load_28 | 15 | 0.0016206 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5922-3_0_4_load_30 | 16 | 0.0027151 | 0.00068046 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5922-3_0_4_load_27 | 17 | 0.0029338 | 0.00073527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5922-3_0_4_load_65 | 18 | 0.0014924 | 0.00037404 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5922-3_0_4_load_13 | 19 | 0.0025806 | 0.00064676 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5922-3_0_4_load_8 | 20 | 0.0033887 | 0.00084929 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5922-3_0_4_load_58 | 21 | 0.0016403 | 0.00041109 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5922-3_0_4_load_22 | 23 | 0.0023295 | 0.00058384 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5922-3_0_4_load_20 | 24 | 0.0010813 | 0.00027099 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5922-3_0_4_load_14 | 25 | 0.090603 | 0.022707 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5922-3_0_4_load_93 | 28 | 0.061338 | 0.015373 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5922-3_0_4_load_90 | 29 | 0.0016727 | 0.00041921 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5922-3_0_4_load_17 | 31 | 0.001116 | 0.0002797 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5922-3_0_4_load_18 | 32 | 0.0033855 | 0.00084848 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5922-3_0_4_load_53 | 36 | 0.0028575 | 0.00071615 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5922-3_0_4_load_94 | 38 | 0.0030974 | 0.00077628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5922-3_0_4_load_43 | 40 | 0.0028854 | 0.00072314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5922-3_0_4_load_41 | 41 | 0.0030542 | 0.00076545 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5922-3_0_4_load_25 | 42 | 0.0011384 | 0.00028531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5922-3_0_4_load_32 | 43 | 0.0022931 | 0.0005747 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5922-3_0_4_load_33 | 44 | 0.0034195 | 0.00085701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5922-3_0_4_load_29 | 45 | 0.0014897 | 0.00037337 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5922-3_0_4_load_31 | 46 | 0.0019852 | 0.00049754 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5922-3_0_4_load_73 | 47 | 0.0019482 | 0.00048827 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5922-3_0_4_load_67 | 48 | 0.0017016 | 0.00042645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5922-3_0_4_load_35 | 49 | 0.0015983 | 0.00040057 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5922-3_0_4_load_36 | 50 | 0.00085151 | 0.00021341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5922-3_0_4_load_40 | 54 | 0.0024902 | 0.0006241 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5922-3_0_4_load_86 | 55 | 0.0013799 | 0.00034583 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5922-3_0_4_load_50 | 56 | 0.0025172 | 0.00063087 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5922-3_0_4_load_51 | 57 | 0.0029687 | 0.00074402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5922-3_0_4_load_84 | 58 | 0.0016433 | 0.00041185 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5922-3_0_4_load_49 | 59 | 0.0017791 | 0.00044589 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5922-3_0_4_load_55 | 61 | 0.0022491 | 0.00056369 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5922-3_0_4_load_45 | 62 | 0.0024626 | 0.00061719 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5922-3_0_4_load_46 | 63 | 0.0026038 | 0.00065257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5922-3_0_4_load_47 | 64 | 0.0030264 | 0.00075848 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5922-3_0_4_load_48 | 65 | 0.0033277 | 0.000834 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5922-3_0_4_load_81 | 67 | 0.0047797 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5922-3_0_4_load_68 | 68 | 0.0033313 | 0.00083489 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5922-3_0_4_load_92 | 70 | 0.0042804 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5922-3_0_4_load_57 | 71 | 0.0023717 | 0.0005944 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5922-3_0_4_load_59 | 72 | 0.0026404 | 0.00066174 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5922-3_0_4_load_61 | 74 | 0.0062972 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5922-3_0_4_load_62 | 75 | 0.0033556 | 0.00084099 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5922-3_0_4_load_63 | 76 | 0.0010745 | 0.00026928 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5922-3_0_4_load_74 | 79 | 0.0029201 | 0.00073185 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5922-3_0_4_load_77 | 80 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5922-3_0_4_load_70 | 81 | 0.0014088 | 0.00035308 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5922-3_0_4_load_64 | 82 | 0.0039111 | 0.00098021 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5922-3_0_4_load_66 | 83 | 0.00376 | 0.00094234 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5922-3_0_4_load_79 | 84 | 0.0040725 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5922-3_0_4_load_69 | 85 | 0.0011842 | 0.00029679 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5922-3_0_4_load_71 | 86 | 0.0028489 | 0.00071401 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5922-3_0_4_load_91 | 87 | 0.00047189 | 0.00011827 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5922-3_0_4_load_89 | 88 | 0.0015807 | 0.00039616 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5922-3_0_4_load_83 | 89 | 0.0024757 | 0.00062047 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5922-3_0_4_load_85 | 90 | 0.0015864 | 0.0003976 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5922-3_0_4_load_87 | 91 | 0.0025575 | 0.00064096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5922-3_0_4_line_0 |  | 0 | 1 | 0.029921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5922-3_0_4_line_1 |  | 0 | 2 | 0.029339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5922-3_0_4_line_2 |  | 1 | 3 | 0.0017638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5922-3_0_4_line_3 |  | 2 | 4 | 0.02831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5922-3_0_4_line_4 |  | 2 | 5 | 0.033704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5922-3_0_4_line_5 |  | 3 | 9 | 0.042523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5922-3_0_4_line_6 |  | 3 | 10 | 0.018147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5922-3_0_4_line_7 |  | 5 | 6 | 0.035109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5922-3_0_4_line_8 |  | 5 | 7 | 0.034939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5922-3_0_4_line_9 |  | 5 | 8 | 0.051961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5922-3_0_4_line_10 |  | 6 | 19 | 0.040573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5922-3_0_4_line_11 |  | 7 | 11 | 0.023322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5922-3_0_4_line_12 |  | 7 | 12 | 0.0073787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5922-3_0_4_line_13 |  | 8 | 13 | 0.034615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5922-3_0_4_line_14 |  | 9 | 14 | 0.043862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5922-3_0_4_line_15 |  | 11 | 18 | 0.038334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5922-3_0_4_line_16 |  | 14 | 42 | 0.027987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5922-3_0_4_line_17 |  | 14 | 22 | 0.066441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5922-3_0_4_line_18 |  | 15 | 16 | 0.028979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5922-3_0_4_line_19 |  | 15 | 17 | 0.0033759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5922-3_0_4_line_20 |  | 16 | 43 | 0.012189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5922-3_0_4_line_21 |  | 17 | 45 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5922-3_0_4_line_22 |  | 18 | 48 | 0.036907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5922-3_0_4_line_23 |  | 18 | 84 | 0.027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5922-3_0_4_line_24 |  | 18 | 82 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5922-3_0_4_line_25 |  | 19 | 23 | 0.023993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5922-3_0_4_line_26 |  | 20 | 21 | 0.07305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5922-3_0_4_line_27 |  | 21 | 22 | 0.079705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5922-3_0_4_line_28 |  | 23 | 24 | 0.022159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5922-3_0_4_line_29 |  | 24 | 32 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5922-3_0_4_line_30 |  | 25 | 26 | 0.024484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5922-3_0_4_line_31 |  | 26 | 27 | 0.015138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5922-3_0_4_line_32 |  | 27 | 28 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5922-3_0_4_line_33 |  | 27 | 29 | 0.07392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5922-3_0_4_line_34 |  | 29 | 30 | 0.025521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5922-3_0_4_line_35 |  | 30 | 88 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5922-3_0_4_line_36 |  | 30 | 91 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5922-3_0_4_line_37 |  | 31 | 32 | 0.0097661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5922-3_0_4_line_38 |  | 31 | 33 | 0.050467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5922-3_0_4_line_39 |  | 33 | 34 | 0.022485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5922-3_0_4_line_40 |  | 34 | 35 | 0.033207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5922-3_0_4_line_41 |  | 34 | 36 | 0.037575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5922-3_0_4_line_42 |  | 35 | 40 | 0.02519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5922-3_0_4_line_43 |  | 35 | 41 | 0.027907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5922-3_0_4_line_44 |  | 35 | 37 | 0.038318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5922-3_0_4_line_45 |  | 37 | 38 | 0.030848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5922-3_0_4_line_46 |  | 37 | 39 | 0.034415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5922-3_0_4_line_47 |  | 39 | 61 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5922-3_0_4_line_48 |  | 43 | 44 | 0.0045688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5922-3_0_4_line_49 |  | 45 | 46 | 0.020778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5922-3_0_4_line_50 |  | 46 | 47 | 0.03629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5922-3_0_4_line_51 |  | 47 | 48 | 0.0024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5922-3_0_4_line_52 |  | 49 | 50 | 0.024997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5922-3_0_4_line_53 |  | 49 | 51 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5922-3_0_4_line_54 |  | 50 | 52 | 0.0073349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5922-3_0_4_line_55 |  | 51 | 53 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5922-3_0_4_line_56 |  | 51 | 54 | 0.031161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5922-3_0_4_line_57 |  | 52 | 55 | 0.023778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5922-3_0_4_line_58 |  | 53 | 56 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5922-3_0_4_line_59 |  | 53 | 57 | 0.021934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5922-3_0_4_line_60 |  | 55 | 58 | 0.0091018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5922-3_0_4_line_61 |  | 56 | 59 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5922-3_0_4_line_62 |  | 57 | 60 | 0.040382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5922-3_0_4_line_63 |  | 58 | 89 | 0.026783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5922-3_0_4_line_64 |  | 59 | 64 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5922-3_0_4_line_65 |  | 60 | 69 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5922-3_0_4_line_66 |  | 61 | 71 | 0.024939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5922-3_0_4_line_67 |  | 62 | 63 | 0.01678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5922-3_0_4_line_68 |  | 62 | 64 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5922-3_0_4_line_69 |  | 63 | 65 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5922-3_0_4_line_70 |  | 65 | 66 | 0.0093963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5922-3_0_4_line_71 |  | 66 | 67 | 0.022445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5922-3_0_4_line_72 |  | 66 | 68 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5922-3_0_4_line_73 |  | 68 | 83 | 0.024075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5922-3_0_4_line_74 |  | 69 | 70 | 0.056119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5922-3_0_4_line_75 |  | 72 | 73 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5922-3_0_4_line_76 |  | 72 | 74 | 0.018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5922-3_0_4_line_77 |  | 73 | 75 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5922-3_0_4_line_78 |  | 73 | 76 | 0.037705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5922-3_0_4_line_79 |  | 75 | 77 | 0.036851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5922-3_0_4_line_80 |  | 76 | 78 | 0.049278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5922-3_0_4_line_81 |  | 77 | 79 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5922-3_0_4_line_82 |  | 78 | 80 | 0.045023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5922-3_0_4_line_83 |  | 78 | 81 | 0.018969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5922-3_0_4_line_84 |  | 80 | 87 | 0.0025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5922-3_0_4_line_85 |  | 81 | 85 | 0.0023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5922-3_0_4_line_86 |  | 82 | 83 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_5922-3_0_4_line_87 |  | 85 | 86 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5922-3_0_4_line_88 |  | 87 | 88 | 0.017453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_5922-3_0_4_line_89 |  | 89 | 90 | 0.033891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5922-3_0_4_line_90 |  | 90 | 91 | 0.0089542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5922-3_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 92 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2537193.9544 | 1182591.4767 | 2537173.3858 | 1182569.747
1 | 2537214.1233 | 1182612.7841 | 2537193.9544 | 1182591.4767
2 | 2537172.1733 | 1182568.466 | 2537173.3858 | 1182569.747
3 | 2537214.1233 | 1182612.7841 | 2537193.32 | 1182632.0467
4 | 2537239.6317 | 1182634.8123 | 2537214.1233 | 1182612.7841
5 | 2537172.1733 | 1182568.466 | 2537146.2397 | 1182543.502 | 2537140.6937 | 1182540.0608
6 | 2537172.1733 | 1182568.466 | 2537183.6786 | 1182554.433
7 | 2537263.5667 | 1182660.4985 | 2537239.6317 | 1182634.8123
8 | 2537239.6317 | 1182634.8123 | 2537220.2337 | 1182663.8712
9 | 2537239.6317 | 1182634.8123 | 2537278.081 | 1182599.8614
10 | 2537291.2262 | 1182690.1817 | 2537263.5667 | 1182660.4985
11 | 2537220.2337 | 1182663.8712 | 2537223.9572 | 1182686.8896
12 | 2537220.2337 | 1182663.8712 | 2537213.8171 | 1182665.7951 | 2537213.3228 | 1182666.262
13 | 2537278.081 | 1182599.8614 | 2537306.0903 | 1182620.2001
14 | 2537102.9943 | 1182517.6752 | 2537108.2701 | 1182520.5325 | 2537115.6884 | 1182524.5456 | 2537140.6937 | 1182540.0608
15 | 2537200.4308 | 1182717.1552 | 2537223.9572 | 1182686.8896
16 | 2537102.9943 | 1182517.6752 | 2537100.3399 | 1182545.53
17 | 2537086.9775 | 1182463.5351 | 2537086.4886 | 1182470.0439 | 2537083.6312 | 1182508.3513 | 2537097.9795 | 1182514.9597 | 2537102.9943 | 1182517.6752
18 | 2537087.7779 | 1182622.3741 | 2537097.623 | 1182628.4056 | 2537110.9104 | 1182639.6904
19 | 2537113.4835 | 1182641.8758 | 2537110.9104 | 1182639.6904
20 | 2537077.3847 | 1182616.0068 | 2537087.7779 | 1182622.3741
21 | 2537113.4835 | 1182641.8758 | 2537127.6244 | 1182653.8854
22 | 2537172.8027 | 1182692.6846 | 2537200.4308 | 1182717.1552
23 | 2537200.4308 | 1182717.1552 | 2537224.4596 | 1182703.0867
24 | 2537224.4211 | 1182738.4037 | 2537200.4308 | 1182717.1552
25 | 2537307.5831 | 1182707.7354 | 2537291.2262 | 1182690.1817
26 | 2537155.8031 | 1182503.7327 | 2537207.3709 | 1182451.993
27 | 2537086.9775 | 1182463.5351 | 2537155.8031 | 1182503.7327
28 | 2537307.5831 | 1182707.7354 | 2537322.6893 | 1182723.947
29 | 2537322.6893 | 1182723.947 | 2537331.5843 | 1182733.4928
30 | 2537085.0229 | 1182882.2378 | 2537060.5665 | 1182883.4091
31 | 2537085.5585 | 1182867.1125 | 2537085.0229 | 1182882.2378
32 | 2537085.5585 | 1182867.1125 | 2537083.9025 | 1182846.1513
33 | 2537085.5585 | 1182867.1125 | 2537122.9408 | 1182865.652 | 2537133.0861 | 1182865.4563 | 2537142.4374 | 1182861.6448 | 2537153.5011 | 1182849.724
34 | 2537170.8625 | 1182831.0177 | 2537153.5011 | 1182849.724
35 | 2537170.8625 | 1182831.0177 | 2537161.3636 | 1182820.1092
36 | 2537170.8625 | 1182831.0177 | 2537182.102 | 1182840.0571
37 | 2537338.2421 | 1182740.6377 | 2537331.5843 | 1182733.4928
38 | 2537380.3995 | 1182759.6246 | 2537368.1889 | 1182760.931 | 2537361.846 | 1182761.1308 | 2537358.5305 | 1182760.2428 | 2537354.3449 | 1182757.9187 | 2537338.2421 | 1182740.6377
39 | 2537364.2967 | 1182771.3109 | 2537369.6838 | 1182766.6074 | 2537375.7212 | 1182764.2095 | 2537380.872 | 1182763.1772 | 2537380.3995 | 1182759.6246
40 | 2537364.2967 | 1182771.3109 | 2537351.8822 | 1182761.9023 | 2537344.0242 | 1182753.0462 | 2537339.3024 | 1182756.3976
41 | 2537364.2967 | 1182771.3109 | 2537363.0601 | 1182777.1717 | 2537366.1467 | 1182788.2901 | 2537373.3814 | 1182806.9852
42 | 2537318.7332 | 1182771.0213 | 2537339.3024 | 1182756.3976
43 | 2537339.3024 | 1182756.3976 | 2537351.756 | 1182781.3712
44 | 2537321.8079 | 1182729.2877 | 2537344.0242 | 1182753.0462 | 2537339.3024 | 1182756.3976
45 | 2537321.8079 | 1182729.2877 | 2537297.5678 | 1182748.4526
46 | 2537298.4451 | 1182703.9626 | 2537321.8079 | 1182729.2877
47 | 2537298.4451 | 1182703.9626 | 2537284.0109 | 1182715.2246
48 | 2537077.3847 | 1182616.0068 | 2537073.4889 | 1182613.62
49 | 2537143.4612 | 1182667.3355 | 2537127.6244 | 1182653.8854
50 | 2537143.4612 | 1182667.3355 | 2537161.0068 | 1182682.2367 | 2537170.9413 | 1182691.0359
51 | 2537172.8027 | 1182692.6846 | 2537170.9413 | 1182691.0359
52 | 2537302.1299 | 1182868.9147 | 2537284.3021 | 1182875.5526 | 2537278.4108 | 1182876.5426
53 | 2537319.9723 | 1182862.2713 | 2537302.1299 | 1182868.9147
54 | 2537271.1773 | 1182877.7582 | 2537278.4108 | 1182876.5426
55 | 2537319.9723 | 1182862.2713 | 2537326.594 | 1182859.5337 | 2537334.2816 | 1182857.2407
56 | 2537319.9723 | 1182862.2713 | 2537319.3059 | 1182893.4254
57 | 2537271.1773 | 1182877.7582 | 2537264.7129 | 1182865.6413 | 2537256.2701 | 1182860.1988
58 | 2537334.2816 | 1182857.2407 | 2537329.5577 | 1182850.9088 | 2537321.2298 | 1182843.8926
59 | 2537334.2816 | 1182857.2407 | 2537340.2518 | 1182856.4555 | 2537346.5204 | 1182856.4565 | 2537355.9919 | 1182858.2695
60 | 2537256.2701 | 1182860.1988 | 2537248.6201 | 1182855.2673
61 | 2537307.5438 | 1182832.0218 | 2537308.9127 | 1182833.5153 | 2537321.2298 | 1182843.8926
62 | 2537387.0326 | 1182884.0925 | 2537373.1339 | 1182872.9205 | 2537355.9919 | 1182858.2695
63 | 2537222.4193 | 1182850.8246 | 2537233.0847 | 1182852.2877 | 2537246.64 | 1182853.9909 | 2537248.6201 | 1182855.2673
64 | 2537307.5438 | 1182832.0218 | 2537297.0971 | 1182820.6239
65 | 2537382.5597 | 1182896.6242 | 2537389.3119 | 1182894.6858 | 2537387.0326 | 1182884.0925
66 | 2537266.0155 | 1182716.9099 | 2537272.0287 | 1182724.5734 | 2537284.0109 | 1182715.2246
67 | 2537290.0899 | 1182812.9787 | 2537290.0899 | 1182812.9787 | 2537279.4458 | 1182800.0073
68 | 2537290.0899 | 1182812.9787 | 2537297.0971 | 1182820.6239
69 | 2537279.4458 | 1182800.0073 | 2537269.0966 | 1182787.3953
70 | 2537263.1361 | 1182780.1315 | 2537269.0966 | 1182787.3953
71 | 2537263.1361 | 1182780.1315 | 2537263.4482 | 1182774.2249 | 2537261.0729 | 1182767.6127 | 2537255.1884 | 1182760.1491
72 | 2537263.1361 | 1182780.1315 | 2537250.2531 | 1182764.4298
73 | 2537233.933 | 1182746.8286 | 2537240.807 | 1182752.9169 | 2537250.2531 | 1182764.4298
74 | 2537382.5597 | 1182896.6242 | 2537382.713 | 1182893.0317 | 2537380.121 | 1182889.0343 | 2537377.6166 | 1182886.8482 | 2537360.9968 | 1182868.8342 | 2537353.0509 | 1182862.5138 | 2537346.1457 | 1182860.774 | 2537343.4957 | 1182860.7146
75 | 2537054.1815 | 1182713.0217 | 2537059.0028 | 1182697.4726
76 | 2537064.4981 | 1182679.7498 | 2537059.0028 | 1182697.4726
77 | 2537054.1815 | 1182713.0217 | 2537038.1236 | 1182706.7558
78 | 2537054.1815 | 1182713.0217 | 2537081.0096 | 1182733.0509 | 2537083.9418 | 1182736.0927
79 | 2537005.6367 | 1182721.1484 | 2537026.6856 | 1182707.1744 | 2537036.7314 | 1182706.2126 | 2537038.1236 | 1182706.7558
80 | 2537118.1413 | 1182771.5712 | 2537083.9418 | 1182736.0927
81 | 2537005.6367 | 1182721.1484 | 2536994.4533 | 1182708.3841
82 | 2537118.1413 | 1182771.5712 | 2537127.9453 | 1182781.7406 | 2537148.2389 | 1182805.039
83 | 2537118.1413 | 1182771.5712 | 2537131.5258 | 1182758.1296
84 | 2537149.9011 | 1182806.9474 | 2537148.2389 | 1182805.039
85 | 2537133.155 | 1182756.4935 | 2537131.5258 | 1182758.1296
86 | 2537224.4211 | 1182738.4037 | 2537233.933 | 1182746.8286
87 | 2537145.9591 | 1182741.2505 | 2537136.3655 | 1182753.2693 | 2537133.155 | 1182756.4935
88 | 2537161.3636 | 1182820.1092 | 2537154.7174 | 1182812.4768 | 2537149.9011 | 1182806.9474
89 | 2537222.4193 | 1182850.8246 | 2537189.9518 | 1182846.3704 | 2537189.0795 | 1182845.6689
90 | 2537182.102 | 1182840.0571 | 2537189.0795 | 1182845.6689

## bus_geodata
| x | y | coords
0 | 2537193.9544 | 1182591.4767
1 | 2537173.3858 | 1182569.747
2 | 2537214.1232 | 1182612.7841
3 | 2537172.1733 | 1182568.466
4 | 2537193.32 | 1182632.0467
5 | 2537239.6317 | 1182634.8123
6 | 2537263.5667 | 1182660.4985
7 | 2537220.2337 | 1182663.8712
8 | 2537278.081 | 1182599.8614
9 | 2537140.6937 | 1182540.0608
10 | 2537183.6786 | 1182554.433
11 | 2537223.9572 | 1182686.8896
12 | 2537213.3228 | 1182666.262
13 | 2537306.0903 | 1182620.2001
14 | 2537102.9943 | 1182517.6752
15 | 2537110.9104 | 1182639.6904
16 | 2537087.7779 | 1182622.3741
17 | 2537113.4835 | 1182641.8758
18 | 2537200.4308 | 1182717.1552
19 | 2537291.2262 | 1182690.1817
20 | 2537207.3709 | 1182451.993
21 | 2537155.8031 | 1182503.7327
22 | 2537086.9775 | 1182463.5351
23 | 2537307.5831 | 1182707.7354
24 | 2537322.6893 | 1182723.947
25 | 2537060.5665 | 1182883.4091
26 | 2537085.0229 | 1182882.2378
27 | 2537085.5585 | 1182867.1125
28 | 2537083.9025 | 1182846.1513
29 | 2537153.5011 | 1182849.724
30 | 2537170.8625 | 1182831.0177
31 | 2537338.2421 | 1182740.6377
32 | 2537331.5843 | 1182733.4928
33 | 2537380.3995 | 1182759.6246
34 | 2537364.2967 | 1182771.3109
35 | 2537339.3024 | 1182756.3976
36 | 2537373.3814 | 1182806.9852
37 | 2537321.8079 | 1182729.2877
38 | 2537297.5678 | 1182748.4526
39 | 2537298.4451 | 1182703.9626
40 | 2537318.7332 | 1182771.0213
41 | 2537351.756 | 1182781.3712
42 | 2537100.3399 | 1182545.53
43 | 2537077.3847 | 1182616.0068
44 | 2537073.4889 | 1182613.62
45 | 2537127.6244 | 1182653.8854
46 | 2537143.4612 | 1182667.3355
47 | 2537170.9413 | 1182691.0359
48 | 2537172.8027 | 1182692.6846
49 | 2537302.1299 | 1182868.9147
50 | 2537278.4108 | 1182876.5426
51 | 2537319.9723 | 1182862.2713
52 | 2537271.1773 | 1182877.7582
53 | 2537334.2816 | 1182857.2407
54 | 2537319.3059 | 1182893.4254
55 | 2537256.2701 | 1182860.1988
56 | 2537321.2299 | 1182843.8926
57 | 2537355.9919 | 1182858.2695
58 | 2537248.6201 | 1182855.2673
59 | 2537307.5438 | 1182832.0218
60 | 2537387.0326 | 1182884.0925
61 | 2537284.0109 | 1182715.2246
62 | 2537290.0899 | 1182812.9787
63 | 2537279.4458 | 1182800.0073
64 | 2537297.0971 | 1182820.6239
65 | 2537269.0966 | 1182787.3953
66 | 2537263.1361 | 1182780.1315
67 | 2537255.1884 | 1182760.1491
68 | 2537250.2531 | 1182764.4298
69 | 2537382.5597 | 1182896.6242
70 | 2537343.4957 | 1182860.7146
71 | 2537266.0155 | 1182716.9099
72 | 2537059.0028 | 1182697.4726
73 | 2537054.1815 | 1182713.0217
74 | 2537064.4981 | 1182679.7498
75 | 2537038.1236 | 1182706.7558
76 | 2537083.9418 | 1182736.0927
77 | 2537005.6367 | 1182721.1484
78 | 2537118.1413 | 1182771.5712
79 | 2536994.4533 | 1182708.3841
80 | 2537148.2389 | 1182805.039
81 | 2537131.5258 | 1182758.1296
82 | 2537224.4211 | 1182738.4037
83 | 2537233.933 | 1182746.8286
84 | 2537224.4596 | 1182703.0867
85 | 2537133.155 | 1182756.4935
86 | 2537145.9591 | 1182741.2505
87 | 2537149.9011 | 1182806.9474
88 | 2537161.3636 | 1182820.1092
89 | 2537222.4193 | 1182850.8246
90 | 2537189.0795 | 1182845.6689
91 | 2537182.102 | 1182840.0571
92 | 2537170.8625 | 1182831.0177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1