## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5933-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5933-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5933-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5933-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5933-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5933-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5933-1_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5933-1_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5933-1_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5933-1_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5933-1_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5933-1_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5933-1_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5933-1_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5933-1_0_4_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_5933-1_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5933-1_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5933-1_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_5933-1_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5933-1_0_4_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_5933-1_0_4_node_102 | 0.4 | n |  | TRUE
21 | bus_LV_5933-1_0_4_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_5933-1_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5933-1_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5933-1_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5933-1_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5933-1_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5933-1_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5933-1_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5933-1_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5933-1_0_4_node_124 | 0.4 | n |  | TRUE
31 | bus_LV_5933-1_0_4_node_119 | 0.4 | n |  | TRUE
32 | bus_LV_5933-1_0_4_node_243 | 0.4 | n |  | TRUE
33 | bus_LV_5933-1_0_4_node_123 | 0.4 | n |  | TRUE
34 | bus_LV_5933-1_0_4_node_118 | 0.4 | n |  | TRUE
35 | bus_LV_5933-1_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5933-1_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5933-1_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5933-1_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5933-1_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5933-1_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5933-1_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5933-1_0_4_node_219 | 0.4 | n |  | TRUE
43 | bus_LV_5933-1_0_4_node_288 | 0.4 | n |  | TRUE
44 | bus_LV_5933-1_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5933-1_0_4_node_220 | 0.4 | n |  | TRUE
46 | bus_LV_5933-1_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5933-1_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5933-1_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5933-1_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5933-1_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5933-1_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5933-1_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5933-1_0_4_node_185 | 0.4 | n |  | TRUE
54 | bus_LV_5933-1_0_4_node_183 | 0.4 | n |  | TRUE
55 | bus_LV_5933-1_0_4_node_209 | 0.4 | n |  | TRUE
56 | bus_LV_5933-1_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5933-1_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_5933-1_0_4_node_189 | 0.4 | n |  | TRUE
59 | bus_LV_5933-1_0_4_node_190 | 0.4 | n |  | TRUE
60 | bus_LV_5933-1_0_4_node_186 | 0.4 | n |  | TRUE
61 | bus_LV_5933-1_0_4_node_184 | 0.4 | n |  | TRUE
62 | bus_LV_5933-1_0_4_node_208 | 0.4 | n |  | TRUE
63 | bus_LV_5933-1_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5933-1_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5933-1_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5933-1_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5933-1_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5933-1_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5933-1_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5933-1_0_4_node_132 | 0.4 | n |  | TRUE
71 | bus_LV_5933-1_0_4_node_229 | 0.4 | n |  | TRUE
72 | bus_LV_5933-1_0_4_node_133 | 0.4 | n |  | TRUE
73 | bus_LV_5933-1_0_4_node_217 | 0.4 | n |  | TRUE
74 | bus_LV_5933-1_0_4_node_227 | 0.4 | n |  | TRUE
75 | bus_LV_5933-1_0_4_node_230 | 0.4 | n |  | TRUE
76 | bus_LV_5933-1_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_5933-1_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5933-1_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5933-1_0_4_node_240 | 0.4 | n |  | TRUE
80 | bus_LV_5933-1_0_4_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_5933-1_0_4_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_5933-1_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_5933-1_0_4_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_5933-1_0_4_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_5933-1_0_4_node_231 | 0.4 | n |  | TRUE
86 | bus_LV_5933-1_0_4_node_232 | 0.4 | n |  | TRUE
87 | bus_LV_5933-1_0_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_5933-1_0_4_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_5933-1_0_4_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_5933-1_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_5933-1_0_4_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_5933-1_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_5933-1_0_4_node_98 | 0.4 | n |  | TRUE
94 | bus_LV_5933-1_0_4_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_5933-1_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_5933-1_0_4_node_129 | 0.4 | n |  | TRUE
97 | bus_LV_5933-1_0_4_node_130 | 0.4 | n |  | TRUE
98 | bus_LV_5933-1_0_4_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_5933-1_0_4_node_122 | 0.4 | n |  | TRUE
100 | bus_LV_5933-1_0_4_node_131 | 0.4 | n |  | TRUE
101 | bus_LV_5933-1_0_4_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_5933-1_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_5933-1_0_4_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_5933-1_0_4_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_5933-1_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_5933-1_0_4_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_5933-1_0_4_node_235 | 0.4 | n |  | TRUE
108 | bus_LV_5933-1_0_4_node_241 | 0.4 | n |  | TRUE
109 | bus_LV_5933-1_0_4_node_236 | 0.4 | n |  | TRUE
110 | bus_LV_5933-1_0_4_node_237 | 0.4 | n |  | TRUE
111 | bus_LV_5933-1_0_4_node_114 | 0.4 | n |  | TRUE
112 | bus_LV_5933-1_0_4_node_115 | 0.4 | n |  | TRUE
113 | bus_LV_5933-1_0_4_node_116 | 0.4 | n |  | TRUE
114 | bus_LV_5933-1_0_4_node_117 | 0.4 | n |  | TRUE
115 | bus_LV_5933-1_0_4_node_121 | 0.4 | n |  | TRUE
116 | bus_LV_5933-1_0_4_node_201 | 0.4 | n |  | TRUE
117 | bus_LV_5933-1_0_4_node_196 | 0.4 | n |  | TRUE
118 | bus_LV_5933-1_0_4_node_200 | 0.4 | n |  | TRUE
119 | bus_LV_5933-1_0_4_node_194 | 0.4 | n |  | TRUE
120 | bus_LV_5933-1_0_4_node_242 | 0.4 | n |  | TRUE
121 | bus_LV_5933-1_0_4_node_206 | 0.4 | n |  | TRUE
122 | bus_LV_5933-1_0_4_node_205 | 0.4 | n |  | TRUE
123 | bus_LV_5933-1_0_4_node_187 | 0.4 | n |  | TRUE
124 | bus_LV_5933-1_0_4_node_188 | 0.4 | n |  | TRUE
125 | bus_LV_5933-1_0_4_node_192 | 0.4 | n |  | TRUE
126 | bus_LV_5933-1_0_4_node_191 | 0.4 | n |  | TRUE
127 | bus_LV_5933-1_0_4_node_193 | 0.4 | n |  | TRUE
128 | bus_LV_5933-1_0_4_node_195 | 0.4 | n |  | TRUE
129 | bus_LV_5933-1_0_4_node_197 | 0.4 | n |  | TRUE
130 | bus_LV_5933-1_0_4_node_198 | 0.4 | n |  | TRUE
131 | bus_LV_5933-1_0_4_node_199 | 0.4 | n |  | TRUE
132 | bus_LV_5933-1_0_4_node_207 | 0.4 | n |  | TRUE
133 | bus_LV_5933-1_0_4_node_213 | 0.4 | n |  | TRUE
134 | bus_LV_5933-1_0_4_node_215 | 0.4 | n |  | TRUE
135 | bus_LV_5933-1_0_4_node_212 | 0.4 | n |  | TRUE
136 | bus_LV_5933-1_0_4_node_202 | 0.4 | n |  | TRUE
137 | bus_LV_5933-1_0_4_node_203 | 0.4 | n |  | TRUE
138 | bus_LV_5933-1_0_4_node_204 | 0.4 | n |  | TRUE
139 | bus_LV_5933-1_0_4_node_211 | 0.4 | n |  | TRUE
140 | bus_LV_5933-1_0_4_node_210 | 0.4 | n |  | TRUE
141 | bus_LV_5933-1_0_4_node_214 | 0.4 | n |  | TRUE
142 | bus_LV_5933-1_0_4_node_216 | 0.4 | n |  | TRUE
143 | bus_LV_5933-1_0_4_node_218 | 0.4 | n |  | TRUE
144 | bus_LV_5933-1_0_4_node_224 | 0.4 | n |  | TRUE
145 | bus_LV_5933-1_0_4_node_228 | 0.4 | n |  | TRUE
146 | bus_LV_5933-1_0_4_node_222 | 0.4 | n |  | TRUE
147 | bus_LV_5933-1_0_4_node_221 | 0.4 | n |  | TRUE
148 | bus_LV_5933-1_0_4_node_223 | 0.4 | n |  | TRUE
149 | bus_LV_5933-1_0_4_node_225 | 0.4 | n |  | TRUE
150 | bus_LV_5933-1_0_4_node_226 | 0.4 | n |  | TRUE
151 | bus_LV_5933-1_0_4_node_250 | 0.4 | n |  | TRUE
152 | bus_LV_5933-1_0_4_node_248 | 0.4 | n |  | TRUE
153 | bus_LV_5933-1_0_4_node_238 | 0.4 | n |  | TRUE
154 | bus_LV_5933-1_0_4_node_246 | 0.4 | n |  | TRUE
155 | bus_LV_5933-1_0_4_node_239 | 0.4 | n |  | TRUE
156 | bus_LV_5933-1_0_4_node_233 | 0.4 | n |  | TRUE
157 | bus_LV_5933-1_0_4_node_234 | 0.4 | n |  | TRUE
158 | bus_LV_5933-1_0_4_node_244 | 0.4 | n |  | TRUE
159 | bus_LV_5933-1_0_4_node_245 | 0.4 | n |  | TRUE
160 | bus_LV_5933-1_0_4_node_247 | 0.4 | n |  | TRUE
161 | bus_LV_5933-1_0_4_node_249 | 0.4 | n |  | TRUE
162 | bus_MV_316_1_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5933-1_0_4_load_0 | 0 | 0.0019406 | 0.00048636 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5933-1_0_4_load_1 | 1 | 0.0019429 | 0.00048693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5933-1_0_4_load_3 | 3 | 0.0007995 | 0.00020037 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5933-1_0_4_load_4 | 4 | 0.0019416 | 0.00048661 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5933-1_0_4_load_5 | 5 | 0.001686 | 0.00042255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5933-1_0_4_load_6 | 6 | 0.0022492 | 0.0005637 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5933-1_0_4_load_8 | 8 | 0.001686 | 0.00042255 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5933-1_0_4_load_11 | 11 | 0.0016855 | 0.00042242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5933-1_0_4_load_15 | 13 | 0.0017615 | 0.00044147 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5933-1_0_4_load_10 | 15 | 0.0016862 | 0.0004226 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5933-1_0_4_load_9 | 16 | 0.00061912 | 0.00015517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5933-1_0_4_load_29 | 17 | 0.00088996 | 0.00022305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5933-1_0_4_load_36 | 18 | 0.0015022 | 0.00037648 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5933-1_0_4_load_106 | 19 | 0.0030757 | 0.00077084 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5933-1_0_4_load_102 | 20 | 0.0032328 | 0.00081022 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5933-1_0_4_load_35 | 23 | 0.006047 | 0.0015155 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5933-1_0_4_load_16 | 24 | 0.0079373 | 0.0019893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5933-1_0_4_load_17 | 25 | 0.0020899 | 0.00052377 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5933-1_0_4_load_18 | 26 | 0.0048315 | 0.0012109 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5933-1_0_4_load_21 | 29 | 0.00108 | 0.00027068 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5933-1_0_4_load_124 | 30 | 0.002763 | 0.00069248 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5933-1_0_4_load_243 | 32 | 0.00061006 | 0.0001529 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5933-1_0_4_load_123 | 33 | 0.00070909 | 0.00017771 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5933-1_0_4_load_118 | 34 | 0.0032124 | 0.0008051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5933-1_0_4_load_22 | 35 | 0.0024916 | 0.00062446 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5933-1_0_4_load_23 | 36 | 0.001178 | 0.00029524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5933-1_0_4_load_25 | 37 | 0.0042353 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5933-1_0_4_load_27 | 39 | 0.0030158 | 0.00075584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5933-1_0_4_load_28 | 40 | 0.0010088 | 0.00025284 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5933-1_0_4_load_219 | 42 | 0.00059909 | 0.00015015 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5933-1_0_4_load_288 | 43 | 0.0027055 | 0.00067806 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5933-1_0_4_load_220 | 45 | 0.0011454 | 0.00028707 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5933-1_0_4_load_33 | 46 | 0.020846 | 0.0052246 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5933-1_0_4_load_37 | 47 | 0.0044602 | 0.0011178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5933-1_0_4_load_39 | 49 | 0.0093304 | 0.0023384 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5933-1_0_4_load_185 | 53 | 0.0019138 | 0.00047965 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5933-1_0_4_load_183 | 54 | 0.0025062 | 0.00062811 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5933-1_0_4_load_209 | 55 | 0.0018727 | 0.00046933 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5933-1_0_4_load_54 | 56 | 0.0012166 | 0.0003049 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5933-1_0_4_load_53 | 57 | 0.0029698 | 0.0007443 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5933-1_0_4_load_189 | 58 | 0.0019261 | 0.00048273 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5933-1_0_4_load_190 | 59 | 0.0019287 | 0.00048337 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5933-1_0_4_load_186 | 60 | 0.0019103 | 0.00047876 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5933-1_0_4_load_184 | 61 | 0.0087555 | 0.0021943 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5933-1_0_4_load_208 | 62 | 0.0020875 | 0.00052319 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5933-1_0_4_load_55 | 63 | 0.00078204 | 0.000196 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5933-1_0_4_load_63 | 65 | 0.00057308 | 0.00014363 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5933-1_0_4_load_64 | 67 | 0.0011371 | 0.00028499 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5933-1_0_4_load_65 | 68 | 0.001993 | 0.0004995 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5933-1_0_4_load_132 | 70 | 0.0021345 | 0.00053496 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5933-1_0_4_load_229 | 71 | 0.00054485 | 0.00013655 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5933-1_0_4_load_133 | 72 | 0.0009344 | 0.00023418 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5933-1_0_4_load_217 | 73 | 0.0034162 | 0.00085619 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5933-1_0_4_load_227 | 74 | 0.002504 | 0.00062757 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5933-1_0_4_load_230 | 75 | 0.00062914 | 0.00015768 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5933-1_0_4_load_70 | 76 | 0.0019595 | 0.0004911 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5933-1_0_4_load_73 | 77 | 0.0019082 | 0.00047824 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5933-1_0_4_load_77 | 78 | 0.0016458 | 0.00041248 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5933-1_0_4_load_240 | 79 | 0.0033063 | 0.00082864 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5933-1_0_4_load_101 | 80 | 0.002148 | 0.00053834 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5933-1_0_4_load_86 | 81 | 0.0016243 | 0.00040708 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5933-1_0_4_load_87 | 82 | 0.001616 | 0.00040502 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5933-1_0_4_load_91 | 84 | 0.0020347 | 0.00050995 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5933-1_0_4_load_231 | 85 | 0.0026619 | 0.00066714 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5933-1_0_4_load_232 | 86 | 0.00080977 | 0.00020295 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5933-1_0_4_load_92 | 87 | 0.00037257 | 9.3374e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5933-1_0_4_load_93 | 88 | 0.0022356 | 0.0005603 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5933-1_0_4_load_95 | 90 | 0.0029623 | 0.00074242 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5933-1_0_4_load_96 | 91 | 0.00077155 | 0.00019337 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5933-1_0_4_load_97 | 92 | 0.0008374 | 0.00020987 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5933-1_0_4_load_99 | 94 | 0.00043714 | 0.00010956 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5933-1_0_4_load_129 | 96 | 0.0023952 | 0.0006003 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5933-1_0_4_load_130 | 97 | 0.0022436 | 0.00056229 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5933-1_0_4_load_112 | 98 | 0.0024424 | 0.00061212 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5933-1_0_4_load_131 | 100 | 0.0039232 | 0.00098324 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5933-1_0_4_load_113 | 101 | 0.0048011 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5933-1_0_4_load_104 | 103 | 0.00152 | 0.00038094 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5933-1_0_4_load_105 | 104 | 0.0010051 | 0.0002519 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5933-1_0_4_load_107 | 105 | 0.0020381 | 0.00051079 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5933-1_0_4_load_108 | 106 | 0.00080927 | 0.00020282 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5933-1_0_4_load_241 | 108 | 0.0029497 | 0.00073927 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5933-1_0_4_load_237 | 110 | 0.00079603 | 0.0001995 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5933-1_0_4_load_114 | 111 | 0.0013251 | 0.0003321 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5933-1_0_4_load_115 | 112 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5933-1_0_4_load_116 | 113 | 0.0054305 | 0.001361 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5933-1_0_4_load_117 | 114 | 0.0033758 | 0.00084604 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5933-1_0_4_load_121 | 115 | 0.0013807 | 0.00034602 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5933-1_0_4_load_201 | 116 | 0.0010953 | 0.00027452 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5933-1_0_4_load_196 | 117 | 0.0031972 | 0.0008013 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5933-1_0_4_load_200 | 118 | 0.0012762 | 0.00031985 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5933-1_0_4_load_194 | 119 | 0.0010857 | 0.0002721 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5933-1_0_4_load_242 | 120 | 0.001725 | 0.00043234 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5933-1_0_4_load_206 | 121 | 0.0023405 | 0.00058658 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5933-1_0_4_load_205 | 122 | 0.0018783 | 0.00047073 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5933-1_0_4_load_187 | 123 | 0.0019114 | 0.00047905 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5933-1_0_4_load_188 | 124 | 0.0019131 | 0.00047946 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5933-1_0_4_load_192 | 125 | 0.001927 | 0.00048294 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5933-1_0_4_load_191 | 126 | 0.001929 | 0.00048347 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5933-1_0_4_load_193 | 127 | 0.0050231 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5933-1_0_4_load_195 | 128 | 0.003072 | 0.00076991 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5933-1_0_4_load_198 | 130 | 0.00257 | 0.00064411 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5933-1_0_4_load_199 | 131 | 0.0014343 | 0.00035948 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5933-1_0_4_load_202 | 136 | 0.0014165 | 0.00035502 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5933-1_0_4_load_203 | 137 | 0.00069936 | 0.00017528 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5933-1_0_4_load_204 | 138 | 0.0015152 | 0.00037975 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5933-1_0_4_load_211 | 139 | 0.00066255 | 0.00016605 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5933-1_0_4_load_210 | 140 | 0.00065878 | 0.0001651 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5933-1_0_4_load_214 | 141 | 0.0050009 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5933-1_0_4_load_216 | 142 | 0.00069251 | 0.00017356 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5933-1_0_4_load_218 | 143 | 0.0019474 | 0.00048806 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5933-1_0_4_load_224 | 144 | 0.0015543 | 0.00038955 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5933-1_0_4_load_228 | 145 | 0.0012069 | 0.00030248 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5933-1_0_4_load_222 | 146 | 0.0016589 | 0.00041577 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5933-1_0_4_load_221 | 147 | 0.0011968 | 0.00029994 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5933-1_0_4_load_223 | 148 | 0.0011291 | 0.00028297 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5933-1_0_4_load_225 | 149 | 0.0019674 | 0.00049308 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5933-1_0_4_load_250 | 151 | 0.0018253 | 0.00045747 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5933-1_0_4_load_248 | 152 | 0.0024183 | 0.00060608 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5933-1_0_4_load_238 | 153 | 0.0017003 | 0.00042613 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5933-1_0_4_load_246 | 154 | 0.0012695 | 0.00031816 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_5933-1_0_4_load_239 | 155 | 0.00063233 | 0.00015848 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_5933-1_0_4_load_233 | 156 | 0.0021826 | 0.000547 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_5933-1_0_4_load_234 | 157 | 0.0019435 | 0.0004871 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_5933-1_0_4_load_244 | 158 | 0.0086684 | 0.0021725 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_5933-1_0_4_load_245 | 159 | 0.0012013 | 0.00030106 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_5933-1_0_4_load_247 | 160 | 0.0015699 | 0.00039345 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_5933-1_0_4_load_249 | 161 | 0.00092091 | 0.0002308 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 110 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5933-1_0_4_line_0 |  | 0 | 1 | 0.023776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5933-1_0_4_line_1 |  | 0 | 2 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5933-1_0_4_line_2 |  | 1 | 3 | 0.032146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5933-1_0_4_line_3 |  | 2 | 4 | 0.011459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5933-1_0_4_line_4 |  | 2 | 5 | 0.051482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5933-1_0_4_line_5 |  | 2 | 6 | 0.032502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5933-1_0_4_line_6 |  | 4 | 7 | 0.020292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5933-1_0_4_line_7 |  | 5 | 8 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5933-1_0_4_line_8 |  | 7 | 9 | 0.001764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5933-1_0_4_line_9 |  | 7 | 10 | 0.055736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5933-1_0_4_line_10 |  | 8 | 11 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5933-1_0_4_line_11 |  | 9 | 12 | 0.042631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5933-1_0_4_line_12 |  | 9 | 13 | 0.023193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5933-1_0_4_line_13 |  | 10 | 14 | 0.078773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5933-1_0_4_line_14 |  | 11 | 15 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5933-1_0_4_line_15 |  | 12 | 17 | 0.017736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5933-1_0_4_line_16 |  | 12 | 18 | 0.008651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5933-1_0_4_line_17 |  | 14 | 19 | 0.035568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5933-1_0_4_line_18 |  | 14 | 20 | 0.01251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5933-1_0_4_line_19 |  | 14 | 21 | 0.050227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5933-1_0_4_line_20 |  | 15 | 16 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5933-1_0_4_line_21 |  | 17 | 22 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5933-1_0_4_line_22 |  | 18 | 23 | 0.029789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5933-1_0_4_line_23 |  | 19 | 79 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5933-1_0_4_line_24 |  | 20 | 80 | 0.0070059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5933-1_0_4_line_25 |  | 21 | 77 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5933-1_0_4_line_26 |  | 21 | 76 | 0.039908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5933-1_0_4_line_27 |  | 22 | 41 | 0.043082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5933-1_0_4_line_28 |  | 22 | 38 | 0.004014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5933-1_0_4_line_29 |  | 24 | 25 | 0.033349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5933-1_0_4_line_30 |  | 24 | 26 | 0.0087044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5933-1_0_4_line_31 |  | 25 | 27 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5933-1_0_4_line_32 |  | 27 | 28 | 0.032458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5933-1_0_4_line_33 |  | 27 | 29 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5933-1_0_4_line_34 |  | 28 | 30 | 0.027057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5933-1_0_4_line_35 |  | 28 | 31 | 0.03056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5933-1_0_4_line_36 |  | 30 | 32 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5933-1_0_4_line_37 |  | 31 | 33 | 0.0073525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5933-1_0_4_line_38 |  | 31 | 34 | 0.014658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5933-1_0_4_line_39 |  | 32 | 120 | 0.02624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5933-1_0_4_line_40 |  | 33 | 69 | 0.026789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5933-1_0_4_line_41 |  | 34 | 113 | 0.023161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5933-1_0_4_line_42 |  | 35 | 36 | 0.0046244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5933-1_0_4_line_43 |  | 36 | 37 | 0.0040394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5933-1_0_4_line_44 |  | 37 | 40 | 0.032317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5933-1_0_4_line_45 |  | 38 | 39 | 0.044494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5933-1_0_4_line_46 |  | 40 | 42 | 0.0071138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5933-1_0_4_line_47 |  | 41 | 43 | 0.008775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5933-1_0_4_line_48 |  | 41 | 44 | 0.061625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5933-1_0_4_line_49 |  | 42 | 45 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5933-1_0_4_line_50 |  | 44 | 46 | 0.042745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5933-1_0_4_line_51 |  | 45 | 142 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5933-1_0_4_line_52 |  | 47 | 48 | 0.034701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5933-1_0_4_line_53 |  | 48 | 49 | 0.027916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5933-1_0_4_line_54 |  | 48 | 50 | 0.062149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5933-1_0_4_line_55 |  | 49 | 51 | 0.0019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5933-1_0_4_line_56 |  | 50 | 55 | 0.034247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5933-1_0_4_line_57 |  | 50 | 56 | 0.044121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5933-1_0_4_line_58 |  | 50 | 52 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5933-1_0_4_line_59 |  | 51 | 57 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5933-1_0_4_line_60 |  | 52 | 53 | 0.021296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5933-1_0_4_line_61 |  | 52 | 54 | 0.0033003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5933-1_0_4_line_62 |  | 53 | 60 | 0.0077575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5933-1_0_4_line_63 |  | 54 | 61 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5933-1_0_4_line_64 |  | 55 | 62 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5933-1_0_4_line_65 |  | 57 | 63 | 0.027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5933-1_0_4_line_66 |  | 58 | 59 | 0.0056069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5933-1_0_4_line_67 |  | 59 | 126 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5933-1_0_4_line_68 |  | 60 | 123 | 0.0098259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5933-1_0_4_line_69 |  | 62 | 132 | 0.0063803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5933-1_0_4_line_70 |  | 63 | 64 | 0.0047524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5933-1_0_4_line_71 |  | 64 | 65 | 0.033379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5933-1_0_4_line_72 |  | 65 | 69 | 0.0024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5933-1_0_4_line_73 |  | 66 | 67 | 0.0089501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5933-1_0_4_line_74 |  | 66 | 68 | 0.0046299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5933-1_0_4_line_75 |  | 67 | 70 | 0.0063996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5933-1_0_4_line_76 |  | 69 | 71 | 0.058177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5933-1_0_4_line_77 |  | 70 | 72 | 0.0066655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5933-1_0_4_line_78 |  | 71 | 75 | 0.010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5933-1_0_4_line_79 |  | 72 | 106 | 0.008643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5933-1_0_4_line_80 |  | 73 | 74 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5933-1_0_4_line_81 |  | 74 | 145 | 0.0010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5933-1_0_4_line_82 |  | 77 | 78 | 0.008597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5933-1_0_4_line_83 |  | 79 | 108 | 0.0088617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5933-1_0_4_line_84 |  | 80 | 102 | 0.03828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5933-1_0_4_line_85 |  | 81 | 82 | 0.016913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5933-1_0_4_line_86 |  | 82 | 83 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5933-1_0_4_line_87 |  | 83 | 84 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5933-1_0_4_line_88 |  | 84 | 85 | 0.019738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5933-1_0_4_line_89 |  | 85 | 86 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5933-1_0_4_line_90 |  | 86 | 156 | 0.00077511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5933-1_0_4_line_91 |  | 87 | 88 | 0.032079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5933-1_0_4_line_92 |  | 87 | 89 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5933-1_0_4_line_93 |  | 88 | 90 | 0.00164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5933-1_0_4_line_94 |  | 89 | 91 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5933-1_0_4_line_95 |  | 89 | 92 | 0.030109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5933-1_0_4_line_96 |  | 90 | 93 | 0.0038514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5933-1_0_4_line_97 |  | 91 | 94 | 0.0062916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5933-1_0_4_line_98 |  | 92 | 95 | 0.038412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5933-1_0_4_line_99 |  | 93 | 96 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5933-1_0_4_line_100 |  | 93 | 97 | 0.0098031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5933-1_0_4_line_101 |  | 95 | 98 | 0.066752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5933-1_0_4_line_102 |  | 96 | 99 | 0.013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5933-1_0_4_line_103 |  | 97 | 100 | 0.0089961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5933-1_0_4_line_104 |  | 98 | 101 | 0.010195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5933-1_0_4_line_105 |  | 99 | 117 | 0.0056353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5933-1_0_4_line_106 |  | 100 | 121 | 0.0011207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5933-1_0_4_line_107 |  | 101 | 111 | 0.0068068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5933-1_0_4_line_108 |  | 102 | 103 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5933-1_0_4_line_109 |  | 102 | 104 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5933-1_0_4_line_110 |  | 103 | 105 | 0.0022921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5933-1_0_4_line_111 |  | 104 | 106 | 0.00060636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5933-1_0_4_line_112 |  | 105 | 107 | 0.0082959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5933-1_0_4_line_113 |  | 107 | 109 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
114 | LV_5933-1_0_4_line_114 |  | 107 | 110 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_5933-1_0_4_line_115 |  | 109 | 153 | 0.0068041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_5933-1_0_4_line_116 |  | 110 | 155 | 0.00025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5933-1_0_4_line_117 |  | 112 | 113 | 0.0019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5933-1_0_4_line_118 |  | 112 | 114 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5933-1_0_4_line_119 |  | 115 | 116 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5933-1_0_4_line_120 |  | 116 | 118 | 0.0081458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5933-1_0_4_line_121 |  | 117 | 119 | 0.0039138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5933-1_0_4_line_122 |  | 118 | 136 | 0.0062198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5933-1_0_4_line_123 |  | 120 | 157 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5933-1_0_4_line_124 |  | 121 | 122 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5933-1_0_4_line_125 |  | 122 | 132 | 0.0068512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5933-1_0_4_line_126 |  | 123 | 124 | 0.0078037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5933-1_0_4_line_127 |  | 124 | 125 | 0.0076966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5933-1_0_4_line_128 |  | 125 | 126 | 0.0071761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5933-1_0_4_line_129 |  | 127 | 128 | 0.0075779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5933-1_0_4_line_130 |  | 128 | 129 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5933-1_0_4_line_131 |  | 129 | 130 | 0.0037761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5933-1_0_4_line_132 |  | 129 | 131 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
133 | LV_5933-1_0_4_line_133 |  | 130 | 132 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5933-1_0_4_line_134 |  | 131 | 133 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_5933-1_0_4_line_135 |  | 133 | 134 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_5933-1_0_4_line_136 |  | 133 | 135 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5933-1_0_4_line_137 |  | 134 | 143 | 0.010055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_5933-1_0_4_line_138 |  | 135 | 141 | 0.0077058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5933-1_0_4_line_139 |  | 135 | 140 | 0.010957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5933-1_0_4_line_140 |  | 136 | 137 | 0.0084984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5933-1_0_4_line_141 |  | 137 | 138 | 0.0024587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5933-1_0_4_line_142 |  | 138 | 139 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5933-1_0_4_line_143 |  | 139 | 140 | 0.0089107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5933-1_0_4_line_144 |  | 141 | 142 | 0.00090551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5933-1_0_4_line_145 |  | 143 | 144 | 0.0017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
146 | LV_5933-1_0_4_line_146 |  | 144 | 146 | 0.0057081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
147 | LV_5933-1_0_4_line_147 |  | 145 | 155 | 0.012784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5933-1_0_4_line_148 |  | 146 | 147 | 0.0071696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
149 | LV_5933-1_0_4_line_149 |  | 147 | 148 | 0.0027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
150 | LV_5933-1_0_4_line_150 |  | 148 | 149 | 0.0068901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
151 | LV_5933-1_0_4_line_151 |  | 149 | 150 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
152 | LV_5933-1_0_4_line_152 |  | 150 | 151 | 0.0074098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
153 | LV_5933-1_0_4_line_153 |  | 150 | 152 | 0.0054873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5933-1_0_4_line_154 |  | 151 | 153 | 0.0022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
155 | LV_5933-1_0_4_line_155 |  | 152 | 154 | 0.011496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5933-1_0_4_line_156 |  | 154 | 158 | 0.0059545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_5933-1_0_4_line_157 |  | 156 | 157 | 0.021671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_5933-1_0_4_line_158 |  | 158 | 159 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_5933-1_0_4_line_159 |  | 159 | 160 | 0.0063624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_5933-1_0_4_line_160 |  | 160 | 161 | 0.0091254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5933-1_0_4_trafo_237 | 0.63 MVA 20/0.4 kV | 162 | 110 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2536852.3343 | 1183394.9794 | 2536869.8503 | 1183401.8446 | 2536874.4873 | 1183403.6126
1 | 2536841.3876 | 1183390.9278 | 2536850.5157 | 1183394.2666 | 2536852.3343 | 1183394.9794
2 | 2536905.434 | 1183409.0956 | 2536900.1524 | 1183409.8294 | 2536890.846 | 1183409.8499 | 2536874.4873 | 1183403.6126
3 | 2536841.3876 | 1183390.9278 | 2536830.622 | 1183387.001
4 | 2536841.3876 | 1183390.9278 | 2536837.3967 | 1183406.2898 | 2536834.5177 | 1183417.7823 | 2536833.6278 | 1183425.3293 | 2536834.4347 | 1183428.7116 | 2536839.2201 | 1183431.4626 | 2536846.269 | 1183432.7534
5 | 2536841.3876 | 1183390.9278 | 2536837.3967 | 1183406.2898 | 2536834.5177 | 1183417.7823 | 2536833.9577 | 1183422.5319
6 | 2536811.5586 | 1183380.0477 | 2536830.622 | 1183387.001
7 | 2536868.0505 | 1183435.5853 | 2536853.685 | 1183434.1114 | 2536846.269 | 1183432.7534
8 | 2536812.0829 | 1183378.3634 | 2536811.5586 | 1183380.0477
9 | 2536795.4103 | 1183433.3931 | 2536796.3104 | 1183430.4264 | 2536811.5586 | 1183380.0477
10 | 2536868.0505 | 1183435.5853 | 2536869.8955 | 1183435.7746 | 2536888.3111 | 1183435.8692 | 2536891.2543 | 1183435.5185
11 | 2536812.0829 | 1183378.3634 | 2536822.987 | 1183343.1393 | 2536822.8727 | 1183337.3817
12 | 2536812.0829 | 1183378.3634 | 2536790.7241 | 1183369.3235
13 | 2536769.9421 | 1183505.6479 | 2536772.6783 | 1183505.9302 | 2536781.3943 | 1183479.7009 | 2536795.4103 | 1183433.3931
14 | 2536912.5082 | 1183432.7984 | 2536909.7068 | 1183433.3198 | 2536891.2543 | 1183435.5185
15 | 2536822.8727 | 1183337.3817 | 2536820.0408 | 1183334.5433 | 2536814.4362 | 1183330.8671 | 2536807.9339 | 1183328.2121
16 | 2536822.8727 | 1183337.3817 | 2536831.5055 | 1183337.9428
17 | 2536769.9421 | 1183505.6479 | 2536765.5891 | 1183532.9428 | 2536773.4308 | 1183534.1086
18 | 2536769.9421 | 1183505.6479 | 2536757.4981 | 1183504.3629
19 | 2536769.9421 | 1183505.6479 | 2536772.6783 | 1183505.9302 | 2536819.6926 | 1183512.5372
20 | 2536912.5082 | 1183432.7984 | 2536934.0283 | 1183428.3916
21 | 2536798.9976 | 1183322.0808 | 2536807.9339 | 1183328.2121
22 | 2536859.2563 | 1183348.4747 | 2536833.7596 | 1183338.0894 | 2536831.5055 | 1183337.9428
23 | 2536786.1654 | 1183536.002 | 2536773.4308 | 1183534.1086
24 | 2536757.4981 | 1183504.3629 | 2536754.5112 | 1183504.0545 | 2536750.5696 | 1183503.3552
25 | 2536819.6926 | 1183512.5372 | 2536820.7371 | 1183531.4195
26 | 2536819.6926 | 1183512.5372 | 2536850.4823 | 1183516.859 | 2536859.2985 | 1183516.9494
27 | 2536825.0647 | 1183288.3306 | 2536816.0182 | 1183305.0135 | 2536798.9976 | 1183322.0808
28 | 2536795.6698 | 1183324.3394 | 2536798.9976 | 1183322.0808
29 | 2536709.2086 | 1183687.6614 | 2536715.821 | 1183654.975
30 | 2536707.4826 | 1183696.193 | 2536709.2086 | 1183687.6614
31 | 2536719.0717 | 1183638.9061 | 2536715.821 | 1183654.975
32 | 2536719.0717 | 1183638.9061 | 2536725.6214 | 1183607.1188
33 | 2536708.1056 | 1183634.9977 | 2536719.0717 | 1183638.9061
34 | 2536725.6214 | 1183607.1188 | 2536751.0851 | 1183616.2657
35 | 2536696.7912 | 1183596.7512 | 2536725.6214 | 1183607.1188
36 | 2536751.0851 | 1183616.2657 | 2536761.5691 | 1183620.0317
37 | 2536696.7912 | 1183596.7512 | 2536689.8721 | 1183594.2644
38 | 2536696.7912 | 1183596.7512 | 2536700.2534 | 1183582.5076
39 | 2536761.5691 | 1183620.0317 | 2536777.5415 | 1183625.7693 | 2536786.8093 | 1183625.899
40 | 2536665.4805 | 1183583.5752 | 2536671.7927 | 1183587.7663 | 2536689.8721 | 1183594.2644
41 | 2536705.7237 | 1183560.0024 | 2536700.2534 | 1183582.5076
42 | 2536735.7613 | 1183377.4197 | 2536735.3719 | 1183377.8295 | 2536732.3694 | 1183380.561
43 | 2536732.3694 | 1183380.561 | 2536729.3814 | 1183383.2793
44 | 2536702.5836 | 1183400.1061 | 2536711.0187 | 1183398.1542 | 2536722.1916 | 1183389.8202 | 2536729.3814 | 1183383.2793
45 | 2536795.6698 | 1183324.3394 | 2536773.5231 | 1183307.8863 | 2536769.5011 | 1183308.0289 | 2536765.9182 | 1183309.2675 | 2536758.3398 | 1183314.2844
46 | 2536702.5836 | 1183400.1061 | 2536698.9855 | 1183400.9387 | 2536695.606 | 1183401.4674
47 | 2536825.0647 | 1183288.3306 | 2536818.9588 | 1183282.0138
48 | 2536825.0647 | 1183288.3306 | 2536830.2021 | 1183278.8599 | 2536835.5521 | 1183267.1078 | 2536836.525 | 1183255.8578 | 2536841.6397 | 1183248.5774 | 2536848.2258 | 1183256.2678 | 2536848.8558 | 1183263.8655
49 | 2536695.606 | 1183401.4674 | 2536683.711 | 1183403.3284
50 | 2536848.8558 | 1183263.8655 | 2536856.2599 | 1183283.2317 | 2536876.8576 | 1183290.9944
51 | 2536673.5755 | 1183404.9141 | 2536683.711 | 1183403.3284
52 | 2536577.7223 | 1183518.0121 | 2536562.3998 | 1183519.4421 | 2536557.9162 | 1183520.6792 | 2536556.0164 | 1183522.9451 | 2536555.8179 | 1183526.5493 | 2536558.0147 | 1183529.9612 | 2536561.5577 | 1183531.8942
53 | 2536577.7223 | 1183518.0121 | 2536603.5357 | 1183528.6395
54 | 2536577.7223 | 1183518.0121 | 2536566.1052 | 1183513.2215 | 2536558.591 | 1183504.4072 | 2536568.4602 | 1183492.6959 | 2536576.8957 | 1183481.8336 | 2536578.6731 | 1183479.5468 | 2536580.1741 | 1183477.0961 | 2536581.825 | 1183474.3993
55 | 2536605.3116 | 1183529.3706 | 2536603.5357 | 1183528.6395
56 | 2536581.825 | 1183474.3993 | 2536599.7448 | 1183445.2152
57 | 2536581.825 | 1183474.3993 | 2536624.7839 | 1183484.4594
58 | 2536568.1594 | 1183472.2541 | 2536580.1741 | 1183477.0961 | 2536581.825 | 1183474.3993
59 | 2536605.3116 | 1183529.3706 | 2536619.5513 | 1183535.1571
60 | 2536568.1594 | 1183472.2541 | 2536559.9372 | 1183486.6606 | 2536556.6611 | 1183490.0421
61 | 2536568.1594 | 1183472.2541 | 2536565.0983 | 1183471.0204
62 | 2536556.6611 | 1183490.0421 | 2536551.2634 | 1183495.6136
63 | 2536551.1456 | 1183465.3973 | 2536565.0983 | 1183471.0204
64 | 2536606.3306 | 1183434.5037 | 2536600.7825 | 1183443.5252 | 2536599.7448 | 1183445.2152
65 | 2536619.5513 | 1183535.1571 | 2536627.0949 | 1183538.2226 | 2536635.7009 | 1183544.8907 | 2536641.4321 | 1183551.4019
66 | 2536507.9265 | 1183519.32 | 2536507.9265 | 1183519.32 | 2536513.4791 | 1183518.5417
67 | 2536525.2442 | 1183514.9937 | 2536521.9149 | 1183517.3593 | 2536513.4791 | 1183518.5417
68 | 2536551.2634 | 1183495.6136 | 2536548.4887 | 1183498.4777 | 2536543.7295 | 1183501.8592
69 | 2536609.7915 | 1183429.1438 | 2536606.584 | 1183434.0917 | 2536606.3306 | 1183434.5037
70 | 2536644.5721 | 1183554.9692 | 2536641.4321 | 1183551.4019
71 | 2536644.5721 | 1183554.9692 | 2536654.5143 | 1183571.0286 | 2536661.198 | 1183580.73 | 2536663.4552 | 1183582.2297
72 | 2536665.4805 | 1183583.5752 | 2536663.4552 | 1183582.2297
73 | 2536670.2551 | 1183495.2299 | 2536679.153 | 1183494.2651
74 | 2536670.2551 | 1183495.2299 | 2536670.5524 | 1183490.6096
75 | 2536679.153 | 1183494.2651 | 2536685.5153 | 1183493.5752
76 | 2536665.4805 | 1183583.5752 | 2536651.5767 | 1183597.119 | 2536638.9391 | 1183607.67 | 2536659.7715 | 1183615.6367
77 | 2536692.1282 | 1183493.4696 | 2536689.7999 | 1183493.1106 | 2536685.5153 | 1183493.5752
78 | 2536669.3248 | 1183619.2902 | 2536659.7715 | 1183615.6367
79 | 2536700.6702 | 1183494.7864 | 2536692.1282 | 1183493.4696
80 | 2536672.1758 | 1183465.3814 | 2536684.6324 | 1183466.917
81 | 2536685.7204 | 1183467.0511 | 2536684.6324 | 1183466.917
82 | 2536821.212 | 1183540.0035 | 2536820.7371 | 1183531.4195
83 | 2536794.9307 | 1183537.3052 | 2536786.1654 | 1183536.002
84 | 2536712.8785 | 1183496.6684 | 2536750.5696 | 1183503.3552
85 | 2536885.2602 | 1183598.1962 | 2536894.0223 | 1183590.6859 | 2536898.9434 | 1183588.5294
86 | 2536873.1026 | 1183608.6169 | 2536885.2602 | 1183598.1962
87 | 2536873.1026 | 1183608.6169 | 2536858.7609 | 1183612.0722
88 | 2536839.5723 | 1183616.6954 | 2536858.7609 | 1183612.0722
89 | 2536839.5723 | 1183616.6954 | 2536821.1584 | 1183621.1319
90 | 2536820.4049 | 1183621.3134 | 2536821.1584 | 1183621.1319
91 | 2536568.8565 | 1183412.4237 | 2536552.6696 | 1183401.8227 | 2536542.6867 | 1183393.9236
92 | 2536533.5368 | 1183386.6837 | 2536542.6867 | 1183393.9236
93 | 2536568.8565 | 1183412.4237 | 2536570.2285 | 1183413.3222
94 | 2536533.5368 | 1183386.6837 | 2536543.2734 | 1183375.3962
95 | 2536533.5368 | 1183386.6837 | 2536524.0516 | 1183380.6476 | 2536513.5169 | 1183375.0006 | 2536507.0139 | 1183372.6532
96 | 2536573.4504 | 1183415.4323 | 2536570.2285 | 1183413.3222
97 | 2536549.0294 | 1183373.3319 | 2536546.8478 | 1183373.3683 | 2536543.2734 | 1183375.3962
98 | 2536469.2898 | 1183366.432 | 2536485.909 | 1183367.7229 | 2536500.4727 | 1183370.2919 | 2536507.0139 | 1183372.6532
99 | 2536573.4504 | 1183415.4323 | 2536577.3886 | 1183410.9991 | 2536580.7374 | 1183404.9713 | 2536581.7836 | 1183402.9714
100 | 2536573.4504 | 1183415.4323 | 2536577.7798 | 1183418.3658 | 2536581.9788 | 1183420.1781
101 | 2536469.2898 | 1183366.432 | 2536469.2309 | 1183379.5623 | 2536476.5322 | 1183394.8935 | 2536491.5586 | 1183402.9385 | 2536510.5728 | 1183407.6774
102 | 2536589.4004 | 1183393.9621 | 2536586.8434 | 1183393.2999 | 2536581.7836 | 1183402.9714
103 | 2536590.2385 | 1183423.7428 | 2536581.9788 | 1183420.1781
104 | 2536510.5728 | 1183407.6774 | 2536520.4648 | 1183410.1428
105 | 2536589.4004 | 1183393.9621 | 2536590.7555 | 1183394.3146 | 2536594.9719 | 1183394.7124
106 | 2536590.2385 | 1183423.7428 | 2536591.2675 | 1183424.1869
107 | 2536527.0696 | 1183411.7889 | 2536520.4648 | 1183410.1428
108 | 2536712.8785 | 1183496.6684 | 2536715.3547 | 1183483.481
109 | 2536712.8785 | 1183496.6684 | 2536701.2695 | 1183494.8788
110 | 2536715.7777 | 1183481.2283 | 2536715.3547 | 1183483.481
111 | 2536701.2695 | 1183494.8788 | 2536700.6702 | 1183494.7864
112 | 2536717.3087 | 1183473.0748 | 2536715.7777 | 1183481.2283
113 | 2536717.3087 | 1183473.0748 | 2536717.1529 | 1183462.6816
114 | 2536717.3087 | 1183473.0748 | 2536698.6442 | 1183468.214 | 2536698.3957 | 1183468.1508
115 | 2536717.1529 | 1183462.6816 | 2536716.4286 | 1183457.0083 | 2536716.3594 | 1183455.9258
116 | 2536698.3957 | 1183468.1508 | 2536698.1505 | 1183468.0884
117 | 2536705.7237 | 1183560.0024 | 2536705.7237 | 1183560.0024 | 2536703.8336 | 1183559.4431
118 | 2536693.6464 | 1183556.4282 | 2536703.8336 | 1183559.4431
119 | 2536618.1791 | 1183376.4058 | 2536605.9911 | 1183372.6924
120 | 2536618.1791 | 1183376.4058 | 2536625.9712 | 1183378.78
121 | 2536598.8684 | 1183395.08 | 2536594.9719 | 1183394.7124
122 | 2536631.921 | 1183380.5928 | 2536631.921 | 1183380.5928 | 2536625.9712 | 1183378.78
123 | 2536799.1552 | 1183625.3509 | 2536793.3774 | 1183625.9909 | 2536786.8093 | 1183625.899
124 | 2536591.2675 | 1183424.1869 | 2536598.396 | 1183427.2635 | 2536603.0317 | 1183428.0284
125 | 2536609.7915 | 1183429.1438 | 2536603.0317 | 1183428.0284
126 | 2536537.3681 | 1183506.3792 | 2536543.7295 | 1183501.8592
127 | 2536537.3681 | 1183506.3792 | 2536531.094 | 1183510.8372
128 | 2536531.094 | 1183510.8372 | 2536525.2442 | 1183514.9937
129 | 2536626.3768 | 1183413.901 | 2536626.0396 | 1183406.3306
130 | 2536627.0525 | 1183429.0719 | 2536626.3768 | 1183413.901
131 | 2536627.0525 | 1183429.0719 | 2536623.3008 | 1183429.5008
132 | 2536627.0525 | 1183429.0719 | 2536633.2518 | 1183428.3503 | 2536646.1292 | 1183425.2677
133 | 2536609.7915 | 1183429.1438 | 2536623.3008 | 1183429.5008
134 | 2536655.0271 | 1183420.5597 | 2536646.1292 | 1183425.2677
135 | 2536655.0271 | 1183420.5597 | 2536664.7828 | 1183432.6855 | 2536671.3765 | 1183444.7003
136 | 2536665.0676 | 1183406.2452 | 2536658.1983 | 1183410.7427 | 2536655.0271 | 1183420.5597
137 | 2536671.3765 | 1183444.7003 | 2536681.4255 | 1183445.0572
138 | 2536665.0676 | 1183406.2452 | 2536672.6808 | 1183405.0541
139 | 2536665.0676 | 1183406.2452 | 2536657.9101 | 1183397.9496
140 | 2536638.9883 | 1183385.3126 | 2536631.921 | 1183380.5928
141 | 2536638.9883 | 1183385.3126 | 2536641.0329 | 1183386.6781
142 | 2536650.5 | 1183393.0008 | 2536641.0329 | 1183386.6781
143 | 2536650.5 | 1183393.0008 | 2536657.9101 | 1183397.9496 | 2536657.9101 | 1183397.9496
144 | 2536672.6808 | 1183405.0541 | 2536673.5755 | 1183404.9141
145 | 2536681.4255 | 1183445.0572 | 2536683.2149 | 1183445.1208
146 | 2536683.2149 | 1183445.1208 | 2536688.9195 | 1183445.3234
147 | 2536685.7204 | 1183467.0511 | 2536691.6923 | 1183467.7873 | 2536693.6914 | 1183466.9546 | 2536698.1505 | 1183468.0884
148 | 2536696.0846 | 1183445.5779 | 2536688.9195 | 1183445.3234
149 | 2536696.0846 | 1183445.5779 | 2536698.79 | 1183445.674
150 | 2536705.6758 | 1183445.9186 | 2536698.79 | 1183445.674
151 | 2536715.7424 | 1183446.2761 | 2536705.6758 | 1183445.9186
152 | 2536715.7424 | 1183446.2761 | 2536716.2152 | 1183453.6708
153 | 2536715.7424 | 1183446.2761 | 2536716.5909 | 1183440.8548
154 | 2536716.3594 | 1183455.9258 | 2536716.2152 | 1183453.6708
155 | 2536716.5909 | 1183440.8548 | 2536718.3685 | 1183429.4975
156 | 2536719.2893 | 1183423.6146 | 2536718.3685 | 1183429.4975
157 | 2536820.4049 | 1183621.3134 | 2536807.4692 | 1183624.43 | 2536799.1552 | 1183625.3509
158 | 2536719.2893 | 1183423.6146 | 2536719.2893 | 1183423.6146 | 2536708.3358 | 1183419.7625
159 | 2536708.3358 | 1183419.7625 | 2536702.3337 | 1183417.6518
160 | 2536693.7251 | 1183414.6244 | 2536702.3337 | 1183417.6518

## bus_geodata
| x | y | coords
0 | 2536852.3343 | 1183394.9794
1 | 2536874.4873 | 1183403.6126
2 | 2536841.3876 | 1183390.9278
3 | 2536905.434 | 1183409.0956
4 | 2536830.622 | 1183387.001
5 | 2536846.269 | 1183432.7534
6 | 2536833.9577 | 1183422.5319
7 | 2536811.5586 | 1183380.0477
8 | 2536868.0505 | 1183435.5853
9 | 2536812.0829 | 1183378.3634
10 | 2536795.4103 | 1183433.3931
11 | 2536891.2543 | 1183435.5185
12 | 2536822.8727 | 1183337.3817
13 | 2536790.7241 | 1183369.3235
14 | 2536769.9421 | 1183505.6479
15 | 2536912.5082 | 1183432.7984
16 | 2536934.0283 | 1183428.3916
17 | 2536807.9339 | 1183328.2121
18 | 2536831.5055 | 1183337.9428
19 | 2536773.4308 | 1183534.1086
20 | 2536757.4981 | 1183504.3629
21 | 2536819.6926 | 1183512.5372
22 | 2536798.9976 | 1183322.0808
23 | 2536859.2563 | 1183348.4747
24 | 2536709.2086 | 1183687.6614
25 | 2536715.821 | 1183654.975
26 | 2536707.4826 | 1183696.193
27 | 2536719.0717 | 1183638.9061
28 | 2536725.6215 | 1183607.1188
29 | 2536708.1056 | 1183634.9977
30 | 2536751.0851 | 1183616.2657
31 | 2536696.7912 | 1183596.7512
32 | 2536761.5691 | 1183620.0317
33 | 2536689.8721 | 1183594.2644
34 | 2536700.2534 | 1183582.5076
35 | 2536735.7613 | 1183377.4197
36 | 2536732.3694 | 1183380.561
37 | 2536729.3814 | 1183383.2793
38 | 2536795.6698 | 1183324.3394
39 | 2536758.3398 | 1183314.2844
40 | 2536702.5836 | 1183400.1061
41 | 2536825.0647 | 1183288.3306
42 | 2536695.606 | 1183401.4674
43 | 2536818.9588 | 1183282.0138
44 | 2536848.8558 | 1183263.8655
45 | 2536683.711 | 1183403.3284
46 | 2536876.8576 | 1183290.9944
47 | 2536561.5577 | 1183531.8942
48 | 2536577.7223 | 1183518.0121
49 | 2536603.5357 | 1183528.6395
50 | 2536581.825 | 1183474.3993
51 | 2536605.3116 | 1183529.3706
52 | 2536568.1594 | 1183472.2541
53 | 2536556.6611 | 1183490.0421
54 | 2536565.0983 | 1183471.0204
55 | 2536599.7448 | 1183445.2152
56 | 2536624.7839 | 1183484.4594
57 | 2536619.5513 | 1183535.1571
58 | 2536507.9265 | 1183519.32
59 | 2536513.4791 | 1183518.5417
60 | 2536551.2634 | 1183495.6136
61 | 2536551.1456 | 1183465.3973
62 | 2536606.3306 | 1183434.5037
63 | 2536641.4321 | 1183551.4019
64 | 2536644.5721 | 1183554.9692
65 | 2536663.4552 | 1183582.2297
66 | 2536670.2551 | 1183495.2298
67 | 2536679.153 | 1183494.2651
68 | 2536670.5524 | 1183490.6096
69 | 2536665.4805 | 1183583.5752
70 | 2536685.5153 | 1183493.5752
71 | 2536659.7715 | 1183615.6367
72 | 2536692.1282 | 1183493.4696
73 | 2536672.1758 | 1183465.3814
74 | 2536684.6324 | 1183466.917
75 | 2536669.3248 | 1183619.2902
76 | 2536859.2985 | 1183516.9494
77 | 2536820.7371 | 1183531.4195
78 | 2536821.212 | 1183540.0035
79 | 2536786.1654 | 1183536.002
80 | 2536750.5696 | 1183503.3552
81 | 2536898.9434 | 1183588.5294
82 | 2536885.2602 | 1183598.1962
83 | 2536873.1026 | 1183608.6169
84 | 2536858.7609 | 1183612.0722
85 | 2536839.5723 | 1183616.6954
86 | 2536821.1584 | 1183621.1319
87 | 2536542.6867 | 1183393.9236
88 | 2536568.8565 | 1183412.4237
89 | 2536533.5368 | 1183386.6837
90 | 2536570.2285 | 1183413.3222
91 | 2536543.2734 | 1183375.3962
92 | 2536507.0139 | 1183372.6532
93 | 2536573.4504 | 1183415.4323
94 | 2536549.0294 | 1183373.3319
95 | 2536469.2898 | 1183366.432
96 | 2536581.7836 | 1183402.9714
97 | 2536581.9788 | 1183420.1781
98 | 2536510.5728 | 1183407.6774
99 | 2536589.4004 | 1183393.9621
100 | 2536590.2385 | 1183423.7428
101 | 2536520.4648 | 1183410.1428
102 | 2536712.8785 | 1183496.6684
103 | 2536715.3547 | 1183483.481
104 | 2536701.2695 | 1183494.8788
105 | 2536715.7777 | 1183481.2283
106 | 2536700.6702 | 1183494.7864
107 | 2536717.3087 | 1183473.0748
108 | 2536794.9307 | 1183537.3052
109 | 2536717.1529 | 1183462.6816
110 | 2536698.3957 | 1183468.1508
111 | 2536527.0696 | 1183411.7889
112 | 2536703.8336 | 1183559.4431
113 | 2536705.7237 | 1183560.0024
114 | 2536693.6464 | 1183556.4282
115 | 2536605.9911 | 1183372.6924
116 | 2536618.1791 | 1183376.4058
117 | 2536594.9719 | 1183394.7124
118 | 2536625.9712 | 1183378.78
119 | 2536598.8684 | 1183395.08
120 | 2536786.8093 | 1183625.899
121 | 2536591.2675 | 1183424.1869
122 | 2536603.0317 | 1183428.0284
123 | 2536543.7295 | 1183501.8592
124 | 2536537.3681 | 1183506.3792
125 | 2536531.094 | 1183510.8372
126 | 2536525.2442 | 1183514.9937
127 | 2536626.0396 | 1183406.3306
128 | 2536626.3768 | 1183413.901
129 | 2536627.0525 | 1183429.0719
130 | 2536623.3008 | 1183429.5008
131 | 2536646.1292 | 1183425.2677
132 | 2536609.7915 | 1183429.1438
133 | 2536655.0271 | 1183420.5597
134 | 2536671.3765 | 1183444.7003
135 | 2536665.0676 | 1183406.2452
136 | 2536631.921 | 1183380.5928
137 | 2536638.9883 | 1183385.3126
138 | 2536641.0329 | 1183386.6781
139 | 2536650.5 | 1183393.0008
140 | 2536657.9101 | 1183397.9496
141 | 2536672.6808 | 1183405.0541
142 | 2536673.5755 | 1183404.9141
143 | 2536681.4255 | 1183445.0572
144 | 2536683.2149 | 1183445.1208
145 | 2536685.7204 | 1183467.0511
146 | 2536688.9195 | 1183445.3234
147 | 2536696.0846 | 1183445.5779
148 | 2536698.79 | 1183445.674
149 | 2536705.6758 | 1183445.9186
150 | 2536715.7424 | 1183446.2761
151 | 2536716.2152 | 1183453.6708
152 | 2536716.5909 | 1183440.8548
153 | 2536716.3594 | 1183455.9258
154 | 2536718.3685 | 1183429.4975
155 | 2536698.1505 | 1183468.0884
156 | 2536820.4049 | 1183621.3134
157 | 2536799.1552 | 1183625.3509
158 | 2536719.2893 | 1183423.6146
159 | 2536708.3358 | 1183419.7625
160 | 2536702.3337 | 1183417.6518
161 | 2536693.7251 | 1183414.6244
162 | 2536698.3957 | 1183468.1508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1