## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-10_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5938-10_0_2_node_64 | 0.4 | n |  | TRUE
4 | bus_LV_5938-10_0_2_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_5938-10_0_2_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_5938-10_0_2_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_5938-10_0_2_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_5938-10_0_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_5938-10_0_2_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_5938-10_0_2_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_5938-10_0_2_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_5938-10_0_2_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_5938-10_0_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_5938-10_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_5938-10_0_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5938-10_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5938-10_0_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_5938-10_0_2_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_5938-10_0_2_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_5938-10_0_2_node_4 | 0.4 | n |  | TRUE
21 | bus_LV_5938-10_0_2_node_5 | 0.4 | n |  | TRUE
22 | bus_LV_5938-10_0_2_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_5938-10_0_2_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_5938-10_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5938-10_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5938-10_0_2_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_5938-10_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5938-10_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_5938-10_0_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_5938-10_0_2_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_5938-10_0_2_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_5938-10_0_2_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_5938-10_0_2_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_5938-10_0_2_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_5938-10_0_2_node_12 | 0.4 | n |  | TRUE
36 | bus_LV_5938-10_0_2_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5938-10_0_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_5938-10_0_2_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_5938-10_0_2_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_5938-10_0_2_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_5938-10_0_2_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_5938-10_0_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_5938-10_0_2_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_5938-10_0_2_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_5938-10_0_2_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_5938-10_0_2_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5938-10_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5938-10_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5938-10_0_2_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_5938-10_0_2_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_5938-10_0_2_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_5938-10_0_2_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_5938-10_0_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_5938-10_0_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_5938-10_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5938-10_0_2_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_5938-10_0_2_node_22 | 0.4 | n |  | TRUE
58 | bus_LV_5938-10_0_2_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5938-10_0_2_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5938-10_0_2_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_5938-10_0_2_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_5938-10_0_2_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_5938-10_0_2_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_5938-10_0_2_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_5938-10_0_2_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_5938-10_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5938-10_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5938-10_0_2_node_30 | 0.4 | n |  | TRUE
69 | bus_LV_5938-10_0_2_node_31 | 0.4 | n |  | TRUE
70 | bus_LV_5938-10_0_2_node_32 | 0.4 | n |  | TRUE
71 | bus_LV_5938-10_0_2_node_33 | 0.4 | n |  | TRUE
72 | bus_LV_5938-10_0_2_node_34 | 0.4 | n |  | TRUE
73 | bus_LV_5938-10_0_2_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_5938-10_0_2_node_39 | 0.4 | n |  | TRUE
75 | bus_LV_5938-10_0_2_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5938-10_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5938-10_0_2_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5938-10_0_2_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5938-10_0_2_node_35 | 0.4 | n |  | TRUE
80 | bus_LV_5938-10_0_2_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_5938-10_0_2_node_106 | 0.4 | n |  | TRUE
82 | bus_LV_5938-10_0_2_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_5938-10_0_2_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_5938-10_0_2_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5938-10_0_2_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_5938-10_0_2_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_5938-10_0_2_node_50 | 0.4 | n |  | TRUE
88 | bus_LV_5938-10_0_2_node_51 | 0.4 | n |  | TRUE
89 | bus_LV_5938-10_0_2_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_5938-10_0_2_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_5938-10_0_2_node_55 | 0.4 | n |  | TRUE
92 | bus_LV_5938-10_0_2_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_5938-10_0_2_node_56 | 0.4 | n |  | TRUE
94 | bus_LV_5938-10_0_2_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_5938-10_0_2_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_5938-10_0_2_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_5938-10_0_2_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_5938-10_0_2_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_5938-10_0_2_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_5938-10_0_2_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_5938-10_0_2_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_5938-10_0_2_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_5938-10_0_2_node_97 | 0.4 | n |  | TRUE
104 | bus_MV_316_1_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-10_0_2_load_0 | 0 | 0.0016199 | 0.00040599 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-10_0_2_load_64 | 3 | 0.0019063 | 0.00047776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-10_0_2_load_69 | 6 | 0.0032152 | 0.00080581 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-10_0_2_load_82 | 10 | 0.0016052 | 0.00040231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-10_0_2_load_80 | 12 | 0.00061167 | 0.0001533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-10_0_2_load_21 | 16 | 0.0037734 | 0.00094571 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-10_0_2_load_42 | 17 | 0.0034547 | 0.00086583 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-10_0_2_load_60 | 18 | 0.0011466 | 0.00028738 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-10_0_2_load_4 | 20 | 0.08553 | 0.021436 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-10_0_2_load_17 | 25 | 0.03511 | 0.0087994 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-10_0_2_load_19 | 27 | 0.0030475 | 0.00076379 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-10_0_2_load_57 | 29 | 0.023668 | 0.0059318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-10_0_2_load_88 | 31 | 0.003199 | 0.00080175 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-10_0_2_load_85 | 34 | 0.003305 | 0.00082831 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-10_0_2_load_48 | 38 | 0.0010302 | 0.0002582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-10_0_2_load_58 | 39 | 0.016418 | 0.0041148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-10_0_2_load_89 | 41 | 0.00055761 | 0.00013975 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-10_0_2_load_20 | 43 | 0.0034892 | 0.00087448 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-10_0_2_load_18 | 44 | 0.013794 | 0.0034571 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-10_0_2_load_104 | 45 | 0.0045441 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-10_0_2_load_45 | 47 | 0.0033292 | 0.00083438 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-10_0_2_load_44 | 48 | 0.0047099 | 0.0011804 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-10_0_2_load_86 | 49 | 0.0042914 | 0.0010755 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-10_0_2_load_75 | 51 | 0.0011596 | 0.00029061 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-10_0_2_load_72 | 54 | 0.0010492 | 0.00026296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-10_0_2_load_102 | 56 | 0.000615 | 0.00015413 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-10_0_2_load_22 | 57 | 0.0035113 | 0.00088002 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-10_0_2_load_40 | 59 | 0.0037538 | 0.00094078 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-10_0_2_load_101 | 60 | 0.0018184 | 0.00045574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-10_0_2_load_83 | 62 | 0.002371 | 0.00059424 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-10_0_2_load_36 | 65 | 0.00049053 | 0.00012294 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-10_0_2_load_62 | 66 | 0.0011017 | 0.00027612 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-10_0_2_load_30 | 68 | 0.00042866 | 0.00010743 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-10_0_2_load_31 | 69 | 0.00044236 | 0.00011086 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-10_0_2_load_32 | 70 | 0.00032318 | 8.0996e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-10_0_2_load_59 | 75 | 0.00044669 | 0.00011195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-10_0_2_load_67 | 76 | 0.0004917 | 0.00012323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-10_0_2_load_65 | 78 | 0.0022384 | 0.000561 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-10_0_2_load_35 | 79 | 0.00053939 | 0.00013518 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-10_0_2_load_106 | 81 | 0.00046253 | 0.00011592 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-10_0_2_load_66 | 83 | 0.0011376 | 0.0002851 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-10_0_2_load_77 | 85 | 0.00044935 | 0.00011262 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-10_0_2_load_79 | 86 | 0.00044789 | 0.00011225 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-10_0_2_load_93 | 90 | 0.001445 | 0.00036214 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-10_0_2_load_55 | 91 | 0.0010387 | 0.00026032 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-10_0_2_load_94 | 92 | 0.0015748 | 0.00039467 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-10_0_2_load_56 | 93 | 0.0013696 | 0.00034324 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-10_0_2_load_90 | 94 | 0.00094644 | 0.0002372 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-10_0_2_load_73 | 96 | 0.00054548 | 0.00013671 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-10_0_2_load_105 | 97 | 0.00090939 | 0.00022791 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-10_0_2_load_99 | 98 | 0.0033161 | 0.0008311 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-10_0_2_load_100 | 99 | 0.0018529 | 0.00046437 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-10_0_2_load_103 | 101 | 0.0010488 | 0.00026285 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-10_0_2_load_95 | 102 | 0.0017785 | 0.00044573 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-10_0_2_load_97 | 103 | 0.0036773 | 0.00092163 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-10_0_2_line_0 |  | 0 | 1 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-10_0_2_line_1 |  | 1 | 2 | 0.02299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-10_0_2_line_2 |  | 2 | 3 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-10_0_2_line_3 |  | 2 | 4 | 0.068702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-10_0_2_line_4 |  | 4 | 18 | 0.008842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-10_0_2_line_5 |  | 4 | 19 | 0.005269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-10_0_2_line_6 |  | 5 | 6 | 0.009518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-10_0_2_line_7 |  | 5 | 7 | 0.0065418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-10_0_2_line_8 |  | 7 | 60 | 0.008965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-10_0_2_line_9 |  | 7 | 61 | 0.007971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-10_0_2_line_10 |  | 8 | 9 | 0.005622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-10_0_2_line_11 |  | 8 | 10 | 0.008711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-10_0_2_line_12 |  | 9 | 62 | 0.008973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-10_0_2_line_13 |  | 9 | 63 | 0.0027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-10_0_2_line_14 |  | 11 | 12 | 0.00816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-10_0_2_line_15 |  | 11 | 13 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-10_0_2_line_16 |  | 13 | 59 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-10_0_2_line_17 |  | 13 | 64 | 0.004814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-10_0_2_line_18 |  | 13 | 65 | 0.013788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-10_0_2_line_19 |  | 14 | 15 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-10_0_2_line_20 |  | 14 | 16 | 0.01584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-10_0_2_line_21 |  | 15 | 17 | 0.010518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-10_0_2_line_22 |  | 16 | 57 | 0.010926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-10_0_2_line_23 |  | 19 | 66 | 0.009573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-10_0_2_line_24 |  | 19 | 67 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-10_0_2_line_25 |  | 20 | 21 | 0.041481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-10_0_2_line_26 |  | 21 | 22 | 0.045618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-10_0_2_line_27 |  | 21 | 23 | 0.10514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-10_0_2_line_28 |  | 21 | 24 | 0.15088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5938-10_0_2_line_29 |  | 22 | 25 | 0.016564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-10_0_2_line_30 |  | 23 | 26 | 0.079384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-10_0_2_line_31 |  | 23 | 27 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-10_0_2_line_32 |  | 24 | 43 | 0.005285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-10_0_2_line_33 |  | 24 | 33 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-10_0_2_line_34 |  | 24 | 40 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5938-10_0_2_line_35 |  | 26 | 28 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-10_0_2_line_36 |  | 26 | 29 | 0.029366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-10_0_2_line_37 |  | 27 | 44 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-10_0_2_line_38 |  | 28 | 39 | 0.076298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-10_0_2_line_39 |  | 30 | 31 | 0.010758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-10_0_2_line_40 |  | 30 | 32 | 0.003404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-10_0_2_line_41 |  | 30 | 33 | 0.018373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-10_0_2_line_42 |  | 32 | 45 | 0.009291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-10_0_2_line_43 |  | 32 | 46 | 0.015975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-10_0_2_line_44 |  | 33 | 34 | 0.009283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-10_0_2_line_45 |  | 35 | 36 | 0.002603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-10_0_2_line_46 |  | 35 | 37 | 0.0077526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-10_0_2_line_47 |  | 35 | 38 | 0.04742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-10_0_2_line_48 |  | 36 | 49 | 0.009094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-10_0_2_line_49 |  | 36 | 50 | 0.005335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-10_0_2_line_50 |  | 37 | 51 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-10_0_2_line_51 |  | 37 | 52 | 0.023688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-10_0_2_line_52 |  | 38 | 55 | 0.014085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-10_0_2_line_53 |  | 40 | 41 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5938-10_0_2_line_54 |  | 40 | 42 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-10_0_2_line_55 |  | 42 | 56 | 0.008269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-10_0_2_line_56 |  | 42 | 53 | 0.003728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-10_0_2_line_57 |  | 46 | 58 | 0.016302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-10_0_2_line_58 |  | 46 | 57 | 0.0023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-10_0_2_line_59 |  | 47 | 48 | 0.0019926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-10_0_2_line_60 |  | 48 | 64 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-10_0_2_line_61 |  | 50 | 94 | 0.009003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-10_0_2_line_62 |  | 50 | 95 | 0.008324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-10_0_2_line_63 |  | 52 | 53 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-10_0_2_line_64 |  | 52 | 54 | 0.010747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-10_0_2_line_65 |  | 53 | 96 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-10_0_2_line_66 |  | 55 | 87 | 0.007926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-10_0_2_line_67 |  | 55 | 88 | 0.048351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-10_0_2_line_68 |  | 58 | 59 | 0.013281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-10_0_2_line_69 |  | 61 | 98 | 0.008472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-10_0_2_line_70 |  | 61 | 99 | 0.00897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-10_0_2_line_71 |  | 61 | 100 | 0.0083775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-10_0_2_line_72 |  | 63 | 101 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-10_0_2_line_73 |  | 63 | 89 | 0.001856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-10_0_2_line_74 |  | 64 | 80 | 0.006999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-10_0_2_line_75 |  | 65 | 79 | 0.03384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-10_0_2_line_76 |  | 67 | 83 | 0.007468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-10_0_2_line_77 |  | 67 | 74 | 0.006824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-10_0_2_line_78 |  | 68 | 69 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-10_0_2_line_79 |  | 68 | 70 | 0.0070045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-10_0_2_line_80 |  | 69 | 71 | 0.0018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-10_0_2_line_81 |  | 70 | 72 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-10_0_2_line_82 |  | 71 | 73 | 0.010952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-10_0_2_line_83 |  | 71 | 74 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-10_0_2_line_84 |  | 72 | 75 | 0.009551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-10_0_2_line_85 |  | 73 | 76 | 0.013759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-10_0_2_line_86 |  | 73 | 77 | 0.005487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-10_0_2_line_87 |  | 74 | 78 | 0.013726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-10_0_2_line_88 |  | 77 | 81 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5938-10_0_2_line_89 |  | 77 | 82 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5938-10_0_2_line_90 |  | 80 | 84 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5938-10_0_2_line_91 |  | 80 | 85 | 0.011797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5938-10_0_2_line_92 |  | 82 | 97 | 0.007884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-10_0_2_line_93 |  | 82 | 84 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5938-10_0_2_line_94 |  | 84 | 86 | 0.007054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5938-10_0_2_line_95 |  | 87 | 89 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5938-10_0_2_line_96 |  | 87 | 90 | 0.009627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5938-10_0_2_line_97 |  | 88 | 91 | 0.0051274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5938-10_0_2_line_98 |  | 89 | 92 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5938-10_0_2_line_99 |  | 91 | 93 | 0.0046535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5938-10_0_2_line_100 |  | 95 | 100 | 0.005328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5938-10_0_2_line_101 |  | 95 | 102 | 0.008982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5938-10_0_2_line_102 |  | 100 | 103 | 0.009278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-10_0_2_trafo_89 | 0.63 MVA 20/0.4 kV | 104 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2538676.1437 | 1182513.985 | 2538677.4334 | 1182517.6405 | 2538673.267 | 1182523.1086 | 2538668.5954 | 1182527.0566
1 | 2538678.9827 | 1182525.0066 | 2538684.2178 | 1182512.8016 | 2538679.9743 | 1182510.7662 | 2538676.1437 | 1182513.985
2 | 2538686.4937 | 1182532.2115 | 2538678.9827 | 1182525.0066
3 | 2538625.2517 | 1182554.8967 | 2538628.7936 | 1182556.2834 | 2538631.1626 | 1182557.2152 | 2538634.4962 | 1182558.3927 | 2538638.9545 | 1182556.0679 | 2538647.3016 | 1182550.9905 | 2538658.5211 | 1182546.7953 | 2538666.326 | 1182543.9359 | 2538670.5575 | 1182541.8358 | 2538672.6589 | 1182539.7575 | 2538678.9827 | 1182525.0066
4 | 2538625.2517 | 1182554.8967 | 2538628.2052 | 1182546.5617
5 | 2538620.33 | 1182552.9795 | 2538625.2517 | 1182554.8967
6 | 2538536.7135 | 1182695.0071 | 2538533.4688 | 1182703.9566
7 | 2538527.3593 | 1182701.6181 | 2538532.6716 | 1182703.6535 | 2538533.4688 | 1182703.9566
8 | 2538524.2619 | 1182710.0325 | 2538527.3593 | 1182701.6181
9 | 2538519.8931 | 1182698.771 | 2538527.3593 | 1182701.6181
10 | 2538498.5001 | 1182756.0788 | 2538493.1745 | 1182754.2325
11 | 2538495.6528 | 1182764.3128 | 2538498.5001 | 1182756.0788
12 | 2538496.2641 | 1182745.8071 | 2538493.1745 | 1182754.2325
13 | 2538493.1745 | 1182754.2325 | 2538492.6151 | 1182754.0382 | 2538490.5993 | 1182753.2918
14 | 2538590.095 | 1182597.804 | 2538586.7354 | 1182605.2427
15 | 2538569.4672 | 1182598.8941 | 2538586.7354 | 1182605.2427
16 | 2538569.4672 | 1182598.8941 | 2538568.7761 | 1182600.7467 | 2538563.0904 | 1182615.6898
17 | 2538569.4672 | 1182598.8941 | 2538564.9374 | 1182597.2286
18 | 2538569.4672 | 1182598.8941 | 2538570.3002 | 1182596.7399 | 2538574.3802 | 1182586.0113
19 | 2538574.2572 | 1182649.6737 | 2538577.9253 | 1182640.3085
20 | 2538574.2572 | 1182649.6737 | 2538572.6723 | 1182653.7144 | 2538561.9563 | 1182649.5433
21 | 2538577.9253 | 1182640.3085 | 2538579.4879 | 1182636.3346 | 2538573.6669 | 1182634.0657
22 | 2538551.7743 | 1182645.58 | 2538551.7743 | 1182645.58 | 2538561.9563 | 1182649.5433
23 | 2538623.5819 | 1182543.9743 | 2538620.33 | 1182552.9795
24 | 2538620.33 | 1182552.9795 | 2538612.1421 | 1182549.7728 | 2538605.9937 | 1182547.3678
25 | 2538431.2487 | 1182555.2571 | 2538470.1972 | 1182569.5288
26 | 2538447.5243 | 1182512.6321 | 2538431.2487 | 1182555.2571
27 | 2538398.0682 | 1182637.1672 | 2538417.3318 | 1182587.4185 | 2538410.3559 | 1182584.7443 | 2538412.6346 | 1182579.1399 | 2538413.3366 | 1182577.6096 | 2538420.8598 | 1182556.309 | 2538422.5329 | 1182551.9449 | 2538426.7107 | 1182553.5361 | 2538431.2487 | 1182555.2571
28 | 2538431.2487 | 1182555.2571 | 2538426.7107 | 1182553.5361 | 2538422.5329 | 1182551.9449 | 2538420.8598 | 1182556.309 | 2538413.3366 | 1182577.6096 | 2538412.6346 | 1182579.1399 | 2538517.8985 | 1182619.1465
29 | 2538447.5243 | 1182512.6321 | 2538464.081 | 1182512.1282
30 | 2538365.3225 | 1182701.9189 | 2538380.5847 | 1182662.5505 | 2538382.2273 | 1182658.1978 | 2538388.9274 | 1182660.7858 | 2538398.0682 | 1182637.1672
31 | 2538398.0682 | 1182637.1672 | 2538399.2183 | 1182637.6334 | 2538410.4275 | 1182642.2076
32 | 2538517.8985 | 1182619.1465 | 2538522.842 | 1182621.0153
33 | 2538517.8985 | 1182619.1465 | 2538517.2831 | 1182620.9316 | 2538516.0168 | 1182624.769 | 2538518.7609 | 1182625.7969 | 2538517.1128 | 1182630.3609
34 | 2538510.5164 | 1182627.4604 | 2538512.1383 | 1182623.3191 | 2538516.0168 | 1182624.769 | 2538517.2831 | 1182620.9316 | 2538517.8985 | 1182619.1465
35 | 2538365.3225 | 1182701.9189 | 2538362.4591 | 1182709.3192 | 2538359.9957 | 1182710.3341 | 2538354.8635 | 1182711.6988
36 | 2538365.3225 | 1182701.9189 | 2538392.9754 | 1182711.8019
37 | 2538428.3408 | 1182649.5176 | 2538410.4275 | 1182642.2076
38 | 2538354.8635 | 1182711.6988 | 2538363.2991 | 1182714.5135 | 2538402.8932 | 1182728.269 | 2538426.8345 | 1182737.0171
39 | 2538530.7213 | 1182646.8859 | 2538534.3739 | 1182636.7649
40 | 2538534.3739 | 1182636.7649 | 2538537.5851 | 1182637.9215
41 | 2538517.1128 | 1182630.3609 | 2538518.2564 | 1182630.9383 | 2538534.3739 | 1182636.7649
42 | 2538534.5141 | 1182646.6913 | 2538537.5851 | 1182637.9215
43 | 2538552.6449 | 1182643.3698 | 2538537.5851 | 1182637.9215
44 | 2538513.9421 | 1182639.0873 | 2538517.1128 | 1182630.3609
45 | 2538494.2824 | 1182688.9954 | 2538491.8448 | 1182688.0644
46 | 2538486.315 | 1182689.3886 | 2538487.484 | 1182686.4972 | 2538491.8448 | 1182688.0644
47 | 2538491.8448 | 1182688.0644 | 2538491.0642 | 1182690.118 | 2538475.1644 | 1182732.454
48 | 2538494.2824 | 1182688.9954 | 2538497.7541 | 1182680.5883
49 | 2538499.2804 | 1182690.9006 | 2538494.2824 | 1182688.9954
50 | 2538476.0294 | 1182685.6145 | 2538486.315 | 1182689.3886
51 | 2538486.315 | 1182689.3886 | 2538487.484 | 1182686.4972 | 2538494.8686 | 1182667.2993
52 | 2538467.9132 | 1182743.5196 | 2538470.0259 | 1182742.5529 | 2538471.6745 | 1182741.7466 | 2538475.1644 | 1182732.454
53 | 2538499.6954 | 1182623.6139 | 2538510.5164 | 1182627.4604
54 | 2538503.2914 | 1182645.8561 | 2538510.5164 | 1182627.4604
55 | 2538495.5045 | 1182643.0124 | 2538503.2914 | 1182645.8561
56 | 2538503.2914 | 1182645.8561 | 2538501.9298 | 1182649.3277
57 | 2538552.6449 | 1182643.3698 | 2538558.3674 | 1182628.1024
58 | 2538552.6449 | 1182643.3698 | 2538551.7743 | 1182645.58
59 | 2538559.299 | 1182612.4269 | 2538558.6059 | 1182614.295
60 | 2538564.9374 | 1182597.2286 | 2538559.299 | 1182612.4269
61 | 2538499.2804 | 1182690.9006 | 2538496.4745 | 1182699.4565
62 | 2538507.0763 | 1182693.8777 | 2538499.2804 | 1182690.9006
63 | 2538501.9298 | 1182649.3277 | 2538494.8686 | 1182667.2993
64 | 2538484.7367 | 1182663.6347 | 2538494.8686 | 1182667.2993
65 | 2538490.9376 | 1182645.1605 | 2538501.9298 | 1182649.3277
66 | 2538467.9132 | 1182743.5196 | 2538469.7048 | 1182745.4801 | 2538472.3734 | 1182746.5977 | 2538474.6038 | 1182747.4197
67 | 2538451.3071 | 1182788.8494 | 2538466.9509 | 1182747.9431 | 2538467.6188 | 1182746.0685 | 2538467.9132 | 1182743.5196
68 | 2538558.3674 | 1182628.1024 | 2538563.0904 | 1182615.6898
69 | 2538519.8931 | 1182698.771 | 2538522.95 | 1182690.8684
70 | 2538516.811 | 1182707.1963 | 2538519.8931 | 1182698.771
71 | 2538512.0666 | 1182695.7831 | 2538514.8109 | 1182696.8332 | 2538519.8931 | 1182698.771
72 | 2538494.22 | 1182743.7937 | 2538490.5993 | 1182753.2918
73 | 2538490.5993 | 1182753.2918 | 2538488.8519 | 1182752.6539
74 | 2538567.4051 | 1182590.6773 | 2538564.9374 | 1182597.2286
75 | 2538586.4086 | 1182554.3811 | 2538574.3802 | 1182586.0113
76 | 2538603.6919 | 1182554.4732 | 2538605.9937 | 1182547.3678
77 | 2538599.6452 | 1182544.8204 | 2538603.3487 | 1182546.3277 | 2538605.9937 | 1182547.3678
78 | 2538571.0099 | 1182534.243 | 2538584.6033 | 1182539.4528
79 | 2538571.0099 | 1182534.243 | 2538564.4694 | 1182531.7363
80 | 2538586.3184 | 1182540.1101 | 2538584.6033 | 1182539.4528
81 | 2538554.8193 | 1182528.0379 | 2538564.4694 | 1182531.7363
82 | 2538582.5911 | 1182550.4098 | 2538586.3184 | 1182540.1101
83 | 2538599.6452 | 1182544.8204 | 2538595.0676 | 1182542.9664 | 2538586.3184 | 1182540.1101
84 | 2538558.4087 | 1182519.1849 | 2538554.8193 | 1182528.0379
85 | 2538569.5638 | 1182545.8743 | 2538582.5911 | 1182550.4098
86 | 2538580.6509 | 1182555.5437 | 2538582.5911 | 1182550.4098
87 | 2538604.8214 | 1182532.1046 | 2538599.6452 | 1182544.8204
88 | 2538569.912 | 1182551.5184 | 2538580.6509 | 1182555.5437
89 | 2538575.0538 | 1182570.3984 | 2538580.6509 | 1182555.5437
90 | 2538567.4051 | 1182590.6773 | 2538570.5939 | 1182582.2176
91 | 2538556.2548 | 1182586.7341 | 2538567.4051 | 1182590.6773
92 | 2538567.6346 | 1182567.6731 | 2538575.0538 | 1182570.3984
93 | 2538570.5939 | 1182582.2176 | 2538575.0538 | 1182570.3984
94 | 2538563.9341 | 1182579.8402 | 2538570.5939 | 1182582.2176
95 | 2538488.8519 | 1182752.6539 | 2538474.6038 | 1182747.4197
96 | 2538474.5889 | 1182756.3582 | 2538475.2673 | 1182754.7614 | 2538473.4912 | 1182750.5996 | 2538474.6038 | 1182747.4197
97 | 2538451.3071 | 1182788.8494 | 2538456.1054 | 1182790.6566 | 2538456.1054 | 1182790.6566
98 | 2538481.916 | 1182759.051 | 2538482.31 | 1182758.0131 | 2538484.7506 | 1182758.4882 | 2538486.369 | 1182757.7156 | 2538487.2294 | 1182756.7395 | 2538488.0509 | 1182754.9523 | 2538488.8519 | 1182752.6539
99 | 2538456.1054 | 1182790.6566 | 2538454.6535 | 1182795.0778
100 | 2538507.0763 | 1182693.8777 | 2538512.0666 | 1182695.7831
101 | 2538503.818 | 1182702.2493 | 2538507.0763 | 1182693.8777
102 | 2538512.0666 | 1182695.7831 | 2538515.3982 | 1182687.1217

## bus_geodata
| x | y | coords
0 | 2538668.5954 | 1182527.0566
1 | 2538676.1437 | 1182513.985
2 | 2538678.9827 | 1182525.0066
3 | 2538686.4937 | 1182532.2115
4 | 2538625.2517 | 1182554.8967
5 | 2538533.4688 | 1182703.9566
6 | 2538536.7135 | 1182695.0071
7 | 2538527.3593 | 1182701.6181
8 | 2538498.5001 | 1182756.0788
9 | 2538493.1745 | 1182754.2325
10 | 2538495.6528 | 1182764.3128
11 | 2538586.7354 | 1182605.2427
12 | 2538590.095 | 1182597.804
13 | 2538569.4672 | 1182598.8941
14 | 2538574.2572 | 1182649.6737
15 | 2538577.9253 | 1182640.3085
16 | 2538561.9563 | 1182649.5433
17 | 2538573.6669 | 1182634.0657
18 | 2538628.2052 | 1182546.5617
19 | 2538620.33 | 1182552.9795
20 | 2538470.1972 | 1182569.5288
21 | 2538431.2487 | 1182555.2571
22 | 2538447.5243 | 1182512.6321
23 | 2538398.0682 | 1182637.1672
24 | 2538517.8985 | 1182619.1465
25 | 2538464.081 | 1182512.1282
26 | 2538365.3225 | 1182701.9189
27 | 2538410.4275 | 1182642.2076
28 | 2538354.8635 | 1182711.6988
29 | 2538392.9754 | 1182711.8019
30 | 2538534.3739 | 1182636.7649
31 | 2538530.7213 | 1182646.8859
32 | 2538537.5851 | 1182637.9215
33 | 2538517.1128 | 1182630.3609
34 | 2538513.9421 | 1182639.0873
35 | 2538491.8448 | 1182688.0644
36 | 2538494.2824 | 1182688.9954
37 | 2538486.315 | 1182689.3886
38 | 2538475.1644 | 1182732.454
39 | 2538426.8345 | 1182737.0171
40 | 2538510.5164 | 1182627.4604
41 | 2538499.6954 | 1182623.6139
42 | 2538503.2914 | 1182645.8561
43 | 2538522.842 | 1182621.0153
44 | 2538428.3408 | 1182649.5176
45 | 2538534.5141 | 1182646.6913
46 | 2538552.6449 | 1182643.3698
47 | 2538558.6059 | 1182614.295
48 | 2538559.299 | 1182612.4269
49 | 2538497.7541 | 1182680.5883
50 | 2538499.2804 | 1182690.9006
51 | 2538476.0294 | 1182685.6145
52 | 2538494.8686 | 1182667.2993
53 | 2538501.9298 | 1182649.3277
54 | 2538484.7367 | 1182663.6347
55 | 2538467.9132 | 1182743.5196
56 | 2538495.5045 | 1182643.0124
57 | 2538551.7743 | 1182645.58
58 | 2538558.3674 | 1182628.1024
59 | 2538563.0904 | 1182615.6898
60 | 2538524.2619 | 1182710.0324
61 | 2538519.8931 | 1182698.771
62 | 2538496.2641 | 1182745.8071
63 | 2538490.5993 | 1182753.2918
64 | 2538564.9374 | 1182597.2286
65 | 2538574.3802 | 1182586.0113
66 | 2538623.5819 | 1182543.9743
67 | 2538605.9937 | 1182547.3678
68 | 2538571.0099 | 1182534.243
69 | 2538584.6033 | 1182539.4528
70 | 2538564.4694 | 1182531.7363
71 | 2538586.3184 | 1182540.1101
72 | 2538554.8193 | 1182528.0379
73 | 2538582.5911 | 1182550.4098
74 | 2538599.6452 | 1182544.8204
75 | 2538558.4087 | 1182519.1849
76 | 2538569.5638 | 1182545.8743
77 | 2538580.6509 | 1182555.5437
78 | 2538604.8214 | 1182532.1046
79 | 2538586.4086 | 1182554.3811
80 | 2538567.4051 | 1182590.6773
81 | 2538569.912 | 1182551.5184
82 | 2538575.0538 | 1182570.3984
83 | 2538603.6919 | 1182554.4732
84 | 2538570.5939 | 1182582.2176
85 | 2538556.2548 | 1182586.7341
86 | 2538563.9341 | 1182579.8402
87 | 2538474.6038 | 1182747.4197
88 | 2538451.3071 | 1182788.8494
89 | 2538488.8519 | 1182752.6539
90 | 2538474.5889 | 1182756.3582
91 | 2538456.1054 | 1182790.6566
92 | 2538481.916 | 1182759.051
93 | 2538454.6535 | 1182795.0778
94 | 2538496.4745 | 1182699.4565
95 | 2538507.0763 | 1182693.8777
96 | 2538490.9376 | 1182645.1605
97 | 2538567.6346 | 1182567.6731
98 | 2538522.95 | 1182690.8684
99 | 2538516.811 | 1182707.1963
100 | 2538512.0666 | 1182695.7831
101 | 2538494.22 | 1182743.7937
102 | 2538503.818 | 1182702.2493
103 | 2538515.3982 | 1182687.1217
104 | 2538510.5164 | 1182627.4604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1