## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-14_0_4_node_45 | 0.4 | n |  | TRUE
4 | bus_LV_5938-14_0_4_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_5938-14_0_4_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_5938-14_0_4_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_5938-14_0_4_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_5938-14_0_4_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_5938-14_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_5938-14_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5938-14_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_5938-14_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5938-14_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5938-14_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5938-14_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_5938-14_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5938-14_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_5938-14_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_5938-14_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_5938-14_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5938-14_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5938-14_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5938-14_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5938-14_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_5938-14_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5938-14_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_5938-14_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5938-14_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_5938-14_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5938-14_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5938-14_0_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_5938-14_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5938-14_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5938-14_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5938-14_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5938-14_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_5938-14_0_4_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_5938-14_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5938-14_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_5938-14_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_5938-14_0_4_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_5938-14_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5938-14_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5938-14_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_5938-14_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5938-14_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_5938-14_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_5938-14_0_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_5938-14_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5938-14_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5938-14_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5938-14_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_5938-14_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_5938-14_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5938-14_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5938-14_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_5938-14_0_4_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_5938-14_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_5938-14_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_5938-14_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_5938-14_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5938-14_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_5938-14_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5938-14_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5938-14_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5938-14_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5938-14_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_5938-14_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_5938-14_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_5938-14_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5938-14_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5938-14_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_5938-14_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5938-14_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_5938-14_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_MV_455_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-14_0_4_load_0 | 0 | 0.0065205 | 0.0016342 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-14_0_4_load_1 | 1 | 0.0072561 | 0.0018185 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-14_0_4_load_63 | 5 | 0.0080077 | 0.0020069 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-14_0_4_load_53 | 7 | 0.004828 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-14_0_4_load_3 | 9 | 0.014148 | 0.0035458 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-14_0_4_load_4 | 11 | 0.0042989 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-14_0_4_load_6 | 12 | 0.0032333 | 0.00081033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-14_0_4_load_7 | 13 | 0.0036443 | 0.00091334 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-14_0_4_load_8 | 14 | 0.0039113 | 0.00098028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-14_0_4_load_32 | 19 | 0.004068 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-14_0_4_load_9 | 22 | 0.014168 | 0.0035509 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-14_0_4_load_15 | 23 | 0.0058222 | 0.0014592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-14_0_4_load_43 | 26 | 0.0056605 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-14_0_4_load_40 | 27 | 0.0049968 | 0.0012523 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-14_0_4_load_31 | 28 | 0.0043083 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-14_0_4_load_13 | 29 | 0.0066204 | 0.0016592 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-14_0_4_load_71 | 31 | 0.040859 | 0.01024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-14_0_4_load_47 | 36 | 0.04648 | 0.011649 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-14_0_4_load_69 | 37 | 0.032459 | 0.0081349 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-14_0_4_load_52 | 39 | 0.018544 | 0.0046476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-14_0_4_load_62 | 40 | 0.069315 | 0.017372 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-14_0_4_load_70 | 41 | 0.012198 | 0.0030572 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-14_0_4_load_56 | 44 | 0.00237 | 0.00059399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-14_0_4_load_67 | 46 | 0.0045142 | 0.0011314 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-14_0_4_load_72 | 48 | 0.0043976 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-14_0_4_load_34 | 50 | 0.0043391 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-14_0_4_load_33 | 51 | 0.0060391 | 0.0015135 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-14_0_4_load_51 | 52 | 0.005805 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-14_0_4_load_48 | 53 | 0.0067438 | 0.0016902 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-14_0_4_load_55 | 55 | 0.0026318 | 0.00065959 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-14_0_4_load_78 | 57 | 0.0037995 | 0.00095224 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-14_0_4_load_36 | 59 | 0.0045925 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-14_0_4_load_37 | 60 | 0.0075843 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-14_0_4_load_38 | 62 | 0.0055767 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-14_0_4_load_61 | 64 | 0.0062422 | 0.0015644 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-14_0_4_load_60 | 66 | 0.006238 | 0.0015634 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-14_0_4_load_59 | 69 | 0.0023598 | 0.00059143 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-14_0_4_load_65 | 70 | 0.0043865 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-14_0_4_load_74 | 73 | 0.0040947 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-14_0_4_load_76 | 74 | 0.0041089 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-14_0_4_load_77 | 75 | 0.0040615 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-14_0_4_line_0 |  | 0 | 1 | 0.015435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-14_0_4_line_1 |  | 1 | 2 | 0.028765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-14_0_4_line_2 |  | 2 | 3 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5938-14_0_4_line_3 |  | 2 | 4 | 0.004041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5938-14_0_4_line_4 |  | 3 | 5 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-14_0_4_line_5 |  | 3 | 6 | 0.033763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5938-14_0_4_line_6 |  | 4 | 7 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-14_0_4_line_7 |  | 4 | 8 | 0.04993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5938-14_0_4_line_8 |  | 5 | 65 | 0.0063912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-14_0_4_line_9 |  | 6 | 63 | 0.038033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-14_0_4_line_10 |  | 6 | 26 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5938-14_0_4_line_11 |  | 8 | 52 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-14_0_4_line_12 |  | 8 | 32 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5938-14_0_4_line_13 |  | 9 | 10 | 0.029923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-14_0_4_line_14 |  | 10 | 13 | 0.004807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-14_0_4_line_15 |  | 10 | 14 | 0.025112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-14_0_4_line_16 |  | 11 | 12 | 0.027393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-14_0_4_line_17 |  | 12 | 15 | 0.022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-14_0_4_line_18 |  | 13 | 16 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-14_0_4_line_19 |  | 14 | 17 | 0.0066731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-14_0_4_line_20 |  | 15 | 17 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-14_0_4_line_21 |  | 15 | 18 | 0.024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-14_0_4_line_22 |  | 16 | 19 | 0.015733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-14_0_4_line_23 |  | 16 | 20 | 0.03097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-14_0_4_line_24 |  | 16 | 21 | 0.061416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-14_0_4_line_25 |  | 18 | 41 | 0.003831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-14_0_4_line_26 |  | 18 | 42 | 0.066642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-14_0_4_line_27 |  | 18 | 43 | 0.060034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-14_0_4_line_28 |  | 19 | 28 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-14_0_4_line_29 |  | 20 | 22 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-14_0_4_line_30 |  | 21 | 23 | 0.038754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5938-14_0_4_line_31 |  | 21 | 24 | 0.002306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5938-14_0_4_line_32 |  | 23 | 25 | 0.0055273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5938-14_0_4_line_33 |  | 24 | 26 | 0.025108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5938-14_0_4_line_34 |  | 24 | 27 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-14_0_4_line_35 |  | 25 | 29 | 0.010328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5938-14_0_4_line_36 |  | 27 | 61 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-14_0_4_line_37 |  | 30 | 31 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-14_0_4_line_38 |  | 30 | 32 | 0.085848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-14_0_4_line_39 |  | 32 | 38 | 0.14579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5938-14_0_4_line_40 |  | 33 | 34 | 0.009672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-14_0_4_line_41 |  | 33 | 35 | 0.0551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-14_0_4_line_42 |  | 33 | 36 | 0.075484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-14_0_4_line_43 |  | 34 | 40 | 0.0077531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-14_0_4_line_44 |  | 34 | 38 | 0.087817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5938-14_0_4_line_45 |  | 35 | 37 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-14_0_4_line_46 |  | 38 | 39 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-14_0_4_line_47 |  | 42 | 48 | 0.0173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-14_0_4_line_48 |  | 43 | 44 | 0.16644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-14_0_4_line_49 |  | 44 | 55 | 0.020843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-14_0_4_line_50 |  | 45 | 46 | 0.010458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-14_0_4_line_51 |  | 45 | 47 | 0.025749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-14_0_4_line_52 |  | 47 | 56 | 0.006389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-14_0_4_line_53 |  | 47 | 57 | 0.011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-14_0_4_line_54 |  | 49 | 50 | 0.016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-14_0_4_line_55 |  | 49 | 51 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-14_0_4_line_56 |  | 50 | 58 | 0.01012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-14_0_4_line_57 |  | 52 | 54 | 0.0093794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-14_0_4_line_58 |  | 53 | 54 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-14_0_4_line_59 |  | 55 | 67 | 0.026287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-14_0_4_line_60 |  | 56 | 75 | 0.010717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-14_0_4_line_61 |  | 56 | 72 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-14_0_4_line_62 |  | 58 | 59 | 0.015022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-14_0_4_line_63 |  | 58 | 60 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-14_0_4_line_64 |  | 59 | 61 | 0.0093219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-14_0_4_line_65 |  | 61 | 62 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-14_0_4_line_66 |  | 63 | 64 | 0.0066291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-14_0_4_line_67 |  | 64 | 66 | 0.015675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-14_0_4_line_68 |  | 65 | 70 | 0.011918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-14_0_4_line_69 |  | 65 | 71 | 0.025032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-14_0_4_line_70 |  | 67 | 68 | 0.28809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-14_0_4_line_71 |  | 68 | 69 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-14_0_4_line_72 |  | 71 | 72 | 0.000606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-14_0_4_line_73 |  | 71 | 73 | 0.009987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-14_0_4_line_74 |  | 72 | 74 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-14_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 76 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2540236.3559 | 1181001.8237 | 2540224.436 | 1181011.6296
1 | 2540199.6952 | 1181026.0814 | 2540219.2146 | 1181015.9251 | 2540224.436 | 1181011.6296
2 | 2540199.6952 | 1181026.0814 | 2540197.3735 | 1181023.0362 | 2540192.1572 | 1181016.1734
3 | 2540199.6952 | 1181026.0814 | 2540202.1409 | 1181029.3032
4 | 2540192.1572 | 1181016.1734 | 2540187.0404 | 1181016.2134 | 2540180.6485 | 1181014.7654 | 2540175.9359 | 1181013.1718
5 | 2540192.1572 | 1181016.1734 | 2540194.2878 | 1181008.5145 | 2540198.2459 | 1180995.7122 | 2540201.508 | 1180986.63 | 2540202.4443 | 1180984.0303
6 | 2540202.1409 | 1181029.3032 | 2540206.3809 | 1181037.054 | 2540206.8914 | 1181038.3021
7 | 2540247.0423 | 1181007.9204 | 2540244.6224 | 1181010.3348 | 2540241.6356 | 1181012.577 | 2540237.0663 | 1181014.6683 | 2540202.1409 | 1181029.3032
8 | 2540169.9407 | 1181010.9592 | 2540174.3261 | 1181012.6274 | 2540175.9359 | 1181013.1718
9 | 2540202.4443 | 1180984.0303 | 2540201.508 | 1180986.63 | 2540231.7781 | 1180972.3307 | 2540233.3116 | 1180971.4038
10 | 2540202.4443 | 1180984.0303 | 2540207.2958 | 1180971.0988
11 | 2540247.0423 | 1181007.9204 | 2540257.7002 | 1181013.1896
12 | 2540254.3488 | 1180990.0708 | 2540247.0423 | 1181007.9204
13 | 2540223.9033 | 1180866.0831 | 2540245.8475 | 1180857.7593 | 2540248.0862 | 1180857.8481 | 2540252.0275 | 1180856.3616
14 | 2540223.9033 | 1180866.0831 | 2540224.2146 | 1180867.4252 | 2540224.5884 | 1180870.8341
15 | 2540223.9033 | 1180866.0831 | 2540218.6295 | 1180843.5454 | 2540217.8416 | 1180841.7447
16 | 2540274.9424 | 1180830.8592 | 2540266.0224 | 1180823.7055 | 2540250.4846 | 1180827.349
17 | 2540228.8827 | 1180832.4145 | 2540250.4846 | 1180827.349
18 | 2540226.1727 | 1180885.2823 | 2540224.5884 | 1180870.8341
19 | 2540215.1668 | 1180835.6311 | 2540217.8416 | 1180841.7447
20 | 2540228.8827 | 1180832.4145 | 2540224.547 | 1180833.4362 | 2540215.1668 | 1180835.6311
21 | 2540223.0862 | 1180808.7814 | 2540225.8489 | 1180820.0268 | 2540228.8827 | 1180832.4145
22 | 2540226.1727 | 1180885.2823 | 2540210.4681 | 1180884.3429
23 | 2540226.1727 | 1180885.2823 | 2540226.2485 | 1180891.3405 | 2540241.2353 | 1180885.3764 | 2540244.7754 | 1180893.4122
24 | 2540216.8063 | 1180945.3874 | 2540218.5663 | 1180940.3781 | 2540223.158 | 1180926.769 | 2540226.4391 | 1180905.8245 | 2540226.4046 | 1180903.1345 | 2540226.2485 | 1180891.3405 | 2540226.1727 | 1180885.2823
25 | 2540226.8276 | 1180807.9102 | 2540223.0862 | 1180808.7814
26 | 2540168.6379 | 1180829.5817 | 2540180.2452 | 1180814.8574 | 2540183.3634 | 1180811.2353 | 2540185.9975 | 1180809.6081 | 2540189.6861 | 1180808.037 | 2540193.1305 | 1180808.0136 | 2540196.7396 | 1180809.1782 | 2540200.2017 | 1180811.6895 | 2540201.704 | 1180813.7423 | 2540223.0862 | 1180808.7814
27 | 2540215.7278 | 1180780.9616 | 2540208.8247 | 1180787.2229 | 2540206.1305 | 1180791.241 | 2540204.4883 | 1180794.2924 | 2540200.2017 | 1180811.6895 | 2540201.704 | 1180813.7423 | 2540223.0862 | 1180808.7814
28 | 2540210.4681 | 1180884.3429 | 2540188.7301 | 1180883.0425
29 | 2540244.7754 | 1180893.4122 | 2540251.7728 | 1180889.7069 | 2540259.2773 | 1180887.1046
30 | 2540216.8063 | 1180945.3874 | 2540229.1257 | 1180938.4938 | 2540250.9447 | 1180927.0527
31 | 2540216.8063 | 1180945.3874 | 2540216.0414 | 1180947.5629
32 | 2540255.8398 | 1180924.4858 | 2540250.9447 | 1180927.0527
33 | 2540216.0414 | 1180947.5629 | 2540212.9859 | 1180955.9315 | 2540207.2958 | 1180971.0988
34 | 2540216.0414 | 1180947.5629 | 2540203.0964 | 1180942.7897
35 | 2540255.8398 | 1180924.4858 | 2540264.9851 | 1180919.6861
36 | 2540187.5088 | 1180937.0422 | 2540203.0964 | 1180942.7897
37 | 2540295.1827 | 1180929.1958 | 2540297.511 | 1180929.8396 | 2540301.2088 | 1180931.4814 | 2540309.2252 | 1180935.7593
38 | 2540254.3488 | 1180990.0708 | 2540259.2845 | 1180978.0148 | 2540260.895 | 1180974.0854 | 2540269.7739 | 1180977.5431 | 2540270.123 | 1180965.0882 | 2540279.3341 | 1180941.3941 | 2540282.3536 | 1180936.2944 | 2540285.1 | 1180932.9207 | 2540287.5725 | 1180931.1839 | 2540295.1827 | 1180929.1958
39 | 2540254.3488 | 1180990.0708 | 2540259.2845 | 1180978.0148 | 2540260.895 | 1180974.0854 | 2540269.7739 | 1180977.5431 | 2540303.6223 | 1180991.1685 | 2540307.8351 | 1180980.8985 | 2540301.1074 | 1180977.9417 | 2540301.3608 | 1180977.3166 | 2540306.6109 | 1180965.3798 | 2540309.1211 | 1180963.5871 | 2540310.1458 | 1180962.1872 | 2540312.1068 | 1180958.1765 | 2540314.5105 | 1180958.7195 | 2540317.1024 | 1180958.2267 | 2540327.4929 | 1180952.442 | 2540331.5534 | 1180952.1681 | 2540337.4936 | 1180950.4412 | 2540340.6872 | 1180952.844 | 2540349.4007 | 1180957.3375
40 | 2540329.4674 | 1180877.0579 | 2540320.5384 | 1180880.838
41 | 2540321.4474 | 1180843.3412 | 2540325.3619 | 1180849.8614 | 2540330.875 | 1180852.0187 | 2540340.9428 | 1180855.965 | 2540338.4526 | 1180863.5941 | 2540325.8771 | 1180868.5778 | 2540329.4674 | 1180877.0579
42 | 2540329.4674 | 1180877.0579 | 2540355.3365 | 1180866.3384 | 2540371.4333 | 1180872.8706 | 2540367.9263 | 1180881.1657 | 2540376.1751 | 1180900.5914
43 | 2540320.5384 | 1180880.838 | 2540318.1199 | 1180878.0383 | 2540315.9349 | 1180874.6242
44 | 2540320.5384 | 1180880.838 | 2540327.7238 | 1180898.2649 | 2540339.5821 | 1180911.7431 | 2540344.3667 | 1180916.676 | 2540347.3883 | 1180920.9705 | 2540348.9248 | 1180924.1681 | 2540348.7346 | 1180927.3051 | 2540343.5489 | 1180940.353 | 2540344.4809 | 1180942.6672 | 2540346.1127 | 1180944.6965 | 2540349.4007 | 1180957.3375
45 | 2540334.586 | 1180842.7321 | 2540326.8542 | 1180845.5663 | 2540321.4474 | 1180843.3412
46 | 2540349.4007 | 1180957.3375 | 2540352.8595 | 1180966.8885
47 | 2540185.4517 | 1180832.1706 | 2540180.5463 | 1180832.7422 | 2540174.864 | 1180831.9986 | 2540168.6379 | 1180829.5817
48 | 2540215.7278 | 1180780.9616 | 2540226.1326 | 1180777.3445 | 2540325.992 | 1180754.5573 | 2540337.8928 | 1180752.3596 | 2540352.941 | 1180751.7426 | 2540365.2115 | 1180752.9098 | 2540378.438 | 1180755.6519
49 | 2540397.7459 | 1180763.4435 | 2540392.5369 | 1180761.0421 | 2540379.3326 | 1180755.8374 | 2540378.438 | 1180755.6519
50 | 2540102.1588 | 1180985.1896 | 2540106.3091 | 1180975.5871
51 | 2540126.2862 | 1180994.3644 | 2540102.1588 | 1180985.1896
52 | 2540126.2862 | 1180994.3644 | 2540132.2739 | 1180996.6391
53 | 2540130.2226 | 1180983.2187 | 2540126.2862 | 1180994.3644
54 | 2540139.5501 | 1180919.3229 | 2540155.157 | 1180925.1637
55 | 2540139.5501 | 1180919.3229 | 2540131.5072 | 1180941.982
56 | 2540164.6346 | 1180928.7106 | 2540155.157 | 1180925.1637
57 | 2540266.1082 | 1181017.3465 | 2540257.7002 | 1181013.1896
58 | 2540266.1082 | 1181017.3465 | 2540271.0445 | 1181004.5526
59 | 2540421.6181 | 1180774.4489 | 2540397.7459 | 1180763.4435
60 | 2540134.1896 | 1181007.1814 | 2540132.2739 | 1180996.6391
61 | 2540145.9745 | 1181001.8494 | 2540132.2739 | 1180996.6391
62 | 2540164.6346 | 1180928.7106 | 2540178.7497 | 1180933.8518
63 | 2540164.6346 | 1180928.7106 | 2540157.3297 | 1180948.2827
64 | 2540187.5088 | 1180937.0422 | 2540178.7497 | 1180933.8518
65 | 2540187.5088 | 1180937.0422 | 2540178.7937 | 1180960.0736
66 | 2540233.3116 | 1180971.4038 | 2540238.9952 | 1180967.9918
67 | 2540252.4348 | 1180959.9238 | 2540238.9952 | 1180967.9918
68 | 2540174.3284 | 1180999.8758 | 2540169.9407 | 1181010.9592
69 | 2540146.5418 | 1181002.066 | 2540160.9937 | 1181007.5579 | 2540169.9407 | 1181010.9592
70 | 2540382.1898 | 1180712.9961 | 2540393.7847 | 1180717.6387 | 2540410.1998 | 1180723.1227 | 2540419.198 | 1180725.49 | 2540428.3503 | 1180726.4661 | 2540438.2917 | 1180726.9118 | 2540448.5149 | 1180726.5099 | 2540470.2655 | 1180724.748 | 2540477.8835 | 1180725.0502 | 2540489.8574 | 1180729.4113 | 2540510.3823 | 1180741.8809 | 2540538.7458 | 1180759.9424 | 2540533.489 | 1180762.0514 | 2540508.8532 | 1180767.0657 | 2540473.3957 | 1180776.0234 | 2540457.5747 | 1180778.7934 | 2540447.8513 | 1180778.7568 | 2540441.2161 | 1180778.2003 | 2540421.6181 | 1180774.4489
71 | 2540382.1898 | 1180712.9961 | 2540360.2108 | 1180704.22
72 | 2540146.5418 | 1181002.066 | 2540145.9745 | 1181001.8494
73 | 2540143.0612 | 1181011.4283 | 2540146.5418 | 1181002.066
74 | 2540150.1309 | 1180990.557 | 2540145.9745 | 1181001.8494

## bus_geodata
| x | y | coords
0 | 2540236.3559 | 1181001.8237
1 | 2540224.436 | 1181011.6296
2 | 2540199.6952 | 1181026.0814
3 | 2540192.1572 | 1181016.1734
4 | 2540202.1409 | 1181029.3032
5 | 2540175.9359 | 1181013.1718
6 | 2540202.4443 | 1180984.0303
7 | 2540206.8914 | 1181038.3021
8 | 2540247.0423 | 1181007.9204
9 | 2540252.0275 | 1180856.3616
10 | 2540223.9033 | 1180866.0831
11 | 2540274.9424 | 1180830.8592
12 | 2540250.4846 | 1180827.349
13 | 2540224.5884 | 1180870.8341
14 | 2540217.8416 | 1180841.7447
15 | 2540228.8827 | 1180832.4145
16 | 2540226.1727 | 1180885.2823
17 | 2540215.1668 | 1180835.6311
18 | 2540223.0862 | 1180808.7814
19 | 2540210.4681 | 1180884.3429
20 | 2540244.7754 | 1180893.4122
21 | 2540216.8063 | 1180945.3874
22 | 2540259.2773 | 1180887.1046
23 | 2540250.9447 | 1180927.0527
24 | 2540216.0414 | 1180947.5629
25 | 2540255.8398 | 1180924.4858
26 | 2540207.2958 | 1180971.0988
27 | 2540203.0964 | 1180942.7897
28 | 2540188.7301 | 1180883.0425
29 | 2540264.9851 | 1180919.6862
30 | 2540295.1827 | 1180929.1958
31 | 2540309.2252 | 1180935.7593
32 | 2540254.3488 | 1180990.0708
33 | 2540329.4674 | 1180877.0579
34 | 2540320.5384 | 1180880.838
35 | 2540321.4474 | 1180843.3412
36 | 2540376.1751 | 1180900.5914
37 | 2540334.586 | 1180842.7321
38 | 2540349.4007 | 1180957.3375
39 | 2540352.8595 | 1180966.8885
40 | 2540315.9349 | 1180874.6242
41 | 2540226.8276 | 1180807.9102
42 | 2540168.6379 | 1180829.5817
43 | 2540215.7278 | 1180780.9616
44 | 2540378.438 | 1180755.6519
45 | 2540102.1588 | 1180985.1896
46 | 2540106.3091 | 1180975.5871
47 | 2540126.2862 | 1180994.3644
48 | 2540185.4517 | 1180832.1706
49 | 2540139.5501 | 1180919.3229
50 | 2540155.157 | 1180925.1637
51 | 2540131.5072 | 1180941.982
52 | 2540257.7002 | 1181013.1896
53 | 2540271.0445 | 1181004.5526
54 | 2540266.1082 | 1181017.3465
55 | 2540397.7459 | 1180763.4435
56 | 2540132.2739 | 1180996.6391
57 | 2540130.2226 | 1180983.2187
58 | 2540164.6346 | 1180928.7106
59 | 2540178.7497 | 1180933.8518
60 | 2540157.3297 | 1180948.2827
61 | 2540187.5088 | 1180937.0422
62 | 2540178.7937 | 1180960.0736
63 | 2540233.3116 | 1180971.4038
64 | 2540238.9952 | 1180967.9918
65 | 2540169.9407 | 1181010.9592
66 | 2540252.4348 | 1180959.9238
67 | 2540421.6181 | 1180774.4489
68 | 2540382.1898 | 1180712.9961
69 | 2540360.2108 | 1180704.22
70 | 2540174.3284 | 1180999.8758
71 | 2540146.5418 | 1181002.066
72 | 2540145.9745 | 1181001.8494
73 | 2540143.0612 | 1181011.4283
74 | 2540150.1309 | 1180990.557
75 | 2540134.1896 | 1181007.1814
76 | 2540268.9689 | 1180917.5953

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1