## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-27_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-27_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-27_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-27_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-27_0_7_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_5938-27_0_7_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5938-27_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5938-27_0_7_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_5938-27_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5938-27_0_7_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_5938-27_0_7_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_5938-27_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5938-27_0_7_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5938-27_0_7_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5938-27_0_7_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5938-27_0_7_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_5938-27_0_7_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_5938-27_0_7_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5938-27_0_7_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_5938-27_0_7_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_5938-27_0_7_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5938-27_0_7_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5938-27_0_7_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5938-27_0_7_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_5938-27_0_7_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_5938-27_0_7_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_5938-27_0_7_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_5938-27_0_7_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5938-27_0_7_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5938-27_0_7_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5938-27_0_7_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5938-27_0_7_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_5938-27_0_7_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5938-27_0_7_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_5938-27_0_7_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_5938-27_0_7_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_5938-27_0_7_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5938-27_0_7_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_5938-27_0_7_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_5938-27_0_7_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5938-27_0_7_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5938-27_0_7_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5938-27_0_7_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5938-27_0_7_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_5938-27_0_7_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5938-27_0_7_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_5938-27_0_7_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_5938-27_0_7_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5938-27_0_7_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5938-27_0_7_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5938-27_0_7_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5938-27_0_7_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5938-27_0_7_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_5938-27_0_7_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_5938-27_0_7_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_5938-27_0_7_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5938-27_0_7_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5938-27_0_7_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5938-27_0_7_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_5938-27_0_7_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5938-27_0_7_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5938-27_0_7_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5938-27_0_7_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5938-27_0_7_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_5938-27_0_7_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5938-27_0_7_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5938-27_0_7_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5938-27_0_7_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_5938-27_0_7_node_65 | 0.4 | n |  | TRUE
69 | bus_MV_455_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-27_0_7_load_0 | 0 | 0.033451 | 0.0083837 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-27_0_7_load_3 | 3 | 0.0069816 | 0.0017498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-27_0_7_load_24 | 5 | 0.0046849 | 0.0011742 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-27_0_7_load_75 | 7 | 0.0024511 | 0.0006143 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-27_0_7_load_57 | 10 | 0.014227 | 0.0035656 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-27_0_7_load_50 | 16 | 0.0099144 | 0.0024848 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-27_0_7_load_61 | 18 | 0.040916 | 0.010254 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-27_0_7_load_59 | 19 | 0.014674 | 0.0036776 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-27_0_7_load_25 | 20 | 0.024465 | 0.0061315 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-27_0_7_load_60 | 22 | 0.0051173 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-27_0_7_load_53 | 23 | 0.017738 | 0.0044455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-27_0_7_load_52 | 24 | 0.0031192 | 0.00078175 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-27_0_7_load_74 | 25 | 0.0093059 | 0.0023323 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-27_0_7_load_46 | 26 | 0.010559 | 0.0026464 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-27_0_7_load_51 | 28 | 0.026931 | 0.0067496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-27_0_7_load_71 | 31 | 0.0041539 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-27_0_7_load_45 | 33 | 0.030773 | 0.0077125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-27_0_7_load_42 | 34 | 0.0057272 | 0.0014354 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-27_0_7_load_72 | 35 | 0.005344 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-27_0_7_load_44 | 36 | 0.0040304 | 0.0010101 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-27_0_7_load_56 | 37 | 0.0073197 | 0.0018345 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-27_0_7_load_68 | 38 | 0.020368 | 0.0051047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-27_0_7_load_29 | 40 | 0.020223 | 0.0050685 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-27_0_7_load_26 | 41 | 0.0079011 | 0.0019802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-27_0_7_load_35 | 42 | 0.0053292 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-27_0_7_load_73 | 43 | 0.0026469 | 0.00066338 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-27_0_7_load_33 | 44 | 0.0027909 | 0.00069948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-27_0_7_load_32 | 45 | 0.0031662 | 0.00079352 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-27_0_7_load_62 | 46 | 0.029084 | 0.007289 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-27_0_7_load_43 | 47 | 0.012396 | 0.0031068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-27_0_7_load_30 | 49 | 0.0042993 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-27_0_7_load_31 | 50 | 0.0038465 | 0.00096402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-27_0_7_load_47 | 51 | 0.0025741 | 0.00064512 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-27_0_7_load_67 | 52 | 0.032963 | 0.0082612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-27_0_7_load_48 | 53 | 0.0042268 | 0.0010593 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-27_0_7_load_66 | 54 | 0.0088544 | 0.0022191 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-27_0_7_load_34 | 55 | 0.0032214 | 0.00080736 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-27_0_7_load_36 | 56 | 0.01393 | 0.0034913 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-27_0_7_load_37 | 57 | 0.014781 | 0.0037045 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-27_0_7_load_40 | 59 | 0.010956 | 0.0027459 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-27_0_7_load_41 | 60 | 0.017284 | 0.0043317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-27_0_7_load_54 | 61 | 0.025256 | 0.0063298 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-27_0_7_load_63 | 63 | 0.0086794 | 0.0021753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-27_0_7_load_55 | 64 | 0.012313 | 0.0030859 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-27_0_7_load_64 | 65 | 0.0051177 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-27_0_7_load_49 | 67 | 0.010134 | 0.0025399 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-27_0_7_load_65 | 68 | 0.013897 | 0.003483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-27_0_7_line_0 |  | 0 | 1 | 0.052791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-27_0_7_line_1 |  | 0 | 2 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-27_0_7_line_2 |  | 1 | 3 | 0.021402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-27_0_7_line_3 |  | 1 | 4 | 0.04255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-27_0_7_line_4 |  | 2 | 5 | 0.045237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-27_0_7_line_5 |  | 2 | 6 | 0.021623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-27_0_7_line_6 |  | 4 | 23 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-27_0_7_line_7 |  | 4 | 24 | 0.004681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-27_0_7_line_8 |  | 5 | 11 | 0.034611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-27_0_7_line_9 |  | 6 | 7 | 0.033619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-27_0_7_line_10 |  | 8 | 9 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-27_0_7_line_11 |  | 8 | 10 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-27_0_7_line_12 |  | 9 | 35 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5938-27_0_7_line_13 |  | 9 | 36 | 0.0095937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-27_0_7_line_14 |  | 10 | 37 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-27_0_7_line_15 |  | 11 | 12 | 0.036061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-27_0_7_line_16 |  | 12 | 20 | 0.030224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-27_0_7_line_17 |  | 13 | 14 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-27_0_7_line_18 |  | 13 | 15 | 0.030819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-27_0_7_line_19 |  | 13 | 16 | 0.0068306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-27_0_7_line_20 |  | 14 | 21 | 0.004476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-27_0_7_line_21 |  | 14 | 22 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-27_0_7_line_22 |  | 15 | 26 | 0.003094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-27_0_7_line_23 |  | 16 | 27 | 0.031517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-27_0_7_line_24 |  | 17 | 18 | 0.0156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-27_0_7_line_25 |  | 17 | 19 | 0.025763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-27_0_7_line_26 |  | 18 | 38 | 0.0025319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-27_0_7_line_27 |  | 21 | 25 | 0.0052178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-27_0_7_line_28 |  | 23 | 37 | 0.013606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-27_0_7_line_29 |  | 25 | 43 | 0.0041283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-27_0_7_line_30 |  | 26 | 42 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-27_0_7_line_31 |  | 27 | 28 | 0.03017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-27_0_7_line_32 |  | 29 | 30 | 0.024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-27_0_7_line_33 |  | 29 | 31 | 0.028796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-27_0_7_line_34 |  | 30 | 46 | 0.010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-27_0_7_line_35 |  | 32 | 33 | 0.033024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-27_0_7_line_36 |  | 32 | 34 | 0.02661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-27_0_7_line_37 |  | 34 | 47 | 0.0066665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-27_0_7_line_38 |  | 35 | 66 | 0.0053315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5938-27_0_7_line_39 |  | 36 | 47 | 0.0052962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-27_0_7_line_40 |  | 38 | 66 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-27_0_7_line_41 |  | 39 | 40 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-27_0_7_line_42 |  | 39 | 41 | 0.0066292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-27_0_7_line_43 |  | 41 | 48 | 0.0090261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-27_0_7_line_44 |  | 42 | 55 | 0.00014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-27_0_7_line_45 |  | 43 | 68 | 0.0089228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-27_0_7_line_46 |  | 44 | 45 | 0.0056925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-27_0_7_line_47 |  | 45 | 55 | 0.0070196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-27_0_7_line_48 |  | 46 | 63 | 0.018372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-27_0_7_line_49 |  | 48 | 49 | 0.0015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-27_0_7_line_50 |  | 48 | 50 | 0.012268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5938-27_0_7_line_51 |  | 49 | 51 | 0.0074919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-27_0_7_line_52 |  | 50 | 52 | 0.0032556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5938-27_0_7_line_53 |  | 51 | 53 | 0.0052626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-27_0_7_line_54 |  | 52 | 54 | 0.0025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5938-27_0_7_line_55 |  | 53 | 67 | 0.0062557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-27_0_7_line_56 |  | 54 | 64 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5938-27_0_7_line_57 |  | 56 | 57 | 0.0037219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-27_0_7_line_58 |  | 56 | 58 | 0.012361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-27_0_7_line_59 |  | 58 | 59 | 0.0053328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5938-27_0_7_line_60 |  | 58 | 60 | 0.0053175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5938-27_0_7_line_61 |  | 59 | 61 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5938-27_0_7_line_62 |  | 60 | 62 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5938-27_0_7_line_63 |  | 61 | 64 | 0.00063933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5938-27_0_7_line_64 |  | 62 | 65 | 0.010075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-27_0_7_line_65 |  | 62 | 66 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5938-27_0_7_line_66 |  | 63 | 65 | 0.0022835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-27_0_7_line_67 |  | 67 | 68 | 0.0054575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-27_0_7_trafo_70 | 0.63 MVA 20/0.4 kV | 69 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2538909.2002 | 1181376.3369 | 2538912.7913 | 1181381.7255 | 2538931.1664 | 1181411.6548 | 2538937.0492 | 1181421.1802
1 | 2538950.4481 | 1181442.8756 | 2538937.0492 | 1181421.1802
2 | 2538909.2002 | 1181376.3369 | 2538902.3166 | 1181382.066 | 2538894.9395 | 1181387.3331 | 2538892.0518 | 1181389.0922
3 | 2538909.2002 | 1181376.3369 | 2538913.0515 | 1181373.5516 | 2538915.811 | 1181371.5556 | 2538924.4945 | 1181366.3307 | 2538918.7208 | 1181358.0961 | 2538916.8374 | 1181355.4027 | 2538915.3159 | 1181350.7489 | 2538913.4398 | 1181345.0315
4 | 2538950.4481 | 1181442.8756 | 2538944.9192 | 1181445.9004 | 2538951.2875 | 1181461.5108 | 2538955.5933 | 1181468.8488 | 2538952.6754 | 1181472.5362 | 2538945.057 | 1181477.0696
5 | 2538950.4481 | 1181442.8756 | 2538959.481 | 1181437.4693 | 2538960.9285 | 1181440.8675 | 2538959.9419 | 1181448.2039
6 | 2538913.4398 | 1181345.0315 | 2538903.6567 | 1181348.1469
7 | 2538913.4398 | 1181345.0315 | 2538916.9589 | 1181344.1173 | 2538917.9565 | 1181343.8054
8 | 2538914.3657 | 1181492.494 | 2538922.7368 | 1181490.3407 | 2538932.4305 | 1181484.5829 | 2538945.057 | 1181477.0696
9 | 2538959.9419 | 1181448.2039 | 2538988.8049 | 1181430.9656
10 | 2538863.7251 | 1181323.6939 | 2538878.3928 | 1181309.1692
11 | 2538863.7251 | 1181323.6939 | 2538863.5307 | 1181329.3324 | 2538869.814 | 1181336.7493
12 | 2538878.3928 | 1181309.1692 | 2538876.8744 | 1181306.3165 | 2538870.1473 | 1181294.013
13 | 2538878.3928 | 1181309.1692 | 2538885.8842 | 1181303.176
14 | 2538869.814 | 1181336.7493 | 2538873.503 | 1181341.1038 | 2538889.6999 | 1181348.4203 | 2538890.4405 | 1181348.5502
15 | 2538914.3657 | 1181492.494 | 2538907.0843 | 1181492.913 | 2538900.2508 | 1181491.571 | 2538891.2932 | 1181486.404 | 2538885.1126 | 1181480.9529 | 2538882.6011 | 1181478.8107
16 | 2538882.6011 | 1181478.8107 | 2538878.4239 | 1181472.8611 | 2538874.8336 | 1181466.7944 | 2538871.7202 | 1181459.5666 | 2538870.5471 | 1181453.8864 | 2538870.508 | 1181451.652
17 | 2538794.7632 | 1181217.1945 | 2538801.9521 | 1181216.6651 | 2538806.432 | 1181218.5871 | 2538810.1069 | 1181214.9808 | 2538812.3072 | 1181212.8126
18 | 2538781.7406 | 1181192.4916 | 2538784.8797 | 1181199.9637 | 2538790.9262 | 1181205.7051 | 2538788.6293 | 1181210.3756 | 2538794.7632 | 1181217.1945
19 | 2538794.7632 | 1181217.1945 | 2538793.4337 | 1181220.1209 | 2538791.7377 | 1181223.3149
20 | 2538808.9469 | 1181209.8453 | 2538812.3072 | 1181212.8126
21 | 2538812.3072 | 1181212.8126 | 2538815.5506 | 1181215.5588 | 2538817.896 | 1181220.1151 | 2538818.6972 | 1181225.6049
22 | 2538781.7406 | 1181192.4916 | 2538784.6706 | 1181191.4721
23 | 2538776.9568 | 1181251.1513 | 2538791.7377 | 1181223.3149
24 | 2538835.7397 | 1181301.7787 | 2538839.1482 | 1181300.5098 | 2538850.2829 | 1181296.1349
25 | 2538835.7397 | 1181301.7787 | 2538830.2516 | 1181294.6197 | 2538827.2593 | 1181288.0465 | 2538824.5263 | 1181278.9272
26 | 2538850.2829 | 1181296.1349 | 2538852.6395 | 1181295.209
27 | 2538808.9469 | 1181209.8453 | 2538812.6615 | 1181207.1391 | 2538813.2779 | 1181207.0558
28 | 2538903.6567 | 1181348.1469 | 2538898.1465 | 1181349.9015 | 2538890.4405 | 1181348.5502
29 | 2538813.2779 | 1181207.0558 | 2538817.369 | 1181206.5028
30 | 2538784.6706 | 1181191.4721 | 2538782.1651 | 1181184.7162 | 2538779.686 | 1181178.0699
31 | 2538776.9568 | 1181251.1513 | 2538782.9696 | 1181257.3378 | 2538802.1418 | 1181267.2917
32 | 2538897.033 | 1181258.8616 | 2538900.5365 | 1181257.9142 | 2538915.529 | 1181248.9894 | 2538918.3761 | 1181247.3372
33 | 2538918.3761 | 1181247.3372 | 2538907.8729 | 1181232.9475 | 2538902.3871 | 1181223.4357
34 | 2538897.033 | 1181258.8616 | 2538899.3967 | 1181262.2172 | 2538893.2312 | 1181265.1903
35 | 2538916.0044 | 1181279.0793 | 2538935.5757 | 1181305.679
36 | 2538916.0044 | 1181279.0793 | 2538895.2254 | 1181295.7028
37 | 2538890.0198 | 1181299.8675 | 2538895.2254 | 1181295.7028
38 | 2538867.5896 | 1181289.3351 | 2538870.1473 | 1181294.013
39 | 2538890.0198 | 1181299.8675 | 2538885.8842 | 1181303.176
40 | 2538867.5896 | 1181289.3351 | 2538852.6395 | 1181295.209
41 | 2538866.7719 | 1181196.6468 | 2538868.2654 | 1181193.3186 | 2538872.2679 | 1181181.4154
42 | 2538866.7719 | 1181196.6468 | 2538860.6015 | 1181199.0701
43 | 2538852.0235 | 1181201.8115 | 2538856.2213 | 1181200.7903 | 2538860.6015 | 1181199.0701
44 | 2538779.686 | 1181178.0699 | 2538779.6368 | 1181177.9379
45 | 2538826.2112 | 1181205.3062 | 2538820.1358 | 1181206.1288 | 2538817.369 | 1181206.5028
46 | 2538775.096 | 1181166.0651 | 2538777.1707 | 1181171.3264 | 2538777.1835 | 1181171.361
47 | 2538779.6368 | 1181177.9379 | 2538777.1835 | 1181171.361
48 | 2538893.2312 | 1181265.1903 | 2538881.8258 | 1181270.6903 | 2538876.4541 | 1181272.6247
49 | 2538852.0235 | 1181201.8115 | 2538850.4577 | 1181202.0235
50 | 2538852.0235 | 1181201.8115 | 2538852.083 | 1181205.3907 | 2538853.5681 | 1181213.9511
51 | 2538843.0335 | 1181203.0287 | 2538850.4577 | 1181202.0235
52 | 2538853.5681 | 1181213.9511 | 2538854.1246 | 1181217.1588
53 | 2538843.0335 | 1181203.0287 | 2538837.8185 | 1181203.7347
54 | 2538854.5679 | 1181219.7142 | 2538854.1246 | 1181217.1588
55 | 2538837.8185 | 1181203.7347 | 2538831.6193 | 1181204.574
56 | 2538854.5679 | 1181219.7142 | 2538857.5106 | 1181236.6765
57 | 2538876.5621 | 1181252.3188 | 2538872.8745 | 1181252.823
58 | 2538860.6272 | 1181254.4977 | 2538872.8745 | 1181252.823
59 | 2538860.6272 | 1181254.4977 | 2538860.3366 | 1181252.9665 | 2538859.6915 | 1181249.2477
60 | 2538860.6272 | 1181254.4977 | 2538861.613 | 1181259.723
61 | 2538859.6915 | 1181249.2477 | 2538857.6199 | 1181237.3064
62 | 2538864.8267 | 1181276.8118 | 2538864.4789 | 1181274.9143 | 2538861.613 | 1181259.723
63 | 2538857.6199 | 1181237.3064 | 2538857.5106 | 1181236.6765
64 | 2538864.8267 | 1181276.8118 | 2538874.3056 | 1181273.3984
65 | 2538864.8267 | 1181276.8118 | 2538867.5896 | 1181289.3351
66 | 2538874.3056 | 1181273.3984 | 2538876.4541 | 1181272.6247
67 | 2538826.2112 | 1181205.3062 | 2538831.6193 | 1181204.574

## bus_geodata
| x | y | coords
0 | 2538937.0492 | 1181421.1802
1 | 2538909.2002 | 1181376.3369
2 | 2538950.4481 | 1181442.8756
3 | 2538892.0518 | 1181389.0922
4 | 2538913.4398 | 1181345.0315
5 | 2538945.057 | 1181477.0696
6 | 2538959.9419 | 1181448.2039
7 | 2538988.8049 | 1181430.9656
8 | 2538863.7251 | 1181323.6939
9 | 2538878.3928 | 1181309.1692
10 | 2538869.814 | 1181336.7493
11 | 2538914.3657 | 1181492.494
12 | 2538882.6011 | 1181478.8107
13 | 2538794.7632 | 1181217.1945
14 | 2538812.3072 | 1181212.8126
15 | 2538781.7406 | 1181192.4916
16 | 2538791.7377 | 1181223.3149
17 | 2538835.7397 | 1181301.7787
18 | 2538850.2829 | 1181296.1349
19 | 2538824.5263 | 1181278.9272
20 | 2538870.508 | 1181451.652
21 | 2538808.9469 | 1181209.8453
22 | 2538818.6972 | 1181225.6049
23 | 2538903.6567 | 1181348.1469
24 | 2538917.9565 | 1181343.8054
25 | 2538813.2779 | 1181207.0558
26 | 2538784.6706 | 1181191.4721
27 | 2538776.9568 | 1181251.1513
28 | 2538802.1418 | 1181267.2917
29 | 2538918.3761 | 1181247.3372
30 | 2538897.033 | 1181258.8616
31 | 2538902.3871 | 1181223.4357
32 | 2538916.0044 | 1181279.0793
33 | 2538935.5757 | 1181305.679
34 | 2538895.2254 | 1181295.7028
35 | 2538870.1473 | 1181294.013
36 | 2538885.8842 | 1181303.176
37 | 2538890.4405 | 1181348.5502
38 | 2538852.6395 | 1181295.209
39 | 2538866.7719 | 1181196.6468
40 | 2538872.2679 | 1181181.4154
41 | 2538860.6015 | 1181199.0701
42 | 2538779.686 | 1181178.0699
43 | 2538817.369 | 1181206.5028
44 | 2538775.096 | 1181166.0651
45 | 2538777.1835 | 1181171.361
46 | 2538893.2312 | 1181265.1903
47 | 2538890.0198 | 1181299.8675
48 | 2538852.0235 | 1181201.8115
49 | 2538850.4577 | 1181202.0235
50 | 2538853.5681 | 1181213.9511
51 | 2538843.0335 | 1181203.0287
52 | 2538854.1246 | 1181217.1588
53 | 2538837.8185 | 1181203.7347
54 | 2538854.5679 | 1181219.7142
55 | 2538779.6368 | 1181177.9379
56 | 2538872.8745 | 1181252.823
57 | 2538876.5621 | 1181252.3188
58 | 2538860.6272 | 1181254.4977
59 | 2538859.6915 | 1181249.2477
60 | 2538861.613 | 1181259.723
61 | 2538857.6199 | 1181237.3064
62 | 2538864.8267 | 1181276.8118
63 | 2538876.4541 | 1181272.6247
64 | 2538857.5106 | 1181236.6765
65 | 2538874.3056 | 1181273.3984
66 | 2538867.5896 | 1181289.3351
67 | 2538831.6193 | 1181204.574
68 | 2538826.2112 | 1181205.3062
69 | 2538867.5896 | 1181289.3351

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1