## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-30_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-30_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-30_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-30_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-30_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-30_0_5_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_5938-30_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5938-30_0_5_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_5938-30_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5938-30_0_5_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_5938-30_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5938-30_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_5938-30_0_5_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_5938-30_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5938-30_0_5_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_5938-30_0_5_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_5938-30_0_5_node_115 | 0.4 | n |  | TRUE
17 | bus_LV_5938-30_0_5_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_5938-30_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5938-30_0_5_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_5938-30_0_5_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_5938-30_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5938-30_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5938-30_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5938-30_0_5_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_5938-30_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5938-30_0_5_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_5938-30_0_5_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_5938-30_0_5_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_5938-30_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5938-30_0_5_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_5938-30_0_5_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_5938-30_0_5_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_5938-30_0_5_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_5938-30_0_5_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5938-30_0_5_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_5938-30_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_5938-30_0_5_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_5938-30_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5938-30_0_5_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_5938-30_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5938-30_0_5_node_107 | 0.4 | n |  | TRUE
42 | bus_LV_5938-30_0_5_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_5938-30_0_5_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_5938-30_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_5938-30_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5938-30_0_5_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_5938-30_0_5_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_5938-30_0_5_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_5938-30_0_5_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_5938-30_0_5_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_5938-30_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5938-30_0_5_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_5938-30_0_5_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_5938-30_0_5_node_24 | 0.4 | n |  | TRUE
55 | bus_LV_5938-30_0_5_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_5938-30_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5938-30_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_5938-30_0_5_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_5938-30_0_5_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_5938-30_0_5_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_5938-30_0_5_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_5938-30_0_5_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_5938-30_0_5_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_5938-30_0_5_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_5938-30_0_5_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_5938-30_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5938-30_0_5_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_5938-30_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_5938-30_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_5938-30_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_5938-30_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_5938-30_0_5_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_5938-30_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_5938-30_0_5_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_5938-30_0_5_node_37 | 0.4 | n |  | TRUE
76 | bus_LV_5938-30_0_5_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_5938-30_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_5938-30_0_5_node_38 | 0.4 | n |  | TRUE
79 | bus_LV_5938-30_0_5_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_5938-30_0_5_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5938-30_0_5_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_5938-30_0_5_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_5938-30_0_5_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_5938-30_0_5_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5938-30_0_5_node_103 | 0.4 | n |  | TRUE
86 | bus_LV_5938-30_0_5_node_109 | 0.4 | n |  | TRUE
87 | bus_LV_5938-30_0_5_node_46 | 0.4 | n |  | TRUE
88 | bus_LV_5938-30_0_5_node_54 | 0.4 | n |  | TRUE
89 | bus_LV_5938-30_0_5_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_5938-30_0_5_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_5938-30_0_5_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_5938-30_0_5_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_5938-30_0_5_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_5938-30_0_5_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_5938-30_0_5_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_5938-30_0_5_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_5938-30_0_5_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_5938-30_0_5_node_116 | 0.4 | n |  | TRUE
99 | bus_LV_5938-30_0_5_node_113 | 0.4 | n |  | TRUE
100 | bus_LV_5938-30_0_5_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_5938-30_0_5_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_5938-30_0_5_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_5938-30_0_5_node_65 | 0.4 | n |  | TRUE
104 | bus_LV_5938-30_0_5_node_63 | 0.4 | n |  | TRUE
105 | bus_LV_5938-30_0_5_node_71 | 0.4 | n |  | TRUE
106 | bus_LV_5938-30_0_5_node_60 | 0.4 | n |  | TRUE
107 | bus_LV_5938-30_0_5_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_5938-30_0_5_node_53 | 0.4 | n |  | TRUE
109 | bus_LV_5938-30_0_5_node_79 | 0.4 | n |  | TRUE
110 | bus_LV_5938-30_0_5_node_80 | 0.4 | n |  | TRUE
111 | bus_LV_5938-30_0_5_node_89 | 0.4 | n |  | TRUE
112 | bus_MV_455_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-30_0_5_load_0 | 0 | 0.0036537 | 0.0009157 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-30_0_5_load_1 | 1 | 0.0028735 | 0.00072016 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-30_0_5_load_3 | 3 | 0.0049408 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-30_0_5_load_95 | 7 | 0.0037009 | 0.00092753 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-30_0_5_load_92 | 9 | 0.012501 | 0.0031331 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-30_0_5_load_55 | 12 | 0.0033089 | 0.00082928 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-30_0_5_load_85 | 14 | 0.0032371 | 0.00081129 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-30_0_5_load_84 | 15 | 0.0041137 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-30_0_5_load_115 | 16 | 0.009663 | 0.0024218 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-30_0_5_load_99 | 17 | 0.0028838 | 0.00072275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-30_0_5_load_78 | 19 | 0.0072035 | 0.0018054 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-30_0_5_load_96 | 24 | 0.023425 | 0.005871 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-30_0_5_load_102 | 27 | 0.0023787 | 0.00059615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-30_0_5_load_106 | 28 | 0.0040181 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-30_0_5_load_67 | 31 | 0.0043805 | 0.0010979 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-30_0_5_load_111 | 33 | 0.026001 | 0.0065164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-30_0_5_load_73 | 35 | 0.0019729 | 0.00049446 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-30_0_5_load_75 | 37 | 0.004834 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-30_0_5_load_110 | 39 | 0.0041703 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-30_0_5_load_107 | 41 | 0.0028311 | 0.00070955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-30_0_5_load_66 | 46 | 0.0049031 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-30_0_5_load_112 | 47 | 0.027471 | 0.0068848 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-30_0_5_load_114 | 49 | 0.00085727 | 0.00021485 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-30_0_5_load_86 | 52 | 0.0053746 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-30_0_5_load_98 | 53 | 0.0034037 | 0.00085304 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-30_0_5_load_70 | 57 | 0.051144 | 0.012818 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-30_0_5_load_91 | 59 | 0.0033653 | 0.00084342 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-30_0_5_load_117 | 60 | 0.0089757 | 0.0022495 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-30_0_5_load_83 | 61 | 0.0040023 | 0.0010031 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-30_0_5_load_108 | 63 | 0.0019738 | 0.00049468 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-30_0_5_load_105 | 64 | 0.0032624 | 0.00081763 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-30_0_5_load_50 | 69 | 0.0036176 | 0.00090665 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-30_0_5_load_64 | 70 | 0.0029849 | 0.00074808 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-30_0_5_load_58 | 71 | 0.0027519 | 0.00068969 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-30_0_5_load_49 | 73 | 0.0026817 | 0.0006721 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-30_0_5_load_48 | 74 | 0.0019455 | 0.00048759 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-30_0_5_load_51 | 76 | 0.0017647 | 0.00044227 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-30_0_5_load_52 | 77 | 0.0018184 | 0.00045575 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-30_0_5_load_59 | 79 | 0.0024571 | 0.0006158 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-30_0_5_load_56 | 80 | 0.0016677 | 0.00041798 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-30_0_5_load_88 | 81 | 0.0048522 | 0.0012161 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-30_0_5_load_87 | 82 | 0.013458 | 0.0033729 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-30_0_5_load_57 | 83 | 0.0031936 | 0.00080039 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-30_0_5_load_61 | 84 | 0.0029944 | 0.00075046 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-30_0_5_load_103 | 85 | 0.0020744 | 0.00051989 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-30_0_5_load_109 | 86 | 0.0027186 | 0.00068136 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-30_0_5_load_54 | 88 | 0.023563 | 0.0059056 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-30_0_5_load_97 | 89 | 0.017922 | 0.0044917 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-30_0_5_load_93 | 90 | 0.0056659 | 0.00142 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-30_0_5_load_77 | 91 | 0.0022701 | 0.00056895 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-30_0_5_load_69 | 92 | 0.0044866 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-30_0_5_load_94 | 93 | 0.015002 | 0.0037599 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-30_0_5_load_100 | 94 | 0.0022396 | 0.00056129 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-30_0_5_load_104 | 95 | 0.0025556 | 0.0006405 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-30_0_5_load_72 | 96 | 0.0034433 | 0.00086296 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-30_0_5_load_74 | 97 | 0.043262 | 0.010842 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-30_0_5_load_116 | 98 | 0.010215 | 0.0025601 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5938-30_0_5_load_113 | 99 | 0.011491 | 0.0028799 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5938-30_0_5_load_76 | 100 | 0.015485 | 0.0038808 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5938-30_0_5_load_90 | 101 | 0.0034383 | 0.00086173 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5938-30_0_5_load_82 | 102 | 0.0039663 | 0.00099405 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5938-30_0_5_load_65 | 103 | 0.0034302 | 0.00085969 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5938-30_0_5_load_63 | 104 | 0.0022275 | 0.00055828 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5938-30_0_5_load_71 | 105 | 0.0035009 | 0.0008774 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5938-30_0_5_load_60 | 106 | 0.0017409 | 0.00043631 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5938-30_0_5_load_101 | 107 | 0.0014757 | 0.00036984 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5938-30_0_5_load_53 | 108 | 0.068954 | 0.017282 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5938-30_0_5_load_79 | 109 | 0.0043883 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5938-30_0_5_load_80 | 110 | 0.0015302 | 0.00038351 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5938-30_0_5_load_89 | 111 | 0.0034702 | 0.00086971 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-30_0_5_line_0 |  | 0 | 1 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-30_0_5_line_1 |  | 0 | 2 | 0.029304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-30_0_5_line_2 |  | 1 | 3 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-30_0_5_line_3 |  | 2 | 4 | 0.046054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-30_0_5_line_4 |  | 4 | 5 | 0.010864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-30_0_5_line_5 |  | 5 | 71 | 0.028688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-30_0_5_line_6 |  | 5 | 10 | 0.032795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-30_0_5_line_7 |  | 6 | 7 | 0.0089453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5938-30_0_5_line_8 |  | 6 | 8 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5938-30_0_5_line_9 |  | 6 | 9 | 0.028531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5938-30_0_5_line_10 |  | 7 | 89 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-30_0_5_line_11 |  | 8 | 16 | 0.019588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-30_0_5_line_12 |  | 8 | 17 | 0.0086588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5938-30_0_5_line_13 |  | 9 | 90 | 0.018253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5938-30_0_5_line_14 |  | 10 | 11 | 0.019099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-30_0_5_line_15 |  | 10 | 12 | 0.057071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-30_0_5_line_16 |  | 11 | 33 | 0.030074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-30_0_5_line_17 |  | 13 | 14 | 0.0099574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-30_0_5_line_18 |  | 13 | 15 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-30_0_5_line_19 |  | 14 | 58 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-30_0_5_line_20 |  | 15 | 51 | 0.0038652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-30_0_5_line_21 |  | 17 | 53 | 0.010322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5938-30_0_5_line_22 |  | 18 | 19 | 0.0034055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-30_0_5_line_23 |  | 18 | 20 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-30_0_5_line_24 |  | 19 | 91 | 0.0083964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-30_0_5_line_25 |  | 20 | 32 | 0.00587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-30_0_5_line_26 |  | 21 | 22 | 0.070825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-30_0_5_line_27 |  | 21 | 23 | 0.012812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-30_0_5_line_28 |  | 21 | 24 | 0.00436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5938-30_0_5_line_29 |  | 22 | 47 | 0.037961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-30_0_5_line_30 |  | 23 | 50 | 0.051039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-30_0_5_line_31 |  | 24 | 93 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5938-30_0_5_line_32 |  | 25 | 26 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-30_0_5_line_33 |  | 25 | 27 | 0.0064039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5938-30_0_5_line_34 |  | 25 | 28 | 0.024037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5938-30_0_5_line_35 |  | 26 | 31 | 0.0017246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-30_0_5_line_36 |  | 26 | 48 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-30_0_5_line_37 |  | 27 | 94 | 0.0087256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5938-30_0_5_line_38 |  | 28 | 95 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5938-30_0_5_line_39 |  | 28 | 32 | 0.005513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-30_0_5_line_40 |  | 29 | 30 | 0.010387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-30_0_5_line_41 |  | 29 | 31 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-30_0_5_line_42 |  | 30 | 92 | 0.0090297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-30_0_5_line_43 |  | 34 | 35 | 0.02078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-30_0_5_line_44 |  | 34 | 36 | 0.005622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-30_0_5_line_45 |  | 34 | 37 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-30_0_5_line_46 |  | 35 | 96 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-30_0_5_line_47 |  | 36 | 61 | 0.007592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-30_0_5_line_48 |  | 36 | 40 | 0.010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-30_0_5_line_49 |  | 37 | 97 | 0.018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-30_0_5_line_50 |  | 38 | 39 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-30_0_5_line_51 |  | 38 | 40 | 0.002662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5938-30_0_5_line_52 |  | 38 | 41 | 0.0083581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5938-30_0_5_line_53 |  | 39 | 98 | 0.0089233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-30_0_5_line_54 |  | 40 | 53 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5938-30_0_5_line_55 |  | 41 | 62 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5938-30_0_5_line_56 |  | 42 | 43 | 0.07667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-30_0_5_line_57 |  | 42 | 44 | 0.018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5938-30_0_5_line_58 |  | 42 | 45 | 0.036463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-30_0_5_line_59 |  | 42 | 46 | 0.0096075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-30_0_5_line_60 |  | 43 | 87 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-30_0_5_line_61 |  | 44 | 85 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5938-30_0_5_line_62 |  | 44 | 86 | 0.0094131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-30_0_5_line_63 |  | 45 | 65 | 0.026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-30_0_5_line_64 |  | 47 | 99 | 0.018977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-30_0_5_line_65 |  | 48 | 49 | 0.011506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-30_0_5_line_66 |  | 50 | 51 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-30_0_5_line_67 |  | 50 | 52 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-30_0_5_line_68 |  | 52 | 82 | 0.029475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-30_0_5_line_69 |  | 54 | 55 | 0.058518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-30_0_5_line_70 |  | 54 | 56 | 0.068837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-30_0_5_line_71 |  | 54 | 57 | 0.039336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-30_0_5_line_72 |  | 55 | 60 | 0.027044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-30_0_5_line_73 |  | 56 | 81 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-30_0_5_line_74 |  | 56 | 82 | 0.00933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-30_0_5_line_75 |  | 58 | 59 | 0.0081894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-30_0_5_line_76 |  | 59 | 101 | 5.7244e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-30_0_5_line_77 |  | 61 | 102 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-30_0_5_line_78 |  | 62 | 63 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-30_0_5_line_79 |  | 62 | 64 | 0.012149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5938-30_0_5_line_80 |  | 64 | 95 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5938-30_0_5_line_81 |  | 65 | 66 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-30_0_5_line_82 |  | 65 | 67 | 0.017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-30_0_5_line_83 |  | 65 | 68 | 0.014876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-30_0_5_line_84 |  | 65 | 69 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-30_0_5_line_85 |  | 66 | 103 | 0.0091344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-30_0_5_line_86 |  | 67 | 70 | 0.0092486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-30_0_5_line_87 |  | 68 | 83 | 0.026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-30_0_5_line_88 |  | 68 | 84 | 0.0095097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5938-30_0_5_line_89 |  | 69 | 72 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5938-30_0_5_line_90 |  | 71 | 78 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5938-30_0_5_line_91 |  | 72 | 73 | 0.0094564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5938-30_0_5_line_92 |  | 72 | 74 | 0.026259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-30_0_5_line_93 |  | 75 | 76 | 0.012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5938-30_0_5_line_94 |  | 75 | 77 | 0.0098269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5938-30_0_5_line_95 |  | 75 | 78 | 0.0074844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5938-30_0_5_line_96 |  | 78 | 79 | 0.011742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5938-30_0_5_line_97 |  | 78 | 80 | 0.031885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5938-30_0_5_line_98 |  | 79 | 104 | 0.0016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5938-30_0_5_line_99 |  | 80 | 83 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5938-30_0_5_line_100 |  | 84 | 106 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5938-30_0_5_line_101 |  | 85 | 107 | 0.0070569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_5938-30_0_5_line_102 |  | 87 | 88 | 0.036863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5938-30_0_5_line_103 |  | 88 | 108 | 0.0062771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5938-30_0_5_line_104 |  | 90 | 93 | 0.0019414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_5938-30_0_5_line_105 |  | 94 | 107 | 0.0072135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_5938-30_0_5_line_106 |  | 96 | 105 | 0.0085579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5938-30_0_5_line_107 |  | 97 | 100 | 0.010108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5938-30_0_5_line_108 |  | 101 | 111 | 0.031904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5938-30_0_5_line_109 |  | 102 | 110 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5938-30_0_5_line_110 |  | 109 | 110 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-30_0_5_trafo_95 | 0.63 MVA 20/0.4 kV | 112 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2539825.7438 | 1180961.486 | 2539821.0556 | 1180982.9407
1 | 2539829.5821 | 1180933.0395 | 2539831.0959 | 1180936.9931 | 2539825.7438 | 1180961.486
2 | 2539821.0556 | 1180982.9407 | 2539816.6908 | 1181002.9152
3 | 2539829.5821 | 1180933.0395 | 2539806.4354 | 1180925.0122 | 2539791.2442 | 1180921.2296 | 2539785.402 | 1180919.7765
4 | 2539774.8585 | 1180917.1589 | 2539779.3989 | 1180918.2805 | 2539785.402 | 1180919.7765
5 | 2539774.8585 | 1180917.1589 | 2539775.7975 | 1180920.1511 | 2539770.272 | 1180945.0989
6 | 2539742.9785 | 1180909.5644 | 2539767.978 | 1180914.9936 | 2539774.8585 | 1180917.1589
7 | 2539609.5209 | 1180991.6448 | 2539618.0314 | 1180988.8899
8 | 2539614.1427 | 1181006.1174 | 2539613.4425 | 1181004.09 | 2539610.5224 | 1180994.7587 | 2539609.5209 | 1180991.6448
9 | 2539609.5209 | 1180991.6448 | 2539608.8586 | 1180989.5837 | 2539604.7899 | 1180973.9159 | 2539601.7849 | 1180964.1911
10 | 2539615.6824 | 1180973.2834 | 2539620.0493 | 1180988.2367 | 2539618.0314 | 1180988.8899
11 | 2539614.1427 | 1181006.1174 | 2539632.8242 | 1181000.0588
12 | 2539614.1427 | 1181006.1174 | 2539615.0869 | 1181008.8539 | 2539616.84 | 1181014.3448
13 | 2539601.7849 | 1180964.1911 | 2539599.1839 | 1180955.7735 | 2539596.2122 | 1180946.8104
14 | 2539742.9785 | 1180909.5644 | 2539730.9193 | 1180907.3624 | 2539727.1956 | 1180906.9553 | 2539724.0681 | 1180906.5866
15 | 2539742.9785 | 1180909.5644 | 2539741.9087 | 1180913.2995 | 2539732.1099 | 1180912.5756 | 2539724.827 | 1180944.7559 | 2539734.9746 | 1180946.8752
16 | 2539724.0681 | 1180906.5866 | 2539721.1869 | 1180917.0214 | 2539717.5228 | 1180935.9184
17 | 2539549.9184 | 1180864.8421 | 2539544.5196 | 1180856.4753
18 | 2539549.9184 | 1180864.8421 | 2539559.4289 | 1180879.566
19 | 2539533.2124 | 1180838.9519 | 2539544.5196 | 1180856.4753
20 | 2539561.5261 | 1180882.8127 | 2539559.4289 | 1180879.566
21 | 2539619.7248 | 1181024.2543 | 2539617.3583 | 1181015.9683 | 2539616.84 | 1181014.3448
22 | 2539620.9431 | 1181119.8794 | 2539617.7281 | 1181121.0022
23 | 2539632.8399 | 1181102.2383 | 2539632.2484 | 1181108.7146 | 2539630.0433 | 1181112.7057 | 2539628.1944 | 1181115.6705 | 2539625.1069 | 1181118.5032 | 2539620.9431 | 1181119.8794
24 | 2539609.7717 | 1181123.6839 | 2539615.0753 | 1181121.9286 | 2539617.7281 | 1181121.0022
25 | 2539632.8399 | 1181102.2383 | 2539638.5537 | 1181100.8243
26 | 2539589.4156 | 1180926.3111 | 2539587.0126 | 1180916.7633 | 2539586.01 | 1180909.7584 | 2539587.2676 | 1180904.9652 | 2539589.5332 | 1180900.9067 | 2539594.3545 | 1180897.3116 | 2539600.9504 | 1180894.7325 | 2539609.8771 | 1180893.0414 | 2539611.6667 | 1180889.488 | 2539627.8422 | 1180897.6961
27 | 2539577.2275 | 1180930.2586 | 2539583.6612 | 1180928.2592 | 2539589.4156 | 1180926.3111
28 | 2539589.4156 | 1180926.3111 | 2539590.7877 | 1180930.4495
29 | 2539627.8422 | 1180897.6961 | 2539623.949 | 1180907.7299 | 2539621.1215 | 1180916.6523 | 2539620.3115 | 1180920.3959 | 2539620.3416 | 1180923.3751 | 2539621.2416 | 1180925.5227 | 2539622.552 | 1180927.4662 | 2539626.0301 | 1180932.7863
30 | 2539550.2924 | 1180897.3121 | 2539549.9192 | 1180901.1958 | 2539549.3511 | 1180909.2172 | 2539548.9771 | 1180914.5351 | 2539555.951 | 1180915.354 | 2539561.4134 | 1180917.0108 | 2539566.2492 | 1180919.3856 | 2539570.8942 | 1180922.5404 | 2539575.7356 | 1180927.7389 | 2539577.2275 | 1180930.2586
31 | 2539590.7877 | 1180930.4495 | 2539595.6012 | 1180944.9677
32 | 2539663.6249 | 1181105.8632 | 2539665.5113 | 1181113.4262 | 2539667.9821 | 1181122.8955
33 | 2539663.6249 | 1181105.8632 | 2539669.7043 | 1181103.8504
34 | 2539643.8773 | 1181099.3364 | 2539645.1791 | 1181102.703 | 2539647.6018 | 1181105.8914 | 2539652.8884 | 1181107.5502 | 2539660.504 | 1181106.8952 | 2539663.6249 | 1181105.8632
35 | 2539667.9821 | 1181122.8955 | 2539669.6625 | 1181122.5076
36 | 2539657.8261 | 1181135.1826 | 2539656.4513 | 1181131.3943 | 2539656.7202 | 1181127.7673 | 2539657.809 | 1181125.922 | 2539667.9821 | 1181122.8955
37 | 2539677.9878 | 1181101.1079 | 2539669.7043 | 1181103.8504
38 | 2539643.8773 | 1181099.3364 | 2539637.6507 | 1181080.3693
39 | 2539643.8773 | 1181099.3364 | 2539638.5537 | 1181100.8243
40 | 2539686.8842 | 1181128.8972 | 2539684.3844 | 1181118.8167
41 | 2539684.3844 | 1181118.8167 | 2539681.7814 | 1181119.7101 | 2539669.6625 | 1181122.5076
42 | 2539686.8842 | 1181128.8972 | 2539695.52 | 1181126.2592
43 | 2539610.9333 | 1181031.6753 | 2539591.1069 | 1181037.8985
44 | 2539612.6904 | 1181037.0161 | 2539611.9574 | 1181034.7667 | 2539610.9333 | 1181031.6753
45 | 2539610.9333 | 1181031.6753 | 2539610.0267 | 1181028.8717 | 2539603.8632 | 1181010.0913
46 | 2539591.1069 | 1181037.8985 | 2539578.6911 | 1181041.7957
47 | 2539612.6904 | 1181037.0161 | 2539614.9314 | 1181044.2698
48 | 2539612.6904 | 1181037.0161 | 2539618.4615 | 1181035.2124 | 2539622.5601 | 1181034.1816
49 | 2539598.147 | 1180992.6811 | 2539599.8299 | 1180997.8016 | 2539603.8632 | 1181010.0913
50 | 2539623.3647 | 1181036.7193 | 2539642.6123 | 1181030.7221
51 | 2539622.5601 | 1181034.1816 | 2539623.3647 | 1181036.7193
52 | 2539623.3647 | 1181036.7193 | 2539624.2723 | 1181039.6118 | 2539625.9332 | 1181044.6728
53 | 2539651.1316 | 1181028.0677 | 2539642.6123 | 1181030.7221
54 | 2539622.5601 | 1181034.1816 | 2539619.7248 | 1181024.2543
55 | 2539629.3706 | 1181055.1469 | 2539625.9332 | 1181044.6728
56 | 2539725.2218 | 1181085.4642 | 2539720.7458 | 1181086.9435 | 2539709.9094 | 1181070.3989 | 2539700.4643 | 1181056.2528 | 2539701.5319 | 1181047.7595 | 2539696.439 | 1181041.0738 | 2539691.5862 | 1181033.9631 | 2539690.1896 | 1181030.2863 | 2539689.934 | 1181024.6301
57 | 2539708.0261 | 1181091.1629 | 2539713.796 | 1181089.2481 | 2539720.7458 | 1181086.9435 | 2539725.2218 | 1181085.4642
58 | 2539725.2218 | 1181085.4642 | 2539739.1291 | 1181080.866 | 2539746.6423 | 1181078.3779 | 2539755.1222 | 1181075.5687 | 2539750.5506 | 1181073.6247
59 | 2539725.2218 | 1181085.4642 | 2539719.5549 | 1181077.706
60 | 2539705.1077 | 1181013.0485 | 2539704.7235 | 1181015.0979 | 2539703.9374 | 1181016.6623 | 2539697.0466 | 1181021.8013 | 2539694.3991 | 1181023.5845 | 2539692.9011 | 1181024.2444 | 2539691.5896 | 1181024.4578 | 2539689.934 | 1181024.6301
61 | 2539708.0261 | 1181091.1629 | 2539691.535 | 1181096.6227
62 | 2539708.0261 | 1181091.1629 | 2539702.8604 | 1181083.2938
63 | 2539755.0474 | 1181047.676 | 2539749.7488 | 1181071.3649 | 2539750.5506 | 1181073.6247
64 | 2539626.0301 | 1180932.7863 | 2539636.4148 | 1180948.6704
65 | 2539657.8261 | 1181135.1826 | 2539661.728 | 1181146.0062
66 | 2539561.5261 | 1180882.8127 | 2539562.3074 | 1180885.3062 | 2539562.4749 | 1180887.5169 | 2539561.1413 | 1180891.5993 | 2539556.4176 | 1180895.7716 | 2539550.2924 | 1180897.3121
67 | 2539550.2924 | 1180897.3121 | 2539540.7224 | 1180898.0759 | 2539537.3252 | 1180899.1858
68 | 2539537.3252 | 1180899.1858 | 2539512.3503 | 1180907.3456 | 2539509.1497 | 1180907.3332
69 | 2539515.7237 | 1180953.9266 | 2539516.3321 | 1180958.2006 | 2539518.9441 | 1180976.3177 | 2539520.7434 | 1180988.8399 | 2539521.3624 | 1180999.4507 | 2539521.6401 | 1181004.2506 | 2539521.8537 | 1181008.0061 | 2539521.9863 | 1181012.0515
70 | 2539500.0032 | 1180906.1475 | 2539490.1816 | 1180909.2152 | 2539494.5425 | 1180920.5219 | 2539502.6 | 1180918.2281 | 2539505.8176 | 1180925.9888 | 2539511.719 | 1180941.5934 | 2539515.7237 | 1180953.9266
71 | 2539515.7237 | 1180953.9266 | 2539525.564 | 1180951.9593 | 2539532.2113 | 1180951.4474 | 2539548.5175 | 1180952.9391 | 2539551.5201 | 1180953.787 | 2539554.3446 | 1180955.1592
72 | 2539521.9863 | 1181012.0515 | 2539534.0346 | 1181011.6739 | 2539548.393 | 1181007.1152
73 | 2539500.0032 | 1180906.1475 | 2539495.9993 | 1180902.1969 | 2539491.7772 | 1180892.5453 | 2539486.414 | 1180879.4346
74 | 2539500.0032 | 1180906.1475 | 2539503.6047 | 1180907.3118 | 2539509.1497 | 1180907.3332
75 | 2539533.2124 | 1180838.9519 | 2539526.3539 | 1180843.427
76 | 2539526.306 | 1180843.4583 | 2539526.3539 | 1180843.427
77 | 2539618.1129 | 1181054.5683 | 2539614.9314 | 1181044.2698
78 | 2539642.6937 | 1181050.9323 | 2539629.3706 | 1181055.1469
79 | 2539629.3706 | 1181055.1469 | 2539633.1598 | 1181066.6893
80 | 2539637.6507 | 1181080.3693 | 2539633.1598 | 1181066.6893
81 | 2539755.0474 | 1181047.676 | 2539771.0081 | 1181050.5392
82 | 2539745.7215 | 1181055.9746 | 2539749.5563 | 1181056.8031 | 2539751.6502 | 1181047.0654 | 2539755.0474 | 1181047.676
83 | 2539749.5276 | 1181038.7933 | 2539753.2556 | 1181039.634 | 2539751.6502 | 1181047.0654 | 2539755.0474 | 1181047.676
84 | 2539755.0474 | 1181047.676 | 2539757.3672 | 1181037.2949
85 | 2539771.0081 | 1181050.5392 | 2539768.7058 | 1181059.3786
86 | 2539745.7215 | 1181055.9746 | 2539736.6855 | 1181054.003
87 | 2539749.5276 | 1181038.7933 | 2539755.1654 | 1181013.3278
88 | 2539749.5276 | 1181038.7933 | 2539740.2496 | 1181036.7068
89 | 2539760.8939 | 1181021.5136 | 2539757.3672 | 1181037.2949
90 | 2539766.7752 | 1180960.887 | 2539770.272 | 1180945.0989
91 | 2539760.8939 | 1181021.5136 | 2539770.088 | 1181023.7255
92 | 2539760.8939 | 1181021.5136 | 2539766.6217 | 1180995.8865
93 | 2539774.078 | 1180962.5255 | 2539776.7242 | 1180950.6925
94 | 2539774.078 | 1180962.5255 | 2539783.665 | 1180964.6838
95 | 2539766.7752 | 1180960.887 | 2539770.0592 | 1180961.621 | 2539774.078 | 1180962.5255
96 | 2539766.7752 | 1180960.887 | 2539755.3203 | 1180958.3047
97 | 2539766.7752 | 1180960.887 | 2539759.8831 | 1180992.0181
98 | 2539755.3203 | 1180958.3047 | 2539753.7389 | 1180957.9482
99 | 2539755.1654 | 1181013.3278 | 2539759.8831 | 1180992.0181
100 | 2539740.2496 | 1181036.7068 | 2539726.0553 | 1181033.5147
101 | 2539691.535 | 1181096.6227 | 2539684.8357 | 1181098.8407
102 | 2539705.1077 | 1181013.0485 | 2539705.0874 | 1181011.0364 | 2539704.4048 | 1181008.4863 | 2539701.545 | 1181003.6013 | 2539687.1876 | 1180981.2681
103 | 2539683.7931 | 1180975.988 | 2539687.1876 | 1180981.2681
104 | 2539595.6012 | 1180944.9677 | 2539596.2122 | 1180946.8104
105 | 2539677.9878 | 1181101.1079 | 2539684.8357 | 1181098.8407
106 | 2539570.526 | 1181044.3586 | 2539578.6911 | 1181041.7957
107 | 2539598.147 | 1180992.6811 | 2539594.9912 | 1180983.0785
108 | 2539509.2893 | 1180866.1215 | 2539509.2428 | 1180854.5918 | 2539526.306 | 1180843.4583
109 | 2539618.1129 | 1181054.5683 | 2539622.0559 | 1181067.3315
110 | 2539626.4623 | 1181081.5945 | 2539622.0559 | 1181067.3315

## bus_geodata
| x | y | coords
0 | 2539825.7438 | 1180961.486
1 | 2539821.0556 | 1180982.9407
2 | 2539829.5821 | 1180933.0395
3 | 2539816.6908 | 1181002.9152
4 | 2539785.402 | 1180919.7765
5 | 2539774.8585 | 1180917.1589
6 | 2539609.5209 | 1180991.6448
7 | 2539618.0314 | 1180988.8899
8 | 2539614.1427 | 1181006.1174
9 | 2539601.7849 | 1180964.1911
10 | 2539742.9785 | 1180909.5644
11 | 2539724.0681 | 1180906.5866
12 | 2539734.9746 | 1180946.8752
13 | 2539549.9184 | 1180864.8421
14 | 2539544.5196 | 1180856.4753
15 | 2539559.4289 | 1180879.566
16 | 2539632.8242 | 1181000.0588
17 | 2539616.84 | 1181014.3448
18 | 2539620.9431 | 1181119.8794
19 | 2539617.7281 | 1181121.0022
20 | 2539632.8399 | 1181102.2383
21 | 2539589.4156 | 1180926.3111
22 | 2539627.8422 | 1180897.6961
23 | 2539577.2275 | 1180930.2586
24 | 2539590.7877 | 1180930.4495
25 | 2539663.6249 | 1181105.8632
26 | 2539667.9821 | 1181122.8955
27 | 2539669.7043 | 1181103.8504
28 | 2539643.8773 | 1181099.3364
29 | 2539684.3844 | 1181118.8167
30 | 2539686.8842 | 1181128.8972
31 | 2539669.6625 | 1181122.5076
32 | 2539638.5537 | 1181100.8243
33 | 2539717.5228 | 1180935.9184
34 | 2539610.9333 | 1181031.6753
35 | 2539591.1069 | 1181037.8985
36 | 2539612.6904 | 1181037.0161
37 | 2539603.8632 | 1181010.0913
38 | 2539623.3647 | 1181036.7193
39 | 2539642.6123 | 1181030.7221
40 | 2539622.5601 | 1181034.1816
41 | 2539625.9332 | 1181044.6728
42 | 2539725.2218 | 1181085.4642
43 | 2539689.934 | 1181024.6301
44 | 2539708.0261 | 1181091.1629
45 | 2539750.5506 | 1181073.6247
46 | 2539719.5549 | 1181077.706
47 | 2539626.0301 | 1180932.7863
48 | 2539657.8261 | 1181135.1826
49 | 2539661.728 | 1181146.0062
50 | 2539550.2924 | 1180897.3121
51 | 2539561.5261 | 1180882.8127
52 | 2539537.3252 | 1180899.1858
53 | 2539619.7248 | 1181024.2543
54 | 2539515.7237 | 1180953.9266
55 | 2539521.9863 | 1181012.0515
56 | 2539500.0032 | 1180906.1475
57 | 2539554.3446 | 1180955.1592
58 | 2539533.2124 | 1180838.9519
59 | 2539526.3539 | 1180843.427
60 | 2539548.393 | 1181007.1152
61 | 2539614.9314 | 1181044.2698
62 | 2539629.3706 | 1181055.1469
63 | 2539642.6937 | 1181050.9323
64 | 2539633.1598 | 1181066.6893
65 | 2539755.0474 | 1181047.676
66 | 2539771.0081 | 1181050.5392
67 | 2539745.7215 | 1181055.9746
68 | 2539749.5276 | 1181038.7933
69 | 2539757.3672 | 1181037.2949
70 | 2539736.6855 | 1181054.003
71 | 2539770.272 | 1180945.0989
72 | 2539760.8939 | 1181021.5136
73 | 2539770.088 | 1181023.7255
74 | 2539766.6217 | 1180995.8865
75 | 2539774.078 | 1180962.5255
76 | 2539776.7242 | 1180950.6925
77 | 2539783.665 | 1180964.6838
78 | 2539766.7752 | 1180960.887
79 | 2539755.3203 | 1180958.3047
80 | 2539759.8831 | 1180992.0181
81 | 2539486.414 | 1180879.4346
82 | 2539509.1497 | 1180907.3332
83 | 2539755.1654 | 1181013.3278
84 | 2539740.2496 | 1181036.7068
85 | 2539691.535 | 1181096.6227
86 | 2539702.8604 | 1181083.2938
87 | 2539705.1077 | 1181013.0485
88 | 2539687.1876 | 1180981.2681
89 | 2539615.6824 | 1180973.2834
90 | 2539596.2122 | 1180946.8104
91 | 2539609.7717 | 1181123.6839
92 | 2539695.52 | 1181126.2592
93 | 2539595.6012 | 1180944.9677
94 | 2539677.9878 | 1181101.1079
95 | 2539637.6507 | 1181080.3693
96 | 2539578.6911 | 1181041.7957
97 | 2539598.147 | 1180992.6811
98 | 2539651.1316 | 1181028.0677
99 | 2539636.4148 | 1180948.6704
100 | 2539594.9912 | 1180983.0785
101 | 2539526.306 | 1180843.4583
102 | 2539618.1129 | 1181054.5683
103 | 2539768.7058 | 1181059.3786
104 | 2539753.7389 | 1180957.9482
105 | 2539570.526 | 1181044.3586
106 | 2539726.0553 | 1181033.5147
107 | 2539684.8357 | 1181098.8407
108 | 2539683.7931 | 1180975.988
109 | 2539626.4623 | 1181081.5945
110 | 2539622.0559 | 1181067.3315
111 | 2539509.2893 | 1180866.1215
112 | 2539618.0314 | 1180988.8899

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1