## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-35_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-35_0_4_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_5938-35_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_5938-35_0_4_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_5938-35_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_5938-35_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5938-35_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5938-35_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5938-35_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_5938-35_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_5938-35_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_5938-35_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_5938-35_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5938-35_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_5938-35_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5938-35_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_5938-35_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5938-35_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_5938-35_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_5938-35_0_4_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_5938-35_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_5938-35_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5938-35_0_4_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_5938-35_0_4_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_5938-35_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5938-35_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5938-35_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5938-35_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5938-35_0_4_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_5938-35_0_4_node_7 | 0.4 | n |  | TRUE
33 | bus_LV_5938-35_0_4_node_8 | 0.4 | n |  | TRUE
34 | bus_LV_5938-35_0_4_node_9 | 0.4 | n |  | TRUE
35 | bus_LV_5938-35_0_4_node_10 | 0.4 | n |  | TRUE
36 | bus_LV_5938-35_0_4_node_11 | 0.4 | n |  | TRUE
37 | bus_LV_5938-35_0_4_node_12 | 0.4 | n |  | TRUE
38 | bus_LV_5938-35_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5938-35_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5938-35_0_4_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_5938-35_0_4_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_5938-35_0_4_node_114 | 0.4 | n |  | TRUE
43 | bus_LV_5938-35_0_4_node_165 | 0.4 | n |  | TRUE
44 | bus_LV_5938-35_0_4_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_5938-35_0_4_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_5938-35_0_4_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_5938-35_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5938-35_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_5938-35_0_4_node_162 | 0.4 | n |  | TRUE
50 | bus_LV_5938-35_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5938-35_0_4_node_163 | 0.4 | n |  | TRUE
52 | bus_LV_5938-35_0_4_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_5938-35_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_5938-35_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5938-35_0_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_5938-35_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_5938-35_0_4_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_5938-35_0_4_node_164 | 0.4 | n |  | TRUE
59 | bus_LV_5938-35_0_4_node_145 | 0.4 | n |  | TRUE
60 | bus_LV_5938-35_0_4_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_5938-35_0_4_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_5938-35_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_5938-35_0_4_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_5938-35_0_4_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_5938-35_0_4_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_5938-35_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_5938-35_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_5938-35_0_4_node_161 | 0.4 | n |  | TRUE
69 | bus_LV_5938-35_0_4_node_160 | 0.4 | n |  | TRUE
70 | bus_LV_5938-35_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_5938-35_0_4_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_5938-35_0_4_node_127 | 0.4 | n |  | TRUE
73 | bus_LV_5938-35_0_4_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_5938-35_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_5938-35_0_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_5938-35_0_4_node_117 | 0.4 | n |  | TRUE
77 | bus_LV_5938-35_0_4_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_5938-35_0_4_node_132 | 0.4 | n |  | TRUE
79 | bus_LV_5938-35_0_4_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_5938-35_0_4_node_131 | 0.4 | n |  | TRUE
81 | bus_LV_5938-35_0_4_node_118 | 0.4 | n |  | TRUE
82 | bus_LV_5938-35_0_4_node_123 | 0.4 | n |  | TRUE
83 | bus_LV_5938-35_0_4_node_121 | 0.4 | n |  | TRUE
84 | bus_LV_5938-35_0_4_node_148 | 0.4 | n |  | TRUE
85 | bus_LV_5938-35_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_5938-35_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_5938-35_0_4_node_149 | 0.4 | n |  | TRUE
88 | bus_LV_5938-35_0_4_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_5938-35_0_4_node_153 | 0.4 | n |  | TRUE
90 | bus_LV_5938-35_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_5938-35_0_4_node_120 | 0.4 | n |  | TRUE
92 | bus_LV_5938-35_0_4_node_119 | 0.4 | n |  | TRUE
93 | bus_LV_5938-35_0_4_node_110 | 0.4 | n |  | TRUE
94 | bus_LV_5938-35_0_4_node_106 | 0.4 | n |  | TRUE
95 | bus_LV_5938-35_0_4_node_109 | 0.4 | n |  | TRUE
96 | bus_LV_5938-35_0_4_node_38 | 0.4 | n |  | TRUE
97 | bus_LV_5938-35_0_4_node_31 | 0.4 | n |  | TRUE
98 | bus_LV_5938-35_0_4_node_32 | 0.4 | n |  | TRUE
99 | bus_LV_5938-35_0_4_node_42 | 0.4 | n |  | TRUE
100 | bus_LV_5938-35_0_4_node_30 | 0.4 | n |  | TRUE
101 | bus_LV_5938-35_0_4_node_45 | 0.4 | n |  | TRUE
102 | bus_LV_5938-35_0_4_node_49 | 0.4 | n |  | TRUE
103 | bus_LV_5938-35_0_4_node_43 | 0.4 | n |  | TRUE
104 | bus_LV_5938-35_0_4_node_47 | 0.4 | n |  | TRUE
105 | bus_LV_5938-35_0_4_node_115 | 0.4 | n |  | TRUE
106 | bus_LV_5938-35_0_4_node_67 | 0.4 | n |  | TRUE
107 | bus_LV_5938-35_0_4_node_71 | 0.4 | n |  | TRUE
108 | bus_LV_5938-35_0_4_node_35 | 0.4 | n |  | TRUE
109 | bus_LV_5938-35_0_4_node_36 | 0.4 | n |  | TRUE
110 | bus_LV_5938-35_0_4_node_50 | 0.4 | n |  | TRUE
111 | bus_LV_5938-35_0_4_node_133 | 0.4 | n |  | TRUE
112 | bus_LV_5938-35_0_4_node_46 | 0.4 | n |  | TRUE
113 | bus_LV_5938-35_0_4_node_48 | 0.4 | n |  | TRUE
114 | bus_LV_5938-35_0_4_node_52 | 0.4 | n |  | TRUE
115 | bus_LV_5938-35_0_4_node_53 | 0.4 | n |  | TRUE
116 | bus_LV_5938-35_0_4_node_51 | 0.4 | n |  | TRUE
117 | bus_LV_5938-35_0_4_node_56 | 0.4 | n |  | TRUE
118 | bus_LV_5938-35_0_4_node_130 | 0.4 | n |  | TRUE
119 | bus_LV_5938-35_0_4_node_137 | 0.4 | n |  | TRUE
120 | bus_LV_5938-35_0_4_node_54 | 0.4 | n |  | TRUE
121 | bus_LV_5938-35_0_4_node_55 | 0.4 | n |  | TRUE
122 | bus_LV_5938-35_0_4_node_64 | 0.4 | n |  | TRUE
123 | bus_LV_5938-35_0_4_node_65 | 0.4 | n |  | TRUE
124 | bus_LV_5938-35_0_4_node_68 | 0.4 | n |  | TRUE
125 | bus_LV_5938-35_0_4_node_103 | 0.4 | n |  | TRUE
126 | bus_LV_5938-35_0_4_node_102 | 0.4 | n |  | TRUE
127 | bus_LV_5938-35_0_4_node_70 | 0.4 | n |  | TRUE
128 | bus_LV_5938-35_0_4_node_129 | 0.4 | n |  | TRUE
129 | bus_LV_5938-35_0_4_node_139 | 0.4 | n |  | TRUE
130 | bus_LV_5938-35_0_4_node_147 | 0.4 | n |  | TRUE
131 | bus_LV_5938-35_0_4_node_125 | 0.4 | n |  | TRUE
132 | bus_LV_5938-35_0_4_node_154 | 0.4 | n |  | TRUE
133 | bus_LV_5938-35_0_4_node_122 | 0.4 | n |  | TRUE
134 | bus_LV_5938-35_0_4_node_146 | 0.4 | n |  | TRUE
135 | bus_LV_5938-35_0_4_node_144 | 0.4 | n |  | TRUE
136 | bus_LV_5938-35_0_4_node_151 | 0.4 | n |  | TRUE
137 | bus_LV_5938-35_0_4_node_113 | 0.4 | n |  | TRUE
138 | bus_LV_5938-35_0_4_node_112 | 0.4 | n |  | TRUE
139 | bus_LV_5938-35_0_4_node_105 | 0.4 | n |  | TRUE
140 | bus_LV_5938-35_0_4_node_108 | 0.4 | n |  | TRUE
141 | bus_LV_5938-35_0_4_node_111 | 0.4 | n |  | TRUE
142 | bus_LV_5938-35_0_4_node_101 | 0.4 | n |  | TRUE
143 | bus_LV_5938-35_0_4_node_126 | 0.4 | n |  | TRUE
144 | bus_LV_5938-35_0_4_node_124 | 0.4 | n |  | TRUE
145 | bus_LV_5938-35_0_4_node_135 | 0.4 | n |  | TRUE
146 | bus_LV_5938-35_0_4_node_141 | 0.4 | n |  | TRUE
147 | bus_LV_5938-35_0_4_node_136 | 0.4 | n |  | TRUE
148 | bus_LV_5938-35_0_4_node_134 | 0.4 | n |  | TRUE
149 | bus_LV_5938-35_0_4_node_142 | 0.4 | n |  | TRUE
150 | bus_LV_5938-35_0_4_node_140 | 0.4 | n |  | TRUE
151 | bus_LV_5938-35_0_4_node_138 | 0.4 | n |  | TRUE
152 | bus_LV_5938-35_0_4_node_143 | 0.4 | n |  | TRUE
153 | bus_LV_5938-35_0_4_node_156 | 0.4 | n |  | TRUE
154 | bus_LV_5938-35_0_4_node_158 | 0.4 | n |  | TRUE
155 | bus_LV_5938-35_0_4_node_155 | 0.4 | n |  | TRUE
156 | bus_LV_5938-35_0_4_node_152 | 0.4 | n |  | TRUE
157 | bus_LV_5938-35_0_4_node_166 | 0.4 | n |  | TRUE
158 | bus_LV_5938-35_0_4_node_157 | 0.4 | n |  | TRUE
159 | bus_LV_5938-35_0_4_node_159 | 0.4 | n |  | TRUE
160 | bus_MV_455_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-35_0_4_load_0 | 0 | 0.0080867 | 0.0020267 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-35_0_4_load_2 | 2 | 0.0047529 | 0.0011912 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-35_0_4_load_3 | 3 | 0.0026636 | 0.00066755 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-35_0_4_load_73 | 4 | 0.0065183 | 0.0016336 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-35_0_4_load_74 | 6 | 0.00252 | 0.00063157 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-35_0_4_load_4 | 8 | 0.014306 | 0.0035855 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-35_0_4_load_28 | 11 | 0.0098621 | 0.0024717 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-35_0_4_load_41 | 14 | 0.0016334 | 0.00040936 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-35_0_4_load_40 | 16 | 0.0025666 | 0.00064326 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-35_0_4_load_14 | 17 | 0.0025856 | 0.000648 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-35_0_4_load_63 | 20 | 0.0086594 | 0.0021703 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-35_0_4_load_59 | 22 | 0.0028175 | 0.00070612 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-35_0_4_load_58 | 23 | 0.0032418 | 0.00081248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-35_0_4_load_76 | 25 | 0.0024593 | 0.00061637 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-35_0_4_load_100 | 26 | 0.0030389 | 0.00076161 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-35_0_4_load_17 | 29 | 0.0043761 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-35_0_4_load_18 | 30 | 0.0010178 | 0.00025509 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-35_0_4_load_13 | 31 | 0.0025424 | 0.00063717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-35_0_4_load_7 | 32 | 0.021207 | 0.005315 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-35_0_4_load_8 | 33 | 0.0062148 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-35_0_4_load_11 | 36 | 0.01383 | 0.003466 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-35_0_4_load_12 | 37 | 0.0090582 | 0.0022702 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-35_0_4_load_33 | 38 | 0.026647 | 0.0066783 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-35_0_4_load_98 | 40 | 0.0055396 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-35_0_4_load_165 | 43 | 0.0086603 | 0.0021705 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-35_0_4_load_99 | 45 | 0.0073205 | 0.0018347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-35_0_4_load_116 | 46 | 0.0050988 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-35_0_4_load_61 | 48 | 0.0032638 | 0.00081799 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-35_0_4_load_162 | 49 | 0.00099111 | 0.0002484 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-35_0_4_load_60 | 50 | 0.0038289 | 0.00095962 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-35_0_4_load_163 | 51 | 0.010259 | 0.0025712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-35_0_4_load_69 | 52 | 0.0022826 | 0.00057207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-35_0_4_load_66 | 53 | 0.0029876 | 0.00074876 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-35_0_4_load_57 | 54 | 0.002964 | 0.00074285 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-35_0_4_load_75 | 55 | 0.0023169 | 0.00058068 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-35_0_4_load_62 | 56 | 0.0038138 | 0.00095582 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-35_0_4_load_164 | 58 | 0.0052074 | 0.0013051 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-35_0_4_load_104 | 64 | 0.0020182 | 0.0005058 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-35_0_4_load_37 | 66 | 0.0055419 | 0.0013889 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-35_0_4_load_161 | 68 | 0.0030891 | 0.0007742 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-35_0_4_load_160 | 69 | 0.0023873 | 0.00059833 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-35_0_4_load_78 | 70 | 0.0041975 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-35_0_4_load_128 | 73 | 0.005846 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-35_0_4_load_117 | 76 | 0.0016143 | 0.00040459 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-35_0_4_load_131 | 80 | 0.0011841 | 0.00029677 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-35_0_4_load_118 | 81 | 0.0090421 | 0.0022662 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-35_0_4_load_121 | 83 | 0.0026766 | 0.00067082 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-35_0_4_load_148 | 84 | 0.0024757 | 0.00062046 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-35_0_4_load_149 | 87 | 0.0023784 | 0.00059609 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-35_0_4_load_150 | 88 | 0.0021114 | 0.00052918 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-35_0_4_load_153 | 89 | 0.0021761 | 0.00054539 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-35_0_4_load_120 | 91 | 0.0049146 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-35_0_4_load_119 | 92 | 0.03216 | 0.0080601 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-35_0_4_load_106 | 94 | 0.0014778 | 0.00037038 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-35_0_4_load_109 | 95 | 0.0015428 | 0.00038667 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-35_0_4_load_38 | 96 | 0.0027102 | 0.00067924 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-35_0_4_load_42 | 99 | 0.0021129 | 0.00052954 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5938-35_0_4_load_30 | 100 | 0.0014709 | 0.00036863 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5938-35_0_4_load_49 | 102 | 0.0019499 | 0.00048869 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5938-35_0_4_load_43 | 103 | 0.0014033 | 0.0003517 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5938-35_0_4_load_67 | 106 | 0.0083338 | 0.0020887 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5938-35_0_4_load_71 | 107 | 0.0044463 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5938-35_0_4_load_35 | 108 | 0.0055394 | 0.0013883 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5938-35_0_4_load_36 | 109 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5938-35_0_4_load_133 | 111 | 0.0012023 | 0.00030132 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5938-35_0_4_load_46 | 112 | 0.0092807 | 0.002326 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5938-35_0_4_load_53 | 115 | 0.0033124 | 0.00083016 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5938-35_0_4_load_130 | 118 | 0.0016524 | 0.00041414 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5938-35_0_4_load_137 | 119 | 0.0053046 | 0.0013295 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5938-35_0_4_load_54 | 120 | 0.0039789 | 0.00099722 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5938-35_0_4_load_55 | 121 | 0.0052822 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5938-35_0_4_load_64 | 122 | 0.0029152 | 0.00073061 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5938-35_0_4_load_68 | 124 | 0.0017251 | 0.00043236 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5938-35_0_4_load_103 | 125 | 0.0047111 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5938-35_0_4_load_102 | 126 | 0.0078461 | 0.0019664 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5938-35_0_4_load_70 | 127 | 0.0032206 | 0.00080716 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5938-35_0_4_load_129 | 128 | 0.0019991 | 0.00050101 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5938-35_0_4_load_147 | 130 | 0.0010187 | 0.0002553 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5938-35_0_4_load_154 | 132 | 0.0025242 | 0.00063263 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5938-35_0_4_load_122 | 133 | 0.0039073 | 0.00097925 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5938-35_0_4_load_146 | 134 | 0.0018832 | 0.00047196 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5938-35_0_4_load_144 | 135 | 0.0035762 | 0.00089627 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5938-35_0_4_load_113 | 137 | 0.001442 | 0.00036139 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5938-35_0_4_load_112 | 138 | 0.0016411 | 0.00041131 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5938-35_0_4_load_105 | 139 | 0.0013409 | 0.00033606 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5938-35_0_4_load_111 | 141 | 0.0015683 | 0.00039304 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5938-35_0_4_load_101 | 142 | 0.021655 | 0.0054274 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5938-35_0_4_load_124 | 144 | 0.0016396 | 0.00041093 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5938-35_0_4_load_141 | 146 | 0.001975 | 0.00049499 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5938-35_0_4_load_134 | 148 | 0.0015236 | 0.00038185 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5938-35_0_4_load_142 | 149 | 0.0025598 | 0.00064155 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5938-35_0_4_load_140 | 150 | 0.0015357 | 0.00038488 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5938-35_0_4_load_138 | 151 | 0.0010002 | 0.00025066 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5938-35_0_4_load_143 | 152 | 0.0011515 | 0.00028858 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5938-35_0_4_load_158 | 154 | 0.0024651 | 0.00061781 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5938-35_0_4_load_155 | 155 | 0.0045668 | 0.0011446 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5938-35_0_4_load_166 | 157 | 0.0011614 | 0.00029108 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5938-35_0_4_load_159 | 159 | 0.0021358 | 0.00053528 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-35_0_4_line_0 |  | 0 | 1 | 0.012021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-35_0_4_line_1 |  | 1 | 2 | 0.011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-35_0_4_line_2 |  | 1 | 3 | 0.0023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-35_0_4_line_3 |  | 2 | 4 | 0.021344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-35_0_4_line_4 |  | 3 | 5 | 0.020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-35_0_4_line_5 |  | 4 | 6 | 0.011204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-35_0_4_line_6 |  | 5 | 7 | 0.023811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-35_0_4_line_7 |  | 7 | 70 | 0.043726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-35_0_4_line_8 |  | 7 | 47 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5938-35_0_4_line_9 |  | 8 | 9 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-35_0_4_line_10 |  | 9 | 10 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-35_0_4_line_11 |  | 10 | 11 | 0.035118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-35_0_4_line_12 |  | 11 | 13 | 0.019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-35_0_4_line_13 |  | 12 | 13 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-35_0_4_line_14 |  | 12 | 14 | 0.02909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-35_0_4_line_15 |  | 13 | 100 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-35_0_4_line_16 |  | 13 | 97 | 0.010862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-35_0_4_line_17 |  | 15 | 16 | 0.031004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-35_0_4_line_18 |  | 15 | 17 | 0.030852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-35_0_4_line_19 |  | 17 | 31 | 0.024928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-35_0_4_line_20 |  | 18 | 19 | 0.009771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-35_0_4_line_21 |  | 18 | 20 | 0.0097562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-35_0_4_line_22 |  | 19 | 26 | 0.014617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-35_0_4_line_23 |  | 19 | 24 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-35_0_4_line_24 |  | 20 | 56 | 0.019225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-35_0_4_line_25 |  | 21 | 22 | 0.012664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-35_0_4_line_26 |  | 21 | 23 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-35_0_4_line_27 |  | 22 | 27 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-35_0_4_line_28 |  | 23 | 54 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-35_0_4_line_29 |  | 24 | 25 | 0.018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-35_0_4_line_30 |  | 25 | 55 | 0.0090089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-35_0_4_line_31 |  | 26 | 96 | 0.008797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-35_0_4_line_32 |  | 27 | 28 | 0.010755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-35_0_4_line_33 |  | 28 | 29 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-35_0_4_line_34 |  | 28 | 30 | 0.037275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-35_0_4_line_35 |  | 28 | 31 | 0.014366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-35_0_4_line_36 |  | 29 | 48 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-35_0_4_line_37 |  | 30 | 49 | 0.0011707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-35_0_4_line_38 |  | 32 | 33 | 0.041295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5938-35_0_4_line_39 |  | 32 | 34 | 0.024199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5938-35_0_4_line_40 |  | 33 | 35 | 0.0024517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5938-35_0_4_line_41 |  | 34 | 36 | 0.028705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-35_0_4_line_42 |  | 34 | 37 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5938-35_0_4_line_43 |  | 35 | 38 | 0.03774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-35_0_4_line_44 |  | 35 | 39 | 0.019534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-35_0_4_line_45 |  | 36 | 40 | 0.00095285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-35_0_4_line_46 |  | 37 | 41 | 0.042466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5938-35_0_4_line_47 |  | 38 | 42 | 0.043842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-35_0_4_line_48 |  | 39 | 43 | 0.029505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-35_0_4_line_49 |  | 39 | 44 | 0.015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-35_0_4_line_50 |  | 40 | 45 | 0.015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-35_0_4_line_51 |  | 41 | 46 | 0.02312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-35_0_4_line_52 |  | 41 | 47 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_5938-35_0_4_line_53 |  | 42 | 105 | 0.040416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-35_0_4_line_54 |  | 44 | 106 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-35_0_4_line_55 |  | 44 | 107 | 0.019533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-35_0_4_line_56 |  | 46 | 76 | 0.023536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-35_0_4_line_57 |  | 47 | 66 | 0.0085469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-35_0_4_line_58 |  | 48 | 50 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-35_0_4_line_59 |  | 49 | 51 | 0.0023889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-35_0_4_line_60 |  | 50 | 56 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-35_0_4_line_61 |  | 52 | 53 | 0.0042138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-35_0_4_line_62 |  | 53 | 123 | 0.020791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-35_0_4_line_63 |  | 57 | 58 | 0.008729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-35_0_4_line_64 |  | 57 | 59 | 0.002591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-35_0_4_line_65 |  | 59 | 134 | 0.024754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-35_0_4_line_66 |  | 59 | 135 | 0.01512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-35_0_4_line_67 |  | 60 | 61 | 0.037338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-35_0_4_line_68 |  | 60 | 62 | 0.020869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-35_0_4_line_69 |  | 61 | 82 | 0.012507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-35_0_4_line_70 |  | 61 | 83 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-35_0_4_line_71 |  | 62 | 84 | 0.00095109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-35_0_4_line_72 |  | 63 | 64 | 0.015857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-35_0_4_line_73 |  | 63 | 65 | 0.055168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-35_0_4_line_74 |  | 64 | 125 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-35_0_4_line_75 |  | 65 | 93 | 0.031874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-35_0_4_line_76 |  | 65 | 94 | 0.053914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-35_0_4_line_77 |  | 65 | 95 | 0.018272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-35_0_4_line_78 |  | 66 | 108 | 5.6448e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-35_0_4_line_79 |  | 67 | 68 | 0.003792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-35_0_4_line_80 |  | 67 | 69 | 0.031593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-35_0_4_line_81 |  | 68 | 101 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-35_0_4_line_82 |  | 70 | 71 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-35_0_4_line_83 |  | 71 | 72 | 0.002973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-35_0_4_line_84 |  | 71 | 73 | 0.025256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-35_0_4_line_85 |  | 72 | 80 | 0.039244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-35_0_4_line_86 |  | 72 | 128 | 0.0083741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-35_0_4_line_87 |  | 73 | 117 | 0.019394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-35_0_4_line_88 |  | 74 | 75 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5938-35_0_4_line_89 |  | 74 | 76 | 0.035942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5938-35_0_4_line_90 |  | 75 | 81 | 0.0065448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5938-35_0_4_line_91 |  | 77 | 78 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5938-35_0_4_line_92 |  | 77 | 79 | 0.034872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-35_0_4_line_93 |  | 77 | 80 | 0.024612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5938-35_0_4_line_94 |  | 78 | 129 | 0.007842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5938-35_0_4_line_95 |  | 78 | 130 | 0.010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5938-35_0_4_line_96 |  | 79 | 89 | 0.0081998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5938-35_0_4_line_97 |  | 82 | 131 | 0.005741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5938-35_0_4_line_98 |  | 82 | 132 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5938-35_0_4_line_99 |  | 83 | 133 | 0.00098763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5938-35_0_4_line_100 |  | 84 | 87 | 0.028448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5938-35_0_4_line_101 |  | 85 | 86 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5938-35_0_4_line_102 |  | 85 | 87 | 0.014892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5938-35_0_4_line_103 |  | 86 | 88 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5938-35_0_4_line_104 |  | 88 | 136 | 0.0024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5938-35_0_4_line_105 |  | 90 | 91 | 0.047173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5938-35_0_4_line_106 |  | 90 | 92 | 0.056024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5938-35_0_4_line_107 |  | 92 | 105 | 0.040573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5938-35_0_4_line_108 |  | 93 | 137 | 0.005452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5938-35_0_4_line_109 |  | 93 | 138 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5938-35_0_4_line_110 |  | 94 | 139 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5938-35_0_4_line_111 |  | 95 | 140 | 0.0081747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5938-35_0_4_line_112 |  | 96 | 109 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5938-35_0_4_line_113 |  | 97 | 98 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5938-35_0_4_line_114 |  | 97 | 99 | 0.041584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5938-35_0_4_line_115 |  | 98 | 101 | 0.006314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5938-35_0_4_line_116 |  | 98 | 102 | 0.0098094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5938-35_0_4_line_117 |  | 99 | 103 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5938-35_0_4_line_118 |  | 102 | 104 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5938-35_0_4_line_119 |  | 104 | 110 | 0.003458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5938-35_0_4_line_120 |  | 104 | 112 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5938-35_0_4_line_121 |  | 106 | 123 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5938-35_0_4_line_122 |  | 107 | 127 | 0.0017812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5938-35_0_4_line_123 |  | 108 | 109 | 0.023595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5938-35_0_4_line_124 |  | 110 | 111 | 0.0049682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5938-35_0_4_line_125 |  | 111 | 115 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5938-35_0_4_line_126 |  | 113 | 114 | 0.0112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5938-35_0_4_line_127 |  | 113 | 115 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5938-35_0_4_line_128 |  | 114 | 117 | 0.003545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5938-35_0_4_line_129 |  | 114 | 120 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5938-35_0_4_line_130 |  | 116 | 117 | 0.003157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5938-35_0_4_line_131 |  | 116 | 118 | 0.0090875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5938-35_0_4_line_132 |  | 116 | 119 | 0.0092429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5938-35_0_4_line_133 |  | 120 | 121 | 0.0019709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5938-35_0_4_line_134 |  | 122 | 123 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5938-35_0_4_line_135 |  | 123 | 124 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5938-35_0_4_line_136 |  | 124 | 125 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5938-35_0_4_line_137 |  | 125 | 126 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5938-35_0_4_line_138 |  | 126 | 142 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5938-35_0_4_line_139 |  | 129 | 150 | 0.0041656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5938-35_0_4_line_140 |  | 129 | 151 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5938-35_0_4_line_141 |  | 131 | 143 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5938-35_0_4_line_142 |  | 131 | 144 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5938-35_0_4_line_143 |  | 134 | 153 | 0.0056652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5938-35_0_4_line_144 |  | 136 | 156 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5938-35_0_4_line_145 |  | 140 | 141 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5938-35_0_4_line_146 |  | 143 | 145 | 0.003634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5938-35_0_4_line_147 |  | 143 | 146 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5938-35_0_4_line_148 |  | 145 | 147 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5938-35_0_4_line_149 |  | 145 | 148 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5938-35_0_4_line_150 |  | 146 | 149 | 0.0011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5938-35_0_4_line_151 |  | 147 | 150 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5938-35_0_4_line_152 |  | 149 | 152 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5938-35_0_4_line_153 |  | 153 | 154 | 0.01158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5938-35_0_4_line_154 |  | 153 | 155 | 0.016235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_5938-35_0_4_line_155 |  | 154 | 159 | 0.0007414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5938-35_0_4_line_156 |  | 155 | 158 | 0.0055843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_5938-35_0_4_line_157 |  | 156 | 157 | 0.023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_5938-35_0_4_line_158 |  | 156 | 158 | 0.006089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-35_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 160 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2538703.9342 | 1180861.9464 | 2538700.139 | 1180865.0092 | 2538693.0093 | 1180865.4572
1 | 2538703.9342 | 1180861.9464 | 2538696.6075 | 1180853.0082
2 | 2538703.9342 | 1180861.9464 | 2538705.7573 | 1180860.4718
3 | 2538696.6075 | 1180853.0082 | 2538683.0764 | 1180836.5008
4 | 2538721.4022 | 1180847.8151 | 2538719.1221 | 1180849.6617 | 2538714.8346 | 1180853.1298 | 2538705.7573 | 1180860.4718
5 | 2538675.9737 | 1180827.8359 | 2538683.0764 | 1180836.5008
6 | 2538721.4022 | 1180847.8151 | 2538709.7853 | 1180833.6817 | 2538705.4437 | 1180837.0836
7 | 2538705.4437 | 1180837.0836 | 2538677.6737 | 1180803.308
8 | 2538714.2182 | 1180829.5006 | 2538709.7853 | 1180833.6817 | 2538705.4437 | 1180837.0836
9 | 2538639.1434 | 1180904.4566 | 2538622.9655 | 1180882.7459
10 | 2538639.1434 | 1180904.4566 | 2538620.2355 | 1180918.9031
11 | 2538620.2355 | 1180918.9031 | 2538618.5153 | 1180916.5083 | 2538599.7227 | 1180890.3993
12 | 2538587.5358 | 1180875.5142 | 2538593.2714 | 1180881.4364 | 2538599.7227 | 1180890.3993
13 | 2538587.5358 | 1180875.5142 | 2538584.3906 | 1180877.1585 | 2538589.4191 | 1180884.133
14 | 2538589.4191 | 1180884.133 | 2538571.0202 | 1180899.0525 | 2538567.3297 | 1180902.9973
15 | 2538587.5358 | 1180875.5142 | 2538598.9113 | 1180869.5749
16 | 2538580.1212 | 1180871.2212 | 2538584.3906 | 1180877.1585 | 2538587.5358 | 1180875.5142
17 | 2538870.1525 | 1180743.5573 | 2538891.1082 | 1180766.4561
18 | 2538891.1082 | 1180766.4561 | 2538886.4661 | 1180770.3613 | 2538867.8481 | 1180786.7236
19 | 2538849.2528 | 1180803.3243 | 2538857.4128 | 1180795.8946 | 2538867.8481 | 1180786.7236
20 | 2538766.9673 | 1180881.1786 | 2538762.1372 | 1180883.118 | 2538757.5654 | 1180882.6868
21 | 2538766.9673 | 1180881.1786 | 2538773.8598 | 1180874.2737
22 | 2538757.5654 | 1180882.6868 | 2538752.7821 | 1180878.0109 | 2538747.6892 | 1180871.9357
23 | 2538749.6233 | 1180890.2612 | 2538753.3006 | 1180886.8772 | 2538757.5654 | 1180882.6868
24 | 2538773.8598 | 1180874.2737 | 2538782.1483 | 1180865.9702 | 2538787.5592 | 1180860.7879
25 | 2538826.5842 | 1180838.2558 | 2538835.9279 | 1180829.7081
26 | 2538826.5842 | 1180838.2558 | 2538817.3332 | 1180847.1486
27 | 2538844.5795 | 1180821.8849 | 2538841.4307 | 1180824.6742 | 2538835.9279 | 1180829.7081
28 | 2538800.5909 | 1180863.2427 | 2538817.3332 | 1180847.1486
29 | 2538749.6233 | 1180890.2612 | 2538747.8652 | 1180887.889 | 2538738.0775 | 1180876.1777
30 | 2538732.3003 | 1180869.2652 | 2538738.0775 | 1180876.1777
31 | 2538742.0378 | 1180865.1942 | 2538747.6892 | 1180871.9357
32 | 2538838.6304 | 1180812.9962 | 2538841.8233 | 1180816.7546 | 2538844.5795 | 1180821.8849
33 | 2538838.6304 | 1180812.9962 | 2538826.3507 | 1180824.2157
34 | 2538838.6304 | 1180812.9962 | 2538814.5023 | 1180784.5844
35 | 2538838.6304 | 1180812.9962 | 2538840.2725 | 1180811.5008 | 2538849.2528 | 1180803.3243
36 | 2538826.3507 | 1180824.2157 | 2538813.1821 | 1180836.2472 | 2538811.6328 | 1180837.7311
37 | 2538813.7445 | 1180783.6921 | 2538814.5023 | 1180784.5844
38 | 2538762.3325 | 1180764.9319 | 2538794.68 | 1180739.2631
39 | 2538743.3764 | 1180779.9742 | 2538762.3325 | 1180764.9319
40 | 2538796.6005 | 1180737.7391 | 2538794.68 | 1180739.2631
41 | 2538743.3764 | 1180779.9742 | 2538760.7833 | 1180802.7995
42 | 2538743.3764 | 1180779.9742 | 2538734.7628 | 1180786.8074
43 | 2538796.6005 | 1180737.7391 | 2538773.1473 | 1180708.1709
44 | 2538811.9277 | 1180725.5756 | 2538796.6005 | 1180737.7391
45 | 2538761.3612 | 1180803.5572 | 2538760.7833 | 1180802.7995
46 | 2538701.4945 | 1180813.1995 | 2538734.7628 | 1180786.8074
47 | 2538745.9019 | 1180673.8219 | 2538773.1473 | 1180708.1709
48 | 2538811.9277 | 1180725.5756 | 2538797.6111 | 1180706.6224 | 2538802.2115 | 1180703.1178
49 | 2538824.4214 | 1180715.6756 | 2538811.9277 | 1180725.5756
50 | 2538770.9528 | 1180816.1345 | 2538761.3612 | 1180803.5572
51 | 2538701.4945 | 1180813.1995 | 2538696.4425 | 1180806.9033 | 2538687.0217 | 1180795.1701
52 | 2538701.4945 | 1180813.1995 | 2538708.2894 | 1180821.8681 | 2538710.7745 | 1180825.1223 | 2538714.2182 | 1180829.5006
53 | 2538714.0012 | 1180698.7515 | 2538745.9019 | 1180673.8219
54 | 2538824.4214 | 1180715.6756 | 2538834.4905 | 1180707.6793 | 2538840.9992 | 1180701.6858
55 | 2538824.4214 | 1180715.6756 | 2538836.9287 | 1180730.6792
56 | 2538687.0217 | 1180795.1701 | 2538678.5321 | 1180784.5965 | 2538672.4721 | 1180776.6721
57 | 2538714.2182 | 1180829.5006 | 2538719.4952 | 1180836.2239
58 | 2538800.173 | 1180848.7069 | 2538811.6328 | 1180837.7311
59 | 2538812.1981 | 1180781.8711 | 2538813.7445 | 1180783.6921
60 | 2538800.173 | 1180848.7069 | 2538787.5592 | 1180860.7879
61 | 2538872.9026 | 1180700.5684 | 2538875.7142 | 1180703.707
62 | 2538859.0296 | 1180685.0825 | 2538872.9026 | 1180700.5684
63 | 2538565.8158 | 1180688.3206 | 2538560.8005 | 1180681.168
64 | 2538563.7544 | 1180689.8982 | 2538565.8158 | 1180688.3206
65 | 2538563.7544 | 1180689.8982 | 2538544.1127 | 1180704.9641
66 | 2538563.7544 | 1180689.8982 | 2538572.9962 | 1180701.8645
67 | 2538550.9814 | 1180781.8589 | 2538529.4426 | 1180798.2227 | 2538533.1508 | 1180803.054 | 2538535.6752 | 1180806.4077
68 | 2538522.9864 | 1180789.8398 | 2538526.9577 | 1180795.0019 | 2538529.4426 | 1180798.2227 | 2538533.1508 | 1180803.054 | 2538535.6752 | 1180806.4077
69 | 2538560.955 | 1180774.2744 | 2538550.9814 | 1180781.8589
70 | 2538550.9814 | 1180781.8589 | 2538558.1767 | 1180791.5408
71 | 2538522.9864 | 1180789.8398 | 2538522.4069 | 1180789.0857
72 | 2538804.2043 | 1180632.1353 | 2538806.8344 | 1180632.3863 | 2538809.4694 | 1180633.1153 | 2538816.8144 | 1180640.5924
73 | 2538803.1863 | 1180590.8669 | 2538801.3478 | 1180593.3316 | 2538788.6227 | 1180606.0244 | 2538785.6501 | 1180609.6235 | 2538791.7259 | 1180615.1867 | 2538799.1677 | 1180623.6153 | 2538802.8556 | 1180628.7138 | 2538804.2043 | 1180632.1353
74 | 2538829.5914 | 1180653.5989 | 2538816.8144 | 1180640.5924
75 | 2538773.9156 | 1180578.0591 | 2538803.1863 | 1180590.8669
76 | 2538803.1863 | 1180590.8669 | 2538842.5309 | 1180608.0966 | 2538846.1174 | 1180608.5047 | 2538848.7542 | 1180607.9218 | 2538850.5798 | 1180607.1805 | 2538852.8057 | 1180605.6843
77 | 2538803.1863 | 1180590.8669 | 2538816.4033 | 1180578.2501
78 | 2538719.4952 | 1180836.2239 | 2538719.53 | 1180836.2683
79 | 2538557.027 | 1180840.9857 | 2538560.4626 | 1180839.3606
80 | 2538557.027 | 1180840.9857 | 2538551.2354 | 1180844.4916 | 2538531.0789 | 1180858.9794
81 | 2538568.7799 | 1180850.4815 | 2538566.7041 | 1180847.6679 | 2538560.4626 | 1180839.3606
82 | 2538658.4344 | 1180783.6241 | 2538660.9895 | 1180786.255 | 2538663.0451 | 1180786.3562 | 2538664.7999 | 1180787.65 | 2538677.6737 | 1180803.308
83 | 2538656.6229 | 1180781.2636 | 2538658.4344 | 1180783.6241
84 | 2538658.4344 | 1180783.6241 | 2538638.1102 | 1180798.6166
85 | 2538656.6229 | 1180781.2636 | 2538656.2334 | 1180778.2881 | 2538634.4324 | 1180749.3347
86 | 2538656.6229 | 1180781.2636 | 2538649.8635 | 1180786.2068
87 | 2538622.5027 | 1180810.1297 | 2538638.1102 | 1180798.6166
88 | 2538665.8656 | 1180735.91 | 2538658.8218 | 1180741.7188 | 2538654.5638 | 1180745.0865 | 2538650.2146 | 1180748.4886
89 | 2538650.2146 | 1180748.4886 | 2538656.9576 | 1180758.0471 | 2538670.1555 | 1180773.6428 | 2538672.4721 | 1180776.6721
90 | 2538665.8656 | 1180735.91 | 2538667.4568 | 1180734.6708 | 2538671.0601 | 1180731.9288
91 | 2538607.5115 | 1180738.8878 | 2538619.3649 | 1180729.8834
92 | 2538598.0845 | 1180702.2639 | 2538613.9411 | 1180723.113 | 2538616.6278 | 1180726.643 | 2538619.3649 | 1180729.8834
93 | 2538619.3649 | 1180729.8834 | 2538623.2385 | 1180734.4684 | 2538634.4324 | 1180749.3347
94 | 2538601.259 | 1180743.6435 | 2538607.5115 | 1180738.8878
95 | 2538607.5115 | 1180738.8878 | 2538601.1276 | 1180730.4225
96 | 2538598.0845 | 1180702.2639 | 2538591.7998 | 1180707.5307
97 | 2538565.5325 | 1180770.7922 | 2538560.955 | 1180774.2744
98 | 2538560.955 | 1180774.2744 | 2538554.1679 | 1180764.9
99 | 2538558.7658 | 1180792.3335 | 2538558.1767 | 1180791.5408
100 | 2538522.4069 | 1180789.0857 | 2538505.0734 | 1180766.5282
101 | 2538489.8436 | 1180746.5783 | 2538492.2363 | 1180749.7443 | 2538495.9995 | 1180754.7196
102 | 2538495.9995 | 1180754.7196 | 2538505.0734 | 1180766.5282
103 | 2538489.8436 | 1180746.5783 | 2538506.2037 | 1180734.0372
104 | 2538508.1451 | 1180732.5489 | 2538506.2037 | 1180734.0372
105 | 2538658.4566 | 1180619.7205 | 2538662.1002 | 1180615.2696 | 2538663.9916 | 1180611.2701 | 2538664.0707 | 1180607.067 | 2538663.2396 | 1180602.7397 | 2538660.5984 | 1180598.431 | 2538646.7101 | 1180579.682
106 | 2538658.4566 | 1180619.7205 | 2538690.6711 | 1180665.5565
107 | 2538714.0012 | 1180698.7515 | 2538690.6711 | 1180665.5565
108 | 2538777.0474 | 1180573.5913 | 2538773.9156 | 1180578.0591
109 | 2538773.9156 | 1180578.0591 | 2538756.2532 | 1180570.3304
110 | 2538865.0968 | 1180594.6067 | 2538857.6258 | 1180601.5609 | 2538853.2501 | 1180605.3856 | 2538852.8057 | 1180605.6843
111 | 2538822.3164 | 1180572.6055 | 2538816.4033 | 1180578.2501
112 | 2538742.0378 | 1180865.1942 | 2538740.4646 | 1180863.3176 | 2538734.0805 | 1180854.842
113 | 2538572.6046 | 1180855.5117 | 2538582.8272 | 1180869.2034 | 2538580.1212 | 1180871.2212
114 | 2538580.1212 | 1180871.2212 | 2538555.1223 | 1180894.2352 | 2538554.3358 | 1180896.4779 | 2538557.5047 | 1180900.6359
115 | 2538572.6046 | 1180855.5117 | 2538568.7799 | 1180850.4815
116 | 2538572.6046 | 1180855.5117 | 2538572.5164 | 1180853.6115 | 2538573.001 | 1180851.7166 | 2538577.754 | 1180848.1353
117 | 2538557.5047 | 1180900.6359 | 2538560.6998 | 1180904.8284 | 2538553.3967 | 1180912.3921
118 | 2538589.8646 | 1180839.003 | 2538586.0448 | 1180841.8883 | 2538577.754 | 1180848.1353
119 | 2538589.8646 | 1180839.003 | 2538587.7589 | 1180836.2564
120 | 2538589.8646 | 1180839.003 | 2538592.2596 | 1180837.1885 | 2538600.0217 | 1180831.3317
121 | 2538859.0296 | 1180685.0825 | 2538840.9992 | 1180701.6858
122 | 2538838.0692 | 1180732.0474 | 2538836.9287 | 1180730.6792
123 | 2538719.53 | 1180836.2683 | 2538733.4261 | 1180853.9732 | 2538734.0805 | 1180854.842
124 | 2538587.7589 | 1180836.2564 | 2538591.7158 | 1180833.252
125 | 2538600.6905 | 1180826.4377 | 2538591.7158 | 1180833.252
126 | 2538619.6449 | 1180812.238 | 2538610.6165 | 1180818.901
127 | 2538610.6165 | 1180818.901 | 2538600.6905 | 1180826.4377
128 | 2538619.6449 | 1180812.238 | 2538622.5027 | 1180810.1297
129 | 2538619.6449 | 1180812.238 | 2538627.0503 | 1180822.1129
130 | 2538622.5027 | 1180810.1297 | 2538620.6206 | 1180807.592
131 | 2538620.6206 | 1180807.592 | 2538627.9559 | 1180802.2277
132 | 2538620.6206 | 1180807.592 | 2538615.1269 | 1180800.159
133 | 2538628.2328 | 1180823.6897 | 2538627.0503 | 1180822.1129
134 | 2538859.0296 | 1180685.0825 | 2538864.7861 | 1180679.5983 | 2538875.6203 | 1180669.2839
135 | 2538859.0296 | 1180685.0825 | 2538850.1628 | 1180675.5996
136 | 2538829.5914 | 1180653.5989 | 2538850.1628 | 1180675.5996
137 | 2538829.5914 | 1180653.5989 | 2538811.7322 | 1180667.0648
138 | 2538796.0102 | 1180678.9191 | 2538811.7322 | 1180667.0648
139 | 2538601.259 | 1180743.6435 | 2538597.9429 | 1180746.1646
140 | 2538601.259 | 1180743.6435 | 2538607.7119 | 1180752.8849
141 | 2538565.5325 | 1180770.7922 | 2538575.4683 | 1180763.2415
142 | 2538565.5325 | 1180770.7922 | 2538572.0651 | 1180779.5608
143 | 2538539.6176 | 1180708.412 | 2538544.1127 | 1180704.9641
144 | 2538517.4663 | 1180725.4047 | 2538508.1451 | 1180732.5489
145 | 2538807.4908 | 1180570.3781 | 2538810.6401 | 1180568.367 | 2538814.6032 | 1180568.2597 | 2538819.8488 | 1180570.3183 | 2538822.3164 | 1180572.6055
146 | 2538578.371 | 1180761.0438 | 2538575.4683 | 1180763.2415
147 | 2538575.4683 | 1180763.2415 | 2538568.9491 | 1180754.7852
148 | 2538588.4811 | 1180753.3579 | 2538578.371 | 1180761.0438
149 | 2538578.371 | 1180761.0438 | 2538584.7737 | 1180770.002
150 | 2538568.9491 | 1180754.7852 | 2538568.2264 | 1180753.8478
151 | 2538588.4811 | 1180753.3579 | 2538597.9429 | 1180746.1646
152 | 2538561.0466 | 1180744.5345 | 2538568.2264 | 1180753.8478
153 | 2538539.6176 | 1180708.412 | 2538532.8813 | 1180698.9931
154 | 2538539.6176 | 1180708.412 | 2538526.7331 | 1180718.2889
155 | 2538532.45 | 1180698.3901 | 2538532.8813 | 1180698.9931
156 | 2538522.3011 | 1180721.6863 | 2538526.7331 | 1180718.2889
157 | 2538531.4879 | 1180744.5492 | 2538517.4663 | 1180725.4047
158 | 2538522.3011 | 1180721.6863 | 2538517.4663 | 1180725.4047

## bus_geodata
| x | y | coords
0 | 2538693.0093 | 1180865.4572
1 | 2538703.9342 | 1180861.9464
2 | 2538696.6075 | 1180853.0082
3 | 2538705.7573 | 1180860.4718
4 | 2538683.0764 | 1180836.5008
5 | 2538721.4022 | 1180847.8151
6 | 2538675.9737 | 1180827.8359
7 | 2538705.4437 | 1180837.0836
8 | 2538622.9655 | 1180882.7459
9 | 2538639.1434 | 1180904.4566
10 | 2538620.2355 | 1180918.9031
11 | 2538599.7227 | 1180890.3993
12 | 2538589.4191 | 1180884.133
13 | 2538587.5358 | 1180875.5142
14 | 2538567.3297 | 1180902.9973
15 | 2538891.1082 | 1180766.4561
16 | 2538870.1525 | 1180743.5573
17 | 2538867.8481 | 1180786.7236
18 | 2538766.9673 | 1180881.1786
19 | 2538757.5654 | 1180882.6867
20 | 2538773.8598 | 1180874.2737
21 | 2538826.5842 | 1180838.2558
22 | 2538835.9279 | 1180829.7081
23 | 2538817.3332 | 1180847.1486
24 | 2538749.6233 | 1180890.2612
25 | 2538738.0775 | 1180876.1777
26 | 2538747.6892 | 1180871.9357
27 | 2538844.5795 | 1180821.8849
28 | 2538838.6304 | 1180812.9962
29 | 2538826.3507 | 1180824.2157
30 | 2538814.5023 | 1180784.5844
31 | 2538849.2528 | 1180803.3243
32 | 2538762.3325 | 1180764.9319
33 | 2538794.68 | 1180739.2631
34 | 2538743.3764 | 1180779.9742
35 | 2538796.6005 | 1180737.7391
36 | 2538760.7833 | 1180802.7995
37 | 2538734.7628 | 1180786.8074
38 | 2538773.1473 | 1180708.1709
39 | 2538811.9277 | 1180725.5756
40 | 2538761.3612 | 1180803.5572
41 | 2538701.4945 | 1180813.1995
42 | 2538745.9019 | 1180673.8219
43 | 2538802.2115 | 1180703.1178
44 | 2538824.4214 | 1180715.6756
45 | 2538770.9528 | 1180816.1345
46 | 2538687.0217 | 1180795.1701
47 | 2538714.2182 | 1180829.5006
48 | 2538811.6328 | 1180837.7311
49 | 2538813.7445 | 1180783.6921
50 | 2538800.173 | 1180848.7069
51 | 2538812.1981 | 1180781.8711
52 | 2538875.7142 | 1180703.707
53 | 2538872.9026 | 1180700.5684
54 | 2538800.5909 | 1180863.2427
55 | 2538732.3003 | 1180869.2652
56 | 2538787.5592 | 1180860.7879
57 | 2538565.8158 | 1180688.3206
58 | 2538560.8005 | 1180681.168
59 | 2538563.7544 | 1180689.8982
60 | 2538535.6752 | 1180806.4077
61 | 2538550.9814 | 1180781.8589
62 | 2538522.9864 | 1180789.8398
63 | 2538804.2043 | 1180632.1353
64 | 2538816.8144 | 1180640.5924
65 | 2538803.1863 | 1180590.8669
66 | 2538719.4952 | 1180836.2239
67 | 2538557.027 | 1180840.9857
68 | 2538560.4626 | 1180839.3606
69 | 2538531.0789 | 1180858.9794
70 | 2538677.6737 | 1180803.308
71 | 2538658.4344 | 1180783.6241
72 | 2538656.6229 | 1180781.2636
73 | 2538638.1102 | 1180798.6166
74 | 2538650.2146 | 1180748.4886
75 | 2538665.8656 | 1180735.91
76 | 2538672.4721 | 1180776.6721
77 | 2538619.3649 | 1180729.8834
78 | 2538607.5115 | 1180738.8878
79 | 2538598.0845 | 1180702.2639
80 | 2538634.4324 | 1180749.3347
81 | 2538671.0601 | 1180731.9288
82 | 2538560.955 | 1180774.2744
83 | 2538558.1767 | 1180791.5408
84 | 2538522.4069 | 1180789.0857
85 | 2538495.9995 | 1180754.7196
86 | 2538489.8436 | 1180746.5783
87 | 2538505.0734 | 1180766.5282
88 | 2538506.2037 | 1180734.0372
89 | 2538591.7998 | 1180707.5307
90 | 2538658.4566 | 1180619.7205
91 | 2538646.7101 | 1180579.682
92 | 2538690.6711 | 1180665.5565
93 | 2538773.9156 | 1180578.0591
94 | 2538852.8057 | 1180605.6843
95 | 2538816.4033 | 1180578.2501
96 | 2538742.0378 | 1180865.1942
97 | 2538580.1212 | 1180871.2212
98 | 2538572.6046 | 1180855.5117
99 | 2538557.5047 | 1180900.6359
100 | 2538598.9113 | 1180869.5749
101 | 2538568.7799 | 1180850.4815
102 | 2538577.754 | 1180848.1353
103 | 2538553.3967 | 1180912.3921
104 | 2538589.8646 | 1180839.003
105 | 2538714.0012 | 1180698.7515
106 | 2538840.9992 | 1180701.6858
107 | 2538836.9287 | 1180730.6792
108 | 2538719.53 | 1180836.2683
109 | 2538734.0805 | 1180854.842
110 | 2538587.7589 | 1180836.2564
111 | 2538591.7158 | 1180833.252
112 | 2538600.0217 | 1180831.3317
113 | 2538610.6165 | 1180818.901
114 | 2538619.6449 | 1180812.238
115 | 2538600.6905 | 1180826.4377
116 | 2538620.6206 | 1180807.592
117 | 2538622.5027 | 1180810.1297
118 | 2538627.9559 | 1180802.2277
119 | 2538615.1269 | 1180800.159
120 | 2538627.0503 | 1180822.1129
121 | 2538628.2328 | 1180823.6897
122 | 2538875.6203 | 1180669.2839
123 | 2538859.0296 | 1180685.0825
124 | 2538850.1628 | 1180675.5996
125 | 2538829.5914 | 1180653.5989
126 | 2538811.7322 | 1180667.0648
127 | 2538838.0692 | 1180732.0474
128 | 2538649.8635 | 1180786.2068
129 | 2538601.259 | 1180743.6435
130 | 2538601.1276 | 1180730.4225
131 | 2538565.5325 | 1180770.7922
132 | 2538554.1679 | 1180764.9
133 | 2538558.7658 | 1180792.3334
134 | 2538544.1127 | 1180704.9641
135 | 2538572.9962 | 1180701.8645
136 | 2538508.1451 | 1180732.5489
137 | 2538777.0474 | 1180573.5912
138 | 2538756.2532 | 1180570.3304
139 | 2538865.0968 | 1180594.6067
140 | 2538822.3164 | 1180572.6055
141 | 2538807.4908 | 1180570.3781
142 | 2538796.0102 | 1180678.9191
143 | 2538575.4683 | 1180763.2415
144 | 2538572.0651 | 1180779.5608
145 | 2538578.371 | 1180761.0438
146 | 2538568.9491 | 1180754.7852
147 | 2538588.4811 | 1180753.3579
148 | 2538584.7737 | 1180770.002
149 | 2538568.2264 | 1180753.8478
150 | 2538597.9429 | 1180746.1646
151 | 2538607.7119 | 1180752.8849
152 | 2538561.0466 | 1180744.5345
153 | 2538539.6176 | 1180708.412
154 | 2538532.8813 | 1180698.9931
155 | 2538526.7331 | 1180718.2889
156 | 2538517.4663 | 1180725.4047
157 | 2538531.4879 | 1180744.5492
158 | 2538522.3011 | 1180721.6863
159 | 2538532.45 | 1180698.3901
160 | 2538734.7628 | 1180786.8074

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1