## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-41_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-41_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-41_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-41_0_5_node_83 | 0.4 | n |  | TRUE
4 | bus_LV_5938-41_0_5_node_84 | 0.4 | n |  | TRUE
5 | bus_LV_5938-41_0_5_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_5938-41_0_5_node_91 | 0.4 | n |  | TRUE
7 | bus_LV_5938-41_0_5_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5938-41_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5938-41_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5938-41_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5938-41_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5938-41_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_5938-41_0_5_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5938-41_0_5_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_5938-41_0_5_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5938-41_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5938-41_0_5_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_5938-41_0_5_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_5938-41_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5938-41_0_5_node_97 | 0.4 | n |  | TRUE
21 | bus_LV_5938-41_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5938-41_0_5_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_5938-41_0_5_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_5938-41_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5938-41_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_5938-41_0_5_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_5938-41_0_5_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_5938-41_0_5_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_5938-41_0_5_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_5938-41_0_5_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_5938-41_0_5_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_5938-41_0_5_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5938-41_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5938-41_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_5938-41_0_5_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_5938-41_0_5_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5938-41_0_5_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_5938-41_0_5_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_5938-41_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5938-41_0_5_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_5938-41_0_5_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_5938-41_0_5_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_5938-41_0_5_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_5938-41_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5938-41_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5938-41_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5938-41_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5938-41_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5938-41_0_5_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_5938-41_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_5938-41_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_5938-41_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5938-41_0_5_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_5938-41_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_5938-41_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5938-41_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_5938-41_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5938-41_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5938-41_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5938-41_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_5938-41_0_5_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_5938-41_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5938-41_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5938-41_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5938-41_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5938-41_0_5_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_5938-41_0_5_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_5938-41_0_5_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_5938-41_0_5_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_5938-41_0_5_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_5938-41_0_5_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_5938-41_0_5_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_5938-41_0_5_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_5938-41_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5938-41_0_5_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_5938-41_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5938-41_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_5938-41_0_5_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_5938-41_0_5_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_5938-41_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5938-41_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_5938-41_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_5938-41_0_5_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_5938-41_0_5_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5938-41_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_5938-41_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_5938-41_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5938-41_0_5_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_5938-41_0_5_node_92 | 0.4 | n |  | TRUE
90 | bus_MV_316_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-41_0_5_load_0 | 0 | 0.008278 | 0.0020747 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-41_0_5_load_1 | 1 | 0.0018737 | 0.0004696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-41_0_5_load_83 | 3 | 0.0014683 | 0.00036799 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-41_0_5_load_84 | 4 | 0.0018446 | 0.00046231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-41_0_5_load_89 | 5 | 0.0017774 | 0.00044545 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-41_0_5_load_91 | 6 | 0.0015437 | 0.00038689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-41_0_5_load_3 | 7 | 0.0077297 | 0.0019372 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-41_0_5_load_4 | 8 | 0.016493 | 0.0041335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-41_0_5_load_21 | 14 | 0.0091767 | 0.0022999 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-41_0_5_load_75 | 17 | 0.031656 | 0.0079338 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-41_0_5_load_98 | 18 | 0.0029267 | 0.00073349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-41_0_5_load_97 | 20 | 0.009614 | 0.0024095 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-41_0_5_load_99 | 22 | 0.002016 | 0.00050525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-41_0_5_load_85 | 23 | 0.013027 | 0.0032648 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-41_0_5_load_24 | 24 | 0.02049 | 0.0051352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-41_0_5_load_26 | 25 | 0.012899 | 0.0032327 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-41_0_5_load_78 | 26 | 0.0095227 | 0.0023866 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-41_0_5_load_76 | 27 | 0.0087255 | 0.0021868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-41_0_5_load_77 | 28 | 0.011819 | 0.0029621 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-41_0_5_load_86 | 29 | 0.022419 | 0.0056188 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-41_0_5_load_12 | 30 | 0.012638 | 0.0031674 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-41_0_5_load_14 | 32 | 0.0054223 | 0.001359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-41_0_5_load_67 | 36 | 0.0058731 | 0.0014719 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-41_0_5_load_65 | 38 | 0.011142 | 0.0027924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-41_0_5_load_96 | 41 | 0.014467 | 0.0036257 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-41_0_5_load_17 | 42 | 0.0083434 | 0.0020911 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-41_0_5_load_23 | 45 | 0.010138 | 0.0025408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-41_0_5_load_36 | 47 | 0.010897 | 0.0027311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-41_0_5_load_88 | 49 | 0.0054544 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-41_0_5_load_27 | 50 | 0.0027286 | 0.00068385 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-41_0_5_load_33 | 53 | 0.0089962 | 0.0022547 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-41_0_5_load_31 | 54 | 0.028264 | 0.0070836 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-41_0_5_load_34 | 56 | 0.0070923 | 0.0017775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-41_0_5_load_35 | 57 | 0.00061953 | 0.00015527 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-41_0_5_load_74 | 61 | 0.0088144 | 0.0022091 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-41_0_5_load_45 | 65 | 0.0084924 | 0.0021284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-41_0_5_load_79 | 67 | 0.0071136 | 0.0017828 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-41_0_5_load_90 | 68 | 0.0037293 | 0.00093465 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-41_0_5_load_87 | 69 | 0.0022371 | 0.00056066 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-41_0_5_load_38 | 70 | 0.011689 | 0.0029296 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-41_0_5_load_42 | 73 | 0.011676 | 0.0029264 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-41_0_5_load_59 | 74 | 0.0086753 | 0.0021742 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-41_0_5_load_58 | 75 | 0.0074906 | 0.0018773 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-41_0_5_load_57 | 78 | 0.0035855 | 0.00089861 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-41_0_5_load_94 | 79 | 0.0041628 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-41_0_5_load_81 | 80 | 0.0077352 | 0.0019386 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-41_0_5_load_62 | 83 | 0.0024413 | 0.00061185 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-41_0_5_load_61 | 84 | 0.0053986 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-41_0_5_load_68 | 85 | 0.0061876 | 0.0015508 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-41_0_5_load_69 | 86 | 0.0037207 | 0.0009325 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-41_0_5_load_70 | 87 | 0.0053715 | 0.0013462 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-41_0_5_load_93 | 88 | 0.0035863 | 0.0008988 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-41_0_5_load_92 | 89 | 0.0017708 | 0.00044379 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-41_0_5_line_0 |  | 0 | 1 | 0.041971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-41_0_5_line_1 |  | 1 | 2 | 0.01628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5938-41_0_5_line_2 |  | 2 | 3 | 0.01764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5938-41_0_5_line_3 |  | 2 | 4 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-41_0_5_line_4 |  | 3 | 5 | 0.0096311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5938-41_0_5_line_5 |  | 4 | 6 | 0.0034709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-41_0_5_line_6 |  | 5 | 64 | 0.014453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5938-41_0_5_line_7 |  | 6 | 89 | 0.0067702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-41_0_5_line_8 |  | 7 | 8 | 0.00080488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-41_0_5_line_9 |  | 7 | 9 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-41_0_5_line_10 |  | 9 | 10 | 0.059544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5938-41_0_5_line_11 |  | 9 | 11 | 0.04546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-41_0_5_line_12 |  | 10 | 16 | 0.006348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5938-41_0_5_line_13 |  | 10 | 17 | 0.038547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-41_0_5_line_14 |  | 11 | 23 | 0.044404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-41_0_5_line_15 |  | 12 | 13 | 0.024347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5938-41_0_5_line_16 |  | 12 | 14 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5938-41_0_5_line_17 |  | 12 | 15 | 0.040225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-41_0_5_line_18 |  | 13 | 27 | 0.042916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5938-41_0_5_line_19 |  | 14 | 45 | 0.0067038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5938-41_0_5_line_20 |  | 15 | 25 | 0.045382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-41_0_5_line_21 |  | 15 | 24 | 0.053488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-41_0_5_line_22 |  | 16 | 18 | 0.01418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-41_0_5_line_23 |  | 16 | 19 | 0.03189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-41_0_5_line_24 |  | 16 | 20 | 0.036023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5938-41_0_5_line_25 |  | 19 | 21 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-41_0_5_line_26 |  | 20 | 26 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5938-41_0_5_line_27 |  | 21 | 22 | 0.034241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-41_0_5_line_28 |  | 23 | 29 | 0.0087959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-41_0_5_line_29 |  | 26 | 28 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5938-41_0_5_line_30 |  | 27 | 28 | 0.043704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5938-41_0_5_line_31 |  | 30 | 31 | 0.026499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-41_0_5_line_32 |  | 31 | 32 | 0.0022358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-41_0_5_line_33 |  | 31 | 33 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-41_0_5_line_34 |  | 33 | 37 | 0.00945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-41_0_5_line_35 |  | 33 | 38 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-41_0_5_line_36 |  | 34 | 35 | 0.034966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-41_0_5_line_37 |  | 34 | 36 | 0.017118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-41_0_5_line_38 |  | 35 | 38 | 0.025694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-41_0_5_line_39 |  | 35 | 39 | 0.030297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-41_0_5_line_40 |  | 36 | 40 | 0.03289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-41_0_5_line_41 |  | 37 | 41 | 0.0093062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-41_0_5_line_42 |  | 39 | 60 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-41_0_5_line_43 |  | 39 | 61 | 0.02165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-41_0_5_line_44 |  | 40 | 76 | 0.04208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-41_0_5_line_45 |  | 40 | 77 | 0.093333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-41_0_5_line_46 |  | 42 | 43 | 0.035443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-41_0_5_line_47 |  | 43 | 44 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5938-41_0_5_line_48 |  | 43 | 45 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5938-41_0_5_line_49 |  | 44 | 46 | 0.064783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5938-41_0_5_line_50 |  | 44 | 47 | 0.028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-41_0_5_line_51 |  | 46 | 48 | 0.073664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5938-41_0_5_line_52 |  | 46 | 49 | 0.035721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-41_0_5_line_53 |  | 48 | 66 | 0.027709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5938-41_0_5_line_54 |  | 48 | 67 | 0.021454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-41_0_5_line_55 |  | 49 | 69 | 0.047031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-41_0_5_line_56 |  | 50 | 51 | 0.042376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-41_0_5_line_57 |  | 51 | 52 | 0.031236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-41_0_5_line_58 |  | 52 | 53 | 0.011215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-41_0_5_line_59 |  | 52 | 54 | 0.034617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-41_0_5_line_60 |  | 53 | 55 | 0.038217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-41_0_5_line_61 |  | 55 | 56 | 0.032324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-41_0_5_line_62 |  | 55 | 57 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-41_0_5_line_63 |  | 57 | 58 | 0.0077322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-41_0_5_line_64 |  | 58 | 59 | 0.029418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-41_0_5_line_65 |  | 59 | 74 | 0.025347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-41_0_5_line_66 |  | 60 | 81 | 0.005855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-41_0_5_line_67 |  | 61 | 82 | 0.0084067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-41_0_5_line_68 |  | 62 | 63 | 0.045246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-41_0_5_line_69 |  | 62 | 64 | 0.059401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-41_0_5_line_70 |  | 62 | 65 | 0.026419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-41_0_5_line_71 |  | 63 | 75 | 0.020037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-41_0_5_line_72 |  | 63 | 78 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-41_0_5_line_73 |  | 64 | 68 | 0.038847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-41_0_5_line_74 |  | 64 | 66 | 0.035934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5938-41_0_5_line_75 |  | 66 | 80 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-41_0_5_line_76 |  | 68 | 81 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-41_0_5_line_77 |  | 70 | 71 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-41_0_5_line_78 |  | 71 | 72 | 0.009182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-41_0_5_line_79 |  | 71 | 73 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-41_0_5_line_80 |  | 72 | 74 | 0.006797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-41_0_5_line_81 |  | 72 | 75 | 0.018678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-41_0_5_line_82 |  | 76 | 83 | 0.0059582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-41_0_5_line_83 |  | 77 | 79 | 0.025451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-41_0_5_line_84 |  | 81 | 88 | 0.034377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-41_0_5_line_85 |  | 82 | 87 | 0.013312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-41_0_5_line_86 |  | 83 | 84 | 0.013342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-41_0_5_line_87 |  | 85 | 86 | 0.042386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-41_0_5_line_88 |  | 85 | 87 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-41_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 90 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2538263.8473 | 1182465.4606 | 2538256.2153 | 1182482.6755 | 2538250.2225 | 1182488.7186 | 2538237.3583 | 1182482.2588 | 2538237.15 | 1182482.1501
1 | 2538222.7179 | 1182474.6168 | 2538237.15 | 1182482.1501
2 | 2538222.7179 | 1182474.6168 | 2538212.3998 | 1182469.2314 | 2538207.0069 | 1182466.5995
3 | 2538222.7179 | 1182474.6168 | 2538230.1816 | 1182458.6974 | 2538220.0651 | 1182453.9969
4 | 2538198.3516 | 1182462.3755 | 2538207.0069 | 1182466.5995
5 | 2538216.9173 | 1182452.5343 | 2538220.0651 | 1182453.9969
6 | 2538185.3626 | 1182456.0366 | 2538198.3516 | 1182462.3755
7 | 2538210.7775 | 1182449.6815 | 2538216.9173 | 1182452.5343
8 | 2538367.0757 | 1182595.3058 | 2538366.3235 | 1182595.0193
9 | 2538389.0721 | 1182603.6853 | 2538367.0757 | 1182595.3058
10 | 2538368.8116 | 1182659.6701 | 2538376.0977 | 1182638.3608 | 2538377.227 | 1182635.3252 | 2538378.6538 | 1182631.5195 | 2538389.0721 | 1182603.6853
11 | 2538389.3556 | 1182568.2179 | 2538400.7464 | 1182572.5141 | 2538399.0447 | 1182577.0565 | 2538389.0721 | 1182603.6853
12 | 2538366.7125 | 1182665.6618 | 2538367.9151 | 1182662.3253 | 2538368.8116 | 1182659.6701
13 | 2538368.8116 | 1182659.6701 | 2538332.7242 | 1182646.121
14 | 2538389.3556 | 1182568.2179 | 2538347.8057 | 1182552.5553
15 | 2538242.5117 | 1182586.4201 | 2538230.7518 | 1182607.7536
16 | 2538242.5117 | 1182586.4201 | 2538226.9467 | 1182566.5038
17 | 2538242.5117 | 1182586.4201 | 2538280.5499 | 1182599.5016
18 | 2538230.7518 | 1182607.7536 | 2538259.4561 | 1182639.6567
19 | 2538226.9467 | 1182566.5038 | 2538222.8187 | 1182561.2218
20 | 2538280.5499 | 1182599.5016 | 2538277.7813 | 1182599.0632 | 2538275.7071 | 1182600.063 | 2538274.4256 | 1182601.666 | 2538268.6135 | 1182616.3232 | 2538267.5928 | 1182618.7795 | 2538267.8593 | 1182620.1887 | 2538269.2819 | 1182621.1523 | 2538272.7385 | 1182622.4062 | 2538284.7815 | 1182627.2144
21 | 2538280.5499 | 1182599.5016 | 2538291.9089 | 1182571.8577 | 2538314.057 | 1182580.0103
22 | 2538366.7125 | 1182665.6618 | 2538365.473 | 1182668.3761 | 2538361.4753 | 1182678.8339
23 | 2538361.9418 | 1182692.4706 | 2538371.5737 | 1182667.6239 | 2538366.7125 | 1182665.6618
24 | 2538366.7125 | 1182665.6618 | 2538333.1775 | 1182652.5057
25 | 2538354.8635 | 1182711.6988 | 2538356.1946 | 1182708.2498 | 2538359.2836 | 1182699.7687 | 2538361.9418 | 1182692.4706
26 | 2538314.8021 | 1182645.4422 | 2538320.9586 | 1182647.7121 | 2538333.1775 | 1182652.5057
27 | 2538354.8635 | 1182711.6988 | 2538363.2991 | 1182714.5135 | 2538387.2435 | 1182722.8321
28 | 2538347.8057 | 1182552.5553 | 2538339.5752 | 1182549.4528
29 | 2538294.5184 | 1182637.9635 | 2538314.8021 | 1182645.4422
30 | 2538259.4561 | 1182639.6567 | 2538262.7125 | 1182631.2369 | 2538264.3156 | 1182628.9858 | 2538267.3868 | 1182628.4093 | 2538270.655 | 1182629.1649 | 2538294.5184 | 1182637.9635
31 | 2538298.6133 | 1182366.9282 | 2538300.1175 | 1182365.434 | 2538302.6581 | 1182363.7513 | 2538305.6287 | 1182363.0314 | 2538308.6637 | 1182363.3781 | 2538311.396 | 1182364.7284 | 2538313.4957 | 1182366.9303 | 2538314.7157 | 1182369.7193 | 2538314.9075 | 1182372.7634 | 2538314.0441 | 1182375.674
32 | 2538298.6133 | 1182366.9282 | 2538297.9377 | 1182369.0594
33 | 2538278.4675 | 1182360.7881 | 2538282.0685 | 1182362.6964 | 2538283.8576 | 1182359.2205 | 2538298.6133 | 1182366.9282
34 | 2538274.0333 | 1182369.1385 | 2538278.4675 | 1182360.7881
35 | 2538278.4675 | 1182360.7881 | 2538262.9579 | 1182353.1852
36 | 2538254.755 | 1182310.2153 | 2538239.8865 | 1182341.8755
37 | 2538254.755 | 1182310.2153 | 2538262.1943 | 1182294.7984
38 | 2538239.8865 | 1182341.8755 | 2538262.9579 | 1182353.1852
39 | 2538226.9671 | 1182369.28 | 2538233.7598 | 1182354.9239 | 2538239.8865 | 1182341.8755
40 | 2538276.4879 | 1182265.1767 | 2538262.1943 | 1182294.7984
41 | 2538274.0333 | 1182369.1385 | 2538265.6779 | 1182365.0406
42 | 2538226.9671 | 1182369.28 | 2538213.6087 | 1182396.311
43 | 2538226.9671 | 1182369.28 | 2538245.7351 | 1182380.073
44 | 2538276.4879 | 1182265.1767 | 2538296.8293 | 1182275.4393 | 2538293.7247 | 1182281.6748 | 2538291.0315 | 1182287.0835 | 2538288.2338 | 1182292.7155
45 | 2538276.4879 | 1182265.1767 | 2538278.7764 | 1182260.5171 | 2538298.4951 | 1182269.63 | 2538309.6329 | 1182275.2516 | 2538344.5705 | 1182291.8119 | 2538339.4566 | 1182302.3928 | 2538337.9393 | 1182305.5769
46 | 2538210.6391 | 1182545.6372 | 2538229.5093 | 1182531.8346 | 2538231.3293 | 1182531.3599 | 2538234.1396 | 1182531.3976 | 2538236.6887 | 1182533.4947 | 2538239.1391 | 1182536.7456
47 | 2538210.6391 | 1182545.6372 | 2538192.7469 | 1182559.4966
48 | 2538210.6391 | 1182545.6372 | 2538222.8187 | 1182561.2218
49 | 2538140.6559 | 1182577.9009 | 2538142.792 | 1182580.6693 | 2538147.0479 | 1182583.8938 | 2538157.2244 | 1182587.4128 | 2538192.7469 | 1182559.4966
50 | 2538192.7469 | 1182559.4966 | 2538210.5875 | 1182582.1499
51 | 2538140.6559 | 1182577.9009 | 2538136.1375 | 1182572.9115 | 2538131.8272 | 1182567.3863 | 2538137.003 | 1182558.4166 | 2538158.67 | 1182513.834
52 | 2538140.6559 | 1182577.9009 | 2538165.3344 | 1182556.5004 | 2538166.7087 | 1182553.7707
53 | 2538158.67 | 1182513.834 | 2538170.2833 | 1182488.6664
54 | 2538158.67 | 1182513.834 | 2538177.9393 | 1182523.2661
55 | 2538168.7816 | 1182528.3855 | 2538187.2888 | 1182537.4738 | 2538167.4443 | 1182552.3095 | 2538166.7087 | 1182553.7707
56 | 2537986.8539 | 1182412.5108 | 2537976.9368 | 1182411.9466 | 2537974.3648 | 1182411.3396 | 2537970.979 | 1182409.5625 | 2537968.4884 | 1182406.4977 | 2537964.1484 | 1182400.3393 | 2537957.9327 | 1182393.7 | 2537954.124 | 1182389.8743
57 | 2537986.8539 | 1182412.5108 | 2538018.1068 | 1182414.6548
58 | 2538018.1068 | 1182414.6548 | 2538029.2957 | 1182415.4216
59 | 2538018.1068 | 1182414.6548 | 2538019.077 | 1182400.7035 | 2538022.6257 | 1182397.5649 | 2538038.4818 | 1182398.6655
60 | 2538067.4236 | 1182418.0348 | 2538029.2957 | 1182415.4216
61 | 2538067.4236 | 1182418.0348 | 2538066.9072 | 1182429.3688 | 2538064.5568 | 1182433.929 | 2538062.3724 | 1182449.6254
62 | 2538067.4236 | 1182418.0348 | 2538080.5854 | 1182418.9359
63 | 2538088.2995 | 1182419.464 | 2538080.5854 | 1182418.9359
64 | 2538088.2995 | 1182419.464 | 2538099.5016 | 1182420.2374 | 2538097.138 | 1182438.2721
65 | 2538097.138 | 1182438.2721 | 2538122.28 | 1182441.4894
66 | 2538211.1054 | 1182401.6065 | 2538213.6087 | 1182396.311
67 | 2538253.0228 | 1182384.2639 | 2538245.7351 | 1182380.073
68 | 2538182.0127 | 1182414.1586 | 2538162.4442 | 1182454.9728
69 | 2538182.0127 | 1182414.1586 | 2538185.2419 | 1182415.5593 | 2538186.914 | 1182416.2869 | 2538170.4998 | 1182450.5315 | 2538174.4225 | 1182452.5365 | 2538178.8171 | 1182452.9246 | 2538183.0019 | 1182455.1827 | 2538185.3626 | 1182456.0366
70 | 2538182.0127 | 1182414.1586 | 2538176.3407 | 1182405.4345 | 2538183.4669 | 1182391.0949
71 | 2538162.4442 | 1182454.9728 | 2538144.7315 | 1182445.6062
72 | 2538162.4442 | 1182454.9728 | 2538154.9536 | 1182470.2054
73 | 2538185.3626 | 1182456.0366 | 2538201.9716 | 1182420.9188
74 | 2538185.3626 | 1182456.0366 | 2538170.2833 | 1182488.6664
75 | 2538170.2833 | 1182488.6664 | 2538193.5578 | 1182500.8178
76 | 2538211.1054 | 1182401.6065 | 2538201.9716 | 1182420.9188
77 | 2538125.7338 | 1182455.2192 | 2538123.6266 | 1182471.4724 | 2538123.3127 | 1182473.6088
78 | 2538125.7338 | 1182455.2192 | 2538126.8995 | 1182446.1131
79 | 2538125.7338 | 1182455.2192 | 2538111.1323 | 1182460.9401 | 2538111.0448 | 1182461.7005
80 | 2538126.8995 | 1182446.1131 | 2538123.3406 | 1182441.6251 | 2538122.28 | 1182441.4894
81 | 2538126.8995 | 1182446.1131 | 2538129.9077 | 1182443.8696 | 2538144.7315 | 1182445.6062
82 | 2538288.2338 | 1182292.7155 | 2538285.7776 | 1182298.1439
83 | 2538337.9393 | 1182305.5769 | 2538329.429 | 1182301.5068 | 2538322.5528 | 1182315.9731
84 | 2538235.1447 | 1182425.4162 | 2538221.8923 | 1182408.0098 | 2538211.1054 | 1182401.6065
85 | 2538253.0228 | 1182384.2639 | 2538264.5621 | 1182390.9022
86 | 2538297.8641 | 1182303.7953 | 2538285.7776 | 1182298.1439
87 | 2538282.8821 | 1182401.4412 | 2538296.3079 | 1182409.1647 | 2538302.4495 | 1182413.0925 | 2538303.9367 | 1182414.4001 | 2538304.9318 | 1182416.113 | 2538305.3411 | 1182418.0433 | 2538305.117 | 1182420.0022 | 2538304.288 | 1182421.8007 | 2538299.5342 | 1182430.279
88 | 2538282.8821 | 1182401.4412 | 2538264.5621 | 1182390.9022

## bus_geodata
| x | y | coords
0 | 2538263.8473 | 1182465.4606
1 | 2538237.15 | 1182482.1501
2 | 2538222.7179 | 1182474.6168
3 | 2538207.0069 | 1182466.5995
4 | 2538220.0651 | 1182453.9969
5 | 2538198.3516 | 1182462.3755
6 | 2538216.9173 | 1182452.5343
7 | 2538367.0757 | 1182595.3058
8 | 2538366.3235 | 1182595.0193
9 | 2538389.0721 | 1182603.6853
10 | 2538368.8116 | 1182659.6701
11 | 2538389.3556 | 1182568.2179
12 | 2538242.5117 | 1182586.4201
13 | 2538230.7518 | 1182607.7536
14 | 2538226.9467 | 1182566.5038
15 | 2538280.5499 | 1182599.5016
16 | 2538366.7125 | 1182665.6618
17 | 2538332.7242 | 1182646.121
18 | 2538361.4753 | 1182678.8339
19 | 2538361.9418 | 1182692.4706
20 | 2538333.1775 | 1182652.5057
21 | 2538354.8635 | 1182711.6988
22 | 2538387.2435 | 1182722.8321
23 | 2538347.8057 | 1182552.5553
24 | 2538314.057 | 1182580.0103
25 | 2538284.7815 | 1182627.2144
26 | 2538314.8021 | 1182645.4422
27 | 2538259.4561 | 1182639.6567
28 | 2538294.5184 | 1182637.9635
29 | 2538339.5752 | 1182549.4528
30 | 2538314.0441 | 1182375.674
31 | 2538298.6133 | 1182366.9282
32 | 2538297.9377 | 1182369.0594
33 | 2538278.4675 | 1182360.7881
34 | 2538254.755 | 1182310.2153
35 | 2538239.8865 | 1182341.8755
36 | 2538262.1943 | 1182294.7984
37 | 2538274.0333 | 1182369.1385
38 | 2538262.9579 | 1182353.1852
39 | 2538226.9671 | 1182369.28
40 | 2538276.4879 | 1182265.1767
41 | 2538265.6779 | 1182365.0406
42 | 2538239.1391 | 1182536.7456
43 | 2538210.6391 | 1182545.6372
44 | 2538192.7469 | 1182559.4966
45 | 2538222.8187 | 1182561.2218
46 | 2538140.6559 | 1182577.9009
47 | 2538210.5875 | 1182582.1499
48 | 2538158.67 | 1182513.834
49 | 2538166.7087 | 1182553.7707
50 | 2537954.124 | 1182389.8743
51 | 2537986.8539 | 1182412.5108
52 | 2538018.1068 | 1182414.6548
53 | 2538029.2957 | 1182415.4216
54 | 2538038.4818 | 1182398.6655
55 | 2538067.4236 | 1182418.0348
56 | 2538062.3724 | 1182449.6254
57 | 2538080.5854 | 1182418.9359
58 | 2538088.2995 | 1182419.464
59 | 2538097.138 | 1182438.2721
60 | 2538213.6087 | 1182396.311
61 | 2538245.7351 | 1182380.073
62 | 2538182.0127 | 1182414.1586
63 | 2538162.4442 | 1182454.9728
64 | 2538185.3626 | 1182456.0366
65 | 2538183.4669 | 1182391.0949
66 | 2538170.2833 | 1182488.6664
67 | 2538177.9393 | 1182523.2661
68 | 2538201.9716 | 1182420.9188
69 | 2538168.7816 | 1182528.3855
70 | 2538123.3127 | 1182473.6088
71 | 2538125.7339 | 1182455.2192
72 | 2538126.8995 | 1182446.1131
73 | 2538111.0448 | 1182461.7005
74 | 2538122.28 | 1182441.4894
75 | 2538144.7315 | 1182445.6062
76 | 2538288.2338 | 1182292.7155
77 | 2538337.9393 | 1182305.5769
78 | 2538154.9536 | 1182470.2054
79 | 2538322.5528 | 1182315.9731
80 | 2538193.5578 | 1182500.8178
81 | 2538211.1054 | 1182401.6065
82 | 2538253.0228 | 1182384.2639
83 | 2538285.7776 | 1182298.1439
84 | 2538297.8641 | 1182303.7953
85 | 2538282.8821 | 1182401.4412
86 | 2538299.5342 | 1182430.279
87 | 2538264.5621 | 1182390.9022
88 | 2538235.1447 | 1182425.4162
89 | 2538210.7775 | 1182449.6815
90 | 2538222.7179 | 1182474.6168

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1