## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-47_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-47_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-47_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-47_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-47_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-47_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5938-47_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5938-47_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5938-47_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5938-47_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5938-47_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_5938-47_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5938-47_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_5938-47_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5938-47_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5938-47_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_5938-47_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_5938-47_0_3_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_5938-47_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5938-47_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5938-47_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_5938-47_0_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_5938-47_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5938-47_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_5938-47_0_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_5938-47_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_5938-47_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5938-47_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5938-47_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5938-47_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5938-47_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5938-47_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_5938-47_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5938-47_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5938-47_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5938-47_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5938-47_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5938-47_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_5938-47_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5938-47_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5938-47_0_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5938-47_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_5938-47_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5938-47_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_5938-47_0_3_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_5938-47_0_3_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_5938-47_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5938-47_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5938-47_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5938-47_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5938-47_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5938-47_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5938-47_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5938-47_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5938-47_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_MV_455_0_node_188 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-47_0_3_load_0 | 0 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-47_0_3_load_1 | 1 | 0.004376 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-47_0_3_load_4 | 4 | 0.00566 | 0.0014185 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-47_0_3_load_22 | 8 | 0.0064489 | 0.0016162 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-47_0_3_load_56 | 10 | 0.015609 | 0.0039119 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-47_0_3_load_28 | 12 | 0.014534 | 0.0036424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-47_0_3_load_26 | 13 | 0.0078143 | 0.0019584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-47_0_3_load_31 | 16 | 0.0094155 | 0.0023597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-47_0_3_load_36 | 18 | 0.0061455 | 0.0015402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-47_0_3_load_57 | 20 | 0.0032869 | 0.00082377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-47_0_3_load_48 | 23 | 0.0093248 | 0.002337 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-47_0_3_load_51 | 24 | 0.0092478 | 0.0023177 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-47_0_3_load_27 | 28 | 0.010141 | 0.0025415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-47_0_3_load_18 | 29 | 0.021488 | 0.0053853 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-47_0_3_load_23 | 30 | 0.0097278 | 0.002438 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-47_0_3_load_50 | 31 | 0.014027 | 0.0035156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-47_0_3_load_29 | 32 | 0.005216 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-47_0_3_load_19 | 33 | 0.0026614 | 0.00066702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-47_0_3_load_20 | 34 | 0.0051282 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-47_0_3_load_25 | 35 | 0.012712 | 0.0031858 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-47_0_3_load_49 | 36 | 0.014106 | 0.0035354 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-47_0_3_load_47 | 37 | 0.011975 | 0.0030011 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-47_0_3_load_34 | 38 | 0.0093436 | 0.0023417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-47_0_3_load_45 | 39 | 0.0054512 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-47_0_3_load_43 | 40 | 0.0049405 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-47_0_3_load_55 | 41 | 0.01454 | 0.003644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-47_0_3_load_44 | 43 | 0.010465 | 0.0026227 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-47_0_3_load_21 | 44 | 0.020058 | 0.005027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-47_0_3_load_24 | 45 | 0.0035418 | 0.00088767 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-47_0_3_load_37 | 47 | 0.012055 | 0.0030213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-47_0_3_load_38 | 48 | 0.025538 | 0.0064005 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-47_0_3_load_33 | 49 | 0.0041622 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-47_0_3_load_35 | 50 | 0.0043937 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-47_0_3_load_41 | 52 | 0.015444 | 0.0038707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-47_0_3_load_53 | 53 | 0.0021149 | 0.00053004 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-47_0_3_load_52 | 54 | 0.011271 | 0.0028247 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-47_0_3_line_0 |  | 0 | 1 | 0.00088055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-47_0_3_line_1 |  | 0 | 2 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-47_0_3_line_2 |  | 1 | 3 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-47_0_3_line_3 |  | 2 | 4 | 0.015348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-47_0_3_line_4 |  | 2 | 5 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-47_0_3_line_5 |  | 2 | 6 | 0.024118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5938-47_0_3_line_6 |  | 3 | 7 | 0.005609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-47_0_3_line_7 |  | 4 | 8 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-47_0_3_line_8 |  | 5 | 12 | 0.02195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-47_0_3_line_9 |  | 6 | 17 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5938-47_0_3_line_10 |  | 6 | 18 | 0.038214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-47_0_3_line_11 |  | 7 | 13 | 0.044428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-47_0_3_line_12 |  | 8 | 30 | 0.0061695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-47_0_3_line_13 |  | 9 | 10 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-47_0_3_line_14 |  | 9 | 11 | 0.035444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-47_0_3_line_15 |  | 11 | 25 | 0.003993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-47_0_3_line_16 |  | 11 | 16 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-47_0_3_line_17 |  | 12 | 32 | 0.012228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-47_0_3_line_18 |  | 13 | 35 | 0.016707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-47_0_3_line_19 |  | 14 | 15 | 0.032071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-47_0_3_line_20 |  | 14 | 16 | 0.036888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-47_0_3_line_21 |  | 15 | 32 | 0.020901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-47_0_3_line_22 |  | 17 | 36 | 0.0095296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5938-47_0_3_line_23 |  | 17 | 37 | 0.034168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-47_0_3_line_24 |  | 18 | 38 | 0.01596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-47_0_3_line_25 |  | 19 | 20 | 0.023152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-47_0_3_line_26 |  | 19 | 21 | 0.031849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-47_0_3_line_27 |  | 21 | 41 | 0.021343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-47_0_3_line_28 |  | 21 | 42 | 0.004049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-47_0_3_line_29 |  | 22 | 23 | 0.023546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-47_0_3_line_30 |  | 22 | 24 | 0.013093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-47_0_3_line_31 |  | 23 | 37 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-47_0_3_line_32 |  | 24 | 31 | 0.037961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-47_0_3_line_33 |  | 25 | 43 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-47_0_3_line_34 |  | 26 | 27 | 0.13024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-47_0_3_line_35 |  | 26 | 28 | 0.067152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-47_0_3_line_36 |  | 27 | 29 | 0.044369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-47_0_3_line_37 |  | 28 | 35 | 0.033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-47_0_3_line_38 |  | 30 | 45 | 0.0070691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-47_0_3_line_39 |  | 33 | 34 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-47_0_3_line_40 |  | 34 | 44 | 0.0037002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-47_0_3_line_41 |  | 36 | 54 | 0.04115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5938-47_0_3_line_42 |  | 38 | 49 | 0.0014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-47_0_3_line_43 |  | 39 | 40 | 0.024653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-47_0_3_line_44 |  | 40 | 43 | 0.034483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-47_0_3_line_45 |  | 42 | 53 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-47_0_3_line_46 |  | 42 | 51 | 0.00664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-47_0_3_line_47 |  | 44 | 45 | 0.029645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-47_0_3_line_48 |  | 46 | 47 | 0.020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-47_0_3_line_49 |  | 46 | 48 | 0.023027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-47_0_3_line_50 |  | 47 | 50 | 0.0034241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-47_0_3_line_51 |  | 48 | 51 | 0.044261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-47_0_3_line_52 |  | 49 | 50 | 0.01069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-47_0_3_line_53 |  | 51 | 52 | 0.053678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-47_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 55 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2539452.0936 | 1181155.1959 | 2539452.4392 | 1181156.0058
1 | 2539444.6451 | 1181139.9944 | 2539449.2061 | 1181148.4308 | 2539452.0936 | 1181155.1959
2 | 2539456.1897 | 1181172.8739 | 2539457.6357 | 1181168.5902 | 2539454.7056 | 1181161.3157 | 2539452.4392 | 1181156.0058
3 | 2539444.6451 | 1181139.9944 | 2539437.7811 | 1181126.267
4 | 2539444.6451 | 1181139.9944 | 2539448.6887 | 1181138.0635 | 2539452.7465 | 1181145.838 | 2539457.5068 | 1181144.5446
5 | 2539444.5806 | 1181122.3074 | 2539441.2971 | 1181123.8748 | 2539448.6887 | 1181138.0635 | 2539444.6451 | 1181139.9944
6 | 2539456.1897 | 1181172.8739 | 2539454.0979 | 1181175.2186 | 2539451.7459 | 1181175.9984
7 | 2539437.7811 | 1181126.267 | 2539427.3187 | 1181105.3432
8 | 2539457.5068 | 1181144.5446 | 2539478.4003 | 1181137.816
9 | 2539444.5806 | 1181122.3074 | 2539437.5073 | 1181107.882
10 | 2539444.5806 | 1181122.3074 | 2539454.0004 | 1181117.3092 | 2539459.4351 | 1181121.5233 | 2539467.5192 | 1181117.3503 | 2539469.4602 | 1181114.4401 | 2539476.5996 | 1181110.6627
11 | 2539451.7459 | 1181175.9984 | 2539430.0141 | 1181183.2001 | 2539428.9636 | 1181183.5443 | 2539426.9245 | 1181184.3098 | 2539424.1757 | 1181185.127 | 2539409.5735 | 1181189.9637
12 | 2539424.5595 | 1181099.8251 | 2539427.3187 | 1181105.3432
13 | 2539583.6834 | 1181132.318 | 2539580.7696 | 1181122.0972
14 | 2539583.6834 | 1181132.318 | 2539556.1205 | 1181141.4459 | 2539549.9472 | 1181143.4872
15 | 2539549.3802 | 1181139.5352 | 2539549.9472 | 1181143.4872
16 | 2539549.9472 | 1181143.4872 | 2539543.6064 | 1181145.5858 | 2539538.6998 | 1181147.211
17 | 2539490.0398 | 1181134.0676 | 2539478.4003 | 1181137.816
18 | 2539393.7113 | 1181195.2103 | 2539398.0823 | 1181193.7627 | 2539400.3887 | 1181193.0056 | 2539404.5448 | 1181191.6294 | 2539409.5735 | 1181189.9637
19 | 2539503.6819 | 1181158.8078 | 2539503.1189 | 1181154.5 | 2539503.6796 | 1181150.2809 | 2539504.5195 | 1181147.2373 | 2539509.935 | 1181127.6605
20 | 2539503.6819 | 1181158.8078 | 2539510.6468 | 1181156.5028 | 2539538.6998 | 1181147.211
21 | 2539509.935 | 1181127.6605 | 2539490.0398 | 1181134.0676
22 | 2539437.5073 | 1181107.882 | 2539445.8902 | 1181103.8059 | 2539445.9925 | 1181103.9874
23 | 2539437.5073 | 1181107.882 | 2539422.469 | 1181077.201
24 | 2539476.5996 | 1181110.6627 | 2539488.6117 | 1181104.3074 | 2539489.7286 | 1181102.2163
25 | 2539495.947 | 1180978.5626 | 2539502.1641 | 1180977.0655 | 2539515.2608 | 1180976.8775 | 2539518.9441 | 1180976.3177
26 | 2539518.9441 | 1180976.3177 | 2539520.7434 | 1180988.8399 | 2539521.3624 | 1180999.4507 | 2539521.6401 | 1181004.2506 | 2539521.8537 | 1181008.0061
27 | 2539521.8537 | 1181008.0061 | 2539503.5659 | 1181013.7053 | 2539501.4478 | 1181014.2518
28 | 2539521.9863 | 1181012.0515 | 2539521.8537 | 1181008.0061
29 | 2539403.9956 | 1181039.4383 | 2539414.3358 | 1181060.5926
30 | 2539403.9956 | 1181039.4383 | 2539416.1485 | 1181034.5678
31 | 2539422.469 | 1181077.201 | 2539417.0436 | 1181066.1323 | 2539414.3358 | 1181060.5926
32 | 2539438.7738 | 1181015.3559 | 2539424.9676 | 1181020.5154 | 2539428.6412 | 1181029.561 | 2539416.1485 | 1181034.5678
33 | 2539549.3802 | 1181139.5352 | 2539549.2896 | 1181138.8802 | 2539550.5302 | 1181130.1405 | 2539552.4086 | 1181118.4961
34 | 2539207.9243 | 1181140.9064 | 2539214.7887 | 1181146.7511 | 2539221.4262 | 1181152.8204 | 2539229.7895 | 1181161.1179 | 2539240.1768 | 1181172.4299 | 2539249.4114 | 1181183.0532 | 2539253.3228 | 1181187.6716 | 2539255.8863 | 1181185.9113 | 2539278.9762 | 1181213.1923 | 2539290.8102 | 1181227.8582 | 2539293.3061 | 1181228.4554 | 2539297.7665 | 1181226.976
35 | 2539297.7665 | 1181226.976 | 2539307.2964 | 1181223.822 | 2539308.9026 | 1181223.2943 | 2539310.9044 | 1181222.6292 | 2539337.8045 | 1181213.7292 | 2539340.8416 | 1181212.7201 | 2539342.813 | 1181212.0664 | 2539361.5166 | 1181205.8723
36 | 2539207.9243 | 1181140.9064 | 2539245.9868 | 1181118.107
37 | 2539361.5166 | 1181205.8723 | 2539393.7113 | 1181195.2103
38 | 2539424.5595 | 1181099.8251 | 2539421.398 | 1181093.5024
39 | 2539395.1169 | 1181040.9427 | 2539406.4849 | 1181063.6775
40 | 2539406.4849 | 1181063.6775 | 2539408.1397 | 1181066.987
41 | 2539458.3756 | 1181090.0385 | 2539465.1614 | 1181103.2329 | 2539464.328 | 1181105.4092 | 2539450.2298 | 1181111.4997 | 2539445.9925 | 1181103.9874
42 | 2539490.4154 | 1181100.9304 | 2539489.7286 | 1181102.2163
43 | 2539557.9001 | 1181084.4528 | 2539561.8262 | 1181060.1144
44 | 2539557.9001 | 1181084.4528 | 2539552.4086 | 1181118.4961
45 | 2539521.9863 | 1181012.0515 | 2539534.0346 | 1181011.6739 | 2539536.7961 | 1181010.7972
46 | 2539521.9863 | 1181012.0515 | 2539522.2138 | 1181018.6862
47 | 2539421.398 | 1181093.5024 | 2539408.1397 | 1181066.987
48 | 2539518.3706 | 1181085.7516 | 2539510.4765 | 1181085.2978 | 2539498.8047 | 1181090.2748
49 | 2539518.3706 | 1181085.7516 | 2539520.1899 | 1181072.3146 | 2539520.973 | 1181062.8792
50 | 2539498.8047 | 1181090.2748 | 2539495.6549 | 1181091.6179 | 2539495.6549 | 1181091.6179
51 | 2539522.2138 | 1181018.6862 | 2539522.7182 | 1181032.311 | 2539522.1302 | 1181048.9374 | 2539520.973 | 1181062.8792
52 | 2539490.4154 | 1181100.9304 | 2539493.7161 | 1181094.7504 | 2539495.6549 | 1181091.6179
53 | 2539522.2138 | 1181018.6862 | 2539489.0338 | 1181020.7228 | 2539475.7165 | 1181019.479 | 2539470.2652 | 1181024.1924

## bus_geodata
| x | y | coords
0 | 2539452.0936 | 1181155.1959
1 | 2539452.4392 | 1181156.0058
2 | 2539444.6451 | 1181139.9944
3 | 2539456.1897 | 1181172.8739
4 | 2539437.7811 | 1181126.267
5 | 2539457.5068 | 1181144.5446
6 | 2539444.5806 | 1181122.3074
7 | 2539451.7459 | 1181175.9984
8 | 2539427.3187 | 1181105.3432
9 | 2539583.6834 | 1181132.318
10 | 2539580.7696 | 1181122.0972
11 | 2539549.9472 | 1181143.4872
12 | 2539478.4003 | 1181137.816
13 | 2539409.5735 | 1181189.9637
14 | 2539503.6819 | 1181158.8078
15 | 2539509.935 | 1181127.6605
16 | 2539538.6998 | 1181147.211
17 | 2539437.5073 | 1181107.882
18 | 2539476.5996 | 1181110.6627
19 | 2539518.9441 | 1180976.3177
20 | 2539495.947 | 1180978.5626
21 | 2539521.8537 | 1181008.0061
22 | 2539403.9956 | 1181039.4383
23 | 2539414.3358 | 1181060.5926
24 | 2539416.1485 | 1181034.5678
25 | 2539549.3802 | 1181139.5352
26 | 2539297.7665 | 1181226.976
27 | 2539207.9243 | 1181140.9064
28 | 2539361.5166 | 1181205.8723
29 | 2539245.9868 | 1181118.107
30 | 2539424.5595 | 1181099.8251
31 | 2539438.7738 | 1181015.3559
32 | 2539490.0398 | 1181134.0676
33 | 2539395.1169 | 1181040.9427
34 | 2539406.4849 | 1181063.6775
35 | 2539393.7113 | 1181195.2103
36 | 2539445.9925 | 1181103.9874
37 | 2539422.469 | 1181077.201
38 | 2539489.7286 | 1181102.2163
39 | 2539561.8262 | 1181060.1144
40 | 2539557.9001 | 1181084.4528
41 | 2539501.4478 | 1181014.2518
42 | 2539521.9863 | 1181012.0515
43 | 2539552.4086 | 1181118.4961
44 | 2539408.1397 | 1181066.987
45 | 2539421.398 | 1181093.5024
46 | 2539518.3706 | 1181085.7516
47 | 2539498.8047 | 1181090.2748
48 | 2539520.973 | 1181062.8792
49 | 2539490.4154 | 1181100.9304
50 | 2539495.6549 | 1181091.6179
51 | 2539522.2138 | 1181018.6862
52 | 2539470.2652 | 1181024.1924
53 | 2539536.7961 | 1181010.7972
54 | 2539458.3756 | 1181090.0385
55 | 2539437.5073 | 1181107.882

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1