## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-48_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-48_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-48_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-48_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-48_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-48_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5938-48_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5938-48_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5938-48_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5938-48_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5938-48_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_5938-48_0_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_5938-48_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_5938-48_0_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_5938-48_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_5938-48_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5938-48_0_3_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_5938-48_0_3_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_5938-48_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_5938-48_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5938-48_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5938-48_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5938-48_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_5938-48_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5938-48_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5938-48_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_5938-48_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5938-48_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5938-48_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_5938-48_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_5938-48_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_5938-48_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5938-48_0_3_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_5938-48_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_5938-48_0_3_node_10 | 0.4 | n |  | TRUE
35 | bus_LV_5938-48_0_3_node_11 | 0.4 | n |  | TRUE
36 | bus_LV_5938-48_0_3_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_5938-48_0_3_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_5938-48_0_3_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_5938-48_0_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_5938-48_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5938-48_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5938-48_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_5938-48_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_5938-48_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_5938-48_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_5938-48_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_5938-48_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5938-48_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5938-48_0_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_5938-48_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5938-48_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5938-48_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5938-48_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5938-48_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5938-48_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5938-48_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5938-48_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5938-48_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5938-48_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5938-48_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5938-48_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_5938-48_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_MV_455_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-48_0_3_load_0 | 0 | 0.0075817 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-48_0_3_load_1 | 1 | 0.0056712 | 0.0014213 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-48_0_3_load_2 | 2 | 0.0057322 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-48_0_3_load_3 | 3 | 0.0065334 | 0.0016374 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-48_0_3_load_4 | 4 | 0.0085079 | 0.0021323 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-48_0_3_load_5 | 5 | 0.0029943 | 0.00075044 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-48_0_3_load_8 | 6 | 0.0014096 | 0.00035329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-48_0_3_load_6 | 7 | 0.0098461 | 0.0024677 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-48_0_3_load_9 | 8 | 0.0057605 | 0.0014437 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-48_0_3_load_61 | 11 | 0.0041807 | 0.0010478 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-48_0_3_load_62 | 13 | 0.0091679 | 0.0022977 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-48_0_3_load_66 | 16 | 0.0050195 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-48_0_3_load_18 | 19 | 0.0059463 | 0.0014903 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-48_0_3_load_15 | 20 | 0.022028 | 0.0055208 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-48_0_3_load_35 | 22 | 0.00096096 | 0.00024084 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-48_0_3_load_32 | 24 | 0.0043391 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-48_0_3_load_31 | 25 | 0.012421 | 0.0031129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-48_0_3_load_36 | 28 | 0.007375 | 0.0018483 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-48_0_3_load_50 | 29 | 0.0040351 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-48_0_3_load_47 | 30 | 0.013562 | 0.0033988 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-48_0_3_load_57 | 32 | 0.0048556 | 0.0012169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-48_0_3_load_10 | 34 | 0.0042879 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-48_0_3_load_11 | 35 | 0.0014576 | 0.0003653 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-48_0_3_load_12 | 36 | 0.0029736 | 0.00074524 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-48_0_3_load_13 | 37 | 0.0013068 | 0.00032751 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-48_0_3_load_14 | 38 | 0.0016348 | 0.00040973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-48_0_3_load_63 | 39 | 0.0018631 | 0.00046694 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-48_0_3_load_34 | 40 | 0.0045139 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-48_0_3_load_37 | 41 | 0.0038639 | 0.00096838 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-48_0_3_load_56 | 42 | 0.0034664 | 0.00086875 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-48_0_3_load_48 | 43 | 0.012942 | 0.0032434 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-48_0_3_load_60 | 44 | 0.0053986 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-48_0_3_load_49 | 45 | 0.0064264 | 0.0016106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-48_0_3_load_58 | 46 | 0.0034512 | 0.00086495 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-48_0_3_load_41 | 47 | 0.013001 | 0.0032583 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-48_0_3_load_39 | 48 | 0.010372 | 0.0025994 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-48_0_3_load_64 | 49 | 0.002293 | 0.00057468 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-48_0_3_load_33 | 50 | 0.005431 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-48_0_3_load_38 | 51 | 0.003082 | 0.00077243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-48_0_3_load_52 | 52 | 0.0028415 | 0.00071216 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-48_0_3_load_51 | 53 | 0.002626 | 0.00065813 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-48_0_3_load_42 | 54 | 0.0019359 | 0.00048519 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-48_0_3_load_43 | 55 | 0.0022458 | 0.00056284 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-48_0_3_load_44 | 56 | 0.0065734 | 0.0016475 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-48_0_3_load_45 | 57 | 0.0056322 | 0.0014116 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-48_0_3_load_46 | 58 | 0.0085267 | 0.002137 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-48_0_3_load_54 | 59 | 0.0044864 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-48_0_3_load_53 | 60 | 0.017471 | 0.0043787 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-48_0_3_load_55 | 61 | 0.0079345 | 0.0019886 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-48_0_3_load_59 | 62 | 0.011098 | 0.0027813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-48_0_3_line_0 |  | 0 | 1 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-48_0_3_line_1 |  | 0 | 2 | 0.0075435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-48_0_3_line_2 |  | 1 | 3 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-48_0_3_line_3 |  | 2 | 4 | 0.0094184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-48_0_3_line_4 |  | 3 | 5 | 0.0003505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-48_0_3_line_5 |  | 4 | 6 | 0.0042786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-48_0_3_line_6 |  | 5 | 7 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-48_0_3_line_7 |  | 6 | 8 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-48_0_3_line_8 |  | 7 | 9 | 0.0076412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-48_0_3_line_9 |  | 9 | 10 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-48_0_3_line_10 |  | 9 | 11 | 0.0023245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-48_0_3_line_11 |  | 10 | 29 | 0.0057022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5938-48_0_3_line_12 |  | 10 | 30 | 0.0029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-48_0_3_line_13 |  | 11 | 12 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-48_0_3_line_14 |  | 12 | 13 | 0.0090955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-48_0_3_line_15 |  | 12 | 14 | 0.0088705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-48_0_3_line_16 |  | 13 | 39 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-48_0_3_line_17 |  | 14 | 19 | 0.0086261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-48_0_3_line_18 |  | 14 | 20 | 0.041737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-48_0_3_line_19 |  | 15 | 16 | 0.027449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-48_0_3_line_20 |  | 15 | 17 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-48_0_3_line_21 |  | 15 | 18 | 0.056618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-48_0_3_line_22 |  | 17 | 49 | 0.024595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-48_0_3_line_23 |  | 18 | 33 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-48_0_3_line_24 |  | 18 | 27 | 0.10787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-48_0_3_line_25 |  | 18 | 31 | 0.13902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-48_0_3_line_26 |  | 19 | 21 | 0.032697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-48_0_3_line_27 |  | 21 | 22 | 0.0066593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-48_0_3_line_28 |  | 22 | 40 | 0.014585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-48_0_3_line_29 |  | 23 | 24 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-48_0_3_line_30 |  | 23 | 25 | 0.02439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-48_0_3_line_31 |  | 25 | 26 | 0.00063689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-48_0_3_line_32 |  | 26 | 27 | 0.015346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-48_0_3_line_33 |  | 27 | 28 | 0.038176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-48_0_3_line_34 |  | 28 | 41 | 0.021726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-48_0_3_line_35 |  | 29 | 42 | 0.0004894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5938-48_0_3_line_36 |  | 30 | 43 | 0.010596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-48_0_3_line_37 |  | 31 | 32 | 0.12983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-48_0_3_line_38 |  | 32 | 46 | 0.0015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-48_0_3_line_39 |  | 33 | 47 | 0.028057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-48_0_3_line_40 |  | 33 | 48 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-48_0_3_line_41 |  | 34 | 35 | 0.0097022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-48_0_3_line_42 |  | 35 | 36 | 0.0073476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-48_0_3_line_43 |  | 36 | 37 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-48_0_3_line_44 |  | 37 | 38 | 0.002995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-48_0_3_line_45 |  | 38 | 39 | 0.0050517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-48_0_3_line_46 |  | 40 | 50 | 0.00074771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-48_0_3_line_47 |  | 41 | 51 | 0.0085668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-48_0_3_line_48 |  | 42 | 61 | 0.0061311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5938-48_0_3_line_49 |  | 43 | 45 | 0.0081371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-48_0_3_line_50 |  | 44 | 45 | 0.0068016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-48_0_3_line_51 |  | 46 | 62 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-48_0_3_line_52 |  | 51 | 52 | 0.0055392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-48_0_3_line_53 |  | 52 | 53 | 0.0032474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-48_0_3_line_54 |  | 53 | 58 | 0.0064764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-48_0_3_line_55 |  | 54 | 55 | 0.0043562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-48_0_3_line_56 |  | 54 | 56 | 0.0058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-48_0_3_line_57 |  | 55 | 57 | 0.0053309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-48_0_3_line_58 |  | 56 | 58 | 0.0083125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-48_0_3_line_59 |  | 57 | 59 | 0.0070727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-48_0_3_line_60 |  | 59 | 60 | 0.004976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5938-48_0_3_line_61 |  | 60 | 61 | 0.011041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-48_0_3_trafo_54 | 0.63 MVA 20/0.4 kV | 63 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2539307.7235 | 1181007.0502 | 2539318.4717 | 1181001.6245
1 | 2539307.7235 | 1181007.0502 | 2539300.9894 | 1181010.4496
2 | 2539318.4717 | 1181001.6245 | 2539321.9029 | 1180999.8924 | 2539328.2531 | 1180996.267
3 | 2539292.5815 | 1181014.6939 | 2539300.9894 | 1181010.4496
4 | 2539328.5574 | 1180996.0932 | 2539328.2531 | 1180996.267
5 | 2539292.5815 | 1181014.6939 | 2539288.762 | 1181016.622
6 | 2539328.5574 | 1180996.0932 | 2539339.6281 | 1180989.7727
7 | 2539288.762 | 1181016.622 | 2539276.8699 | 1181022.625
8 | 2539346.4346 | 1180986.3028 | 2539340.439 | 1180989.3097 | 2539339.6281 | 1180989.7727
9 | 2539339.6372 | 1180972.0081 | 2539342.8292 | 1180978.7239 | 2539346.4346 | 1180986.3028
10 | 2539346.4346 | 1180986.3028 | 2539348.5539 | 1180985.3477
11 | 2539339.6372 | 1180972.0081 | 2539344.867 | 1180969.7356
12 | 2539339.6372 | 1180972.0081 | 2539336.9531 | 1180973.2908
13 | 2539364.2565 | 1180978.3399 | 2539363.3435 | 1180978.6827 | 2539348.5539 | 1180985.3477
14 | 2539364.2565 | 1180978.3399 | 2539365.5364 | 1180981.7844 | 2539367.9608 | 1180986.633
15 | 2539364.2565 | 1180978.3399 | 2539367.2773 | 1180977.2198 | 2539372.4713 | 1180974.9992
16 | 2539367.9608 | 1180986.633 | 2539373.6039 | 1180997.9187
17 | 2539372.4713 | 1180974.9992 | 2539380.4435 | 1180971.7048
18 | 2539372.4713 | 1180974.9992 | 2539377.2964 | 1180986.1121 | 2539378.9909 | 1180986.762 | 2539380.0336 | 1180987.1628 | 2539392.0493 | 1181010.9953
19 | 2539404.3206 | 1180887.5942 | 2539399.2524 | 1180869.0684 | 2539397.0334 | 1180861.1309
20 | 2539397.0334 | 1180861.1309 | 2539382.4714 | 1180865.9811
21 | 2539397.0334 | 1180861.1309 | 2539435.467 | 1180848.3346 | 2539440.5063 | 1180845.9044 | 2539441.351 | 1180853.1444 | 2539441.8644 | 1180856.3299
22 | 2539380.7801 | 1180890.512 | 2539382.4714 | 1180865.9811
23 | 2539441.8644 | 1180856.3299 | 2539450.3467 | 1180863.5481 | 2539455.2041 | 1180869.5579
24 | 2539441.8644 | 1180856.3299 | 2539441.351 | 1180853.1444 | 2539440.5063 | 1180845.9044 | 2539443.6301 | 1180844.3942 | 2539448.7347 | 1180849.1674 | 2539459.4056 | 1180859.065 | 2539466.9993 | 1180867.5374 | 2539472.8008 | 1180876.2725 | 2539477.0355 | 1180884.1563 | 2539480.4426 | 1180892.5266 | 2539482.8721 | 1180901.6516 | 2539482.8953 | 1180906.9654 | 2539481.7669 | 1180911.6906 | 2539478.9476 | 1180916.1216 | 2539476.029 | 1180919.0417 | 2539472.898 | 1180920.5964
25 | 2539441.8644 | 1180856.3299 | 2539441.351 | 1180853.1444 | 2539440.5063 | 1180845.9044 | 2539443.6301 | 1180844.3942 | 2539435.4921 | 1180834.9713 | 2539429.713 | 1180828.4594 | 2539415.8273 | 1180815.6261 | 2539408.6162 | 1180810.2517 | 2539401.5994 | 1180805.9648 | 2539394.3893 | 1180802.2023 | 2539387.371 | 1180800.0277 | 2539383.0192 | 1180798.7044 | 2539379.2272 | 1180797.5866 | 2539347.4449 | 1180788.448 | 2539337.172 | 1180785.4393
26 | 2539410.5348 | 1180958.9158 | 2539408.7472 | 1180959.6343 | 2539387.006 | 1180968.993 | 2539380.4435 | 1180971.7048
27 | 2539410.5348 | 1180958.9158 | 2539413.1068 | 1180965.0583
28 | 2539418.7398 | 1180978.5116 | 2539413.1068 | 1180965.0583
29 | 2539454.0329 | 1180943.2333 | 2539458.9362 | 1180959.5298
30 | 2539454.0329 | 1180943.2333 | 2539458.531 | 1180941.6758 | 2539471.3404 | 1180937.2438 | 2539477.1143 | 1180935.3539
31 | 2539477.7196 | 1180935.1558 | 2539477.1143 | 1180935.3539
32 | 2539472.898 | 1180920.5964 | 2539474.9629 | 1180927.6573 | 2539477.7196 | 1180935.1558
33 | 2539472.898 | 1180920.5964 | 2539461.4306 | 1180924.0477 | 2539436.6112 | 1180932.441
34 | 2539436.6112 | 1180932.441 | 2539434.4549 | 1180933.1702 | 2539416.2286 | 1180939.9605
35 | 2539344.867 | 1180969.7356 | 2539345.3159 | 1180969.5406
36 | 2539336.9531 | 1180973.2908 | 2539327.3922 | 1180977.8597
37 | 2539337.172 | 1180785.4393 | 2539335.4238 | 1180807.3583 | 2539334.8057 | 1180825.4858 | 2539334.6548 | 1180830.946 | 2539334.5715 | 1180834.0263 | 2539334.7123 | 1180839.6169 | 2539334.9842 | 1180845.3396 | 2539337.4226 | 1180862.1021 | 2539337.6958 | 1180865.6902 | 2539337.3985 | 1180868.0057 | 2539336.2141 | 1180869.4629 | 2539334.6185 | 1180870.2796 | 2539331.8173 | 1180870.4636 | 2539331.0855 | 1180870.6045 | 2539323.1766 | 1180871.7408 | 2539324.8229 | 1180890.9683 | 2539325.3081 | 1180903.4148
38 | 2539325.3081 | 1180903.4148 | 2539324.6096 | 1180904.765
39 | 2539465.1344 | 1180893.0706 | 2539467.012 | 1180891.4285 | 2539467.1552 | 1180888.2252 | 2539462.1284 | 1180877.5479 | 2539455.2041 | 1180869.5579
40 | 2539455.2041 | 1180869.5579 | 2539455.8413 | 1180871.3858 | 2539455.8608 | 1180873.32 | 2539455.4479 | 1180874.7806 | 2539454.6897 | 1180876.089 | 2539453.6314 | 1180877.1669 | 2539452.341 | 1180877.9582 | 2539450.8942 | 1180878.3953 | 2539449.2986 | 1180878.4671 | 2539447.737 | 1180878.116 | 2539446.3241 | 1180877.3743
41 | 2539385.0018 | 1181020.7135 | 2539389.341 | 1181029.3914
42 | 2539385.0018 | 1181020.7135 | 2539381.7157 | 1181014.1417
43 | 2539377.2026 | 1181005.1158 | 2539381.7157 | 1181014.1417
44 | 2539377.2026 | 1181005.1158 | 2539375.8632 | 1181002.4371
45 | 2539373.6039 | 1180997.9187 | 2539375.8632 | 1181002.4371
46 | 2539419.0286 | 1180979.2013 | 2539418.7398 | 1180978.5116
47 | 2539416.2286 | 1180939.9605 | 2539408.2008 | 1180942.9513
48 | 2539350.9391 | 1180967.0971 | 2539345.3159 | 1180969.5406
49 | 2539327.3922 | 1180977.8597 | 2539324.3064 | 1180979.3343 | 2539320.0323 | 1180981.33
50 | 2539320.0323 | 1180981.33 | 2539313.8694 | 1180984.2076
51 | 2539322.3708 | 1180915.0178 | 2539323.1283 | 1180907.6282 | 2539324.6096 | 1180904.765
52 | 2539403.0101 | 1180944.8851 | 2539408.2008 | 1180942.9513
53 | 2539400.0041 | 1180946.1123 | 2539402.2461 | 1180945.1697 | 2539403.0101 | 1180944.8851
54 | 2539394.0339 | 1180948.6223 | 2539400.0041 | 1180946.1123
55 | 2539381.0244 | 1180954.0918 | 2539377.0086 | 1180955.7801
56 | 2539381.0244 | 1180954.0918 | 2539386.3711 | 1180951.8439
57 | 2539377.0086 | 1180955.7801 | 2539374.6618 | 1180956.7668 | 2539372.1085 | 1180957.8791
58 | 2539394.0339 | 1180948.6223 | 2539386.3711 | 1180951.8439
59 | 2539365.6243 | 1180960.7038 | 2539372.1085 | 1180957.8791
60 | 2539361.0625 | 1180962.6911 | 2539365.6243 | 1180960.7038
61 | 2539361.0625 | 1180962.6911 | 2539354.6478 | 1180965.4856 | 2539350.9391 | 1180967.0971

## bus_geodata
| x | y | coords
0 | 2539307.7235 | 1181007.0502
1 | 2539318.4717 | 1181001.6245
2 | 2539300.9894 | 1181010.4496
3 | 2539328.2531 | 1180996.267
4 | 2539292.5815 | 1181014.6939
5 | 2539328.5574 | 1180996.0932
6 | 2539288.762 | 1181016.622
7 | 2539339.6281 | 1180989.7727
8 | 2539276.8699 | 1181022.625
9 | 2539346.4346 | 1180986.3028
10 | 2539339.6372 | 1180972.0081
11 | 2539348.5539 | 1180985.3477
12 | 2539364.2565 | 1180978.3399
13 | 2539367.9608 | 1180986.633
14 | 2539372.4713 | 1180974.9992
15 | 2539397.0334 | 1180861.1309
16 | 2539404.3206 | 1180887.5942
17 | 2539382.4714 | 1180865.9811
18 | 2539441.8644 | 1180856.3299
19 | 2539380.4435 | 1180971.7048
20 | 2539392.0493 | 1181010.9953
21 | 2539410.5348 | 1180958.9158
22 | 2539413.1068 | 1180965.0583
23 | 2539454.0329 | 1180943.2333
24 | 2539458.9362 | 1180959.5298
25 | 2539477.1143 | 1180935.3539
26 | 2539477.7196 | 1180935.1558
27 | 2539472.898 | 1180920.5964
28 | 2539436.6112 | 1180932.441
29 | 2539344.867 | 1180969.7356
30 | 2539336.9531 | 1180973.2908
31 | 2539337.172 | 1180785.4393
32 | 2539325.3081 | 1180903.4148
33 | 2539455.2041 | 1180869.5579
34 | 2539389.341 | 1181029.3914
35 | 2539385.0018 | 1181020.7135
36 | 2539381.7157 | 1181014.1417
37 | 2539377.2026 | 1181005.1158
38 | 2539375.8632 | 1181002.4371
39 | 2539373.6039 | 1180997.9187
40 | 2539418.7398 | 1180978.5116
41 | 2539416.2286 | 1180939.9605
42 | 2539345.3159 | 1180969.5406
43 | 2539327.3922 | 1180977.8597
44 | 2539313.8694 | 1180984.2076
45 | 2539320.0323 | 1180981.33
46 | 2539324.6096 | 1180904.765
47 | 2539465.1344 | 1180893.0706
48 | 2539446.3241 | 1180877.3743
49 | 2539380.7801 | 1180890.512
50 | 2539419.0286 | 1180979.2013
51 | 2539408.2008 | 1180942.9513
52 | 2539403.0101 | 1180944.8851
53 | 2539400.0041 | 1180946.1123
54 | 2539381.0244 | 1180954.0918
55 | 2539377.0086 | 1180955.7801
56 | 2539386.3711 | 1180951.8439
57 | 2539372.1085 | 1180957.8791
58 | 2539394.0339 | 1180948.6223
59 | 2539365.6243 | 1180960.7038
60 | 2539361.0625 | 1180962.6911
61 | 2539350.9391 | 1180967.0971
62 | 2539322.3708 | 1180915.0178
63 | 2539339.6372 | 1180972.0081

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1