## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-4_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5938-4_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_5938-4_0_3_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_5938-4_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5938-4_0_3_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_5938-4_0_3_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_5938-4_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5938-4_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5938-4_0_3_node_85 | 0.4 | n |  | TRUE
12 | bus_LV_5938-4_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5938-4_0_3_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_5938-4_0_3_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5938-4_0_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_5938-4_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5938-4_0_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_5938-4_0_3_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_5938-4_0_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_5938-4_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5938-4_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5938-4_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5938-4_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5938-4_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5938-4_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5938-4_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5938-4_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5938-4_0_3_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_5938-4_0_3_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_5938-4_0_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_5938-4_0_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_5938-4_0_3_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_5938-4_0_3_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_5938-4_0_3_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_5938-4_0_3_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_5938-4_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5938-4_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5938-4_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5938-4_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5938-4_0_3_node_15 | 0.4 | n |  | TRUE
41 | bus_LV_5938-4_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5938-4_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5938-4_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_5938-4_0_3_node_14 | 0.4 | n |  | TRUE
45 | bus_LV_5938-4_0_3_node_16 | 0.4 | n |  | TRUE
46 | bus_LV_5938-4_0_3_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_5938-4_0_3_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_5938-4_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5938-4_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5938-4_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5938-4_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5938-4_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5938-4_0_3_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_5938-4_0_3_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_5938-4_0_3_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_5938-4_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_5938-4_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5938-4_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5938-4_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5938-4_0_3_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5938-4_0_3_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5938-4_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_5938-4_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5938-4_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5938-4_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5938-4_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5938-4_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5938-4_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5938-4_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5938-4_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_5938-4_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5938-4_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5938-4_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_5938-4_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_5938-4_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_5938-4_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5938-4_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5938-4_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5938-4_0_3_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5938-4_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_5938-4_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5938-4_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5938-4_0_3_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_5938-4_0_3_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_5938-4_0_3_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_455_0_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-4_0_3_load_0 | 0 | 0.0027341 | 0.00068523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-4_0_3_load_73 | 5 | 0.00028476 | 7.1367e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-4_0_3_load_71 | 7 | 0.0061439 | 0.0015398 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-4_0_3_load_74 | 8 | 0.0095498 | 0.0023934 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-4_0_3_load_85 | 11 | 0.0026236 | 0.00065753 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-4_0_3_load_61 | 13 | 0.0011889 | 0.00029797 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-4_0_3_load_80 | 15 | 0.0010769 | 0.00026989 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-4_0_3_load_76 | 17 | 0.0011116 | 0.00027861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-4_0_3_load_84 | 18 | 0.0015984 | 0.0004006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-4_0_3_load_83 | 19 | 0.0016995 | 0.00042594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-4_0_3_load_26 | 21 | 0.0015035 | 0.00037681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-4_0_3_load_23 | 23 | 0.0015959 | 0.00039998 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-4_0_3_load_28 | 25 | 0.0024051 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-4_0_3_load_17 | 26 | 0.0023922 | 0.00059954 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-4_0_3_load_20 | 27 | 0.0024859 | 0.00062303 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-4_0_3_load_72 | 28 | 0.0026835 | 0.00067256 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-4_0_3_load_75 | 29 | 0.0018672 | 0.00046797 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-4_0_3_load_59 | 30 | 0.0010935 | 0.00027405 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-4_0_3_load_87 | 31 | 0.0011306 | 0.00028336 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-4_0_3_load_81 | 32 | 0.001082 | 0.00027117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-4_0_3_load_77 | 33 | 0.0011088 | 0.00027788 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-4_0_3_load_69 | 34 | 0.0016948 | 0.00042475 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-4_0_3_load_82 | 35 | 0.0029201 | 0.00073185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-4_0_3_load_27 | 36 | 0.0029379 | 0.00073632 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-4_0_3_load_24 | 37 | 0.001714 | 0.00042956 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-4_0_3_load_35 | 38 | 0.0021514 | 0.00053918 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-4_0_3_load_33 | 39 | 0.0025215 | 0.00063195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-4_0_3_load_15 | 40 | 0.0018346 | 0.00045979 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-4_0_3_load_21 | 41 | 0.0026516 | 0.00066456 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-4_0_3_load_44 | 42 | 0.0037455 | 0.00093871 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-4_0_3_load_22 | 43 | 0.0052488 | 0.0013155 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-4_0_3_load_14 | 44 | 0.0013603 | 0.00034093 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-4_0_3_load_18 | 46 | 0.0024645 | 0.00061766 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-4_0_3_load_19 | 47 | 0.002931 | 0.00073457 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-4_0_3_load_42 | 50 | 0.0026635 | 0.00066753 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-4_0_3_load_46 | 51 | 0.0034018 | 0.00085257 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-4_0_3_load_47 | 52 | 0.0023949 | 0.00060022 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-4_0_3_load_25 | 53 | 0.0022829 | 0.00057214 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-4_0_3_load_30 | 55 | 0.0028343 | 0.00071035 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-4_0_3_load_31 | 56 | 0.0021781 | 0.00054588 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-4_0_3_load_36 | 57 | 0.0021349 | 0.00053505 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-4_0_3_load_40 | 58 | 0.0060119 | 0.0015067 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-4_0_3_load_34 | 61 | 0.0018056 | 0.00045254 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-4_0_3_load_39 | 62 | 0.0029323 | 0.00073489 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-4_0_3_load_43 | 63 | 0.0020562 | 0.00051533 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-4_0_3_load_48 | 64 | 0.0017029 | 0.0004268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-4_0_3_load_49 | 65 | 0.0011389 | 0.00028543 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-4_0_3_load_50 | 66 | 0.001116 | 0.0002797 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-4_0_3_load_51 | 67 | 0.0012384 | 0.00031036 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-4_0_3_load_52 | 68 | 0.0010365 | 0.00025978 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-4_0_3_load_53 | 69 | 0.001136 | 0.00028472 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-4_0_3_load_56 | 70 | 0.0010521 | 0.00026368 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-4_0_3_load_54 | 71 | 0.0011839 | 0.00029672 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-4_0_3_load_68 | 72 | 0.0010911 | 0.00027347 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-4_0_3_load_55 | 73 | 0.0011305 | 0.00028334 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-4_0_3_load_57 | 74 | 0.0011833 | 0.00029656 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-4_0_3_load_70 | 75 | 0.0011589 | 0.00029045 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5938-4_0_3_load_58 | 76 | 0.0011269 | 0.00028242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5938-4_0_3_load_60 | 77 | 0.0023127 | 0.00057962 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5938-4_0_3_load_62 | 78 | 0.0017232 | 0.00043189 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5938-4_0_3_load_63 | 79 | 0.002063 | 0.00051703 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5938-4_0_3_load_64 | 80 | 0.0030847 | 0.00077311 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5938-4_0_3_load_65 | 81 | 0.0015119 | 0.00037892 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5938-4_0_3_load_66 | 82 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5938-4_0_3_load_67 | 83 | 0.0014269 | 0.00035761 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5938-4_0_3_load_78 | 84 | 0.0011754 | 0.00029458 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5938-4_0_3_load_86 | 85 | 0.0022141 | 0.00055491 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-4_0_3_line_0 |  | 0 | 1 | 0.0044667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-4_0_3_line_1 |  | 1 | 2 | 0.050585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-4_0_3_line_2 |  | 1 | 3 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-4_0_3_line_3 |  | 2 | 4 | 0.28115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-4_0_3_line_4 |  | 2 | 5 | 0.033586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-4_0_3_line_5 |  | 3 | 8 | 0.0333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-4_0_3_line_6 |  | 4 | 24 | 0.02923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-4_0_3_line_7 |  | 4 | 25 | 0.030689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-4_0_3_line_8 |  | 4 | 16 | 0.29145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-4_0_3_line_9 |  | 5 | 6 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-4_0_3_line_10 |  | 6 | 7 | 0.04431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-4_0_3_line_11 |  | 7 | 28 | 0.0058437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-4_0_3_line_12 |  | 8 | 29 | 0.049865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-4_0_3_line_13 |  | 9 | 10 | 0.037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-4_0_3_line_14 |  | 9 | 11 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-4_0_3_line_15 |  | 10 | 18 | 0.021716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-4_0_3_line_16 |  | 10 | 19 | 0.025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-4_0_3_line_17 |  | 12 | 13 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-4_0_3_line_18 |  | 12 | 14 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-4_0_3_line_19 |  | 12 | 15 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-4_0_3_line_20 |  | 13 | 30 | 0.0032854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-4_0_3_line_21 |  | 14 | 31 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-4_0_3_line_22 |  | 14 | 16 | 0.026618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-4_0_3_line_23 |  | 15 | 32 | 0.0032076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-4_0_3_line_24 |  | 16 | 17 | 0.019918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-4_0_3_line_25 |  | 17 | 33 | 0.0040382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-4_0_3_line_26 |  | 18 | 34 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-4_0_3_line_27 |  | 19 | 35 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-4_0_3_line_28 |  | 20 | 21 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-4_0_3_line_29 |  | 20 | 22 | 0.067006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-4_0_3_line_30 |  | 20 | 23 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-4_0_3_line_31 |  | 21 | 36 | 0.039672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-4_0_3_line_32 |  | 22 | 26 | 0.025121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-4_0_3_line_33 |  | 22 | 27 | 0.021266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-4_0_3_line_34 |  | 23 | 37 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-4_0_3_line_35 |  | 24 | 38 | 0.041354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-4_0_3_line_36 |  | 24 | 39 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-4_0_3_line_37 |  | 25 | 36 | 0.040757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-4_0_3_line_38 |  | 26 | 40 | 0.014982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-4_0_3_line_39 |  | 27 | 41 | 0.057145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-4_0_3_line_40 |  | 30 | 76 | 0.0056502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-4_0_3_line_41 |  | 31 | 74 | 0.0090097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-4_0_3_line_42 |  | 32 | 35 | 0.030899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-4_0_3_line_43 |  | 33 | 84 | 0.0072047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-4_0_3_line_44 |  | 34 | 83 | 0.023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-4_0_3_line_45 |  | 37 | 53 | 0.0074053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-4_0_3_line_46 |  | 38 | 60 | 0.020144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-4_0_3_line_47 |  | 39 | 61 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-4_0_3_line_48 |  | 40 | 44 | 0.024809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-4_0_3_line_49 |  | 41 | 43 | 0.043958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-4_0_3_line_50 |  | 42 | 43 | 0.045089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-4_0_3_line_51 |  | 44 | 45 | 0.022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-4_0_3_line_52 |  | 45 | 46 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-4_0_3_line_53 |  | 45 | 47 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-4_0_3_line_54 |  | 46 | 48 | 0.022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-4_0_3_line_55 |  | 47 | 49 | 0.013142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-4_0_3_line_56 |  | 48 | 50 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-4_0_3_line_57 |  | 49 | 51 | 0.011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-4_0_3_line_58 |  | 49 | 52 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-4_0_3_line_59 |  | 53 | 54 | 0.0081593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-4_0_3_line_60 |  | 54 | 55 | 0.022368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-4_0_3_line_61 |  | 54 | 56 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-4_0_3_line_62 |  | 55 | 57 | 0.028072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-4_0_3_line_63 |  | 56 | 58 | 0.027397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-4_0_3_line_64 |  | 57 | 59 | 0.018545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-4_0_3_line_65 |  | 59 | 63 | 0.047854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-4_0_3_line_66 |  | 60 | 62 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-4_0_3_line_67 |  | 62 | 64 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-4_0_3_line_68 |  | 65 | 66 | 0.0059076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-4_0_3_line_69 |  | 65 | 67 | 0.024175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-4_0_3_line_70 |  | 66 | 68 | 0.025355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-4_0_3_line_71 |  | 67 | 69 | 0.001821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-4_0_3_line_72 |  | 68 | 70 | 0.0081076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-4_0_3_line_73 |  | 69 | 71 | 0.0044834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-4_0_3_line_74 |  | 70 | 72 | 0.00011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-4_0_3_line_75 |  | 71 | 73 | 0.0090072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-4_0_3_line_76 |  | 72 | 75 | 0.0033524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-4_0_3_line_77 |  | 73 | 74 | 0.011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-4_0_3_line_78 |  | 76 | 77 | 0.0015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-4_0_3_line_79 |  | 78 | 79 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-4_0_3_line_80 |  | 78 | 80 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-4_0_3_line_81 |  | 79 | 81 | 0.0093941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-4_0_3_line_82 |  | 81 | 82 | 0.0044228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-4_0_3_line_83 |  | 82 | 83 | 0.0027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-4_0_3_line_84 |  | 84 | 85 | 0.0036562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-4_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 86 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2540505.0295 | 1181201.8806 | 2540502.2597 | 1181205.3848
1 | 2540505.0295 | 1181201.8806 | 2540514.6686 | 1181189.6779 | 2540528.8558 | 1181171.7157 | 2540535.2293 | 1181163.659 | 2540536.3909 | 1181162.1911
2 | 2540490.6462 | 1181213.9415 | 2540498.7536 | 1181203.6106 | 2540502.276 | 1181199.1731 | 2540503.5257 | 1181200.417 | 2540505.0295 | 1181201.8806
3 | 2540536.3909 | 1181162.1911 | 2540499.4826 | 1181133.3418 | 2540493.1695 | 1181128.2795 | 2540474.0199 | 1181112.6724 | 2540461.4401 | 1181102.603 | 2540473.7531 | 1181095.8434 | 2540483.2988 | 1181091.1235 | 2540492.3473 | 1181087.098 | 2540500.6322 | 1181084.6142 | 2540510.3832 | 1181082.8718 | 2540519.5403 | 1181082.0803 | 2540532.7523 | 1181081.9934 | 2540540.0451 | 1181082.6657 | 2540548.1873 | 1181084.2635 | 2540559.492 | 1181087.4641 | 2540570.9782 | 1181092.0192 | 2540584.0323 | 1181098.3376 | 2540590.1248 | 1181101.9569 | 2540601.5164 | 1181109.2923 | 2540604.9231 | 1181107.035 | 2540608.1785 | 1181104.9126 | 2540611.1541 | 1181103.071 | 2540614.4783 | 1181101.7261 | 2540618.7191 | 1181100.3833 | 2540623.7502 | 1181099.4217 | 2540623.5187 | 1181095.3328 | 2540629.7207 | 1181094.6042
4 | 2540536.3909 | 1181162.1911 | 2540562.7663 | 1181182.9844
5 | 2540490.6462 | 1181213.9415 | 2540516.9017 | 1181234.4242
6 | 2540625.7596 | 1181065.6495 | 2540629.7207 | 1181094.6042
7 | 2540629.7207 | 1181094.6042 | 2540637.2043 | 1181093.7183 | 2540660.1603 | 1181090.6995
8 | 2540629.7207 | 1181094.6042 | 2540623.5187 | 1181095.3328 | 2540623.7502 | 1181099.4217 | 2540624.0282 | 1181104.3439 | 2540624.3358 | 1181108.3987 | 2540624.4486 | 1181110.5321 | 2540624.9413 | 1181112.4616 | 2540626.1163 | 1181114.6512 | 2540627.8921 | 1181116.5791 | 2540637.605 | 1181124.854 | 2540680.925 | 1181161.8674 | 2540705.4178 | 1181183.4033 | 2540720.7871 | 1181196.803 | 2540729.6069 | 1181204.3754 | 2540735.3897 | 1181209.1319 | 2540744.398 | 1181215.6908 | 2540756.9161 | 1181222.693 | 2540771.8714 | 1181230.5493 | 2540779.0985 | 1181233.8574 | 2540797.5411 | 1181240.6565 | 2540815.2985 | 1181246.9065 | 2540816.2815 | 1181248.2198 | 2540817.4035 | 1181249.6984 | 2540819.2959 | 1181251.0804 | 2540828.8039 | 1181256.445 | 2540830.1272 | 1181257.4213 | 2540830.8933 | 1181258.4365 | 2540831.1556 | 1181259.4678 | 2540831.1515 | 1181259.8236 | 2540831.9847 | 1181264.5291 | 2540833.0851 | 1181270.7773
9 | 2540571.4153 | 1181189.803 | 2540562.7663 | 1181182.9844
10 | 2540571.4153 | 1181189.803 | 2540551.6522 | 1181215.3914 | 2540542.2516 | 1181207.968
11 | 2540537.6654 | 1181204.3465 | 2540542.2516 | 1181207.968
12 | 2540516.9017 | 1181234.4242 | 2540556.2175 | 1181265.0958
13 | 2540975.0648 | 1181326.0726 | 2540980.938 | 1181328.416 | 2540996.0275 | 1181335.2266 | 2541007.5529 | 1181340.7382 | 2541008.4566 | 1181342.5414
14 | 2541008.4566 | 1181342.5414 | 2540999.9718 | 1181351.8414 | 2540995.8916 | 1181357.0782
15 | 2540975.0648 | 1181326.0726 | 2540971.5002 | 1181330.1323 | 2540967.0671 | 1181335.19 | 2540965.8663 | 1181336.5581 | 2540960.3396 | 1181342.0159
16 | 2540975.0648 | 1181326.0726 | 2540967.3668 | 1181323.0024 | 2540951.6414 | 1181316.7393
17 | 2540882.9408 | 1181290.8402 | 2540869.5106 | 1181304.6256
18 | 2540857.8218 | 1181280.7828 | 2540882.9408 | 1181290.8402
19 | 2540882.9408 | 1181290.8402 | 2540890.5624 | 1181293.8999 | 2540892.0274 | 1181292.9961 | 2540899.456 | 1181295.9548
20 | 2540867.218 | 1181306.9789 | 2540869.5106 | 1181304.6256
21 | 2540857.8218 | 1181280.7828 | 2540856.5645 | 1181281.8403 | 2540851.1447 | 1181282.8833 | 2540848.5875 | 1181284.554 | 2540841.7565 | 1181291.3209
22 | 2540857.8218 | 1181280.7828 | 2540833.0851 | 1181270.7773
23 | 2540899.456 | 1181295.9548 | 2540902.436 | 1181297.1416
24 | 2540833.0851 | 1181270.7773 | 2540814.6173 | 1181263.3154
25 | 2540814.6173 | 1181263.3154 | 2540810.8732 | 1181261.8026
26 | 2540951.3681 | 1181350.8699 | 2540957.6902 | 1181344.6322 | 2540960.3396 | 1181342.0159
27 | 2540951.6414 | 1181316.7393 | 2540931.1418 | 1181308.5746
28 | 2540759.6719 | 1181077.6178 | 2540752.1358 | 1181078.6041 | 2540739.9031 | 1181080.2128
29 | 2540759.6719 | 1181077.6178 | 2540769.8622 | 1181076.2717 | 2540805.3768 | 1181071.6733 | 2540822.0206 | 1181069.5296 | 2540826.133 | 1181069.0998
30 | 2540759.6719 | 1181077.6178 | 2540757.1169 | 1181070.2723 | 2540753.2957 | 1181058.8565
31 | 2540700.5696 | 1181085.3854 | 2540739.9031 | 1181080.2128
32 | 2540826.133 | 1181069.0998 | 2540823.3796 | 1181060.9892 | 2540818.3337 | 1181045.2208
33 | 2540826.133 | 1181069.0998 | 2540831.0265 | 1181067.3394 | 2540839.0793 | 1181064.5471 | 2540845.8908 | 1181061.3091
34 | 2540753.2957 | 1181058.8565 | 2540746.4682 | 1181038.46 | 2540744.5849 | 1181032.9549
35 | 2540625.7596 | 1181065.6495 | 2540620.1451 | 1181024.6781
36 | 2540625.7596 | 1181065.6495 | 2540639.0414 | 1181064.1251
37 | 2540700.5696 | 1181085.3854 | 2540660.1603 | 1181090.6995
38 | 2540818.3337 | 1181045.2208 | 2540817.1061 | 1181041.3847 | 2540813.5446 | 1181031.0253
39 | 2540845.8908 | 1181061.3091 | 2540849.6838 | 1181059.5061 | 2540858.5808 | 1181053.2591 | 2540875.6745 | 1181038.682 | 2540886.0633 | 1181025.7276 | 2540887.2583 | 1181022.9718
40 | 2540863.2752 | 1181311.026 | 2540867.218 | 1181306.9789
41 | 2540835.3558 | 1181297.6616 | 2540841.7565 | 1181291.3209
42 | 2540931.1418 | 1181308.5746 | 2540902.436 | 1181297.1416
43 | 2540810.8732 | 1181261.8026 | 2540804.1932 | 1181259.1035
44 | 2540951.3681 | 1181350.8699 | 2540949.4612 | 1181352.7513 | 2540938.9329 | 1181363.1388 | 2540934.3829 | 1181367.3823
45 | 2540744.5849 | 1181032.9549 | 2540742.1878 | 1181025.9483
46 | 2540617.4102 | 1181004.7205 | 2540620.1451 | 1181024.6781
47 | 2540653.0097 | 1181062.5219 | 2540639.0414 | 1181064.1251
48 | 2540805.6497 | 1181007.5064 | 2540809.4231 | 1181019.0371 | 2540813.5446 | 1181031.0253
49 | 2540887.2583 | 1181022.9718 | 2540893.6352 | 1181008.2653 | 2540897.8345 | 1180994.216 | 2540899.1016 | 1180984.8649 | 2540899.0313 | 1180981.0369
50 | 2540899.0313 | 1180981.0369 | 2540898.8037 | 1180968.6365 | 2540896.8684 | 1180936.0071
51 | 2540798.7907 | 1180986.5463 | 2540805.6497 | 1181007.5064
52 | 2540798.7907 | 1180986.5463 | 2540794.1392 | 1180973.0435
53 | 2540798.7907 | 1180986.5463 | 2540818.7409 | 1180979.5749
54 | 2540786.9167 | 1180952.0779 | 2540794.1392 | 1180973.0435
55 | 2540831.3871 | 1180976.4182 | 2540829.1498 | 1180976.4737 | 2540826.785 | 1180976.7639 | 2540818.7409 | 1180979.5749
56 | 2540786.9167 | 1180952.0779 | 2540807.2674 | 1180945.4595
57 | 2540831.3871 | 1180976.4182 | 2540836.5792 | 1180966.239
58 | 2540831.3871 | 1180976.4182 | 2540834.0559 | 1180976.7476 | 2540836.2068 | 1180977.2266 | 2540845.8472 | 1180981.2669
59 | 2540739.5467 | 1181018.2283 | 2540742.1878 | 1181025.9483
60 | 2540739.5467 | 1181018.2283 | 2540734.8408 | 1181004.2337 | 2540732.3555 | 1180997.0481
61 | 2540739.5467 | 1181018.2283 | 2540722.7689 | 1181022.337
62 | 2540732.3555 | 1180997.0481 | 2540723.1795 | 1180970.5181
63 | 2540696.0682 | 1181028.4537 | 2540706.3809 | 1181026.3503 | 2540722.7689 | 1181022.337
64 | 2540717.1177 | 1180952.9917 | 2540723.1795 | 1180970.5181
65 | 2540717.1177 | 1180952.9917 | 2540687.9735 | 1180963.1084 | 2540671.9094 | 1180969.0488
66 | 2540617.4102 | 1181004.7205 | 2540635.7823 | 1181002.4343
67 | 2540648.7696 | 1181000.8183 | 2540635.7823 | 1181002.4343
68 | 2540836.5204 | 1181321.5387 | 2540840.6739 | 1181325.7396
69 | 2540836.5204 | 1181321.5387 | 2540828.4431 | 1181313.3693 | 2540824.9862 | 1181310.5575 | 2540818.9007 | 1181316.0985 | 2540818.9007 | 1181316.0985
70 | 2540840.6739 | 1181325.7396 | 2540844.9673 | 1181330.0819 | 2540848.613 | 1181337.3166 | 2540846.1379 | 1181340.3316 | 2540851.1417 | 1181345.5731
71 | 2540817.5294 | 1181314.9003 | 2540818.9007 | 1181316.0985
72 | 2540851.1417 | 1181345.5731 | 2540856.7403 | 1181351.4374
73 | 2540817.5294 | 1181314.9003 | 2540817.5294 | 1181314.9003 | 2540820.7731 | 1181311.8053
74 | 2540856.8185 | 1181351.5193 | 2540856.7403 | 1181351.4374
75 | 2540820.7731 | 1181311.8053 | 2540827.2897 | 1181305.5872
76 | 2540859.1334 | 1181353.9441 | 2540856.8185 | 1181351.5193
77 | 2540835.3558 | 1181297.6616 | 2540829.0672 | 1181303.8911 | 2540827.2897 | 1181305.5872
78 | 2540862.1949 | 1181312.1349 | 2540863.2752 | 1181311.026
79 | 2540906.1756 | 1181370.8563 | 2540914.9909 | 1181375.5377 | 2540919.1459 | 1181377.1309 | 2540921.3963 | 1181377.1598
80 | 2540897.0488 | 1181366.0096 | 2540906.1756 | 1181370.8563
81 | 2540929.1382 | 1181372.2735 | 2540926.704 | 1181374.5437 | 2540924.7114 | 1181376.1532 | 2540922.079 | 1181377.1686 | 2540921.3963 | 1181377.1598
82 | 2540929.1382 | 1181372.2735 | 2540932.3727 | 1181369.257
83 | 2540932.3727 | 1181369.257 | 2540934.3829 | 1181367.3823
84 | 2540800.8033 | 1181257.7338 | 2540804.1932 | 1181259.1035

## bus_geodata
| x | y | coords
0 | 2540502.2597 | 1181205.3848
1 | 2540505.0295 | 1181201.8806
2 | 2540536.3909 | 1181162.1911
3 | 2540490.6462 | 1181213.9415
4 | 2540629.7207 | 1181094.6042
5 | 2540562.7663 | 1181182.9844
6 | 2540571.4153 | 1181189.803
7 | 2540542.2516 | 1181207.968
8 | 2540516.9017 | 1181234.4242
9 | 2541008.4566 | 1181342.5414
10 | 2540975.0648 | 1181326.0726
11 | 2540995.8916 | 1181357.0782
12 | 2540882.9408 | 1181290.8402
13 | 2540869.5106 | 1181304.6256
14 | 2540857.8218 | 1181280.7828
15 | 2540899.456 | 1181295.9548
16 | 2540833.0851 | 1181270.7773
17 | 2540814.6173 | 1181263.3154
18 | 2540960.3396 | 1181342.0159
19 | 2540951.6414 | 1181316.7393
20 | 2540759.6719 | 1181077.6178
21 | 2540739.9031 | 1181080.2128
22 | 2540826.133 | 1181069.0998
23 | 2540753.2957 | 1181058.8565
24 | 2540625.7596 | 1181065.6495
25 | 2540660.1603 | 1181090.6995
26 | 2540818.3337 | 1181045.2208
27 | 2540845.8908 | 1181061.3091
28 | 2540537.6654 | 1181204.3465
29 | 2540556.2175 | 1181265.0958
30 | 2540867.218 | 1181306.9789
31 | 2540841.7565 | 1181291.3209
32 | 2540902.436 | 1181297.1416
33 | 2540810.8732 | 1181261.8026
34 | 2540951.3681 | 1181350.8699
35 | 2540931.1418 | 1181308.5746
36 | 2540700.5696 | 1181085.3854
37 | 2540744.5849 | 1181032.9549
38 | 2540620.1451 | 1181024.6781
39 | 2540639.0414 | 1181064.1251
40 | 2540813.5446 | 1181031.0253
41 | 2540887.2583 | 1181022.9718
42 | 2540896.8684 | 1180936.0071
43 | 2540899.0313 | 1180981.0369
44 | 2540805.6497 | 1181007.5064
45 | 2540798.7907 | 1180986.5463
46 | 2540794.1392 | 1180973.0435
47 | 2540818.7409 | 1180979.5749
48 | 2540786.9167 | 1180952.0779
49 | 2540831.3871 | 1180976.4182
50 | 2540807.2674 | 1180945.4595
51 | 2540836.5792 | 1180966.239
52 | 2540845.8472 | 1180981.2669
53 | 2540742.1878 | 1181025.9483
54 | 2540739.5467 | 1181018.2283
55 | 2540732.3555 | 1180997.0481
56 | 2540722.7689 | 1181022.337
57 | 2540723.1795 | 1180970.5181
58 | 2540696.0682 | 1181028.4537
59 | 2540717.1177 | 1180952.9917
60 | 2540617.4102 | 1181004.7205
61 | 2540653.0097 | 1181062.5219
62 | 2540635.7823 | 1181002.4343
63 | 2540671.9094 | 1180969.0488
64 | 2540648.7696 | 1181000.8183
65 | 2540836.5204 | 1181321.5387
66 | 2540840.6739 | 1181325.7396
67 | 2540818.9007 | 1181316.0985
68 | 2540851.1417 | 1181345.5731
69 | 2540817.5294 | 1181314.9003
70 | 2540856.7403 | 1181351.4374
71 | 2540820.7731 | 1181311.8053
72 | 2540856.8185 | 1181351.5193
73 | 2540827.2897 | 1181305.5872
74 | 2540835.3558 | 1181297.6616
75 | 2540859.1334 | 1181353.9441
76 | 2540863.2752 | 1181311.026
77 | 2540862.1949 | 1181312.1349
78 | 2540906.1756 | 1181370.8563
79 | 2540921.3963 | 1181377.1598
80 | 2540897.0488 | 1181366.0096
81 | 2540929.1382 | 1181372.2735
82 | 2540932.3727 | 1181369.257
83 | 2540934.3829 | 1181367.3823
84 | 2540804.1932 | 1181259.1035
85 | 2540800.8033 | 1181257.7338
86 | 2540760.7746 | 1181081.7648

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1