## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-51_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-51_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-51_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-51_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-51_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-51_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5938-51_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_5938-51_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5938-51_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5938-51_0_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5938-51_0_2_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_5938-51_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5938-51_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5938-51_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5938-51_0_2_node_155 | 0.4 | n |  | TRUE
15 | bus_LV_5938-51_0_2_node_154 | 0.4 | n |  | TRUE
16 | bus_LV_5938-51_0_2_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_5938-51_0_2_node_146 | 0.4 | n |  | TRUE
18 | bus_LV_5938-51_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5938-51_0_2_node_122 | 0.4 | n |  | TRUE
20 | bus_LV_5938-51_0_2_node_161 | 0.4 | n |  | TRUE
21 | bus_LV_5938-51_0_2_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_5938-51_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_5938-51_0_2_node_145 | 0.4 | n |  | TRUE
24 | bus_LV_5938-51_0_2_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_5938-51_0_2_node_135 | 0.4 | n |  | TRUE
26 | bus_LV_5938-51_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5938-51_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5938-51_0_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_5938-51_0_2_node_144 | 0.4 | n |  | TRUE
30 | bus_LV_5938-51_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5938-51_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_5938-51_0_2_node_150 | 0.4 | n |  | TRUE
33 | bus_LV_5938-51_0_2_node_141 | 0.4 | n |  | TRUE
34 | bus_LV_5938-51_0_2_node_133 | 0.4 | n |  | TRUE
35 | bus_LV_5938-51_0_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_5938-51_0_2_node_152 | 0.4 | n |  | TRUE
37 | bus_LV_5938-51_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5938-51_0_2_node_138 | 0.4 | n |  | TRUE
39 | bus_LV_5938-51_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_5938-51_0_2_node_162 | 0.4 | n |  | TRUE
41 | bus_LV_5938-51_0_2_node_129 | 0.4 | n |  | TRUE
42 | bus_LV_5938-51_0_2_node_7 | 0.4 | n |  | TRUE
43 | bus_LV_5938-51_0_2_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_5938-51_0_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_5938-51_0_2_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_5938-51_0_2_node_159 | 0.4 | n |  | TRUE
47 | bus_LV_5938-51_0_2_node_163 | 0.4 | n |  | TRUE
48 | bus_LV_5938-51_0_2_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_5938-51_0_2_node_147 | 0.4 | n |  | TRUE
50 | bus_LV_5938-51_0_2_node_123 | 0.4 | n |  | TRUE
51 | bus_LV_5938-51_0_2_node_149 | 0.4 | n |  | TRUE
52 | bus_LV_5938-51_0_2_node_151 | 0.4 | n |  | TRUE
53 | bus_LV_5938-51_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5938-51_0_2_node_119 | 0.4 | n |  | TRUE
55 | bus_LV_5938-51_0_2_node_164 | 0.4 | n |  | TRUE
56 | bus_LV_5938-51_0_2_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_5938-51_0_2_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_5938-51_0_2_node_130 | 0.4 | n |  | TRUE
59 | bus_LV_5938-51_0_2_node_128 | 0.4 | n |  | TRUE
60 | bus_LV_5938-51_0_2_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_5938-51_0_2_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_5938-51_0_2_node_137 | 0.4 | n |  | TRUE
63 | bus_LV_5938-51_0_2_node_134 | 0.4 | n |  | TRUE
64 | bus_LV_5938-51_0_2_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5938-51_0_2_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5938-51_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5938-51_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5938-51_0_2_node_169 | 0.4 | n |  | TRUE
69 | bus_LV_5938-51_0_2_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5938-51_0_2_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5938-51_0_2_node_143 | 0.4 | n |  | TRUE
72 | bus_LV_5938-51_0_2_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_5938-51_0_2_node_167 | 0.4 | n |  | TRUE
74 | bus_LV_5938-51_0_2_node_170 | 0.4 | n |  | TRUE
75 | bus_LV_5938-51_0_2_node_114 | 0.4 | n |  | TRUE
76 | bus_LV_5938-51_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5938-51_0_2_node_113 | 0.4 | n |  | TRUE
78 | bus_LV_5938-51_0_2_node_142 | 0.4 | n |  | TRUE
79 | bus_LV_5938-51_0_2_node_168 | 0.4 | n |  | TRUE
80 | bus_LV_5938-51_0_2_node_172 | 0.4 | n |  | TRUE
81 | bus_LV_5938-51_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_5938-51_0_2_node_171 | 0.4 | n |  | TRUE
83 | bus_LV_5938-51_0_2_node_173 | 0.4 | n |  | TRUE
84 | bus_LV_5938-51_0_2_node_126 | 0.4 | n |  | TRUE
85 | bus_LV_5938-51_0_2_node_125 | 0.4 | n |  | TRUE
86 | bus_LV_5938-51_0_2_node_165 | 0.4 | n |  | TRUE
87 | bus_LV_5938-51_0_2_node_166 | 0.4 | n |  | TRUE
88 | bus_LV_5938-51_0_2_node_132 | 0.4 | n |  | TRUE
89 | bus_LV_5938-51_0_2_node_121 | 0.4 | n |  | TRUE
90 | bus_LV_5938-51_0_2_node_131 | 0.4 | n |  | TRUE
91 | bus_LV_5938-51_0_2_node_127 | 0.4 | n |  | TRUE
92 | bus_LV_5938-51_0_2_node_136 | 0.4 | n |  | TRUE
93 | bus_LV_5938-51_0_2_node_139 | 0.4 | n |  | TRUE
94 | bus_LV_5938-51_0_2_node_140 | 0.4 | n |  | TRUE
95 | bus_MV_455_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-51_0_2_load_0 | 0 | 0.0031857 | 0.00079841 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-51_0_2_load_1 | 1 | 0.0036109 | 0.00090499 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-51_0_2_load_2 | 2 | 0.002501 | 0.00062682 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-51_0_2_load_3 | 3 | 0.0035641 | 0.00089324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-51_0_2_load_5 | 5 | 0.0033399 | 0.00083707 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-51_0_2_load_153 | 10 | 0.0015615 | 0.00039135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-51_0_2_load_155 | 14 | 0.03863 | 0.0096817 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-51_0_2_load_154 | 15 | 0.0020183 | 0.00050583 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-51_0_2_load_148 | 16 | 0.0052868 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-51_0_2_load_146 | 17 | 0.0021488 | 0.00053853 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-51_0_2_load_122 | 19 | 0.0068397 | 0.0017142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-51_0_2_load_161 | 20 | 0.0043273 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-51_0_2_load_50 | 21 | 0.0024636 | 0.00061743 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-51_0_2_load_145 | 23 | 0.0027165 | 0.00068082 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-51_0_2_load_135 | 25 | 0.0015707 | 0.00039365 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-51_0_2_load_144 | 29 | 0.0027085 | 0.00067881 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-51_0_2_load_150 | 32 | 0.0026818 | 0.00067212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-51_0_2_load_141 | 33 | 0.0044155 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-51_0_2_load_133 | 34 | 0.0026637 | 0.00066758 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-51_0_2_load_152 | 36 | 0.001934 | 0.00048472 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-51_0_2_load_138 | 38 | 0.0039772 | 0.00099677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-51_0_2_load_162 | 40 | 0.0023219 | 0.00058192 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-51_0_2_load_52 | 43 | 0.015706 | 0.0039363 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-51_0_2_load_59 | 45 | 0.0027918 | 0.0006997 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-51_0_2_load_159 | 46 | 0.0020811 | 0.00052157 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-51_0_2_load_163 | 47 | 0.0044134 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-51_0_2_load_147 | 49 | 0.0022592 | 0.00056622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-51_0_2_load_123 | 50 | 0.0039269 | 0.00098416 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-51_0_2_load_149 | 51 | 0.0023474 | 0.00058831 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-51_0_2_load_151 | 52 | 0.0028633 | 0.00071762 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-51_0_2_load_51 | 53 | 0.0016443 | 0.00041209 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-51_0_2_load_164 | 55 | 0.0014556 | 0.0003648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-51_0_2_load_130 | 58 | 0.0039061 | 0.00097895 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-51_0_2_load_128 | 59 | 0.00452 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-51_0_2_load_137 | 62 | 0.0021065 | 0.00052793 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-51_0_2_load_134 | 63 | 0.0031371 | 0.00078622 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-51_0_2_load_53 | 64 | 0.0028883 | 0.00072386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-51_0_2_load_169 | 68 | 0.0032031 | 0.00080276 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-51_0_2_load_143 | 71 | 0.0040851 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-51_0_2_load_167 | 73 | 0.0058422 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-51_0_2_load_170 | 74 | 0.0055472 | 0.0013903 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-51_0_2_load_113 | 77 | 0.0044726 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-51_0_2_load_142 | 78 | 0.0064758 | 0.001623 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-51_0_2_load_168 | 79 | 0.0024155 | 0.00060537 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-51_0_2_load_172 | 80 | 0.0023562 | 0.00059051 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-51_0_2_load_171 | 82 | 0.0022333 | 0.00055971 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-51_0_2_load_173 | 83 | 0.0023244 | 0.00058256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-51_0_2_load_126 | 84 | 0.0021543 | 0.00053993 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-51_0_2_load_125 | 85 | 0.0020383 | 0.00051085 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-51_0_2_load_165 | 86 | 0.0029682 | 0.0007439 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-51_0_2_load_166 | 87 | 0.002925 | 0.00073308 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-51_0_2_load_132 | 88 | 0.005478 | 0.0013729 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-51_0_2_load_131 | 90 | 0.0036685 | 0.00091942 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-51_0_2_load_127 | 91 | 0.0061728 | 0.001547 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-51_0_2_load_136 | 92 | 0.0028532 | 0.00071509 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-51_0_2_load_139 | 93 | 0.0023615 | 0.00059184 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-51_0_2_load_140 | 94 | 0.0041901 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-51_0_2_line_0 |  | 0 | 1 | 0.0065753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-51_0_2_line_1 |  | 0 | 2 | 0.0025393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-51_0_2_line_2 |  | 1 | 3 | 0.0069389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-51_0_2_line_3 |  | 2 | 4 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-51_0_2_line_4 |  | 3 | 5 | 0.0066759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-51_0_2_line_5 |  | 4 | 6 | 0.18017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-51_0_2_line_6 |  | 5 | 7 | 0.019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-51_0_2_line_7 |  | 6 | 18 | 0.12821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-51_0_2_line_8 |  | 6 | 19 | 0.04994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-51_0_2_line_9 |  | 7 | 42 | 0.007539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-51_0_2_line_10 |  | 7 | 11 | 0.00621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-51_0_2_line_11 |  | 8 | 9 | 0.048252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-51_0_2_line_12 |  | 8 | 10 | 0.01198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-51_0_2_line_13 |  | 8 | 11 | 0.006514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5938-51_0_2_line_14 |  | 9 | 13 | 0.003907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-51_0_2_line_15 |  | 9 | 15 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-51_0_2_line_16 |  | 10 | 36 | 0.023761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-51_0_2_line_17 |  | 11 | 46 | 0.026599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5938-51_0_2_line_18 |  | 12 | 13 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-51_0_2_line_19 |  | 12 | 14 | 0.041342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-51_0_2_line_20 |  | 13 | 16 | 0.037018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-51_0_2_line_21 |  | 13 | 17 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-51_0_2_line_22 |  | 17 | 49 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-51_0_2_line_23 |  | 18 | 20 | 0.03028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-51_0_2_line_24 |  | 18 | 21 | 0.018185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-51_0_2_line_25 |  | 19 | 50 | 0.0020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-51_0_2_line_26 |  | 21 | 53 | 0.023604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-51_0_2_line_27 |  | 22 | 23 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-51_0_2_line_28 |  | 22 | 24 | 0.03364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-51_0_2_line_29 |  | 22 | 25 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-51_0_2_line_30 |  | 24 | 38 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-51_0_2_line_31 |  | 24 | 39 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-51_0_2_line_32 |  | 24 | 37 | 0.023178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5938-51_0_2_line_33 |  | 25 | 28 | 0.032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-51_0_2_line_34 |  | 26 | 27 | 0.024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-51_0_2_line_35 |  | 26 | 28 | 0.090367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-51_0_2_line_36 |  | 26 | 29 | 0.030918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-51_0_2_line_37 |  | 27 | 33 | 0.021631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-51_0_2_line_38 |  | 28 | 34 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-51_0_2_line_39 |  | 28 | 35 | 0.16155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-51_0_2_line_40 |  | 30 | 31 | 0.006746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-51_0_2_line_41 |  | 30 | 32 | 0.0093025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-51_0_2_line_42 |  | 31 | 36 | 0.027106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-51_0_2_line_43 |  | 31 | 37 | 0.003739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-51_0_2_line_44 |  | 32 | 51 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-51_0_2_line_45 |  | 34 | 63 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-51_0_2_line_46 |  | 35 | 43 | 0.039329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-51_0_2_line_47 |  | 39 | 40 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-51_0_2_line_48 |  | 39 | 41 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-51_0_2_line_49 |  | 41 | 58 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-51_0_2_line_50 |  | 41 | 59 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-51_0_2_line_51 |  | 42 | 44 | 0.003284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-51_0_2_line_52 |  | 42 | 45 | 0.030433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-51_0_2_line_53 |  | 44 | 47 | 0.009145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-51_0_2_line_54 |  | 45 | 48 | 0.0015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-51_0_2_line_55 |  | 48 | 67 | 0.003435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-51_0_2_line_56 |  | 48 | 64 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-51_0_2_line_57 |  | 51 | 52 | 0.023872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-51_0_2_line_58 |  | 54 | 55 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-51_0_2_line_59 |  | 54 | 56 | 0.0043371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-51_0_2_line_60 |  | 54 | 57 | 0.028443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-51_0_2_line_61 |  | 56 | 88 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-51_0_2_line_62 |  | 56 | 89 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-51_0_2_line_63 |  | 56 | 90 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-51_0_2_line_64 |  | 57 | 86 | 0.01061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-51_0_2_line_65 |  | 57 | 87 | 0.005309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-51_0_2_line_66 |  | 58 | 90 | 0.0095306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-51_0_2_line_67 |  | 60 | 61 | 0.012963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-51_0_2_line_68 |  | 60 | 62 | 0.0084598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-51_0_2_line_69 |  | 61 | 80 | 0.012112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-51_0_2_line_70 |  | 61 | 81 | 0.003926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-51_0_2_line_71 |  | 64 | 65 | 0.0084859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-51_0_2_line_72 |  | 65 | 66 | 0.003498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-51_0_2_line_73 |  | 66 | 68 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-51_0_2_line_74 |  | 66 | 69 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-51_0_2_line_75 |  | 67 | 74 | 0.009852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-51_0_2_line_76 |  | 69 | 70 | 0.0071936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-51_0_2_line_77 |  | 69 | 71 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-51_0_2_line_78 |  | 70 | 72 | 0.020563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-51_0_2_line_79 |  | 70 | 73 | 0.007229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-51_0_2_line_80 |  | 71 | 78 | 0.0024664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-51_0_2_line_81 |  | 72 | 79 | 0.009271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-51_0_2_line_82 |  | 72 | 75 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-51_0_2_line_83 |  | 75 | 76 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-51_0_2_line_84 |  | 75 | 77 | 0.016922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-51_0_2_line_85 |  | 76 | 83 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-51_0_2_line_86 |  | 76 | 81 | 0.0097486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-51_0_2_line_87 |  | 81 | 82 | 0.00765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-51_0_2_line_88 |  | 84 | 85 | 0.00095193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5938-51_0_2_line_89 |  | 85 | 89 | 0.035201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5938-51_0_2_line_90 |  | 88 | 92 | 0.028828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5938-51_0_2_line_91 |  | 89 | 91 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5938-51_0_2_line_92 |  | 91 | 93 | 0.029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-51_0_2_line_93 |  | 93 | 94 | 0.006202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-51_0_2_trafo_159 | 0.63 MVA 20/0.4 kV | 95 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2539487.2273 | 1180469.4156 | 2539493.2689 | 1180472.0105
1 | 2539487.2273 | 1180469.4156 | 2539484.8941 | 1180468.4135
2 | 2539493.2689 | 1180472.0105 | 2539499.6446 | 1180474.7488
3 | 2539472.5 | 1180463.1547 | 2539475.0084 | 1180464.2077 | 2539478.9435 | 1180465.8577 | 2539484.8941 | 1180468.4135
4 | 2539505.7787 | 1180477.3834 | 2539499.6446 | 1180474.7488
5 | 2539380.6329 | 1180495.4361 | 2539378.8837 | 1180477.3436 | 2539383.1264 | 1180476.9337 | 2539377.2931 | 1180422.907 | 2539380.1203 | 1180423.7566 | 2539383.1201 | 1180425.0602 | 2539399.2649 | 1180432.3342 | 2539458.8073 | 1180457.39 | 2539470.4058 | 1180462.2754 | 2539472.5 | 1180463.1547
6 | 2539524.0527 | 1180485.2459 | 2539519.3806 | 1180483.2253 | 2539505.7787 | 1180477.3834
7 | 2539380.6329 | 1180495.4361 | 2539353.0238 | 1180498.0172 | 2539354.8066 | 1180503.5912 | 2539359.9568 | 1180517.3467 | 2539360.5774 | 1180523.5662 | 2539400.4581 | 1180585.5303
8 | 2539380.6329 | 1180495.4361 | 2539408.3033 | 1180492.1206 | 2539409.5748 | 1180494.7314 | 2539415.353 | 1180500.3761 | 2539419.929 | 1180500.4409 | 2539422.2108 | 1180506.542
9 | 2539521.3589 | 1180492.2882 | 2539524.0527 | 1180485.2459
10 | 2539529.7682 | 1180487.7118 | 2539524.0527 | 1180485.2459
11 | 2539546.344 | 1180436.4044 | 2539535.269 | 1180465.9329 | 2539533.0973 | 1180471.7358 | 2539534.3705 | 1180476.0254 | 2539532.1588 | 1180481.6509
12 | 2539532.1588 | 1180481.6509 | 2539543.1231 | 1180486.4777
13 | 2539529.7682 | 1180487.7118 | 2539532.1588 | 1180481.6509
14 | 2539546.344 | 1180436.4044 | 2539547.7125 | 1180432.7441
15 | 2539546.344 | 1180436.4044 | 2539560.9586 | 1180442.4764
16 | 2539564.8701 | 1180496.0515 | 2539543.1231 | 1180486.4777
17 | 2539529.7682 | 1180487.7118 | 2539533.3536 | 1180487.2642 | 2539536.1492 | 1180488.0141 | 2539554.5205 | 1180496.1487
18 | 2539547.0653 | 1180424.635 | 2539544.445 | 1180431.4097 | 2539547.7125 | 1180432.7441
19 | 2539547.0653 | 1180424.635 | 2539540.8461 | 1180412.3909 | 2539537.3552 | 1180402.554 | 2539537.4367 | 1180397.0167 | 2539541.398 | 1180386.0786
20 | 2539547.7125 | 1180432.7441 | 2539552.5695 | 1180419.7989 | 2539560.8137 | 1180398.1225
21 | 2539547.7125 | 1180432.7441 | 2539561.5291 | 1180438.3502
22 | 2539561.5291 | 1180438.3502 | 2539571.6285 | 1180442.448
23 | 2539408.702 | 1180566.9141 | 2539406.8869 | 1180566.4323 | 2539404.477 | 1180566.0564 | 2539400.845 | 1180566.4268 | 2539396.8909 | 1180568.1789 | 2539400.5612 | 1180581.3825 | 2539399.9499 | 1180582.8673 | 2539400.4581 | 1180585.5303
24 | 2539400.4581 | 1180585.5303 | 2539415.0597 | 1180596.37
25 | 2539422.928 | 1180508.4595 | 2539422.2108 | 1180506.542
26 | 2539427.711 | 1180616.2975 | 2539415.0597 | 1180596.37
27 | 2539611.9755 | 1180536.5535 | 2539616.0018 | 1180522.2826
28 | 2539591.8119 | 1180529.1195 | 2539594.4762 | 1180519.1426 | 2539597.9472 | 1180520.2192 | 2539599.6426 | 1180518.679 | 2539602.019 | 1180518.0213 | 2539605.094 | 1180517.7012 | 2539616.0018 | 1180522.2826
29 | 2539616.0018 | 1180522.2826 | 2539630.0397 | 1180528.2418
30 | 2539591.8119 | 1180529.1195 | 2539572.3148 | 1180523.7639
31 | 2539591.8119 | 1180529.1195 | 2539588.6397 | 1180540.9915 | 2539591.6195 | 1180541.8286
32 | 2539588.316 | 1180510.4554 | 2539590.2039 | 1180511.3369 | 2539591.6187 | 1180513.0124 | 2539591.7624 | 1180515.9015 | 2539591.2505 | 1180518.1523 | 2539594.4762 | 1180519.1426 | 2539591.8119 | 1180529.1195
33 | 2539659.9494 | 1180540.9387 | 2539630.0397 | 1180528.2418
34 | 2539664.6519 | 1180637.5899 | 2539670.8805 | 1180613.7138
35 | 2539659.9494 | 1180540.9387 | 2539679.8171 | 1180549.3431 | 2539684.4398 | 1180552.5316 | 2539685.5369 | 1180556.8007 | 2539683.0659 | 1180567.0203 | 2539670.8805 | 1180613.7138
36 | 2539670.8805 | 1180613.7138 | 2539641.115 | 1180605.349
37 | 2539664.6519 | 1180637.5899 | 2539649.384 | 1180633.864 | 2539646.3061 | 1180631.616 | 2539646.2042 | 1180629.5149
38 | 2539659.9494 | 1180540.9387 | 2539656.8145 | 1180554.343
39 | 2539659.9494 | 1180540.9387 | 2539660.6389 | 1180536.596 | 2539685.6589 | 1180546.9273 | 2539692.4948 | 1180548.4148 | 2539694.2708 | 1180548.0523 | 2539696.269 | 1180545.4862 | 2539696.9721 | 1180543.2446 | 2539705.5709 | 1180508.2161 | 2539708.8659 | 1180506.9933 | 2539711.3592 | 1180495.1838 | 2539716.6713 | 1180485.6805 | 2539718.7367 | 1180486.7492 | 2539719.3203 | 1180487.0546 | 2539724.0538 | 1180479.2581 | 2539726.594 | 1180476.6532 | 2539729.0904 | 1180474.249 | 2539733.8527 | 1180479.1593 | 2539735.24 | 1180482.6584 | 2539734.2612 | 1180486.337 | 2539731.7474 | 1180489.2973 | 2539727.8124 | 1180493.7172 | 2539724.8991 | 1180498.7049 | 2539723.0935 | 1180502.2028
40 | 2539594.0378 | 1180502.9601 | 2539591.1704 | 1180503.4227 | 2539589.6787 | 1180506.973
41 | 2539594.0378 | 1180502.9601 | 2539597.5853 | 1180501.7792 | 2539599.8426 | 1180499.155 | 2539600.7829 | 1180497.275
42 | 2539589.6787 | 1180506.973 | 2539564.8701 | 1180496.0515
43 | 2539588.316 | 1180510.4554 | 2539589.6787 | 1180506.973
44 | 2539611.0233 | 1180473.2773 | 2539608.0321 | 1180480.3729 | 2539602.201 | 1180494.4396 | 2539600.7829 | 1180497.275
45 | 2539652.7589 | 1180571.684 | 2539656.8145 | 1180554.343
46 | 2539723.0935 | 1180502.2028 | 2539722.0426 | 1180504.7926 | 2539715.5311 | 1180530.1836 | 2539713.3568 | 1180540.2733
47 | 2539604.6801 | 1180545.5433 | 2539591.6195 | 1180541.8286
48 | 2539586.3729 | 1180549.4747 | 2539588.6397 | 1180540.9915 | 2539591.6195 | 1180541.8286
49 | 2539586.3729 | 1180549.4747 | 2539582.6588 | 1180563.3784
50 | 2539586.3729 | 1180549.4747 | 2539568.2558 | 1180544.4903
51 | 2539521.3589 | 1180492.2882 | 2539524.3666 | 1180493.6252
52 | 2539521.3589 | 1180492.2882 | 2539510.4836 | 1180520.7117
53 | 2539532.7452 | 1180497.3426 | 2539524.3666 | 1180493.6252
54 | 2539509.9361 | 1180522.1426 | 2539510.4836 | 1180520.7117
55 | 2539509.9361 | 1180522.1426 | 2539513.1416 | 1180523.3998
56 | 2539509.9361 | 1180522.1426 | 2539503.3304 | 1180539.417
57 | 2539611.0233 | 1180473.2773 | 2539613.4776 | 1180467.4551 | 2539620.2694 | 1180451.2682
58 | 2539603.0098 | 1180592.6866 | 2539579.8745 | 1180586.6945
59 | 2539576.9155 | 1180584.8789 | 2539576.6581 | 1180585.8599 | 2539579.8745 | 1180586.6945
60 | 2539579.8745 | 1180586.6945 | 2539578.1751 | 1180593.1264 | 2539599.2217 | 1180598.7727
61 | 2539576.9155 | 1180584.8789 | 2539563.7581 | 1180581.4694
62 | 2539571.0866 | 1180606.7056 | 2539574.9212 | 1180592.37 | 2539576.6581 | 1180585.8599 | 2539576.9155 | 1180584.8789
63 | 2539576.9155 | 1180584.8789 | 2539580.1992 | 1180572.5862
64 | 2539596.3843 | 1180608.9959 | 2539599.2217 | 1180598.7727
65 | 2539604.3682 | 1180600.1326 | 2539599.2217 | 1180598.7727
66 | 2539580.1992 | 1180572.5862 | 2539582.6588 | 1180563.3784
67 | 2539474.4447 | 1180625.126 | 2539476.1575 | 1180620.784 | 2539479.1037 | 1180613.0276
68 | 2539474.4447 | 1180625.126 | 2539482.3618 | 1180628.1071
69 | 2539490.859 | 1180616.0771 | 2539479.1037 | 1180613.0276
70 | 2539479.1037 | 1180613.0276 | 2539480.4949 | 1180609.3559
71 | 2539500.2995 | 1180547.3431 | 2539503.3304 | 1180539.417
72 | 2539500.2995 | 1180547.3431 | 2539503.5737 | 1180548.5996
73 | 2539520.1398 | 1180547.7316 | 2539512.2001 | 1180551.9031 | 2539503.5737 | 1180548.5996
74 | 2539497.4357 | 1180564.7596 | 2539503.5737 | 1180548.5996
75 | 2539522.3437 | 1180526.9866 | 2539513.1416 | 1180523.3998
76 | 2539492.8358 | 1180566.8517 | 2539494.138 | 1180563.4478 | 2539497.4357 | 1180564.7596
77 | 2539497.4357 | 1180564.7596 | 2539506.9676 | 1180568.5589
78 | 2539492.8358 | 1180566.8517 | 2539485.4836 | 1180586.0591
79 | 2539486.0503 | 1180564.3078 | 2539492.8358 | 1180566.8517
80 | 2539509.2587 | 1180569.4721 | 2539506.9676 | 1180568.5589
81 | 2539476.7962 | 1180582.7562 | 2539485.4836 | 1180586.0591
82 | 2539485.4836 | 1180586.0591 | 2539482.5963 | 1180593.6036 | 2539485.9855 | 1180594.9034
83 | 2539479.2105 | 1180602.4539 | 2539482.5963 | 1180593.6036 | 2539485.9855 | 1180594.9034
84 | 2539485.9855 | 1180594.9034 | 2539501.7977 | 1180600.9295
85 | 2539466.5886 | 1180602.0814 | 2539479.2105 | 1180602.4539
86 | 2539479.2105 | 1180602.4539 | 2539477.0377 | 1180608.1346 | 2539480.4949 | 1180609.3559
87 | 2539487.7235 | 1180611.9176 | 2539480.4949 | 1180609.3559
88 | 2539562.0062 | 1180640.7155 | 2539561.7611 | 1180641.6354
89 | 2539571.0866 | 1180606.7056 | 2539562.0564 | 1180640.5269 | 2539562.0062 | 1180640.7155
90 | 2539539.482 | 1180584.9394 | 2539545.8232 | 1180576.8218 | 2539563.7581 | 1180581.4694
91 | 2539571.0866 | 1180606.7056 | 2539556.9347 | 1180603.2099
92 | 2539532.9337 | 1180604.5794 | 2539535.7178 | 1180597.9691 | 2539556.9347 | 1180603.2099
93 | 2539530.5263 | 1180610.2951 | 2539532.9337 | 1180604.5794

## bus_geodata
| x | y | coords
0 | 2539487.2273 | 1180469.4156
1 | 2539493.2689 | 1180472.0105
2 | 2539484.8941 | 1180468.4135
3 | 2539499.6446 | 1180474.7488
4 | 2539472.5 | 1180463.1547
5 | 2539505.7787 | 1180477.3834
6 | 2539380.6329 | 1180495.4361
7 | 2539524.0527 | 1180485.2459
8 | 2539532.1588 | 1180481.6509
9 | 2539546.344 | 1180436.4044
10 | 2539543.1231 | 1180486.4777
11 | 2539529.7682 | 1180487.7118
12 | 2539547.0653 | 1180424.6349
13 | 2539547.7125 | 1180432.7441
14 | 2539541.398 | 1180386.0786
15 | 2539560.9586 | 1180442.4764
16 | 2539560.8137 | 1180398.1225
17 | 2539561.5291 | 1180438.3502
18 | 2539400.4581 | 1180585.5303
19 | 2539422.2108 | 1180506.542
20 | 2539408.702 | 1180566.9141
21 | 2539415.0597 | 1180596.37
22 | 2539616.0018 | 1180522.2826
23 | 2539611.9755 | 1180536.5535
24 | 2539591.8119 | 1180529.1195
25 | 2539630.0397 | 1180528.2418
26 | 2539670.8805 | 1180613.7138
27 | 2539664.6519 | 1180637.5899
28 | 2539659.9494 | 1180540.9387
29 | 2539641.115 | 1180605.349
30 | 2539594.0378 | 1180502.9601
31 | 2539589.6787 | 1180506.973
32 | 2539600.7829 | 1180497.275
33 | 2539646.2042 | 1180629.5149
34 | 2539656.8145 | 1180554.343
35 | 2539723.0935 | 1180502.2028
36 | 2539564.8701 | 1180496.0515
37 | 2539588.316 | 1180510.4554
38 | 2539572.3148 | 1180523.7639
39 | 2539591.6195 | 1180541.8286
40 | 2539604.6801 | 1180545.5433
41 | 2539586.3729 | 1180549.4747
42 | 2539521.3589 | 1180492.2882
43 | 2539713.3568 | 1180540.2733
44 | 2539524.3666 | 1180493.6252
45 | 2539510.4836 | 1180520.7117
46 | 2539554.5205 | 1180496.1487
47 | 2539532.7452 | 1180497.3426
48 | 2539509.9361 | 1180522.1426
49 | 2539571.6285 | 1180442.448
50 | 2539422.928 | 1180508.4595
51 | 2539611.0233 | 1180473.2773
52 | 2539620.2694 | 1180451.2682
53 | 2539427.711 | 1180616.2975
54 | 2539579.8745 | 1180586.6945
55 | 2539603.0098 | 1180592.6866
56 | 2539576.9155 | 1180584.8789
57 | 2539599.2217 | 1180598.7727
58 | 2539582.6588 | 1180563.3784
59 | 2539568.2558 | 1180544.4903
60 | 2539474.4447 | 1180625.126
61 | 2539479.1037 | 1180613.0276
62 | 2539482.3618 | 1180628.1071
63 | 2539652.7589 | 1180571.684
64 | 2539503.3304 | 1180539.417
65 | 2539500.2995 | 1180547.3431
66 | 2539503.5737 | 1180548.5996
67 | 2539513.1416 | 1180523.3998
68 | 2539520.1398 | 1180547.7316
69 | 2539497.4357 | 1180564.7596
70 | 2539492.8358 | 1180566.8517
71 | 2539506.9676 | 1180568.5589
72 | 2539485.4836 | 1180586.0591
73 | 2539486.0503 | 1180564.3078
74 | 2539522.3437 | 1180526.9866
75 | 2539485.9855 | 1180594.9034
76 | 2539479.2105 | 1180602.4539
77 | 2539501.7977 | 1180600.9295
78 | 2539509.2587 | 1180569.4721
79 | 2539476.7962 | 1180582.7562
80 | 2539490.859 | 1180616.0771
81 | 2539480.4949 | 1180609.3559
82 | 2539487.7235 | 1180611.9176
83 | 2539466.5886 | 1180602.0814
84 | 2539561.7611 | 1180641.6354
85 | 2539562.0062 | 1180640.7155
86 | 2539596.3843 | 1180608.9959
87 | 2539604.3682 | 1180600.1326
88 | 2539563.7581 | 1180581.4694
89 | 2539571.0866 | 1180606.7056
90 | 2539580.1992 | 1180572.5862
91 | 2539556.9347 | 1180603.2099
92 | 2539539.482 | 1180584.9394
93 | 2539532.9337 | 1180604.5794
94 | 2539530.5263 | 1180610.2951
95 | 2539529.7682 | 1180487.7118

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1