## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-56_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-56_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-56_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-56_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-56_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-56_0_6_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_5938-56_0_6_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_5938-56_0_6_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_5938-56_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5938-56_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5938-56_0_6_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_5938-56_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5938-56_0_6_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5938-56_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_5938-56_0_6_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_5938-56_0_6_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5938-56_0_6_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_5938-56_0_6_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_5938-56_0_6_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_5938-56_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5938-56_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5938-56_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5938-56_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5938-56_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5938-56_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5938-56_0_6_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_5938-56_0_6_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_5938-56_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5938-56_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5938-56_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_5938-56_0_6_node_163 | 0.4 | n |  | TRUE
31 | bus_LV_5938-56_0_6_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_5938-56_0_6_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_5938-56_0_6_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_5938-56_0_6_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_5938-56_0_6_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_5938-56_0_6_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_5938-56_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5938-56_0_6_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_5938-56_0_6_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_5938-56_0_6_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5938-56_0_6_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_5938-56_0_6_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5938-56_0_6_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_5938-56_0_6_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_5938-56_0_6_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_5938-56_0_6_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_5938-56_0_6_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_5938-56_0_6_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_5938-56_0_6_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_5938-56_0_6_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_5938-56_0_6_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_5938-56_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_5938-56_0_6_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_5938-56_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5938-56_0_6_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5938-56_0_6_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_5938-56_0_6_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5938-56_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5938-56_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5938-56_0_6_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_5938-56_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5938-56_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5938-56_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5938-56_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5938-56_0_6_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5938-56_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5938-56_0_6_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_5938-56_0_6_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_5938-56_0_6_node_127 | 0.4 | n |  | TRUE
70 | bus_LV_5938-56_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5938-56_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5938-56_0_6_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_5938-56_0_6_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_5938-56_0_6_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_5938-56_0_6_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5938-56_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5938-56_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5938-56_0_6_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_5938-56_0_6_node_126 | 0.4 | n |  | TRUE
80 | bus_LV_5938-56_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_5938-56_0_6_node_92 | 0.4 | n |  | TRUE
82 | bus_LV_5938-56_0_6_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_5938-56_0_6_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_5938-56_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_5938-56_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_5938-56_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_5938-56_0_6_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_5938-56_0_6_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_5938-56_0_6_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_5938-56_0_6_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_5938-56_0_6_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_5938-56_0_6_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_5938-56_0_6_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_5938-56_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_5938-56_0_6_node_113 | 0.4 | n |  | TRUE
96 | bus_LV_5938-56_0_6_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_5938-56_0_6_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_5938-56_0_6_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_5938-56_0_6_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_5938-56_0_6_node_116 | 0.4 | n |  | TRUE
101 | bus_LV_5938-56_0_6_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_5938-56_0_6_node_117 | 0.4 | n |  | TRUE
103 | bus_LV_5938-56_0_6_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_5938-56_0_6_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_5938-56_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_5938-56_0_6_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_5938-56_0_6_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_5938-56_0_6_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_5938-56_0_6_node_108 | 0.4 | n |  | TRUE
110 | bus_LV_5938-56_0_6_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_5938-56_0_6_node_110 | 0.4 | n |  | TRUE
112 | bus_LV_5938-56_0_6_node_124 | 0.4 | n |  | TRUE
113 | bus_LV_5938-56_0_6_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_5938-56_0_6_node_125 | 0.4 | n |  | TRUE
115 | bus_LV_5938-56_0_6_node_112 | 0.4 | n |  | TRUE
116 | bus_LV_5938-56_0_6_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_5938-56_0_6_node_138 | 0.4 | n |  | TRUE
118 | bus_LV_5938-56_0_6_node_118 | 0.4 | n |  | TRUE
119 | bus_LV_5938-56_0_6_node_119 | 0.4 | n |  | TRUE
120 | bus_LV_5938-56_0_6_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_5938-56_0_6_node_121 | 0.4 | n |  | TRUE
122 | bus_LV_5938-56_0_6_node_122 | 0.4 | n |  | TRUE
123 | bus_LV_5938-56_0_6_node_123 | 0.4 | n |  | TRUE
124 | bus_LV_5938-56_0_6_node_133 | 0.4 | n |  | TRUE
125 | bus_LV_5938-56_0_6_node_154 | 0.4 | n |  | TRUE
126 | bus_LV_5938-56_0_6_node_134 | 0.4 | n |  | TRUE
127 | bus_LV_5938-56_0_6_node_150 | 0.4 | n |  | TRUE
128 | bus_LV_5938-56_0_6_node_135 | 0.4 | n |  | TRUE
129 | bus_LV_5938-56_0_6_node_136 | 0.4 | n |  | TRUE
130 | bus_LV_5938-56_0_6_node_128 | 0.4 | n |  | TRUE
131 | bus_LV_5938-56_0_6_node_129 | 0.4 | n |  | TRUE
132 | bus_LV_5938-56_0_6_node_130 | 0.4 | n |  | TRUE
133 | bus_LV_5938-56_0_6_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_5938-56_0_6_node_132 | 0.4 | n |  | TRUE
135 | bus_LV_5938-56_0_6_node_137 | 0.4 | n |  | TRUE
136 | bus_LV_5938-56_0_6_node_162 | 0.4 | n |  | TRUE
137 | bus_LV_5938-56_0_6_node_148 | 0.4 | n |  | TRUE
138 | bus_LV_5938-56_0_6_node_147 | 0.4 | n |  | TRUE
139 | bus_LV_5938-56_0_6_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_5938-56_0_6_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_5938-56_0_6_node_142 | 0.4 | n |  | TRUE
142 | bus_LV_5938-56_0_6_node_161 | 0.4 | n |  | TRUE
143 | bus_LV_5938-56_0_6_node_153 | 0.4 | n |  | TRUE
144 | bus_LV_5938-56_0_6_node_160 | 0.4 | n |  | TRUE
145 | bus_LV_5938-56_0_6_node_146 | 0.4 | n |  | TRUE
146 | bus_LV_5938-56_0_6_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_5938-56_0_6_node_144 | 0.4 | n |  | TRUE
148 | bus_LV_5938-56_0_6_node_145 | 0.4 | n |  | TRUE
149 | bus_LV_5938-56_0_6_node_152 | 0.4 | n |  | TRUE
150 | bus_LV_5938-56_0_6_node_159 | 0.4 | n |  | TRUE
151 | bus_LV_5938-56_0_6_node_149 | 0.4 | n |  | TRUE
152 | bus_LV_5938-56_0_6_node_151 | 0.4 | n |  | TRUE
153 | bus_LV_5938-56_0_6_node_156 | 0.4 | n |  | TRUE
154 | bus_LV_5938-56_0_6_node_155 | 0.4 | n |  | TRUE
155 | bus_LV_5938-56_0_6_node_158 | 0.4 | n |  | TRUE
156 | bus_LV_5938-56_0_6_node_157 | 0.4 | n |  | TRUE
157 | bus_MV_449_1_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-56_0_6_load_0 | 0 | 0.0038306 | 0.00096004 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-56_0_6_load_1 | 1 | 0.002335 | 0.0005852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-56_0_6_load_2 | 2 | 0.0030773 | 0.00077124 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-56_0_6_load_3 | 3 | 0.0020166 | 0.0005054 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-56_0_6_load_46 | 5 | 0.039077 | 0.0097935 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-56_0_6_load_47 | 6 | 0.0086686 | 0.0021726 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-56_0_6_load_45 | 7 | 0.0022772 | 0.00057072 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-56_0_6_load_43 | 10 | 0.02781 | 0.0069698 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-56_0_6_load_34 | 13 | 0.0008046 | 0.00020165 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-56_0_6_load_5 | 15 | 0.0085707 | 0.002148 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-56_0_6_load_36 | 16 | 0.004316 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-56_0_6_load_44 | 18 | 0.0046381 | 0.0011624 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-56_0_6_load_10 | 19 | 0.00097881 | 0.00024531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-56_0_6_load_11 | 20 | 0.00038676 | 9.6931e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-56_0_6_load_14 | 22 | 0.0011168 | 0.00027989 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-56_0_6_load_64 | 26 | 0.013726 | 0.00344 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-56_0_6_load_17 | 27 | 0.0043243 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-56_0_6_load_18 | 28 | 0.0020807 | 0.00052148 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-56_0_6_load_163 | 30 | 0.012717 | 0.0031871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-56_0_6_load_54 | 33 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-56_0_6_load_48 | 34 | 0.0084549 | 0.002119 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-56_0_6_load_62 | 36 | 0.0091638 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-56_0_6_load_63 | 38 | 0.0030451 | 0.00076319 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-56_0_6_load_61 | 39 | 0.010591 | 0.0026544 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-56_0_6_load_65 | 40 | 0.0020939 | 0.00052477 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-56_0_6_load_88 | 41 | 0.0022042 | 0.00055243 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-56_0_6_load_22 | 42 | 0.0025314 | 0.00063442 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-56_0_6_load_89 | 43 | 0.0021228 | 0.00053202 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-56_0_6_load_20 | 44 | 0.002722 | 0.00068221 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-56_0_6_load_19 | 45 | 0.0019246 | 0.00048235 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-56_0_6_load_21 | 46 | 0.00040865 | 0.00010242 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-56_0_6_load_23 | 47 | 0.00034042 | 8.5318e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-56_0_6_load_90 | 48 | 0.00037213 | 9.3265e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-56_0_6_load_91 | 49 | 0.00037084 | 9.2942e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-56_0_6_load_24 | 50 | 0.012132 | 0.0030406 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-56_0_6_load_30 | 53 | 0.0044592 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-56_0_6_load_39 | 55 | 0.0014971 | 0.00037522 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-56_0_6_load_32 | 56 | 0.01384 | 0.0034687 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-56_0_6_load_42 | 58 | 0.00085179 | 0.00021348 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-56_0_6_load_40 | 59 | 0.0036618 | 0.00091772 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-56_0_6_load_31 | 60 | 0.011364 | 0.002848 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-56_0_6_load_59 | 61 | 0.00043357 | 0.00010866 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-56_0_6_load_57 | 62 | 0.053352 | 0.013371 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-56_0_6_load_58 | 63 | 0.00085263 | 0.00021369 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-56_0_6_load_67 | 66 | 0.0013797 | 0.00034578 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-56_0_6_load_115 | 68 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-56_0_6_load_127 | 69 | 0.0018632 | 0.00046697 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-56_0_6_load_68 | 70 | 0.0018292 | 0.00045844 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-56_0_6_load_66 | 71 | 0.0039756 | 0.00099638 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-56_0_6_load_87 | 73 | 0.0031796 | 0.00079687 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-56_0_6_load_84 | 74 | 0.0019958 | 0.00050018 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-56_0_6_load_69 | 75 | 0.0013609 | 0.00034107 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-56_0_6_load_72 | 76 | 0.0014253 | 0.00035721 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-56_0_6_load_73 | 77 | 0.002511 | 0.00062933 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-56_0_6_load_126 | 79 | 0.0017859 | 0.00044759 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-56_0_6_load_92 | 81 | 0.0039841 | 0.0009985 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-56_0_6_load_93 | 82 | 0.0029405 | 0.00073696 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5938-56_0_6_load_75 | 84 | 0.0027255 | 0.00068307 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5938-56_0_6_load_78 | 87 | 0.0015254 | 0.00038229 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5938-56_0_6_load_79 | 88 | 0.0043447 | 0.0010889 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5938-56_0_6_load_80 | 89 | 0.0018529 | 0.00046437 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5938-56_0_6_load_81 | 90 | 0.0044399 | 0.0011127 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5938-56_0_6_load_82 | 91 | 0.001978 | 0.00049573 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5938-56_0_6_load_95 | 93 | 0.0042996 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5938-56_0_6_load_85 | 94 | 0.003079 | 0.00077166 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5938-56_0_6_load_113 | 95 | 0.0048107 | 0.0012057 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5938-56_0_6_load_96 | 96 | 0.0031841 | 0.00079801 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5938-56_0_6_load_97 | 97 | 0.0014242 | 0.00035693 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5938-56_0_6_load_98 | 98 | 0.0012742 | 0.00031934 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5938-56_0_6_load_100 | 99 | 0.0022223 | 0.00055697 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5938-56_0_6_load_116 | 100 | 0.0012338 | 0.00030922 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5938-56_0_6_load_101 | 101 | 0.0014814 | 0.00037128 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5938-56_0_6_load_117 | 102 | 0.0012349 | 0.00030949 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5938-56_0_6_load_102 | 103 | 0.0016211 | 0.00040629 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5938-56_0_6_load_103 | 104 | 0.0012828 | 0.0003215 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5938-56_0_6_load_104 | 105 | 0.00192 | 0.0004812 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5938-56_0_6_load_105 | 106 | 0.0015012 | 0.00037623 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5938-56_0_6_load_106 | 107 | 0.0012321 | 0.00030879 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5938-56_0_6_load_108 | 109 | 0.00081754 | 0.00020489 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5938-56_0_6_load_109 | 110 | 0.0046049 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5938-56_0_6_load_110 | 111 | 0.0022194 | 0.00055623 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5938-56_0_6_load_124 | 112 | 0.002428 | 0.0006085 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5938-56_0_6_load_111 | 113 | 0.0022779 | 0.0005709 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5938-56_0_6_load_125 | 114 | 0.0020518 | 0.00051424 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5938-56_0_6_load_112 | 115 | 0.0017186 | 0.00043072 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5938-56_0_6_load_114 | 116 | 0.0016545 | 0.00041465 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5938-56_0_6_load_138 | 117 | 0.0055991 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5938-56_0_6_load_118 | 118 | 0.0013336 | 0.00033423 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5938-56_0_6_load_119 | 119 | 0.0013039 | 0.00032679 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5938-56_0_6_load_121 | 121 | 0.0026421 | 0.00066218 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5938-56_0_6_load_122 | 122 | 0.0014835 | 0.0003718 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5938-56_0_6_load_123 | 123 | 0.0015867 | 0.00039768 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5938-56_0_6_load_133 | 124 | 0.0018597 | 0.00046608 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5938-56_0_6_load_154 | 125 | 0.0018441 | 0.00046219 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5938-56_0_6_load_134 | 126 | 0.0019489 | 0.00048843 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5938-56_0_6_load_150 | 127 | 0.0018604 | 0.00046627 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5938-56_0_6_load_135 | 128 | 0.0019461 | 0.00048774 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5938-56_0_6_load_136 | 129 | 0.0019147 | 0.00047987 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5938-56_0_6_load_128 | 130 | 0.0011351 | 0.00028449 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5938-56_0_6_load_129 | 131 | 0.002799 | 0.0007015 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5938-56_0_6_load_130 | 132 | 0.0021708 | 0.00054405 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5938-56_0_6_load_131 | 133 | 0.0025864 | 0.00064822 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5938-56_0_6_load_132 | 134 | 0.00087997 | 0.00022054 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5938-56_0_6_load_162 | 136 | 0.00138 | 0.00034586 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5938-56_0_6_load_148 | 137 | 0.0021373 | 0.00053566 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5938-56_0_6_load_147 | 138 | 0.0016625 | 0.00041665 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5938-56_0_6_load_139 | 139 | 0.0017109 | 0.00042879 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5938-56_0_6_load_161 | 142 | 0.0022271 | 0.00055816 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5938-56_0_6_load_160 | 144 | 0.0011887 | 0.00029791 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5938-56_0_6_load_143 | 146 | 0.0041763 | 0.0010467 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5938-56_0_6_load_144 | 147 | 0.0023618 | 0.00059192 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5938-56_0_6_load_145 | 148 | 0.0047118 | 0.0011809 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5938-56_0_6_load_159 | 150 | 0.0020255 | 0.00050764 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5938-56_0_6_load_151 | 152 | 0.0028959 | 0.00072579 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5938-56_0_6_load_156 | 153 | 0.0021093 | 0.00052865 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5938-56_0_6_load_155 | 154 | 0.0032528 | 0.00081523 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5938-56_0_6_load_158 | 155 | 0.0038356 | 0.00096128 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-56_0_6_line_0 |  | 0 | 1 | 0.0066421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-56_0_6_line_1 |  | 0 | 2 | 0.018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-56_0_6_line_2 |  | 1 | 3 | 0.0063233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-56_0_6_line_3 |  | 2 | 4 | 0.044143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-56_0_6_line_4 |  | 4 | 8 | 0.048598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-56_0_6_line_5 |  | 4 | 9 | 0.056807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-56_0_6_line_6 |  | 5 | 6 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5938-56_0_6_line_7 |  | 5 | 7 | 0.051551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5938-56_0_6_line_8 |  | 6 | 62 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5938-56_0_6_line_9 |  | 7 | 15 | 0.073621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5938-56_0_6_line_10 |  | 8 | 10 | 0.033086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-56_0_6_line_11 |  | 9 | 15 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5938-56_0_6_line_12 |  | 10 | 18 | 0.040347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-56_0_6_line_13 |  | 11 | 12 | 0.041325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-56_0_6_line_14 |  | 11 | 13 | 0.061124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-56_0_6_line_15 |  | 12 | 14 | 0.00428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-56_0_6_line_16 |  | 14 | 59 | 0.055425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-56_0_6_line_17 |  | 16 | 17 | 0.023922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-56_0_6_line_18 |  | 17 | 54 | 0.047709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-56_0_6_line_19 |  | 17 | 55 | 0.0074148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-56_0_6_line_20 |  | 18 | 55 | 0.024813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-56_0_6_line_21 |  | 19 | 20 | 0.026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-56_0_6_line_22 |  | 19 | 21 | 0.027999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-56_0_6_line_23 |  | 21 | 22 | 0.010564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-56_0_6_line_24 |  | 21 | 23 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-56_0_6_line_25 |  | 22 | 24 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-56_0_6_line_26 |  | 23 | 25 | 0.057906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5938-56_0_6_line_27 |  | 23 | 26 | 0.061369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5938-56_0_6_line_28 |  | 24 | 27 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-56_0_6_line_29 |  | 24 | 28 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5938-56_0_6_line_30 |  | 25 | 36 | 0.06219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5938-56_0_6_line_31 |  | 25 | 29 | 0.048033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5938-56_0_6_line_32 |  | 26 | 40 | 0.0068447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5938-56_0_6_line_33 |  | 27 | 41 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-56_0_6_line_34 |  | 28 | 42 | 0.01316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-56_0_6_line_35 |  | 29 | 30 | 0.007599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-56_0_6_line_36 |  | 29 | 31 | 0.043128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5938-56_0_6_line_37 |  | 31 | 38 | 0.027594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-56_0_6_line_38 |  | 31 | 39 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5938-56_0_6_line_39 |  | 32 | 33 | 0.064963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-56_0_6_line_40 |  | 32 | 34 | 0.045693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-56_0_6_line_41 |  | 34 | 37 | 0.054515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-56_0_6_line_42 |  | 35 | 36 | 0.039333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5938-56_0_6_line_43 |  | 35 | 37 | 0.0054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5938-56_0_6_line_44 |  | 39 | 57 | 0.053652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5938-56_0_6_line_45 |  | 40 | 71 | 0.012848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5938-56_0_6_line_46 |  | 41 | 43 | 0.0074678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-56_0_6_line_47 |  | 42 | 44 | 0.0088535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-56_0_6_line_48 |  | 43 | 95 | 2.1326e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-56_0_6_line_49 |  | 44 | 45 | 0.0059292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-56_0_6_line_50 |  | 45 | 46 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-56_0_6_line_51 |  | 46 | 47 | 0.0011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-56_0_6_line_52 |  | 47 | 48 | 0.0061645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-56_0_6_line_53 |  | 48 | 49 | 0.0063758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-56_0_6_line_54 |  | 50 | 51 | 0.037251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-56_0_6_line_55 |  | 51 | 52 | 0.004232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-56_0_6_line_56 |  | 51 | 53 | 0.05461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-56_0_6_line_57 |  | 52 | 56 | 0.02556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-56_0_6_line_58 |  | 53 | 57 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-56_0_6_line_59 |  | 54 | 58 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-56_0_6_line_60 |  | 54 | 59 | 0.027196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-56_0_6_line_61 |  | 56 | 60 | 0.00096619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-56_0_6_line_62 |  | 57 | 61 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5938-56_0_6_line_63 |  | 61 | 63 | 0.012583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_5938-56_0_6_line_64 |  | 62 | 63 | 0.0080457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5938-56_0_6_line_65 |  | 64 | 65 | 0.080572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_5938-56_0_6_line_66 |  | 64 | 66 | 0.048236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5938-56_0_6_line_67 |  | 65 | 67 | 0.18327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_5938-56_0_6_line_68 |  | 65 | 68 | 0.05359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5938-56_0_6_line_69 |  | 66 | 70 | 0.0067806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5938-56_0_6_line_70 |  | 67 | 69 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_5938-56_0_6_line_71 |  | 68 | 78 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5938-56_0_6_line_72 |  | 69 | 79 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5938-56_0_6_line_73 |  | 70 | 75 | 0.0030821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5938-56_0_6_line_74 |  | 71 | 72 | 0.030943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5938-56_0_6_line_75 |  | 72 | 73 | 0.008035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-56_0_6_line_76 |  | 72 | 74 | 0.0020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_5938-56_0_6_line_77 |  | 74 | 92 | 0.016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_5938-56_0_6_line_78 |  | 75 | 76 | 0.0025212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_5938-56_0_6_line_79 |  | 76 | 77 | 0.023363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_5938-56_0_6_line_80 |  | 77 | 80 | 0.0078009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_5938-56_0_6_line_81 |  | 78 | 100 | 0.017661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-56_0_6_line_82 |  | 78 | 97 | 0.0090529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_5938-56_0_6_line_83 |  | 79 | 122 | 0.02282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_5938-56_0_6_line_84 |  | 80 | 81 | 0.009004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-56_0_6_line_85 |  | 80 | 82 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5938-56_0_6_line_86 |  | 82 | 83 | 0.017085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_5938-56_0_6_line_87 |  | 83 | 93 | 0.012291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-56_0_6_line_88 |  | 83 | 89 | 0.010648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_5938-56_0_6_line_89 |  | 84 | 85 | 0.02182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_5938-56_0_6_line_90 |  | 84 | 86 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_5938-56_0_6_line_91 |  | 85 | 87 | 0.0029789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_5938-56_0_6_line_92 |  | 85 | 88 | 0.009897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-56_0_6_line_93 |  | 86 | 89 | 0.0075359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5938-56_0_6_line_94 |  | 86 | 90 | 0.009363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5938-56_0_6_line_95 |  | 87 | 91 | 0.026014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_5938-56_0_6_line_96 |  | 91 | 92 | 0.0086802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_5938-56_0_6_line_97 |  | 92 | 94 | 0.010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5938-56_0_6_line_98 |  | 96 | 97 | 0.026122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_5938-56_0_6_line_99 |  | 96 | 98 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5938-56_0_6_line_100 |  | 98 | 99 | 0.012804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5938-56_0_6_line_101 |  | 99 | 101 | 0.0086919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5938-56_0_6_line_102 |  | 100 | 102 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5938-56_0_6_line_103 |  | 101 | 103 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5938-56_0_6_line_104 |  | 103 | 104 | 0.015811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5938-56_0_6_line_105 |  | 104 | 105 | 0.0084614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5938-56_0_6_line_106 |  | 105 | 106 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5938-56_0_6_line_107 |  | 106 | 107 | 0.0045745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5938-56_0_6_line_108 |  | 107 | 108 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5938-56_0_6_line_109 |  | 108 | 109 | 0.011037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5938-56_0_6_line_110 |  | 108 | 110 | 0.032892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5938-56_0_6_line_111 |  | 109 | 111 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5938-56_0_6_line_112 |  | 110 | 112 | 0.0012291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5938-56_0_6_line_113 |  | 111 | 113 | 0.0092204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5938-56_0_6_line_114 |  | 112 | 114 | 0.031509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5938-56_0_6_line_115 |  | 113 | 115 | 0.043623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5938-56_0_6_line_116 |  | 114 | 128 | 0.026966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5938-56_0_6_line_117 |  | 115 | 116 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5938-56_0_6_line_118 |  | 116 | 117 | 0.0060341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5938-56_0_6_line_119 |  | 118 | 119 | 0.020548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5938-56_0_6_line_120 |  | 118 | 120 | 0.0014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5938-56_0_6_line_121 |  | 119 | 121 | 0.0067372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5938-56_0_6_line_122 |  | 120 | 122 | 0.019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
123 | LV_5938-56_0_6_line_123 |  | 120 | 123 | 0.021494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_5938-56_0_6_line_124 |  | 121 | 124 | 0.020578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5938-56_0_6_line_125 |  | 123 | 125 | 0.031385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_5938-56_0_6_line_126 |  | 124 | 126 | 0.025954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5938-56_0_6_line_127 |  | 125 | 127 | 0.00028345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_5938-56_0_6_line_128 |  | 126 | 133 | 0.0062399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5938-56_0_6_line_129 |  | 127 | 151 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
130 | LV_5938-56_0_6_line_130 |  | 128 | 129 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5938-56_0_6_line_131 |  | 130 | 131 | 0.038253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5938-56_0_6_line_132 |  | 130 | 132 | 0.0073263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5938-56_0_6_line_133 |  | 131 | 133 | 0.020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5938-56_0_6_line_134 |  | 132 | 134 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5938-56_0_6_line_135 |  | 134 | 135 | 0.010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5938-56_0_6_line_136 |  | 135 | 136 | 0.035758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5938-56_0_6_line_137 |  | 137 | 138 | 0.039425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5938-56_0_6_line_138 |  | 138 | 151 | 0.0043787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5938-56_0_6_line_139 |  | 139 | 140 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5938-56_0_6_line_140 |  | 140 | 141 | 0.00795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5938-56_0_6_line_141 |  | 141 | 142 | 0.026911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5938-56_0_6_line_142 |  | 142 | 144 | 0.050174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5938-56_0_6_line_143 |  | 143 | 144 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5938-56_0_6_line_144 |  | 143 | 145 | 0.028941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5938-56_0_6_line_145 |  | 145 | 149 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
146 | LV_5938-56_0_6_line_146 |  | 145 | 147 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
147 | LV_5938-56_0_6_line_147 |  | 146 | 147 | 0.061562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
148 | LV_5938-56_0_6_line_148 |  | 146 | 148 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5938-56_0_6_line_149 |  | 149 | 150 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
150 | LV_5938-56_0_6_line_150 |  | 150 | 155 | 0.036777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
151 | LV_5938-56_0_6_line_151 |  | 151 | 152 | 0.068099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
152 | LV_5938-56_0_6_line_152 |  | 152 | 153 | 0.040337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
153 | LV_5938-56_0_6_line_153 |  | 153 | 154 | 0.048225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
154 | LV_5938-56_0_6_line_154 |  | 154 | 156 | 0.024721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
155 | LV_5938-56_0_6_line_155 |  | 155 | 156 | 0.0077995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-56_0_6_trafo_49 | 0.63 MVA 20/0.4 kV | 157 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2539705.6752 | 1180017.0635 | 2539708.2786 | 1180010.9529
1 | 2539705.6752 | 1180017.0635 | 2539698.3229 | 1180034.321
2 | 2539708.2786 | 1180010.9529 | 2539710.757 | 1180005.1355
3 | 2539681.0212 | 1180074.9316 | 2539698.3229 | 1180034.321
4 | 2539652.7351 | 1180050.7366 | 2539649.6995 | 1180058.7717 | 2539647.6465 | 1180062.7391 | 2539679.0605 | 1180074.4178 | 2539681.0212 | 1180074.9316
5 | 2539681.0212 | 1180074.9316 | 2539683.1803 | 1180075.4213 | 2539694.3288 | 1180080.3228 | 2539696.8151 | 1180075.3838 | 2539700.3138 | 1180070.846 | 2539704.9741 | 1180066.3632 | 2539710.2914 | 1180062.6409 | 2539714.9105 | 1180060.1374 | 2539718.4913 | 1180058.4449 | 2539722.4994 | 1180058.2155 | 2539727.4661 | 1180058.3655
6 | 2539788.2776 | 1179950.4131 | 2539781.7098 | 1179968.1245 | 2539781.031 | 1179970.0549
7 | 2539803.2363 | 1180009.2594 | 2539793.1893 | 1180001.3387 | 2539789.8215 | 1179998.3932 | 2539785.146 | 1179993.7932 | 2539780.9419 | 1179988.9661 | 2539776.3703 | 1179983.3089 | 2539781.031 | 1179970.0549
8 | 2539788.2776 | 1179950.4131 | 2539793.0765 | 1179937.4718
9 | 2539803.2363 | 1180009.2594 | 2539735.5144 | 1180038.1342
10 | 2539652.7351 | 1180050.7366 | 2539665.4573 | 1180020.1947
11 | 2539727.4661 | 1180058.3655 | 2539728.0712 | 1180054.7352 | 2539735.5144 | 1180038.1342
12 | 2539665.4573 | 1180020.1947 | 2539678.0708 | 1179989.9137 | 2539671.0527 | 1179987.1462
13 | 2539517.7367 | 1180007.1638 | 2539522.1241 | 1180008.9427 | 2539525.3311 | 1180010.3222 | 2539528.7152 | 1180004.2846 | 2539531.8025 | 1179998.3612 | 2539534.1938 | 1179993.8567 | 2539540.8173 | 1179981.0715
14 | 2539517.7367 | 1180007.1638 | 2539540.4889 | 1179950.4318
15 | 2539544.7683 | 1179982.7437 | 2539540.8173 | 1179981.0715
16 | 2539544.7683 | 1179982.7437 | 2539578.9074 | 1179997.1959 | 2539586.2082 | 1179980.3572
17 | 2539641.2076 | 1179974.9881 | 2539639.623 | 1179979.1954 | 2539631.9822 | 1179997.056
18 | 2539596.7841 | 1179957.2708 | 2539641.2076 | 1179974.9881
19 | 2539641.2076 | 1179974.9881 | 2539646.8538 | 1179977.3659 | 2539648.0463 | 1179977.8536
20 | 2539648.0463 | 1179977.8536 | 2539663.0617 | 1179983.995 | 2539671.0527 | 1179987.1462
21 | 2539853.8431 | 1179718.0639 | 2539840.6933 | 1179695.4053
22 | 2539865.4557 | 1179743.2454 | 2539864.5769 | 1179737.8957 | 2539862.7458 | 1179733.5672 | 2539859.4402 | 1179727.7083 | 2539853.8431 | 1179718.0639
23 | 2539865.4557 | 1179743.2454 | 2539875.9879 | 1179742.4326
24 | 2539864.6849 | 1179755.4822 | 2539865.7534 | 1179750.0685 | 2539865.6632 | 1179744.1327 | 2539865.4557 | 1179743.2454
25 | 2539894.6072 | 1179740.9958 | 2539875.9879 | 1179742.4326
26 | 2539849.1339 | 1179795.9834 | 2539844.2808 | 1179794.2423 | 2539844.7206 | 1179792.3924 | 2539848.932 | 1179772.8614 | 2539850.9599 | 1179773.219 | 2539852.9307 | 1179773.2103 | 2539854.7454 | 1179772.8696 | 2539856.298 | 1179772.287 | 2539858.7212 | 1179770.9286 | 2539860.342 | 1179769.5337 | 2539861.5775 | 1179767.8092 | 2539862.3731 | 1179765.6445 | 2539862.7801 | 1179763.5726 | 2539862.6842 | 1179761.6391 | 2539862.314 | 1179759.764 | 2539860.7035 | 1179756.1003 | 2539864.6849 | 1179755.4822
27 | 2539864.6849 | 1179755.4822 | 2539871.3864 | 1179757.9496 | 2539878.7103 | 1179762.3118 | 2539883.3058 | 1179765.7787 | 2539886.4563 | 1179768.3707 | 2539890.7034 | 1179772.1524 | 2539894.6907 | 1179776.6704 | 2539899.7653 | 1179782.9786 | 2539903.2298 | 1179787.9354 | 2539906.6967 | 1179793.1258 | 2539908.4076 | 1179796.484
28 | 2539894.6072 | 1179740.9958 | 2539896.9538 | 1179744.174 | 2539901.7676 | 1179748.0532
29 | 2539894.6072 | 1179740.9958 | 2539898.8723 | 1179739.7189 | 2539901.9312 | 1179737.7537 | 2539904.3945 | 1179735.8168 | 2539905.9958 | 1179733.2437
30 | 2539849.1339 | 1179795.9834 | 2539849.7774 | 1179795.3988 | 2539851.4176 | 1179794.4262 | 2539852.7994 | 1179794.3345 | 2539856.0537 | 1179796.6142 | 2539859.6029 | 1179803.16 | 2539864.137 | 1179815.7214 | 2539872.5778 | 1179847.8874
31 | 2539818.5028 | 1179812.1115 | 2539827.0201 | 1179814.3604 | 2539836.0721 | 1179817.36 | 2539844.2808 | 1179794.2423 | 2539849.1339 | 1179795.9834
32 | 2539908.4076 | 1179796.484 | 2539909.7904 | 1179799.1981 | 2539911.256 | 1179802.7026
33 | 2539901.7676 | 1179748.0532 | 2539909.1762 | 1179754.0234 | 2539914.3277 | 1179756.5731 | 2539920.651 | 1179761.7014 | 2539920.651 | 1179761.7014
34 | 2539904.9152 | 1179720.4398 | 2539904.9356 | 1179720.4806 | 2539906.1928 | 1179723.9588 | 2539906.7914 | 1179727.2768 | 2539906.6259 | 1179730.5692 | 2539905.9958 | 1179733.2437
35 | 2539818.5028 | 1179812.1115 | 2539820.2312 | 1179804.7122
36 | 2539818.5028 | 1179812.1115 | 2539827.0201 | 1179814.3604 | 2539836.0721 | 1179817.36 | 2539827.7741 | 1179840.712
37 | 2539827.7741 | 1179840.712 | 2539800.9968 | 1179834.0496
38 | 2539827.7741 | 1179840.712 | 2539823.2673 | 1179854.4095
39 | 2539893.4471 | 1179953.96 | 2539898.0837 | 1179971.4232 | 2539852.5199 | 1179983.043
40 | 2539893.4471 | 1179953.96 | 2539879.2821 | 1179957.5153 | 2539870.9415 | 1179927.5664
41 | 2539877.4989 | 1179887.2717 | 2539860.9118 | 1179891.5519 | 2539870.9415 | 1179927.5664
42 | 2539882.733 | 1179885.885 | 2539880.9054 | 1179879.6221 | 2539872.5778 | 1179847.8874
43 | 2539877.4989 | 1179887.2717 | 2539882.733 | 1179885.885
44 | 2539805.1515 | 1179904.9088 | 2539812.7054 | 1179884.2991 | 2539822.8893 | 1179855.5583 | 2539823.2673 | 1179854.4095
45 | 2539915.9412 | 1179814.665 | 2539915.2363 | 1179812.8066 | 2539912.2951 | 1179805.1874 | 2539911.256 | 1179802.7026
46 | 2539925.2198 | 1179767.6085 | 2539920.651 | 1179761.7014
47 | 2539900.9539 | 1179712.5219 | 2539904.9152 | 1179720.4398
48 | 2539925.2329 | 1179767.6254 | 2539925.2198 | 1179767.6085
49 | 2539900.9539 | 1179712.5219 | 2539898.301 | 1179707.2193
50 | 2539896.3174 | 1179696.7983 | 2539896.3174 | 1179696.7983 | 2539895.2841 | 1179699.6436 | 2539895.7599 | 1179702.1402 | 2539898.301 | 1179707.2193
51 | 2539896.3174 | 1179696.7983 | 2539897.0478 | 1179695.9614
52 | 2539897.0478 | 1179695.9614 | 2539901.1015 | 1179691.3172
53 | 2539901.1015 | 1179691.3172 | 2539905.2941 | 1179686.5138
54 | 2539732.2563 | 1179887.088 | 2539695.8259 | 1179879.3111
55 | 2539732.2563 | 1179887.088 | 2539733.1619 | 1179882.9543
56 | 2539732.2563 | 1179887.088 | 2539746.2659 | 1179890.0819 | 2539785.3308 | 1179899.9181
57 | 2539733.1619 | 1179882.9543 | 2539738.6001 | 1179857.9796
58 | 2539805.1515 | 1179904.9088 | 2539785.3308 | 1179899.9181
59 | 2539596.7841 | 1179957.2708 | 2539581.5386 | 1179952.5448
60 | 2539596.7841 | 1179957.2708 | 2539595.0185 | 1179961.7134 | 2539589.5445 | 1179974.876 | 2539590.1243 | 1179977.0714 | 2539590.1382 | 1179978.4498 | 2539589.1786 | 1179979.4934 | 2539586.2082 | 1179980.3572
61 | 2539738.8057 | 1179857.0355 | 2539738.6001 | 1179857.9796
62 | 2539805.1515 | 1179904.9088 | 2539800.2489 | 1179918.1299
63 | 2539795.8738 | 1179929.9281 | 2539800.2489 | 1179918.1299
64 | 2539793.0765 | 1179937.4718 | 2539795.8738 | 1179929.9281
65 | 2539991.8916 | 1180074.4173 | 2539995.729 | 1180070.8768 | 2540010.8535 | 1180051.8145 | 2540036.4082 | 1180021.6193 | 2540038.2179 | 1180016.9763 | 2540042.6238 | 1180012.2295
66 | 2539991.8916 | 1180074.4173 | 2539989.4947 | 1180070.7726 | 2539987.0561 | 1180066.0277 | 2539985.0647 | 1180061.6897 | 2539983.1595 | 1180055.283 | 2539980.8393 | 1180047.1128 | 2539975.8994 | 1180029.1929
67 | 2540042.6238 | 1180012.2295 | 2540046.1655 | 1180008.1473 | 2540049.045 | 1180008.1185 | 2540061.754 | 1179997.9966 | 2540075.7674 | 1179987.695 | 2540085.7442 | 1179983.1592 | 2540098.6041 | 1179978.9503 | 2540119.1134 | 1179973.4865 | 2540126.2982 | 1179971.6247 | 2540128.2288 | 1179959.9766 | 2540129.6883 | 1179950.1009 | 2540129.5907 | 1179944.1653 | 2540129.1778 | 1179938.0215 | 2540127.4477 | 1179933.0694 | 2540125.0299 | 1179927.3348 | 2540120.6891 | 1179919.5183 | 2540114.368 | 1179910.7655 | 2540100.9109 | 1179891.9675
68 | 2540042.6238 | 1180012.2295 | 2540040.3969 | 1180005.7371 | 2540028.7603 | 1179966.6207 | 2540027.0224 | 1179960.9665
69 | 2539975.8994 | 1180029.1929 | 2539975.1395 | 1180026.4362 | 2539974.1169 | 1180022.6508
70 | 2540100.9109 | 1179891.9675 | 2540089.0081 | 1179877.4775
71 | 2540022.3799 | 1179945.8619 | 2540027.0224 | 1179960.9665
72 | 2540073.9214 | 1179858.0201 | 2540084.5162 | 1179872.0093 | 2540089.0081 | 1179877.4775
73 | 2539973.313 | 1180019.6753 | 2539974.1169 | 1180022.6508
74 | 2539924.3384 | 1179844.3773 | 2539919.9288 | 1179825.1775 | 2539915.9412 | 1179814.665
75 | 2539916.6075 | 1179846.6451 | 2539924.3384 | 1179844.3773
76 | 2539924.3384 | 1179844.3773 | 2539924.7969 | 1179846.3704
77 | 2539928.8003 | 1179862.6984 | 2539927.7651 | 1179859.2735 | 2539924.7969 | 1179846.3704
78 | 2539973.313 | 1180019.6753 | 2539973.0847 | 1180018.8303 | 2539972.6585 | 1180017.2405
79 | 2539972.6585 | 1180017.2405 | 2539971.3071 | 1180012.2 | 2539970.4415 | 1180006.6389 | 2539969.0939 | 1179998.7035 | 2539968.4042 | 1179994.2898
80 | 2539967.2 | 1179986.5824 | 2539968.4042 | 1179994.2898
81 | 2540022.3799 | 1179945.8619 | 2540025.4454 | 1179945.3309 | 2540038.0429 | 1179942.3697 | 2540039.6054 | 1179941.9863
82 | 2540022.3799 | 1179945.8619 | 2540020.7152 | 1179940.5868 | 2540020.0048 | 1179937.1379
83 | 2540073.9214 | 1179858.0201 | 2540073.0512 | 1179856.8712 | 2540061.1012 | 1179840.6151 | 2540060.4121 | 1179839.6288
84 | 2539958.7841 | 1179989.8464 | 2539967.2 | 1179986.5824
85 | 2539967.2 | 1179986.5824 | 2539964.2533 | 1179968.513 | 2539964.0798 | 1179967.6662
86 | 2539960.7156 | 1179950.9164 | 2539962.0204 | 1179957.6181 | 2539964.0798 | 1179967.6662
87 | 2539948.895 | 1179954.4036 | 2539960.7156 | 1179950.9164
88 | 2539960.7156 | 1179950.9164 | 2539960.1678 | 1179948.0981 | 2539958.3122 | 1179940.5458
89 | 2539941.858 | 1179897.9537 | 2539944.9463 | 1179905.0156 | 2539950.1404 | 1179917.148 | 2539950.474 | 1179917.9995
90 | 2539955.9563 | 1179933.3876 | 2539955.6646 | 1179932.4901 | 2539952.4139 | 1179922.9507 | 2539950.474 | 1179917.9995
91 | 2539941.858 | 1179897.9537 | 2539940.6356 | 1179895.2371
92 | 2539932.4635 | 1179901.1498 | 2539941.858 | 1179897.9537
93 | 2539955.9563 | 1179933.3876 | 2539958.3122 | 1179940.5458
94 | 2539946.8665 | 1179935.7357 | 2539955.9563 | 1179933.3876
95 | 2539940.6356 | 1179895.2371 | 2539939.1389 | 1179891.9109 | 2539935.5389 | 1179884.0983 | 2539933.1813 | 1179877.5405 | 2539931.4551 | 1179871.4766 | 2539931.3131 | 1179871.0069
96 | 2539928.8003 | 1179862.6984 | 2539931.3131 | 1179871.0069
97 | 2539918.5999 | 1179865.5246 | 2539928.8003 | 1179862.6984
98 | 2540015.0125 | 1179911.4979 | 2540018.4186 | 1179929.4369 | 2540020.0048 | 1179937.1379
99 | 2540015.0125 | 1179911.4979 | 2540014.9023 | 1179910.9173 | 2540011.2265 | 1179894.0113 | 2540011.2265 | 1179894.0113
100 | 2540007.6674 | 1179881.7188 | 2540008.2697 | 1179883.3017 | 2540011.2265 | 1179894.0113
101 | 2540007.6674 | 1179881.7188 | 2540004.5762 | 1179873.5952
102 | 2540057.7216 | 1179938.6371 | 2540053.5303 | 1179938.8792 | 2540045.8841 | 1179940.4456 | 2540039.6054 | 1179941.9863
103 | 2539998.9424 | 1179859.3077 | 2540002.4245 | 1179867.9405 | 2540004.5762 | 1179873.5952
104 | 2539998.9424 | 1179859.3077 | 2539995.6091 | 1179851.0439 | 2539993.2366 | 1179844.5641
105 | 2539990.3274 | 1179836.6185 | 2539993.2366 | 1179844.5641
106 | 2539990.3274 | 1179836.6185 | 2539984.4481 | 1179820.5609 | 2539984.0508 | 1179818.9088
107 | 2539982.9813 | 1179814.4611 | 2539984.0508 | 1179818.9088
108 | 2539982.0541 | 1179798.1835 | 2539982.3338 | 1179807.0301 | 2539982.9813 | 1179814.4611
109 | 2539982.0541 | 1179798.1835 | 2539977.7654 | 1179798.6379 | 2539976.0267 | 1179798.1773 | 2539974.4184 | 1179797.0039 | 2539972.667 | 1179794.6485
110 | 2539982.0541 | 1179798.1835 | 2539981.9176 | 1179780.7752 | 2539982.0559 | 1179765.2926
111 | 2539962.8647 | 1179781.2983 | 2539969.4624 | 1179790.3388 | 2539972.667 | 1179794.6485
112 | 2539982.0559 | 1179765.2926 | 2539982.0669 | 1179764.0636
113 | 2539962.8647 | 1179781.2983 | 2539962.3906 | 1179780.6487 | 2539957.5241 | 1179773.7822
114 | 2539980.6544 | 1179732.6642 | 2539981.5222 | 1179737.566 | 2539982.2342 | 1179745.3299 | 2539982.0669 | 1179764.0636
115 | 2539957.5241 | 1179773.7822 | 2539955.9048 | 1179771.4975 | 2539951.8136 | 1179765.7465 | 2539949.3186 | 1179762.2473 | 2539947.3918 | 1179759.0315 | 2539945.8457 | 1179756.4456 | 2539945.0822 | 1179754.2076 | 2539945.1529 | 1179752.1168 | 2539946.0767 | 1179749.784 | 2539951.1526 | 1179744.7969 | 2539955.1003 | 1179740.8218 | 2539957.2451 | 1179738.6928
116 | 2539974.1208 | 1179706.5299 | 2539975.1853 | 1179709.7585 | 2539979.4572 | 1179725.9025 | 2539980.6544 | 1179732.6642
117 | 2539961.5888 | 1179729.6838 | 2539961.7319 | 1179731.7613 | 2539961.0372 | 1179734.0918 | 2539959.1394 | 1179736.8123 | 2539957.2451 | 1179738.6928
118 | 2539961.5888 | 1179729.6838 | 2539960.4641 | 1179727.227 | 2539958.565 | 1179724.489
119 | 2540050.0944 | 1179821.8842 | 2540047.8221 | 1179815.9899 | 2540045.2986 | 1179807.3436 | 2540044.4154 | 1179802.1952
120 | 2540050.6142 | 1179823.2326 | 2540050.0944 | 1179821.8842
121 | 2540043.2763 | 1179795.555 | 2540044.4154 | 1179802.1952
122 | 2540050.6142 | 1179823.2326 | 2540054.5678 | 1179831.2642 | 2540060.4121 | 1179839.6288
123 | 2540050.6142 | 1179823.2326 | 2540067.8322 | 1179810.3666
124 | 2540043.2763 | 1179795.555 | 2540039.7972 | 1179775.2734
125 | 2540067.8322 | 1179810.3666 | 2540092.9733 | 1179791.5801
126 | 2540039.7972 | 1179775.2734 | 2540037.948 | 1179764.4933 | 2540035.501 | 1179749.6776
127 | 2540093.2004 | 1179791.4104 | 2540092.9733 | 1179791.5801
128 | 2540034.4842 | 1179743.5211 | 2540035.501 | 1179749.6776
129 | 2540105.9124 | 1179781.9114 | 2540093.2004 | 1179791.4104
130 | 2539974.1208 | 1179706.5299 | 2539969.1151 | 1179691.3488
131 | 2540017.4051 | 1179688.2009 | 2540016.4807 | 1179692.0012 | 2540016.706 | 1179695.4231 | 2540017.9981 | 1179698.5786 | 2540023.1254 | 1179706.3315 | 2540025.7698 | 1179710.2628 | 2540028.3523 | 1179716.407 | 2540030.0497 | 1179722.9965
132 | 2540017.4051 | 1179688.2009 | 2540020.2282 | 1179685.5712 | 2540023.478 | 1179684.3601 | 2540023.478 | 1179684.3601
133 | 2540034.4842 | 1179743.5211 | 2540034.4834 | 1179743.5163 | 2540030.4031 | 1179724.3687 | 2540030.0497 | 1179722.9965
134 | 2540036.6244 | 1179694.9827 | 2540035.508 | 1179691.7882 | 2540033.2779 | 1179688.0418 | 2540030.4659 | 1179684.9126 | 2540026.7224 | 1179684.1275 | 2540023.478 | 1179684.3601
135 | 2540040.4765 | 1179705.0458 | 2540039.5348 | 1179703.3098 | 2540036.6244 | 1179694.9827
136 | 2540045.5499 | 1179670.0754 | 2540043.5096 | 1179677.6334 | 2540043.3765 | 1179681.1256 | 2540042.4408 | 1179701.3352 | 2540040.4765 | 1179705.0458
137 | 2540076.8462 | 1179749.1421 | 2540085.0688 | 1179758.6292 | 2540102.9918 | 1179778.649
138 | 2540105.9124 | 1179781.9114 | 2540102.9918 | 1179778.649
139 | 2539994.2407 | 1179536.4371 | 2539986.1283 | 1179529.7692
140 | 2539994.2407 | 1179536.4371 | 2539999.8285 | 1179542.1065
141 | 2539999.8285 | 1179542.1065 | 2540018.3309 | 1179561.6485
142 | 2540052.8273 | 1179598.083 | 2540018.3309 | 1179561.6485
143 | 2540071.9519 | 1179618.2821 | 2540052.8273 | 1179598.083
144 | 2540071.9519 | 1179618.2821 | 2540090.6152 | 1179640.4409
145 | 2540098.7761 | 1179650.5649 | 2540090.6152 | 1179640.4409
146 | 2540090.6152 | 1179640.4409 | 2540086.7747 | 1179643.7034 | 2540078.9228 | 1179650.1304
147 | 2540085.353 | 1179699.9746 | 2540066.3127 | 1179666.9435 | 2540065.1035 | 1179664.4431 | 2540065.2058 | 1179662.4521 | 2540065.6652 | 1179661.0356 | 2540066.7694 | 1179659.9239 | 2540070.5217 | 1179657.0069 | 2540078.9228 | 1179650.1304
148 | 2540091.6954 | 1179709.3909 | 2540085.9819 | 1179701.0657 | 2540085.353 | 1179699.9746
149 | 2540098.7761 | 1179650.5649 | 2540107.4743 | 1179661.5733
150 | 2540107.4743 | 1179661.5733 | 2540130.2751 | 1179690.4296
151 | 2540105.9124 | 1179781.9114 | 2540124.6476 | 1179803.6806 | 2540128.5261 | 1179806.51 | 2540134.2647 | 1179808.9651 | 2540138.8524 | 1179809.3861 | 2540142.886 | 1179808.6342 | 2540146.9345 | 1179806.3258 | 2540149.9163 | 1179803.5277 | 2540152.404 | 1179799.445 | 2540154.631 | 1179793.7718
152 | 2540169.2589 | 1179756.1881 | 2540169.0085 | 1179757.1442 | 2540154.631 | 1179793.7718
153 | 2540150.7887 | 1179715.6628 | 2540163.1679 | 1179730.7545 | 2540169.8148 | 1179738.4702 | 2540171.8495 | 1179742.5521 | 2540171.7752 | 1179746.5773 | 2540169.2589 | 1179756.1881
154 | 2540135.1105 | 1179696.5493 | 2540150.7887 | 1179715.6628
155 | 2540135.1105 | 1179696.5493 | 2540130.2751 | 1179690.4296

## bus_geodata
| x | y | coords
0 | 2539705.6752 | 1180017.0635
1 | 2539708.2786 | 1180010.9529
2 | 2539698.3229 | 1180034.321
3 | 2539710.757 | 1180005.1355
4 | 2539681.0212 | 1180074.9316
5 | 2539781.031 | 1179970.0549
6 | 2539788.2776 | 1179950.4131
7 | 2539803.2363 | 1180009.2594
8 | 2539652.7351 | 1180050.7366
9 | 2539727.4661 | 1180058.3655
10 | 2539665.4573 | 1180020.1947
11 | 2539517.7367 | 1180007.1638
12 | 2539540.8173 | 1179981.0715
13 | 2539540.4889 | 1179950.4318
14 | 2539544.7683 | 1179982.7437
15 | 2539735.5144 | 1180038.1342
16 | 2539631.9822 | 1179997.056
17 | 2539641.2076 | 1179974.9881
18 | 2539671.0527 | 1179987.1462
19 | 2539853.8431 | 1179718.0639
20 | 2539840.6933 | 1179695.4053
21 | 2539865.4557 | 1179743.2454
22 | 2539875.9879 | 1179742.4326
23 | 2539864.6849 | 1179755.4822
24 | 2539894.6072 | 1179740.9958
25 | 2539849.1339 | 1179795.9834
26 | 2539908.4076 | 1179796.484
27 | 2539901.7676 | 1179748.0531
28 | 2539905.9958 | 1179733.2437
29 | 2539818.5028 | 1179812.1115
30 | 2539820.2312 | 1179804.7122
31 | 2539827.7741 | 1179840.712
32 | 2539893.4471 | 1179953.96
33 | 2539852.5199 | 1179983.043
34 | 2539870.9415 | 1179927.5664
35 | 2539882.733 | 1179885.885
36 | 2539872.5778 | 1179847.8874
37 | 2539877.4989 | 1179887.2717
38 | 2539800.9968 | 1179834.0496
39 | 2539823.2673 | 1179854.4095
40 | 2539911.256 | 1179802.7026
41 | 2539920.651 | 1179761.7014
42 | 2539904.9152 | 1179720.4398
43 | 2539925.2198 | 1179767.6085
44 | 2539900.9538 | 1179712.5219
45 | 2539898.301 | 1179707.2193
46 | 2539896.3174 | 1179696.7983
47 | 2539897.0478 | 1179695.9614
48 | 2539901.1015 | 1179691.3172
49 | 2539905.2941 | 1179686.5138
50 | 2539695.8259 | 1179879.3111
51 | 2539732.2563 | 1179887.088
52 | 2539733.1619 | 1179882.9543
53 | 2539785.3308 | 1179899.9181
54 | 2539596.7841 | 1179957.2708
55 | 2539648.0463 | 1179977.8536
56 | 2539738.6001 | 1179857.9796
57 | 2539805.1515 | 1179904.9088
58 | 2539581.5386 | 1179952.5448
59 | 2539586.2082 | 1179980.3572
60 | 2539738.8057 | 1179857.0355
61 | 2539800.2489 | 1179918.1299
62 | 2539793.0765 | 1179937.4718
63 | 2539795.8738 | 1179929.9281
64 | 2539991.8916 | 1180074.4173
65 | 2540042.6238 | 1180012.2295
66 | 2539975.8994 | 1180029.1929
67 | 2540100.9109 | 1179891.9675
68 | 2540027.0224 | 1179960.9665
69 | 2540089.0081 | 1179877.4775
70 | 2539974.1169 | 1180022.6508
71 | 2539915.9412 | 1179814.665
72 | 2539924.3384 | 1179844.3773
73 | 2539916.6075 | 1179846.6451
74 | 2539924.7969 | 1179846.3704
75 | 2539973.313 | 1180019.6753
76 | 2539972.6585 | 1180017.2405
77 | 2539968.4042 | 1179994.2898
78 | 2540022.3799 | 1179945.8619
79 | 2540073.9214 | 1179858.0201
80 | 2539967.2 | 1179986.5824
81 | 2539958.7841 | 1179989.8464
82 | 2539964.0798 | 1179967.6662
83 | 2539960.7156 | 1179950.9164
84 | 2539950.474 | 1179917.9995
85 | 2539941.858 | 1179897.9537
86 | 2539955.9563 | 1179933.3876
87 | 2539940.6356 | 1179895.2371
88 | 2539932.4635 | 1179901.1498
89 | 2539958.3122 | 1179940.5458
90 | 2539946.8665 | 1179935.7357
91 | 2539931.3131 | 1179871.0069
92 | 2539928.8003 | 1179862.6984
93 | 2539948.895 | 1179954.4036
94 | 2539918.5999 | 1179865.5246
95 | 2539925.2329 | 1179767.6254
96 | 2540015.0125 | 1179911.4979
97 | 2540020.0048 | 1179937.1379
98 | 2540011.2265 | 1179894.0113
99 | 2540007.6674 | 1179881.7188
100 | 2540039.6054 | 1179941.9863
101 | 2540004.5762 | 1179873.5952
102 | 2540057.7216 | 1179938.6371
103 | 2539998.9424 | 1179859.3077
104 | 2539993.2366 | 1179844.5641
105 | 2539990.3274 | 1179836.6185
106 | 2539984.0508 | 1179818.9088
107 | 2539982.9813 | 1179814.4611
108 | 2539982.0541 | 1179798.1835
109 | 2539972.667 | 1179794.6485
110 | 2539982.0559 | 1179765.2926
111 | 2539962.8647 | 1179781.2983
112 | 2539982.0669 | 1179764.0636
113 | 2539957.5241 | 1179773.7822
114 | 2539980.6544 | 1179732.6642
115 | 2539957.2451 | 1179738.6928
116 | 2539961.5888 | 1179729.6838
117 | 2539958.565 | 1179724.489
118 | 2540050.0944 | 1179821.8842
119 | 2540044.4154 | 1179802.1952
120 | 2540050.6142 | 1179823.2326
121 | 2540043.2763 | 1179795.555
122 | 2540060.4121 | 1179839.6288
123 | 2540067.8322 | 1179810.3666
124 | 2540039.7972 | 1179775.2734
125 | 2540092.9733 | 1179791.5801
126 | 2540035.501 | 1179749.6776
127 | 2540093.2004 | 1179791.4104
128 | 2539974.1208 | 1179706.5299
129 | 2539969.1151 | 1179691.3488
130 | 2540017.4051 | 1179688.2009
131 | 2540030.0497 | 1179722.9965
132 | 2540023.478 | 1179684.3601
133 | 2540034.4842 | 1179743.5211
134 | 2540036.6244 | 1179694.9827
135 | 2540040.4765 | 1179705.0458
136 | 2540045.5499 | 1179670.0754
137 | 2540076.8462 | 1179749.1421
138 | 2540102.9918 | 1179778.649
139 | 2539986.1283 | 1179529.7692
140 | 2539994.2407 | 1179536.4371
141 | 2539999.8285 | 1179542.1065
142 | 2540018.3309 | 1179561.6485
143 | 2540071.9519 | 1179618.282
144 | 2540052.8273 | 1179598.083
145 | 2540090.6152 | 1179640.4409
146 | 2540085.353 | 1179699.9746
147 | 2540078.9228 | 1179650.1304
148 | 2540091.6954 | 1179709.3909
149 | 2540098.7761 | 1179650.5649
150 | 2540107.4743 | 1179661.5733
151 | 2540105.9124 | 1179781.9114
152 | 2540154.6309 | 1179793.7718
153 | 2540169.2589 | 1179756.1881
154 | 2540150.7887 | 1179715.6628
155 | 2540130.2751 | 1179690.4296
156 | 2540135.1105 | 1179696.5493
157 | 2539882.733 | 1179885.885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1