## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-59_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-59_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-59_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-59_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-59_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-59_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5938-59_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5938-59_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5938-59_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5938-59_0_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_5938-59_0_4_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_5938-59_0_4_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_5938-59_0_4_node_101 | 0.4 | n |  | TRUE
13 | bus_LV_5938-59_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5938-59_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_5938-59_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_5938-59_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_5938-59_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5938-59_0_4_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_5938-59_0_4_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_5938-59_0_4_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_5938-59_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_5938-59_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5938-59_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_5938-59_0_4_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_5938-59_0_4_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_5938-59_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5938-59_0_4_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_5938-59_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_5938-59_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5938-59_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5938-59_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5938-59_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_5938-59_0_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5938-59_0_4_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_5938-59_0_4_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_5938-59_0_4_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_5938-59_0_4_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_5938-59_0_4_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_5938-59_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5938-59_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5938-59_0_4_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_5938-59_0_4_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_5938-59_0_4_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_5938-59_0_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_5938-59_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5938-59_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5938-59_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5938-59_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5938-59_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5938-59_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5938-59_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5938-59_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5938-59_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5938-59_0_4_node_14 | 0.4 | n |  | TRUE
55 | bus_LV_5938-59_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5938-59_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5938-59_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5938-59_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5938-59_0_4_node_18 | 0.4 | n |  | TRUE
60 | bus_LV_5938-59_0_4_node_21 | 0.4 | n |  | TRUE
61 | bus_LV_5938-59_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_5938-59_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_5938-59_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5938-59_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_5938-59_0_4_node_29 | 0.4 | n |  | TRUE
66 | bus_LV_5938-59_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_5938-59_0_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_5938-59_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5938-59_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5938-59_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_5938-59_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5938-59_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_5938-59_0_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_5938-59_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5938-59_0_4_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_5938-59_0_4_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_5938-59_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5938-59_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_5938-59_0_4_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_5938-59_0_4_node_45 | 0.4 | n |  | TRUE
81 | bus_LV_5938-59_0_4_node_51 | 0.4 | n |  | TRUE
82 | bus_LV_5938-59_0_4_node_49 | 0.4 | n |  | TRUE
83 | bus_LV_5938-59_0_4_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_5938-59_0_4_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_5938-59_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_5938-59_0_4_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_5938-59_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_5938-59_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_5938-59_0_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5938-59_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_5938-59_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5938-59_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5938-59_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_5938-59_0_4_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_5938-59_0_4_node_98 | 0.4 | n |  | TRUE
96 | bus_MV_455_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-59_0_4_load_0 | 0 | 0.0010955 | 0.00027456 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-59_0_4_load_1 | 1 | 0.0019991 | 0.00050101 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-59_0_4_load_3 | 3 | 0.0023874 | 0.00059834 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-59_0_4_load_4 | 4 | 0.0029804 | 0.00074695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-59_0_4_load_11 | 6 | 0.0030381 | 0.00076143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-59_0_4_load_12 | 7 | 0.0038403 | 0.00096248 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-59_0_4_load_73 | 11 | 0.00084569 | 0.00021195 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-59_0_4_load_101 | 12 | 0.0030672 | 0.00076871 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-59_0_4_load_19 | 14 | 0.0031025 | 0.00077755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-59_0_4_load_20 | 15 | 0.0034436 | 0.00086305 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-59_0_4_load_16 | 16 | 0.003287 | 0.00082379 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-59_0_4_load_90 | 18 | 0.0025095 | 0.00062894 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-59_0_4_load_91 | 19 | 0.0024015 | 0.00060188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-59_0_4_load_89 | 20 | 0.002195 | 0.00055012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-59_0_4_load_33 | 21 | 0.0027685 | 0.00069385 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-59_0_4_load_13 | 22 | 0.0013852 | 0.00034715 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-59_0_4_load_67 | 25 | 0.022011 | 0.0055165 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-59_0_4_load_58 | 27 | 0.02201 | 0.0055162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-59_0_4_load_25 | 30 | 0.0065544 | 0.0016427 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-59_0_4_load_26 | 31 | 0.0033993 | 0.00085195 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-59_0_4_load_53 | 32 | 0.0033615 | 0.00084248 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-59_0_4_load_52 | 33 | 0.0030513 | 0.00076473 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-59_0_4_load_74 | 34 | 0.019413 | 0.0048654 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-59_0_4_load_66 | 35 | 0.012702 | 0.0031833 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-59_0_4_load_100 | 37 | 0.0023578 | 0.00059092 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-59_0_4_load_99 | 38 | 0.0018318 | 0.00045908 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-59_0_4_load_22 | 39 | 0.0031023 | 0.0007775 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-59_0_4_load_23 | 40 | 0.0034197 | 0.00085706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-59_0_4_load_17 | 41 | 0.0030403 | 0.00076197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-59_0_4_load_92 | 42 | 0.0024989 | 0.00062629 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-59_0_4_load_93 | 43 | 0.0022185 | 0.000556 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-59_0_4_load_88 | 44 | 0.002252 | 0.00056441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-59_0_4_load_31 | 45 | 0.0034682 | 0.00086921 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-59_0_4_load_34 | 47 | 0.0022244 | 0.00055748 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-59_0_4_load_35 | 48 | 0.00075779 | 0.00018992 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-59_0_4_load_36 | 49 | 0.0029687 | 0.00074403 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-59_0_4_load_37 | 50 | 0.0023797 | 0.0005964 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-59_0_4_load_50 | 52 | 0.0022054 | 0.00055272 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-59_0_4_load_42 | 53 | 0.0040586 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-59_0_4_load_14 | 54 | 0.0020968 | 0.0005255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-59_0_4_load_38 | 55 | 0.0020565 | 0.00051541 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-59_0_4_load_39 | 56 | 0.0016442 | 0.00041208 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-59_0_4_load_40 | 57 | 0.0027724 | 0.00069483 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-59_0_4_load_41 | 58 | 0.0016503 | 0.00041361 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-59_0_4_load_18 | 59 | 0.0031026 | 0.0007776 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-59_0_4_load_21 | 60 | 0.0068637 | 0.0017202 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-59_0_4_load_54 | 61 | 0.0029916 | 0.00074976 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-59_0_4_load_55 | 63 | 0.0029241 | 0.00073285 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-59_0_4_load_65 | 64 | 0.002263 | 0.00056715 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-59_0_4_load_29 | 65 | 0.0029897 | 0.00074928 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-59_0_4_load_84 | 66 | 0.018107 | 0.0045381 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-59_0_4_load_82 | 67 | 0.016784 | 0.0042065 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-59_0_4_load_63 | 69 | 0.0023943 | 0.00060007 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-59_0_4_load_56 | 70 | 0.0032831 | 0.00082283 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-59_0_4_load_83 | 72 | 0.015438 | 0.0038691 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-59_0_4_load_81 | 73 | 0.020136 | 0.0050465 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-59_0_4_load_94 | 75 | 0.0025943 | 0.00065019 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5938-59_0_4_load_86 | 76 | 0.0023389 | 0.00058618 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5938-59_0_4_load_85 | 78 | 0.0022698 | 0.00056886 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5938-59_0_4_load_48 | 79 | 0.0015827 | 0.00039666 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5938-59_0_4_load_45 | 80 | 0.0046237 | 0.0011588 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5938-59_0_4_load_49 | 82 | 0.0021006 | 0.00052645 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5938-59_0_4_load_47 | 83 | 0.002531 | 0.00063434 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5938-59_0_4_load_95 | 84 | 0.0022616 | 0.0005668 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5938-59_0_4_load_87 | 85 | 0.0022099 | 0.00055385 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5938-59_0_4_load_76 | 88 | 0.019209 | 0.0048142 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5938-59_0_4_load_77 | 89 | 0.021425 | 0.0053697 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5938-59_0_4_load_79 | 91 | 0.027734 | 0.0069508 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5938-59_0_4_load_80 | 92 | 0.017758 | 0.0044505 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5938-59_0_4_load_96 | 93 | 0.0022186 | 0.00055604 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5938-59_0_4_load_97 | 94 | 0.0023982 | 0.00060104 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5938-59_0_4_load_98 | 95 | 0.0026725 | 0.00066979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-59_0_4_line_0 |  | 0 | 1 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-59_0_4_line_1 |  | 0 | 2 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-59_0_4_line_2 |  | 1 | 3 | 0.016276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-59_0_4_line_3 |  | 2 | 4 | 0.02146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-59_0_4_line_4 |  | 2 | 5 | 0.10937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-59_0_4_line_5 |  | 3 | 6 | 0.029528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5938-59_0_4_line_6 |  | 4 | 7 | 0.061219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-59_0_4_line_7 |  | 5 | 12 | 0.025103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5938-59_0_4_line_8 |  | 6 | 21 | 0.047228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5938-59_0_4_line_9 |  | 7 | 22 | 0.023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5938-59_0_4_line_10 |  | 8 | 9 | 0.054165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-59_0_4_line_11 |  | 8 | 10 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5938-59_0_4_line_12 |  | 8 | 11 | 0.05912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5938-59_0_4_line_13 |  | 9 | 34 | 0.022929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5938-59_0_4_line_14 |  | 10 | 35 | 0.041743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5938-59_0_4_line_15 |  | 11 | 36 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5938-59_0_4_line_16 |  | 13 | 14 | 0.019099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5938-59_0_4_line_17 |  | 13 | 15 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-59_0_4_line_18 |  | 13 | 16 | 0.016068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5938-59_0_4_line_19 |  | 14 | 39 | 4.9143e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-59_0_4_line_20 |  | 15 | 40 | 0.0064587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-59_0_4_line_21 |  | 16 | 41 | 0.0059465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-59_0_4_line_22 |  | 17 | 18 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-59_0_4_line_23 |  | 17 | 19 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5938-59_0_4_line_24 |  | 17 | 20 | 0.019503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5938-59_0_4_line_25 |  | 18 | 42 | 0.0064723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5938-59_0_4_line_26 |  | 19 | 43 | 0.0059523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5938-59_0_4_line_27 |  | 20 | 44 | 3.6916e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5938-59_0_4_line_28 |  | 21 | 45 | 0.01482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5938-59_0_4_line_29 |  | 22 | 54 | 0.091311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5938-59_0_4_line_30 |  | 23 | 24 | 0.026287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5938-59_0_4_line_31 |  | 23 | 25 | 0.0019489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5938-59_0_4_line_32 |  | 24 | 66 | 0.0010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5938-59_0_4_line_33 |  | 25 | 35 | 0.027867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5938-59_0_4_line_34 |  | 26 | 27 | 0.032986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-59_0_4_line_35 |  | 26 | 28 | 0.016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5938-59_0_4_line_36 |  | 27 | 66 | 0.027905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5938-59_0_4_line_37 |  | 27 | 67 | 0.027165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-59_0_4_line_38 |  | 28 | 63 | 0.012305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-59_0_4_line_39 |  | 28 | 31 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-59_0_4_line_40 |  | 29 | 30 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5938-59_0_4_line_41 |  | 29 | 31 | 0.011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-59_0_4_line_42 |  | 30 | 65 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-59_0_4_line_43 |  | 32 | 33 | 0.0061907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5938-59_0_4_line_44 |  | 33 | 65 | 0.0054468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-59_0_4_line_45 |  | 34 | 90 | 0.048736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5938-59_0_4_line_46 |  | 36 | 54 | 0.045566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5938-59_0_4_line_47 |  | 37 | 38 | 0.0022134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5938-59_0_4_line_48 |  | 38 | 95 | 0.0055676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-59_0_4_line_49 |  | 39 | 61 | 7.3927e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-59_0_4_line_50 |  | 40 | 62 | 0.0050235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-59_0_4_line_51 |  | 41 | 59 | 0.0054651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-59_0_4_line_52 |  | 42 | 84 | 0.0056997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-59_0_4_line_53 |  | 43 | 64 | 0.0054649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-59_0_4_line_54 |  | 44 | 85 | 0.00013272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-59_0_4_line_55 |  | 45 | 46 | 0.015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-59_0_4_line_56 |  | 46 | 47 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-59_0_4_line_57 |  | 46 | 48 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5938-59_0_4_line_58 |  | 47 | 49 | 0.040845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-59_0_4_line_59 |  | 48 | 50 | 0.0082974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-59_0_4_line_60 |  | 49 | 51 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-59_0_4_line_61 |  | 50 | 52 | 0.029344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-59_0_4_line_62 |  | 51 | 53 | 0.037805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-59_0_4_line_63 |  | 52 | 79 | 0.00021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-59_0_4_line_64 |  | 53 | 57 | 0.019343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-59_0_4_line_65 |  | 55 | 56 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-59_0_4_line_66 |  | 55 | 57 | 0.0065475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-59_0_4_line_67 |  | 56 | 58 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-59_0_4_line_68 |  | 59 | 60 | 0.00023642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-59_0_4_line_69 |  | 61 | 63 | 3.0487e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-59_0_4_line_70 |  | 62 | 64 | 0.00074848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-59_0_4_line_71 |  | 67 | 73 | 0.02724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-59_0_4_line_72 |  | 68 | 69 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-59_0_4_line_73 |  | 68 | 70 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-59_0_4_line_74 |  | 69 | 77 | 0.019521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-59_0_4_line_75 |  | 71 | 72 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-59_0_4_line_76 |  | 71 | 73 | 0.00081574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-59_0_4_line_77 |  | 74 | 75 | 0.0089278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-59_0_4_line_78 |  | 74 | 76 | 0.01107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-59_0_4_line_79 |  | 75 | 84 | 0.018489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-59_0_4_line_80 |  | 77 | 78 | 0.012227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-59_0_4_line_81 |  | 78 | 85 | 3.2095e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-59_0_4_line_82 |  | 79 | 83 | 0.023504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-59_0_4_line_83 |  | 80 | 81 | 0.04685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-59_0_4_line_84 |  | 81 | 82 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-59_0_4_line_85 |  | 82 | 83 | 0.0080379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-59_0_4_line_86 |  | 84 | 93 | 0.00641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-59_0_4_line_87 |  | 86 | 87 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-59_0_4_line_88 |  | 86 | 88 | 0.02542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5938-59_0_4_line_89 |  | 87 | 91 | 0.058757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5938-59_0_4_line_90 |  | 87 | 92 | 0.0046534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5938-59_0_4_line_91 |  | 88 | 90 | 0.0057754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5938-59_0_4_line_92 |  | 89 | 90 | 0.062451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-59_0_4_line_93 |  | 93 | 94 | 0.0059553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5938-59_0_4_line_94 |  | 94 | 95 | 0.0073416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-59_0_4_trafo_84 | 0.63 MVA 20/0.4 kV | 96 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2540406.5437 | 1180505.1611 | 2540403.8258 | 1180512.7017 | 2540402.6182 | 1180515.9223
1 | 2540411.8606 | 1180490.4092 | 2540406.5437 | 1180505.1611
2 | 2540402.6182 | 1180515.9223 | 2540397.6874 | 1180529.072 | 2540396.9545 | 1180531.1807
3 | 2540411.8606 | 1180490.4092 | 2540414.0727 | 1180490.8764 | 2540432.4629 | 1180496.3909
4 | 2540411.8606 | 1180490.4092 | 2540409.6538 | 1180489.7086 | 2540373.0735 | 1180479.6674 | 2540347.4151 | 1180543.8479
5 | 2540410.2293 | 1180548.2356 | 2540401.6878 | 1180547.2646 | 2540397.4375 | 1180546.1507 | 2540394.878 | 1180543.7749 | 2540394.2804 | 1180541.2906 | 2540395.1554 | 1180536.3569 | 2540396.9545 | 1180531.1807
6 | 2540486.7002 | 1180523.9857 | 2540470.111 | 1180513.5536 | 2540455.0645 | 1180504.4204 | 2540444.8244 | 1180500.0976 | 2540432.4629 | 1180496.3909
7 | 2540364.6058 | 1180560.4192 | 2540363.2565 | 1180555.3186 | 2540361.8142 | 1180553.154 | 2540359.0828 | 1180550.4019 | 2540353.3208 | 1180547.0464 | 2540347.4151 | 1180543.8479
8 | 2540410.2293 | 1180548.2356 | 2540426.2689 | 1180592.6564
9 | 2540486.7002 | 1180523.9857 | 2540487.5666 | 1180524.5305 | 2540508.0983 | 1180532.9978 | 2540508.5623 | 1180532.9952
10 | 2540564.0052 | 1180525.6159 | 2540563.779 | 1180522.0717 | 2540572.4616 | 1180515.7152 | 2540583.4201 | 1180514.717 | 2540593.6306 | 1180516.839 | 2540607.3643 | 1180504.5625
11 | 2540562.301 | 1180503.2425 | 2540563.779 | 1180522.0717 | 2540564.0052 | 1180525.6159
12 | 2540564.0052 | 1180525.6159 | 2540571.0729 | 1180527.3911 | 2540578.8553 | 1180530.3822 | 2540590.4808 | 1180537.3151 | 2540605.6873 | 1180547.203 | 2540609.9807 | 1180549.5839 | 2540616.1066 | 1180552.7836
13 | 2540607.3643 | 1180504.5625 | 2540606.8853 | 1180498.6306 | 2540608.395 | 1180496.0475 | 2540606.8888 | 1180482.1427
14 | 2540562.301 | 1180503.2425 | 2540548.6822 | 1180504.0227 | 2540547.6682 | 1180495.7615 | 2540528.2491 | 1180497.7889 | 2540528.22 | 1180497.537
15 | 2540633.6511 | 1180561.8781 | 2540617.7508 | 1180553.6424 | 2540616.1066 | 1180552.7836
16 | 2540438.2801 | 1180422.7973 | 2540445.1104 | 1180422.1956 | 2540457.2631 | 1180420.7137
17 | 2540438.2801 | 1180422.7973 | 2540436.309 | 1180406.9436
18 | 2540438.2801 | 1180422.7973 | 2540440.2678 | 1180438.7422
19 | 2540457.3119 | 1180420.7077 | 2540457.2631 | 1180420.7137
20 | 2540436.309 | 1180406.9436 | 2540435.5121 | 1180400.5342
21 | 2540440.2678 | 1180438.7422 | 2540441.0034 | 1180444.6431
22 | 2540431.372 | 1180367.2683 | 2540430.0233 | 1180352.2782
23 | 2540431.372 | 1180367.2683 | 2540433.3895 | 1180383.4765
24 | 2540431.372 | 1180367.2683 | 2540450.7739 | 1180365.2893
25 | 2540430.0233 | 1180352.2782 | 2540429.4434 | 1180345.832
26 | 2540434.1248 | 1180389.3832 | 2540433.3895 | 1180383.4765
27 | 2540450.8107 | 1180365.2856 | 2540450.7739 | 1180365.2893
28 | 2540426.2689 | 1180592.6564 | 2540426.2671 | 1180600.1383 | 2540425.6353 | 1180606.4926 | 2540425.4342 | 1180607.424
29 | 2540595.5913 | 1180545.7761 | 2540587.6846 | 1180540.3334 | 2540571.7579 | 1180532.5316 | 2540564.0849 | 1180529.7952 | 2540555.1533 | 1180528.7722 | 2540546.8521 | 1180529.6885 | 2540520.6777 | 1180532.9282 | 2540508.5623 | 1180532.9952
30 | 2540521.7804 | 1180441.8107 | 2540524.8051 | 1180467.9175
31 | 2540524.8051 | 1180467.9175 | 2540525.0283 | 1180469.8536
32 | 2540521.7804 | 1180441.8107 | 2540521.6642 | 1180440.7876
33 | 2540528.22 | 1180497.537 | 2540525.0283 | 1180469.8536
34 | 2540518.5155 | 1180413.0604 | 2540485.705 | 1180417.2779
35 | 2540485.705 | 1180417.2779 | 2540471.0644 | 1180419.0245 | 2540469.6302 | 1180419.2055
36 | 2540518.5155 | 1180413.0604 | 2540521.6642 | 1180440.7876
37 | 2540518.5155 | 1180413.0604 | 2540515.3463 | 1180386.0805
38 | 2540469.6302 | 1180419.2055 | 2540457.4155 | 1180420.6951
39 | 2540469.6302 | 1180419.2055 | 2540471.2278 | 1180435.4321 | 2540467.9829 | 1180435.5755 | 2540467.995 | 1180435.6756
40 | 2540469.3983 | 1180447.3236 | 2540470.2587 | 1180457.7875
41 | 2540469.3983 | 1180447.3236 | 2540467.995 | 1180435.6756
42 | 2540470.2587 | 1180457.7875 | 2540470.2587 | 1180457.7875 | 2540474.263 | 1180457.2029 | 2540475.5359 | 1180470.2684
43 | 2540476.6644 | 1180481.851 | 2540476.0641 | 1180475.6895
44 | 2540475.5359 | 1180470.2684 | 2540476.0641 | 1180475.6895
45 | 2540601.5201 | 1180433.7031 | 2540603.8288 | 1180453.8915 | 2540606.8888 | 1180482.1427
46 | 2540633.6511 | 1180561.8781 | 2540631.1014 | 1180565.8612 | 2540607.7057 | 1180553.5532 | 2540603.5944 | 1180551.0481 | 2540600.4052 | 1180549.0898 | 2540595.5913 | 1180545.7761
47 | 2540424.9827 | 1180315.1912 | 2540424.6367 | 1180313.005
48 | 2540425.8528 | 1180320.6904 | 2540424.9827 | 1180315.1912
49 | 2540457.3853 | 1180420.6988 | 2540457.3119 | 1180420.7077
50 | 2540434.8923 | 1180395.5491 | 2540435.5121 | 1180400.5342
51 | 2540441.6794 | 1180450.0662 | 2540441.0034 | 1180444.6431
52 | 2540428.9326 | 1180340.1552 | 2540429.4434 | 1180345.832
53 | 2540434.7999 | 1180394.8063 | 2540434.1248 | 1180389.3832
54 | 2540450.9427 | 1180365.2721 | 2540450.8107 | 1180365.2856
55 | 2540423.8151 | 1180623.1312 | 2540423.5303 | 1180619.0762 | 2540424.1531 | 1180613.3557 | 2540425.4342 | 1180607.424
56 | 2540423.8151 | 1180623.1312 | 2540424.5701 | 1180625.3138 | 2540426.5779 | 1180627.5061 | 2540432.6219 | 1180631.5704 | 2540433.5081 | 1180632.0678
57 | 2540423.8151 | 1180623.1312 | 2540417.933 | 1180625.3465 | 2540415.7632 | 1180627.5916 | 2540415.1276 | 1180629.0612
58 | 2540462.4849 | 1180659.2568 | 2540462.0448 | 1180658.5372 | 2540453.2987 | 1180645.4391 | 2540451.0607 | 1180642.3708 | 2540449.4861 | 1180640.7188 | 2540444.7401 | 1180638.1313 | 2540439.4733 | 1180635.4155 | 2540433.5081 | 1180632.0678
59 | 2540415.1276 | 1180629.0612 | 2540414.2999 | 1180630.9747 | 2540412.0392 | 1180636.7613
60 | 2540470.0732 | 1180671.6646 | 2540462.4849 | 1180659.2568
61 | 2540401.3611 | 1180664.0937 | 2540412.0392 | 1180636.7613
62 | 2540470.0732 | 1180671.6646 | 2540473.2263 | 1180667.6866 | 2540476.5944 | 1180663.8287 | 2540480.4509 | 1180660.6886 | 2540484.5101 | 1180657.1907 | 2540486.8338 | 1180654.2993 | 2540488.1605 | 1180651.7625 | 2540488.9464 | 1180647.0743 | 2540489.0553 | 1180641.1254
63 | 2540401.3611 | 1180664.0937 | 2540401.2836 | 1180664.292
64 | 2540489.0553 | 1180641.1254 | 2540489.0553 | 1180641.1254 | 2540489.8047 | 1180638.1496 | 2540491.5771 | 1180634.341 | 2540494.8834 | 1180628.1046 | 2540497.4232 | 1180623.7803
65 | 2540500.9213 | 1180618.2531 | 2540506.0944 | 1180611.0503 | 2540509.9319 | 1180606.7541
66 | 2540500.9213 | 1180618.2531 | 2540499.5401 | 1180620.1761 | 2540497.4232 | 1180623.7803
67 | 2540509.9319 | 1180606.7541 | 2540509.9319 | 1180606.7541 | 2540512.7051 | 1180607.5826 | 2540520.4319 | 1180610.3629 | 2540523.9671 | 1180611.8599
68 | 2540441.7086 | 1180450.3008 | 2540441.6794 | 1180450.0662
69 | 2540457.4155 | 1180420.6951 | 2540457.3853 | 1180420.6988
70 | 2540434.8923 | 1180395.5491 | 2540434.7999 | 1180394.8063
71 | 2540512.1684 | 1180359.0262 | 2540515.3463 | 1180386.0805
72 | 2540462.5691 | 1180392.0161 | 2540461.2704 | 1180380.5465
73 | 2540462.5691 | 1180392.0161 | 2540463.8733 | 1180403.3317
74 | 2540463.1384 | 1180364.0281 | 2540464.7171 | 1180379.8991 | 2540461.2627 | 1180380.4782 | 2540461.2704 | 1180380.5465
75 | 2540512.0732 | 1180358.216 | 2540508.9307 | 1180331.1263
76 | 2540512.0732 | 1180358.216 | 2540512.1684 | 1180359.0262
77 | 2540456.1707 | 1180337.0268 | 2540447.3027 | 1180338.0589
78 | 2540456.1707 | 1180337.0268 | 2540457.4717 | 1180348.02
79 | 2540428.9326 | 1180340.1552 | 2540437.8902 | 1180339.1544 | 2540447.3027 | 1180338.0589
80 | 2540463.1384 | 1180364.0281 | 2540450.9746 | 1180365.2688
81 | 2540450.9746 | 1180365.2688 | 2540450.9427 | 1180365.2721
82 | 2540392.709 | 1180686.1756 | 2540399.1654 | 1180669.7138 | 2540401.2836 | 1180664.292
83 | 2540382.1898 | 1180712.9961 | 2540393.7847 | 1180717.6387 | 2540410.1998 | 1180723.1227 | 2540419.198 | 1180725.49 | 2540426.9033 | 1180726.3118
84 | 2540382.1898 | 1180712.9961 | 2540389.7741 | 1180693.6586
85 | 2540392.709 | 1180686.1756 | 2540389.7741 | 1180693.6586
86 | 2540428.9326 | 1180340.1552 | 2540427.9308 | 1180333.8239
87 | 2540595.6657 | 1180378.7527 | 2540597.9736 | 1180402.7098
88 | 2540597.9736 | 1180402.7098 | 2540600.8635 | 1180427.9651
89 | 2540595.6657 | 1180378.7527 | 2540624.7299 | 1180375.6959 | 2540626.8081 | 1180374.2077 | 2540627.4574 | 1180371.9111 | 2540627.5561 | 1180367.9968 | 2540625.527 | 1180347.4221
90 | 2540595.6657 | 1180378.7527 | 2540595.0779 | 1180374.1365
91 | 2540601.5201 | 1180433.7031 | 2540600.8635 | 1180427.9651
92 | 2540601.5201 | 1180433.7031 | 2540632.0349 | 1180429.8314 | 2540635.3833 | 1180430.8877 | 2540636.9671 | 1180434.2294 | 2540637.4985 | 1180437.7483 | 2540639.7678 | 1180458.5489
93 | 2540427.9308 | 1180333.8239 | 2540427.0001 | 1180327.9418
94 | 2540425.8528 | 1180320.6904 | 2540427.0001 | 1180327.9418

## bus_geodata
| x | y | coords
0 | 2540406.5437 | 1180505.1611
1 | 2540402.6182 | 1180515.9223
2 | 2540411.8606 | 1180490.4092
3 | 2540396.9545 | 1180531.1807
4 | 2540432.4629 | 1180496.3909
5 | 2540347.4151 | 1180543.8479
6 | 2540410.2293 | 1180548.2356
7 | 2540486.7002 | 1180523.9857
8 | 2540564.0052 | 1180525.6159
9 | 2540607.3643 | 1180504.5625
10 | 2540562.301 | 1180503.2425
11 | 2540616.1066 | 1180552.7836
12 | 2540364.6058 | 1180560.4192
13 | 2540438.2801 | 1180422.7973
14 | 2540457.2631 | 1180420.7137
15 | 2540436.309 | 1180406.9436
16 | 2540440.2678 | 1180438.7422
17 | 2540431.372 | 1180367.2683
18 | 2540430.0233 | 1180352.2782
19 | 2540433.3895 | 1180383.4765
20 | 2540450.7739 | 1180365.2893
21 | 2540426.2689 | 1180592.6564
22 | 2540508.5623 | 1180532.9952
23 | 2540524.8051 | 1180467.9175
24 | 2540521.7804 | 1180441.8107
25 | 2540525.0283 | 1180469.8536
26 | 2540485.705 | 1180417.2779
27 | 2540518.5155 | 1180413.0604
28 | 2540469.6302 | 1180419.2055
29 | 2540469.3983 | 1180447.3236
30 | 2540470.2587 | 1180457.7875
31 | 2540467.995 | 1180435.6756
32 | 2540476.6644 | 1180481.851
33 | 2540476.0641 | 1180475.6895
34 | 2540606.8888 | 1180482.1427
35 | 2540528.22 | 1180497.537
36 | 2540633.6512 | 1180561.8781
37 | 2540424.6367 | 1180313.005
38 | 2540424.9826 | 1180315.1912
39 | 2540457.3119 | 1180420.7077
40 | 2540435.5121 | 1180400.5342
41 | 2540441.0034 | 1180444.6431
42 | 2540429.4434 | 1180345.832
43 | 2540434.1248 | 1180389.3832
44 | 2540450.8107 | 1180365.2856
45 | 2540425.4342 | 1180607.424
46 | 2540423.8151 | 1180623.1312
47 | 2540433.5081 | 1180632.0678
48 | 2540415.1276 | 1180629.0612
49 | 2540462.4849 | 1180659.2568
50 | 2540412.0392 | 1180636.7613
51 | 2540470.0732 | 1180671.6646
52 | 2540401.3611 | 1180664.0937
53 | 2540489.0553 | 1180641.1254
54 | 2540595.5913 | 1180545.7761
55 | 2540500.9213 | 1180618.2531
56 | 2540509.9319 | 1180606.7541
57 | 2540497.4232 | 1180623.7803
58 | 2540523.9671 | 1180611.8599
59 | 2540441.6794 | 1180450.0662
60 | 2540441.7086 | 1180450.3008
61 | 2540457.3853 | 1180420.6988
62 | 2540434.8923 | 1180395.5491
63 | 2540457.4155 | 1180420.6951
64 | 2540434.7999 | 1180394.8063
65 | 2540475.5359 | 1180470.2684
66 | 2540521.6642 | 1180440.7876
67 | 2540515.3463 | 1180386.0805
68 | 2540462.5691 | 1180392.0161
69 | 2540461.2704 | 1180380.5465
70 | 2540463.8733 | 1180403.3317
71 | 2540512.0732 | 1180358.216
72 | 2540508.9307 | 1180331.1263
73 | 2540512.1684 | 1180359.0262
74 | 2540456.1707 | 1180337.0268
75 | 2540447.3027 | 1180338.0589
76 | 2540457.4717 | 1180348.02
77 | 2540463.1384 | 1180364.0281
78 | 2540450.9746 | 1180365.2688
79 | 2540401.2836 | 1180664.292
80 | 2540426.9033 | 1180726.3118
81 | 2540382.1898 | 1180712.9961
82 | 2540389.7741 | 1180693.6586
83 | 2540392.709 | 1180686.1756
84 | 2540428.9326 | 1180340.1552
85 | 2540450.9427 | 1180365.2721
86 | 2540597.9736 | 1180402.7098
87 | 2540595.6657 | 1180378.7527
88 | 2540600.8635 | 1180427.9651
89 | 2540639.7678 | 1180458.5489
90 | 2540601.5201 | 1180433.7031
91 | 2540625.527 | 1180347.4221
92 | 2540595.0779 | 1180374.1365
93 | 2540427.9308 | 1180333.8239
94 | 2540427.0001 | 1180327.9418
95 | 2540425.8528 | 1180320.6904
96 | 2540521.7804 | 1180441.8107

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1