## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5938-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5938-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5938-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5938-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5938-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5938-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5938-7_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_5938-7_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5938-7_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5938-7_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5938-7_0_4_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_5938-7_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5938-7_0_4_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_5938-7_0_4_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_5938-7_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5938-7_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5938-7_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_5938-7_0_4_node_104 | 0.4 | n |  | TRUE
18 | bus_LV_5938-7_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5938-7_0_4_node_177 | 0.4 | n |  | TRUE
20 | bus_LV_5938-7_0_4_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_5938-7_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5938-7_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5938-7_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5938-7_0_4_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_5938-7_0_4_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_5938-7_0_4_node_98 | 0.4 | n |  | TRUE
27 | bus_LV_5938-7_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5938-7_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5938-7_0_4_node_176 | 0.4 | n |  | TRUE
30 | bus_LV_5938-7_0_4_node_184 | 0.4 | n |  | TRUE
31 | bus_LV_5938-7_0_4_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_5938-7_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5938-7_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5938-7_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_5938-7_0_4_node_123 | 0.4 | n |  | TRUE
36 | bus_LV_5938-7_0_4_node_137 | 0.4 | n |  | TRUE
37 | bus_LV_5938-7_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5938-7_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_5938-7_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_5938-7_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5938-7_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5938-7_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5938-7_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5938-7_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5938-7_0_4_node_185 | 0.4 | n |  | TRUE
46 | bus_LV_5938-7_0_4_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_5938-7_0_4_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_5938-7_0_4_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5938-7_0_4_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_5938-7_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_5938-7_0_4_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_5938-7_0_4_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_5938-7_0_4_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_5938-7_0_4_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_5938-7_0_4_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_5938-7_0_4_node_124 | 0.4 | n |  | TRUE
57 | bus_LV_5938-7_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5938-7_0_4_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_5938-7_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_5938-7_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5938-7_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5938-7_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_5938-7_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5938-7_0_4_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_5938-7_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_5938-7_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5938-7_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_5938-7_0_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_5938-7_0_4_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_5938-7_0_4_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_5938-7_0_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_5938-7_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_5938-7_0_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_5938-7_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_5938-7_0_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_5938-7_0_4_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_5938-7_0_4_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_5938-7_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_5938-7_0_4_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_5938-7_0_4_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_5938-7_0_4_node_167 | 0.4 | n |  | TRUE
82 | bus_LV_5938-7_0_4_node_168 | 0.4 | n |  | TRUE
83 | bus_LV_5938-7_0_4_node_112 | 0.4 | n |  | TRUE
84 | bus_LV_5938-7_0_4_node_113 | 0.4 | n |  | TRUE
85 | bus_LV_5938-7_0_4_node_114 | 0.4 | n |  | TRUE
86 | bus_LV_5938-7_0_4_node_115 | 0.4 | n |  | TRUE
87 | bus_LV_5938-7_0_4_node_116 | 0.4 | n |  | TRUE
88 | bus_LV_5938-7_0_4_node_117 | 0.4 | n |  | TRUE
89 | bus_LV_5938-7_0_4_node_136 | 0.4 | n |  | TRUE
90 | bus_LV_5938-7_0_4_node_122 | 0.4 | n |  | TRUE
91 | bus_LV_5938-7_0_4_node_139 | 0.4 | n |  | TRUE
92 | bus_LV_5938-7_0_4_node_135 | 0.4 | n |  | TRUE
93 | bus_LV_5938-7_0_4_node_120 | 0.4 | n |  | TRUE
94 | bus_LV_5938-7_0_4_node_164 | 0.4 | n |  | TRUE
95 | bus_LV_5938-7_0_4_node_125 | 0.4 | n |  | TRUE
96 | bus_LV_5938-7_0_4_node_169 | 0.4 | n |  | TRUE
97 | bus_MV_455_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5938-7_0_4_load_0 | 0 | 0.034154 | 0.0085597 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5938-7_0_4_load_1 | 1 | 0.0010342 | 0.0002592 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5938-7_0_4_load_2 | 2 | 0.0010622 | 0.00026622 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5938-7_0_4_load_4 | 4 | 0.00074688 | 0.00018719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5938-7_0_4_load_75 | 10 | 0.017962 | 0.0045017 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5938-7_0_4_load_80 | 12 | 0.0038793 | 0.00097224 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5938-7_0_4_load_63 | 13 | 0.036352 | 0.0091108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5938-7_0_4_load_104 | 17 | 0.0047804 | 0.0011981 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5938-7_0_4_load_177 | 19 | 0.00080563 | 0.00020191 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5938-7_0_4_load_72 | 20 | 0.0036259 | 0.00090872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5938-7_0_4_load_102 | 24 | 0.00073824 | 0.00018502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5938-7_0_4_load_89 | 25 | 0.0042038 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5938-7_0_4_load_98 | 26 | 0.006127 | 0.0015356 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5938-7_0_4_load_176 | 29 | 0.0012223 | 0.00030633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5938-7_0_4_load_184 | 30 | 0.01532 | 0.0038395 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5938-7_0_4_load_87 | 31 | 0.0075348 | 0.0018884 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5938-7_0_4_load_62 | 34 | 0.00031641 | 7.93e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5938-7_0_4_load_123 | 35 | 0.0003991 | 0.00010002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5938-7_0_4_load_137 | 36 | 0.00047643 | 0.0001194 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5938-7_0_4_load_61 | 38 | 0.0012153 | 0.00030458 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5938-7_0_4_load_60 | 39 | 0.015502 | 0.0038851 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5938-7_0_4_load_43 | 40 | 0.00063964 | 0.00016031 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5938-7_0_4_load_42 | 44 | 0.010579 | 0.0026514 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5938-7_0_4_load_185 | 45 | 0.00097038 | 0.0002432 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5938-7_0_4_load_96 | 46 | 0.00089499 | 0.0002243 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5938-7_0_4_load_78 | 48 | 0.0052258 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5938-7_0_4_load_100 | 49 | 0.0027458 | 0.00068817 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5938-7_0_4_load_71 | 50 | 0.010486 | 0.0026281 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5938-7_0_4_load_93 | 51 | 0.006251 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5938-7_0_4_load_91 | 52 | 0.010472 | 0.0026246 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5938-7_0_4_load_94 | 53 | 0.00099858 | 0.00025027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5938-7_0_4_load_88 | 54 | 0.00092796 | 0.00023257 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5938-7_0_4_load_124 | 56 | 0.00041641 | 0.00010436 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5938-7_0_4_load_57 | 57 | 0.00034522 | 8.652e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5938-7_0_4_load_95 | 58 | 0.00092242 | 0.00023118 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5938-7_0_4_load_56 | 59 | 0.00044636 | 0.00011187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5938-7_0_4_load_58 | 60 | 0.00032244 | 8.0812e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5938-7_0_4_load_59 | 61 | 0.00066951 | 0.00016779 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5938-7_0_4_load_73 | 62 | 0.0019822 | 0.00049679 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5938-7_0_4_load_86 | 64 | 0.0018824 | 0.00047178 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5938-7_0_4_load_65 | 66 | 0.018442 | 0.0046221 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5938-7_0_4_load_76 | 68 | 0.010429 | 0.0026137 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5938-7_0_4_load_74 | 69 | 0.00070439 | 0.00017654 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5938-7_0_4_load_85 | 70 | 0.0090542 | 0.0022692 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5938-7_0_4_load_77 | 71 | 0.0033753 | 0.00084594 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5938-7_0_4_load_81 | 73 | 0.0015116 | 0.00037883 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5938-7_0_4_load_82 | 74 | 0.0072156 | 0.0018084 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5938-7_0_4_load_84 | 75 | 0.0015399 | 0.00038593 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5938-7_0_4_load_83 | 76 | 0.0011406 | 0.00028587 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5938-7_0_4_load_90 | 77 | 0.0011823 | 0.00029631 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5938-7_0_4_load_92 | 78 | 0.019696 | 0.0049363 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5938-7_0_4_load_97 | 79 | 0.0037559 | 0.00094132 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5938-7_0_4_load_101 | 80 | 0.0017651 | 0.00044238 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5938-7_0_4_load_167 | 81 | 0.0029386 | 0.00073649 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5938-7_0_4_load_168 | 82 | 0.0021591 | 0.00054113 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5938-7_0_4_load_112 | 83 | 0.0007531 | 0.00018874 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5938-7_0_4_load_113 | 84 | 0.00028089 | 7.0399e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5938-7_0_4_load_115 | 86 | 0.00027401 | 6.8674e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5938-7_0_4_load_116 | 87 | 0.00028953 | 7.2564e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5938-7_0_4_load_136 | 89 | 0.00030426 | 7.6255e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5938-7_0_4_load_122 | 90 | 0.0003841 | 9.6266e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5938-7_0_4_load_135 | 92 | 0.00029852 | 7.4816e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5938-7_0_4_load_120 | 93 | 0.00038445 | 9.6353e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5938-7_0_4_load_164 | 94 | 0.00091614 | 0.00022961 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5938-7_0_4_load_125 | 95 | 0.00027803 | 6.968e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5938-7_0_4_load_169 | 96 | 0.0011443 | 0.00028678 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5938-7_0_4_line_0 |  | 0 | 1 | 0.010584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5938-7_0_4_line_1 |  | 0 | 2 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5938-7_0_4_line_2 |  | 2 | 3 | 0.015727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5938-7_0_4_line_3 |  | 3 | 4 | 0.0086373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5938-7_0_4_line_4 |  | 4 | 5 | 0.056566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5938-7_0_4_line_5 |  | 5 | 6 | 0.10266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5938-7_0_4_line_6 |  | 6 | 40 | 0.032155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5938-7_0_4_line_7 |  | 6 | 32 | 0.043879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5938-7_0_4_line_8 |  | 7 | 8 | 0.025573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5938-7_0_4_line_9 |  | 7 | 9 | 0.030347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5938-7_0_4_line_10 |  | 7 | 10 | 0.031235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5938-7_0_4_line_11 |  | 8 | 11 | 0.049654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5938-7_0_4_line_12 |  | 8 | 12 | 0.047251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5938-7_0_4_line_13 |  | 9 | 13 | 0.031035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5938-7_0_4_line_14 |  | 10 | 47 | 0.040713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5938-7_0_4_line_15 |  | 11 | 16 | 0.14562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5938-7_0_4_line_16 |  | 11 | 17 | 0.013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5938-7_0_4_line_17 |  | 12 | 48 | 0.054903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5938-7_0_4_line_18 |  | 13 | 14 | 0.029426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5938-7_0_4_line_19 |  | 14 | 15 | 0.10132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5938-7_0_4_line_20 |  | 15 | 31 | 0.0010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5938-7_0_4_line_21 |  | 15 | 28 | 0.053096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5938-7_0_4_line_22 |  | 16 | 46 | 0.027758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5938-7_0_4_line_23 |  | 17 | 49 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5938-7_0_4_line_24 |  | 18 | 19 | 0.0032023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5938-7_0_4_line_25 |  | 18 | 20 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5938-7_0_4_line_26 |  | 19 | 21 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5938-7_0_4_line_27 |  | 20 | 50 | 0.046225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5938-7_0_4_line_28 |  | 21 | 22 | 0.011829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5938-7_0_4_line_29 |  | 22 | 23 | 0.04677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5938-7_0_4_line_30 |  | 22 | 24 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5938-7_0_4_line_31 |  | 23 | 25 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5938-7_0_4_line_32 |  | 23 | 26 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5938-7_0_4_line_33 |  | 24 | 53 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5938-7_0_4_line_34 |  | 25 | 54 | 0.0065519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5938-7_0_4_line_35 |  | 26 | 55 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5938-7_0_4_line_36 |  | 27 | 28 | 0.008737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5938-7_0_4_line_37 |  | 27 | 29 | 0.032934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5938-7_0_4_line_38 |  | 28 | 30 | 0.089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5938-7_0_4_line_39 |  | 32 | 33 | 0.002686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5938-7_0_4_line_40 |  | 32 | 34 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5938-7_0_4_line_41 |  | 32 | 35 | 0.018539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5938-7_0_4_line_42 |  | 33 | 36 | 0.033939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5938-7_0_4_line_43 |  | 34 | 37 | 0.052736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5938-7_0_4_line_44 |  | 35 | 56 | 0.0062558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5938-7_0_4_line_45 |  | 37 | 38 | 0.10749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5938-7_0_4_line_46 |  | 37 | 39 | 0.049779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5938-7_0_4_line_47 |  | 38 | 50 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5938-7_0_4_line_48 |  | 40 | 44 | 0.0069254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5938-7_0_4_line_49 |  | 41 | 42 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5938-7_0_4_line_50 |  | 41 | 43 | 0.19087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5938-7_0_4_line_51 |  | 41 | 44 | 0.033006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5938-7_0_4_line_52 |  | 42 | 57 | 0.0060718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5938-7_0_4_line_53 |  | 43 | 45 | 0.032944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5938-7_0_4_line_54 |  | 46 | 58 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5938-7_0_4_line_55 |  | 47 | 62 | 0.0095776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5938-7_0_4_line_56 |  | 48 | 71 | 0.0083705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5938-7_0_4_line_57 |  | 49 | 55 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5938-7_0_4_line_58 |  | 51 | 52 | 0.015238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5938-7_0_4_line_59 |  | 52 | 78 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5938-7_0_4_line_60 |  | 53 | 78 | 0.027735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5938-7_0_4_line_61 |  | 54 | 77 | 0.0066665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5938-7_0_4_line_62 |  | 55 | 80 | 0.0093304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5938-7_0_4_line_63 |  | 56 | 95 | 0.0063137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5938-7_0_4_line_64 |  | 57 | 59 | 0.0046723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5938-7_0_4_line_65 |  | 58 | 79 | 0.0094588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5938-7_0_4_line_66 |  | 59 | 60 | 0.00012557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5938-7_0_4_line_67 |  | 60 | 61 | 0.0063051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5938-7_0_4_line_68 |  | 62 | 69 | 0.0086392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5938-7_0_4_line_69 |  | 63 | 64 | 0.045848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5938-7_0_4_line_70 |  | 63 | 65 | 0.038399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5938-7_0_4_line_71 |  | 64 | 70 | 0.0040646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5938-7_0_4_line_72 |  | 65 | 67 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5938-7_0_4_line_73 |  | 65 | 66 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5938-7_0_4_line_74 |  | 67 | 68 | 0.033075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5938-7_0_4_line_75 |  | 67 | 69 | 0.01524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5938-7_0_4_line_76 |  | 71 | 72 | 0.015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5938-7_0_4_line_77 |  | 72 | 73 | 0.051883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5938-7_0_4_line_78 |  | 72 | 74 | 0.013955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5938-7_0_4_line_79 |  | 74 | 75 | 0.0074032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5938-7_0_4_line_80 |  | 75 | 76 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5938-7_0_4_line_81 |  | 80 | 81 | 0.0041848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5938-7_0_4_line_82 |  | 81 | 82 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5938-7_0_4_line_83 |  | 82 | 96 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5938-7_0_4_line_84 |  | 83 | 84 | 0.013273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5938-7_0_4_line_85 |  | 83 | 85 | 0.0131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5938-7_0_4_line_86 |  | 84 | 86 | 0.0075789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5938-7_0_4_line_87 |  | 85 | 87 | 0.004046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5938-7_0_4_line_88 |  | 85 | 88 | 0.008739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5938-7_0_4_line_89 |  | 86 | 89 | 0.0058435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5938-7_0_4_line_90 |  | 87 | 90 | 0.0064923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5938-7_0_4_line_91 |  | 88 | 91 | 0.066252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5938-7_0_4_line_92 |  | 89 | 92 | 0.0059195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5938-7_0_4_line_93 |  | 90 | 93 | 0.0066589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5938-7_0_4_line_94 |  | 91 | 94 | 0.029907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5938-7_0_4_line_95 |  | 92 | 95 | 0.016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5938-7_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 97 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2539431.5419 | 1181783.0815 | 2539422.2268 | 1181788.1056
1 | 2539431.5419 | 1181783.0815 | 2539445.0164 | 1181775.814
2 | 2539458.8582 | 1181768.3484 | 2539445.0164 | 1181775.814
3 | 2539458.8582 | 1181768.3484 | 2539462.8851 | 1181775.9895
4 | 2539494.1527 | 1181815.6958 | 2539492.9215 | 1181813.2624 | 2539488.3241 | 1181807.9615 | 2539473.9164 | 1181781.8036 | 2539467.5009 | 1181784.748 | 2539462.8851 | 1181775.9895
5 | 2539541.325 | 1181871.706 | 2539548.5313 | 1181866.9194 | 2539529.0003 | 1181831.7414 | 2539513.9104 | 1181804.5564 | 2539507.7917 | 1181808.1536 | 2539494.1527 | 1181815.6958
6 | 2539541.325 | 1181871.706 | 2539538.307 | 1181874.5715 | 2539534.3567 | 1181877.3685 | 2539528.5156 | 1181881.2297 | 2539515.105 | 1181890.2304
7 | 2539541.325 | 1181871.706 | 2539548.5313 | 1181866.9194 | 2539553.7354 | 1181864.2542 | 2539559.7142 | 1181861.181 | 2539568.6195 | 1181855.2432 | 2539571.8085 | 1181852.6762 | 2539578.0527 | 1181847.8994
8 | 2539353.8142 | 1181520.4061 | 2539356.2805 | 1181524.8836 | 2539363.8036 | 1181538.515 | 2539365.9637 | 1181542.9178
9 | 2539365.9637 | 1181542.9178 | 2539367.2494 | 1181545.4395 | 2539375.4275 | 1181561.9104 | 2539379.7552 | 1181569.96
10 | 2539365.9637 | 1181542.9178 | 2539357.6878 | 1181546.1813 | 2539337.475 | 1181555.6934
11 | 2539353.8142 | 1181520.4061 | 2539357.0179 | 1181518.5281 | 2539350.8165 | 1181505.706 | 2539354.393 | 1181503.6797 | 2539355.1598 | 1181503.2383 | 2539373.3046 | 1181492.6263 | 2539378.2323 | 1181489.797
12 | 2539353.8142 | 1181520.4061 | 2539342.4324 | 1181525.4131 | 2539312.5091 | 1181543.2117
13 | 2539379.7552 | 1181569.96 | 2539382.2397 | 1181575.4823 | 2539394.4062 | 1181597.2986
14 | 2539314.0295 | 1181582.4888 | 2539313.4595 | 1181573.7341 | 2539313.8162 | 1181569.7505 | 2539316.7034 | 1181566.0302 | 2539319.8291 | 1181563.9974 | 2539337.475 | 1181555.6934
15 | 2539378.2323 | 1181489.797 | 2539380.6332 | 1181488.5719 | 2539402.9297 | 1181475.4165 | 2539457.7795 | 1181444.5661 | 2539459.4858 | 1181447.9063 | 2539464.1777 | 1181456.4747 | 2539469.9251 | 1181466.7112 | 2539475.5869 | 1181476.7929 | 2539484.0561 | 1181491.8602
16 | 2539378.2323 | 1181489.797 | 2539384.7718 | 1181501.5152
17 | 2539312.5091 | 1181543.2117 | 2539288.4293 | 1181557.5345 | 2539276.6082 | 1181563.6357 | 2539274.1978 | 1181565.4167 | 2539269.7092 | 1181570.8653 | 2539267.3916 | 1181573.5237
18 | 2539407.4929 | 1181623.5202 | 2539407.2442 | 1181621.5883 | 2539399.7485 | 1181606.8782 | 2539394.4062 | 1181597.2986
19 | 2539341.2038 | 1181661.769 | 2539345.7295 | 1181673.5297 | 2539349.7318 | 1181678.8588 | 2539353.2515 | 1181675.7659 | 2539403.3319 | 1181634.9355 | 2539406.6579 | 1181630.7995 | 2539407.7075 | 1181627.3647 | 2539407.4929 | 1181623.5202
20 | 2539341.2038 | 1181661.769 | 2539340.7628 | 1181660.8479
21 | 2539341.2038 | 1181661.769 | 2539345.7295 | 1181673.5297 | 2539314.6203 | 1181689.6209 | 2539316.6726 | 1181694.6918
22 | 2539484.0561 | 1181491.8602 | 2539492.261 | 1181506.4743 | 2539482.6571 | 1181511.8345
23 | 2539384.7718 | 1181501.5152 | 2539390.518 | 1181511.8119
24 | 2539453.8357 | 1181625.2854 | 2539456.5525 | 1181623.5903
25 | 2539453.8357 | 1181625.2854 | 2539463.6258 | 1181642.8286
26 | 2539462.1638 | 1181609.8369 | 2539456.5735 | 1181614.3516 | 2539455.7137 | 1181619.9412 | 2539456.5525 | 1181623.5903
27 | 2539463.6258 | 1181642.8286 | 2539486.1518 | 1181683.1938
28 | 2539456.7802 | 1181599.3077 | 2539459.6035 | 1181605.1157 | 2539462.1638 | 1181609.8369
29 | 2539428.1683 | 1181579.286 | 2539443.5376 | 1181606.8237 | 2539446.8991 | 1181604.6885 | 2539456.7802 | 1181599.3077
30 | 2539456.7802 | 1181599.3077 | 2539469.8669 | 1181592.5376
31 | 2539428.1683 | 1181579.286 | 2539445.258 | 1181569.9912
32 | 2539428.1683 | 1181579.286 | 2539414.8359 | 1181555.3919
33 | 2539469.8669 | 1181592.5376 | 2539484.0676 | 1181585.1912
34 | 2539451.0136 | 1181566.8608 | 2539445.258 | 1181569.9912
35 | 2539399.6458 | 1181528.1683 | 2539414.8359 | 1181555.3919
36 | 2539320.1066 | 1181702.7282 | 2539316.6726 | 1181694.6918
37 | 2539320.1066 | 1181702.7282 | 2539317.7559 | 1181704.3641 | 2539312.4913 | 1181708.5976 | 2539299.1774 | 1181719.5722 | 2539294.0523 | 1181722.8061
38 | 2539248.2689 | 1181692.2958 | 2539287.4211 | 1181675.6112 | 2539297.4538 | 1181700.2455 | 2539316.6726 | 1181694.6918
39 | 2539578.0527 | 1181847.8994 | 2539579.367 | 1181850.243
40 | 2539578.0527 | 1181847.8994 | 2539571.4978 | 1181836.1483
41 | 2539578.0527 | 1181847.8994 | 2539593.5153 | 1181837.6725
42 | 2539579.367 | 1181850.243 | 2539583.1858 | 1181857.0971 | 2539595.9038 | 1181879.8805
43 | 2539545.8073 | 1181790.0926 | 2539571.4978 | 1181836.1483
44 | 2539593.5153 | 1181837.6725 | 2539598.7331 | 1181834.2214
45 | 2539545.8073 | 1181790.0926 | 2539493.4247 | 1181696.2264
46 | 2539545.8073 | 1181790.0926 | 2539565.5289 | 1181779.8987 | 2539568.0765 | 1181782.6301 | 2539572.287 | 1181783.6548 | 2539589.4132 | 1181774.3099
47 | 2539486.1518 | 1181683.1938 | 2539493.4247 | 1181696.2264
48 | 2539515.105 | 1181890.2304 | 2539509.3546 | 1181894.0898
49 | 2539491.8528 | 1181928.0156 | 2539481.9206 | 1181912.4406
50 | 2539323.2267 | 1182018.4743 | 2539388.1967 | 1181974.8023 | 2539447.0779 | 1181935.306 | 2539455.1568 | 1181929.988 | 2539477.5157 | 1181915.5981 | 2539481.9206 | 1181912.4406
51 | 2539481.9206 | 1181912.4406 | 2539485.0917 | 1181910.3741 | 2539509.3546 | 1181894.0898
52 | 2539491.8528 | 1181928.0156 | 2539497.7696 | 1181929.3788
53 | 2539323.2267 | 1182018.4743 | 2539326.7155 | 1182023.6419 | 2539334.7806 | 1182035.0443 | 2539345.6242 | 1182028.275
54 | 2539467.8584 | 1181520.094 | 2539482.6571 | 1181511.8345
55 | 2539314.0295 | 1181582.4888 | 2539305.2939 | 1181586.4157
56 | 2539259.9617 | 1181577.3707 | 2539264.9392 | 1181574.9271 | 2539267.3916 | 1181573.5237 | 2539267.3916 | 1181573.5237
57 | 2539399.6458 | 1181528.1683 | 2539390.518 | 1181511.8119
58 | 2539525.4623 | 1181562.67 | 2539538.8413 | 1181555.3754
59 | 2539525.4623 | 1181562.67 | 2539508.4387 | 1181571.9518
60 | 2539508.4387 | 1181571.9518 | 2539485.801 | 1181584.2945 | 2539484.0676 | 1181585.1912
61 | 2539456.87 | 1181563.6756 | 2539451.0136 | 1181566.8608
62 | 2539399.6458 | 1181528.1683 | 2539407.8706 | 1181523.7626
63 | 2539598.7331 | 1181834.2214 | 2539603.9992 | 1181830.7384
64 | 2539497.7696 | 1181929.3788 | 2539497.7696 | 1181929.3788 | 2539500.469 | 1181933.1924
65 | 2539459.5989 | 1181524.7039 | 2539467.8584 | 1181520.094
66 | 2539500.5415 | 1181933.2949 | 2539500.469 | 1181933.1924
67 | 2539504.1842 | 1181938.4412 | 2539500.5415 | 1181933.2949
68 | 2539305.2939 | 1181586.4157 | 2539297.4142 | 1181589.9578
69 | 2539301.9145 | 1181646.1587 | 2539292.2137 | 1181651.9715 | 2539260.8442 | 1181666.4241
70 | 2539289.2967 | 1181611.3782 | 2539287.6883 | 1181618.443 | 2539301.9145 | 1181646.1587
71 | 2539257.1525 | 1181668.125 | 2539260.8442 | 1181666.4241
72 | 2539283.5143 | 1181596.2061 | 2539289.2967 | 1181611.3782
73 | 2539289.2967 | 1181611.3782 | 2539303.9778 | 1181605.4575
74 | 2539283.5143 | 1181596.2061 | 2539256.9751 | 1181605.8698 | 2539252.6035 | 1181607.925
75 | 2539283.5143 | 1181596.2061 | 2539297.4142 | 1181589.9578
76 | 2539245.8502 | 1181582.0138 | 2539248.5501 | 1181582.4088 | 2539252.0589 | 1181581.2503 | 2539259.9617 | 1181577.3707
77 | 2539245.8502 | 1181582.0138 | 2539238.3565 | 1181602.1123 | 2539209.9538 | 1181613.2627
78 | 2539245.8502 | 1181582.0138 | 2539243.9513 | 1181580.7657 | 2539238.1801 | 1181570.6087
79 | 2539234.5229 | 1181564.172 | 2539238.1801 | 1181570.6087
80 | 2539234.5229 | 1181564.172 | 2539227.089 | 1181551.0886
81 | 2539407.8706 | 1181523.7626 | 2539411.5595 | 1181521.7866
82 | 2539411.5595 | 1181521.7866 | 2539426.6525 | 1181513.7018
83 | 2539426.6525 | 1181513.7018 | 2539436.4339 | 1181508.4623
84 | 2539645.185 | 1181803.4982 | 2539634.1145 | 1181810.8202
85 | 2539656.1116 | 1181796.2714 | 2539645.185 | 1181803.4982
86 | 2539634.1145 | 1181810.8202 | 2539627.7931 | 1181815.0012
87 | 2539656.1116 | 1181796.2714 | 2539659.4722 | 1181794.0183
88 | 2539661.2385 | 1181803.357 | 2539656.1116 | 1181796.2714
89 | 2539627.7931 | 1181815.0012 | 2539622.9193 | 1181818.2247
90 | 2539659.4722 | 1181794.0183 | 2539664.8648 | 1181790.4029
91 | 2539661.2385 | 1181803.357 | 2539666.793 | 1181814.9742 | 2539668.6141 | 1181820.6257 | 2539668.6576 | 1181824.1828 | 2539668.3216 | 1181827.2101 | 2539664.7263 | 1181836.4404 | 2539663.4678 | 1181841.8895 | 2539662.8396 | 1181845.4757 | 2539673.1581 | 1181864.5601
92 | 2539617.982 | 1181821.4903 | 2539622.9193 | 1181818.2247
93 | 2539664.8648 | 1181790.4029 | 2539670.3957 | 1181786.6948
94 | 2539673.1581 | 1181864.5601 | 2539680.7313 | 1181877.958 | 2539688.2599 | 1181890.3706
95 | 2539617.982 | 1181821.4903 | 2539603.9992 | 1181830.7384

## bus_geodata
| x | y | coords
0 | 2539431.5419 | 1181783.0815
1 | 2539422.2268 | 1181788.1056
2 | 2539445.0164 | 1181775.814
3 | 2539458.8582 | 1181768.3484
4 | 2539462.8851 | 1181775.9895
5 | 2539494.1527 | 1181815.6958
6 | 2539541.325 | 1181871.706
7 | 2539365.9637 | 1181542.9178
8 | 2539353.8142 | 1181520.4061
9 | 2539379.7552 | 1181569.96
10 | 2539337.475 | 1181555.6934
11 | 2539378.2323 | 1181489.797
12 | 2539312.5091 | 1181543.2117
13 | 2539394.4062 | 1181597.2986
14 | 2539407.4929 | 1181623.5202
15 | 2539341.2038 | 1181661.769
16 | 2539484.0561 | 1181491.8602
17 | 2539384.7718 | 1181501.5152
18 | 2539453.8357 | 1181625.2854
19 | 2539456.5525 | 1181623.5903
20 | 2539463.6258 | 1181642.8286
21 | 2539462.1638 | 1181609.8369
22 | 2539456.7802 | 1181599.3077
23 | 2539428.1683 | 1181579.286
24 | 2539469.8669 | 1181592.5376
25 | 2539445.258 | 1181569.9912
26 | 2539414.8359 | 1181555.3919
27 | 2539320.1066 | 1181702.7282
28 | 2539316.6726 | 1181694.6918
29 | 2539294.0523 | 1181722.8061
30 | 2539248.2689 | 1181692.2958
31 | 2539340.7628 | 1181660.8479
32 | 2539578.0527 | 1181847.8994
33 | 2539579.367 | 1181850.243
34 | 2539571.4978 | 1181836.1483
35 | 2539593.5153 | 1181837.6725
36 | 2539595.9038 | 1181879.8805
37 | 2539545.8073 | 1181790.0926
38 | 2539493.4247 | 1181696.2264
39 | 2539589.4132 | 1181774.3099
40 | 2539515.105 | 1181890.2304
41 | 2539481.9206 | 1181912.4406
42 | 2539491.8528 | 1181928.0156
43 | 2539323.2267 | 1182018.4743
44 | 2539509.3546 | 1181894.0898
45 | 2539345.6242 | 1182028.275
46 | 2539482.6571 | 1181511.8345
47 | 2539314.0295 | 1181582.4888
48 | 2539267.3916 | 1181573.5237
49 | 2539390.518 | 1181511.8119
50 | 2539486.1518 | 1181683.1938
51 | 2539538.8413 | 1181555.3754
52 | 2539525.4623 | 1181562.67
53 | 2539484.0676 | 1181585.1912
54 | 2539451.0136 | 1181566.8608
55 | 2539399.6458 | 1181528.1683
56 | 2539598.7331 | 1181834.2214
57 | 2539497.7696 | 1181929.3788
58 | 2539467.8584 | 1181520.094
59 | 2539500.469 | 1181933.1924
60 | 2539500.5415 | 1181933.2949
61 | 2539504.1842 | 1181938.4412
62 | 2539305.2939 | 1181586.4157
63 | 2539301.9145 | 1181646.1587
64 | 2539260.8442 | 1181666.4241
65 | 2539289.2967 | 1181611.3782
66 | 2539303.9778 | 1181605.4575
67 | 2539283.5143 | 1181596.2061
68 | 2539252.6035 | 1181607.925
69 | 2539297.4142 | 1181589.9578
70 | 2539257.1525 | 1181668.125
71 | 2539259.9617 | 1181577.3707
72 | 2539245.8502 | 1181582.0138
73 | 2539209.9538 | 1181613.2627
74 | 2539238.1801 | 1181570.6087
75 | 2539234.5229 | 1181564.172
76 | 2539227.089 | 1181551.0886
77 | 2539456.87 | 1181563.6756
78 | 2539508.4387 | 1181571.9518
79 | 2539459.5989 | 1181524.7039
80 | 2539407.8706 | 1181523.7626
81 | 2539411.5595 | 1181521.7866
82 | 2539426.6525 | 1181513.7018
83 | 2539645.185 | 1181803.4982
84 | 2539634.1145 | 1181810.8202
85 | 2539656.1116 | 1181796.2714
86 | 2539627.7931 | 1181815.0012
87 | 2539659.4722 | 1181794.0183
88 | 2539661.2385 | 1181803.357
89 | 2539622.9193 | 1181818.2247
90 | 2539664.8648 | 1181790.4029
91 | 2539673.1581 | 1181864.5601
92 | 2539617.982 | 1181821.4903
93 | 2539670.3957 | 1181786.6948
94 | 2539688.2599 | 1181890.3706
95 | 2539603.9992 | 1181830.7384
96 | 2539436.4339 | 1181508.4623
97 | 2539411.2768 | 1181621.6253

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1