## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_60-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_60-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_60-4_0_3_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_60-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_60-4_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_60-4_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_60-4_0_3_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_60-4_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_60-4_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_60-4_0_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_60-4_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_60-4_0_3_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_60-4_0_3_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_60-4_0_3_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_60-4_0_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_60-4_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_60-4_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_60-4_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_60-4_0_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_60-4_0_3_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_60-4_0_3_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_60-4_0_3_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_60-4_0_3_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_60-4_0_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_60-4_0_3_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_60-4_0_3_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_60-4_0_3_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_60-4_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_60-4_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_60-4_0_3_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_60-4_0_3_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_60-4_0_3_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_60-4_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_60-4_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_60-4_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_60-4_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_60-4_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_60-4_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_60-4_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_60-4_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_60-4_0_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_60-4_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_60-4_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_60-4_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_60-4_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_60-4_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_60-4_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_60-4_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_60-4_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_60-4_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_60-4_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_60-4_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_60-4_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_60-4_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_60-4_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_60-4_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_60-4_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_60-4_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_60-4_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_60-4_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_60-4_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_60-4_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_60-4_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_60-4_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_60-4_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_60-4_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_60-4_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_60-4_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_60-4_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_60-4_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_60-4_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_60-4_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_60-4_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_MV_618_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_60-4_0_3_load_0 | 0 | 0.0011205 | 0.00028081 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_60-4_0_3_load_78 | 6 | 0.0033537 | 0.00084052 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_60-4_0_3_load_76 | 11 | 0.01505 | 0.0037718 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_60-4_0_3_load_82 | 12 | 0.0044947 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_60-4_0_3_load_73 | 14 | 0.0092952 | 0.0023296 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_60-4_0_3_load_25 | 15 | 0.00838 | 0.0021002 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_60-4_0_3_load_81 | 18 | 0.0085547 | 0.002144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_60-4_0_3_load_69 | 19 | 0.010821 | 0.002712 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_60-4_0_3_load_77 | 20 | 0.0095998 | 0.0024059 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_60-4_0_3_load_68 | 21 | 0.0046746 | 0.0011716 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_60-4_0_3_load_71 | 22 | 0.0022865 | 0.00057304 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_60-4_0_3_load_75 | 23 | 0.0018269 | 0.00045787 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_60-4_0_3_load_74 | 24 | 0.0081465 | 0.0020417 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_60-4_0_3_load_83 | 25 | 0.001345 | 0.0003371 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_60-4_0_3_load_92 | 26 | 0.0012517 | 0.0003137 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_60-4_0_3_load_79 | 27 | 0.0010807 | 0.00027084 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_60-4_0_3_load_24 | 28 | 0.0043618 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_60-4_0_3_load_86 | 29 | 0.0015029 | 0.00037665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_60-4_0_3_load_85 | 30 | 0.00093167 | 0.0002335 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_60-4_0_3_load_65 | 31 | 0.0097732 | 0.0024494 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_60-4_0_3_load_26 | 32 | 0.0095257 | 0.0023874 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_60-4_0_3_load_27 | 33 | 0.0094561 | 0.0023699 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_60-4_0_3_load_28 | 34 | 0.0024734 | 0.0006199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_60-4_0_3_load_30 | 36 | 0.0025907 | 0.0006493 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_60-4_0_3_load_35 | 37 | 0.0018798 | 0.00047111 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_60-4_0_3_load_36 | 38 | 0.0034422 | 0.00086269 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_60-4_0_3_load_32 | 39 | 0.0054804 | 0.0013735 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_60-4_0_3_load_52 | 40 | 0.0067238 | 0.0016851 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_60-4_0_3_load_31 | 42 | 0.011374 | 0.0028505 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_60-4_0_3_load_53 | 43 | 0.0034153 | 0.00085596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_60-4_0_3_load_48 | 44 | 0.0031996 | 0.0008019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_60-4_0_3_load_49 | 45 | 0.011227 | 0.0028138 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_60-4_0_3_load_37 | 46 | 0.0057773 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_60-4_0_3_load_38 | 47 | 0.00097134 | 0.00024344 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_60-4_0_3_load_39 | 48 | 0.0054902 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_60-4_0_3_load_40 | 49 | 0.0011015 | 0.00027606 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_60-4_0_3_load_41 | 50 | 0.00090925 | 0.00022788 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_60-4_0_3_load_43 | 52 | 0.0014275 | 0.00035777 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_60-4_0_3_load_46 | 53 | 0.0024084 | 0.00060361 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_60-4_0_3_load_44 | 54 | 0.0039574 | 0.00099183 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_60-4_0_3_load_56 | 55 | 0.015584 | 0.0039056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_60-4_0_3_load_45 | 56 | 0.0102 | 0.0025564 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_60-4_0_3_load_57 | 57 | 0.0084344 | 0.0021139 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_60-4_0_3_load_47 | 58 | 0.0029358 | 0.00073578 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_60-4_0_3_load_51 | 59 | 0.0048891 | 0.0012253 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_60-4_0_3_load_54 | 60 | 0.0017418 | 0.00043653 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_60-4_0_3_load_55 | 61 | 0.0023593 | 0.0005913 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_60-4_0_3_load_59 | 62 | 0.0049267 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_60-4_0_3_load_60 | 63 | 0.0084413 | 0.0021156 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_60-4_0_3_load_58 | 64 | 0.015489 | 0.0038818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_60-4_0_3_load_66 | 66 | 0.014391 | 0.0036067 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_60-4_0_3_load_61 | 67 | 0.0036991 | 0.00092709 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_60-4_0_3_load_62 | 68 | 0.0071204 | 0.0017845 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_60-4_0_3_load_63 | 69 | 0.011148 | 0.002794 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_60-4_0_3_load_67 | 70 | 0.0025413 | 0.00063691 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_60-4_0_3_load_70 | 71 | 0.020891 | 0.0052358 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_60-4_0_3_load_84 | 72 | 0.0015964 | 0.00040008 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_60-4_0_3_line_0 |  | 0 | 1 | 0.025262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_60-4_0_3_line_1 |  | 1 | 2 | 0.045893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_60-4_0_3_line_2 |  | 2 | 5 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_60-4_0_3_line_3 |  | 3 | 4 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_60-4_0_3_line_4 |  | 3 | 5 | 0.051824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_60-4_0_3_line_5 |  | 3 | 6 | 0.057543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_60-4_0_3_line_6 |  | 4 | 11 | 0.043878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_60-4_0_3_line_7 |  | 5 | 14 | 0.018886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_60-4_0_3_line_8 |  | 5 | 15 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_60-4_0_3_line_9 |  | 6 | 20 | 0.0042572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_60-4_0_3_line_10 |  | 7 | 8 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_60-4_0_3_line_11 |  | 7 | 9 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_60-4_0_3_line_12 |  | 7 | 10 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_60-4_0_3_line_13 |  | 8 | 12 | 0.0087495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_60-4_0_3_line_14 |  | 9 | 21 | 0.046944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_60-4_0_3_line_15 |  | 9 | 22 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_60-4_0_3_line_16 |  | 10 | 13 | 0.001806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_60-4_0_3_line_17 |  | 12 | 25 | 0.033115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_60-4_0_3_line_18 |  | 13 | 26 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_60-4_0_3_line_19 |  | 13 | 27 | 0.037395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_60-4_0_3_line_20 |  | 14 | 24 | 0.036681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_60-4_0_3_line_21 |  | 15 | 28 | 0.041719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_60-4_0_3_line_22 |  | 16 | 17 | 0.033996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_60-4_0_3_line_23 |  | 16 | 18 | 0.016263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_60-4_0_3_line_24 |  | 17 | 19 | 0.083112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_60-4_0_3_line_25 |  | 19 | 31 | 0.056879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_60-4_0_3_line_26 |  | 20 | 27 | 0.036043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_60-4_0_3_line_27 |  | 21 | 70 | 0.039113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_60-4_0_3_line_28 |  | 22 | 71 | 0.039662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_60-4_0_3_line_29 |  | 23 | 24 | 0.045639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_60-4_0_3_line_30 |  | 25 | 72 | 0.00031422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_60-4_0_3_line_31 |  | 29 | 30 | 0.0017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_60-4_0_3_line_32 |  | 30 | 72 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_60-4_0_3_line_33 |  | 31 | 65 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_60-4_0_3_line_34 |  | 32 | 33 | 0.028428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_60-4_0_3_line_35 |  | 32 | 34 | 0.0096034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_60-4_0_3_line_36 |  | 33 | 35 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_60-4_0_3_line_37 |  | 34 | 36 | 0.03825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_60-4_0_3_line_38 |  | 35 | 37 | 0.081644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_60-4_0_3_line_39 |  | 35 | 38 | 0.029591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_60-4_0_3_line_40 |  | 35 | 39 | 0.027058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_60-4_0_3_line_41 |  | 36 | 40 | 0.0012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_60-4_0_3_line_42 |  | 38 | 41 | 0.036941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_60-4_0_3_line_43 |  | 39 | 42 | 0.036918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_60-4_0_3_line_44 |  | 40 | 43 | 0.0039622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_60-4_0_3_line_45 |  | 41 | 44 | 0.0092844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_60-4_0_3_line_46 |  | 41 | 45 | 0.044093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_60-4_0_3_line_47 |  | 43 | 60 | 0.0096738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_60-4_0_3_line_48 |  | 44 | 58 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_60-4_0_3_line_49 |  | 45 | 59 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_60-4_0_3_line_50 |  | 46 | 47 | 0.057527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_60-4_0_3_line_51 |  | 47 | 48 | 0.0030558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_60-4_0_3_line_52 |  | 48 | 49 | 0.0091497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_60-4_0_3_line_53 |  | 49 | 50 | 0.0042737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_60-4_0_3_line_54 |  | 50 | 51 | 0.026812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_60-4_0_3_line_55 |  | 51 | 52 | 0.021229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_60-4_0_3_line_56 |  | 52 | 53 | 0.0078189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_60-4_0_3_line_57 |  | 53 | 56 | 0.0049283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_60-4_0_3_line_58 |  | 54 | 55 | 0.012298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_60-4_0_3_line_59 |  | 55 | 57 | 0.04065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_60-4_0_3_line_60 |  | 56 | 58 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_60-4_0_3_line_61 |  | 57 | 64 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_60-4_0_3_line_62 |  | 60 | 61 | 0.0041405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_60-4_0_3_line_63 |  | 61 | 62 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_60-4_0_3_line_64 |  | 62 | 63 | 0.0015494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_60-4_0_3_line_65 |  | 63 | 67 | 0.0083124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_60-4_0_3_line_66 |  | 64 | 65 | 0.018282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_60-4_0_3_line_67 |  | 65 | 66 | 0.042253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_60-4_0_3_line_68 |  | 66 | 71 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_60-4_0_3_line_69 |  | 67 | 68 | 0.022808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_60-4_0_3_line_70 |  | 68 | 69 | 0.017668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_60-4_0_3_line_71 |  | 69 | 70 | 0.0017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_60-4_0_3_trafo_61 | 0.63 MVA 20/0.4 kV | 73 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2680872.8515 | 1262606.8705 | 2680865.5286 | 1262631.0476
1 | 2680872.8515 | 1262606.8705 | 2680883.3044 | 1262574.7107 | 2680886.47 | 1262563.0561
2 | 2680886.47 | 1262563.0561 | 2680899.5073 | 1262567.2376 | 2680901.3742 | 1262561.2918 | 2680903.1151 | 1262555.7558
3 | 2680934.6192 | 1262591.8147 | 2680940.9287 | 1262576.7115
4 | 2680903.1151 | 1262555.7558 | 2680901.3742 | 1262561.2918 | 2680942.2218 | 1262573.6157 | 2680940.9287 | 1262576.7115
5 | 2680940.9287 | 1262576.7115 | 2680975.7594 | 1262588.2527 | 2680994.4639 | 1262594.5136 | 2680995.5141 | 1262594.9196
6 | 2680934.6192 | 1262591.8147 | 2680921.2756 | 1262633.6147
7 | 2680903.1151 | 1262555.7558 | 2680921.0394 | 1262561.7045
8 | 2680903.1151 | 1262555.7558 | 2680880.6677 | 1262548.47
9 | 2680999.4849 | 1262596.4546 | 2680995.5141 | 1262594.9196
10 | 2681072.1295 | 1262612.4025 | 2681080.4954 | 1262614.3853 | 2681080.1993 | 1262617.2947 | 2681080.5559 | 1262619.3122 | 2681082.087 | 1262621.9352 | 2681084.5347 | 1262623.6479
11 | 2681070.3886 | 1262599.2573 | 2681072.9446 | 1262608.455 | 2681072.1295 | 1262612.4025
12 | 2681067.9669 | 1262627.5127 | 2681069.7336 | 1262623.9453 | 2681072.1295 | 1262612.4025
13 | 2681084.5347 | 1262623.6479 | 2681092.3157 | 1262627.6491
14 | 2681070.3886 | 1262599.2573 | 2681046.7186 | 1262564.4615 | 2681043.7691 | 1262560.5976
15 | 2681070.3886 | 1262599.2573 | 2681079.181 | 1262574.9308
16 | 2681067.9669 | 1262627.5127 | 2681066.3429 | 1262626.7121
17 | 2681092.3157 | 1262627.6491 | 2681099.8865 | 1262631.5422 | 2681108.3209 | 1262638.4077 | 2681120.6509 | 1262644.4395
18 | 2681066.3429 | 1262626.7121 | 2681063.796 | 1262632.237 | 2681061.1425 | 1262636.7375 | 2681058.6536 | 1262640.8397
19 | 2681066.3429 | 1262626.7121 | 2681032.7552 | 1262610.2734
20 | 2680921.0394 | 1262561.7045 | 2680925.9005 | 1262563.3178 | 2680949.7459 | 1262571.05 | 2680955.9126 | 1262573.0766
21 | 2680841.2214 | 1262534.8972 | 2680849.7064 | 1262538.023 | 2680876.8619 | 1262547.2347 | 2680880.6677 | 1262548.47
22 | 2681205.2859 | 1262614.2191 | 2681209.2111 | 1262619.7106 | 2681210.6488 | 1262624.7454 | 2681229.0769 | 1262612.7113
23 | 2681229.0769 | 1262612.7113 | 2681236.0221 | 1262598.0063
24 | 2681205.2859 | 1262614.2191 | 2681159.2401 | 1262549.8039 | 2681157.0551 | 1262546.5352
25 | 2681125.4462 | 1262499.2476 | 2681157.0551 | 1262546.5352
26 | 2680999.4849 | 1262596.4546 | 2681018.8884 | 1262603.9554 | 2681029.3873 | 1262608.6251 | 2681032.7552 | 1262610.2734
27 | 2681020.0363 | 1262529.5077 | 2681043.7691 | 1262560.5976
28 | 2681092.6626 | 1262537.6302 | 2681079.181 | 1262574.9308
29 | 2680955.9126 | 1262573.0766 | 2680988.3732 | 1262583.7441 | 2680999.164 | 1262587.6332
30 | 2681120.6509 | 1262644.4395 | 2681120.9331 | 1262644.5776
31 | 2681137.9019 | 1262652.8787 | 2681136.3078 | 1262652.0988
32 | 2681136.3078 | 1262652.0988 | 2681120.9331 | 1262644.5776
33 | 2681113.1721 | 1262480.8853 | 2681125.4462 | 1262499.2476
34 | 2680923.5059 | 1262432.6432 | 2680920.7786 | 1262429.4773 | 2680908.8573 | 1262410.8998 | 2680907.6923 | 1262409.0623
35 | 2680929.7738 | 1262439.9191 | 2680923.5059 | 1262432.6432
36 | 2680896.1351 | 1262389.7316 | 2680901.6812 | 1262399.5818 | 2680907.6923 | 1262409.0623
37 | 2680929.7738 | 1262439.9191 | 2680933.7872 | 1262444.578 | 2680956.962 | 1262466.7898
38 | 2680896.1351 | 1262389.7316 | 2680890.32 | 1262377.5093 | 2680863.7908 | 1262324.6613 | 2680859.7271 | 1262316.6583
39 | 2680896.1351 | 1262389.7316 | 2680904.75 | 1262386.7583 | 2680917.6704 | 1262385.1893 | 2680925.0752 | 1262384.2648
40 | 2680896.1351 | 1262389.7316 | 2680886.5971 | 1262392.9926 | 2680870.4889 | 1262398.3572
41 | 2680956.962 | 1262466.7898 | 2680957.8388 | 1262467.6302
42 | 2680961.7318 | 1262379.6879 | 2680925.0752 | 1262384.2648
43 | 2680835.2506 | 1262409.3171 | 2680847.4053 | 1262406.0448 | 2680870.4889 | 1262398.3572
44 | 2680960.6993 | 1262470.3718 | 2680957.8388 | 1262467.6302
45 | 2680961.7318 | 1262379.6879 | 2680970.8822 | 1262378.1159
46 | 2680961.7318 | 1262379.6879 | 2680943.9524 | 1262339.3384
47 | 2680960.6993 | 1262470.3718 | 2680967.6833 | 1262477.0656
48 | 2680984.3632 | 1262375.7998 | 2680970.8822 | 1262378.1159
49 | 2680936.2217 | 1262321.794 | 2680943.9524 | 1262339.3384
50 | 2681051.553 | 1262330.7995 | 2681051.7219 | 1262329.2366 | 2681050.5095 | 1262322.0477 | 2681028.29 | 1262278.7516
51 | 2681051.553 | 1262330.7995 | 2681051.2246 | 1262333.8376
52 | 2681049.4349 | 1262342.7409 | 2681050.5915 | 1262339.6959 | 2681051.2246 | 1262333.8376
53 | 2681049.4349 | 1262342.7409 | 2681047.9175 | 1262346.7361
54 | 2681029.6337 | 1262365.2953 | 2681040.4208 | 1262358.3154 | 2681046.1673 | 1262351.3443 | 2681047.9175 | 1262346.7361
55 | 2681029.6337 | 1262365.2953 | 2681009.179 | 1262370.9748
56 | 2681009.179 | 1262370.9748 | 2681003.8733 | 1262372.448 | 2681001.5942 | 1262372.8396
57 | 2680996.7371 | 1262373.674 | 2681001.5942 | 1262372.8396
58 | 2681061.2998 | 1262409.8374 | 2681061.3745 | 1262409.9425 | 2681068.5503 | 1262419.7706
59 | 2681068.5503 | 1262419.7706 | 2681092.521 | 1262452.6012
60 | 2680996.7371 | 1262373.674 | 2680984.3632 | 1262375.7998
61 | 2681102.3915 | 1262466.12 | 2681092.521 | 1262452.6012
62 | 2680970.6726 | 1262479.9307 | 2680967.6833 | 1262477.0656
63 | 2680970.6726 | 1262479.9307 | 2680983.5704 | 1262492.2925
64 | 2680983.5704 | 1262492.2925 | 2680984.689 | 1262493.3646
65 | 2680990.593 | 1262499.2147 | 2680987.3761 | 1262495.9401 | 2680984.689 | 1262493.3646
66 | 2681113.1721 | 1262480.8853 | 2681102.3915 | 1262466.12
67 | 2681113.1721 | 1262480.8853 | 2681098.8098 | 1262520.6224
68 | 2681092.6626 | 1262537.6302 | 2681098.8098 | 1262520.6224
69 | 2680990.593 | 1262499.2147 | 2681006.5768 | 1262515.485
70 | 2681018.955 | 1262528.0912 | 2681018.9341 | 1262528.0638 | 2681006.5768 | 1262515.485
71 | 2681018.955 | 1262528.0912 | 2681020.0363 | 1262529.5077

## bus_geodata
| x | y | coords
0 | 2680865.5286 | 1262631.0476
1 | 2680872.8515 | 1262606.8705
2 | 2680886.47 | 1262563.0561
3 | 2680940.9287 | 1262576.7115
4 | 2680934.6192 | 1262591.8147
5 | 2680903.1151 | 1262555.7558
6 | 2680995.5141 | 1262594.9196
7 | 2681072.1295 | 1262612.4025
8 | 2681084.5347 | 1262623.6479
9 | 2681070.3886 | 1262599.2573
10 | 2681067.9669 | 1262627.5127
11 | 2680921.2756 | 1262633.6147
12 | 2681092.3157 | 1262627.6491
13 | 2681066.3429 | 1262626.7121
14 | 2680921.0394 | 1262561.7045
15 | 2680880.6677 | 1262548.47
16 | 2681229.0769 | 1262612.7113
17 | 2681205.2859 | 1262614.2191
18 | 2681236.0221 | 1262598.0063
19 | 2681157.0551 | 1262546.5352
20 | 2680999.4849 | 1262596.4546
21 | 2681043.7691 | 1262560.5976
22 | 2681079.181 | 1262574.9308
23 | 2680999.164 | 1262587.6332
24 | 2680955.9126 | 1262573.0766
25 | 2681120.6509 | 1262644.4395
26 | 2681058.6536 | 1262640.8397
27 | 2681032.7552 | 1262610.2734
28 | 2680841.2214 | 1262534.8972
29 | 2681137.9019 | 1262652.8787
30 | 2681136.3078 | 1262652.0988
31 | 2681125.4462 | 1262499.2476
32 | 2680923.5059 | 1262432.6432
33 | 2680907.6923 | 1262409.0623
34 | 2680929.7738 | 1262439.9191
35 | 2680896.1351 | 1262389.7316
36 | 2680956.962 | 1262466.7898
37 | 2680859.7271 | 1262316.6583
38 | 2680925.0752 | 1262384.2648
39 | 2680870.4889 | 1262398.3572
40 | 2680957.8388 | 1262467.6302
41 | 2680961.7318 | 1262379.6879
42 | 2680835.2506 | 1262409.3171
43 | 2680960.6993 | 1262470.3718
44 | 2680970.8822 | 1262378.1159
45 | 2680943.9524 | 1262339.3384
46 | 2681028.29 | 1262278.7516
47 | 2681051.553 | 1262330.7995
48 | 2681051.2246 | 1262333.8376
49 | 2681049.4349 | 1262342.7409
50 | 2681047.9175 | 1262346.7361
51 | 2681029.6337 | 1262365.2953
52 | 2681009.179 | 1262370.9748
53 | 2681001.5942 | 1262372.8396
54 | 2681061.2998 | 1262409.8374
55 | 2681068.5503 | 1262419.7706
56 | 2680996.7371 | 1262373.674
57 | 2681092.521 | 1262452.6012
58 | 2680984.3632 | 1262375.7998
59 | 2680936.2217 | 1262321.794
60 | 2680967.6833 | 1262477.0656
61 | 2680970.6726 | 1262479.9307
62 | 2680983.5704 | 1262492.2925
63 | 2680984.689 | 1262493.3646
64 | 2681102.3915 | 1262466.12
65 | 2681113.1721 | 1262480.8853
66 | 2681098.8098 | 1262520.6224
67 | 2680990.593 | 1262499.2147
68 | 2681006.5767 | 1262515.485
69 | 2681018.955 | 1262528.0912
70 | 2681020.0363 | 1262529.5077
71 | 2681092.6626 | 1262537.6302
72 | 2681120.9331 | 1262644.5776
73 | 2681070.3886 | 1262599.2573

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1