## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-1_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-1_0_1_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_616-1_0_1_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_616-1_0_1_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_616-1_0_1_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_616-1_0_1_node_193 | 0.4 | n |  | TRUE
6 | bus_LV_616-1_0_1_node_205 | 0.4 | n |  | TRUE
7 | bus_LV_616-1_0_1_node_192 | 0.4 | n |  | TRUE
8 | bus_LV_616-1_0_1_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_616-1_0_1_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_616-1_0_1_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_616-1_0_1_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_616-1_0_1_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_616-1_0_1_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_616-1_0_1_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_616-1_0_1_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_616-1_0_1_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_616-1_0_1_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_616-1_0_1_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_616-1_0_1_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_616-1_0_1_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_616-1_0_1_node_206 | 0.4 | n |  | TRUE
22 | bus_LV_616-1_0_1_node_196 | 0.4 | n |  | TRUE
23 | bus_LV_616-1_0_1_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_616-1_0_1_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_616-1_0_1_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_616-1_0_1_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_616-1_0_1_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_616-1_0_1_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_616-1_0_1_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_616-1_0_1_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_616-1_0_1_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_616-1_0_1_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_616-1_0_1_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_616-1_0_1_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_616-1_0_1_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_616-1_0_1_node_198 | 0.4 | n |  | TRUE
37 | bus_LV_616-1_0_1_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_616-1_0_1_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_616-1_0_1_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_616-1_0_1_node_195 | 0.4 | n |  | TRUE
41 | bus_LV_616-1_0_1_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_616-1_0_1_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_616-1_0_1_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_616-1_0_1_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_616-1_0_1_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_616-1_0_1_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_616-1_0_1_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_616-1_0_1_node_169 | 0.4 | n |  | TRUE
49 | bus_LV_616-1_0_1_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_616-1_0_1_node_170 | 0.4 | n |  | TRUE
51 | bus_LV_616-1_0_1_node_200 | 0.4 | n |  | TRUE
52 | bus_LV_616-1_0_1_node_194 | 0.4 | n |  | TRUE
53 | bus_LV_616-1_0_1_node_199 | 0.4 | n |  | TRUE
54 | bus_LV_616-1_0_1_node_201 | 0.4 | n |  | TRUE
55 | bus_LV_616-1_0_1_node_202 | 0.4 | n |  | TRUE
56 | bus_LV_616-1_0_1_node_203 | 0.4 | n |  | TRUE
57 | bus_MV_98_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-1_0_1_load_0 | 0 | 0.0097529 | 0.0024443 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-1_0_1_load_193 | 5 | 0.017707 | 0.0044378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-1_0_1_load_192 | 7 | 0.01338 | 0.0033534 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-1_0_1_load_25 | 8 | 0.00034888 | 8.7437e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-1_0_1_load_7 | 11 | 0.0099085 | 0.0024833 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-1_0_1_load_8 | 12 | 0.011783 | 0.0029532 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-1_0_1_load_11 | 14 | 0.017697 | 0.0044352 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-1_0_1_load_12 | 15 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-1_0_1_load_13 | 16 | 0.00035798 | 8.9719e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-1_0_1_load_15 | 18 | 0.00053938 | 0.00013518 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-1_0_1_load_32 | 20 | 0.00086786 | 0.00021751 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-1_0_1_load_206 | 21 | 0.00042287 | 0.00010598 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-1_0_1_load_196 | 22 | 0.00092532 | 0.00023191 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-1_0_1_load_17 | 23 | 0.0018878 | 0.00047312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-1_0_1_load_18 | 24 | 0.000246 | 6.1655e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-1_0_1_load_19 | 25 | 0.00024078 | 6.0344e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-1_0_1_load_20 | 26 | 0.00032944 | 8.2565e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-1_0_1_load_21 | 27 | 0.0035232 | 0.000883 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-1_0_1_load_22 | 28 | 0.0010596 | 0.00026556 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-1_0_1_load_23 | 29 | 0.00057824 | 0.00014492 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-1_0_1_load_24 | 30 | 0.0010489 | 0.00026288 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-1_0_1_load_26 | 31 | 0.0004789 | 0.00012002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-1_0_1_load_30 | 34 | 0.00035002 | 8.7724e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-1_0_1_load_31 | 35 | 0.0005755 | 0.00014423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-1_0_1_load_198 | 36 | 0.00026163 | 6.557e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-1_0_1_load_39 | 37 | 0.00037496 | 9.3974e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-1_0_1_load_40 | 38 | 0.00050285 | 0.00012603 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-1_0_1_load_33 | 39 | 0.00039575 | 9.9185e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-1_0_1_load_195 | 40 | 0.00029439 | 7.3782e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-1_0_1_load_34 | 41 | 0.0011619 | 0.0002912 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-1_0_1_load_35 | 42 | 0.00044493 | 0.00011151 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-1_0_1_load_36 | 43 | 0.001123 | 0.00028146 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-1_0_1_load_37 | 44 | 0.00032125 | 8.0512e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-1_0_1_load_38 | 45 | 0.0011418 | 0.00028617 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-1_0_1_load_48 | 46 | 0.0011793 | 0.00029557 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-1_0_1_load_41 | 47 | 0.0012706 | 0.00031845 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-1_0_1_load_169 | 48 | 0.0032656 | 0.00081844 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-1_0_1_load_170 | 50 | 0.00042816 | 0.00010731 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-1_0_1_load_194 | 52 | 0.0016749 | 0.00041977 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-1_0_1_load_199 | 53 | 0.00029307 | 7.3451e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-1_0_1_load_201 | 54 | 0.00044066 | 0.00011044 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-1_0_1_load_202 | 55 | 0.0003754 | 9.4084e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-1_0_1_load_203 | 56 | 0.00041672 | 0.00010444 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-1_0_1_line_0 |  | 0 | 1 | 0.026102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-1_0_1_line_1 |  | 1 | 2 | 0.019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_616-1_0_1_line_2 |  | 1 | 3 | 0.097869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-1_0_1_line_3 |  | 2 | 7 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_616-1_0_1_line_4 |  | 3 | 8 | 0.032465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_616-1_0_1_line_5 |  | 3 | 9 | 0.11888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_616-1_0_1_line_6 |  | 4 | 5 | 0.026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_616-1_0_1_line_7 |  | 4 | 6 | 0.046112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_616-1_0_1_line_8 |  | 5 | 10 | 0.0079983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-1_0_1_line_9 |  | 6 | 14 | 0.027652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_616-1_0_1_line_10 |  | 7 | 10 | 0.031142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_616-1_0_1_line_11 |  | 8 | 30 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_616-1_0_1_line_12 |  | 9 | 33 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_616-1_0_1_line_13 |  | 9 | 31 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_616-1_0_1_line_14 |  | 11 | 12 | 0.00034719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_616-1_0_1_line_15 |  | 11 | 13 | 0.029518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-1_0_1_line_16 |  | 13 | 14 | 0.009794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_616-1_0_1_line_17 |  | 15 | 16 | 0.0051518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_616-1_0_1_line_18 |  | 15 | 17 | 0.046533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-1_0_1_line_19 |  | 17 | 18 | 0.061218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_616-1_0_1_line_20 |  | 17 | 19 | 0.03135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-1_0_1_line_21 |  | 18 | 20 | 0.030127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_616-1_0_1_line_22 |  | 18 | 21 | 0.059465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_616-1_0_1_line_23 |  | 19 | 22 | 0.067569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_616-1_0_1_line_24 |  | 20 | 32 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_616-1_0_1_line_25 |  | 22 | 52 | 0.0026506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-1_0_1_line_26 |  | 23 | 24 | 0.019308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_616-1_0_1_line_27 |  | 23 | 25 | 0.01949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-1_0_1_line_28 |  | 24 | 26 | 0.001765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-1_0_1_line_29 |  | 25 | 27 | 0.028118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_616-1_0_1_line_30 |  | 26 | 28 | 0.00772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_616-1_0_1_line_31 |  | 28 | 29 | 0.040159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_616-1_0_1_line_32 |  | 29 | 30 | 0.017147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_616-1_0_1_line_33 |  | 31 | 32 | 0.049526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_616-1_0_1_line_34 |  | 32 | 34 | 0.056322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_616-1_0_1_line_35 |  | 32 | 35 | 0.029414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_616-1_0_1_line_36 |  | 33 | 36 | 0.10481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_616-1_0_1_line_37 |  | 34 | 37 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_616-1_0_1_line_38 |  | 35 | 38 | 0.031668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_616-1_0_1_line_39 |  | 36 | 53 | 0.010534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_616-1_0_1_line_40 |  | 37 | 44 | 0.0040817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_616-1_0_1_line_41 |  | 38 | 47 | 0.034715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_616-1_0_1_line_42 |  | 39 | 40 | 0.13372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_616-1_0_1_line_43 |  | 40 | 52 | 0.021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_616-1_0_1_line_44 |  | 41 | 42 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_616-1_0_1_line_45 |  | 41 | 43 | 0.0089589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_616-1_0_1_line_46 |  | 42 | 44 | 0.020269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_616-1_0_1_line_47 |  | 43 | 45 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_616-1_0_1_line_48 |  | 45 | 46 | 0.0083769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_616-1_0_1_line_49 |  | 48 | 49 | 0.034732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_616-1_0_1_line_50 |  | 49 | 50 | 0.036449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_616-1_0_1_line_51 |  | 50 | 51 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_616-1_0_1_line_52 |  | 51 | 54 | 0.038853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_616-1_0_1_line_53 |  | 51 | 53 | 0.0047044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_616-1_0_1_line_54 |  | 54 | 55 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-1_0_1_line_55 |  | 55 | 56 | 0.03008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-1_0_1_trafo_0 | 0.63 MVA 20/0.4 kV | 57 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2607920.9047 | 1191976.4876 | 2607922.7237 | 1191966.9961 | 2607926.1043 | 1191958.4405 | 2607928.0314 | 1191951.4636
1 | 2607920.9047 | 1191976.4876 | 2607912.179 | 1191974.6196 | 2607907.9895 | 1191972.2684 | 2607903.5205 | 1191967.9269
2 | 2607920.9047 | 1191976.4876 | 2607917.9112 | 1191992.1363 | 2607915.0233 | 1191997.0462 | 2607911.9236 | 1192000.7663 | 2607916.1777 | 1192006.1192 | 2607919.4965 | 1192009.7365 | 2607924.196 | 1192012.5998 | 2607928.1357 | 1192013.5832 | 2607933.9434 | 1192014.2801 | 2607939.9122 | 1192014.1657 | 2607978.0682 | 1192011.2256
3 | 2607903.5205 | 1191967.9269 | 2607907.8503 | 1191947.2372
4 | 2607978.0682 | 1192011.2256 | 2607986.1523 | 1192031.2801 | 2607989.6144 | 1192041.5545
5 | 2607978.0682 | 1192011.2256 | 2608011.9436 | 1191994.2282 | 2608047.2154 | 1191976.3101 | 2608066.6401 | 1191969.3547 | 2608076.7362 | 1191966.8002 | 2608087.0363 | 1191965.5689
6 | 2607911.6119 | 1191883.8712 | 2607905.8808 | 1191909.5066
7 | 2607911.6119 | 1191883.8712 | 2607866.7954 | 1191873.018
8 | 2607904.1357 | 1191917.3123 | 2607905.8808 | 1191909.5066
9 | 2607866.7954 | 1191873.018 | 2607872.7976 | 1191846.0254
10 | 2607904.1357 | 1191917.3123 | 2607908.5587 | 1191927.6346 | 2607909.8846 | 1191933.8507 | 2607909.0513 | 1191941.4981 | 2607907.8503 | 1191947.2372
11 | 2607989.6144 | 1192041.5545 | 2607994.7786 | 1192056.8799
12 | 2608087.0363 | 1191965.5689 | 2608087.9058 | 1191942.4912
13 | 2608087.0363 | 1191965.5689 | 2608102.5252 | 1191966.1788 | 2608107.4423 | 1191966.9607
14 | 2607870.3082 | 1191808.9834 | 2607870.3969 | 1191808.6477
15 | 2607874.9235 | 1191836.4649 | 2607868.6197 | 1191824.4504 | 2607867.7538 | 1191822.0591 | 2607867.7583 | 1191818.6351 | 2607870.3082 | 1191808.9834
16 | 2607874.9235 | 1191836.4649 | 2607872.7976 | 1191846.0254
17 | 2608159.1657 | 1192104.9837 | 2608159.1657 | 1192104.9837 | 2608156.3091 | 1192109.271 | 2608156.3091 | 1192109.271
18 | 2608196.0281 | 1192077.6082 | 2608189.3245 | 1192085.6588 | 2608186.7825 | 1192088.3346 | 2608183.7303 | 1192090.6316 | 2608175.6894 | 1192095.4233 | 2608163.7901 | 1192101.288 | 2608159.1657 | 1192104.9837
19 | 2608196.0281 | 1192077.6082 | 2608192.6971 | 1192071.9117 | 2608184.1431 | 1192039.2274 | 2608175.8731 | 1192020.1049
20 | 2608220.7618 | 1192095.8514 | 2608214.2024 | 1192093.1744 | 2608207.1717 | 1192089.3962 | 2608200.7379 | 1192084.0179 | 2608196.0281 | 1192077.6082
21 | 2608163.9146 | 1191992.4532 | 2608175.8731 | 1192020.1049
22 | 2608175.8731 | 1192020.1049 | 2608235.2833 | 1192017.5634
23 | 2608220.7618 | 1192095.8514 | 2608216.3878 | 1192111.5982 | 2608213.5433 | 1192123.7007 | 2608211.5923 | 1192134.5926 | 2608210.58 | 1192144.7188 | 2608210.0843 | 1192156.0574 | 2608209.357 | 1192162.2172
24 | 2608156.5782 | 1191972.266 | 2608163.9146 | 1191992.4532
25 | 2608209.0461 | 1192164.8494 | 2608209.357 | 1192162.2172
26 | 2608041.681 | 1192127.631 | 2608040.4911 | 1192125.6908 | 2608034.989 | 1192118.8688 | 2608029.4435 | 1192112.7365
27 | 2608050.9415 | 1192144.7518 | 2608050.7569 | 1192144.2587 | 2608046.1957 | 1192134.9922 | 2608041.681 | 1192127.631
28 | 2608028.2596 | 1192111.4275 | 2608029.4435 | 1192112.7365
29 | 2608060.8003 | 1192171.085 | 2608050.9415 | 1192144.7518
30 | 2608028.2596 | 1192111.4275 | 2608023.0816 | 1192105.7016
31 | 2608023.0816 | 1192105.7016 | 2608012.2611 | 1192093.7365 | 2608005.1159 | 1192084.3443 | 2608001.1258 | 1192075.4454 | 2608000.3229 | 1192073.1058
32 | 2608000.3229 | 1192073.1058 | 2607996.0838 | 1192060.7532 | 2607994.7786 | 1192056.8799
33 | 2608156.5782 | 1191972.266 | 2608144.5723 | 1191972.2498 | 2608135.5251 | 1191971.426 | 2608107.4423 | 1191966.9607
34 | 2608156.5782 | 1191972.266 | 2608150.4147 | 1191958.5171 | 2608147.7886 | 1191944.4061 | 2608148.5003 | 1191931.1223 | 2608151.3084 | 1191917.8169
35 | 2608156.5782 | 1191972.266 | 2608163.0364 | 1191971.0852 | 2608170.3735 | 1191968.1714 | 2608177.8346 | 1191963.7681 | 2608182.7639 | 1191959.8593
36 | 2608087.9058 | 1191942.4912 | 2608088.7228 | 1191935.7888 | 2608113.2984 | 1191879.6256 | 2608116.9532 | 1191871.4485 | 2608120.2649 | 1191863.2708 | 2608126.3399 | 1191846.7259 | 2608126.7957 | 1191845.4615
37 | 2608158.8117 | 1191899.0861 | 2608158.8117 | 1191899.0861 | 2608151.8146 | 1191915.4186 | 2608151.3084 | 1191917.8169
38 | 2608182.7639 | 1191959.8593 | 2608184.9163 | 1191958.1525 | 2608202.7369 | 1191935.3742
39 | 2608126.7957 | 1191845.4615 | 2608130.0892 | 1191836.3255 | 2608130.4329 | 1191835.5779
40 | 2608158.8117 | 1191899.0861 | 2608160.9047 | 1191895.5819
41 | 2608202.7369 | 1191935.3742 | 2608204.4037 | 1191933.2437 | 2608222.5633 | 1191906.8835
42 | 2608206.5139 | 1192186.2941 | 2608171.373 | 1192315.3091
43 | 2608209.0461 | 1192164.8494 | 2608206.5139 | 1192186.2941
44 | 2608182.0209 | 1191867.2371 | 2608176.9523 | 1191872.3966 | 2608171.7287 | 1191878.4902
45 | 2608182.0209 | 1191867.2371 | 2608184.6851 | 1191864.5252 | 2608188.7409 | 1191861.3397
46 | 2608160.9047 | 1191895.5819 | 2608169.699 | 1191880.8579 | 2608171.7287 | 1191878.4902
47 | 2608188.7409 | 1191861.3397 | 2608200.5923 | 1191852.0312
48 | 2608200.5923 | 1191852.0312 | 2608196.7947 | 1191844.5645
49 | 2608164.5077 | 1191790.8147 | 2608158.7281 | 1191786.1711 | 2608152.9043 | 1191780.3491 | 2608150.8191 | 1191777.7449 | 2608149.7477 | 1191775.2088 | 2608147.8034 | 1191769.8923 | 2608146.1985 | 1191767.1887 | 2608143.3975 | 1191764.0277
50 | 2608164.5077 | 1191790.8147 | 2608141.5397 | 1191818.8095 | 2608141.3901 | 1191818.9947
51 | 2608132.3981 | 1191831.3037 | 2608136.6146 | 1191824.906 | 2608141.3901 | 1191818.9947
52 | 2608132.3981 | 1191831.3037 | 2608121.8555 | 1191825.5865 | 2608110.8588 | 1191817.423 | 2608105.3954 | 1191810.0451 | 2608103.3086 | 1191806.6518
53 | 2608132.3981 | 1191831.3037 | 2608130.4329 | 1191835.5779
54 | 2608103.3086 | 1191806.6518 | 2608095.5907 | 1191794.1013 | 2608094.644 | 1191792.9657
55 | 2608094.644 | 1191792.9657 | 2608085.3845 | 1191781.859 | 2608083.7791 | 1191779.6224 | 2608082.4178 | 1191777.2082 | 2608080.1836 | 1191771.9913 | 2608078.6949 | 1191767.8298

## bus_geodata
| x | y | coords
0 | 2607928.0314 | 1191951.4636
1 | 2607920.9047 | 1191976.4876
2 | 2607903.5205 | 1191967.9269
3 | 2607978.0682 | 1192011.2256
4 | 2607911.6119 | 1191883.8712
5 | 2607905.8808 | 1191909.5066
6 | 2607866.7954 | 1191873.018
7 | 2607907.8503 | 1191947.2372
8 | 2607989.6144 | 1192041.5545
9 | 2608087.0363 | 1191965.5689
10 | 2607904.1357 | 1191917.3123
11 | 2607870.3082 | 1191808.9834
12 | 2607870.3969 | 1191808.6477
13 | 2607874.9235 | 1191836.4649
14 | 2607872.7976 | 1191846.0254
15 | 2608159.1657 | 1192104.9837
16 | 2608156.3091 | 1192109.271
17 | 2608196.0281 | 1192077.6082
18 | 2608175.8731 | 1192020.1049
19 | 2608220.7618 | 1192095.8514
20 | 2608163.9146 | 1191992.4532
21 | 2608235.2833 | 1192017.5634
22 | 2608209.357 | 1192162.2172
23 | 2608041.681 | 1192127.631
24 | 2608029.4435 | 1192112.7365
25 | 2608050.9415 | 1192144.7518
26 | 2608028.2596 | 1192111.4275
27 | 2608060.8003 | 1192171.085
28 | 2608023.0816 | 1192105.7016
29 | 2608000.3229 | 1192073.1058
30 | 2607994.7786 | 1192056.8799
31 | 2608107.4423 | 1191966.9607
32 | 2608156.5782 | 1191972.266
33 | 2608087.9058 | 1191942.4912
34 | 2608151.3084 | 1191917.8169
35 | 2608182.7639 | 1191959.8593
36 | 2608126.7957 | 1191845.4615
37 | 2608158.8117 | 1191899.0861
38 | 2608202.7369 | 1191935.3742
39 | 2608171.373 | 1192315.3091
40 | 2608206.5139 | 1192186.2941
41 | 2608182.0209 | 1191867.2371
42 | 2608171.7287 | 1191878.4902
43 | 2608188.7409 | 1191861.3397
44 | 2608160.9047 | 1191895.5819
45 | 2608200.5923 | 1191852.0312
46 | 2608196.7947 | 1191844.5645
47 | 2608222.5633 | 1191906.8835
48 | 2608143.3975 | 1191764.0277
49 | 2608164.5078 | 1191790.8147
50 | 2608141.3901 | 1191818.9947
51 | 2608132.3981 | 1191831.3037
52 | 2608209.0461 | 1192164.8494
53 | 2608130.4329 | 1191835.5779
54 | 2608103.3086 | 1191806.6518
55 | 2608094.644 | 1191792.9657
56 | 2608078.6949 | 1191767.8298
57 | 2607920.9047 | 1191976.4876

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1