## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_616-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_616-2_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_616-2_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_616-2_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_616-2_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_616-2_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_616-2_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_616-2_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_616-2_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_616-2_0_4_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_616-2_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_616-2_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_616-2_0_4_node_93 | 0.4 | n |  | TRUE
15 | bus_LV_616-2_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_616-2_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_616-2_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_616-2_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_616-2_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_616-2_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_616-2_0_4_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_616-2_0_4_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_616-2_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_616-2_0_4_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_616-2_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_616-2_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_616-2_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_616-2_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_616-2_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_616-2_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_616-2_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_616-2_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_616-2_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_616-2_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_616-2_0_4_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_616-2_0_4_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_616-2_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_616-2_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_616-2_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_616-2_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_616-2_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_616-2_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_616-2_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_616-2_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_616-2_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_616-2_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_616-2_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_616-2_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_616-2_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_616-2_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_616-2_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_616-2_0_4_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_616-2_0_4_node_103 | 0.4 | n |  | TRUE
54 | bus_LV_616-2_0_4_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_616-2_0_4_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_616-2_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_616-2_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_616-2_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_616-2_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_616-2_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_616-2_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_616-2_0_4_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_616-2_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_616-2_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_616-2_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_616-2_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_616-2_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_616-2_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_616-2_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_616-2_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_616-2_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_616-2_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_616-2_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_616-2_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_616-2_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_616-2_0_4_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_616-2_0_4_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_616-2_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_616-2_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_616-2_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_616-2_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_616-2_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_616-2_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_616-2_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_616-2_0_4_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_616-2_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_616-2_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_616-2_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_616-2_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_616-2_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_616-2_0_4_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_616-2_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_616-2_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_616-2_0_4_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_616-2_0_4_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_616-2_0_4_node_100 | 0.4 | n |  | TRUE
97 | bus_MV_98_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-2_0_4_load_0 | 0 | 0.0054086 | 0.0013555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-2_0_4_load_4 | 3 | 0.0017378 | 0.00043553 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-2_0_4_load_5 | 4 | 0.010846 | 0.0027183 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-2_0_4_load_6 | 5 | 0.0052105 | 0.0013059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-2_0_4_load_36 | 7 | 0.0028022 | 0.00070229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-2_0_4_load_33 | 8 | 0.0035208 | 0.0008824 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-2_0_4_load_10 | 9 | 0.009742 | 0.0024416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-2_0_4_load_48 | 11 | 0.0030617 | 0.00076732 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-2_0_4_load_34 | 12 | 0.0029773 | 0.00074618 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-2_0_4_load_8 | 13 | 0.010095 | 0.00253 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-2_0_4_load_93 | 14 | 0.013644 | 0.0034196 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-2_0_4_load_15 | 15 | 0.012606 | 0.0031593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-2_0_4_load_7 | 16 | 0.010007 | 0.0025079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-2_0_4_load_11 | 18 | 0.013199 | 0.0033081 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-2_0_4_load_13 | 20 | 0.013866 | 0.0034752 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-2_0_4_load_73 | 21 | 0.0049449 | 0.0012393 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-2_0_4_load_14 | 23 | 0.012965 | 0.0032492 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-2_0_4_load_17 | 25 | 0.0037939 | 0.00095083 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-2_0_4_load_18 | 26 | 0.0021668 | 0.00054304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-2_0_4_load_19 | 27 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-2_0_4_load_20 | 28 | 0.0042406 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-2_0_4_load_21 | 29 | 0.0060929 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-2_0_4_load_45 | 30 | 0.0062907 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-2_0_4_load_22 | 33 | 0.0023241 | 0.00058248 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-2_0_4_load_29 | 34 | 0.0043067 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-2_0_4_load_97 | 35 | 0.012148 | 0.0030445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-2_0_4_load_95 | 36 | 0.0012253 | 0.00030708 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-2_0_4_load_46 | 37 | 0.013155 | 0.003297 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-2_0_4_load_30 | 38 | 0.0022732 | 0.00056971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-2_0_4_load_24 | 39 | 0.001613 | 0.00040425 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-2_0_4_load_25 | 40 | 0.0025047 | 0.00062773 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-2_0_4_load_27 | 41 | 0.0014936 | 0.00037434 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-2_0_4_load_32 | 43 | 0.001168 | 0.00029273 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-2_0_4_load_31 | 44 | 0.0010001 | 0.00025065 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-2_0_4_load_40 | 45 | 0.001118 | 0.0002802 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-2_0_4_load_38 | 46 | 0.0012396 | 0.00031067 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-2_0_4_load_43 | 47 | 0.012655 | 0.0031717 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-2_0_4_load_49 | 48 | 0.0044061 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-2_0_4_load_37 | 49 | 0.0019369 | 0.00048543 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-2_0_4_load_41 | 50 | 0.0021107 | 0.000529 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-2_0_4_load_102 | 52 | 0.0021047 | 0.00052748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-2_0_4_load_104 | 54 | 0.0020856 | 0.0005227 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-2_0_4_load_60 | 59 | 0.0021598 | 0.00054131 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_616-2_0_4_load_61 | 60 | 0.0033661 | 0.00084362 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_616-2_0_4_load_59 | 61 | 0.0017325 | 0.00043421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_616-2_0_4_load_101 | 62 | 0.0030801 | 0.00077194 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_616-2_0_4_load_64 | 63 | 0.0024262 | 0.00060806 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_616-2_0_4_load_57 | 64 | 0.0021325 | 0.00053446 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_616-2_0_4_load_53 | 65 | 0.0072086 | 0.0018067 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_616-2_0_4_load_54 | 66 | 0.0062626 | 0.0015696 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_616-2_0_4_load_56 | 68 | 0.023836 | 0.005974 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_616-2_0_4_load_58 | 69 | 0.0016987 | 0.00042574 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_616-2_0_4_load_63 | 70 | 0.0059143 | 0.0014823 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_616-2_0_4_load_65 | 71 | 0.0057408 | 0.0014388 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_616-2_0_4_load_68 | 74 | 0.0032957 | 0.00082598 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_616-2_0_4_load_71 | 75 | 0.0014827 | 0.00037161 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_616-2_0_4_load_85 | 76 | 0.0020973 | 0.00052564 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_616-2_0_4_load_83 | 77 | 0.0017037 | 0.000427 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_616-2_0_4_load_69 | 78 | 0.0054512 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_616-2_0_4_load_86 | 79 | 0.0047059 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_616-2_0_4_load_70 | 80 | 0.0067979 | 0.0017037 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_616-2_0_4_load_72 | 81 | 0.0049085 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_616-2_0_4_load_75 | 82 | 0.001957 | 0.00049047 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_616-2_0_4_load_89 | 84 | 0.0026492 | 0.00066396 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_616-2_0_4_load_76 | 85 | 0.0077655 | 0.0019462 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_616-2_0_4_load_77 | 86 | 0.01117 | 0.0027994 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_616-2_0_4_load_80 | 89 | 0.0022439 | 0.00056238 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_616-2_0_4_load_81 | 91 | 0.0052644 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_616-2_0_4_load_92 | 93 | 0.0068686 | 0.0017214 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_616-2_0_4_load_98 | 94 | 0.015813 | 0.0039631 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_616-2_0_4_load_99 | 95 | 0.013349 | 0.0033457 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_616-2_0_4_load_100 | 96 | 0.011508 | 0.0028842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-2_0_4_line_0 |  | 0 | 1 | 0.032037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-2_0_4_line_1 |  | 0 | 2 | 0.00036862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_616-2_0_4_line_2 |  | 1 | 3 | 0.010873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-2_0_4_line_3 |  | 2 | 4 | 0.023675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_616-2_0_4_line_4 |  | 2 | 5 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_616-2_0_4_line_5 |  | 4 | 9 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_616-2_0_4_line_6 |  | 5 | 10 | 0.03228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_616-2_0_4_line_7 |  | 6 | 7 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_616-2_0_4_line_8 |  | 6 | 8 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-2_0_4_line_9 |  | 7 | 11 | 0.018986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_616-2_0_4_line_10 |  | 8 | 12 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_616-2_0_4_line_11 |  | 9 | 13 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_616-2_0_4_line_12 |  | 10 | 14 | 0.0080507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_616-2_0_4_line_13 |  | 10 | 15 | 0.011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_616-2_0_4_line_14 |  | 11 | 48 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_616-2_0_4_line_15 |  | 12 | 32 | 0.0084997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-2_0_4_line_16 |  | 13 | 16 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_616-2_0_4_line_17 |  | 14 | 24 | 0.050616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_616-2_0_4_line_18 |  | 15 | 23 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-2_0_4_line_19 |  | 16 | 17 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_616-2_0_4_line_20 |  | 17 | 18 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-2_0_4_line_21 |  | 17 | 19 | 0.03173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_616-2_0_4_line_22 |  | 18 | 20 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_616-2_0_4_line_23 |  | 19 | 21 | 0.0086582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_616-2_0_4_line_24 |  | 21 | 22 | 0.021965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_616-2_0_4_line_25 |  | 22 | 82 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-2_0_4_line_26 |  | 22 | 81 | 0.010602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_616-2_0_4_line_27 |  | 24 | 55 | 0.039891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-2_0_4_line_28 |  | 24 | 51 | 0.0085046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-2_0_4_line_29 |  | 25 | 26 | 0.0058196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_616-2_0_4_line_30 |  | 25 | 27 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_616-2_0_4_line_31 |  | 26 | 28 | 0.0052619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_616-2_0_4_line_32 |  | 27 | 29 | 0.0091613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_616-2_0_4_line_33 |  | 28 | 33 | 0.0053359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_616-2_0_4_line_34 |  | 30 | 31 | 0.028876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_616-2_0_4_line_35 |  | 30 | 32 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_616-2_0_4_line_36 |  | 31 | 37 | 0.025373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_616-2_0_4_line_37 |  | 32 | 47 | 0.01973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_616-2_0_4_line_38 |  | 33 | 34 | 0.0020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_616-2_0_4_line_39 |  | 34 | 38 | 0.0097586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_616-2_0_4_line_40 |  | 35 | 36 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_616-2_0_4_line_41 |  | 36 | 41 | 0.040234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_616-2_0_4_line_42 |  | 36 | 42 | 0.027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_616-2_0_4_line_43 |  | 38 | 44 | 0.020379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_616-2_0_4_line_44 |  | 39 | 40 | 0.038181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_616-2_0_4_line_45 |  | 40 | 41 | 0.0077702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_616-2_0_4_line_46 |  | 41 | 43 | 0.0062641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_616-2_0_4_line_47 |  | 42 | 50 | 0.003551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_616-2_0_4_line_48 |  | 42 | 51 | 0.041755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_616-2_0_4_line_49 |  | 42 | 49 | 0.036239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_616-2_0_4_line_50 |  | 43 | 44 | 0.0073659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_616-2_0_4_line_51 |  | 45 | 46 | 0.0066766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_616-2_0_4_line_52 |  | 46 | 49 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_616-2_0_4_line_53 |  | 48 | 56 | 0.012601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_616-2_0_4_line_54 |  | 51 | 52 | 0.007605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-2_0_4_line_55 |  | 53 | 54 | 0.004289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_616-2_0_4_line_56 |  | 53 | 55 | 0.0076191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_616-2_0_4_line_57 |  | 55 | 94 | 0.020154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_616-2_0_4_line_58 |  | 56 | 57 | 0.030914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_616-2_0_4_line_59 |  | 56 | 58 | 0.036981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_616-2_0_4_line_60 |  | 57 | 59 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_616-2_0_4_line_61 |  | 57 | 60 | 0.016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_616-2_0_4_line_62 |  | 57 | 61 | 0.034422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_616-2_0_4_line_63 |  | 58 | 62 | 0.042212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_616-2_0_4_line_64 |  | 59 | 63 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_616-2_0_4_line_65 |  | 61 | 64 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_616-2_0_4_line_66 |  | 64 | 67 | 0.0075505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_616-2_0_4_line_67 |  | 65 | 66 | 0.020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_616-2_0_4_line_68 |  | 65 | 67 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_616-2_0_4_line_69 |  | 66 | 68 | 0.0087657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_616-2_0_4_line_70 |  | 67 | 69 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_616-2_0_4_line_71 |  | 68 | 70 | 0.009184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_616-2_0_4_line_72 |  | 69 | 71 | 0.015132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_616-2_0_4_line_73 |  | 71 | 72 | 0.0082644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_616-2_0_4_line_74 |  | 72 | 73 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_616-2_0_4_line_75 |  | 72 | 74 | 0.021605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_616-2_0_4_line_76 |  | 73 | 75 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_616-2_0_4_line_77 |  | 73 | 76 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_616-2_0_4_line_78 |  | 74 | 77 | 0.0090149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_616-2_0_4_line_79 |  | 75 | 78 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_616-2_0_4_line_80 |  | 76 | 79 | 0.022437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_616-2_0_4_line_81 |  | 78 | 80 | 6.994e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_616-2_0_4_line_82 |  | 79 | 90 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_616-2_0_4_line_83 |  | 80 | 81 | 0.021746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_616-2_0_4_line_84 |  | 82 | 83 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_616-2_0_4_line_85 |  | 83 | 84 | 0.033807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_616-2_0_4_line_86 |  | 85 | 86 | 0.0073144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_616-2_0_4_line_87 |  | 85 | 87 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_616-2_0_4_line_88 |  | 87 | 88 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_616-2_0_4_line_89 |  | 87 | 89 | 0.014258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_616-2_0_4_line_90 |  | 88 | 90 | 0.008257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_616-2_0_4_line_91 |  | 88 | 91 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_616-2_0_4_line_92 |  | 90 | 92 | 0.009992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_616-2_0_4_line_93 |  | 92 | 93 | 0.022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_616-2_0_4_line_94 |  | 94 | 95 | 0.035185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_616-2_0_4_line_95 |  | 95 | 96 | 0.0038482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-2_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 97 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2608904.5316 | 1191111.3163 | 2608874.2625 | 1191100.8197
1 | 2608873.9142 | 1191100.6989 | 2608874.2625 | 1191100.8197
2 | 2608904.5316 | 1191111.3163 | 2608909.144 | 1191101.4698
3 | 2608873.9142 | 1191100.6989 | 2608884.8635 | 1191079.7084
4 | 2608873.9142 | 1191100.6989 | 2608858.2542 | 1191095.1172
5 | 2608892.4571 | 1191065.1508 | 2608884.8635 | 1191079.7084
6 | 2608836.7424 | 1191078.0769 | 2608836.6449 | 1191087.415 | 2608858.2542 | 1191095.1172
7 | 2608890.6716 | 1191152.4619 | 2608894.4879 | 1191154.6798 | 2608901.4313 | 1191155.9907 | 2608908.3176 | 1191157.0978
8 | 2608890.6716 | 1191152.4619 | 2608882.642 | 1191158.6978
9 | 2608908.3176 | 1191157.0978 | 2608927.0631 | 1191160.1115
10 | 2608882.642 | 1191158.6978 | 2608882.642 | 1191158.6978 | 2608876.211 | 1191175.5134
11 | 2608900.0565 | 1191050.5822 | 2608892.4571 | 1191065.1508
12 | 2608836.7424 | 1191078.0769 | 2608829.1497 | 1191075.4002
13 | 2608836.7424 | 1191078.0769 | 2608848.0504 | 1191076.9596 | 2608848.0504 | 1191076.9596
14 | 2608940.7055 | 1191162.3048 | 2608927.0631 | 1191160.1115
15 | 2608873.1748 | 1191183.4524 | 2608876.211 | 1191175.5134
16 | 2608907.7578 | 1191035.8183 | 2608900.0565 | 1191050.5822
17 | 2608791.103 | 1191048.2057 | 2608812.5194 | 1191063.5339 | 2608811.6953 | 1191069.2468 | 2608829.1497 | 1191075.4002
18 | 2608862.3976 | 1191078.624 | 2608860.2245 | 1191077.9335 | 2608854.0925 | 1191079.5365 | 2608848.0504 | 1191076.9596
19 | 2608914.1915 | 1191023.4845 | 2608907.7578 | 1191035.8183
20 | 2608914.1915 | 1191023.4845 | 2608903.8233 | 1191018.5458
21 | 2608939.8115 | 1191036.7739 | 2608927.0884 | 1191030.674 | 2608924.9309 | 1191025.4348 | 2608917.5181 | 1191021.7663 | 2608914.1915 | 1191023.4845
22 | 2608885.904 | 1191010.0102 | 2608903.8233 | 1191018.5458
23 | 2608939.8115 | 1191036.7739 | 2608943.4725 | 1191028.9278
24 | 2608952.7602 | 1191009.023 | 2608943.4725 | 1191028.9278
25 | 2608952.7602 | 1191009.023 | 2608941.8976 | 1191002.9375
26 | 2608952.7602 | 1191009.023 | 2608962.5101 | 1191013.1877
27 | 2608791.103 | 1191048.2057 | 2608810.2902 | 1191023.832 | 2608815.7745 | 1191016.8586
28 | 2608791.103 | 1191048.2057 | 2608782.6019 | 1191048.449
29 | 2608806.6688 | 1191163.5366 | 2608808.5235 | 1191158.0205
30 | 2608806.6688 | 1191163.5366 | 2608801.5708 | 1191178.6984
31 | 2608810.2005 | 1191153.033 | 2608810.2005 | 1191153.033 | 2608808.5235 | 1191158.0205
32 | 2608798.6511 | 1191187.382 | 2608801.5708 | 1191178.6984
33 | 2608810.2005 | 1191153.033 | 2608810.5779 | 1191150.3988 | 2608810.3912 | 1191147.7305
34 | 2608848.2642 | 1191217 | 2608858.4944 | 1191189.9968
35 | 2608873.1748 | 1191183.4524 | 2608862.3696 | 1191179.7679 | 2608858.4944 | 1191189.9968
36 | 2608848.2642 | 1191217 | 2608872.1747 | 1191225.4889
37 | 2608873.1748 | 1191183.4524 | 2608871.5055 | 1191188.4081 | 2608885.1621 | 1191193.2818
38 | 2608809.868 | 1191145.7509 | 2608809.868 | 1191145.7509 | 2608810.3912 | 1191147.7305 | 2608810.3912 | 1191147.7305
39 | 2608809.868 | 1191145.7509 | 2608808.6886 | 1191144.215 | 2608805.8927 | 1191142.8102 | 2608801.4562 | 1191141.2795
40 | 2608804.2411 | 1191093.8821 | 2608800.8156 | 1191100.6918 | 2608781.2001 | 1191091.7513
41 | 2608781.2001 | 1191091.7513 | 2608769.3066 | 1191130.1871
42 | 2608781.2001 | 1191091.7513 | 2608756.2367 | 1191080.8276
43 | 2608801.4562 | 1191141.2795 | 2608782.1912 | 1191134.6326
44 | 2608761.9613 | 1191127.6528 | 2608759.7835 | 1191126.9014 | 2608756.5209 | 1191126.6076 | 2608753.7302 | 1191126.8147 | 2608750.227 | 1191129.4666 | 2608748.2556 | 1191132.4764 | 2608747.3136 | 1191135.4099 | 2608741.279 | 1191153.1413
45 | 2608769.3066 | 1191130.1871 | 2608761.9613 | 1191127.6528
46 | 2608769.3066 | 1191130.1871 | 2608775.2281 | 1191132.2302
47 | 2608756.2367 | 1191080.8276 | 2608753.4724 | 1191078.5891
48 | 2608756.2367 | 1191080.8276 | 2608768.434 | 1191065.8486 | 2608782.6019 | 1191048.449
49 | 2608756.2367 | 1191080.8276 | 2608736.188 | 1191105.467 | 2608733.5421 | 1191109.0736
50 | 2608775.2281 | 1191132.2302 | 2608782.1912 | 1191134.6326
51 | 2608717.8779 | 1191138.5926 | 2608719.9025 | 1191132.2305
52 | 2608733.5421 | 1191109.0736 | 2608722.4683 | 1191124.1681 | 2608719.9025 | 1191132.2305
53 | 2608953.1471 | 1191164.305 | 2608940.7055 | 1191162.3048
54 | 2608782.6019 | 1191048.449 | 2608776.5628 | 1191043.8044
55 | 2608808.1578 | 1191017.0475 | 2608804.7766 | 1191014.3968
56 | 2608815.7745 | 1191016.8586 | 2608808.1578 | 1191017.0475
57 | 2608815.7745 | 1191016.8586 | 2608833.899 | 1191025.6722
58 | 2608953.1471 | 1191164.305 | 2608960.2036 | 1191145.9058 | 2608965.2427 | 1191135.8858
59 | 2608942.6116 | 1191199.7524 | 2608944.0362 | 1191195.33 | 2608953.1471 | 1191164.305
60 | 2608965.2427 | 1191135.8858 | 2608954.0132 | 1191131.2227
61 | 2608965.2427 | 1191135.8858 | 2608980.9126 | 1191141.5075
62 | 2608965.2427 | 1191135.8858 | 2608980.278 | 1191104.9216
63 | 2608942.6116 | 1191199.7524 | 2608901.9098 | 1191188.1416
64 | 2608937.623 | 1191124.4166 | 2608954.0132 | 1191131.2227
65 | 2608980.278 | 1191104.9216 | 2608984.9022 | 1191095.3985
66 | 2608988.2002 | 1191088.6063 | 2608984.9022 | 1191095.3985
67 | 2608975.0543 | 1191082.7652 | 2608956.1896 | 1191074.3829
68 | 2608988.2002 | 1191088.6063 | 2608975.0543 | 1191082.7652
69 | 2608956.1896 | 1191074.3829 | 2608948.1791 | 1191070.8236
70 | 2608988.2002 | 1191088.6063 | 2608998.8241 | 1191066.7166
71 | 2608948.1791 | 1191070.8236 | 2608939.7863 | 1191067.0944
72 | 2609004.9846 | 1191052.9005 | 2609001.2316 | 1191061.7561 | 2608998.8241 | 1191066.7166
73 | 2609008.2093 | 1191045.2913 | 2609004.9846 | 1191052.9005
74 | 2609008.2093 | 1191045.2913 | 2609012.7234 | 1191034.6369
75 | 2609008.2093 | 1191045.2913 | 2609027.8656 | 1191054.2581
76 | 2609012.7234 | 1191034.6369 | 2609003.2144 | 1191030.575
77 | 2609012.7234 | 1191034.6369 | 2609024.5869 | 1191013.966 | 2609026.5393 | 1191009.8572
78 | 2609027.8656 | 1191054.2581 | 2609036.0673 | 1191057.9997
79 | 2608982.5144 | 1191021.7328 | 2609003.2144 | 1191030.575
80 | 2609026.5393 | 1191009.8572 | 2609036.1693 | 1190989.5917
81 | 2608982.5144 | 1191021.7328 | 2608982.508 | 1191021.73
82 | 2609040.6558 | 1190980.1501 | 2609036.1693 | 1190989.5917
83 | 2608982.508 | 1191021.73 | 2608962.5101 | 1191013.1877
84 | 2608928.9242 | 1190995.6695 | 2608941.8976 | 1191002.9375
85 | 2608928.9242 | 1190995.6695 | 2608943.5071 | 1190965.1691
86 | 2609068.0779 | 1190982.4756 | 2609072.1171 | 1190976.3776
87 | 2609060.9162 | 1190993.2874 | 2609068.0779 | 1190982.4756
88 | 2609047.7169 | 1190984.463 | 2609049.6972 | 1190985.7888 | 2609060.9162 | 1190993.2874
89 | 2609060.9162 | 1190993.2874 | 2609072.8255 | 1191001.1267
90 | 2609047.7169 | 1190984.463 | 2609040.6558 | 1190980.1501
91 | 2609047.7169 | 1190984.463 | 2609053.8432 | 1190974.8709
92 | 2609040.6558 | 1190980.1501 | 2609036.4972 | 1190977.3646 | 2609032.3386 | 1190974.5792
93 | 2609032.3386 | 1190974.5792 | 2609013.4715 | 1190962.1697
94 | 2608833.899 | 1191025.6722 | 2608844.0015 | 1191030.5849 | 2608845.6083 | 1191026.6852 | 2608858.904 | 1191032.3632 | 2608861.1677 | 1191027.5974
95 | 2608864.6648 | 1191029.2034 | 2608861.1677 | 1191027.5974

## bus_geodata
| x | y | coords
0 | 2608874.2625 | 1191100.8197
1 | 2608904.5316 | 1191111.3163
2 | 2608873.9142 | 1191100.6989
3 | 2608909.144 | 1191101.4698
4 | 2608884.8635 | 1191079.7084
5 | 2608858.2542 | 1191095.1172
6 | 2608890.6716 | 1191152.4619
7 | 2608908.3176 | 1191157.0978
8 | 2608882.642 | 1191158.6978
9 | 2608892.4571 | 1191065.1508
10 | 2608836.7424 | 1191078.0769
11 | 2608927.0631 | 1191160.1115
12 | 2608876.211 | 1191175.5134
13 | 2608900.0565 | 1191050.5822
14 | 2608829.1497 | 1191075.4002
15 | 2608848.0504 | 1191076.9596
16 | 2608907.7578 | 1191035.8183
17 | 2608914.1915 | 1191023.4845
18 | 2608903.8233 | 1191018.5458
19 | 2608939.8115 | 1191036.7739
20 | 2608885.904 | 1191010.0102
21 | 2608943.4725 | 1191028.9278
22 | 2608952.7602 | 1191009.023
23 | 2608862.3976 | 1191078.624
24 | 2608791.103 | 1191048.2057
25 | 2608806.6688 | 1191163.5366
26 | 2608808.5235 | 1191158.0205
27 | 2608801.5708 | 1191178.6984
28 | 2608810.2005 | 1191153.033
29 | 2608798.6511 | 1191187.382
30 | 2608858.4944 | 1191189.9968
31 | 2608848.2642 | 1191217
32 | 2608873.1748 | 1191183.4524
33 | 2608810.3912 | 1191147.7305
34 | 2608809.868 | 1191145.7509
35 | 2608804.2411 | 1191093.8821
36 | 2608781.2001 | 1191091.7513
37 | 2608872.1747 | 1191225.4889
38 | 2608801.4562 | 1191141.2795
39 | 2608741.279 | 1191153.1413
40 | 2608761.9613 | 1191127.6528
41 | 2608769.3066 | 1191130.1871
42 | 2608756.2367 | 1191080.8276
43 | 2608775.2281 | 1191132.2302
44 | 2608782.1912 | 1191134.6326
45 | 2608717.8779 | 1191138.5926
46 | 2608719.9025 | 1191132.2305
47 | 2608885.1621 | 1191193.2818
48 | 2608940.7055 | 1191162.3048
49 | 2608733.5421 | 1191109.0736
50 | 2608753.4724 | 1191078.5891
51 | 2608782.6019 | 1191048.449
52 | 2608776.5628 | 1191043.8044
53 | 2608808.1578 | 1191017.0475
54 | 2608804.7766 | 1191014.3968
55 | 2608815.7745 | 1191016.8586
56 | 2608953.1471 | 1191164.305
57 | 2608965.2427 | 1191135.8858
58 | 2608942.6116 | 1191199.7524
59 | 2608954.0132 | 1191131.2227
60 | 2608980.9126 | 1191141.5075
61 | 2608980.278 | 1191104.9216
62 | 2608901.9098 | 1191188.1416
63 | 2608937.623 | 1191124.4166
64 | 2608984.9022 | 1191095.3985
65 | 2608975.0543 | 1191082.7652
66 | 2608956.1896 | 1191074.3829
67 | 2608988.2002 | 1191088.6063
68 | 2608948.1791 | 1191070.8236
69 | 2608998.8241 | 1191066.7166
70 | 2608939.7863 | 1191067.0944
71 | 2609004.9846 | 1191052.9005
72 | 2609008.2093 | 1191045.2913
73 | 2609012.7234 | 1191034.6369
74 | 2609027.8656 | 1191054.2581
75 | 2609003.2144 | 1191030.575
76 | 2609026.5393 | 1191009.8572
77 | 2609036.0673 | 1191057.9997
78 | 2608982.5144 | 1191021.7328
79 | 2609036.1693 | 1190989.5917
80 | 2608982.508 | 1191021.73
81 | 2608962.5101 | 1191013.1877
82 | 2608941.8976 | 1191002.9375
83 | 2608928.9242 | 1190995.6695
84 | 2608943.5071 | 1190965.1691
85 | 2609068.0779 | 1190982.4756
86 | 2609072.1171 | 1190976.3776
87 | 2609060.9162 | 1190993.2874
88 | 2609047.7169 | 1190984.463
89 | 2609072.8255 | 1191001.1267
90 | 2609040.6558 | 1190980.1501
91 | 2609053.8432 | 1190974.8709
92 | 2609032.3386 | 1190974.5792
93 | 2609013.4715 | 1190962.1697
94 | 2608833.899 | 1191025.6722
95 | 2608861.1677 | 1191027.5974
96 | 2608864.6648 | 1191029.2034
97 | 2608873.9142 | 1191100.6989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1