## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_616-31_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_616-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_616-31_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_616-31_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_616-31_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_616-31_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_616-31_0_3_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_616-31_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_616-31_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_616-31_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_616-31_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_616-31_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_616-31_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_616-31_0_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_616-31_0_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_616-31_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_616-31_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_616-31_0_3_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_616-31_0_3_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_616-31_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_616-31_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_616-31_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_616-31_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_616-31_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_616-31_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_616-31_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_616-31_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_616-31_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_616-31_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_616-31_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_616-31_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_616-31_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_616-31_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_616-31_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_616-31_0_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_616-31_0_3_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_616-31_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_616-31_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_616-31_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_616-31_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_616-31_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_616-31_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_616-31_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_616-31_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_616-31_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_616-31_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_616-31_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_616-31_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_616-31_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_616-31_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_616-31_0_3_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_616-31_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_616-31_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_616-31_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_616-31_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_616-31_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_616-31_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_616-31_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_616-31_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_616-31_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_616-31_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_616-31_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_616-31_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_616-31_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_616-31_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_616-31_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_616-31_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_616-31_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_616-31_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_616-31_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_616-31_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_616-31_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_616-31_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_616-31_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_616-31_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_616-31_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_616-31_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_616-31_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_616-31_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_616-31_0_3_node_85 | 0.4 | n |  | TRUE
82 | bus_MV_98_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-31_0_3_load_0 | 0 | 0.0027904 | 0.00069934 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-31_0_3_load_3 | 3 | 0.0032309 | 0.00080974 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-31_0_3_load_4 | 4 | 0.0022442 | 0.00056245 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-31_0_3_load_5 | 5 | 0.0028881 | 0.00072383 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-31_0_3_load_50 | 8 | 0.0020317 | 0.0005092 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-31_0_3_load_33 | 9 | 0.0070354 | 0.0017632 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-31_0_3_load_10 | 10 | 0.0015995 | 0.00040088 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-31_0_3_load_16 | 11 | 0.0023626 | 0.00059212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-31_0_3_load_12 | 12 | 0.0060927 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-31_0_3_load_11 | 13 | 0.0016122 | 0.00040406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-31_0_3_load_8 | 14 | 0.0015897 | 0.0003984 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-31_0_3_load_7 | 18 | 0.001975 | 0.00049498 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-31_0_3_load_78 | 20 | 0.0011479 | 0.0002877 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-31_0_3_load_15 | 22 | 0.0019707 | 0.0004939 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-31_0_3_load_21 | 23 | 0.0061589 | 0.0015436 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-31_0_3_load_17 | 24 | 0.0044379 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-31_0_3_load_31 | 25 | 0.012212 | 0.0030606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-31_0_3_load_32 | 27 | 0.011255 | 0.0028209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-31_0_3_load_83 | 28 | 0.0019433 | 0.00048705 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-31_0_3_load_41 | 29 | 0.0015542 | 0.00038952 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-31_0_3_load_19 | 30 | 0.0075298 | 0.0018871 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-31_0_3_load_20 | 31 | 0.012812 | 0.003211 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-31_0_3_load_28 | 35 | 0.01281 | 0.0032105 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-31_0_3_load_67 | 36 | 0.0083429 | 0.0020909 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-31_0_3_load_25 | 38 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-31_0_3_load_26 | 39 | 0.015838 | 0.0039694 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-31_0_3_load_27 | 40 | 0.010198 | 0.0025558 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-31_0_3_load_29 | 41 | 0.011013 | 0.0027602 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-31_0_3_load_57 | 42 | 0.013873 | 0.003477 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-31_0_3_load_34 | 43 | 0.0026349 | 0.00066038 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-31_0_3_load_35 | 44 | 0.0014047 | 0.00035206 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-31_0_3_load_37 | 46 | 0.0013312 | 0.00033363 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-31_0_3_load_40 | 48 | 0.0021657 | 0.00054277 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-31_0_3_load_43 | 49 | 0.0023471 | 0.00058823 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-31_0_3_load_39 | 50 | 0.0016446 | 0.00041218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-31_0_3_load_44 | 51 | 0.0024541 | 0.00061504 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-31_0_3_load_84 | 52 | 0.0019912 | 0.00049904 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-31_0_3_load_45 | 53 | 0.0083737 | 0.0020987 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-31_0_3_load_46 | 54 | 0.0022171 | 0.00055566 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-31_0_3_load_47 | 55 | 0.0038222 | 0.00095793 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-31_0_3_load_49 | 56 | 0.0048543 | 0.0012166 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-31_0_3_load_51 | 57 | 0.0021959 | 0.00055034 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-31_0_3_load_54 | 59 | 0.0026294 | 0.00065899 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_616-31_0_3_load_56 | 60 | 0.0021218 | 0.00053177 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_616-31_0_3_load_53 | 61 | 0.0013651 | 0.00034212 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_616-31_0_3_load_55 | 62 | 0.0032578 | 0.00081648 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_616-31_0_3_load_65 | 63 | 0.0046751 | 0.0011717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_616-31_0_3_load_60 | 65 | 0.018374 | 0.0046048 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_616-31_0_3_load_63 | 67 | 0.010764 | 0.0026977 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_616-31_0_3_load_66 | 68 | 0.011512 | 0.0028852 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_616-31_0_3_load_71 | 70 | 0.012259 | 0.0030724 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_616-31_0_3_load_70 | 71 | 0.003967 | 0.00099421 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_616-31_0_3_load_72 | 72 | 0.011795 | 0.0029562 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_616-31_0_3_load_69 | 73 | 0.0051205 | 0.0012833 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_616-31_0_3_load_75 | 76 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_616-31_0_3_load_76 | 77 | 0.013168 | 0.0033002 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_616-31_0_3_load_79 | 78 | 0.0012259 | 0.00030724 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_616-31_0_3_load_81 | 79 | 0.0010667 | 0.00026733 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_616-31_0_3_load_82 | 80 | 0.0012443 | 0.00031184 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_616-31_0_3_load_85 | 81 | 0.0018147 | 0.00045481 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-31_0_3_line_0 |  | 0 | 1 | 0.032436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-31_0_3_line_1 |  | 0 | 2 | 0.01603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_616-31_0_3_line_2 |  | 1 | 3 | 0.0023406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-31_0_3_line_3 |  | 1 | 4 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_616-31_0_3_line_4 |  | 2 | 5 | 0.033651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_616-31_0_3_line_5 |  | 2 | 6 | 0.012981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_616-31_0_3_line_6 |  | 3 | 7 | 0.016658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_616-31_0_3_line_7 |  | 4 | 8 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_616-31_0_3_line_8 |  | 5 | 9 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-31_0_3_line_9 |  | 5 | 10 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_616-31_0_3_line_10 |  | 6 | 11 | 0.026209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_616-31_0_3_line_11 |  | 6 | 12 | 0.0034358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_616-31_0_3_line_12 |  | 7 | 13 | 0.010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_616-31_0_3_line_13 |  | 7 | 14 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_616-31_0_3_line_14 |  | 8 | 15 | 0.00036681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_616-31_0_3_line_15 |  | 11 | 16 | 0.03436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-31_0_3_line_16 |  | 12 | 17 | 0.019549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_616-31_0_3_line_17 |  | 13 | 19 | 0.014631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_616-31_0_3_line_18 |  | 14 | 18 | 0.017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-31_0_3_line_19 |  | 15 | 57 | 0.013547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_616-31_0_3_line_20 |  | 15 | 54 | 0.017805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-31_0_3_line_21 |  | 16 | 28 | 0.011917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_616-31_0_3_line_22 |  | 16 | 29 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_616-31_0_3_line_23 |  | 17 | 21 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_616-31_0_3_line_24 |  | 17 | 22 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_616-31_0_3_line_25 |  | 19 | 20 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-31_0_3_line_26 |  | 20 | 78 | 0.0066424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_616-31_0_3_line_27 |  | 21 | 23 | 0.0082986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-31_0_3_line_28 |  | 21 | 24 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-31_0_3_line_29 |  | 22 | 25 | 0.023816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_616-31_0_3_line_30 |  | 24 | 26 | 0.0042717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_616-31_0_3_line_31 |  | 25 | 27 | 0.019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_616-31_0_3_line_32 |  | 26 | 30 | 0.018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_616-31_0_3_line_33 |  | 26 | 31 | 0.026675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_616-31_0_3_line_34 |  | 28 | 52 | 0.0079782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_616-31_0_3_line_35 |  | 29 | 50 | 5.0932e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_616-31_0_3_line_36 |  | 31 | 32 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_616-31_0_3_line_37 |  | 32 | 33 | 0.02556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_616-31_0_3_line_38 |  | 33 | 36 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_616-31_0_3_line_39 |  | 33 | 34 | 0.008779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_616-31_0_3_line_40 |  | 34 | 35 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_616-31_0_3_line_41 |  | 35 | 39 | 0.00058196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_616-31_0_3_line_42 |  | 36 | 37 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_616-31_0_3_line_43 |  | 37 | 69 | 0.021337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_616-31_0_3_line_44 |  | 37 | 66 | 0.03824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_616-31_0_3_line_45 |  | 38 | 39 | 0.022711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_616-31_0_3_line_46 |  | 38 | 40 | 0.0078058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_616-31_0_3_line_47 |  | 40 | 41 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_616-31_0_3_line_48 |  | 41 | 42 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_616-31_0_3_line_49 |  | 43 | 44 | 0.0091784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_616-31_0_3_line_50 |  | 43 | 45 | 0.041746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_616-31_0_3_line_51 |  | 44 | 46 | 0.0004643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_616-31_0_3_line_52 |  | 45 | 47 | 0.033144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_616-31_0_3_line_53 |  | 46 | 48 | 0.028301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_616-31_0_3_line_54 |  | 47 | 49 | 0.053299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-31_0_3_line_55 |  | 48 | 50 | 0.00081483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_616-31_0_3_line_56 |  | 49 | 51 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_616-31_0_3_line_57 |  | 51 | 53 | 0.0097988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_616-31_0_3_line_58 |  | 52 | 81 | 0.00043697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_616-31_0_3_line_59 |  | 54 | 55 | 0.00080823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_616-31_0_3_line_60 |  | 55 | 56 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_616-31_0_3_line_61 |  | 56 | 58 | 0.0044024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_616-31_0_3_line_62 |  | 57 | 59 | 0.0072834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_616-31_0_3_line_63 |  | 58 | 60 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_616-31_0_3_line_64 |  | 59 | 61 | 0.0074135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_616-31_0_3_line_65 |  | 61 | 62 | 0.012089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_616-31_0_3_line_66 |  | 63 | 64 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_616-31_0_3_line_67 |  | 64 | 68 | 0.010908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_616-31_0_3_line_68 |  | 64 | 65 | 0.007929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_616-31_0_3_line_69 |  | 65 | 66 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_616-31_0_3_line_70 |  | 66 | 67 | 0.013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_616-31_0_3_line_71 |  | 69 | 70 | 0.0084119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_616-31_0_3_line_72 |  | 69 | 71 | 0.012318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_616-31_0_3_line_73 |  | 70 | 72 | 0.012954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_616-31_0_3_line_74 |  | 71 | 73 | 0.017601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_616-31_0_3_line_75 |  | 72 | 74 | 0.019155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_616-31_0_3_line_76 |  | 74 | 75 | 0.040956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_616-31_0_3_line_77 |  | 75 | 76 | 0.017611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_616-31_0_3_line_78 |  | 76 | 77 | 0.017973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_616-31_0_3_line_79 |  | 78 | 79 | 0.017838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_616-31_0_3_line_80 |  | 79 | 80 | 0.0053505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-31_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 82 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2608738.9827 | 1191218.1746 | 2608765.9118 | 1191236.256
1 | 2608779.2199 | 1191245.1917 | 2608765.9118 | 1191236.256
2 | 2608738.9827 | 1191218.1746 | 2608736.9066 | 1191217.0937
3 | 2608738.9827 | 1191218.1746 | 2608732.2483 | 1191232.8186
4 | 2608779.2199 | 1191245.1917 | 2608789.9397 | 1191213.2906
5 | 2608790.3714 | 1191251.8892 | 2608779.2199 | 1191245.1917
6 | 2608722.1315 | 1191209.4012 | 2608736.9066 | 1191217.0937
7 | 2608732.2483 | 1191232.8186 | 2608724.0543 | 1191250.6367
8 | 2608804.2576 | 1191218.2918 | 2608789.9397 | 1191213.2906
9 | 2608789.9397 | 1191213.2906 | 2608796.2341 | 1191194.5706
10 | 2608790.3714 | 1191251.8892 | 2608785.5189 | 1191264.9112 | 2608780.9464 | 1191276.3431
11 | 2608790.3714 | 1191251.8892 | 2608793.4427 | 1191253.4292
12 | 2608722.1315 | 1191209.4012 | 2608711.614 | 1191206.4348
13 | 2608722.1315 | 1191209.4012 | 2608730.2625 | 1191185.5104
14 | 2608724.0543 | 1191250.6367 | 2608723.901 | 1191250.97
15 | 2608768.9043 | 1191308.521 | 2608778.2575 | 1191283.0657 | 2608780.9464 | 1191276.3431
16 | 2608810.9176 | 1191262.1913 | 2608793.4427 | 1191253.4292
17 | 2608697.4781 | 1191202.6731 | 2608702.0052 | 1191203.7247 | 2608711.614 | 1191206.4348
18 | 2608735.9207 | 1191168.8851 | 2608730.2625 | 1191185.5104
19 | 2608723.901 | 1191250.97 | 2608736.4438 | 1191256.0885
20 | 2608723.901 | 1191250.97 | 2608718.0825 | 1191267.7979
21 | 2608768.9043 | 1191308.521 | 2608757.6992 | 1191304.465
22 | 2608768.9043 | 1191308.521 | 2608761.1248 | 1191329.6062
23 | 2608810.9176 | 1191262.1913 | 2608827.5481 | 1191270.52
24 | 2608810.9176 | 1191262.1913 | 2608805.1454 | 1191278.4341
25 | 2608697.4781 | 1191202.6731 | 2608703.0218 | 1191185.2498
26 | 2608703.0218 | 1191185.2498 | 2608705.0358 | 1191178.92
27 | 2608827.5481 | 1191270.52 | 2608835.1142 | 1191273.9289
28 | 2608827.5481 | 1191270.52 | 2608834.1775 | 1191254.0614
29 | 2608805.1454 | 1191278.4341 | 2608797.1704 | 1191300.8755
30 | 2608835.7736 | 1191250.0991 | 2608834.1775 | 1191254.0614
31 | 2608790.5548 | 1191319.4916 | 2608797.1704 | 1191300.8755
32 | 2608835.7736 | 1191250.0991 | 2608842.3872 | 1191232.5734
33 | 2608835.7736 | 1191250.0991 | 2608860.9183 | 1191259.0041
34 | 2608757.6992 | 1191304.465 | 2608750.1974 | 1191301.7495
35 | 2608761.1248 | 1191329.6062 | 2608761.1231 | 1191329.611
36 | 2608880.7227 | 1191266.0179 | 2608860.9183 | 1191259.0041
37 | 2608874.9302 | 1191290.9113 | 2608880.7227 | 1191266.0179
38 | 2608874.9302 | 1191290.9113 | 2608892.983 | 1191296.8114
39 | 2608866.5863 | 1191288.1087 | 2608874.9302 | 1191290.9113
40 | 2608866.5863 | 1191288.1087 | 2608861.8261 | 1191305.084
41 | 2608861.8261 | 1191305.084 | 2608861.669 | 1191305.6444
42 | 2608912.756 | 1191303.2736 | 2608892.983 | 1191296.8114
43 | 2608912.756 | 1191303.2736 | 2608933.2317 | 1191309.4738
44 | 2608912.756 | 1191303.2736 | 2608903.8881 | 1191340.4689
45 | 2608855.5371 | 1191327.5114 | 2608861.669 | 1191305.6444
46 | 2608855.5371 | 1191327.5114 | 2608853.4295 | 1191335.0273
47 | 2608849.4628 | 1191349.1727 | 2608853.4295 | 1191335.0273
48 | 2608849.4628 | 1191349.1727 | 2608842.9446 | 1191372.4172
49 | 2608745.8186 | 1191365.2152 | 2608749.6344 | 1191356.8676
50 | 2608727.8057 | 1191402.7886 | 2608731.343 | 1191397.5132 | 2608738.4794 | 1191381.2706 | 2608745.8186 | 1191365.2152
51 | 2608749.8274 | 1191356.4453 | 2608749.6344 | 1191356.8676
52 | 2608727.8057 | 1191402.7886 | 2608727.7196 | 1191409.5365 | 2608735.2671 | 1191409.4585 | 2608748.9508 | 1191409.8674 | 2608754.1046 | 1191409.6637
53 | 2608760.8405 | 1191330.3753 | 2608749.9971 | 1191356.0741 | 2608749.8274 | 1191356.4453
54 | 2608754.1046 | 1191409.6637 | 2608777.3344 | 1191367.2975 | 2608780.1992 | 1191363.2217
55 | 2608761.1231 | 1191329.611 | 2608760.8448 | 1191330.3652 | 2608760.8405 | 1191330.3753
56 | 2608780.1992 | 1191363.2217 | 2608783.9815 | 1191362.5157 | 2608787.5642 | 1191362.8211 | 2608790.7362 | 1191363.6884
57 | 2608790.7362 | 1191363.6884 | 2608800.1881 | 1191366.2726
58 | 2608749.7865 | 1191301.6007 | 2608750.1974 | 1191301.7495
59 | 2608718.0825 | 1191267.7979 | 2608717.8184 | 1191268.5617
60 | 2608717.8184 | 1191268.5617 | 2608710.7248 | 1191289.077
61 | 2608709.2862 | 1191293.2377 | 2608710.7248 | 1191289.077
62 | 2608736.4438 | 1191256.0885 | 2608737.2424 | 1191256.4144 | 2608743.2419 | 1191258.702
63 | 2608709.2862 | 1191293.2377 | 2608702.9957 | 1191314.9734 | 2608702.269 | 1191318.9971
64 | 2608748.5262 | 1191263.8248 | 2608747.0536 | 1191262.0315 | 2608743.6809 | 1191258.8694 | 2608743.2419 | 1191258.702
65 | 2608757.0563 | 1191272.3404 | 2608754.2997 | 1191270.1019 | 2608750.8283 | 1191266.6283 | 2608748.5262 | 1191263.8248
66 | 2608897.4396 | 1191365.5059 | 2608892.9715 | 1191382.8285
67 | 2608908.3712 | 1191365.9334 | 2608897.4396 | 1191365.5059
68 | 2608897.4396 | 1191365.5059 | 2608899.4172 | 1191357.8275
69 | 2608903.8881 | 1191340.4689 | 2608899.4172 | 1191357.8275
70 | 2608903.8881 | 1191340.4689 | 2608891.0696 | 1191337.9542
71 | 2608933.2317 | 1191309.4738 | 2608941.2757 | 1191311.9344
72 | 2608933.2317 | 1191309.4738 | 2608936.7256 | 1191297.6612
73 | 2608953.6631 | 1191315.7235 | 2608941.2757 | 1191311.9344
74 | 2608941.7177 | 1191280.7834 | 2608936.7256 | 1191297.6612
75 | 2608971.9806 | 1191321.3265 | 2608953.6631 | 1191315.7235
76 | 2608971.9806 | 1191321.3265 | 2609004.6564 | 1191331.0914 | 2609011.3861 | 1191332.38
77 | 2609011.3861 | 1191332.38 | 2609007.0264 | 1191349.4429
78 | 2609007.0264 | 1191349.4429 | 2609002.577 | 1191366.8567
79 | 2608710.451 | 1191161.9237 | 2608705.3588 | 1191177.9049 | 2608705.0358 | 1191178.92
80 | 2608712.0754 | 1191156.8257 | 2608710.451 | 1191161.9237

## bus_geodata
| x | y | coords
0 | 2608765.9118 | 1191236.256
1 | 2608738.9827 | 1191218.1746
2 | 2608779.2199 | 1191245.1917
3 | 2608736.9066 | 1191217.0937
4 | 2608732.2483 | 1191232.8186
5 | 2608789.9397 | 1191213.2906
6 | 2608790.3714 | 1191251.8892
7 | 2608722.1315 | 1191209.4012
8 | 2608724.0543 | 1191250.6367
9 | 2608804.2576 | 1191218.2918
10 | 2608796.2341 | 1191194.5706
11 | 2608780.9464 | 1191276.3431
12 | 2608793.4427 | 1191253.4292
13 | 2608711.614 | 1191206.4348
14 | 2608730.2625 | 1191185.5104
15 | 2608723.901 | 1191250.97
16 | 2608768.9043 | 1191308.521
17 | 2608810.9176 | 1191262.1913
18 | 2608735.9207 | 1191168.8851
19 | 2608697.4781 | 1191202.6731
20 | 2608703.0218 | 1191185.2498
21 | 2608827.5481 | 1191270.52
22 | 2608805.1454 | 1191278.4341
23 | 2608835.1142 | 1191273.9289
24 | 2608834.1775 | 1191254.0614
25 | 2608797.1704 | 1191300.8755
26 | 2608835.7736 | 1191250.0991
27 | 2608790.5548 | 1191319.4916
28 | 2608757.6992 | 1191304.465
29 | 2608761.1248 | 1191329.6062
30 | 2608842.3872 | 1191232.5734
31 | 2608860.9183 | 1191259.0041
32 | 2608880.7227 | 1191266.0179
33 | 2608874.9302 | 1191290.9113
34 | 2608866.5863 | 1191288.1087
35 | 2608861.8261 | 1191305.084
36 | 2608892.983 | 1191296.8114
37 | 2608912.756 | 1191303.2736
38 | 2608855.5371 | 1191327.5114
39 | 2608861.669 | 1191305.6444
40 | 2608853.4295 | 1191335.0273
41 | 2608849.4628 | 1191349.1727
42 | 2608842.9446 | 1191372.4172
43 | 2608745.8186 | 1191365.2152
44 | 2608749.6344 | 1191356.8676
45 | 2608727.8057 | 1191402.7886
46 | 2608749.8274 | 1191356.4453
47 | 2608754.1046 | 1191409.6637
48 | 2608760.8405 | 1191330.3753
49 | 2608780.1992 | 1191363.2217
50 | 2608761.1231 | 1191329.611
51 | 2608790.7362 | 1191363.6884
52 | 2608750.1974 | 1191301.7495
53 | 2608800.1881 | 1191366.2726
54 | 2608718.0825 | 1191267.7979
55 | 2608717.8184 | 1191268.5617
56 | 2608710.7248 | 1191289.077
57 | 2608736.4438 | 1191256.0885
58 | 2608709.2862 | 1191293.2377
59 | 2608743.2419 | 1191258.702
60 | 2608702.269 | 1191318.9971
61 | 2608748.5262 | 1191263.8248
62 | 2608757.0563 | 1191272.3404
63 | 2608892.9715 | 1191382.8285
64 | 2608897.4396 | 1191365.5059
65 | 2608899.4172 | 1191357.8275
66 | 2608903.8881 | 1191340.4689
67 | 2608891.0696 | 1191337.9542
68 | 2608908.3712 | 1191365.9334
69 | 2608933.2317 | 1191309.4738
70 | 2608941.2757 | 1191311.9344
71 | 2608936.7256 | 1191297.6612
72 | 2608953.6631 | 1191315.7235
73 | 2608941.7177 | 1191280.7834
74 | 2608971.9806 | 1191321.3265
75 | 2609011.3861 | 1191332.38
76 | 2609007.0264 | 1191349.4429
77 | 2609002.577 | 1191366.8567
78 | 2608705.0358 | 1191178.92
79 | 2608710.451 | 1191161.9237
80 | 2608712.0754 | 1191156.8257
81 | 2608749.7865 | 1191301.6007
82 | 2608866.5863 | 1191288.1087

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1