## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-33_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-33_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_616-33_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_616-33_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_616-33_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_616-33_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_616-33_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_616-33_0_4_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_616-33_0_4_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_616-33_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_616-33_0_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_616-33_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_616-33_0_4_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_616-33_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_616-33_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_616-33_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_616-33_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_616-33_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_616-33_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_616-33_0_4_node_102 | 0.4 | n |  | TRUE
20 | bus_LV_616-33_0_4_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_616-33_0_4_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_616-33_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_616-33_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_616-33_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_616-33_0_4_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_616-33_0_4_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_616-33_0_4_node_95 | 0.4 | n |  | TRUE
28 | bus_LV_616-33_0_4_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_616-33_0_4_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_616-33_0_4_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_616-33_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_616-33_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_616-33_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_616-33_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_616-33_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_616-33_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_616-33_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_616-33_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_616-33_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_616-33_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_616-33_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_616-33_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_616-33_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_616-33_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_616-33_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_616-33_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_616-33_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_616-33_0_4_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_616-33_0_4_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_616-33_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_616-33_0_4_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_616-33_0_4_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_616-33_0_4_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_616-33_0_4_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_616-33_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_616-33_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_616-33_0_4_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_616-33_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_616-33_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_616-33_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_616-33_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_616-33_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_616-33_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_616-33_0_4_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_616-33_0_4_node_103 | 0.4 | n |  | TRUE
66 | bus_LV_616-33_0_4_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_616-33_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_616-33_0_4_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_616-33_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_616-33_0_4_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_616-33_0_4_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_616-33_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_616-33_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_616-33_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_616-33_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_616-33_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_616-33_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_616-33_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_616-33_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_616-33_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_616-33_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_616-33_0_4_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_616-33_0_4_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_616-33_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_616-33_0_4_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_616-33_0_4_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_616-33_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_616-33_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_616-33_0_4_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_616-33_0_4_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_616-33_0_4_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_616-33_0_4_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_616-33_0_4_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_616-33_0_4_node_67 | 0.4 | n |  | TRUE
95 | bus_LV_616-33_0_4_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_616-33_0_4_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_616-33_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_616-33_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_616-33_0_4_node_82 | 0.4 | n |  | TRUE
100 | bus_LV_616-33_0_4_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_616-33_0_4_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_616-33_0_4_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_616-33_0_4_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_616-33_0_4_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_616-33_0_4_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_616-33_0_4_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_616-33_0_4_node_86 | 0.4 | n |  | TRUE
108 | bus_MV_98_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-33_0_4_load_0 | 0 | 0.012999 | 0.0032579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-33_0_4_load_3 | 3 | 0.0096556 | 0.0024199 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-33_0_4_load_4 | 4 | 0.0021386 | 0.00053599 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-33_0_4_load_5 | 5 | 0.0072461 | 0.001816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-33_0_4_load_6 | 6 | 0.0070802 | 0.0017745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-33_0_4_load_29 | 7 | 0.0032441 | 0.00081304 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-33_0_4_load_75 | 8 | 0.0029537 | 0.00074026 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-33_0_4_load_32 | 10 | 0.0034169 | 0.00085636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-33_0_4_load_30 | 11 | 0.002078 | 0.00052079 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-33_0_4_load_7 | 13 | 0.0090627 | 0.0022713 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-33_0_4_load_31 | 14 | 0.012358 | 0.0030972 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-33_0_4_load_8 | 15 | 0.014493 | 0.0036322 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-33_0_4_load_10 | 16 | 0.0071668 | 0.0017962 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-33_0_4_load_11 | 17 | 0.0014809 | 0.00037114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-33_0_4_load_102 | 19 | 0.0021275 | 0.0005332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-33_0_4_load_84 | 21 | 0.0033133 | 0.00083039 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-33_0_4_load_13 | 22 | 0.003977 | 0.00099673 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-33_0_4_load_14 | 23 | 0.010222 | 0.0025618 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-33_0_4_load_15 | 24 | 0.0083866 | 0.0021019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-33_0_4_load_93 | 25 | 0.0040571 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-33_0_4_load_94 | 26 | 0.0069633 | 0.0017452 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-33_0_4_load_95 | 27 | 0.0032724 | 0.00082013 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-33_0_4_load_97 | 30 | 0.0036864 | 0.00092389 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-33_0_4_load_16 | 31 | 0.010128 | 0.0025384 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-33_0_4_load_17 | 32 | 0.005849 | 0.0014659 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-33_0_4_load_21 | 33 | 0.0026336 | 0.00066004 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-33_0_4_load_22 | 34 | 0.0026093 | 0.00065395 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-33_0_4_load_18 | 35 | 0.005537 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-33_0_4_load_19 | 36 | 0.0034452 | 0.00086345 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-33_0_4_load_20 | 37 | 0.018493 | 0.0046349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-33_0_4_load_44 | 38 | 0.004334 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-33_0_4_load_42 | 39 | 0.0033081 | 0.00082909 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-33_0_4_load_28 | 41 | 0.0030591 | 0.00076669 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-33_0_4_load_24 | 42 | 0.0051461 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-33_0_4_load_23 | 43 | 0.0080549 | 0.0020187 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-33_0_4_load_25 | 44 | 0.0094299 | 0.0023634 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-33_0_4_load_27 | 45 | 0.007867 | 0.0019716 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-33_0_4_load_35 | 46 | 0.0084612 | 0.0021206 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-33_0_4_load_46 | 47 | 0.0057859 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-33_0_4_load_90 | 48 | 0.0057635 | 0.0014445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-33_0_4_load_91 | 49 | 0.0067526 | 0.0016924 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-33_0_4_load_48 | 50 | 0.0039223 | 0.00098302 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-33_0_4_load_92 | 51 | 0.01 | 0.0025062 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_616-33_0_4_load_100 | 53 | 0.0026284 | 0.00065873 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_616-33_0_4_load_79 | 54 | 0.0052297 | 0.0013107 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_616-33_0_4_load_77 | 57 | 0.0087796 | 0.0022004 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_616-33_0_4_load_37 | 58 | 0.003132 | 0.00078495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_616-33_0_4_load_39 | 59 | 0.0019826 | 0.00049688 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_616-33_0_4_load_33 | 60 | 0.0035766 | 0.00089638 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_616-33_0_4_load_34 | 61 | 0.0081129 | 0.0020333 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_616-33_0_4_load_38 | 62 | 0.0026549 | 0.00066538 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_616-33_0_4_load_40 | 63 | 0.0023526 | 0.00058962 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_616-33_0_4_load_41 | 64 | 0.0047593 | 0.0011928 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_616-33_0_4_load_103 | 65 | 0.0025014 | 0.0006269 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_616-33_0_4_load_104 | 66 | 0.0047364 | 0.0011871 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_616-33_0_4_load_43 | 67 | 0.0085981 | 0.0021549 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_616-33_0_4_load_45 | 68 | 0.0044249 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_616-33_0_4_load_49 | 69 | 0.0031107 | 0.00077962 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_616-33_0_4_load_87 | 70 | 0.0040456 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_616-33_0_4_load_88 | 71 | 0.0049495 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_616-33_0_4_load_50 | 72 | 0.0048578 | 0.0012175 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_616-33_0_4_load_51 | 73 | 0.005138 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_616-33_0_4_load_52 | 74 | 0.0070274 | 0.0017612 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_616-33_0_4_load_53 | 75 | 0.0059448 | 0.0014899 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_616-33_0_4_load_60 | 76 | 0.0071382 | 0.001789 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_616-33_0_4_load_63 | 78 | 0.0046438 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_616-33_0_4_load_64 | 79 | 0.00080387 | 0.00020147 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_616-33_0_4_load_76 | 81 | 0.0075559 | 0.0018937 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_616-33_0_4_load_56 | 82 | 0.0039137 | 0.00098085 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_616-33_0_4_load_57 | 83 | 0.0048181 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_616-33_0_4_load_59 | 84 | 0.0068152 | 0.0017081 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_616-33_0_4_load_61 | 85 | 0.0064068 | 0.0016057 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_616-33_0_4_load_62 | 86 | 0.0032803 | 0.00082212 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_616-33_0_4_load_72 | 87 | 0.0061585 | 0.0015435 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_616-33_0_4_load_74 | 88 | 0.0050237 | 0.0012591 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_616-33_0_4_load_70 | 89 | 0.0052987 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_616-33_0_4_load_68 | 90 | 0.0060797 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_616-33_0_4_load_69 | 91 | 0.0054378 | 0.0013629 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_616-33_0_4_load_65 | 92 | 0.0054188 | 0.0013581 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_616-33_0_4_load_66 | 93 | 0.0045158 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_616-33_0_4_load_67 | 94 | 0.0034843 | 0.00087324 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_616-33_0_4_load_71 | 95 | 0.00080257 | 0.00020114 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_616-33_0_4_load_73 | 96 | 0.0080651 | 0.0020213 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_616-33_0_4_load_89 | 98 | 0.00038883 | 9.7449e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_616-33_0_4_load_78 | 100 | 0.0042837 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_616-33_0_4_load_80 | 101 | 0.0048261 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_616-33_0_4_load_108 | 103 | 0.01091 | 0.0027344 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_616-33_0_4_load_105 | 104 | 0.013348 | 0.0033453 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_616-33_0_4_load_106 | 105 | 0.01102 | 0.0027619 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_616-33_0_4_load_107 | 106 | 0.011082 | 0.0027774 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_616-33_0_4_load_86 | 107 | 0.00418 | 0.0010476 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-33_0_4_line_0 |  | 0 | 1 | 0.0039089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-33_0_4_line_1 |  | 1 | 5 | 0.04695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_616-33_0_4_line_2 |  | 1 | 6 | 0.032448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-33_0_4_line_3 |  | 2 | 3 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_616-33_0_4_line_4 |  | 2 | 4 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_616-33_0_4_line_5 |  | 3 | 7 | 0.021208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_616-33_0_4_line_6 |  | 4 | 8 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_616-33_0_4_line_7 |  | 5 | 9 | 0.032817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_616-33_0_4_line_8 |  | 6 | 10 | 0.02799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-33_0_4_line_9 |  | 7 | 11 | 0.00027921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_616-33_0_4_line_10 |  | 8 | 12 | 0.0044888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_616-33_0_4_line_11 |  | 9 | 13 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_616-33_0_4_line_12 |  | 10 | 14 | 0.0066722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_616-33_0_4_line_13 |  | 11 | 58 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_616-33_0_4_line_14 |  | 12 | 76 | 0.018965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_616-33_0_4_line_15 |  | 12 | 74 | 0.02567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-33_0_4_line_16 |  | 13 | 15 | 0.027615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_616-33_0_4_line_17 |  | 14 | 60 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_616-33_0_4_line_18 |  | 15 | 16 | 0.027855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-33_0_4_line_19 |  | 16 | 17 | 0.032421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_616-33_0_4_line_20 |  | 17 | 18 | 0.01399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-33_0_4_line_21 |  | 18 | 19 | 0.011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_616-33_0_4_line_22 |  | 18 | 20 | 0.12356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_616-33_0_4_line_23 |  | 20 | 21 | 0.027671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_616-33_0_4_line_24 |  | 21 | 107 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_616-33_0_4_line_25 |  | 22 | 23 | 0.004707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-33_0_4_line_26 |  | 23 | 24 | 0.012225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_616-33_0_4_line_27 |  | 24 | 31 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-33_0_4_line_28 |  | 25 | 26 | 0.025623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-33_0_4_line_29 |  | 25 | 27 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_616-33_0_4_line_30 |  | 26 | 28 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_616-33_0_4_line_31 |  | 27 | 51 | 0.0045781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_616-33_0_4_line_32 |  | 28 | 29 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_616-33_0_4_line_33 |  | 29 | 30 | 0.048861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_616-33_0_4_line_34 |  | 30 | 52 | 0.0043209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_616-33_0_4_line_35 |  | 31 | 32 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_616-33_0_4_line_36 |  | 32 | 33 | 0.018404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_616-33_0_4_line_37 |  | 33 | 34 | 0.0061863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_616-33_0_4_line_38 |  | 34 | 40 | 0.0018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_616-33_0_4_line_39 |  | 35 | 36 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_616-33_0_4_line_40 |  | 36 | 37 | 0.012787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_616-33_0_4_line_41 |  | 37 | 38 | 0.006998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_616-33_0_4_line_42 |  | 38 | 39 | 0.035472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_616-33_0_4_line_43 |  | 39 | 67 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_616-33_0_4_line_44 |  | 40 | 41 | 0.0063031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_616-33_0_4_line_45 |  | 40 | 42 | 0.013681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_616-33_0_4_line_46 |  | 41 | 54 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_616-33_0_4_line_47 |  | 42 | 43 | 0.014459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_616-33_0_4_line_48 |  | 43 | 44 | 0.010753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_616-33_0_4_line_49 |  | 44 | 45 | 0.02961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_616-33_0_4_line_50 |  | 45 | 46 | 0.015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_616-33_0_4_line_51 |  | 45 | 47 | 0.049904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_616-33_0_4_line_52 |  | 46 | 55 | 0.0039296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_616-33_0_4_line_53 |  | 47 | 56 | 0.0006268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_616-33_0_4_line_54 |  | 48 | 49 | 0.014152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-33_0_4_line_55 |  | 48 | 50 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_616-33_0_4_line_56 |  | 49 | 51 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_616-33_0_4_line_57 |  | 50 | 56 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_616-33_0_4_line_58 |  | 52 | 53 | 0.010657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_616-33_0_4_line_59 |  | 54 | 57 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_616-33_0_4_line_60 |  | 55 | 61 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_616-33_0_4_line_61 |  | 57 | 100 | 0.008423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_616-33_0_4_line_62 |  | 58 | 59 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_616-33_0_4_line_63 |  | 59 | 62 | 0.0048688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_616-33_0_4_line_64 |  | 60 | 61 | 0.030047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_616-33_0_4_line_65 |  | 62 | 63 | 0.0019044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_616-33_0_4_line_66 |  | 63 | 64 | 0.0067186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_616-33_0_4_line_67 |  | 64 | 65 | 0.00066766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_616-33_0_4_line_68 |  | 65 | 66 | 0.005333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_616-33_0_4_line_69 |  | 66 | 101 | 0.0060439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_616-33_0_4_line_70 |  | 67 | 68 | 0.001201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_616-33_0_4_line_71 |  | 68 | 69 | 0.010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_616-33_0_4_line_72 |  | 69 | 70 | 0.016539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_616-33_0_4_line_73 |  | 70 | 71 | 0.0044863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_616-33_0_4_line_74 |  | 71 | 86 | 0.00068103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_616-33_0_4_line_75 |  | 72 | 73 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_616-33_0_4_line_76 |  | 72 | 74 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_616-33_0_4_line_77 |  | 73 | 75 | 0.035174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_616-33_0_4_line_78 |  | 76 | 80 | 0.015098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_616-33_0_4_line_79 |  | 77 | 78 | 0.020785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_616-33_0_4_line_80 |  | 77 | 79 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_616-33_0_4_line_81 |  | 78 | 81 | 0.0087355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_616-33_0_4_line_82 |  | 80 | 85 | 0.023852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_616-33_0_4_line_83 |  | 80 | 86 | 0.037416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_616-33_0_4_line_84 |  | 80 | 82 | 0.024611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_616-33_0_4_line_85 |  | 81 | 91 | 0.0073629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_616-33_0_4_line_86 |  | 82 | 83 | 0.030442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_616-33_0_4_line_87 |  | 83 | 84 | 0.021549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_616-33_0_4_line_88 |  | 84 | 87 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_616-33_0_4_line_89 |  | 85 | 88 | 0.0080319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_616-33_0_4_line_90 |  | 87 | 89 | 0.027002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_616-33_0_4_line_91 |  | 88 | 90 | 0.020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_616-33_0_4_line_92 |  | 89 | 95 | 0.028573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_616-33_0_4_line_93 |  | 90 | 93 | 0.0028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_616-33_0_4_line_94 |  | 91 | 94 | 0.021766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_616-33_0_4_line_95 |  | 92 | 93 | 0.017491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_616-33_0_4_line_96 |  | 92 | 94 | 0.0018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_616-33_0_4_line_97 |  | 95 | 96 | 0.029699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_616-33_0_4_line_98 |  | 96 | 97 | 0.023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_616-33_0_4_line_99 |  | 97 | 98 | 0.00382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_616-33_0_4_line_100 |  | 97 | 99 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_616-33_0_4_line_101 |  | 99 | 102 | 0.071894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_616-33_0_4_line_102 |  | 100 | 101 | 0.0057567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_616-33_0_4_line_103 |  | 102 | 103 | 0.087625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_616-33_0_4_line_104 |  | 103 | 106 | 0.00017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_616-33_0_4_line_105 |  | 104 | 105 | 6.0876e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_616-33_0_4_line_106 |  | 105 | 106 | 0.00023043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-33_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 108 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2609217.4887 | 1192266.2046 | 2609220.9937 | 1192267.935
1 | 2609217.4887 | 1192266.2046 | 2609177.5311 | 1192241.5529
2 | 2609217.4887 | 1192266.2046 | 2609213.3064 | 1192259.5947 | 2609212.8366 | 1192252.7904 | 2609213.9751 | 1192246.0219 | 2609215.2266 | 1192235.1514
3 | 2609255.9755 | 1192280.5155 | 2609260.0021 | 1192269.2936 | 2609264.6452 | 1192259.5991
4 | 2609255.9755 | 1192280.5155 | 2609264.6858 | 1192281.8963 | 2609272.2514 | 1192283.2434
5 | 2609264.6452 | 1192259.5991 | 2609266.7698 | 1192255.1632 | 2609273.1091 | 1192240.1577
6 | 2609272.2514 | 1192283.2434 | 2609277.5338 | 1192284.184 | 2609282.4363 | 1192284.909
7 | 2609152.1124 | 1192234.9996 | 2609158.6844 | 1192239.0451 | 2609161.5346 | 1192234.4581 | 2609176.2856 | 1192243.5631 | 2609177.5311 | 1192241.5529
8 | 2609223.6415 | 1192208.4688 | 2609219.1198 | 1192221.4613 | 2609215.2266 | 1192235.1514
9 | 2609273.1091 | 1192240.1577 | 2609273.2178 | 1192239.9005
10 | 2609286.8768 | 1192285.5657 | 2609282.4363 | 1192284.909
11 | 2609152.1124 | 1192234.9996 | 2609141.5816 | 1192252.8114
12 | 2609226.5595 | 1192202.5004 | 2609224.4638 | 1192206.1059 | 2609223.6415 | 1192208.4688
13 | 2609273.2178 | 1192239.9005 | 2609276.1568 | 1192232.9438 | 2609278.7219 | 1192228.4829
14 | 2609286.8768 | 1192285.5657 | 2609299.493 | 1192284.8515 | 2609305.6461 | 1192286.332
15 | 2609286.8768 | 1192285.5657 | 2609280.6632 | 1192306.1781 | 2609279.1753 | 1192310.0431
16 | 2609141.5816 | 1192252.8114 | 2609132.3728 | 1192268.3873 | 2609127.9468 | 1192276.8163
17 | 2609226.5595 | 1192202.5004 | 2609232.3579 | 1192192.5244
18 | 2609115.0504 | 1192301.5043 | 2609115.7613 | 1192300.0232 | 2609127.9468 | 1192276.8163
19 | 2609115.0504 | 1192301.5043 | 2609105.3696 | 1192321.6744 | 2609101.1533 | 1192330.7947
20 | 2609095.2827 | 1192343.4929 | 2609101.1533 | 1192330.7947
21 | 2609095.2827 | 1192343.4929 | 2609084.7179 | 1192338.5633
22 | 2609095.2827 | 1192343.4929 | 2609049.8865 | 1192458.4073
23 | 2609049.8865 | 1192458.4073 | 2609023.8974 | 1192448.9073
24 | 2609014.432 | 1192445.4473 | 2609023.8974 | 1192448.9073
25 | 2609361.7124 | 1192091.2963 | 2609359.2388 | 1192095.3009
26 | 2609352.8916 | 1192105.7486 | 2609355.5211 | 1192101.3194 | 2609359.2388 | 1192095.3009
27 | 2609352.8916 | 1192105.7486 | 2609344.6822 | 1192119.5768
28 | 2609290.9086 | 1192033.4648 | 2609295.3951 | 1192026.0979 | 2609302.9479 | 1192010.8709
29 | 2609290.9086 | 1192033.4648 | 2609285.4758 | 1192042.3856
30 | 2609311.1701 | 1191994.2944 | 2609302.9479 | 1192010.8709
31 | 2609282.9509 | 1192046.1969 | 2609283.9166 | 1192044.9457 | 2609285.4758 | 1192042.3856
32 | 2609298.0941 | 1191991.1615 | 2609311.1701 | 1191994.2944
33 | 2609298.0941 | 1191991.1615 | 2609279.059 | 1191991.7769 | 2609255.8366 | 1191993.8757 | 2609250.7057 | 1191994.3458 | 2609249.4334 | 1191994.7877
34 | 2609245.3516 | 1191996.2052 | 2609249.4334 | 1191994.7877
35 | 2609336.2424 | 1192132.9083 | 2609340.4345 | 1192126.7316 | 2609344.6822 | 1192119.5768
36 | 2609336.2424 | 1192132.9083 | 2609325.9074 | 1192148.1361
37 | 2609322.4333 | 1192153.2548 | 2609325.9074 | 1192148.1361
38 | 2609321.4184 | 1192154.7502 | 2609322.4333 | 1192153.2548
39 | 2609399.042 | 1192150.0323 | 2609390.7647 | 1192162.4064 | 2609389.6207 | 1192164.1265
40 | 2609382.5396 | 1192174.7739 | 2609389.6207 | 1192164.1265
41 | 2609382.5396 | 1192174.7739 | 2609378.6643 | 1192180.6009
42 | 2609359.0211 | 1192210.1372 | 2609378.6643 | 1192180.6009
43 | 2609359.0211 | 1192210.1372 | 2609355.099 | 1192216.0347 | 2609349.8936 | 1192225.9439
44 | 2609321.4184 | 1192154.7502 | 2609318.2189 | 1192160.1809
45 | 2609321.4184 | 1192154.7502 | 2609311.6126 | 1192146.9087 | 2609310.6582 | 1192146.3116
46 | 2609318.2189 | 1192160.1809 | 2609312.6304 | 1192169.6666
47 | 2609298.5993 | 1192138.3591 | 2609301.1568 | 1192140.3669 | 2609310.6582 | 1192146.3116
48 | 2609289.8542 | 1192132.1878 | 2609292.0055 | 1192133.1824 | 2609298.5993 | 1192138.3591
49 | 2609289.8542 | 1192132.1878 | 2609283.5123 | 1192129.2561 | 2609273.6923 | 1192130.5417 | 2609266.4885 | 1192135.7555 | 2609264.4623 | 1192139.0017
50 | 2609264.4623 | 1192139.0017 | 2609258.5719 | 1192148.4389 | 2609256.5813 | 1192152.0053
51 | 2609264.4623 | 1192139.0017 | 2609246.1557 | 1192092.5763
52 | 2609254.666 | 1192155.4366 | 2609256.5813 | 1192152.0053
53 | 2609246.5232 | 1192092.0686 | 2609246.1557 | 1192092.5763
54 | 2609261.9709 | 1192072.9715 | 2609268.824 | 1192064.4994 | 2609270.8129 | 1192061.9226
55 | 2609261.9709 | 1192072.9715 | 2609253.8307 | 1192083.0347
56 | 2609282.9509 | 1192046.1969 | 2609270.8129 | 1192061.9226
57 | 2609246.5232 | 1192092.0686 | 2609253.8307 | 1192083.0347
58 | 2609245.3516 | 1191996.2052 | 2609241.74 | 1192006.2314
59 | 2609305.3141 | 1192182.1037 | 2609305.6745 | 1192181.4733 | 2609312.6304 | 1192169.6666
60 | 2609254.666 | 1192155.4366 | 2609248.0786 | 1192166.3433 | 2609247.8228 | 1192166.7644
61 | 2609305.3141 | 1192182.1037 | 2609301.1333 | 1192189.4159
62 | 2609285.5739 | 1192216.5666 | 2609278.7219 | 1192228.4829
63 | 2609288.0009 | 1192212.3459 | 2609285.5739 | 1192216.5666
64 | 2609247.8228 | 1192166.7644 | 2609236.4782 | 1192185.4356 | 2609232.3579 | 1192192.5244
65 | 2609288.0009 | 1192212.3459 | 2609288.9502 | 1192210.6949
66 | 2609292.2976 | 1192204.8696 | 2609291.8938 | 1192205.5758 | 2609288.9502 | 1192210.6949
67 | 2609292.2976 | 1192204.8696 | 2609292.629 | 1192204.29
68 | 2609292.629 | 1192204.29 | 2609295.276 | 1192199.6603
69 | 2609298.2759 | 1192194.4134 | 2609295.276 | 1192199.6603
70 | 2609349.8936 | 1192225.9439 | 2609349.3351 | 1192227.0071
71 | 2609344.6165 | 1192235.9895 | 2609349.3351 | 1192227.0071
72 | 2609344.6165 | 1192235.9895 | 2609339.3501 | 1192246.0149 | 2609337.2745 | 1192250.7988
73 | 2609335.4888 | 1192254.9144 | 2609337.2745 | 1192250.7988
74 | 2609335.4888 | 1192254.9144 | 2609335.2178 | 1192255.5392
75 | 2609268.619 | 1192337.1437 | 2609261.8615 | 1192353.9077 | 2609260.1332 | 1192358.7898
76 | 2609268.619 | 1192337.1437 | 2609271.3648 | 1192330.3321 | 2609279.1753 | 1192310.0431
77 | 2609260.1332 | 1192358.7898 | 2609255.1475 | 1192372.874 | 2609248.0364 | 1192391.8162
78 | 2609320.3251 | 1192289.8641 | 2609305.6461 | 1192286.332
79 | 2609278.238 | 1192415.8432 | 2609284.6315 | 1192396.0656
80 | 2609278.238 | 1192415.8432 | 2609303.1822 | 1192426.1197
81 | 2609287.3184 | 1192387.7537 | 2609284.6315 | 1192396.0656
82 | 2609320.3251 | 1192289.8641 | 2609317.1904 | 1192295.9958 | 2609311.987 | 1192312.1433
83 | 2609320.3251 | 1192289.8641 | 2609335.2178 | 1192255.5392
84 | 2609320.3251 | 1192289.8641 | 2609335.073 | 1192295.7789 | 2609342.9335 | 1192299.5565
85 | 2609289.6169 | 1192380.7588 | 2609288.317 | 1192384.6646 | 2609287.3184 | 1192387.7537
86 | 2609342.9335 | 1192299.5565 | 2609344.9595 | 1192300.5301 | 2609352.6676 | 1192304.2551 | 2609359.861 | 1192310.5585 | 2609360.4401 | 1192320.6108
87 | 2609355.3432 | 1192341.3834 | 2609355.3542 | 1192341.301 | 2609360.6181 | 1192323.6999 | 2609360.4401 | 1192320.6108
88 | 2609355.3432 | 1192341.3834 | 2609352.6571 | 1192361.5064
89 | 2609309.5235 | 1192319.7881 | 2609311.987 | 1192312.1433
90 | 2609347.4853 | 1192387.9986 | 2609348.7514 | 1192381.7342 | 2609352.0457 | 1192366.0867 | 2609352.6571 | 1192361.5064
91 | 2609303.4236 | 1192339.0077 | 2609309.3167 | 1192320.4298 | 2609309.5235 | 1192319.7881
92 | 2609347.4853 | 1192387.9986 | 2609346.1167 | 1192394.7704 | 2609345.4676 | 1192405.3638 | 2609345.298 | 1192416.4138
93 | 2609303.4236 | 1192339.0077 | 2609302.5639 | 1192341.7178
94 | 2609289.6169 | 1192380.7588 | 2609296.4903 | 1192360.1067
95 | 2609297.0826 | 1192358.327 | 2609301.6187 | 1192344.6974 | 2609302.5639 | 1192341.7178
96 | 2609297.0826 | 1192358.327 | 2609296.4903 | 1192360.1067
97 | 2609345.298 | 1192416.4138 | 2609345.298 | 1192416.4138 | 2609347.8457 | 1192420.142 | 2609355.4521 | 1192425.4788 | 2609370.48 | 1192430.6459
98 | 2609393.0631 | 1192438.4108 | 2609370.48 | 1192430.6459
99 | 2609393.0631 | 1192438.4108 | 2609396.7736 | 1192439.3615
100 | 2609393.0631 | 1192438.4108 | 2609391.4922 | 1192443.7778 | 2609390.0291 | 1192448.3891
101 | 2609459.2993 | 1192468.3413 | 2609390.0291 | 1192448.3891
102 | 2609301.1333 | 1192189.4159 | 2609298.2759 | 1192194.4134
103 | 2609459.2993 | 1192468.3413 | 2609483.1638 | 1192384.029
104 | 2609483.2253 | 1192383.8653 | 2609483.1638 | 1192384.029
105 | 2609483.3278 | 1192383.5926 | 2609483.3064 | 1192383.6496
106 | 2609483.3064 | 1192383.6496 | 2609483.2253 | 1192383.8653

## bus_geodata
| x | y | coords
0 | 2609220.9937 | 1192267.935
1 | 2609217.4887 | 1192266.2046
2 | 2609255.9755 | 1192280.5155
3 | 2609264.6452 | 1192259.5991
4 | 2609272.2514 | 1192283.2434
5 | 2609177.5311 | 1192241.5528
6 | 2609215.2266 | 1192235.1514
7 | 2609273.1091 | 1192240.1577
8 | 2609282.4363 | 1192284.909
9 | 2609152.1124 | 1192234.9996
10 | 2609223.6415 | 1192208.4688
11 | 2609273.2178 | 1192239.9005
12 | 2609286.8768 | 1192285.5657
13 | 2609141.5816 | 1192252.8114
14 | 2609226.5595 | 1192202.5004
15 | 2609127.9468 | 1192276.8163
16 | 2609115.0504 | 1192301.5043
17 | 2609101.1533 | 1192330.7947
18 | 2609095.2827 | 1192343.4929
19 | 2609084.7179 | 1192338.5633
20 | 2609049.8865 | 1192458.4073
21 | 2609023.8974 | 1192448.9073
22 | 2609361.7124 | 1192091.2963
23 | 2609359.2388 | 1192095.3009
24 | 2609352.8916 | 1192105.7486
25 | 2609290.9086 | 1192033.4648
26 | 2609302.9479 | 1192010.8709
27 | 2609285.4758 | 1192042.3856
28 | 2609311.1701 | 1191994.2944
29 | 2609298.0941 | 1191991.1615
30 | 2609249.4334 | 1191994.7877
31 | 2609344.6822 | 1192119.5768
32 | 2609336.2424 | 1192132.9083
33 | 2609325.9074 | 1192148.1361
34 | 2609322.4333 | 1192153.2548
35 | 2609399.042 | 1192150.0323
36 | 2609389.6207 | 1192164.1265
37 | 2609382.5396 | 1192174.7739
38 | 2609378.6643 | 1192180.6009
39 | 2609359.0211 | 1192210.1372
40 | 2609321.4184 | 1192154.7502
41 | 2609318.2189 | 1192160.1809
42 | 2609310.6582 | 1192146.3116
43 | 2609298.5993 | 1192138.3591
44 | 2609289.8542 | 1192132.1878
45 | 2609264.4623 | 1192139.0017
46 | 2609256.5813 | 1192152.0053
47 | 2609246.1557 | 1192092.5763
48 | 2609261.9709 | 1192072.9715
49 | 2609270.8129 | 1192061.9226
50 | 2609253.8307 | 1192083.0347
51 | 2609282.9509 | 1192046.1969
52 | 2609245.3516 | 1191996.2052
53 | 2609241.74 | 1192006.2314
54 | 2609312.6304 | 1192169.6666
55 | 2609254.666 | 1192155.4366
56 | 2609246.5232 | 1192092.0686
57 | 2609305.3141 | 1192182.1037
58 | 2609278.7219 | 1192228.4829
59 | 2609285.5739 | 1192216.5666
60 | 2609232.3579 | 1192192.5244
61 | 2609247.8228 | 1192166.7644
62 | 2609288.0009 | 1192212.3459
63 | 2609288.9502 | 1192210.695
64 | 2609292.2976 | 1192204.8696
65 | 2609292.629 | 1192204.29
66 | 2609295.276 | 1192199.6603
67 | 2609349.8936 | 1192225.9439
68 | 2609349.3351 | 1192227.0071
69 | 2609344.6165 | 1192235.9895
70 | 2609337.2745 | 1192250.7988
71 | 2609335.4888 | 1192254.9144
72 | 2609268.619 | 1192337.1437
73 | 2609260.1332 | 1192358.7898
74 | 2609279.1753 | 1192310.0431
75 | 2609248.0364 | 1192391.8162
76 | 2609305.6461 | 1192286.332
77 | 2609278.238 | 1192415.8432
78 | 2609284.6315 | 1192396.0656
79 | 2609303.1822 | 1192426.1197
80 | 2609320.3251 | 1192289.8641
81 | 2609287.3184 | 1192387.7537
82 | 2609342.9335 | 1192299.5565
83 | 2609360.4401 | 1192320.6108
84 | 2609355.3432 | 1192341.3834
85 | 2609311.987 | 1192312.1433
86 | 2609335.2178 | 1192255.5392
87 | 2609352.6571 | 1192361.5064
88 | 2609309.5235 | 1192319.7881
89 | 2609347.4853 | 1192387.9986
90 | 2609303.4236 | 1192339.0077
91 | 2609289.6169 | 1192380.7588
92 | 2609297.0826 | 1192358.327
93 | 2609302.5639 | 1192341.7178
94 | 2609296.4903 | 1192360.1067
95 | 2609345.298 | 1192416.4138
96 | 2609370.48 | 1192430.6459
97 | 2609393.0631 | 1192438.4108
98 | 2609396.7736 | 1192439.3615
99 | 2609390.0291 | 1192448.3891
100 | 2609301.1333 | 1192189.4159
101 | 2609298.2759 | 1192194.4134
102 | 2609459.2993 | 1192468.3413
103 | 2609483.1638 | 1192384.029
104 | 2609483.3278 | 1192383.5926
105 | 2609483.3064 | 1192383.6496
106 | 2609483.2253 | 1192383.8653
107 | 2609014.432 | 1192445.4473
108 | 2609255.9755 | 1192280.5155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1