## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-34_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_616-34_0_4_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_616-34_0_4_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_616-34_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_616-34_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_616-34_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_616-34_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_616-34_0_4_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_616-34_0_4_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_616-34_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_616-34_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_616-34_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_616-34_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_616-34_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_616-34_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_616-34_0_4_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_616-34_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_616-34_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_616-34_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_616-34_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_616-34_0_4_node_105 | 0.4 | n |  | TRUE
22 | bus_LV_616-34_0_4_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_616-34_0_4_node_115 | 0.4 | n |  | TRUE
24 | bus_LV_616-34_0_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_616-34_0_4_node_114 | 0.4 | n |  | TRUE
26 | bus_LV_616-34_0_4_node_111 | 0.4 | n |  | TRUE
27 | bus_LV_616-34_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_616-34_0_4_node_103 | 0.4 | n |  | TRUE
29 | bus_LV_616-34_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_616-34_0_4_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_616-34_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_616-34_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_616-34_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_616-34_0_4_node_109 | 0.4 | n |  | TRUE
35 | bus_LV_616-34_0_4_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_616-34_0_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_616-34_0_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_616-34_0_4_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_616-34_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_616-34_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_616-34_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_616-34_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_616-34_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_616-34_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_616-34_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_616-34_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_616-34_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_616-34_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_616-34_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_616-34_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_616-34_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_616-34_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_616-34_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_616-34_0_4_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_616-34_0_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_616-34_0_4_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_616-34_0_4_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_616-34_0_4_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_616-34_0_4_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_616-34_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_616-34_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_616-34_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_616-34_0_4_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_616-34_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_616-34_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_616-34_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_616-34_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_616-34_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_616-34_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_616-34_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_616-34_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_616-34_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_616-34_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_616-34_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_616-34_0_4_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_616-34_0_4_node_112 | 0.4 | n |  | TRUE
77 | bus_LV_616-34_0_4_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_616-34_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_616-34_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_616-34_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_616-34_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_616-34_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_616-34_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_616-34_0_4_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_616-34_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_616-34_0_4_node_110 | 0.4 | n |  | TRUE
87 | bus_LV_616-34_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_616-34_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_616-34_0_4_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_616-34_0_4_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_616-34_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_616-34_0_4_node_106 | 0.4 | n |  | TRUE
93 | bus_LV_616-34_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_616-34_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_616-34_0_4_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_616-34_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_616-34_0_4_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_616-34_0_4_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_616-34_0_4_node_113 | 0.4 | n |  | TRUE
100 | bus_LV_616-34_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_616-34_0_4_node_102 | 0.4 | n |  | TRUE
102 | bus_MV_98_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-34_0_4_load_0 | 0 | 0.012741 | 0.0031931 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-34_0_4_load_12 | 2 | 0.013249 | 0.0033204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-34_0_4_load_20 | 6 | 0.012849 | 0.0032202 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-34_0_4_load_94 | 8 | 0.0022723 | 0.0005695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-34_0_4_load_91 | 9 | 0.0083214 | 0.0020856 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-34_0_4_load_16 | 10 | 0.0058863 | 0.0014752 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-34_0_4_load_17 | 13 | 0.013193 | 0.0033066 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-34_0_4_load_58 | 16 | 0.0048266 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-34_0_4_load_14 | 17 | 0.013729 | 0.0034409 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-34_0_4_load_50 | 19 | 0.012426 | 0.0031143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-34_0_4_load_21 | 20 | 0.012899 | 0.0032327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-34_0_4_load_105 | 21 | 0.0015261 | 0.00038249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-34_0_4_load_104 | 22 | 0.0014604 | 0.00036601 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-34_0_4_load_115 | 23 | 0.0015125 | 0.00037907 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-34_0_4_load_73 | 24 | 0.0015886 | 0.00039815 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-34_0_4_load_114 | 25 | 0.0018771 | 0.00047045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-34_0_4_load_111 | 26 | 0.0020166 | 0.00050542 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-34_0_4_load_103 | 28 | 0.0083742 | 0.0020988 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-34_0_4_load_92 | 30 | 0.0085348 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-34_0_4_load_48 | 31 | 0.0050436 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-34_0_4_load_18 | 32 | 0.013044 | 0.0032692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-34_0_4_load_109 | 34 | 0.016307 | 0.0040868 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-34_0_4_load_79 | 35 | 0.018088 | 0.0045334 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-34_0_4_load_76 | 36 | 0.0031128 | 0.00078013 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-34_0_4_load_56 | 37 | 0.0024898 | 0.00062401 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-34_0_4_load_15 | 38 | 0.012468 | 0.0031249 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-34_0_4_load_22 | 41 | 0.011007 | 0.0027586 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-34_0_4_load_28 | 42 | 0.011092 | 0.0027799 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-34_0_4_load_23 | 43 | 0.002918 | 0.00073131 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-34_0_4_load_43 | 44 | 0.012005 | 0.0030087 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-34_0_4_load_42 | 45 | 0.012195 | 0.0030562 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-34_0_4_load_45 | 46 | 0.0023852 | 0.0005978 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-34_0_4_load_29 | 47 | 0.0060082 | 0.0015058 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-34_0_4_load_32 | 49 | 0.012097 | 0.0030317 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-34_0_4_load_33 | 50 | 0.0050479 | 0.0012651 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-34_0_4_load_49 | 51 | 0.011469 | 0.0028744 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-34_0_4_load_51 | 52 | 0.012469 | 0.003125 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-34_0_4_load_47 | 53 | 0.004927 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-34_0_4_load_75 | 54 | 0.0092572 | 0.0023201 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-34_0_4_load_67 | 55 | 0.009187 | 0.0023025 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-34_0_4_load_95 | 56 | 0.008612 | 0.0021584 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-34_0_4_load_96 | 57 | 0.008567 | 0.0021471 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-34_0_4_load_108 | 58 | 0.0033133 | 0.00083039 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_616-34_0_4_load_107 | 59 | 0.0033109 | 0.00082979 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_616-34_0_4_load_63 | 61 | 0.0023426 | 0.00058712 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_616-34_0_4_load_77 | 62 | 0.0036126 | 0.00090541 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_616-34_0_4_load_100 | 63 | 0.0087009 | 0.0021806 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_616-34_0_4_load_52 | 64 | 0.0015934 | 0.00039933 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_616-34_0_4_load_57 | 68 | 0.0087026 | 0.0021811 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_616-34_0_4_load_59 | 69 | 0.0020785 | 0.00052091 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_616-34_0_4_load_61 | 70 | 0.0061982 | 0.0015534 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_616-34_0_4_load_60 | 71 | 0.0053582 | 0.0013429 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_616-34_0_4_load_62 | 72 | 0.0055287 | 0.0013856 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_616-34_0_4_load_64 | 73 | 0.0023171 | 0.00058071 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_616-34_0_4_load_66 | 74 | 0.0023292 | 0.00058375 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_616-34_0_4_load_112 | 76 | 0.0019046 | 0.00047735 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_616-34_0_4_load_88 | 77 | 0.0021357 | 0.00053525 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_616-34_0_4_load_68 | 78 | 0.0019948 | 0.00049994 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_616-34_0_4_load_69 | 79 | 0.0018525 | 0.00046428 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_616-34_0_4_load_71 | 80 | 0.0020161 | 0.00050528 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_616-34_0_4_load_72 | 82 | 0.0015235 | 0.00038182 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_616-34_0_4_load_74 | 83 | 0.0016025 | 0.00040162 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_616-34_0_4_load_84 | 85 | 0.0015075 | 0.00037781 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_616-34_0_4_load_110 | 86 | 0.0019153 | 0.00048003 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_616-34_0_4_load_89 | 89 | 0.001496 | 0.00037492 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_616-34_0_4_load_90 | 90 | 0.0015859 | 0.00039746 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_616-34_0_4_load_86 | 91 | 0.0018627 | 0.00046683 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_616-34_0_4_load_106 | 92 | 0.0015277 | 0.00038289 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_616-34_0_4_load_85 | 93 | 0.00159 | 0.00039849 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_616-34_0_4_load_87 | 94 | 0.0020955 | 0.00052519 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_616-34_0_4_load_80 | 95 | 0.0015359 | 0.00038494 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_616-34_0_4_load_83 | 96 | 0.0019566 | 0.00049038 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_616-34_0_4_load_98 | 97 | 0.0021007 | 0.00052649 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_616-34_0_4_load_113 | 99 | 0.0019527 | 0.00048938 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_616-34_0_4_load_101 | 100 | 0.0020899 | 0.00052379 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_616-34_0_4_load_102 | 101 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-34_0_4_line_0 |  | 0 | 1 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-34_0_4_line_1 |  | 1 | 2 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_616-34_0_4_line_2 |  | 1 | 3 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-34_0_4_line_3 |  | 2 | 17 | 0.017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_616-34_0_4_line_4 |  | 3 | 18 | 0.068154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_616-34_0_4_line_5 |  | 3 | 19 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_616-34_0_4_line_6 |  | 4 | 5 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_616-34_0_4_line_7 |  | 4 | 6 | 0.0084114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_616-34_0_4_line_8 |  | 5 | 10 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-34_0_4_line_9 |  | 6 | 20 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_616-34_0_4_line_10 |  | 7 | 8 | 0.017599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_616-34_0_4_line_11 |  | 7 | 9 | 0.021672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_616-34_0_4_line_12 |  | 9 | 30 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_616-34_0_4_line_13 |  | 10 | 13 | 0.0011887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_616-34_0_4_line_14 |  | 11 | 12 | 0.008104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_616-34_0_4_line_15 |  | 11 | 13 | 0.010449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-34_0_4_line_16 |  | 12 | 31 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_616-34_0_4_line_17 |  | 12 | 32 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_616-34_0_4_line_18 |  | 14 | 15 | 0.16498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-34_0_4_line_19 |  | 14 | 16 | 0.037564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_616-34_0_4_line_20 |  | 15 | 35 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-34_0_4_line_21 |  | 15 | 36 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_616-34_0_4_line_22 |  | 15 | 33 | 0.10514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_616-34_0_4_line_23 |  | 16 | 37 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_616-34_0_4_line_24 |  | 17 | 38 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_616-34_0_4_line_25 |  | 18 | 42 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-34_0_4_line_26 |  | 18 | 43 | 0.0063766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_616-34_0_4_line_27 |  | 21 | 22 | 0.00045747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-34_0_4_line_28 |  | 22 | 82 | 0.00017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-34_0_4_line_29 |  | 23 | 24 | 0.0054416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_616-34_0_4_line_30 |  | 24 | 81 | 0.01386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_616-34_0_4_line_31 |  | 25 | 26 | 0.0054269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_616-34_0_4_line_32 |  | 26 | 84 | 0.013527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_616-34_0_4_line_33 |  | 27 | 28 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_616-34_0_4_line_34 |  | 27 | 29 | 0.025341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_616-34_0_4_line_35 |  | 28 | 63 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_616-34_0_4_line_36 |  | 29 | 46 | 0.0089863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_616-34_0_4_line_37 |  | 29 | 53 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_616-34_0_4_line_38 |  | 29 | 45 | 0.029087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_616-34_0_4_line_39 |  | 30 | 84 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_616-34_0_4_line_40 |  | 31 | 46 | 0.009698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_616-34_0_4_line_41 |  | 32 | 38 | 0.017368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_616-34_0_4_line_42 |  | 33 | 34 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_616-34_0_4_line_43 |  | 36 | 62 | 0.0054231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_616-34_0_4_line_44 |  | 37 | 66 | 0.0033664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_616-34_0_4_line_45 |  | 39 | 40 | 0.041837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_616-34_0_4_line_46 |  | 39 | 41 | 0.012869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_616-34_0_4_line_47 |  | 40 | 42 | 0.024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_616-34_0_4_line_48 |  | 44 | 45 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_616-34_0_4_line_49 |  | 47 | 48 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_616-34_0_4_line_50 |  | 48 | 49 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_616-34_0_4_line_51 |  | 48 | 50 | 0.012213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_616-34_0_4_line_52 |  | 49 | 51 | 0.018055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_616-34_0_4_line_53 |  | 50 | 52 | 0.0074677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_616-34_0_4_line_54 |  | 52 | 53 | 0.0054383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-34_0_4_line_55 |  | 54 | 55 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_616-34_0_4_line_56 |  | 55 | 60 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_616-34_0_4_line_57 |  | 56 | 57 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_616-34_0_4_line_58 |  | 57 | 75 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_616-34_0_4_line_59 |  | 58 | 59 | 0.00018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_616-34_0_4_line_60 |  | 59 | 92 | 0.00020015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_616-34_0_4_line_61 |  | 60 | 61 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_616-34_0_4_line_62 |  | 61 | 73 | 0.0055573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_616-34_0_4_line_63 |  | 62 | 88 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_616-34_0_4_line_64 |  | 63 | 98 | 0.014634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_616-34_0_4_line_65 |  | 64 | 65 | 0.023025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_616-34_0_4_line_66 |  | 64 | 66 | 0.019321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_616-34_0_4_line_67 |  | 65 | 67 | 0.021755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_616-34_0_4_line_68 |  | 66 | 68 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_616-34_0_4_line_69 |  | 67 | 69 | 0.0066858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_616-34_0_4_line_70 |  | 68 | 70 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_616-34_0_4_line_71 |  | 69 | 71 | 0.017882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_616-34_0_4_line_72 |  | 70 | 72 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_616-34_0_4_line_73 |  | 73 | 74 | 0.0055405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_616-34_0_4_line_74 |  | 74 | 75 | 0.010761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_616-34_0_4_line_75 |  | 75 | 76 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_616-34_0_4_line_76 |  | 75 | 77 | 0.009376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_616-34_0_4_line_77 |  | 76 | 100 | 0.0054349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_616-34_0_4_line_78 |  | 77 | 94 | 0.00079634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_616-34_0_4_line_79 |  | 78 | 79 | 4.2654e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_616-34_0_4_line_80 |  | 79 | 80 | 0.00035266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_616-34_0_4_line_81 |  | 80 | 84 | 0.0097359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_616-34_0_4_line_82 |  | 81 | 82 | 0.010543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_616-34_0_4_line_83 |  | 81 | 83 | 0.012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_616-34_0_4_line_84 |  | 83 | 85 | 0.0054323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_616-34_0_4_line_85 |  | 84 | 86 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_616-34_0_4_line_86 |  | 85 | 87 | 0.015229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_616-34_0_4_line_87 |  | 86 | 99 | 0.0053436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_616-34_0_4_line_88 |  | 87 | 93 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_616-34_0_4_line_89 |  | 87 | 95 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_616-34_0_4_line_90 |  | 88 | 89 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_616-34_0_4_line_91 |  | 88 | 90 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_616-34_0_4_line_92 |  | 88 | 91 | 0.019098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_616-34_0_4_line_93 |  | 89 | 92 | 0.00019906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_616-34_0_4_line_94 |  | 90 | 93 | 0.0054533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_616-34_0_4_line_95 |  | 91 | 94 | 7.3807e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_616-34_0_4_line_96 |  | 96 | 97 | 0.00016066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_616-34_0_4_line_97 |  | 97 | 98 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_616-34_0_4_line_98 |  | 98 | 100 | 0.012375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_616-34_0_4_line_99 |  | 98 | 101 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_616-34_0_4_line_100 |  | 99 | 101 | 0.0051451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-34_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 102 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2609155.3766 | 1190784.0204 | 2609175.2146 | 1190784.5958
1 | 2609155.3766 | 1190784.0204 | 2609155.9809 | 1190770.2583
2 | 2609126.0545 | 1190783.2311 | 2609155.3766 | 1190784.0204
3 | 2609155.9809 | 1190770.2583 | 2609156.7603 | 1190752.5069
4 | 2609126.0545 | 1190783.2311 | 2609124.7408 | 1190815.0013 | 2609157.249 | 1190831.2814
5 | 2609126.0545 | 1190783.2311 | 2609107.2368 | 1190782.1864
6 | 2609195.5061 | 1190702.4943 | 2609194.7652 | 1190723.3708
7 | 2609194.7652 | 1190723.3708 | 2609194.47 | 1190731.777
8 | 2609195.5061 | 1190702.4943 | 2609178.7486 | 1190702.1341
9 | 2609193.689 | 1190754.0212 | 2609194.47 | 1190731.777
10 | 2609163.0432 | 1190676.0421 | 2609162.5517 | 1190693.6339
11 | 2609163.0432 | 1190676.0421 | 2609164.0447 | 1190654.393
12 | 2609164.0447 | 1190654.393 | 2609164.9264 | 1190635.332
13 | 2609178.7486 | 1190702.1341 | 2609177.5602 | 1190702.1086
14 | 2609158.9859 | 1190701.8161 | 2609167.1135 | 1190701.8841
15 | 2609167.1135 | 1190701.8841 | 2609177.5602 | 1190702.1086
16 | 2609158.9859 | 1190701.8161 | 2609147.0522 | 1190701.3342
17 | 2609158.9859 | 1190701.8161 | 2609158.4789 | 1190713.3637
18 | 2609045.5557 | 1190433.2153 | 2609052.5037 | 1190543.7058 | 2609054.2016 | 1190550.334 | 2609054.9748 | 1190553.359 | 2609056.8092 | 1190560.5433 | 2609057.7415 | 1190564.2022 | 2609065.7799 | 1190562.8914 | 2609065.5669 | 1190587.8597
19 | 2609045.5557 | 1190433.2153 | 2609020.434 | 1190461.1434
20 | 2609065.5669 | 1190587.8597 | 2609067.6541 | 1190589.1635 | 2609060.9944 | 1190602.0839
21 | 2609065.5669 | 1190587.8597 | 2609078.6396 | 1190588.0989
22 | 2609026.7719 | 1190608.8458 | 2609019.3539 | 1190603.2762 | 2609034.6806 | 1190566.8356 | 2609052.0216 | 1190565.1274 | 2609057.7415 | 1190564.2022 | 2609065.7799 | 1190562.8914 | 2609065.5669 | 1190587.8597
23 | 2609000.6088 | 1190483.0661 | 2609015.357 | 1190466.7876 | 2609020.434 | 1190461.1434
24 | 2609157.7171 | 1190730.7146 | 2609156.7603 | 1190752.5069
25 | 2609157.249 | 1190831.2814 | 2609150.6784 | 1190845.3676 | 2609149.1545 | 1190844.6761 | 2609148.7213 | 1190845.5961
26 | 2609157.249 | 1190831.2814 | 2609162.9446 | 1190834.1488
27 | 2609166.313 | 1190579.486 | 2609166.3162 | 1190579.9435
28 | 2609166.3162 | 1190579.9435 | 2609166.3173 | 1190580.1157
29 | 2609185.6846 | 1190591.2135 | 2609180.2452 | 1190591.0569
30 | 2609166.3907 | 1190590.658 | 2609180.2452 | 1190591.0569
31 | 2609184.5672 | 1190620.9194 | 2609179.1471 | 1190620.6482
32 | 2609165.637 | 1190619.9722 | 2609179.1471 | 1190620.6482
33 | 2609129.4661 | 1190675.2686 | 2609130.4629 | 1190653.3106
34 | 2609129.4661 | 1190675.2686 | 2609128.3832 | 1190700.5802
35 | 2609130.4629 | 1190653.3106 | 2609131.3265 | 1190634.2847
36 | 2609128.3832 | 1190700.5802 | 2609137.3621 | 1190700.9428
37 | 2609128.3832 | 1190700.5802 | 2609116.0595 | 1190700.1442
38 | 2609128.3832 | 1190700.5802 | 2609127.564 | 1190729.6552
39 | 2609165.637 | 1190619.9722 | 2609164.9264 | 1190635.332
40 | 2609147.0522 | 1190701.3342 | 2609137.3621 | 1190700.9428
41 | 2609157.7171 | 1190730.7146 | 2609158.4789 | 1190713.3637
42 | 2609026.7719 | 1190608.8458 | 2609018.9001 | 1190624.208
43 | 2609078.6396 | 1190588.0989 | 2609084.0619 | 1190588.1981
44 | 2608998.3486 | 1190485.561 | 2609000.6088 | 1190483.0661
45 | 2609176.0398 | 1190883.4039 | 2609171.2094 | 1190881.2288 | 2609167.0675 | 1190882.4453 | 2609138.3619 | 1190867.594
46 | 2609176.0398 | 1190883.4039 | 2609181.6638 | 1190871.8292
47 | 2609138.3619 | 1190867.594 | 2609148.7213 | 1190845.5961
48 | 2609126.9455 | 1190751.6078 | 2609127.564 | 1190729.6552
49 | 2609090.9566 | 1190699.2563 | 2609078.1424 | 1190698.9337
50 | 2609090.9566 | 1190699.2563 | 2609090.4125 | 1190710.9533
51 | 2609090.9566 | 1190699.2563 | 2609103.1616 | 1190699.688
52 | 2609089.5735 | 1190728.9887 | 2609090.4125 | 1190710.9533
53 | 2609103.1616 | 1190699.688 | 2609110.6246 | 1190699.952
54 | 2609110.6246 | 1190699.952 | 2609116.0595 | 1190700.1442
55 | 2609064.8712 | 1190651.7708 | 2609065.1717 | 1190632.7245
56 | 2609065.3175 | 1190616.8078 | 2609065.1969 | 1190631.1262 | 2609065.1717 | 1190632.7245
57 | 2609097.0639 | 1190652.1701 | 2609098.4658 | 1190633.0989
58 | 2609099.5885 | 1190617.8266 | 2609098.4658 | 1190633.0989
59 | 2609100.6739 | 1190577.4375 | 2609100.6735 | 1190577.6267
60 | 2609100.6735 | 1190577.6267 | 2609100.6732 | 1190577.8269
61 | 2609065.3175 | 1190616.8078 | 2609077.739 | 1190617.1771
62 | 2609077.739 | 1190617.1771 | 2609083.2939 | 1190617.3422
63 | 2609100.6545 | 1190588.5018 | 2609084.0619 | 1190588.1981
64 | 2609131.9902 | 1190619.6655 | 2609131.3265 | 1190634.2847
65 | 2608969.6408 | 1190516.69 | 2608985.2596 | 1190499.773
66 | 2608998.3486 | 1190485.561 | 2608991.8417 | 1190492.6438 | 2608985.2596 | 1190499.773
67 | 2608969.6408 | 1190516.69 | 2608986.5701 | 1190530.4113
68 | 2608998.3486 | 1190485.561 | 2609008.2882 | 1190499.9968
69 | 2608986.5701 | 1190530.4113 | 2608991.4788 | 1190534.9505
70 | 2609019.0838 | 1190515.9231 | 2609015.604 | 1190510.6221 | 2609008.2882 | 1190499.9968
71 | 2609004.608 | 1190547.0914 | 2608991.4788 | 1190534.9505
72 | 2609030.1956 | 1190532.3553 | 2609022.0322 | 1190520.4146 | 2609019.0838 | 1190515.9231
73 | 2609088.8319 | 1190617.5068 | 2609083.2939 | 1190617.3422
74 | 2609099.5885 | 1190617.8266 | 2609088.8319 | 1190617.5068
75 | 2609099.5885 | 1190617.8266 | 2609114.2094 | 1190618.6564
76 | 2609099.5885 | 1190617.8266 | 2609099.9291 | 1190608.4568
77 | 2609119.6355 | 1190618.9643 | 2609114.2094 | 1190618.6564
78 | 2609099.9291 | 1190608.4568 | 2609099.958 | 1190607.661
79 | 2609165.8974 | 1190609.8444 | 2609165.8963 | 1190609.887
80 | 2609165.8963 | 1190609.887 | 2609165.8872 | 1190610.2395
81 | 2609165.637 | 1190619.9722 | 2609165.8872 | 1190610.2395
82 | 2609166.3907 | 1190590.658 | 2609166.3173 | 1190580.1157
83 | 2609166.3907 | 1190590.658 | 2609154.1177 | 1190590.3825
84 | 2609154.1177 | 1190590.3825 | 2609148.6867 | 1190590.2606
85 | 2609165.637 | 1190619.9722 | 2609153.309 | 1190619.8598
86 | 2609133.4611 | 1190589.9188 | 2609148.6867 | 1190590.2606
87 | 2609153.309 | 1190619.8598 | 2609147.9656 | 1190619.8111
88 | 2609133.4611 | 1190589.9188 | 2609120.8479 | 1190589.374
89 | 2609133.4611 | 1190589.9188 | 2609133.6283 | 1190578.9334
90 | 2609100.6545 | 1190588.5018 | 2609100.6728 | 1190578.0259
91 | 2609100.6545 | 1190588.5018 | 2609115.3997 | 1190589.1387
92 | 2609100.6545 | 1190588.5018 | 2609099.9607 | 1190607.5873
93 | 2609100.6732 | 1190577.8269 | 2609100.6728 | 1190578.0259
94 | 2609120.8479 | 1190589.374 | 2609115.3997 | 1190589.1387
95 | 2609099.958 | 1190607.661 | 2609099.9607 | 1190607.5873
96 | 2609132.5022 | 1190609.3114 | 2609132.5101 | 1190609.1509
97 | 2609131.9902 | 1190619.6655 | 2609132.5022 | 1190609.3114
98 | 2609131.9902 | 1190619.6655 | 2609119.6355 | 1190618.9643
99 | 2609131.9902 | 1190619.6655 | 2609142.8208 | 1190619.7642
100 | 2609147.9656 | 1190619.8111 | 2609142.8208 | 1190619.7642

## bus_geodata
| x | y | coords
0 | 2609175.2146 | 1190784.5958
1 | 2609155.3766 | 1190784.0204
2 | 2609155.9809 | 1190770.2583
3 | 2609126.0545 | 1190783.2311
4 | 2609194.7652 | 1190723.3708
5 | 2609195.5061 | 1190702.4943
6 | 2609194.47 | 1190731.777
7 | 2609163.0432 | 1190676.0421
8 | 2609162.5517 | 1190693.6339
9 | 2609164.0447 | 1190654.393
10 | 2609178.7486 | 1190702.1341
11 | 2609167.1135 | 1190701.8841
12 | 2609158.9859 | 1190701.8161
13 | 2609177.5602 | 1190702.1086
14 | 2609045.5557 | 1190433.2153
15 | 2609065.5669 | 1190587.8597
16 | 2609020.434 | 1190461.1434
17 | 2609156.7603 | 1190752.5069
18 | 2609157.249 | 1190831.2814
19 | 2609107.2368 | 1190782.1864
20 | 2609193.689 | 1190754.0212
21 | 2609166.313 | 1190579.486
22 | 2609166.3162 | 1190579.9435
23 | 2609185.6846 | 1190591.2135
24 | 2609180.2452 | 1190591.0569
25 | 2609184.5672 | 1190620.9194
26 | 2609179.1471 | 1190620.6482
27 | 2609129.4661 | 1190675.2686
28 | 2609130.4629 | 1190653.3106
29 | 2609128.3832 | 1190700.5802
30 | 2609164.9264 | 1190635.332
31 | 2609147.0522 | 1190701.3342
32 | 2609158.4789 | 1190713.3637
33 | 2609026.7719 | 1190608.8458
34 | 2609018.9001 | 1190624.208
35 | 2609060.9944 | 1190602.0839
36 | 2609078.6396 | 1190588.0989
37 | 2609000.6088 | 1190483.0661
38 | 2609157.7171 | 1190730.7146
39 | 2609176.0398 | 1190883.4039
40 | 2609138.3619 | 1190867.594
41 | 2609181.6638 | 1190871.8292
42 | 2609148.7213 | 1190845.5961
43 | 2609162.9446 | 1190834.1488
44 | 2609126.9455 | 1190751.6078
45 | 2609127.564 | 1190729.6552
46 | 2609137.3621 | 1190700.9428
47 | 2609078.1424 | 1190698.9337
48 | 2609090.9566 | 1190699.2563
49 | 2609090.4125 | 1190710.9533
50 | 2609103.1616 | 1190699.688
51 | 2609089.5735 | 1190728.9887
52 | 2609110.6246 | 1190699.952
53 | 2609116.0595 | 1190700.1443
54 | 2609064.8712 | 1190651.7708
55 | 2609065.1717 | 1190632.7245
56 | 2609097.0639 | 1190652.1701
57 | 2609098.4658 | 1190633.0989
58 | 2609100.6739 | 1190577.4375
59 | 2609100.6735 | 1190577.6267
60 | 2609065.3175 | 1190616.8078
61 | 2609077.739 | 1190617.1771
62 | 2609084.0619 | 1190588.1981
63 | 2609131.3265 | 1190634.2847
64 | 2608985.2596 | 1190499.773
65 | 2608969.6408 | 1190516.69
66 | 2608998.3486 | 1190485.561
67 | 2608986.5701 | 1190530.4113
68 | 2609008.2882 | 1190499.9968
69 | 2608991.4788 | 1190534.9505
70 | 2609019.0838 | 1190515.9231
71 | 2609004.608 | 1190547.0914
72 | 2609030.1956 | 1190532.3553
73 | 2609083.2939 | 1190617.3422
74 | 2609088.8319 | 1190617.5068
75 | 2609099.5885 | 1190617.8266
76 | 2609114.2094 | 1190618.6564
77 | 2609099.9291 | 1190608.4569
78 | 2609165.8974 | 1190609.8444
79 | 2609165.8963 | 1190609.887
80 | 2609165.8872 | 1190610.2395
81 | 2609166.3907 | 1190590.658
82 | 2609166.3173 | 1190580.1157
83 | 2609154.1177 | 1190590.3825
84 | 2609165.637 | 1190619.9722
85 | 2609148.6867 | 1190590.2606
86 | 2609153.309 | 1190619.8598
87 | 2609133.4611 | 1190589.9188
88 | 2609100.6545 | 1190588.5018
89 | 2609100.6728 | 1190578.0259
90 | 2609115.3997 | 1190589.1387
91 | 2609099.9607 | 1190607.5873
92 | 2609100.6732 | 1190577.8269
93 | 2609120.8479 | 1190589.374
94 | 2609099.958 | 1190607.661
95 | 2609133.6283 | 1190578.9334
96 | 2609132.5101 | 1190609.1509
97 | 2609132.5022 | 1190609.3114
98 | 2609131.9902 | 1190619.6655
99 | 2609147.9656 | 1190619.8111
100 | 2609119.6355 | 1190618.9643
101 | 2609142.8208 | 1190619.7642
102 | 2609128.3832 | 1190700.5802

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1