## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-35_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-35_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_616-35_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_616-35_0_6_node_104 | 0.4 | n |  | TRUE
4 | bus_LV_616-35_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_616-35_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_616-35_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_616-35_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_616-35_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_616-35_0_6_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_616-35_0_6_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_616-35_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_616-35_0_6_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_616-35_0_6_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_616-35_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_616-35_0_6_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_616-35_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_616-35_0_6_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_616-35_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_616-35_0_6_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_616-35_0_6_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_616-35_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_616-35_0_6_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_616-35_0_6_node_89 | 0.4 | n |  | TRUE
24 | bus_LV_616-35_0_6_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_616-35_0_6_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_616-35_0_6_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_616-35_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_616-35_0_6_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_616-35_0_6_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_616-35_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_616-35_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_616-35_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_616-35_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_616-35_0_6_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_616-35_0_6_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_616-35_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_616-35_0_6_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_616-35_0_6_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_616-35_0_6_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_616-35_0_6_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_616-35_0_6_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_616-35_0_6_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_616-35_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_616-35_0_6_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_616-35_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_616-35_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_616-35_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_616-35_0_6_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_616-35_0_6_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_616-35_0_6_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_616-35_0_6_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_616-35_0_6_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_616-35_0_6_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_616-35_0_6_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_616-35_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_616-35_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_616-35_0_6_node_102 | 0.4 | n |  | TRUE
58 | bus_LV_616-35_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_616-35_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_616-35_0_6_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_616-35_0_6_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_616-35_0_6_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_616-35_0_6_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_616-35_0_6_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_616-35_0_6_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_616-35_0_6_node_101 | 0.4 | n |  | TRUE
67 | bus_LV_616-35_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_616-35_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_616-35_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_616-35_0_6_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_616-35_0_6_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_616-35_0_6_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_616-35_0_6_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_616-35_0_6_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_616-35_0_6_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_616-35_0_6_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_616-35_0_6_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_616-35_0_6_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_616-35_0_6_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_616-35_0_6_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_616-35_0_6_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_616-35_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_616-35_0_6_node_54 | 0.4 | n |  | TRUE
84 | bus_LV_616-35_0_6_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_616-35_0_6_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_616-35_0_6_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_616-35_0_6_node_57 | 0.4 | n |  | TRUE
88 | bus_LV_616-35_0_6_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_616-35_0_6_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_616-35_0_6_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_616-35_0_6_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_616-35_0_6_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_616-35_0_6_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_616-35_0_6_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_616-35_0_6_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_616-35_0_6_node_71 | 0.4 | n |  | TRUE
97 | bus_LV_616-35_0_6_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_616-35_0_6_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_616-35_0_6_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_616-35_0_6_node_88 | 0.4 | n |  | TRUE
101 | bus_MV_98_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-35_0_6_load_0 | 0 | 0.03357 | 0.0084135 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-35_0_6_load_104 | 3 | 0.023886 | 0.0059864 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-35_0_6_load_18 | 5 | 0.017029 | 0.004268 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-35_0_6_load_3 | 6 | 0.048824 | 0.012237 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-35_0_6_load_4 | 7 | 0.019585 | 0.0049085 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-35_0_6_load_27 | 9 | 0.0091318 | 0.0022886 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-35_0_6_load_23 | 10 | 0.0090584 | 0.0022702 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-35_0_6_load_79 | 13 | 0.0011972 | 0.00030004 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-35_0_6_load_45 | 15 | 0.00909 | 0.0022782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-35_0_6_load_44 | 17 | 0.0090459 | 0.0022671 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-35_0_6_load_93 | 19 | 0.0077295 | 0.0019372 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-35_0_6_load_91 | 20 | 0.0098805 | 0.0024763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-35_0_6_load_89 | 23 | 0.015633 | 0.003918 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-35_0_6_load_67 | 24 | 0.0018412 | 0.00046144 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-35_0_6_load_68 | 25 | 0.0019782 | 0.00049579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-35_0_6_load_43 | 26 | 0.0071092 | 0.0017817 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-35_0_6_load_94 | 29 | 0.015825 | 0.0039662 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-35_0_6_load_22 | 31 | 0.0093317 | 0.0023388 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-35_0_6_load_34 | 32 | 0.0091038 | 0.0022816 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-35_0_6_load_19 | 33 | 0.024802 | 0.0062159 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-35_0_6_load_80 | 34 | 0.0026782 | 0.00067122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-35_0_6_load_26 | 36 | 0.0090992 | 0.0022805 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-35_0_6_load_92 | 37 | 0.018424 | 0.0046174 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-35_0_6_load_90 | 39 | 0.016724 | 0.0041913 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-35_0_6_load_82 | 40 | 0.014075 | 0.0035275 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-35_0_6_load_65 | 41 | 0.0018502 | 0.0004637 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-35_0_6_load_69 | 42 | 0.0019668 | 0.00049294 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-35_0_6_load_103 | 44 | 0.0063836 | 0.0015999 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-35_0_6_load_35 | 47 | 0.0029497 | 0.00073926 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-35_0_6_load_76 | 50 | 0.0024488 | 0.00061374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-35_0_6_load_99 | 51 | 0.0033679 | 0.00084408 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-35_0_6_load_42 | 55 | 0.0031406 | 0.00078711 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-35_0_6_load_39 | 56 | 0.002586 | 0.00064812 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-35_0_6_load_102 | 57 | 0.0024618 | 0.00061699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-35_0_6_load_40 | 58 | 0.0028307 | 0.00070943 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-35_0_6_load_36 | 59 | 0.0026726 | 0.00066981 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-35_0_6_load_29 | 60 | 0.0029937 | 0.00075028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-35_0_6_load_30 | 61 | 0.0028213 | 0.00070708 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-35_0_6_load_32 | 63 | 0.0025271 | 0.00063335 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-35_0_6_load_33 | 64 | 0.0030224 | 0.00075749 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-35_0_6_load_100 | 65 | 0.0025315 | 0.00063445 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-35_0_6_load_101 | 66 | 0.0066965 | 0.0016783 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-35_0_6_load_62 | 67 | 0.0017691 | 0.00044337 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_616-35_0_6_load_60 | 68 | 0.0021554 | 0.0005402 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_616-35_0_6_load_77 | 69 | 0.0036473 | 0.0009141 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_616-35_0_6_load_41 | 70 | 0.0024003 | 0.00060158 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_616-35_0_6_load_98 | 71 | 0.0030681 | 0.00076894 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_616-35_0_6_load_97 | 72 | 0.0091739 | 0.0022992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_616-35_0_6_load_46 | 73 | 0.002074 | 0.0005198 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_616-35_0_6_load_49 | 76 | 0.0022525 | 0.00056453 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_616-35_0_6_load_50 | 77 | 0.0034236 | 0.00085803 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_616-35_0_6_load_51 | 78 | 0.00089953 | 0.00022544 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_616-35_0_6_load_52 | 79 | 0.0016926 | 0.00042421 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_616-35_0_6_load_53 | 80 | 0.00086641 | 0.00021714 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_616-35_0_6_load_55 | 81 | 0.0011639 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_616-35_0_6_load_74 | 82 | 0.0023336 | 0.00058485 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_616-35_0_6_load_54 | 83 | 0.0014131 | 0.00035415 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_616-35_0_6_load_73 | 85 | 0.0025542 | 0.00064014 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_616-35_0_6_load_59 | 86 | 0.0051122 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_616-35_0_6_load_57 | 87 | 0.0017134 | 0.00042942 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_616-35_0_6_load_58 | 88 | 0.0016525 | 0.00041416 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_616-35_0_6_load_81 | 90 | 0.0051097 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_616-35_0_6_load_72 | 91 | 0.0015095 | 0.00037831 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_616-35_0_6_load_64 | 92 | 0.001705 | 0.00042731 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_616-35_0_6_load_63 | 93 | 0.0017899 | 0.00044859 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_616-35_0_6_load_75 | 94 | 0.001289 | 0.00032304 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_616-35_0_6_load_70 | 95 | 0.0027003 | 0.00067675 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_616-35_0_6_load_71 | 96 | 0.0039199 | 0.00098242 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_616-35_0_6_load_78 | 97 | 0.0022367 | 0.00056057 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_616-35_0_6_load_86 | 99 | 0.020589 | 0.0051602 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_616-35_0_6_load_88 | 100 | 0.019447 | 0.0048739 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-35_0_6_line_0 |  | 0 | 1 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-35_0_6_line_1 |  | 1 | 2 | 0.08545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_616-35_0_6_line_2 |  | 2 | 3 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-35_0_6_line_3 |  | 2 | 4 | 0.049091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_616-35_0_6_line_4 |  | 4 | 5 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_616-35_0_6_line_5 |  | 5 | 33 | 0.010148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_616-35_0_6_line_6 |  | 6 | 7 | 0.024921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_616-35_0_6_line_7 |  | 7 | 8 | 0.0045475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_616-35_0_6_line_8 |  | 8 | 9 | 0.02567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-35_0_6_line_9 |  | 8 | 10 | 0.016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_616-35_0_6_line_10 |  | 9 | 30 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_616-35_0_6_line_11 |  | 10 | 31 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_616-35_0_6_line_12 |  | 11 | 12 | 0.030996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_616-35_0_6_line_13 |  | 11 | 13 | 0.024226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_616-35_0_6_line_14 |  | 12 | 24 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_616-35_0_6_line_15 |  | 12 | 25 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-35_0_6_line_16 |  | 13 | 34 | 0.0031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_616-35_0_6_line_17 |  | 14 | 15 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_616-35_0_6_line_18 |  | 14 | 16 | 0.15063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-35_0_6_line_19 |  | 14 | 17 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_616-35_0_6_line_20 |  | 15 | 35 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-35_0_6_line_21 |  | 16 | 26 | 0.016769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_616-35_0_6_line_22 |  | 17 | 36 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_616-35_0_6_line_23 |  | 18 | 19 | 0.018994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_616-35_0_6_line_24 |  | 18 | 20 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_616-35_0_6_line_25 |  | 20 | 37 | 0.0031682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-35_0_6_line_26 |  | 21 | 22 | 0.005957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_616-35_0_6_line_27 |  | 21 | 23 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-35_0_6_line_28 |  | 22 | 37 | 0.014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-35_0_6_line_29 |  | 22 | 38 | 0.029179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_616-35_0_6_line_30 |  | 23 | 39 | 0.0049669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_616-35_0_6_line_31 |  | 24 | 41 | 0.027975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_616-35_0_6_line_32 |  | 25 | 42 | 0.0099909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_616-35_0_6_line_33 |  | 27 | 28 | 0.004673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_616-35_0_6_line_34 |  | 27 | 29 | 0.014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_616-35_0_6_line_35 |  | 28 | 39 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_616-35_0_6_line_36 |  | 29 | 35 | 0.030797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_616-35_0_6_line_37 |  | 30 | 32 | 0.0044009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_616-35_0_6_line_38 |  | 31 | 53 | 0.0079833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_616-35_0_6_line_39 |  | 33 | 48 | 0.0039418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_616-35_0_6_line_40 |  | 35 | 52 | 0.008374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_616-35_0_6_line_41 |  | 36 | 53 | 0.008366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_616-35_0_6_line_42 |  | 38 | 40 | 0.0054357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_616-35_0_6_line_43 |  | 40 | 98 | 0.034253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_616-35_0_6_line_44 |  | 41 | 93 | 0.0102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_616-35_0_6_line_45 |  | 42 | 95 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_616-35_0_6_line_46 |  | 43 | 44 | 0.03892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_616-35_0_6_line_47 |  | 43 | 45 | 0.088205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_616-35_0_6_line_48 |  | 43 | 46 | 0.059632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_616-35_0_6_line_49 |  | 45 | 49 | 0.026229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_616-35_0_6_line_50 |  | 45 | 50 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_616-35_0_6_line_51 |  | 46 | 47 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_616-35_0_6_line_52 |  | 46 | 48 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_616-35_0_6_line_53 |  | 47 | 59 | 0.0063549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_616-35_0_6_line_54 |  | 49 | 67 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-35_0_6_line_55 |  | 49 | 68 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_616-35_0_6_line_56 |  | 50 | 69 | 0.015326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_616-35_0_6_line_57 |  | 51 | 52 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_616-35_0_6_line_58 |  | 52 | 72 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_616-35_0_6_line_59 |  | 54 | 55 | 0.0053775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_616-35_0_6_line_60 |  | 54 | 56 | 0.0059085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_616-35_0_6_line_61 |  | 55 | 57 | 0.0061968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_616-35_0_6_line_62 |  | 56 | 58 | 0.0062512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_616-35_0_6_line_63 |  | 57 | 66 | 0.0050329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_616-35_0_6_line_64 |  | 58 | 70 | 0.0060354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_616-35_0_6_line_65 |  | 59 | 64 | 0.0064357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_616-35_0_6_line_66 |  | 60 | 61 | 0.0064337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_616-35_0_6_line_67 |  | 60 | 62 | 0.0019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_616-35_0_6_line_68 |  | 61 | 63 | 0.0059201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_616-35_0_6_line_69 |  | 62 | 64 | 0.011031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_616-35_0_6_line_70 |  | 63 | 65 | 0.0055962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_616-35_0_6_line_71 |  | 65 | 66 | 0.00049016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_616-35_0_6_line_72 |  | 67 | 79 | 0.0081833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_616-35_0_6_line_73 |  | 69 | 97 | 0.019649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_616-35_0_6_line_74 |  | 70 | 71 | 0.0057284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_616-35_0_6_line_75 |  | 71 | 72 | 0.0018225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_616-35_0_6_line_76 |  | 73 | 74 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_616-35_0_6_line_77 |  | 73 | 75 | 0.0030589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_616-35_0_6_line_78 |  | 74 | 76 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_616-35_0_6_line_79 |  | 74 | 77 | 0.0085082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_616-35_0_6_line_80 |  | 75 | 78 | 0.014039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_616-35_0_6_line_81 |  | 75 | 79 | 0.017004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_616-35_0_6_line_82 |  | 76 | 80 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_616-35_0_6_line_83 |  | 77 | 81 | 0.033288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_616-35_0_6_line_84 |  | 78 | 82 | 0.0096269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_616-35_0_6_line_85 |  | 80 | 83 | 0.00088394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_616-35_0_6_line_86 |  | 81 | 84 | 0.00058631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_616-35_0_6_line_87 |  | 82 | 85 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_616-35_0_6_line_88 |  | 83 | 86 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_616-35_0_6_line_89 |  | 84 | 87 | 0.026892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_616-35_0_6_line_90 |  | 84 | 88 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_616-35_0_6_line_91 |  | 87 | 89 | 0.0054771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_616-35_0_6_line_92 |  | 88 | 90 | 0.017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_616-35_0_6_line_93 |  | 89 | 91 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_616-35_0_6_line_94 |  | 89 | 92 | 0.0047253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_616-35_0_6_line_95 |  | 91 | 94 | 0.021605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_616-35_0_6_line_96 |  | 92 | 93 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_616-35_0_6_line_97 |  | 95 | 96 | 0.047989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_616-35_0_6_line_98 |  | 98 | 99 | 0.0054891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_616-35_0_6_line_99 |  | 99 | 100 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-35_0_6_trafo_98 | 0.63 MVA 20/0.4 kV | 101 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2608804.3823 | 1190861.5272 | 2608811.3189 | 1190857.3684 | 2608817.9697 | 1190851.718
1 | 2608804.3823 | 1190861.5272 | 2608803.5987 | 1190865.5837 | 2608802.2596 | 1190868.9502 | 2608805.3817 | 1190871.545 | 2608811.9109 | 1190880.0145 | 2608822.6278 | 1190892.3478 | 2608826.2539 | 1190889.2403 | 2608857.9803 | 1190861.9837
2 | 2608851.1991 | 1190853.7805 | 2608857.9803 | 1190861.9837
3 | 2608857.9803 | 1190861.9837 | 2608883.8593 | 1190839.7545 | 2608874.8956 | 1190827.7573
4 | 2608874.8956 | 1190827.7573 | 2608868.7244 | 1190819.4994 | 2608862.315 | 1190812.5086 | 2608858.0564 | 1190808.6461
5 | 2608858.0564 | 1190808.6461 | 2608850.5394 | 1190801.8282
6 | 2608917.2301 | 1190825.7984 | 2608928.3649 | 1190803.5038
7 | 2608930.3968 | 1190799.4355 | 2608928.3649 | 1190803.5038
8 | 2608930.3968 | 1190799.4355 | 2608907.4891 | 1190787.8527
9 | 2608930.3968 | 1190799.4355 | 2608937.7385 | 1190785.0901
10 | 2608897.4308 | 1190782.7669 | 2608907.4891 | 1190787.8527
11 | 2608942.9168 | 1190774.9718 | 2608937.7385 | 1190785.0901
12 | 2608963.2414 | 1190523.3062 | 2608969.6408 | 1190516.69 | 2608986.5701 | 1190530.4113
13 | 2608986.5701 | 1190530.4113 | 2608987.3442 | 1190532.8026 | 2608986.4235 | 1190536.6699 | 2608984.9855 | 1190539.7249 | 2608975.6666 | 1190550.6511
14 | 2608963.2414 | 1190523.3062 | 2608959.6291 | 1190527.2696 | 2608955.0673 | 1190532.1408
15 | 2608963.2414 | 1190523.3062 | 2608951.885 | 1190518.5663
16 | 2608973.6125 | 1190553.0594 | 2608975.6666 | 1190550.6511
17 | 2608964.2424 | 1190737.1753 | 2608940.9218 | 1190723.5321
18 | 2608964.2424 | 1190737.1753 | 2608991.6042 | 1190748.8888 | 2609001.5542 | 1190728.4263 | 2609030.9073 | 1190668.0386 | 2609061.4664 | 1190673.0648
19 | 2608964.2424 | 1190737.1753 | 2608956.5708 | 1190750.4856
20 | 2608929.2842 | 1190716.7238 | 2608940.9218 | 1190723.5321
21 | 2609061.4664 | 1190673.0648 | 2609061.7073 | 1190689.8322
22 | 2608956.5708 | 1190750.4856 | 2608950.7315 | 1190760.6169
23 | 2608997.3312 | 1190615.4163 | 2609001.7314 | 1190609.7422 | 2609009.3963 | 1190600.7522
24 | 2608997.3312 | 1190615.4163 | 2608987.8725 | 1190627.6171
25 | 2608987.8725 | 1190627.6171 | 2608985.9313 | 1190630.121
26 | 2608977.3163 | 1190641.2334 | 2608973.6572 | 1190645.9415
27 | 2608973.6572 | 1190645.9415 | 2608965.027 | 1190657.0746
28 | 2608977.3163 | 1190641.2334 | 2608985.9313 | 1190630.121
29 | 2608977.3163 | 1190641.2334 | 2609003.2807 | 1190654.6902
30 | 2608965.027 | 1190657.0746 | 2608961.984 | 1190661.0001
31 | 2608955.0673 | 1190532.1408 | 2608935.9449 | 1190552.5602
32 | 2608951.885 | 1190518.5663 | 2608942.665 | 1190514.718
33 | 2608952.5425 | 1190673.1799 | 2608949.6778 | 1190676.8776
34 | 2608949.6778 | 1190676.8776 | 2608944.5672 | 1190683.4624 | 2608942.1426 | 1190688.7392
35 | 2608952.5425 | 1190673.1799 | 2608961.984 | 1190661.0001
36 | 2608929.2842 | 1190716.7238 | 2608942.1426 | 1190688.7392
37 | 2608897.4308 | 1190782.7669 | 2608893.5038 | 1190780.7803
38 | 2608946.5539 | 1190767.8651 | 2608942.9168 | 1190774.9718
39 | 2608847.6196 | 1190799.18 | 2608850.5394 | 1190801.8282
40 | 2608929.2842 | 1190716.7238 | 2608922.0396 | 1190712.4887
41 | 2608946.5539 | 1190767.8651 | 2608950.7315 | 1190760.6169
42 | 2609003.2807 | 1190654.6902 | 2609000.8028 | 1190659.5283
43 | 2608985.1884 | 1190690.0151 | 2609000.8028 | 1190659.5283
44 | 2608928.9726 | 1190560.0054 | 2608935.9449 | 1190552.5602
45 | 2608942.665 | 1190514.718 | 2608932.8181 | 1190510.6081
46 | 2608820.2823 | 1190728.9698 | 2608818.1342 | 1190727.6438 | 2608815.8851 | 1190727.5404 | 2608813.3291 | 1190728.7595 | 2608810.1528 | 1190731.9121 | 2608793.8739 | 1190753.3107
47 | 2608793.8739 | 1190753.3107 | 2608773.8751 | 1190737.5622 | 2608803.8714 | 1190704.9888 | 2608817.035 | 1190692.0346
48 | 2608793.8739 | 1190753.3107 | 2608809.1204 | 1190765.3281 | 2608809.6763 | 1190765.7847 | 2608814.451 | 1190769.7382 | 2608816.2786 | 1190771.2528 | 2608839.4343 | 1190791.753
49 | 2608834.6068 | 1190673.017 | 2608834.2454 | 1190675.1065 | 2608817.035 | 1190692.0346
50 | 2608817.035 | 1190692.0346 | 2608825.6385 | 1190700.3404 | 2608827.2262 | 1190701.7748
51 | 2608839.4343 | 1190791.753 | 2608848.8289 | 1190783.1531
52 | 2608839.4343 | 1190791.753 | 2608847.6196 | 1190799.18
53 | 2608853.5163 | 1190778.8622 | 2608848.8289 | 1190783.1531
54 | 2608834.6068 | 1190673.017 | 2608843.559 | 1190664.142
55 | 2608834.6068 | 1190673.017 | 2608821.2644 | 1190659.3195
56 | 2608827.2262 | 1190701.7748 | 2608831.9736 | 1190706.0638 | 2608834.8855 | 1190706.5239 | 2608838.3129 | 1190703.8275 | 2608839.6247 | 1190702.8787
57 | 2608922.0396 | 1190712.4887 | 2608914.1009 | 1190703.6224
58 | 2608922.0396 | 1190712.4887 | 2608911.241 | 1190723.21
59 | 2608892.9707 | 1190741.3497 | 2608889.1068 | 1190745.0898
60 | 2608892.9707 | 1190741.3497 | 2608897.1636 | 1190737.1868
61 | 2608884.6542 | 1190749.3996 | 2608889.1068 | 1190745.0898
62 | 2608897.1636 | 1190737.1868 | 2608901.5997 | 1190732.7824
63 | 2608884.6542 | 1190749.3996 | 2608881.0379 | 1190752.8999
64 | 2608901.5997 | 1190732.7824 | 2608905.8826 | 1190728.5301
65 | 2608853.5163 | 1190778.8622 | 2608858.2634 | 1190774.5167
66 | 2608872.4108 | 1190761.2503 | 2608867.788 | 1190765.7249
67 | 2608866.3999 | 1190767.0685 | 2608867.788 | 1190765.7249
68 | 2608872.4108 | 1190761.2503 | 2608876.6646 | 1190757.1329
69 | 2608866.3999 | 1190767.0685 | 2608858.2634 | 1190774.5167
70 | 2608876.6646 | 1190757.1329 | 2608880.6857 | 1190753.2408
71 | 2608881.0379 | 1190752.8999 | 2608880.6857 | 1190753.2408
72 | 2608843.559 | 1190664.142 | 2608849.3704 | 1190658.3806
73 | 2608855.5092 | 1190691.3128 | 2608846.1973 | 1190698.1249 | 2608839.6247 | 1190702.8787
74 | 2608905.8826 | 1190728.5301 | 2608909.9477 | 1190724.4941
75 | 2608911.241 | 1190723.21 | 2608909.9477 | 1190724.4941
76 | 2608873.0484 | 1190632.3633 | 2608865.8976 | 1190642.0023 | 2608863.6199 | 1190644.2571
77 | 2608861.446 | 1190646.4091 | 2608863.6199 | 1190644.2571
78 | 2608873.0484 | 1190632.3633 | 2608862.3361 | 1190616.4457
79 | 2608873.0484 | 1190632.3633 | 2608877.9735 | 1190625.4255
80 | 2608861.446 | 1190646.4091 | 2608872.2082 | 1190655.4241
81 | 2608861.446 | 1190646.4091 | 2608849.3704 | 1190658.3806
82 | 2608862.3361 | 1190616.4457 | 2608861.5528 | 1190615.2819 | 2608857.1726 | 1190607.4269 | 2608852.7795 | 1190603.1404 | 2608852.7795 | 1190603.1404
83 | 2608897.2425 | 1190598.2816 | 2608877.9735 | 1190625.4255
84 | 2608879.5683 | 1190661.6285 | 2608879.0751 | 1190661.1761 | 2608872.2082 | 1190655.4241
85 | 2608852.0183 | 1190602.691 | 2608852.7795 | 1190603.1404
86 | 2608897.2425 | 1190598.2816 | 2608897.5819 | 1190597.8035
87 | 2608887.4857 | 1190668.8906 | 2608879.5683 | 1190661.6285
88 | 2608838.5664 | 1190603.731 | 2608840.4066 | 1190601.8994 | 2608845.0139 | 1190600.472 | 2608849.3057 | 1190601.0898 | 2608852.0183 | 1190602.691
89 | 2608897.5819 | 1190597.8035 | 2608900.9284 | 1190593.0949 | 2608914.423 | 1190576.8551
90 | 2608897.5819 | 1190597.8035 | 2608911.0567 | 1190606.6836 | 2608912.5606 | 1190607.4094
91 | 2608917.9235 | 1190572.6426 | 2608914.423 | 1190576.8551
92 | 2608928.4296 | 1190614.2578 | 2608919.5368 | 1190610.7761 | 2608912.5606 | 1190607.4094
93 | 2608917.9235 | 1190572.6426 | 2608929.5475 | 1190581.5694
94 | 2608917.9235 | 1190572.6426 | 2608920.9402 | 1190569.0056
95 | 2608946.6829 | 1190594.7288 | 2608929.5475 | 1190581.5694
96 | 2608928.9726 | 1190560.0054 | 2608924.0112 | 1190565.3034 | 2608920.9402 | 1190569.0056
97 | 2608896.1508 | 1190523.8961 | 2608895.5349 | 1190522.7723 | 2608895.9523 | 1190518.9043 | 2608899.3291 | 1190514.418 | 2608904.863 | 1190510.3574 | 2608910.4878 | 1190506.686 | 2608915.0953 | 1190505.2698 | 2608921.5377 | 1190505.5906 | 2608925.9263 | 1190507.7316 | 2608932.8181 | 1190510.6081
98 | 2608985.1884 | 1190690.0151 | 2608982.6853 | 1190694.9002
99 | 2608982.6853 | 1190694.9002 | 2608974.9454 | 1190710.0057

## bus_geodata
| x | y | coords
0 | 2608817.9697 | 1190851.718
1 | 2608804.3823 | 1190861.5272
2 | 2608857.9803 | 1190861.9837
3 | 2608851.1991 | 1190853.7805
4 | 2608874.8956 | 1190827.7573
5 | 2608858.0564 | 1190808.6461
6 | 2608917.2301 | 1190825.7984
7 | 2608928.3649 | 1190803.5038
8 | 2608930.3968 | 1190799.4355
9 | 2608907.4891 | 1190787.8527
10 | 2608937.7385 | 1190785.0901
11 | 2608986.5701 | 1190530.4113
12 | 2608963.2414 | 1190523.3062
13 | 2608975.6666 | 1190550.6511
14 | 2608964.2424 | 1190737.1753
15 | 2608940.9218 | 1190723.5321
16 | 2609061.4664 | 1190673.0648
17 | 2608956.5708 | 1190750.4856
18 | 2608997.3312 | 1190615.4163
19 | 2609009.3963 | 1190600.7522
20 | 2608987.8725 | 1190627.6171
21 | 2608973.6572 | 1190645.9415
22 | 2608977.3163 | 1190641.2334
23 | 2608965.027 | 1190657.0746
24 | 2608955.0673 | 1190532.1408
25 | 2608951.885 | 1190518.5663
26 | 2609061.7073 | 1190689.8322
27 | 2608949.6778 | 1190676.8776
28 | 2608952.5425 | 1190673.1799
29 | 2608942.1426 | 1190688.7392
30 | 2608897.4308 | 1190782.7669
31 | 2608942.9168 | 1190774.9718
32 | 2608893.5038 | 1190780.7803
33 | 2608850.5394 | 1190801.8282
34 | 2608973.6125 | 1190553.0594
35 | 2608929.2842 | 1190716.7238
36 | 2608950.7315 | 1190760.6169
37 | 2608985.9313 | 1190630.121
38 | 2609003.2807 | 1190654.6902
39 | 2608961.984 | 1190661.0001
40 | 2609000.8028 | 1190659.5283
41 | 2608935.9449 | 1190552.5602
42 | 2608942.665 | 1190514.718
43 | 2608793.8739 | 1190753.3107
44 | 2608820.2823 | 1190728.9698
45 | 2608817.035 | 1190692.0346
46 | 2608839.4343 | 1190791.753
47 | 2608848.8289 | 1190783.1531
48 | 2608847.6196 | 1190799.18
49 | 2608834.6068 | 1190673.017
50 | 2608827.2262 | 1190701.7748
51 | 2608914.1009 | 1190703.6224
52 | 2608922.0396 | 1190712.4887
53 | 2608946.5539 | 1190767.8651
54 | 2608892.9707 | 1190741.3497
55 | 2608889.1068 | 1190745.0898
56 | 2608897.1636 | 1190737.1868
57 | 2608884.6542 | 1190749.3996
58 | 2608901.5997 | 1190732.7824
59 | 2608853.5163 | 1190778.8622
60 | 2608867.788 | 1190765.7249
61 | 2608872.4108 | 1190761.2503
62 | 2608866.3999 | 1190767.0685
63 | 2608876.6646 | 1190757.1329
64 | 2608858.2634 | 1190774.5167
65 | 2608880.6857 | 1190753.2408
66 | 2608881.0379 | 1190752.8999
67 | 2608843.559 | 1190664.142
68 | 2608821.2644 | 1190659.3195
69 | 2608839.6247 | 1190702.8787
70 | 2608905.8826 | 1190728.5301
71 | 2608909.9477 | 1190724.4941
72 | 2608911.241 | 1190723.21
73 | 2608863.6199 | 1190644.2571
74 | 2608873.0484 | 1190632.3633
75 | 2608861.446 | 1190646.4091
76 | 2608862.3361 | 1190616.4457
77 | 2608877.9735 | 1190625.4255
78 | 2608872.2082 | 1190655.4241
79 | 2608849.3704 | 1190658.3806
80 | 2608852.7795 | 1190603.1404
81 | 2608897.2425 | 1190598.2816
82 | 2608879.5683 | 1190661.6285
83 | 2608852.0183 | 1190602.691
84 | 2608897.5819 | 1190597.8035
85 | 2608887.4857 | 1190668.8906
86 | 2608838.5664 | 1190603.731
87 | 2608914.423 | 1190576.8551
88 | 2608912.5606 | 1190607.4094
89 | 2608917.9235 | 1190572.6426
90 | 2608928.4296 | 1190614.2578
91 | 2608929.5475 | 1190581.5694
92 | 2608920.9402 | 1190569.0056
93 | 2608928.9726 | 1190560.0054
94 | 2608946.6829 | 1190594.7288
95 | 2608932.8181 | 1190510.6081
96 | 2608896.1508 | 1190523.8961
97 | 2608855.5092 | 1190691.3128
98 | 2608985.1884 | 1190690.0151
99 | 2608982.6853 | 1190694.9002
100 | 2608974.9454 | 1190710.0057
101 | 2608922.0396 | 1190712.4887

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1