## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_616-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_616-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_616-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_616-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_616-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_616-6_0_4_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_616-6_0_4_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_616-6_0_4_node_81 | 0.4 | n |  | TRUE
8 | bus_LV_616-6_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_616-6_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_616-6_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_616-6_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_616-6_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_616-6_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_616-6_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_616-6_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_616-6_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_616-6_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_616-6_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_616-6_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_616-6_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_616-6_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_616-6_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_616-6_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_616-6_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_616-6_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_616-6_0_4_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_616-6_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_616-6_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_616-6_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_616-6_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_616-6_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_616-6_0_4_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_616-6_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_616-6_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_616-6_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_616-6_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_616-6_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_616-6_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_616-6_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_616-6_0_4_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_616-6_0_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_616-6_0_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_616-6_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_616-6_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_616-6_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_616-6_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_616-6_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_616-6_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_616-6_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_616-6_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_616-6_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_616-6_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_616-6_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_616-6_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_616-6_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_616-6_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_616-6_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_616-6_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_616-6_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_616-6_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_616-6_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_MV_98_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_616-6_0_4_load_0 | 0 | 0.0072543 | 0.0018181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_616-6_0_4_load_3 | 3 | 0.003552 | 0.00089022 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_616-6_0_4_load_79 | 6 | 0.040545 | 0.010161 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_616-6_0_4_load_81 | 7 | 0.031634 | 0.0079283 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_616-6_0_4_load_20 | 8 | 0.0011985 | 0.00030038 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_616-6_0_4_load_23 | 10 | 0.00040207 | 0.00010077 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_616-6_0_4_load_29 | 12 | 0.00026483 | 6.6373e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_616-6_0_4_load_25 | 13 | 0.00032557 | 8.1596e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_616-6_0_4_load_26 | 14 | 0.00023439 | 5.8743e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_616-6_0_4_load_28 | 15 | 0.00043759 | 0.00010967 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_616-6_0_4_load_30 | 16 | 0.0074381 | 0.0018642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_616-6_0_4_load_31 | 18 | 0.0031614 | 0.00079233 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_616-6_0_4_load_47 | 19 | 0.00031901 | 7.9952e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_616-6_0_4_load_39 | 21 | 0.0012026 | 0.00030141 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_616-6_0_4_load_35 | 22 | 0.00046263 | 0.00011595 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_616-6_0_4_load_32 | 23 | 0.0028134 | 0.00070509 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_616-6_0_4_load_33 | 24 | 0.001891 | 0.00047393 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_616-6_0_4_load_34 | 25 | 0.0025827 | 0.00064729 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_616-6_0_4_load_70 | 26 | 0.0025211 | 0.00063185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_616-6_0_4_load_36 | 28 | 0.0055846 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_616-6_0_4_load_38 | 29 | 0.0012833 | 0.00032163 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_616-6_0_4_load_45 | 30 | 0.0018181 | 0.00045565 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_616-6_0_4_load_61 | 32 | 0.0015965 | 0.00040011 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_616-6_0_4_load_58 | 33 | 0.0012349 | 0.0003095 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_616-6_0_4_load_40 | 34 | 0.039724 | 0.0099558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_616-6_0_4_load_44 | 38 | 0.032333 | 0.0081034 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_616-6_0_4_load_66 | 39 | 0.0027753 | 0.00069555 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_616-6_0_4_load_82 | 40 | 0.037055 | 0.009287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_616-6_0_4_load_67 | 41 | 0.0026221 | 0.00065715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_616-6_0_4_load_71 | 42 | 0.0034079 | 0.00085409 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_616-6_0_4_load_46 | 43 | 0.0058067 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_616-6_0_4_load_49 | 44 | 0.010282 | 0.002577 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_616-6_0_4_load_51 | 46 | 0.0055838 | 0.0013994 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_616-6_0_4_load_52 | 47 | 0.005511 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_616-6_0_4_load_60 | 49 | 0.0040182 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_616-6_0_4_load_57 | 50 | 0.0048941 | 0.0012266 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_616-6_0_4_load_54 | 51 | 0.0019909 | 0.00049896 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_616-6_0_4_load_55 | 52 | 0.0016476 | 0.00041294 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_616-6_0_4_load_56 | 53 | 0.0017048 | 0.00042727 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_616-6_0_4_load_62 | 54 | 0.00088041 | 0.00022065 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_616-6_0_4_load_63 | 55 | 0.0076292 | 0.0019121 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_616-6_0_4_load_64 | 56 | 0.0034522 | 0.00086521 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_616-6_0_4_load_65 | 57 | 0.0040218 | 0.001008 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_616-6_0_4_load_72 | 59 | 0.0031395 | 0.00078682 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_616-6_0_4_load_73 | 60 | 0.0024586 | 0.00061619 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_616-6_0_4_load_74 | 61 | 0.003661 | 0.00091753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_616-6_0_4_line_0 |  | 0 | 1 | 0.026688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_616-6_0_4_line_1 |  | 0 | 2 | 0.051988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_616-6_0_4_line_2 |  | 1 | 3 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_616-6_0_4_line_3 |  | 2 | 4 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_616-6_0_4_line_4 |  | 4 | 5 | 0.009437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_616-6_0_4_line_5 |  | 4 | 6 | 0.02454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_616-6_0_4_line_6 |  | 5 | 7 | 0.01597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_616-6_0_4_line_7 |  | 7 | 40 | 0.0058899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_616-6_0_4_line_8 |  | 8 | 9 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_616-6_0_4_line_9 |  | 9 | 10 | 0.030994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_616-6_0_4_line_10 |  | 10 | 11 | 0.017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_616-6_0_4_line_11 |  | 11 | 12 | 0.037278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_616-6_0_4_line_12 |  | 11 | 13 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_616-6_0_4_line_13 |  | 12 | 17 | 0.013086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_616-6_0_4_line_14 |  | 13 | 14 | 0.035608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_616-6_0_4_line_15 |  | 14 | 15 | 0.0064081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_616-6_0_4_line_16 |  | 15 | 16 | 0.018083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_616-6_0_4_line_17 |  | 16 | 18 | 0.03443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_616-6_0_4_line_18 |  | 17 | 19 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_616-6_0_4_line_19 |  | 18 | 20 | 0.029138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_616-6_0_4_line_20 |  | 19 | 43 | 0.0068152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_616-6_0_4_line_21 |  | 20 | 21 | 0.013079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_616-6_0_4_line_22 |  | 20 | 22 | 0.0060929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_616-6_0_4_line_23 |  | 21 | 31 | 0.03019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_616-6_0_4_line_24 |  | 22 | 28 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_616-6_0_4_line_25 |  | 23 | 24 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_616-6_0_4_line_26 |  | 24 | 25 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_616-6_0_4_line_27 |  | 25 | 26 | 0.002202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_616-6_0_4_line_28 |  | 26 | 27 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_616-6_0_4_line_29 |  | 27 | 42 | 0.019173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_616-6_0_4_line_30 |  | 27 | 30 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_616-6_0_4_line_31 |  | 28 | 29 | 0.0041401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_616-6_0_4_line_32 |  | 29 | 30 | 0.031505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_616-6_0_4_line_33 |  | 31 | 32 | 0.0079963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_616-6_0_4_line_34 |  | 31 | 33 | 0.016642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_616-6_0_4_line_35 |  | 32 | 54 | 0.0082334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_616-6_0_4_line_36 |  | 33 | 50 | 0.033291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_616-6_0_4_line_37 |  | 34 | 35 | 0.084247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_616-6_0_4_line_38 |  | 34 | 36 | 0.0020628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_616-6_0_4_line_39 |  | 35 | 37 | 0.077465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_616-6_0_4_line_40 |  | 36 | 38 | 0.0038343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_616-6_0_4_line_41 |  | 37 | 39 | 0.053688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_616-6_0_4_line_42 |  | 38 | 40 | 0.0057929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_616-6_0_4_line_43 |  | 39 | 41 | 0.027117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_616-6_0_4_line_44 |  | 41 | 58 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_616-6_0_4_line_45 |  | 42 | 61 | 0.00047226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_616-6_0_4_line_46 |  | 44 | 45 | 0.0074218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_616-6_0_4_line_47 |  | 44 | 46 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_616-6_0_4_line_48 |  | 45 | 47 | 0.010479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_616-6_0_4_line_49 |  | 45 | 48 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_616-6_0_4_line_50 |  | 48 | 49 | 0.018589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_616-6_0_4_line_51 |  | 48 | 50 | 0.023471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_616-6_0_4_line_52 |  | 51 | 52 | 0.0083134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_616-6_0_4_line_53 |  | 52 | 53 | 0.008558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_616-6_0_4_line_54 |  | 53 | 54 | 0.010723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_616-6_0_4_line_55 |  | 55 | 56 | 0.0043569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_616-6_0_4_line_56 |  | 56 | 57 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_616-6_0_4_line_57 |  | 57 | 58 | 0.033467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_616-6_0_4_line_58 |  | 58 | 59 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_616-6_0_4_line_59 |  | 59 | 60 | 0.031236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_616-6_0_4_line_60 |  | 60 | 61 | 0.00070851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_616-6_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 62 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2609936.7789 | 1191151.5843 | 2609927.0493 | 1191171.0452 | 2609924.7792 | 1191175.4214
1 | 2609895.9424 | 1191218.3077 | 2609898.4736 | 1191213.5871 | 2609915.4623 | 1191193.3823 | 2609924.7792 | 1191175.4214
2 | 2609936.7789 | 1191151.5843 | 2609942.4892 | 1191136.7887
3 | 2609895.9424 | 1191218.3077 | 2609887.9664 | 1191233.1468
4 | 2609883.4395 | 1191241.4326 | 2609887.9664 | 1191233.1468
5 | 2609887.9664 | 1191233.1468 | 2609865.4691 | 1191223.3452
6 | 2609883.4395 | 1191241.4326 | 2609875.7781 | 1191255.4447
7 | 2609875.7781 | 1191255.4447 | 2609875.5022 | 1191255.9495 | 2609872.9212 | 1191260.5953
8 | 2609873.8452 | 1191080.8882 | 2609867.1809 | 1191068.958
9 | 2609873.8452 | 1191080.8882 | 2609866.0754 | 1191090.7695 | 2609857.0809 | 1191106.8488
10 | 2609848.9385 | 1191122.2691 | 2609855.3705 | 1191109.9065 | 2609857.0809 | 1191106.8488
11 | 2609848.9385 | 1191122.2691 | 2609821.8065 | 1191107.2725 | 2609816.2866 | 1191104.2825
12 | 2609848.9385 | 1191122.2691 | 2609845.5672 | 1191127.8666 | 2609836.5441 | 1191144.3494 | 2609836.1075 | 1191145.1073
13 | 2609804.3632 | 1191102.386 | 2609805.867 | 1191101.2323 | 2609810.6701 | 1191101.2401 | 2609816.2866 | 1191104.2825
14 | 2609818.6347 | 1191176.131 | 2609825.7791 | 1191163.0416 | 2609836.1075 | 1191145.1073
15 | 2609815.5546 | 1191181.7503 | 2609816.5036 | 1191180.0354 | 2609818.6347 | 1191176.131
16 | 2609815.5546 | 1191181.7503 | 2609806.799 | 1191197.572
17 | 2609806.799 | 1191197.572 | 2609804.3459 | 1191202.0049 | 2609791.8309 | 1191223.3958 | 2609789.5603 | 1191227.3736
18 | 2609804.3632 | 1191102.386 | 2609804.0273 | 1191102.6523 | 2609800.433 | 1191109.4722 | 2609796.7403 | 1191115.7917 | 2609792.1508 | 1191119.9071
19 | 2609775.0263 | 1191252.6283 | 2609782.5874 | 1191239.5893 | 2609789.5603 | 1191227.3736
20 | 2609787.4082 | 1191124.6131 | 2609787.7313 | 1191123.6257 | 2609791.5179 | 1191120.4746 | 2609792.1508 | 1191119.9071
21 | 2609775.0263 | 1191252.6283 | 2609762.834 | 1191247.8939
22 | 2609775.0263 | 1191252.6283 | 2609771.9601 | 1191257.8935
23 | 2609734.6913 | 1191236.9659 | 2609762.834 | 1191247.8939
24 | 2609771.9601 | 1191257.8935 | 2609771.3719 | 1191258.9034 | 2609762.9989 | 1191274.3424 | 2609762.8642 | 1191274.5815
25 | 2609778.4774 | 1191350.5741 | 2609782.8349 | 1191340.6205 | 2609781.6118 | 1191337.9727 | 2609777.3233 | 1191335.7201 | 2609774.6155 | 1191334.6055
26 | 2609756.4805 | 1191327.141 | 2609774.6155 | 1191334.6055
27 | 2609756.4805 | 1191327.141 | 2609754.4442 | 1191326.3029
28 | 2609736.4877 | 1191318.9118 | 2609754.4442 | 1191326.3029
29 | 2609736.4877 | 1191318.9118 | 2609733.4029 | 1191326.5775 | 2609728.829 | 1191336.4818
30 | 2609736.4877 | 1191318.9118 | 2609742.6576 | 1191308.0161 | 2609744.5102 | 1191305.1211
31 | 2609762.8642 | 1191274.5815 | 2609760.832 | 1191278.1885
32 | 2609744.5102 | 1191305.1211 | 2609754.1069 | 1191290.1252 | 2609760.832 | 1191278.1885
33 | 2609734.6913 | 1191236.9659 | 2609727.2886 | 1191233.9428
34 | 2609734.6913 | 1191236.9659 | 2609740.9086 | 1191221.5289
35 | 2609719.6662 | 1191230.8301 | 2609727.2886 | 1191233.9428
36 | 2609753.6541 | 1191190.7779 | 2609749.1661 | 1191201.026 | 2609740.9086 | 1191221.5289
37 | 2609827.3958 | 1191344.962 | 2609838.7482 | 1191321.1235 | 2609854.501 | 1191291.7894 | 2609864.9962 | 1191274.8533 | 2609867.2431 | 1191270.8138
38 | 2609868.2458 | 1191269.0111 | 2609867.2431 | 1191270.8138
39 | 2609800.0768 | 1191417.3444 | 2609807.2197 | 1191394.1216 | 2609815.7422 | 1191371.1901 | 2609816.4237 | 1191369.3569 | 2609827.3958 | 1191344.962
40 | 2609868.2458 | 1191269.0111 | 2609870.1079 | 1191265.6593
41 | 2609800.0768 | 1191417.3444 | 2609751.0169 | 1191395.538
42 | 2609872.9212 | 1191260.5953 | 2609870.1079 | 1191265.6593
43 | 2609751.0169 | 1191395.538 | 2609726.2374 | 1191384.5239
44 | 2609710.1603 | 1191377.3778 | 2609726.2374 | 1191384.5239
45 | 2609728.631 | 1191336.9105 | 2609728.829 | 1191336.4818
46 | 2609738.8498 | 1191159.3986 | 2609731.9546 | 1191156.6526
47 | 2609716.8815 | 1191152.3483 | 2609722.7562 | 1191154.4033 | 2609731.9546 | 1191156.6526
48 | 2609738.8498 | 1191159.3986 | 2609735.4106 | 1191169.2982
49 | 2609738.8498 | 1191159.3986 | 2609758.4229 | 1191167.201 | 2609759.6017 | 1191168.9927
50 | 2609772.3474 | 1191155.8065 | 2609770.9094 | 1191158.6612 | 2609767.3196 | 1191162.7242 | 2609763.2268 | 1191166.6974 | 2609759.6017 | 1191168.9927
51 | 2609759.6017 | 1191168.9927 | 2609760.5599 | 1191170.4617 | 2609760.4535 | 1191174.9528 | 2609758.0885 | 1191180.652 | 2609753.6541 | 1191190.7779
52 | 2609694.1203 | 1191220.3979 | 2609701.8168 | 1191223.5409
53 | 2609709.7395 | 1191226.7763 | 2609701.8168 | 1191223.5409
54 | 2609709.7395 | 1191226.7763 | 2609719.6662 | 1191230.8301
55 | 2609658.3884 | 1191365.1106 | 2609662.6426 | 1191366.0507
56 | 2609677.6998 | 1191369.3782 | 2609662.6426 | 1191366.0507
57 | 2609710.1603 | 1191377.3778 | 2609703.2342 | 1191375.021 | 2609677.6998 | 1191369.3782
58 | 2609710.1603 | 1191377.3778 | 2609715.2849 | 1191365.9337
59 | 2609715.2849 | 1191365.9337 | 2609716.3883 | 1191363.4694 | 2609725.9438 | 1191342.7295 | 2609728.334 | 1191337.5538
60 | 2609728.334 | 1191337.5538 | 2609728.631 | 1191336.9105

## bus_geodata
| x | y | coords
0 | 2609924.7792 | 1191175.4214
1 | 2609936.7789 | 1191151.5843
2 | 2609895.9424 | 1191218.3077
3 | 2609942.4892 | 1191136.7887
4 | 2609887.9664 | 1191233.1468
5 | 2609883.4395 | 1191241.4326
6 | 2609865.4691 | 1191223.3452
7 | 2609875.7781 | 1191255.4447
8 | 2609867.1809 | 1191068.958
9 | 2609873.8452 | 1191080.8882
10 | 2609857.0809 | 1191106.8488
11 | 2609848.9385 | 1191122.2691
12 | 2609816.2866 | 1191104.2825
13 | 2609836.1075 | 1191145.1073
14 | 2609818.6347 | 1191176.131
15 | 2609815.5546 | 1191181.7503
16 | 2609806.799 | 1191197.572
17 | 2609804.3632 | 1191102.386
18 | 2609789.5603 | 1191227.3736
19 | 2609792.1508 | 1191119.9071
20 | 2609775.0263 | 1191252.6283
21 | 2609762.834 | 1191247.8939
22 | 2609771.9601 | 1191257.8935
23 | 2609778.4774 | 1191350.5741
24 | 2609774.6155 | 1191334.6055
25 | 2609756.4805 | 1191327.141
26 | 2609754.4442 | 1191326.3029
27 | 2609736.4877 | 1191318.9118
28 | 2609762.8642 | 1191274.5815
29 | 2609760.832 | 1191278.1885
30 | 2609744.5102 | 1191305.1211
31 | 2609734.6913 | 1191236.9659
32 | 2609727.2886 | 1191233.9428
33 | 2609740.9086 | 1191221.5289
34 | 2609867.2431 | 1191270.8138
35 | 2609827.3958 | 1191344.962
36 | 2609868.2458 | 1191269.0111
37 | 2609800.0768 | 1191417.3444
38 | 2609870.1079 | 1191265.6593
39 | 2609751.0169 | 1191395.538
40 | 2609872.9212 | 1191260.5953
41 | 2609726.2374 | 1191384.5239
42 | 2609728.829 | 1191336.4818
43 | 2609787.4082 | 1191124.6131
44 | 2609731.9546 | 1191156.6526
45 | 2609738.8498 | 1191159.3986
46 | 2609716.8815 | 1191152.3483
47 | 2609735.4106 | 1191169.2982
48 | 2609759.6017 | 1191168.9927
49 | 2609772.3474 | 1191155.8065
50 | 2609753.6541 | 1191190.7779
51 | 2609694.1203 | 1191220.3979
52 | 2609701.8168 | 1191223.5409
53 | 2609709.7395 | 1191226.7763
54 | 2609719.6662 | 1191230.8301
55 | 2609658.3884 | 1191365.1106
56 | 2609662.6426 | 1191366.0507
57 | 2609677.6998 | 1191369.3782
58 | 2609710.1603 | 1191377.3778
59 | 2609715.2849 | 1191365.9337
60 | 2609728.334 | 1191337.5538
61 | 2609728.631 | 1191336.9105
62 | 2609785.2207 | 1191234.976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1