## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_62-23_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_62-23_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_62-23_0_6_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_62-23_0_6_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_62-23_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_62-23_0_6_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_62-23_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_62-23_0_6_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_62-23_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_62-23_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_62-23_0_6_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_62-23_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_62-23_0_6_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_62-23_0_6_node_104 | 0.4 | n |  | TRUE
14 | bus_LV_62-23_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_62-23_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_62-23_0_6_node_101 | 0.4 | n |  | TRUE
17 | bus_LV_62-23_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_62-23_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_62-23_0_6_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_62-23_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_62-23_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_62-23_0_6_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_62-23_0_6_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_62-23_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_62-23_0_6_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_62-23_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_62-23_0_6_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_62-23_0_6_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_62-23_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_62-23_0_6_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_62-23_0_6_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_62-23_0_6_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_62-23_0_6_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_62-23_0_6_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_62-23_0_6_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_62-23_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_62-23_0_6_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_62-23_0_6_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_62-23_0_6_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_62-23_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_62-23_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_62-23_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_62-23_0_6_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_62-23_0_6_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_62-23_0_6_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_62-23_0_6_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_62-23_0_6_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_62-23_0_6_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_62-23_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_62-23_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_62-23_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_62-23_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_62-23_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_62-23_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_62-23_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_62-23_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_62-23_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_62-23_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_62-23_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_62-23_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_62-23_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_62-23_0_6_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_62-23_0_6_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_62-23_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_62-23_0_6_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_62-23_0_6_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_62-23_0_6_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_62-23_0_6_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_62-23_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_62-23_0_6_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_62-23_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_62-23_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_62-23_0_6_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_62-23_0_6_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_62-23_0_6_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_62-23_0_6_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_62-23_0_6_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_62-23_0_6_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_62-23_0_6_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_62-23_0_6_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_62-23_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_62-23_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_62-23_0_6_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_62-23_0_6_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_62-23_0_6_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_62-23_0_6_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_62-23_0_6_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_62-23_0_6_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_62-23_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_62-23_0_6_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_62-23_0_6_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_62-23_0_6_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_62-23_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_62-23_0_6_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_62-23_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_62-23_0_6_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_62-23_0_6_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_62-23_0_6_node_105 | 0.4 | n |  | TRUE
99 | bus_MV_372_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_62-23_0_6_load_0 | 0 | 0.0064377 | 0.0016134 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_62-23_0_6_load_18 | 2 | 0.0051932 | 0.0013015 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_62-23_0_6_load_96 | 5 | 0.013959 | 0.0034984 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_62-23_0_6_load_27 | 7 | 0.011646 | 0.0029188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_62-23_0_6_load_86 | 10 | 0.001892 | 0.00047419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_62-23_0_6_load_104 | 13 | 0.0015246 | 0.00038211 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_62-23_0_6_load_101 | 16 | 0.0055857 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_62-23_0_6_load_100 | 19 | 0.0027382 | 0.00068627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_62-23_0_6_load_102 | 22 | 0.0096926 | 0.0024292 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_62-23_0_6_load_99 | 23 | 0.0012422 | 0.00031132 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_62-23_0_6_load_92 | 25 | 0.078982 | 0.019795 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_62-23_0_6_load_82 | 28 | 0.0015106 | 0.0003786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_62-23_0_6_load_23 | 29 | 0.0090895 | 0.002278 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_62-23_0_6_load_41 | 30 | 0.0059646 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_62-23_0_6_load_40 | 31 | 0.006127 | 0.0015356 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_62-23_0_6_load_85 | 32 | 0.0018921 | 0.0004742 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_62-23_0_6_load_62 | 33 | 0.0026706 | 0.00066931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_62-23_0_6_load_59 | 34 | 0.0025732 | 0.00064491 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_62-23_0_6_load_103 | 35 | 0.0020864 | 0.00052289 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_62-23_0_6_load_74 | 38 | 0.0042954 | 0.0010765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_62-23_0_6_load_75 | 39 | 0.0015118 | 0.00037888 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_62-23_0_6_load_36 | 40 | 0.0071532 | 0.0017928 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_62-23_0_6_load_33 | 41 | 0.0077428 | 0.0019405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_62-23_0_6_load_24 | 42 | 0.0059398 | 0.0014887 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_62-23_0_6_load_90 | 43 | 0.016076 | 0.0040289 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_62-23_0_6_load_93 | 45 | 0.0069726 | 0.0017475 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_62-23_0_6_load_91 | 46 | 0.0044777 | 0.0011222 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_62-23_0_6_load_64 | 48 | 0.003034 | 0.00076038 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_62-23_0_6_load_60 | 49 | 0.0015158 | 0.0003799 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_62-23_0_6_load_28 | 50 | 0.0038371 | 0.00096167 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_62-23_0_6_load_29 | 51 | 0.0023233 | 0.00058228 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_62-23_0_6_load_31 | 53 | 0.0045888 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_62-23_0_6_load_32 | 54 | 0.0042411 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_62-23_0_6_load_34 | 55 | 0.0024335 | 0.00060988 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_62-23_0_6_load_35 | 56 | 0.0041026 | 0.0010282 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_62-23_0_6_load_39 | 57 | 0.0062252 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_62-23_0_6_load_37 | 58 | 0.0016247 | 0.00040718 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_62-23_0_6_load_38 | 59 | 0.0024691 | 0.00061883 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_62-23_0_6_load_49 | 60 | 0.0019005 | 0.00047631 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_62-23_0_6_load_50 | 61 | 0.0023203 | 0.00058153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_62-23_0_6_load_42 | 62 | 0.0015152 | 0.00037976 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_62-23_0_6_load_43 | 63 | 0.0014589 | 0.00036563 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_62-23_0_6_load_44 | 64 | 0.0012603 | 0.00031585 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_62-23_0_6_load_45 | 65 | 0.0015878 | 0.00039795 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_62-23_0_6_load_46 | 66 | 0.001949 | 0.00048847 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_62-23_0_6_load_47 | 67 | 0.0018812 | 0.00047148 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_62-23_0_6_load_48 | 68 | 0.0019971 | 0.00050051 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_62-23_0_6_load_70 | 69 | 0.0011335 | 0.00028407 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_62-23_0_6_load_69 | 70 | 0.0025592 | 0.00064141 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_62-23_0_6_load_71 | 71 | 0.001826 | 0.00045763 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_62-23_0_6_load_68 | 72 | 0.0065738 | 0.0016475 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_62-23_0_6_load_51 | 73 | 0.0026689 | 0.00066888 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_62-23_0_6_load_54 | 74 | 0.0029789 | 0.00074659 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_62-23_0_6_load_55 | 75 | 0.0020058 | 0.00050271 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_62-23_0_6_load_58 | 76 | 0.0019929 | 0.00049946 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_62-23_0_6_load_76 | 77 | 0.0013463 | 0.0003374 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_62-23_0_6_load_56 | 78 | 0.0013478 | 0.00033778 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_62-23_0_6_load_57 | 79 | 0.0018086 | 0.00045327 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_62-23_0_6_load_61 | 80 | 0.004459 | 0.0011175 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_62-23_0_6_load_63 | 81 | 0.0048586 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_62-23_0_6_load_65 | 82 | 0.0022223 | 0.00055697 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_62-23_0_6_load_66 | 83 | 0.003382 | 0.00084762 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_62-23_0_6_load_67 | 84 | 0.0034861 | 0.00087369 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_62-23_0_6_load_72 | 85 | 0.0012621 | 0.00031631 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_62-23_0_6_load_73 | 86 | 0.0018523 | 0.00046422 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_62-23_0_6_load_79 | 87 | 0.0011522 | 0.00028876 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_62-23_0_6_load_80 | 88 | 0.0013935 | 0.00034925 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_62-23_0_6_load_77 | 89 | 0.0013934 | 0.00034921 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_62-23_0_6_load_81 | 90 | 0.0013461 | 0.00033737 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_62-23_0_6_load_97 | 91 | 0.0046983 | 0.0011775 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_62-23_0_6_load_87 | 92 | 0.0038953 | 0.00097626 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_62-23_0_6_load_88 | 93 | 0.001728 | 0.00043307 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_62-23_0_6_load_89 | 94 | 0.0032412 | 0.00081233 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_62-23_0_6_load_94 | 95 | 0.0051489 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_62-23_0_6_load_95 | 96 | 0.005146 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_62-23_0_6_load_98 | 97 | 0.0051195 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_62-23_0_6_load_105 | 98 | 0.0023233 | 0.00058227 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_62-23_0_6_line_0 |  | 0 | 1 | 0.033219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_62-23_0_6_line_1 |  | 1 | 2 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_62-23_0_6_line_2 |  | 1 | 3 | 0.092853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_62-23_0_6_line_3 |  | 2 | 24 | 0.030369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_62-23_0_6_line_4 |  | 3 | 25 | 0.02788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_62-23_0_6_line_5 |  | 3 | 4 | 0.051249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_62-23_0_6_line_6 |  | 4 | 5 | 0.12382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_62-23_0_6_line_7 |  | 6 | 7 | 0.033455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_62-23_0_6_line_8 |  | 6 | 8 | 0.25013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_62-23_0_6_line_9 |  | 6 | 9 | 0.00761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_62-23_0_6_line_10 |  | 8 | 10 | 0.022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_62-23_0_6_line_11 |  | 9 | 29 | 0.023517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_62-23_0_6_line_12 |  | 9 | 11 | 0.069418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_62-23_0_6_line_13 |  | 10 | 32 | 0.021859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_62-23_0_6_line_14 |  | 11 | 12 | 0.024715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_62-23_0_6_line_15 |  | 11 | 13 | 0.012858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_62-23_0_6_line_16 |  | 12 | 33 | 0.046059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_62-23_0_6_line_17 |  | 12 | 34 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_62-23_0_6_line_18 |  | 13 | 35 | 0.0038469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_62-23_0_6_line_19 |  | 14 | 15 | 0.10667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_62-23_0_6_line_20 |  | 14 | 16 | 0.024473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_62-23_0_6_line_21 |  | 15 | 22 | 0.030891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_62-23_0_6_line_22 |  | 17 | 18 | 0.13246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_62-23_0_6_line_23 |  | 17 | 19 | 0.066101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_62-23_0_6_line_24 |  | 18 | 22 | 0.044668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_62-23_0_6_line_25 |  | 19 | 20 | 0.051276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_62-23_0_6_line_26 |  | 20 | 21 | 0.34787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_62-23_0_6_line_27 |  | 21 | 23 | 0.18375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_62-23_0_6_line_28 |  | 23 | 27 | 0.053317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_62-23_0_6_line_29 |  | 24 | 29 | 0.032935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_62-23_0_6_line_30 |  | 24 | 42 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_62-23_0_6_line_31 |  | 25 | 43 | 0.053484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_62-23_0_6_line_32 |  | 26 | 27 | 0.12938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_62-23_0_6_line_33 |  | 26 | 28 | 0.077075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_62-23_0_6_line_34 |  | 28 | 47 | 0.021884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_62-23_0_6_line_35 |  | 30 | 31 | 0.032009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_62-23_0_6_line_36 |  | 31 | 57 | 0.017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_62-23_0_6_line_37 |  | 32 | 92 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_62-23_0_6_line_38 |  | 33 | 48 | 0.025555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_62-23_0_6_line_39 |  | 34 | 49 | 0.025788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_62-23_0_6_line_40 |  | 35 | 98 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_62-23_0_6_line_41 |  | 36 | 37 | 0.004293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_62-23_0_6_line_42 |  | 36 | 38 | 0.029382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_62-23_0_6_line_43 |  | 37 | 39 | 0.034244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_62-23_0_6_line_44 |  | 38 | 76 | 0.0043662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_62-23_0_6_line_45 |  | 39 | 77 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_62-23_0_6_line_46 |  | 40 | 41 | 0.010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_62-23_0_6_line_47 |  | 41 | 52 | 0.027175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_62-23_0_6_line_48 |  | 43 | 46 | 0.036583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_62-23_0_6_line_49 |  | 44 | 45 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_62-23_0_6_line_50 |  | 44 | 46 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_62-23_0_6_line_51 |  | 45 | 91 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_62-23_0_6_line_52 |  | 47 | 90 | 0.030485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_62-23_0_6_line_53 |  | 47 | 89 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_62-23_0_6_line_54 |  | 48 | 82 | 0.029791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_62-23_0_6_line_55 |  | 49 | 80 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_62-23_0_6_line_56 |  | 50 | 51 | 0.025085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_62-23_0_6_line_57 |  | 50 | 52 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_62-23_0_6_line_58 |  | 51 | 53 | 0.00049065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_62-23_0_6_line_59 |  | 52 | 54 | 0.0099501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_62-23_0_6_line_60 |  | 53 | 55 | 0.022776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_62-23_0_6_line_61 |  | 54 | 56 | 0.0086527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_62-23_0_6_line_62 |  | 55 | 57 | 0.014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_62-23_0_6_line_63 |  | 56 | 58 | 0.026278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_62-23_0_6_line_64 |  | 58 | 59 | 0.0077951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_62-23_0_6_line_65 |  | 59 | 60 | 0.00831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_62-23_0_6_line_66 |  | 60 | 61 | 0.020203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_62-23_0_6_line_67 |  | 61 | 73 | 0.0025978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_62-23_0_6_line_68 |  | 62 | 63 | 0.0041026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_62-23_0_6_line_69 |  | 62 | 64 | 0.011416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_62-23_0_6_line_70 |  | 63 | 65 | 0.01575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_62-23_0_6_line_71 |  | 64 | 66 | 0.0042534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_62-23_0_6_line_72 |  | 65 | 67 | 0.0094653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_62-23_0_6_line_73 |  | 66 | 68 | 0.0090295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_62-23_0_6_line_74 |  | 67 | 69 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_62-23_0_6_line_75 |  | 68 | 70 | 0.0049071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_62-23_0_6_line_76 |  | 69 | 71 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_62-23_0_6_line_77 |  | 70 | 72 | 0.016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_62-23_0_6_line_78 |  | 71 | 85 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_62-23_0_6_line_79 |  | 72 | 84 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_62-23_0_6_line_80 |  | 73 | 74 | 0.018941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_62-23_0_6_line_81 |  | 74 | 75 | 0.0066643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_62-23_0_6_line_82 |  | 75 | 78 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_62-23_0_6_line_83 |  | 76 | 79 | 0.020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_62-23_0_6_line_84 |  | 77 | 89 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_62-23_0_6_line_85 |  | 78 | 79 | 0.0036739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_62-23_0_6_line_86 |  | 80 | 81 | 0.033924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_62-23_0_6_line_87 |  | 82 | 83 | 0.035426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_62-23_0_6_line_88 |  | 83 | 84 | 0.0075571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_62-23_0_6_line_89 |  | 85 | 86 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_62-23_0_6_line_90 |  | 86 | 87 | 0.0039703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_62-23_0_6_line_91 |  | 87 | 88 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_62-23_0_6_line_92 |  | 88 | 90 | 0.0019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_62-23_0_6_line_93 |  | 91 | 97 | 0.027247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_62-23_0_6_line_94 |  | 92 | 93 | 0.020069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_62-23_0_6_line_95 |  | 93 | 94 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_62-23_0_6_line_96 |  | 94 | 95 | 0.0024707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_62-23_0_6_line_97 |  | 95 | 96 | 0.014182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_62-23_0_6_trafo_92 | 0.63 MVA 20/0.4 kV | 99 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2686438.6447 | 1257556.9029 | 2686432.6422 | 1257569.2915 | 2686441.1284 | 1257574.7752 | 2686450.092 | 1257577.4334
1 | 2686438.6447 | 1257556.9029 | 2686426.4079 | 1257551.224
2 | 2686519.3563 | 1257525.8022 | 2686490.0029 | 1257538.4831 | 2686483.7314 | 1257539.8592 | 2686475.0335 | 1257535.9625 | 2686466.3735 | 1257549.591 | 2686455.8387 | 1257551.1606 | 2686438.6447 | 1257556.9029
3 | 2686398.2546 | 1257539.9669 | 2686412.0251 | 1257544.5492 | 2686426.4079 | 1257551.224
4 | 2686519.3563 | 1257525.8022 | 2686544.5233 | 1257513.8068
5 | 2686519.3563 | 1257525.8022 | 2686524.9698 | 1257538.9944 | 2686537.6058 | 1257573.6948
6 | 2686537.6058 | 1257573.6948 | 2686564.6153 | 1257582.0517 | 2686576.424 | 1257582.0577 | 2686596.6851 | 1257578.518 | 2686632.4729 | 1257570.8467 | 2686658.3435 | 1257564.7984
7 | 2686348.6603 | 1257551.2187 | 2686338.9636 | 1257550.132 | 2686315.8864 | 1257544.7455
8 | 2686348.6603 | 1257551.2187 | 2686355.0892 | 1257554.0369 | 2686364.4827 | 1257561.9467 | 2686363.0684 | 1257567.3969 | 2686361.311 | 1257574.1432 | 2686359.7797 | 1257579.8586 | 2686365.8604 | 1257579.1467 | 2686400.3996 | 1257585.6891 | 2686400.3739 | 1257588.4798 | 2686402.9832 | 1257598.7925 | 2686405.3445 | 1257605.4321 | 2686415.835 | 1257625.4785 | 2686430.1604 | 1257641.6112 | 2686435.4997 | 1257658.0908 | 2686437.4533 | 1257673.0197 | 2686437.2162 | 1257682.5347 | 2686437.385 | 1257695.7585 | 2686446.5709 | 1257693.0795 | 2686454.297 | 1257691.7357 | 2686460.3048 | 1257694.4589 | 2686463.8059 | 1257701.0151 | 2686461.2417 | 1257720.6484
9 | 2686349.4043 | 1257543.6459 | 2686348.6603 | 1257551.2187
10 | 2686461.2417 | 1257720.6484 | 2686472.6774 | 1257720.3596 | 2686483.8302 | 1257719.1912
11 | 2686349.4043 | 1257543.6459 | 2686372.754 | 1257546.4491
12 | 2686323.559 | 1257494.7535 | 2686333.8411 | 1257489.3214 | 2686348.7796 | 1257520.8303 | 2686350.1748 | 1257535.8067 | 2686349.4043 | 1257543.6459
13 | 2686502.2522 | 1257708.5237 | 2686488.8844 | 1257718.6617 | 2686483.8302 | 1257719.1912
14 | 2686323.559 | 1257494.7535 | 2686333.8411 | 1257489.3214 | 2686343.8428 | 1257480.883
15 | 2686323.559 | 1257494.7535 | 2686318.9726 | 1257482.7415
16 | 2686343.8428 | 1257480.883 | 2686372.7567 | 1257456.4636 | 2686378.962 | 1257451.0835
17 | 2686343.8428 | 1257480.883 | 2686335.5956 | 1257465.2956
18 | 2686317.6004 | 1257479.1476 | 2686318.9726 | 1257482.7415
19 | 2687238.7741 | 1257911.0024 | 2687221.013 | 1257904.5913 | 2687233.2743 | 1257879.4969 | 2687245.9746 | 1257857.3558 | 2687247.6784 | 1257853.8003 | 2687257.1306 | 1257834.1021 | 2687259.5738 | 1257825.9207
20 | 2687238.7741 | 1257911.0024 | 2687231.4999 | 1257934.3689
21 | 2687259.5738 | 1257825.9207 | 2687274.249 | 1257798.7381
22 | 2687294.2166 | 1257760.3917 | 2687252.8056 | 1257731.1252 | 2687194.5996 | 1257688.668 | 2687195.9251 | 1257679.0579
23 | 2687195.9251 | 1257679.0579 | 2687153.2304 | 1257628.5951
24 | 2687294.2166 | 1257760.3917 | 2687273.2882 | 1257792.3079 | 2687274.249 | 1257798.7381
25 | 2687120.1112 | 1257589.4501 | 2687153.2304 | 1257628.5951
26 | 2686967.348 | 1257291.5513 | 2687014.442 | 1257462.3198 | 2687025.2621 | 1257483.4174 | 2687060.0594 | 1257528.2748 | 2687112.8373 | 1257591.8115 | 2687120.1112 | 1257589.4501
27 | 2686967.348 | 1257291.5513 | 2686897.2698 | 1257303.2425 | 2686884.2583 | 1257308.0664 | 2686831.3811 | 1257341.8946 | 2686820.6732 | 1257345.4625 | 2686806.6769 | 1257345.4684 | 2686795.9959 | 1257344.0442
28 | 2686743.1468 | 1257336.9974 | 2686795.9959 | 1257344.0442
29 | 2686398.2546 | 1257539.9669 | 2686391.3484 | 1257538.3426 | 2686387.9984 | 1257548.2792 | 2686372.754 | 1257546.4491
30 | 2686398.2546 | 1257539.9669 | 2686400.9566 | 1257527.9303
31 | 2686592.8038 | 1257490.7947 | 2686544.5233 | 1257513.8068
32 | 2686615.9903 | 1257331.754 | 2686628.998 | 1257328.1971 | 2686668.1213 | 1257330.249 | 2686707.1191 | 1257326.4615 | 2686732.0411 | 1257333.7544 | 2686743.1468 | 1257336.9974
33 | 2686615.9903 | 1257331.754 | 2686613.4761 | 1257324.2336 | 2686609.3801 | 1257291.8598 | 2686606.338 | 1257283.3087 | 2686591.649 | 1257260.1343
34 | 2686580.627 | 1257241.278 | 2686582.8541 | 1257246.2588 | 2686591.649 | 1257260.1343
35 | 2686295.7639 | 1257373.9058 | 2686319.5961 | 1257352.537
36 | 2686319.5961 | 1257352.537 | 2686332.636 | 1257340.8448
37 | 2686502.2522 | 1257708.5237 | 2686513.0943 | 1257700.3012 | 2686514.3006 | 1257699.6112
38 | 2686398.2705 | 1257434.3426 | 2686378.962 | 1257451.0835
39 | 2686335.5956 | 1257465.2956 | 2686323.5353 | 1257442.5013
40 | 2686311.1605 | 1257462.281 | 2686317.6004 | 1257479.1476
41 | 2686534.6935 | 1257169.6066 | 2686537.8879 | 1257166.7289
42 | 2686534.6935 | 1257169.6066 | 2686534.7877 | 1257171.4205 | 2686513.9665 | 1257189.4851
43 | 2686537.8879 | 1257166.7289 | 2686541.0448 | 1257170.022 | 2686554.7746 | 1257189.8047 | 2686557.5622 | 1257194.6635
44 | 2686513.9665 | 1257189.4851 | 2686510.6686 | 1257192.3464
45 | 2686557.5622 | 1257194.6635 | 2686566.4965 | 1257210.2362 | 2686567.9133 | 1257212.9855
46 | 2686367.8963 | 1257256.3159 | 2686375.0642 | 1257264.2418
47 | 2686393.2922 | 1257284.397 | 2686375.0642 | 1257264.2418
48 | 2686592.8038 | 1257490.7947 | 2686625.8277 | 1257475.0544
49 | 2686647.7207 | 1257471.9711 | 2686652.8073 | 1257474.2696 | 2686658.7443 | 1257478.7488 | 2686663.6926 | 1257480.1943
50 | 2686647.7207 | 1257471.9711 | 2686638.8994 | 1257471.3527 | 2686630.6061 | 1257472.7769 | 2686625.8277 | 1257475.0544
51 | 2686675.3512 | 1257476.904 | 2686665.7575 | 1257480.7975 | 2686663.6926 | 1257480.1943
52 | 2686580.627 | 1257241.278 | 2686557.0372 | 1257260.5883
53 | 2686580.627 | 1257241.278 | 2686580.1579 | 1257236.7454 | 2686576.6686 | 1257229.9746
54 | 2686398.2705 | 1257434.3426 | 2686415.413 | 1257419.4797 | 2686418.6303 | 1257413.1475
55 | 2686340.8055 | 1257426.6947 | 2686323.2509 | 1257441.9638 | 2686323.5353 | 1257442.5013
56 | 2686360.7068 | 1257315.6753 | 2686369.6352 | 1257307.6698 | 2686378.9689 | 1257298.4876
57 | 2686393.2922 | 1257284.397 | 2686378.9689 | 1257298.4876
58 | 2686360.7068 | 1257315.6753 | 2686360.3415 | 1257316.0029
59 | 2686393.2922 | 1257284.397 | 2686400.4176 | 1257277.452
60 | 2686360.3415 | 1257316.0029 | 2686343.3837 | 1257331.208
61 | 2686406.6139 | 1257271.4126 | 2686400.4176 | 1257277.452
62 | 2686343.3837 | 1257331.208 | 2686332.636 | 1257340.8448
63 | 2686406.6139 | 1257271.4126 | 2686425.432 | 1257253.0712
64 | 2686425.432 | 1257253.0712 | 2686426.9678 | 1257251.5742 | 2686431.5936 | 1257248.3293
65 | 2686438.3967 | 1257243.5571 | 2686431.5936 | 1257248.3293
66 | 2686438.3967 | 1257243.5571 | 2686438.3967 | 1257243.5571 | 2686456.9663 | 1257235.6
67 | 2686459.3541 | 1257234.5768 | 2686456.9663 | 1257235.6
68 | 2686478.2343 | 1257325.0958 | 2686475.0597 | 1257327.6945
69 | 2686466.2257 | 1257334.926 | 2686475.0597 | 1257327.6945
70 | 2686478.2343 | 1257325.0958 | 2686490.4215 | 1257315.1195
71 | 2686462.9344 | 1257337.6203 | 2686466.2257 | 1257334.926
72 | 2686497.7458 | 1257309.1239 | 2686490.4215 | 1257315.1195
73 | 2686462.9344 | 1257337.6203 | 2686455.9474 | 1257343.3398
74 | 2686507.8056 | 1257300.889 | 2686497.7458 | 1257309.1239
75 | 2686452.1502 | 1257346.4481 | 2686455.9474 | 1257343.3398
76 | 2686507.8056 | 1257300.889 | 2686517.3676 | 1257293.0616
77 | 2686439.0976 | 1257357.1329 | 2686439.0976 | 1257357.1329 | 2686452.1502 | 1257346.4481
78 | 2686525.3084 | 1257286.5613 | 2686517.3676 | 1257293.0616
79 | 2686429.9676 | 1257371.9555 | 2686429.9676 | 1257371.9555 | 2686439.0976 | 1257357.1329
80 | 2686459.3541 | 1257234.5768 | 2686464.5702 | 1257232.3417 | 2686474.5906 | 1257223.648
81 | 2686479.6244 | 1257219.2806 | 2686474.5906 | 1257223.648
82 | 2686479.6244 | 1257219.2806 | 2686492.1769 | 1257208.3899
83 | 2686494.952 | 1257205.9823 | 2686510.6686 | 1257192.3464
84 | 2686576.6686 | 1257229.9746 | 2686567.9133 | 1257212.9855
85 | 2686494.952 | 1257205.9823 | 2686492.1769 | 1257208.3899
86 | 2686364.0996 | 1257402.2288 | 2686353.2756 | 1257415.8481 | 2686340.8055 | 1257426.6947
87 | 2686428.4013 | 1257379.3485 | 2686423.1073 | 1257404.3359 | 2686418.6303 | 1257413.1475
88 | 2686428.4013 | 1257379.3485 | 2686429.9676 | 1257371.9555
89 | 2686525.3084 | 1257286.5613 | 2686540.0096 | 1257274.5271
90 | 2686543.0817 | 1257272.0122 | 2686540.0096 | 1257274.5271
91 | 2686543.0817 | 1257272.0122 | 2686555.5195 | 1257261.8307
92 | 2686555.5195 | 1257261.8307 | 2686557.0372 | 1257260.5883
93 | 2686675.3512 | 1257476.904 | 2686700.5985 | 1257466.6576
94 | 2686531.721 | 1257689.6467 | 2686514.3006 | 1257699.6112
95 | 2686531.721 | 1257689.6467 | 2686533.9831 | 1257688.3528 | 2686547.175 | 1257687.4039
96 | 2686549.6393 | 1257687.2266 | 2686547.175 | 1257687.4039
97 | 2686563.7849 | 1257686.2091 | 2686549.6393 | 1257687.2266

## bus_geodata
| x | y | coords
0 | 2686450.092 | 1257577.4334
1 | 2686438.6447 | 1257556.9029
2 | 2686426.4079 | 1257551.224
3 | 2686519.3563 | 1257525.8022
4 | 2686537.6058 | 1257573.6948
5 | 2686658.3435 | 1257564.7984
6 | 2686348.6603 | 1257551.2187
7 | 2686315.8864 | 1257544.7455
8 | 2686461.2417 | 1257720.6484
9 | 2686349.4043 | 1257543.6459
10 | 2686483.8302 | 1257719.1912
11 | 2686323.559 | 1257494.7535
12 | 2686343.8428 | 1257480.883
13 | 2686318.9726 | 1257482.7415
14 | 2687238.7741 | 1257911.0024
15 | 2687259.5738 | 1257825.9207
16 | 2687231.4999 | 1257934.3689
17 | 2687195.9251 | 1257679.0579
18 | 2687294.2166 | 1257760.3917
19 | 2687153.2304 | 1257628.5951
20 | 2687120.1112 | 1257589.4501
21 | 2686967.348 | 1257291.5513
22 | 2687274.249 | 1257798.7381
23 | 2686795.9959 | 1257344.0442
24 | 2686398.2546 | 1257539.9669
25 | 2686544.5233 | 1257513.8068
26 | 2686615.9903 | 1257331.754
27 | 2686743.1468 | 1257336.9974
28 | 2686591.649 | 1257260.1343
29 | 2686372.754 | 1257546.4491
30 | 2686295.7639 | 1257373.9058
31 | 2686319.5961 | 1257352.537
32 | 2686502.2522 | 1257708.5237
33 | 2686378.962 | 1257451.0835
34 | 2686335.5956 | 1257465.2956
35 | 2686317.6004 | 1257479.1476
36 | 2686534.6935 | 1257169.6066
37 | 2686537.8879 | 1257166.7289
38 | 2686513.9665 | 1257189.4851
39 | 2686557.5622 | 1257194.6635
40 | 2686367.8963 | 1257256.3159
41 | 2686375.0642 | 1257264.2418
42 | 2686400.9566 | 1257527.9303
43 | 2686592.8038 | 1257490.7947
44 | 2686647.7207 | 1257471.9711
45 | 2686663.6926 | 1257480.1943
46 | 2686625.8277 | 1257475.0544
47 | 2686580.627 | 1257241.278
48 | 2686398.2705 | 1257434.3426
49 | 2686323.5353 | 1257442.5013
50 | 2686378.9689 | 1257298.4876
51 | 2686360.7068 | 1257315.6753
52 | 2686393.2922 | 1257284.397
53 | 2686360.3415 | 1257316.0029
54 | 2686400.4176 | 1257277.452
55 | 2686343.3837 | 1257331.208
56 | 2686406.6139 | 1257271.4126
57 | 2686332.636 | 1257340.8448
58 | 2686425.432 | 1257253.0712
59 | 2686431.5936 | 1257248.3293
60 | 2686438.3967 | 1257243.5571
61 | 2686456.9663 | 1257235.6
62 | 2686475.0597 | 1257327.6945
63 | 2686478.2343 | 1257325.0958
64 | 2686466.2257 | 1257334.926
65 | 2686490.4215 | 1257315.1195
66 | 2686462.9344 | 1257337.6203
67 | 2686497.7458 | 1257309.1239
68 | 2686455.9474 | 1257343.3398
69 | 2686507.8056 | 1257300.889
70 | 2686452.1502 | 1257346.4481
71 | 2686517.3676 | 1257293.0616
72 | 2686439.0976 | 1257357.1329
73 | 2686459.3541 | 1257234.5768
74 | 2686474.5906 | 1257223.648
75 | 2686479.6244 | 1257219.2806
76 | 2686510.6686 | 1257192.3464
77 | 2686567.9133 | 1257212.9855
78 | 2686492.1769 | 1257208.3899
79 | 2686494.952 | 1257205.9823
80 | 2686340.8055 | 1257426.6947
81 | 2686364.0996 | 1257402.2288
82 | 2686418.6303 | 1257413.1475
83 | 2686428.4013 | 1257379.3485
84 | 2686429.9676 | 1257371.9555
85 | 2686525.3084 | 1257286.5613
86 | 2686540.0096 | 1257274.5271
87 | 2686543.0817 | 1257272.0122
88 | 2686555.5195 | 1257261.8307
89 | 2686576.6686 | 1257229.9746
90 | 2686557.0372 | 1257260.5883
91 | 2686675.3512 | 1257476.904
92 | 2686514.3006 | 1257699.6112
93 | 2686531.721 | 1257689.6467
94 | 2686547.175 | 1257687.4039
95 | 2686549.6393 | 1257687.2266
96 | 2686563.7849 | 1257686.2091
97 | 2686700.5985 | 1257466.6576
98 | 2686311.1605 | 1257462.281
99 | 2686544.5233 | 1257513.8068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1