## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_62-40_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_62-40_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_62-40_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_62-40_0_5_node_48 | 0.4 | n |  | TRUE
4 | bus_LV_62-40_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_62-40_0_5_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_62-40_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_62-40_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_62-40_0_5_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_62-40_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_62-40_0_5_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_62-40_0_5_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_62-40_0_5_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_62-40_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_62-40_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_62-40_0_5_node_94 | 0.4 | n |  | TRUE
16 | bus_LV_62-40_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_62-40_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_62-40_0_5_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_62-40_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_62-40_0_5_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_62-40_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_62-40_0_5_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_62-40_0_5_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_62-40_0_5_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_62-40_0_5_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_62-40_0_5_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_62-40_0_5_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_62-40_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_62-40_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_62-40_0_5_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_62-40_0_5_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_62-40_0_5_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_62-40_0_5_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_62-40_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_62-40_0_5_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_62-40_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_62-40_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_62-40_0_5_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_62-40_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_62-40_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_62-40_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_62-40_0_5_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_62-40_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_62-40_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_62-40_0_5_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_62-40_0_5_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_62-40_0_5_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_62-40_0_5_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_62-40_0_5_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_62-40_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_62-40_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_62-40_0_5_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_62-40_0_5_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_62-40_0_5_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_62-40_0_5_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_62-40_0_5_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_62-40_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_62-40_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_62-40_0_5_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_62-40_0_5_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_62-40_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_62-40_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_62-40_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_62-40_0_5_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_62-40_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_62-40_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_62-40_0_5_node_101 | 0.4 | n |  | TRUE
68 | bus_LV_62-40_0_5_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_62-40_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_62-40_0_5_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_62-40_0_5_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_62-40_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_62-40_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_62-40_0_5_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_62-40_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_62-40_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_62-40_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_62-40_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_62-40_0_5_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_62-40_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_62-40_0_5_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_62-40_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_62-40_0_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_62-40_0_5_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_62-40_0_5_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_62-40_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_62-40_0_5_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_62-40_0_5_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_62-40_0_5_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_62-40_0_5_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_62-40_0_5_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_62-40_0_5_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_62-40_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_62-40_0_5_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_62-40_0_5_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_62-40_0_5_node_102 | 0.4 | n |  | TRUE
97 | bus_MV_640_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_62-40_0_5_load_0 | 0 | 0.0012196 | 0.00030567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_62-40_0_5_load_1 | 1 | 0.0011821 | 0.00029627 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_62-40_0_5_load_3 | 2 | 0.0015121 | 0.00037896 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_62-40_0_5_load_48 | 3 | 0.0012065 | 0.00030237 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_62-40_0_5_load_4 | 4 | 0.0015488 | 0.00038815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_62-40_0_5_load_49 | 8 | 0.0032847 | 0.00082321 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_62-40_0_5_load_37 | 10 | 0.0087045 | 0.0021815 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_62-40_0_5_load_59 | 11 | 0.0035568 | 0.00089141 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_62-40_0_5_load_57 | 12 | 0.0031032 | 0.00077773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_62-40_0_5_load_94 | 15 | 0.009177 | 0.0023 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_62-40_0_5_load_104 | 18 | 0.0028691 | 0.00071907 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_62-40_0_5_load_61 | 20 | 0.0047993 | 0.0012028 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_62-40_0_5_load_53 | 22 | 0.0076701 | 0.0019223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_62-40_0_5_load_93 | 23 | 0.0037028 | 0.00092802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_62-40_0_5_load_92 | 24 | 0.0084904 | 0.0021279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_62-40_0_5_load_103 | 25 | 0.0043845 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_62-40_0_5_load_99 | 26 | 0.0073036 | 0.0018305 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_62-40_0_5_load_26 | 27 | 0.0017739 | 0.00044458 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_62-40_0_5_load_22 | 28 | 0.0014964 | 0.00037503 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_62-40_0_5_load_18 | 29 | 0.0014968 | 0.00037513 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_62-40_0_5_load_100 | 31 | 0.0080563 | 0.0020191 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_62-40_0_5_load_97 | 33 | 0.0047437 | 0.0011889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_62-40_0_5_load_86 | 35 | 0.026532 | 0.0066496 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_62-40_0_5_load_81 | 38 | 0.0035572 | 0.00089153 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_62-40_0_5_load_36 | 39 | 0.012746 | 0.0031945 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_62-40_0_5_load_50 | 40 | 0.0035601 | 0.00089225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_62-40_0_5_load_55 | 42 | 0.0031032 | 0.00077773 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_62-40_0_5_load_46 | 43 | 0.0038692 | 0.0009697 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_62-40_0_5_load_44 | 44 | 0.0038548 | 0.0009661 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_62-40_0_5_load_60 | 45 | 0.0029753 | 0.00074568 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_62-40_0_5_load_52 | 46 | 0.0039499 | 0.00098994 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_62-40_0_5_load_98 | 47 | 0.0099264 | 0.0024878 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_62-40_0_5_load_19 | 48 | 0.0015498 | 0.00038842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_62-40_0_5_load_21 | 49 | 0.0015491 | 0.00038825 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_62-40_0_5_load_34 | 50 | 0.0014978 | 0.00037539 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_62-40_0_5_load_35 | 51 | 0.0014176 | 0.00035527 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_62-40_0_5_load_23 | 52 | 0.00094104 | 0.00023585 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_62-40_0_5_load_24 | 53 | 0.001338 | 0.00033533 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_62-40_0_5_load_27 | 55 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_62-40_0_5_load_28 | 56 | 0.0013917 | 0.00034879 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_62-40_0_5_load_42 | 57 | 0.0032401 | 0.00081204 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_62-40_0_5_load_33 | 58 | 0.0015183 | 0.00038052 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_62-40_0_5_load_29 | 59 | 0.0043121 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_62-40_0_5_load_30 | 60 | 0.0010639 | 0.00026665 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_62-40_0_5_load_31 | 61 | 0.00087802 | 0.00022005 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_62-40_0_5_load_58 | 62 | 0.0015499 | 0.00038845 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_62-40_0_5_load_56 | 63 | 0.00098628 | 0.00024718 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_62-40_0_5_load_64 | 64 | 0.0014972 | 0.00037524 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_62-40_0_5_load_54 | 65 | 0.001549 | 0.00038822 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_62-40_0_5_load_62 | 66 | 0.0016966 | 0.00042521 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_62-40_0_5_load_101 | 67 | 0.0088601 | 0.0022206 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_62-40_0_5_load_89 | 68 | 0.017371 | 0.0043537 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_62-40_0_5_load_82 | 70 | 0.0065159 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_62-40_0_5_load_43 | 71 | 0.0010599 | 0.00026565 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_62-40_0_5_load_45 | 72 | 0.0030379 | 0.00076138 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_62-40_0_5_load_47 | 73 | 0.0030381 | 0.00076142 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_62-40_0_5_load_79 | 74 | 0.010842 | 0.0027173 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_62-40_0_5_load_78 | 75 | 0.010609 | 0.0026588 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_62-40_0_5_load_63 | 76 | 0.0006865 | 0.00017205 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_62-40_0_5_load_65 | 77 | 0.020889 | 0.0052354 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_62-40_0_5_load_66 | 78 | 0.024117 | 0.0060443 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_62-40_0_5_load_68 | 79 | 0.0092586 | 0.0023204 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_62-40_0_5_load_85 | 83 | 0.015254 | 0.0038229 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_62-40_0_5_load_83 | 85 | 0.0099138 | 0.0024846 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_62-40_0_5_load_73 | 86 | 0.018402 | 0.004612 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_62-40_0_5_load_96 | 88 | 0.00083571 | 0.00020945 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_62-40_0_5_load_95 | 89 | 0.0056587 | 0.0014182 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_62-40_0_5_load_84 | 90 | 0.013589 | 0.0034058 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_62-40_0_5_load_72 | 91 | 0.035688 | 0.0089443 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_62-40_0_5_load_80 | 93 | 0.011455 | 0.002871 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_62-40_0_5_load_105 | 94 | 0.0077887 | 0.001952 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_62-40_0_5_load_91 | 95 | 0.0030021 | 0.0007524 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_62-40_0_5_load_102 | 96 | 0.0078772 | 0.0019742 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_62-40_0_5_line_0 |  | 0 | 1 | 0.00097029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_62-40_0_5_line_1 |  | 1 | 2 | 0.0098094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_62-40_0_5_line_2 |  | 2 | 3 | 0.0097196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_62-40_0_5_line_3 |  | 3 | 27 | 0.017936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_62-40_0_5_line_4 |  | 4 | 5 | 0.0048595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_62-40_0_5_line_5 |  | 5 | 28 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_62-40_0_5_line_6 |  | 5 | 29 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_62-40_0_5_line_7 |  | 6 | 7 | 0.016338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_62-40_0_5_line_8 |  | 6 | 8 | 0.011178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_62-40_0_5_line_9 |  | 7 | 12 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_62-40_0_5_line_10 |  | 8 | 40 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_62-40_0_5_line_11 |  | 9 | 10 | 0.028682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_62-40_0_5_line_12 |  | 9 | 11 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_62-40_0_5_line_13 |  | 10 | 39 | 0.038097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_62-40_0_5_line_14 |  | 11 | 41 | 0.046818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_62-40_0_5_line_15 |  | 12 | 42 | 0.018066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_62-40_0_5_line_16 |  | 13 | 14 | 0.0099276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_62-40_0_5_line_17 |  | 13 | 15 | 0.0078304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_62-40_0_5_line_18 |  | 14 | 25 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_62-40_0_5_line_19 |  | 14 | 19 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_62-40_0_5_line_20 |  | 16 | 17 | 0.031333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_62-40_0_5_line_21 |  | 16 | 18 | 0.0097871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_62-40_0_5_line_22 |  | 17 | 26 | 0.074135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_62-40_0_5_line_23 |  | 18 | 25 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_62-40_0_5_line_24 |  | 19 | 20 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_62-40_0_5_line_25 |  | 19 | 21 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_62-40_0_5_line_26 |  | 19 | 22 | 0.017908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_62-40_0_5_line_27 |  | 20 | 45 | 0.033298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_62-40_0_5_line_28 |  | 21 | 23 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_62-40_0_5_line_29 |  | 21 | 24 | 0.03436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_62-40_0_5_line_30 |  | 22 | 46 | 0.036861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_62-40_0_5_line_31 |  | 26 | 47 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_62-40_0_5_line_32 |  | 27 | 53 | 0.0053944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_62-40_0_5_line_33 |  | 29 | 48 | 0.0062609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_62-40_0_5_line_34 |  | 30 | 31 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_62-40_0_5_line_35 |  | 30 | 32 | 0.049855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_62-40_0_5_line_36 |  | 30 | 33 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_62-40_0_5_line_37 |  | 31 | 67 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_62-40_0_5_line_38 |  | 32 | 34 | 0.009871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_62-40_0_5_line_39 |  | 32 | 35 | 0.074518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_62-40_0_5_line_40 |  | 33 | 47 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_62-40_0_5_line_41 |  | 34 | 68 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_62-40_0_5_line_42 |  | 34 | 69 | 0.008233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_62-40_0_5_line_43 |  | 35 | 37 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_62-40_0_5_line_44 |  | 36 | 37 | 0.02582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_62-40_0_5_line_45 |  | 36 | 38 | 0.066878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_62-40_0_5_line_46 |  | 38 | 70 | 0.0082722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_62-40_0_5_line_47 |  | 41 | 62 | 0.018257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_62-40_0_5_line_48 |  | 41 | 63 | 0.015015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_62-40_0_5_line_49 |  | 41 | 60 | 0.0069809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_62-40_0_5_line_50 |  | 42 | 63 | 0.0057917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_62-40_0_5_line_51 |  | 43 | 44 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_62-40_0_5_line_52 |  | 44 | 71 | 0.010531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_62-40_0_5_line_53 |  | 45 | 55 | 0.0031317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_62-40_0_5_line_54 |  | 46 | 73 | 0.029603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_62-40_0_5_line_55 |  | 48 | 49 | 0.0054979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_62-40_0_5_line_56 |  | 49 | 50 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_62-40_0_5_line_57 |  | 50 | 51 | 0.0048488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_62-40_0_5_line_58 |  | 51 | 65 | 0.0069959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_62-40_0_5_line_59 |  | 52 | 53 | 0.0048568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_62-40_0_5_line_60 |  | 52 | 54 | 0.013122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_62-40_0_5_line_61 |  | 54 | 55 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_62-40_0_5_line_62 |  | 54 | 56 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_62-40_0_5_line_63 |  | 56 | 57 | 0.005474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_62-40_0_5_line_64 |  | 57 | 58 | 0.0082156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_62-40_0_5_line_65 |  | 58 | 61 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_62-40_0_5_line_66 |  | 59 | 60 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_62-40_0_5_line_67 |  | 59 | 61 | 0.0045416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_62-40_0_5_line_68 |  | 62 | 64 | 0.011865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_62-40_0_5_line_69 |  | 64 | 76 | 0.013771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_62-40_0_5_line_70 |  | 65 | 66 | 0.0047567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_62-40_0_5_line_71 |  | 66 | 76 | 0.0026143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_62-40_0_5_line_72 |  | 67 | 96 | 0.026607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_62-40_0_5_line_73 |  | 68 | 84 | 0.023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_62-40_0_5_line_74 |  | 69 | 77 | 0.014341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_62-40_0_5_line_75 |  | 71 | 72 | 0.01307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_62-40_0_5_line_76 |  | 72 | 73 | 0.017427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_62-40_0_5_line_77 |  | 74 | 75 | 0.033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_62-40_0_5_line_78 |  | 75 | 92 | 0.008169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_62-40_0_5_line_79 |  | 77 | 78 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_62-40_0_5_line_80 |  | 78 | 79 | 0.034517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_62-40_0_5_line_81 |  | 79 | 80 | 0.010724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_62-40_0_5_line_82 |  | 80 | 81 | 0.054051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_62-40_0_5_line_83 |  | 80 | 82 | 0.007694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_62-40_0_5_line_84 |  | 81 | 83 | 0.043737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_62-40_0_5_line_85 |  | 82 | 85 | 0.017703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_62-40_0_5_line_86 |  | 82 | 86 | 0.023632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_62-40_0_5_line_87 |  | 83 | 90 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_62-40_0_5_line_88 |  | 84 | 95 | 0.00080168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_62-40_0_5_line_89 |  | 85 | 93 | 0.011336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_62-40_0_5_line_90 |  | 86 | 91 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_62-40_0_5_line_91 |  | 87 | 88 | 0.011565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_62-40_0_5_line_92 |  | 87 | 89 | 0.023328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_62-40_0_5_line_93 |  | 88 | 94 | 0.027345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_62-40_0_5_line_94 |  | 89 | 95 | 0.012772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_62-40_0_5_line_95 |  | 92 | 93 | 0.027716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_62-40_0_5_trafo_38 | 0.63 MVA 20/0.4 kV | 97 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2686757.599 | 1255672.226 | 2686756.695 | 1255672.5784
1 | 2686747.5556 | 1255676.1414 | 2686756.695 | 1255672.5784
2 | 2686747.5556 | 1255676.1414 | 2686742.5624 | 1255678.088 | 2686738.6092 | 1255679.928
3 | 2686738.6092 | 1255679.928 | 2686728.5041 | 1255684.6316 | 2686722.8096 | 1255688.3295
4 | 2686785.3683 | 1255736.3376 | 2686790.0231 | 1255734.9423
5 | 2686785.3683 | 1255736.3376 | 2686789.9771 | 1255751.8927
6 | 2686785.3683 | 1255736.3376 | 2686767.2645 | 1255741.971
7 | 2686616.0501 | 1255787.6983 | 2686615.8426 | 1255790.5419 | 2686614.8688 | 1255803.9936
8 | 2686614.8688 | 1255803.9936 | 2686624.1271 | 1255810.2578
9 | 2686616.0501 | 1255787.6983 | 2686641.7371 | 1255779.788
10 | 2686632.0537 | 1255828.9043 | 2686632.1096 | 1255821.17 | 2686631.2633 | 1255815.0863 | 2686624.1271 | 1255810.2578
11 | 2686686.3821 | 1255833.4959 | 2686711.3232 | 1255829.1132 | 2686714.4905 | 1255827.9961
12 | 2686686.3821 | 1255833.4959 | 2686684.2383 | 1255814.8587
13 | 2686714.4905 | 1255827.9961 | 2686750.4181 | 1255815.3245
14 | 2686678.8882 | 1255768.3473 | 2686684.2383 | 1255814.8587
15 | 2686659.0028 | 1255774.471 | 2686641.7371 | 1255779.788
16 | 2686658.5155 | 1255634.8577 | 2686662.5499 | 1255638.5418 | 2686665.7786 | 1255641.6247
17 | 2686658.5155 | 1255634.8577 | 2686653.3854 | 1255640.7735
18 | 2686665.7786 | 1255641.6247 | 2686674.1614 | 1255632.3626
19 | 2686653.0118 | 1255656.2936 | 2686665.7786 | 1255641.6247
20 | 2686671.5217 | 1255607.4492 | 2686674.3964 | 1255604.3111 | 2686677.0784 | 1255601.4481 | 2686679.8797 | 1255602.8124 | 2686683.0329 | 1255603.3145 | 2686686.2701 | 1255602.7281 | 2686689.6923 | 1255600.8323 | 2686693.7496 | 1255604.5056 | 2686696.8467 | 1255607.2975
21 | 2686696.8467 | 1255607.2975 | 2686690.2792 | 1255614.554
22 | 2686671.5217 | 1255607.4492 | 2686664.8745 | 1255602.4036 | 2686655.6345 | 1255597.7315 | 2686646.3792 | 1255594.6159 | 2686634.4124 | 1255593.2842 | 2686620.0256 | 1255594.9417 | 2686607.9755 | 1255599.3022 | 2686602.6871 | 1255602.7853
23 | 2686674.1614 | 1255632.3626 | 2686690.2792 | 1255614.554
24 | 2686653.0118 | 1255656.2936 | 2686666.8253 | 1255668.7094
25 | 2686639.5099 | 1255656.7742 | 2686644.7898 | 1255658.8642 | 2686649.654 | 1255653.2755 | 2686653.0118 | 1255656.2936
26 | 2686653.0118 | 1255656.2936 | 2686640.9967 | 1255669.5729
27 | 2686691.5904 | 1255690.9687 | 2686666.8253 | 1255668.7094
28 | 2686639.5099 | 1255656.7742 | 2686619.8019 | 1255648.9896
29 | 2686639.5099 | 1255656.7742 | 2686638.9959 | 1255657.3672 | 2686633.3415 | 1255663.8561 | 2686624.6966 | 1255674.7046 | 2686618.2647 | 1255683.7477
30 | 2686640.9967 | 1255669.5729 | 2686638.5743 | 1255672.2502 | 2686626.2972 | 1255688.5164 | 2686619.3834 | 1255699.3727
31 | 2686602.6871 | 1255602.7853 | 2686596.8932 | 1255606.6013 | 2686588.3811 | 1255613.4057
32 | 2686718.2854 | 1255691.2675 | 2686722.8096 | 1255688.3295
33 | 2686767.2645 | 1255741.971 | 2686761.2863 | 1255743.8313
34 | 2686557.2651 | 1255638.2796 | 2686558.3111 | 1255639.9962 | 2686558.9029 | 1255644.9198 | 2686556.4073 | 1255647.5907
35 | 2686513.4811 | 1255648.8035 | 2686522.4286 | 1255649.2346 | 2686529.6763 | 1255648.2953 | 2686536.9041 | 1255646.1326 | 2686548.5658 | 1255639.4423 | 2686554.9226 | 1255634.4313 | 2686557.2651 | 1255638.2796
36 | 2686557.2651 | 1255638.2796 | 2686575.414 | 1255623.7716
37 | 2686548.3138 | 1255656.7581 | 2686549.822 | 1255654.639 | 2686556.4073 | 1255647.5907
38 | 2686503.8998 | 1255646.3172 | 2686513.4811 | 1255648.8035
39 | 2686513.4811 | 1255648.8035 | 2686514.6882 | 1255642.0827 | 2686519.8353 | 1255641.9022 | 2686528.4768 | 1255640.0492 | 2686535.0108 | 1255636.3307 | 2686570.7533 | 1255607.0835
40 | 2686575.414 | 1255623.7716 | 2686588.3811 | 1255613.4057
41 | 2686503.8998 | 1255646.3172 | 2686495.9334 | 1255664.2004
42 | 2686503.8998 | 1255646.3172 | 2686498.1629 | 1255640.3955
43 | 2686582.2249 | 1255597.6022 | 2686575.2225 | 1255603.4265 | 2686570.7533 | 1255607.0835
44 | 2686582.2249 | 1255597.6022 | 2686584.6633 | 1255591.8 | 2686586.1902 | 1255584.8837 | 2686588.421 | 1255577.2883 | 2686591.2413 | 1255573.7379
45 | 2686591.2413 | 1255573.7379 | 2686587.3349 | 1255569.5442 | 2686563.31 | 1255535.4669 | 2686559.1562 | 1255529.6128 | 2686554.6557 | 1255522.1969 | 2686553.3071 | 1255518.8597
46 | 2686550.2076 | 1255511.1901 | 2686553.3071 | 1255518.8597
47 | 2686678.8882 | 1255768.3473 | 2686696.3909 | 1255763.1539
48 | 2686678.8882 | 1255768.3473 | 2686664.538 | 1255772.7664
49 | 2686678.8882 | 1255768.3473 | 2686680.2303 | 1255761.4966
50 | 2686659.0028 | 1255774.471 | 2686664.538 | 1255772.7664
51 | 2686585.2214 | 1255761.1495 | 2686579.6614 | 1255771.7622
52 | 2686585.2214 | 1255761.1495 | 2686590.1086 | 1255751.8212
53 | 2686693.9196 | 1255693.0622 | 2686691.5904 | 1255690.9687
54 | 2686604.3423 | 1255724.8499 | 2686611.3038 | 1255712.0597 | 2686619.3834 | 1255699.3727
55 | 2686761.2863 | 1255743.8313 | 2686756.6336 | 1255745.2791 | 2686756.0342 | 1255745.4569
56 | 2686739.3892 | 1255750.3957 | 2686756.0342 | 1255745.4569
57 | 2686739.3892 | 1255750.3957 | 2686734.7407 | 1255751.775
58 | 2686728.0338 | 1255753.7651 | 2686734.7407 | 1255751.775
59 | 2686718.2854 | 1255691.2675 | 2686714.2122 | 1255693.9126
60 | 2686703.9964 | 1255702.1195 | 2686711.9095 | 1255695.408 | 2686714.2122 | 1255693.9126
61 | 2686703.9964 | 1255702.1195 | 2686693.9196 | 1255693.0622
62 | 2686703.9964 | 1255702.1195 | 2686697.1129 | 1255711.6705 | 2686693.6574 | 1255718.8965
63 | 2686693.6574 | 1255718.8965 | 2686691.2958 | 1255723.8349
64 | 2686688.2009 | 1255731.4308 | 2686689.5882 | 1255727.4058 | 2686691.2958 | 1255723.8349
65 | 2686684.8602 | 1255741.1239 | 2686688.2009 | 1255731.4308
66 | 2686680.2303 | 1255761.4966 | 2686683.3803 | 1255745.4176 | 2686683.3803 | 1255745.4176
67 | 2686684.8602 | 1255741.1239 | 2686683.3803 | 1255745.4176
68 | 2686696.3909 | 1255763.1539 | 2686707.7656 | 1255759.7789
69 | 2686720.9673 | 1255755.8618 | 2686707.7656 | 1255759.7789
70 | 2686728.0338 | 1255753.7651 | 2686723.4736 | 1255755.1181
71 | 2686720.9673 | 1255755.8618 | 2686723.4736 | 1255755.1181
72 | 2686537.4229 | 1255680.8112 | 2686543.8225 | 1255663.0689 | 2686548.3138 | 1255656.7581
73 | 2686488.7543 | 1255686.4824 | 2686491.0156 | 1255675.2401 | 2686495.9334 | 1255664.2004
74 | 2686498.1629 | 1255640.3955 | 2686505.2821 | 1255632.7714 | 2686502.5423 | 1255629.9823
75 | 2686596.1881 | 1255740.2513 | 2686593.0552 | 1255746.1968 | 2686590.1086 | 1255751.8212
76 | 2686604.3423 | 1255724.8499 | 2686603.1258 | 1255727.085 | 2686596.1881 | 1255740.2513
77 | 2686502.704 | 1255522.5897 | 2686505.6441 | 1255520.2793 | 2686512.701 | 1255498.3433 | 2686517.1732 | 1255493.1503
78 | 2686496.2808 | 1255527.6371 | 2686502.704 | 1255522.5897
79 | 2686502.5423 | 1255629.9823 | 2686491.9548 | 1255619.2037
80 | 2686484.5312 | 1255589.3684 | 2686481.3676 | 1255597.3172 | 2686480.8229 | 1255603.1026 | 2686482.6644 | 1255609.7457 | 2686491.9548 | 1255619.2037
81 | 2686475.2252 | 1255584.0395 | 2686484.5312 | 1255589.3684
82 | 2686447.3915 | 1255590.1601 | 2686463.4579 | 1255604.161 | 2686471.2209 | 1255607.1877 | 2686469.8011 | 1255596.9814 | 2686473.6837 | 1255586.2854 | 2686475.2252 | 1255584.0395
83 | 2686479.595 | 1255577.6985 | 2686475.2252 | 1255584.0395
84 | 2686447.3915 | 1255590.1601 | 2686416.6158 | 1255559.0828
85 | 2686479.595 | 1255577.6985 | 2686488.6922 | 1255562.5113
86 | 2686479.595 | 1255577.6985 | 2686460.5565 | 1255563.6987
87 | 2686402.4753 | 1255544.8038 | 2686416.6158 | 1255559.0828
88 | 2686488.5962 | 1255687.2683 | 2686488.7543 | 1255686.4824
89 | 2686488.6922 | 1255562.5113 | 2686494.5177 | 1255552.7862 | 2686494.5177 | 1255552.7862
90 | 2686459.1786 | 1255551.6697 | 2686458.2191 | 1255555.8808 | 2686458.3195 | 1255559.8519 | 2686460.5565 | 1255563.6987
91 | 2686481.4745 | 1255722.6594 | 2686491.6324 | 1255728.1873
92 | 2686481.4745 | 1255722.6594 | 2686486.0765 | 1255699.7896
93 | 2686516.8605 | 1255738.5774 | 2686498.335 | 1255731.8349 | 2686491.6324 | 1255728.1873
94 | 2686486.0765 | 1255699.7896 | 2686488.5962 | 1255687.2683
95 | 2686496.2808 | 1255527.6371 | 2686490.2115 | 1255535.6768 | 2686494.5177 | 1255552.7862

## bus_geodata
| x | y | coords
0 | 2686757.599 | 1255672.2259
1 | 2686756.695 | 1255672.5784
2 | 2686747.5556 | 1255676.1414
3 | 2686738.6092 | 1255679.928
4 | 2686790.0231 | 1255734.9423
5 | 2686785.3683 | 1255736.3376
6 | 2686614.8688 | 1255803.9936
7 | 2686616.0501 | 1255787.6983
8 | 2686624.1271 | 1255810.2578
9 | 2686686.3821 | 1255833.4959
10 | 2686714.4905 | 1255827.9961
11 | 2686684.2383 | 1255814.8587
12 | 2686641.7371 | 1255779.788
13 | 2686658.5155 | 1255634.8577
14 | 2686665.7786 | 1255641.6247
15 | 2686653.3854 | 1255640.7735
16 | 2686696.8467 | 1255607.2975
17 | 2686671.5217 | 1255607.4492
18 | 2686690.2792 | 1255614.554
19 | 2686653.0118 | 1255656.2936
20 | 2686666.8253 | 1255668.7094
21 | 2686639.5099 | 1255656.7742
22 | 2686640.9967 | 1255669.5729
23 | 2686619.8019 | 1255648.9896
24 | 2686618.2647 | 1255683.7477
25 | 2686674.1614 | 1255632.3626
26 | 2686602.6871 | 1255602.7853
27 | 2686722.8096 | 1255688.3295
28 | 2686789.9771 | 1255751.8927
29 | 2686767.2645 | 1255741.971
30 | 2686557.2651 | 1255638.2796
31 | 2686556.4073 | 1255647.5907
32 | 2686513.4811 | 1255648.8035
33 | 2686575.414 | 1255623.7716
34 | 2686503.8998 | 1255646.3172
35 | 2686570.7533 | 1255607.0835
36 | 2686591.2413 | 1255573.7379
37 | 2686582.2249 | 1255597.6022
38 | 2686553.3071 | 1255518.8597
39 | 2686750.4181 | 1255815.3245
40 | 2686632.0537 | 1255828.9043
41 | 2686678.8882 | 1255768.3473
42 | 2686659.0028 | 1255774.471
43 | 2686579.6614 | 1255771.7622
44 | 2686585.2214 | 1255761.1495
45 | 2686691.5904 | 1255690.9687
46 | 2686619.3834 | 1255699.3727
47 | 2686588.3811 | 1255613.4057
48 | 2686761.2863 | 1255743.8313
49 | 2686756.0342 | 1255745.4569
50 | 2686739.3892 | 1255750.3957
51 | 2686734.7407 | 1255751.775
52 | 2686714.2122 | 1255693.9126
53 | 2686718.2854 | 1255691.2675
54 | 2686703.9964 | 1255702.1195
55 | 2686693.9196 | 1255693.0622
56 | 2686693.6574 | 1255718.8965
57 | 2686691.2958 | 1255723.8349
58 | 2686688.2009 | 1255731.4308
59 | 2686683.3803 | 1255745.4176
60 | 2686680.2303 | 1255761.4966
61 | 2686684.8602 | 1255741.1239
62 | 2686696.3909 | 1255763.1539
63 | 2686664.538 | 1255772.7664
64 | 2686707.7656 | 1255759.7789
65 | 2686728.0338 | 1255753.765
66 | 2686723.4736 | 1255755.1181
67 | 2686548.3138 | 1255656.7581
68 | 2686495.9334 | 1255664.2004
69 | 2686498.1629 | 1255640.3955
70 | 2686550.2076 | 1255511.1901
71 | 2686590.1086 | 1255751.8212
72 | 2686596.1881 | 1255740.2513
73 | 2686604.3423 | 1255724.8499
74 | 2686517.1732 | 1255493.1503
75 | 2686502.704 | 1255522.5897
76 | 2686720.9673 | 1255755.8618
77 | 2686502.5423 | 1255629.9823
78 | 2686491.9548 | 1255619.2037
79 | 2686484.5312 | 1255589.3684
80 | 2686475.2252 | 1255584.0395
81 | 2686447.3915 | 1255590.1601
82 | 2686479.595 | 1255577.6985
83 | 2686416.6158 | 1255559.0828
84 | 2686488.7543 | 1255686.4824
85 | 2686488.6922 | 1255562.5113
86 | 2686460.5565 | 1255563.6987
87 | 2686481.4745 | 1255722.6594
88 | 2686491.6324 | 1255728.1873
89 | 2686486.0765 | 1255699.7896
90 | 2686402.4753 | 1255544.8038
91 | 2686459.1786 | 1255551.6697
92 | 2686496.2808 | 1255527.6371
93 | 2686494.5177 | 1255552.7862
94 | 2686516.8605 | 1255738.5774
95 | 2686488.5962 | 1255687.2683
96 | 2686537.4229 | 1255680.8112
97 | 2686554.9226 | 1255634.4313

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1