## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_62-44_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_62-44_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_62-44_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_62-44_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_62-44_0_4_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_62-44_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_62-44_0_4_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_62-44_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_62-44_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_62-44_0_4_node_99 | 0.4 | n |  | TRUE
10 | bus_LV_62-44_0_4_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_62-44_0_4_node_103 | 0.4 | n |  | TRUE
12 | bus_LV_62-44_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_62-44_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_62-44_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_62-44_0_4_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_62-44_0_4_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_62-44_0_4_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_62-44_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_62-44_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_62-44_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_62-44_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_62-44_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_62-44_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_62-44_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_62-44_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_62-44_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_62-44_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_62-44_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_62-44_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_62-44_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_62-44_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_62-44_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_62-44_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_62-44_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_62-44_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_62-44_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_62-44_0_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_62-44_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_62-44_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_62-44_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_62-44_0_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_62-44_0_4_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_62-44_0_4_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_62-44_0_4_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_62-44_0_4_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_62-44_0_4_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_62-44_0_4_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_62-44_0_4_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_62-44_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_62-44_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_62-44_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_62-44_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_62-44_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_62-44_0_4_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_62-44_0_4_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_62-44_0_4_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_62-44_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_62-44_0_4_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_62-44_0_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_62-44_0_4_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_62-44_0_4_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_62-44_0_4_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_62-44_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_62-44_0_4_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_62-44_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_62-44_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_62-44_0_4_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_62-44_0_4_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_62-44_0_4_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_62-44_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_62-44_0_4_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_62-44_0_4_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_62-44_0_4_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_62-44_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_62-44_0_4_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_62-44_0_4_node_34 | 0.4 | n |  | TRUE
77 | bus_LV_62-44_0_4_node_35 | 0.4 | n |  | TRUE
78 | bus_LV_62-44_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_62-44_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_62-44_0_4_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_62-44_0_4_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_62-44_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_62-44_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_62-44_0_4_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_62-44_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_62-44_0_4_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_62-44_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_62-44_0_4_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_62-44_0_4_node_106 | 0.4 | n |  | TRUE
90 | bus_LV_62-44_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_62-44_0_4_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_62-44_0_4_node_107 | 0.4 | n |  | TRUE
93 | bus_LV_62-44_0_4_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_62-44_0_4_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_62-44_0_4_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_62-44_0_4_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_62-44_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_62-44_0_4_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_62-44_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_62-44_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_MV_640_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_62-44_0_4_load_0 | 0 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_62-44_0_4_load_56 | 6 | 0.0044517 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_62-44_0_4_load_97 | 10 | 0.0058502 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_62-44_0_4_load_103 | 11 | 0.0032639 | 0.00081802 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_62-44_0_4_load_53 | 12 | 0.0040899 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_62-44_0_4_load_96 | 15 | 0.0095806 | 0.0024011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_62-44_0_4_load_63 | 16 | 0.0096492 | 0.0024183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_62-44_0_4_load_59 | 17 | 0.030058 | 0.0075333 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_62-44_0_4_load_50 | 19 | 0.0031291 | 0.00078424 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_62-44_0_4_load_47 | 20 | 0.0027715 | 0.0006946 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_62-44_0_4_load_57 | 21 | 0.0034051 | 0.0008534 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_62-44_0_4_load_28 | 23 | 0.0033649 | 0.00084332 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_62-44_0_4_load_26 | 24 | 0.0042401 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_62-44_0_4_load_31 | 26 | 0.016689 | 0.0041827 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_62-44_0_4_load_29 | 27 | 0.010545 | 0.0026428 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_62-44_0_4_load_67 | 29 | 0.0080533 | 0.0020184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_62-44_0_4_load_27 | 31 | 0.0021629 | 0.00054208 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_62-44_0_4_load_58 | 33 | 0.0094142 | 0.0023594 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_62-44_0_4_load_51 | 35 | 0.0024746 | 0.00062019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_62-44_0_4_load_49 | 37 | 0.0027597 | 0.00069166 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_62-44_0_4_load_55 | 38 | 0.0012966 | 0.00032495 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_62-44_0_4_load_54 | 39 | 0.0094557 | 0.0023698 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_62-44_0_4_load_109 | 42 | 0.032542 | 0.0081558 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_62-44_0_4_load_72 | 45 | 0.0076072 | 0.0019065 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_62-44_0_4_load_110 | 47 | 0.079186 | 0.019846 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_62-44_0_4_load_104 | 48 | 0.015743 | 0.0039456 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_62-44_0_4_load_52 | 49 | 0.016275 | 0.0040789 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_62-44_0_4_load_46 | 51 | 0.0023616 | 0.00059188 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_62-44_0_4_load_33 | 52 | 0.0032272 | 0.00080881 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_62-44_0_4_load_83 | 55 | 0.0016461 | 0.00041254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_62-44_0_4_load_81 | 59 | 0.0016369 | 0.00041025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_62-44_0_4_load_87 | 60 | 0.0015082 | 0.00037799 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_62-44_0_4_load_86 | 61 | 0.0015878 | 0.00039794 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_62-44_0_4_load_89 | 62 | 0.0042809 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_62-44_0_4_load_45 | 63 | 0.0013148 | 0.00032953 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_62-44_0_4_load_80 | 64 | 0.0016376 | 0.00041042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_62-44_0_4_load_37 | 65 | 0.0024823 | 0.00062212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_62-44_0_4_load_48 | 66 | 0.0020357 | 0.00051018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_62-44_0_4_load_38 | 67 | 0.00074173 | 0.00018589 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_62-44_0_4_load_32 | 68 | 0.017392 | 0.0043589 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_62-44_0_4_load_39 | 69 | 0.0021515 | 0.00053923 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_62-44_0_4_load_44 | 72 | 0.0049491 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_62-44_0_4_load_40 | 73 | 0.0089715 | 0.0022485 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_62-44_0_4_load_64 | 74 | 0.0079449 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_62-44_0_4_load_41 | 75 | 0.0063027 | 0.0015796 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_62-44_0_4_load_34 | 76 | 0.0025789 | 0.00064634 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_62-44_0_4_load_35 | 77 | 0.002679 | 0.00067143 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_62-44_0_4_load_92 | 78 | 0.0080282 | 0.0020121 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_62-44_0_4_load_93 | 80 | 0.0037337 | 0.00093576 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_62-44_0_4_load_65 | 82 | 0.012857 | 0.0032222 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_62-44_0_4_load_66 | 83 | 0.017048 | 0.0042727 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_62-44_0_4_load_68 | 84 | 0.0017131 | 0.00042934 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_62-44_0_4_load_71 | 87 | 0.0055064 | 0.00138 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_62-44_0_4_load_102 | 88 | 0.0057499 | 0.0014411 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_62-44_0_4_load_106 | 89 | 0.0061959 | 0.0015528 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_62-44_0_4_load_95 | 90 | 0.0084861 | 0.0021268 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_62-44_0_4_load_107 | 92 | 0.006096 | 0.0015278 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_62-44_0_4_load_73 | 93 | 0.0070491 | 0.0017667 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_62-44_0_4_load_105 | 95 | 0.0043775 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_62-44_0_4_load_101 | 96 | 0.005646 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_62-44_0_4_load_90 | 97 | 0.0037335 | 0.00093571 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_62-44_0_4_load_94 | 98 | 0.0056427 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_62-44_0_4_load_84 | 99 | 0.0016468 | 0.00041272 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_62-44_0_4_load_85 | 100 | 0.0016505 | 0.00041366 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_62-44_0_4_line_0 |  | 0 | 1 | 0.023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_62-44_0_4_line_1 |  | 0 | 2 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_62-44_0_4_line_2 |  | 1 | 3 | 0.021417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_62-44_0_4_line_3 |  | 2 | 4 | 0.007011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_62-44_0_4_line_4 |  | 2 | 5 | 0.028335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_62-44_0_4_line_5 |  | 3 | 6 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_62-44_0_4_line_6 |  | 4 | 28 | 0.032392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_62-44_0_4_line_7 |  | 4 | 29 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_62-44_0_4_line_8 |  | 5 | 12 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_62-44_0_4_line_9 |  | 7 | 8 | 0.024195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_62-44_0_4_line_10 |  | 7 | 9 | 0.028545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_62-44_0_4_line_11 |  | 7 | 10 | 0.013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_62-44_0_4_line_12 |  | 8 | 11 | 0.041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_62-44_0_4_line_13 |  | 9 | 44 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_62-44_0_4_line_14 |  | 9 | 45 | 0.033367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_62-44_0_4_line_15 |  | 11 | 48 | 0.009197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_62-44_0_4_line_16 |  | 12 | 49 | 0.030136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_62-44_0_4_line_17 |  | 13 | 14 | 0.00412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_62-44_0_4_line_18 |  | 13 | 15 | 0.0022468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_62-44_0_4_line_19 |  | 14 | 16 | 0.074238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_62-44_0_4_line_20 |  | 14 | 17 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_62-44_0_4_line_21 |  | 17 | 50 | 0.03713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_62-44_0_4_line_22 |  | 18 | 19 | 0.013215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_62-44_0_4_line_23 |  | 18 | 20 | 0.024558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_62-44_0_4_line_24 |  | 18 | 21 | 0.023269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_62-44_0_4_line_25 |  | 19 | 34 | 0.027686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_62-44_0_4_line_26 |  | 20 | 51 | 0.018737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_62-44_0_4_line_27 |  | 21 | 33 | 0.037129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_62-44_0_4_line_28 |  | 22 | 23 | 0.055446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_62-44_0_4_line_29 |  | 22 | 24 | 0.022865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_62-44_0_4_line_30 |  | 23 | 52 | 0.0073513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_62-44_0_4_line_31 |  | 24 | 30 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_62-44_0_4_line_32 |  | 25 | 26 | 0.019942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_62-44_0_4_line_33 |  | 25 | 27 | 0.026971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_62-44_0_4_line_34 |  | 26 | 53 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_62-44_0_4_line_35 |  | 27 | 40 | 0.044588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_62-44_0_4_line_36 |  | 28 | 33 | 0.0027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_62-44_0_4_line_37 |  | 30 | 31 | 0.036527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_62-44_0_4_line_38 |  | 30 | 32 | 0.033019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_62-44_0_4_line_39 |  | 31 | 34 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_62-44_0_4_line_40 |  | 32 | 39 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_62-44_0_4_line_41 |  | 32 | 40 | 0.028071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_62-44_0_4_line_42 |  | 34 | 35 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_62-44_0_4_line_43 |  | 35 | 65 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_62-44_0_4_line_44 |  | 36 | 37 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_62-44_0_4_line_45 |  | 36 | 38 | 0.028144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_62-44_0_4_line_46 |  | 37 | 66 | 0.0078296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_62-44_0_4_line_47 |  | 38 | 67 | 0.0009661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_62-44_0_4_line_48 |  | 40 | 68 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_62-44_0_4_line_49 |  | 41 | 42 | 0.066252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_62-44_0_4_line_50 |  | 41 | 43 | 0.081309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_62-44_0_4_line_51 |  | 43 | 93 | 0.097635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_62-44_0_4_line_52 |  | 44 | 46 | 0.060081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_62-44_0_4_line_53 |  | 45 | 85 | 0.070481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_62-44_0_4_line_54 |  | 46 | 47 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_62-44_0_4_line_55 |  | 50 | 81 | 0.028023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_62-44_0_4_line_56 |  | 50 | 79 | 0.003437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_62-44_0_4_line_57 |  | 51 | 66 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_62-44_0_4_line_58 |  | 53 | 72 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_62-44_0_4_line_59 |  | 53 | 73 | 0.019007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_62-44_0_4_line_60 |  | 53 | 63 | 0.018895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_62-44_0_4_line_61 |  | 54 | 55 | 0.0059051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_62-44_0_4_line_62 |  | 54 | 56 | 0.038184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_62-44_0_4_line_63 |  | 55 | 99 | 0.0068482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_62-44_0_4_line_64 |  | 56 | 95 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_62-44_0_4_line_65 |  | 56 | 94 | 0.02956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_62-44_0_4_line_66 |  | 57 | 58 | 0.028728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_62-44_0_4_line_67 |  | 57 | 59 | 0.0038046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_62-44_0_4_line_68 |  | 58 | 97 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_62-44_0_4_line_69 |  | 58 | 62 | 0.024914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_62-44_0_4_line_70 |  | 59 | 64 | 0.0048947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_62-44_0_4_line_71 |  | 60 | 61 | 0.0074809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_62-44_0_4_line_72 |  | 61 | 100 | 0.016823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_62-44_0_4_line_73 |  | 65 | 77 | 0.013349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_62-44_0_4_line_74 |  | 67 | 70 | 0.011523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_62-44_0_4_line_75 |  | 68 | 71 | 0.029149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_62-44_0_4_line_76 |  | 69 | 70 | 0.013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_62-44_0_4_line_77 |  | 71 | 74 | 0.023569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_62-44_0_4_line_78 |  | 71 | 75 | 0.009542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_62-44_0_4_line_79 |  | 72 | 78 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_62-44_0_4_line_80 |  | 74 | 79 | 0.020681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_62-44_0_4_line_81 |  | 76 | 77 | 0.0036845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_62-44_0_4_line_82 |  | 78 | 80 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_62-44_0_4_line_83 |  | 80 | 98 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_62-44_0_4_line_84 |  | 81 | 82 | 0.030152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_62-44_0_4_line_85 |  | 81 | 83 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_62-44_0_4_line_86 |  | 84 | 85 | 0.056633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_62-44_0_4_line_87 |  | 85 | 86 | 0.032235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_62-44_0_4_line_88 |  | 85 | 87 | 0.026311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_62-44_0_4_line_89 |  | 86 | 88 | 0.025681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_62-44_0_4_line_90 |  | 86 | 89 | 0.027656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_62-44_0_4_line_91 |  | 87 | 90 | 0.0024386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_62-44_0_4_line_92 |  | 88 | 91 | 0.023623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_62-44_0_4_line_93 |  | 89 | 92 | 0.011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_62-44_0_4_line_94 |  | 91 | 96 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_62-44_0_4_line_95 |  | 91 | 94 | 0.016914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_62-44_0_4_line_96 |  | 93 | 94 | 0.031998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_62-44_0_4_line_97 |  | 95 | 97 | 0.01835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_62-44_0_4_line_98 |  | 96 | 98 | 0.027285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_62-44_0_4_line_99 |  | 99 | 100 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_62-44_0_4_trafo_95 | 0.63 MVA 20/0.4 kV | 101 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2686135.8852 | 1255653.7701 | 2686112.7513 | 1255655.6561
1 | 2686093.1777 | 1255657.2518 | 2686112.7513 | 1255655.6561
2 | 2686135.8852 | 1255653.7701 | 2686141.324 | 1255653.7603 | 2686141.415 | 1255650.1033 | 2686141.5435 | 1255644.9012 | 2686141.7225 | 1255637.7872
3 | 2686093.1777 | 1255657.2518 | 2686094.9422 | 1255664.0382
4 | 2686087.1001 | 1255637.9153 | 2686086.8464 | 1255646.0178 | 2686086.6672 | 1255651.5973 | 2686086.4302 | 1255659.0773 | 2686088.9863 | 1255657.5911 | 2686093.1777 | 1255657.2518
5 | 2686141.7225 | 1255637.7872 | 2686130.2856 | 1255638.3292
6 | 2686063.574 | 1255662.2031 | 2686071.6541 | 1255663.1546 | 2686081.8351 | 1255664.3479 | 2686085.214 | 1255666.4542 | 2686087.8334 | 1255665.8029 | 2686094.9422 | 1255664.0382
7 | 2686094.9422 | 1255664.0382 | 2686098.7429 | 1255678.6269 | 2686094.2732 | 1255679.7822
8 | 2686087.1001 | 1255637.9153 | 2686084.7762 | 1255634.8458 | 2686083.6507 | 1255632.8724 | 2686082.7568 | 1255630.5465 | 2686082.5909 | 1255629.0047
9 | 2686209.688 | 1255588.0158 | 2686214.2766 | 1255584.2352 | 2686217.3843 | 1255580.6222 | 2686224.8423 | 1255569.3888
10 | 2686224.8423 | 1255569.3888 | 2686232.8105 | 1255554.7269 | 2686238.5438 | 1255544.3469
11 | 2686224.8423 | 1255569.3888 | 2686225.3613 | 1255582.51
12 | 2686209.688 | 1255588.0158 | 2686194.8256 | 1255549.2336
13 | 2686246.1112 | 1255532.3479 | 2686238.5438 | 1255544.3469
14 | 2686238.5438 | 1255544.3469 | 2686228.9763 | 1255514.4958 | 2686228.9503 | 1255512.4755
15 | 2686187.7907 | 1255543.4073 | 2686194.6596 | 1255548.8003 | 2686194.8256 | 1255549.2336
16 | 2686078.1091 | 1255599.2263 | 2686081.2318 | 1255616.1133 | 2686082.1986 | 1255625.3567 | 2686082.5909 | 1255629.0047
17 | 2686148.6711 | 1255589.5068 | 2686144.8685 | 1255591.1194
18 | 2686148.6711 | 1255589.5068 | 2686148.0032 | 1255587.3616
19 | 2686144.8685 | 1255591.1194 | 2686124.3143 | 1255599.8383 | 2686118.6997 | 1255596.3762 | 2686103.1093 | 1255553.8275
20 | 2686144.8685 | 1255591.1194 | 2686136.1735 | 1255562.4488 | 2686135.3023 | 1255559.9137
21 | 2686122.6044 | 1255525.0339 | 2686127.7281 | 1255537.8738 | 2686135.3023 | 1255559.9137
22 | 2686063.1623 | 1255599.2266 | 2686061.1765 | 1255590.0241 | 2686060.2036 | 1255586.3505
23 | 2686063.1623 | 1255599.2266 | 2686060.5237 | 1255600.6783 | 2686041.4609 | 1255610.7203
24 | 2686063.1623 | 1255599.2266 | 2686064.0198 | 1255604.065 | 2686064.3682 | 1255607.595 | 2686064.8385 | 1255612.6057 | 2686065.1504 | 1255620.2049 | 2686065.24 | 1255622.3728
25 | 2686050.624 | 1255560.4147 | 2686052.4634 | 1255564.6447 | 2686055.3378 | 1255571.3582 | 2686057.7156 | 1255577.9868 | 2686059.5032 | 1255583.706 | 2686060.2036 | 1255586.3505
26 | 2686041.4609 | 1255610.7203 | 2686024.8837 | 1255619.4529
27 | 2686065.24 | 1255622.3728 | 2686065.4573 | 1255627.6262 | 2686065.5106 | 1255635.8889 | 2686064.8247 | 1255645.7086 | 2686064.0803 | 1255657.9961 | 2686063.9065 | 1255659.4399
28 | 2685973.2554 | 1255527.9885 | 2685973.5695 | 1255532.8523 | 2685982.8116 | 1255550.9225 | 2685985.9362 | 1255554.4373 | 2685991.2545 | 1255553.903 | 2686001.5315 | 1255550.583 | 2686010.3166 | 1255547.1619
29 | 2685973.2554 | 1255527.9885 | 2685985.5806 | 1255528.0341 | 2685996.1061 | 1255527.4956
30 | 2686017.1669 | 1255544.4943 | 2686010.3166 | 1255547.1619
31 | 2686021.1481 | 1255522.2906 | 2686014.3861 | 1255524.5831 | 2686005.8528 | 1255526.783 | 2685999.969 | 1255527.298 | 2685996.1061 | 1255527.4956
32 | 2686023.9593 | 1255435.7985 | 2686030.6645 | 1255433.2718 | 2686039.3568 | 1255426.8932 | 2686041.1471 | 1255426.0125
33 | 2686023.9593 | 1255435.7985 | 2686030.8314 | 1255440.4686 | 2686035.4601 | 1255448.9757 | 2686039.2646 | 1255457.1073
34 | 2686070.1715 | 1255417.5893 | 2686062.7634 | 1255420.7285 | 2686051.1031 | 1255421.115 | 2686041.1471 | 1255426.0125
35 | 2686058.9596 | 1255497.1095 | 2686039.4986 | 1255457.6076 | 2686039.2646 | 1255457.1073
36 | 2686063.574 | 1255662.2031 | 2686063.9065 | 1255659.4399
37 | 2686021.1481 | 1255522.2906 | 2686023.3924 | 1255522.5456 | 2686025.9348 | 1255523.0385 | 2686028.1971 | 1255524.1278 | 2686029.9693 | 1255525.7214 | 2686032.4462 | 1255528.6485 | 2686035.5003 | 1255532.8628 | 2686043.5736 | 1255546.7462 | 2686044.3459 | 1255548.2435
38 | 2686021.1481 | 1255522.2906 | 2686016.4957 | 1255515.4178 | 2686021.7944 | 1255513.6378 | 2686027.6049 | 1255510.8979 | 2686031.5551 | 1255516.782 | 2686036.1951 | 1255513.6137
39 | 2686050.624 | 1255560.4147 | 2686044.3459 | 1255548.2435
40 | 2686036.1951 | 1255513.6137 | 2686031.8895 | 1255507.2685 | 2686026.4376 | 1255499.0269
41 | 2686058.9596 | 1255497.1095 | 2686039.645 | 1255511.3621 | 2686036.1951 | 1255513.6137
42 | 2686050.624 | 1255560.4147 | 2686037.637 | 1255567.1774
43 | 2686022.0084 | 1255575.3157 | 2686037.637 | 1255567.1774
44 | 2685998.4881 | 1255633.3578 | 2686009.018 | 1255627.8107
45 | 2685998.4881 | 1255633.3578 | 2685986.1806 | 1255608.0478
46 | 2686015.9452 | 1255624.1616 | 2686009.018 | 1255627.8107
47 | 2685986.1806 | 1255608.0478 | 2685985.7582 | 1255607.179
48 | 2686058.9596 | 1255497.1095 | 2686079.7979 | 1255491.2129
49 | 2686319.5195 | 1255227.9841 | 2686320.6999 | 1255226.1888 | 2686316.8235 | 1255205.4275 | 2686338.4422 | 1255168.2769
50 | 2686257.6482 | 1255279.044 | 2686291.8402 | 1255258.5931 | 2686310.2076 | 1255242.1481 | 2686318.0228 | 1255230.264 | 2686319.5195 | 1255227.9841
51 | 2686257.6482 | 1255279.044 | 2686252.9273 | 1255287.226 | 2686250.2971 | 1255309.8272 | 2686245.6952 | 1255330.5538 | 2686239.1363 | 1255338.5533 | 2686229.093 | 1255343.9223 | 2686207.489 | 1255350.1034
52 | 2686285.0443 | 1255486.7022 | 2686277.4843 | 1255493.5306 | 2686249.7479 | 1255526.5964 | 2686246.1112 | 1255532.3479
53 | 2686193.1115 | 1255455.1727 | 2686202.6627 | 1255467.5212 | 2686218.1815 | 1255481.3688 | 2686228.7747 | 1255498.8253 | 2686228.9503 | 1255512.4755
54 | 2686285.0443 | 1255486.7022 | 2686279.0417 | 1255474.1496 | 2686276.4083 | 1255471.6092
55 | 2686096.6132 | 1255535.6975 | 2686122.6044 | 1255525.0339
56 | 2686125.7917 | 1255523.7237 | 2686122.6044 | 1255525.0339
57 | 2686015.9452 | 1255624.1616 | 2686024.8837 | 1255619.4529
58 | 2686070.1715 | 1255417.5893 | 2686087.0131 | 1255411.1418
59 | 2686070.1715 | 1255417.5893 | 2686080.1398 | 1255433.7725
60 | 2686070.1715 | 1255417.5893 | 2686059.3606 | 1255402.0923
61 | 2686143.0466 | 1255321.3863 | 2686143.178 | 1255315.4826
62 | 2686143.0466 | 1255321.3863 | 2686153.1779 | 1255316.1963 | 2686158.5594 | 1255314.9625 | 2686164.7498 | 1255317.7547 | 2686169.7438 | 1255322.4087 | 2686171.915 | 1255329.7571
63 | 2686143.178 | 1255315.4826 | 2686143.3303 | 1255308.6362
64 | 2686171.915 | 1255329.7571 | 2686163.5091 | 1255334.0603 | 2686155.2329 | 1255339.9383
65 | 2686176.7258 | 1255358.9049 | 2686173.7236 | 1255343.872 | 2686171.915 | 1255329.7571
66 | 2686127.3497 | 1255355.5063 | 2686112.841 | 1255342.7078 | 2686105.0657 | 1255337.3684
67 | 2686105.0657 | 1255337.3684 | 2686101.9173 | 1255339.5045
68 | 2686127.3497 | 1255355.5063 | 2686132.1809 | 1255356.3105 | 2686140.2725 | 1255350.5636
69 | 2686127.3497 | 1255355.5063 | 2686121.0662 | 1255354.4475 | 2686104.8418 | 1255363.4243
70 | 2686097.8669 | 1255342.2526 | 2686101.9173 | 1255339.5045
71 | 2686114.1278 | 1255295.3289 | 2686119.1836 | 1255289.8149
72 | 2686134.5331 | 1255293.5009 | 2686130.2093 | 1255293.2669 | 2686120.1896 | 1255288.7177 | 2686119.1836 | 1255289.8149
73 | 2686010.1687 | 1255581.4809 | 2686022.0084 | 1255575.3157
74 | 2685980.7191 | 1255596.8162 | 2685985.7582 | 1255607.179
75 | 2686107.8461 | 1255483.2762 | 2686079.7979 | 1255491.2129
76 | 2685980.7191 | 1255596.8162 | 2685974.8097 | 1255584.6645
77 | 2686107.8461 | 1255483.2762 | 2686117.4044 | 1255504.8196
78 | 2686107.8461 | 1255483.2762 | 2686103.5737 | 1255474.7441
79 | 2686100.1576 | 1255406.1096 | 2686087.0131 | 1255411.1418
80 | 2686125.7917 | 1255523.7237 | 2686117.4044 | 1255504.8196
81 | 2686010.1687 | 1255581.4809 | 2686006.9008 | 1255583.1826
82 | 2686100.1576 | 1255406.1096 | 2686106.8563 | 1255403.5451 | 2686120.5748 | 1255398.2369
83 | 2686140.3607 | 1255390.5811 | 2686120.5748 | 1255398.2369
84 | 2686096.6132 | 1255535.6975 | 2686089.6376 | 1255538.1535 | 2686084.61 | 1255537.8913 | 2686081.5425 | 1255535.1113 | 2686076.9042 | 1255522.3451
85 | 2686096.6132 | 1255535.6975 | 2686088.6532 | 1255516.8879
86 | 2686193.1115 | 1255455.1727 | 2686200.9993 | 1255450.6952 | 2686230.9484 | 1255413.7454
87 | 2686193.1115 | 1255455.1727 | 2686190.8982 | 1255449.1692 | 2686187.7356 | 1255445.1535 | 2686185.1158 | 1255424.5885
88 | 2686193.1115 | 1255455.1727 | 2686190.9482 | 1255461.7907 | 2686178.4894 | 1255476.5939
89 | 2686185.1158 | 1255424.5885 | 2686181.8601 | 1255399.1149
90 | 2686185.1158 | 1255424.5885 | 2686157.9024 | 1255429.5185
91 | 2686176.9191 | 1255478.4596 | 2686178.4894 | 1255476.5939
92 | 2686178.8653 | 1255375.6823 | 2686181.8601 | 1255399.1149
93 | 2686160.1774 | 1255440.6157 | 2686157.9024 | 1255429.5185
94 | 2686178.8653 | 1255375.6823 | 2686165.8071 | 1255380.7349
95 | 2686176.7258 | 1255358.9049 | 2686178.8653 | 1255375.6823
96 | 2686176.7258 | 1255358.9049 | 2686207.489 | 1255350.1034
97 | 2686155.2329 | 1255339.9383 | 2686140.2725 | 1255350.5636
98 | 2686165.8071 | 1255380.7349 | 2686140.3607 | 1255390.5811
99 | 2686134.5331 | 1255293.5009 | 2686136.9555 | 1255293.632 | 2686139.9509 | 1255295.666 | 2686141.0522 | 1255300.3411 | 2686144.065 | 1255303.7654 | 2686143.3303 | 1255308.6362 | 2686143.3303 | 1255308.6362

## bus_geodata
| x | y | coords
0 | 2686112.7513 | 1255655.6561
1 | 2686135.8852 | 1255653.7701
2 | 2686093.1777 | 1255657.2518
3 | 2686141.7225 | 1255637.7872
4 | 2686094.9422 | 1255664.0382
5 | 2686087.1001 | 1255637.9153
6 | 2686130.2856 | 1255638.3292
7 | 2686224.8423 | 1255569.3888
8 | 2686209.688 | 1255588.0158
9 | 2686238.5438 | 1255544.3469
10 | 2686225.3613 | 1255582.51
11 | 2686194.8256 | 1255549.2336
12 | 2686082.5909 | 1255629.0047
13 | 2686148.6711 | 1255589.5068
14 | 2686144.8685 | 1255591.1194
15 | 2686148.0032 | 1255587.3616
16 | 2686103.1093 | 1255553.8275
17 | 2686135.3023 | 1255559.9137
18 | 2686063.1623 | 1255599.2266
19 | 2686060.2036 | 1255586.3505
20 | 2686041.4609 | 1255610.7203
21 | 2686065.24 | 1255622.3728
22 | 2685973.2554 | 1255527.9885
23 | 2686010.3166 | 1255547.1619
24 | 2685996.1061 | 1255527.4956
25 | 2686023.9593 | 1255435.7985
26 | 2686041.1471 | 1255426.0125
27 | 2686039.2646 | 1255457.1073
28 | 2686063.574 | 1255662.2031
29 | 2686094.2732 | 1255679.7822
30 | 2686021.1481 | 1255522.2906
31 | 2686044.3459 | 1255548.2435
32 | 2686036.1951 | 1255513.6137
33 | 2686063.9065 | 1255659.4399
34 | 2686050.624 | 1255560.4147
35 | 2686037.637 | 1255567.1774
36 | 2685998.4881 | 1255633.3578
37 | 2686009.018 | 1255627.8107
38 | 2685986.1806 | 1255608.0478
39 | 2686026.4376 | 1255499.0269
40 | 2686058.9596 | 1255497.1095
41 | 2686319.5195 | 1255227.9841
42 | 2686338.4422 | 1255168.2769
43 | 2686257.6482 | 1255279.044
44 | 2686246.1112 | 1255532.3479
45 | 2686228.9503 | 1255512.4755
46 | 2686285.0443 | 1255486.7022
47 | 2686276.4083 | 1255471.6092
48 | 2686187.7907 | 1255543.4073
49 | 2686078.1091 | 1255599.2263
50 | 2686122.6044 | 1255525.0339
51 | 2686024.8837 | 1255619.4529
52 | 2686017.1669 | 1255544.4943
53 | 2686070.1715 | 1255417.5893
54 | 2686143.0466 | 1255321.3863
55 | 2686143.178 | 1255315.4826
56 | 2686171.915 | 1255329.7571
57 | 2686105.0657 | 1255337.3684
58 | 2686127.3497 | 1255355.5063
59 | 2686101.9173 | 1255339.5045
60 | 2686114.1278 | 1255295.3289
61 | 2686119.1836 | 1255289.8149
62 | 2686104.8418 | 1255363.4243
63 | 2686059.3606 | 1255402.0923
64 | 2686097.8669 | 1255342.2526
65 | 2686022.0084 | 1255575.3157
66 | 2686015.9452 | 1255624.1616
67 | 2685985.7582 | 1255607.179
68 | 2686079.7979 | 1255491.2129
69 | 2685974.8097 | 1255584.6645
70 | 2685980.7191 | 1255596.8162
71 | 2686107.8461 | 1255483.2762
72 | 2686087.0131 | 1255411.1418
73 | 2686080.1398 | 1255433.7725
74 | 2686117.4044 | 1255504.8196
75 | 2686103.5737 | 1255474.7441
76 | 2686006.9008 | 1255583.1826
77 | 2686010.1687 | 1255581.4809
78 | 2686100.1576 | 1255406.1096
79 | 2686125.7917 | 1255523.7237
80 | 2686120.5748 | 1255398.2369
81 | 2686096.6132 | 1255535.6975
82 | 2686076.9042 | 1255522.3451
83 | 2686088.6532 | 1255516.8879
84 | 2686230.9484 | 1255413.7454
85 | 2686193.1115 | 1255455.1727
86 | 2686185.1158 | 1255424.5885
87 | 2686178.4894 | 1255476.5939
88 | 2686181.8601 | 1255399.1149
89 | 2686157.9025 | 1255429.5185
90 | 2686176.9191 | 1255478.4596
91 | 2686178.8653 | 1255375.6823
92 | 2686160.1774 | 1255440.6157
93 | 2686207.489 | 1255350.1034
94 | 2686176.7258 | 1255358.9049
95 | 2686155.2329 | 1255339.9383
96 | 2686165.8071 | 1255380.7349
97 | 2686140.2725 | 1255350.5636
98 | 2686140.3607 | 1255390.5811
99 | 2686143.3303 | 1255308.6362
100 | 2686134.5331 | 1255293.5009
101 | 2686193.1115 | 1255455.1727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1