## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_62-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_62-8_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_62-8_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_62-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_62-8_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_62-8_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_62-8_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_62-8_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_62-8_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_62-8_0_3_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_62-8_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_62-8_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_62-8_0_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_62-8_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_62-8_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_62-8_0_3_node_95 | 0.4 | n |  | TRUE
16 | bus_LV_62-8_0_3_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_62-8_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_62-8_0_3_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_62-8_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_62-8_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_62-8_0_3_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_62-8_0_3_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_62-8_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_62-8_0_3_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_62-8_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_62-8_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_62-8_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_62-8_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_62-8_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_62-8_0_3_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_62-8_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_62-8_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_62-8_0_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_62-8_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_62-8_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_62-8_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_62-8_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_62-8_0_3_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_62-8_0_3_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_62-8_0_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_62-8_0_3_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_62-8_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_62-8_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_62-8_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_62-8_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_62-8_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_62-8_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_62-8_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_62-8_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_62-8_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_62-8_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_62-8_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_62-8_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_62-8_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_62-8_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_62-8_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_62-8_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_62-8_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_62-8_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_62-8_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_62-8_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_62-8_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_62-8_0_3_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_62-8_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_62-8_0_3_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_62-8_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_62-8_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_62-8_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_62-8_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_62-8_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_62-8_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_62-8_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_62-8_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_62-8_0_3_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_62-8_0_3_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_62-8_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_62-8_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_62-8_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_62-8_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_62-8_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_62-8_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_62-8_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_62-8_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_62-8_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_62-8_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_62-8_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_62-8_0_3_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_62-8_0_3_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_62-8_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_62-8_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_MV_640_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_62-8_0_3_load_0 | 0 | 0.0020362 | 0.00051032 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_62-8_0_3_load_23 | 6 | 0.00045933 | 0.00011512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_62-8_0_3_load_45 | 9 | 0.00040042 | 0.00010035 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_62-8_0_3_load_51 | 12 | 0.0092118 | 0.0023087 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_62-8_0_3_load_95 | 15 | 0.00020738 | 5.1974e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_62-8_0_3_load_91 | 16 | 0.00077174 | 0.00019342 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_62-8_0_3_load_52 | 18 | 0.0015906 | 0.00039865 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_62-8_0_3_load_50 | 21 | 0.0012895 | 0.00032318 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_62-8_0_3_load_96 | 22 | 0.00095015 | 0.00023813 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_62-8_0_3_load_90 | 24 | 0.00052228 | 0.0001309 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_62-8_0_3_load_18 | 25 | 0.0021486 | 0.00053849 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_62-8_0_3_load_22 | 27 | 0.0017826 | 0.00044675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_62-8_0_3_load_43 | 28 | 0.00066835 | 0.00016751 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_62-8_0_3_load_56 | 30 | 0.0039322 | 0.00098549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_62-8_0_3_load_48 | 31 | 0.0027206 | 0.00068185 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_62-8_0_3_load_31 | 32 | 0.0023986 | 0.00060114 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_62-8_0_3_load_30 | 34 | 0.0001108 | 2.777e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_62-8_0_3_load_36 | 35 | 0.0010083 | 0.00025271 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_62-8_0_3_load_37 | 36 | 0.00019887 | 4.9842e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_62-8_0_3_load_40 | 37 | 0.00092401 | 0.00023158 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_62-8_0_3_load_94 | 38 | 0.00082699 | 0.00020726 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_62-8_0_3_load_93 | 39 | 0.00080936 | 0.00020284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_62-8_0_3_load_83 | 40 | 0.0033708 | 0.00084479 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_62-8_0_3_load_17 | 41 | 0.0011665 | 0.00029235 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_62-8_0_3_load_24 | 42 | 0.00027212 | 6.8199e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_62-8_0_3_load_27 | 44 | 0.0016605 | 0.00041615 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_62-8_0_3_load_29 | 45 | 7.0214e-05 | 1.7597e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_62-8_0_3_load_28 | 46 | 0.00029976 | 7.5127e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_62-8_0_3_load_59 | 47 | 9.4798e-05 | 2.3759e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_62-8_0_3_load_60 | 48 | 0.0011121 | 0.00027873 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_62-8_0_3_load_32 | 49 | 0.0037282 | 0.00093437 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_62-8_0_3_load_34 | 50 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_62-8_0_3_load_47 | 52 | 0.0036732 | 0.0009206 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_62-8_0_3_load_38 | 53 | 0.0004386 | 0.00010992 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_62-8_0_3_load_41 | 55 | 0.0010059 | 0.0002521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_62-8_0_3_load_54 | 57 | 0.0056376 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_62-8_0_3_load_55 | 58 | 0.0045293 | 0.0011352 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_62-8_0_3_load_46 | 59 | 0.00050312 | 0.00012609 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_62-8_0_3_load_42 | 60 | 0.00015306 | 3.836e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_62-8_0_3_load_68 | 62 | 0.00029525 | 7.3996e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_62-8_0_3_load_87 | 63 | 0.0018839 | 0.00047216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_62-8_0_3_load_67 | 64 | 0.01059 | 0.0026541 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_62-8_0_3_load_81 | 65 | 0.0054669 | 0.0013701 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_62-8_0_3_load_58 | 66 | 0.0017002 | 0.00042612 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_62-8_0_3_load_61 | 67 | 0.0021146 | 0.00052997 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_62-8_0_3_load_62 | 68 | 0.0029985 | 0.0007515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_62-8_0_3_load_63 | 69 | 0.00080947 | 0.00020287 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_62-8_0_3_load_64 | 70 | 0.003121 | 0.00078219 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_62-8_0_3_load_65 | 71 | 0.0016908 | 0.00042375 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_62-8_0_3_load_66 | 72 | 0.002559 | 0.00064134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_62-8_0_3_load_69 | 73 | 0.00059321 | 0.00014867 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_62-8_0_3_load_89 | 74 | 0.00069237 | 0.00017353 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_62-8_0_3_load_88 | 75 | 0.0030599 | 0.00076689 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_62-8_0_3_load_71 | 76 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_62-8_0_3_load_72 | 77 | 0.00078468 | 0.00019666 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_62-8_0_3_load_73 | 78 | 0.0023457 | 0.0005879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_62-8_0_3_load_74 | 79 | 0.0022443 | 0.00056248 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_62-8_0_3_load_76 | 81 | 0.0011417 | 0.00028613 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_62-8_0_3_load_82 | 82 | 0.0041804 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_62-8_0_3_load_84 | 83 | 0.001952 | 0.00048922 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_62-8_0_3_load_77 | 84 | 0.0030935 | 0.00077531 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_62-8_0_3_load_85 | 86 | 0.0010299 | 0.00025813 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_62-8_0_3_load_92 | 87 | 0.0021774 | 0.00054571 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_62-8_0_3_load_78 | 88 | 0.0068639 | 0.0017203 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_62-8_0_3_load_79 | 89 | 0.0017127 | 0.00042924 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_62-8_0_3_load_86 | 90 | 0.0013465 | 0.00033747 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_62-8_0_3_line_0 |  | 0 | 1 | 0.032244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_62-8_0_3_line_1 |  | 1 | 5 | 0.021415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_62-8_0_3_line_2 |  | 2 | 3 | 0.054447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_62-8_0_3_line_3 |  | 2 | 4 | 0.74799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_62-8_0_3_line_4 |  | 3 | 6 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_62-8_0_3_line_5 |  | 4 | 16 | 0.1922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_62-8_0_3_line_6 |  | 5 | 25 | 0.030386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_62-8_0_3_line_7 |  | 5 | 26 | 0.022969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_62-8_0_3_line_8 |  | 6 | 19 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_62-8_0_3_line_9 |  | 7 | 8 | 0.64479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_62-8_0_3_line_10 |  | 7 | 9 | 0.064237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_62-8_0_3_line_11 |  | 8 | 21 | 0.036249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_62-8_0_3_line_12 |  | 9 | 28 | 0.10138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_62-8_0_3_line_13 |  | 10 | 11 | 0.20967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_62-8_0_3_line_14 |  | 10 | 12 | 0.30436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_62-8_0_3_line_15 |  | 11 | 32 | 0.035189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_62-8_0_3_line_16 |  | 12 | 33 | 0.030874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_62-8_0_3_line_17 |  | 13 | 14 | 0.25226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_62-8_0_3_line_18 |  | 13 | 15 | 0.28922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_62-8_0_3_line_19 |  | 14 | 17 | 0.54727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_62-8_0_3_line_20 |  | 14 | 18 | 0.17029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_62-8_0_3_line_21 |  | 15 | 34 | 0.0082101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_62-8_0_3_line_22 |  | 16 | 23 | 0.035736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_62-8_0_3_line_23 |  | 17 | 22 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_62-8_0_3_line_24 |  | 18 | 37 | 0.039215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_62-8_0_3_line_25 |  | 19 | 20 | 0.013642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_62-8_0_3_line_26 |  | 20 | 27 | 0.011409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_62-8_0_3_line_27 |  | 21 | 33 | 0.054062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_62-8_0_3_line_28 |  | 23 | 24 | 0.029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_62-8_0_3_line_29 |  | 24 | 40 | 0.019764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_62-8_0_3_line_30 |  | 25 | 41 | 0.00049752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_62-8_0_3_line_31 |  | 26 | 27 | 0.0065459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_62-8_0_3_line_32 |  | 28 | 60 | 0.025325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_62-8_0_3_line_33 |  | 29 | 30 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_62-8_0_3_line_34 |  | 29 | 31 | 0.019902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_62-8_0_3_line_35 |  | 30 | 51 | 0.039611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_62-8_0_3_line_36 |  | 31 | 52 | 0.044438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_62-8_0_3_line_37 |  | 32 | 49 | 0.0015236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_62-8_0_3_line_38 |  | 33 | 52 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_62-8_0_3_line_39 |  | 34 | 45 | 0.0013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_62-8_0_3_line_40 |  | 35 | 36 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_62-8_0_3_line_41 |  | 36 | 53 | 0.0053198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_62-8_0_3_line_42 |  | 37 | 54 | 0.047707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_62-8_0_3_line_43 |  | 38 | 39 | 0.056491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_62-8_0_3_line_44 |  | 39 | 87 | 0.017673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_62-8_0_3_line_45 |  | 40 | 85 | 0.02098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_62-8_0_3_line_46 |  | 42 | 43 | 0.058266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_62-8_0_3_line_47 |  | 43 | 44 | 0.048351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_62-8_0_3_line_48 |  | 44 | 45 | 0.043471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_62-8_0_3_line_49 |  | 46 | 47 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_62-8_0_3_line_50 |  | 47 | 48 | 0.015124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_62-8_0_3_line_51 |  | 48 | 67 | 0.002209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_62-8_0_3_line_52 |  | 49 | 50 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_62-8_0_3_line_53 |  | 51 | 66 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_62-8_0_3_line_54 |  | 53 | 54 | 0.017146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_62-8_0_3_line_55 |  | 54 | 55 | 0.020968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_62-8_0_3_line_56 |  | 55 | 56 | 0.059537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_62-8_0_3_line_57 |  | 56 | 57 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_62-8_0_3_line_58 |  | 56 | 58 | 0.019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_62-8_0_3_line_59 |  | 56 | 59 | 0.030039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_62-8_0_3_line_60 |  | 57 | 62 | 0.0069429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_62-8_0_3_line_61 |  | 58 | 63 | 0.01962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_62-8_0_3_line_62 |  | 59 | 61 | 0.00817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_62-8_0_3_line_63 |  | 60 | 61 | 0.0092035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_62-8_0_3_line_64 |  | 62 | 64 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_62-8_0_3_line_65 |  | 63 | 65 | 0.0042353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_62-8_0_3_line_66 |  | 64 | 67 | 0.057025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_62-8_0_3_line_67 |  | 65 | 89 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_62-8_0_3_line_68 |  | 68 | 69 | 0.0055304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_62-8_0_3_line_69 |  | 68 | 70 | 0.0017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_62-8_0_3_line_70 |  | 69 | 71 | 0.0095264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_62-8_0_3_line_71 |  | 70 | 72 | 0.0079613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_62-8_0_3_line_72 |  | 71 | 73 | 0.0054748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_62-8_0_3_line_73 |  | 72 | 74 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_62-8_0_3_line_74 |  | 74 | 75 | 0.02095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_62-8_0_3_line_75 |  | 75 | 90 | 0.0048716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_62-8_0_3_line_76 |  | 76 | 77 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_62-8_0_3_line_77 |  | 76 | 78 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_62-8_0_3_line_78 |  | 77 | 79 | 0.010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_62-8_0_3_line_79 |  | 78 | 80 | 0.025464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_62-8_0_3_line_80 |  | 79 | 81 | 0.0091972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_62-8_0_3_line_81 |  | 80 | 82 | 0.0022662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_62-8_0_3_line_82 |  | 80 | 83 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_62-8_0_3_line_83 |  | 81 | 84 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_62-8_0_3_line_84 |  | 82 | 85 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_62-8_0_3_line_85 |  | 83 | 86 | 0.0016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_62-8_0_3_line_86 |  | 84 | 87 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_62-8_0_3_line_87 |  | 85 | 88 | 0.039801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_62-8_0_3_line_88 |  | 86 | 90 | 0.020387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_62-8_0_3_line_89 |  | 88 | 89 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_62-8_0_3_trafo_4 | 0.63 MVA 20/0.4 kV | 91 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2689261.0764 | 1258368.1952 | 2689268.7022 | 1258358.5026 | 2689271.7069 | 1258351.7538 | 2689265.0829 | 1258341.1249
1 | 2689261.0764 | 1258368.1952 | 2689253.9553 | 1258367.4206 | 2689239.884 | 1258370.0438
2 | 2689222.9038 | 1258307.5945 | 2689198.9276 | 1258314.5386 | 2689219.9155 | 1258335.2489
3 | 2688875.4158 | 1257940.892 | 2688906.2566 | 1257949.3839 | 2688936.1003 | 1257959.4956 | 2688948.2148 | 1257969.2186 | 2688961.0433 | 1257976.0834 | 2688962.5096 | 1257980.3643 | 2688956.9362 | 1257999.4844 | 2688956.2747 | 1258011.3837 | 2688944.1164 | 1258030.6605 | 2688958.6612 | 1258064.7835 | 2688982.7238 | 1258108.7795 | 2688995.7162 | 1258125.2766 | 2689014.5329 | 1258151.0685 | 2689021.6311 | 1258145.3597 | 2689030.0717 | 1258139.1373 | 2689067.3742 | 1258111.0098 | 2689087.2401 | 1258093.1503 | 2689108.257 | 1258065.4672 | 2689108.4028 | 1258074.3097 | 2689092.4869 | 1258136.2852 | 2689081.4178 | 1258177.8511 | 2689079.9017 | 1258191.4056 | 2689082.3169 | 1258201.2607 | 2689089.7133 | 1258210.8017 | 2689160.9066 | 1258279.8276 | 2689196.1341 | 1258311.7833 | 2689198.9276 | 1258314.5386 | 2689222.9038 | 1258307.5945
4 | 2689219.9155 | 1258335.2489 | 2689199.5888 | 1258346.6843
5 | 2688875.4158 | 1257940.892 | 2688854.3237 | 1257943.0104 | 2688836.9655 | 1257938.5019 | 2688799.7367 | 1257915.0139 | 2688762.121 | 1257893.6776 | 2688722.8081 | 1257858.7833 | 2688714.635 | 1257848.3709
6 | 2689239.884 | 1258370.0438 | 2689248.2347 | 1258389.7629 | 2689249.3772 | 1258398.6619
7 | 2689219.6262 | 1258365.9241 | 2689228.4429 | 1258363.7553 | 2689236.5362 | 1258365.5565 | 2689239.884 | 1258370.0438
8 | 2689188.1117 | 1258366.2828 | 2689191.6955 | 1258351.1249 | 2689199.5888 | 1258346.6843
9 | 2688489.9393 | 1258454.7517 | 2688501.6209 | 1258432.4089 | 2688520.0866 | 1258410.6903 | 2688537.4218 | 1258359.732 | 2688545.752 | 1258324.062 | 2688550.0146 | 1258291.1557 | 2688552.1556 | 1258244.8404 | 2688557.2841 | 1258225.6133 | 2688565.5183 | 1258205.4429 | 2688572.159 | 1258188.9628 | 2688575.7988 | 1258174.4948 | 2688613.7814 | 1257979.5 | 2688617.2591 | 1257959.2585 | 2688492.4325 | 1257933.271
10 | 2688492.4325 | 1257933.271 | 2688503.8598 | 1257870.0582
11 | 2688489.9393 | 1258454.7517 | 2688481.0637 | 1258485.5876 | 2688480.4422 | 1258489.7022
12 | 2688551.5841 | 1257783.285 | 2688520.2375 | 1257819.1533 | 2688507.3779 | 1257850.5967 | 2688503.8598 | 1257870.0582
13 | 2688217.1838 | 1258625.5028 | 2688218.5166 | 1258630.6711 | 2688218.0869 | 1258636.7361 | 2688207.3109 | 1258675.2945 | 2688195.3804 | 1258725.0556 | 2688184.4729 | 1258750.7132 | 2688146.7791 | 1258820.3283
14 | 2688217.1838 | 1258625.5028 | 2688223.5889 | 1258618.6596 | 2688229.5013 | 1258604.4143 | 2688245.6568 | 1258562.0777 | 2688276.853 | 1258513.2491 | 2688285.4743 | 1258503.926 | 2688295.3608 | 1258504.296 | 2688309.7289 | 1258511.0267 | 2688352.0933 | 1258527.7497 | 2688404.8741 | 1258540.6367 | 2688430.3301 | 1258543.0076 | 2688442.7378 | 1258543.0944
15 | 2688146.7791 | 1258820.3283 | 2688116.7265 | 1258802.0218
16 | 2688473.6106 | 1258543.3102 | 2688442.7378 | 1258543.0944
17 | 2688181.0426 | 1257516.567 | 2688179.2085 | 1257521.2322 | 2688194.5024 | 1257535.8381 | 2688221.0427 | 1257584.1155 | 2688237.6859 | 1257598.7415 | 2688239.1269 | 1257605.7685 | 2688261.4996 | 1257667.9948 | 2688276.6 | 1257742.022
18 | 2688181.0426 | 1257516.567 | 2688181.3929 | 1257511.2792 | 2688170.9592 | 1257490.8413 | 2688142.9192 | 1257453.5726 | 2688127.0373 | 1257425.7701 | 2688119.7501 | 1257403.1552 | 2688115.3898 | 1257375.9247 | 2688110.6474 | 1257322.1902 | 2688105.2247 | 1257296.4006 | 2688098.2823 | 1257278.9837 | 2688080.1689 | 1257252.6877
19 | 2688065.7453 | 1258129.7279 | 2688162.7999 | 1258099.0042 | 2688215.6805 | 1258042.2811 | 2688238.3901 | 1258027.7304 | 2688297.4749 | 1258019.1936 | 2688308.3341 | 1257890.8223 | 2688305.7653 | 1257864.3856 | 2688282.9982 | 1257776.6332 | 2688276.6 | 1257742.022
20 | 2688276.6 | 1257742.022 | 2688336.4803 | 1257736.4553 | 2688413.4682 | 1257730.5444 | 2688434.2297 | 1257728.8865 | 2688446.108 | 1257726.5427
21 | 2688075.5115 | 1257245.9265 | 2688080.1689 | 1257252.6877
22 | 2688690.8123 | 1257822.1642 | 2688697.5918 | 1257826.6582 | 2688714.635 | 1257848.3709
23 | 2688065.7453 | 1258129.7279 | 2688051.09 | 1258134.8462
24 | 2688484.5809 | 1257718.9513 | 2688446.108 | 1257726.5427
25 | 2689188.1117 | 1258366.2828 | 2689201.7405 | 1258367.5002
26 | 2689201.7405 | 1258367.5002 | 2689213.1057 | 1258366.4987
27 | 2688473.6106 | 1258543.3102 | 2688475.7079 | 1258521.0463 | 2688480.4422 | 1258489.7022
28 | 2688690.8123 | 1257822.1642 | 2688697.3102 | 1257793.8735
29 | 2688697.3102 | 1257793.8735 | 2688697.4274 | 1257793.3631 | 2688702.4458 | 1257774.7885
30 | 2689249.3772 | 1258398.6619 | 2689249.4406 | 1258399.1554
31 | 2689219.6262 | 1258365.9241 | 2689213.1057 | 1258366.4987
32 | 2688570.3098 | 1257766.3364 | 2688562.7626 | 1257772.553 | 2688556.2957 | 1257777.8938 | 2688551.5841 | 1257783.285
33 | 2688484.7756 | 1258623.0171 | 2688486.9505 | 1258635.9179
34 | 2688484.7756 | 1258623.0171 | 2688485.6655 | 1258603.135
35 | 2688493.5356 | 1258674.9776 | 2688486.9505 | 1258635.9179
36 | 2688478.0117 | 1258559.6637 | 2688478.9889 | 1258563.295 | 2688486.1006 | 1258593.4138 | 2688485.6655 | 1258603.135
37 | 2688116.7265 | 1258802.0218 | 2688115.4253 | 1258801.2292
38 | 2688473.6106 | 1258543.3102 | 2688478.0117 | 1258559.6637
39 | 2688074.7419 | 1257244.8092 | 2688075.5115 | 1257245.9265
40 | 2688481.464 | 1257688.9888 | 2688498.2607 | 1257694.8947 | 2688507.1018 | 1257698.0007
41 | 2688512.1209 | 1257699.7639 | 2688507.1018 | 1257698.0007
42 | 2688528.2957 | 1257705.4519 | 2688525.2201 | 1257710.9324 | 2688484.5809 | 1257718.9513
43 | 2688824.8381 | 1257766.7436 | 2688836.0016 | 1257770.2117 | 2688861.9518 | 1257783.0667 | 2688875.6511 | 1257791.0223
44 | 2688824.8381 | 1257766.7436 | 2688815.7665 | 1257763.9254 | 2688807.7739 | 1257762.2156
45 | 2688707.918 | 1257754.5344 | 2688702.4458 | 1257774.7885
46 | 2688022.6942 | 1257169.1631 | 2688062.5599 | 1257126.6707
47 | 2688022.6942 | 1257169.1631 | 2688045.1855 | 1257201.9007 | 2688050.0822 | 1257209.0096
48 | 2688050.0822 | 1257209.0096 | 2688074.7419 | 1257244.8092
49 | 2688588.8191 | 1257604.6312 | 2688589.9997 | 1257614.9155 | 2688590.3656 | 1257620.0921
50 | 2688590.3656 | 1257620.0921 | 2688591.2317 | 1257632.3476 | 2688591.4659 | 1257635.1761
51 | 2688591.4659 | 1257635.1761 | 2688591.6482 | 1257637.3776
52 | 2688115.4253 | 1258801.2292 | 2688103.198 | 1258793.781 | 2688099.6043 | 1258793.2814
53 | 2688493.5356 | 1258674.9776 | 2688521.3999 | 1258675.7995
54 | 2688528.2957 | 1257705.4519 | 2688517.5015 | 1257701.6542 | 2688512.1209 | 1257699.7639
55 | 2688528.2957 | 1257705.4519 | 2688547.976 | 1257712.6869
56 | 2688603.8127 | 1257733.3478 | 2688591.3931 | 1257728.8251 | 2688571.4623 | 1257721.3211 | 2688547.976 | 1257712.6869
57 | 2688603.8127 | 1257733.3478 | 2688605.6629 | 1257725.6139 | 2688603.7803 | 1257715.6992
58 | 2688603.8127 | 1257733.3478 | 2688622.4384 | 1257740.3449
59 | 2688603.8127 | 1257733.3478 | 2688599.4252 | 1257740.8213 | 2688589.5147 | 1257750.525 | 2688583.7218 | 1257755.293
60 | 2688602.4852 | 1257708.8782 | 2688603.7803 | 1257715.6992
61 | 2688622.4384 | 1257740.3449 | 2688633.1316 | 1257744.362 | 2688641.0099 | 1257746.6251
62 | 2688577.4137 | 1257760.485 | 2688583.7218 | 1257755.293
63 | 2688577.4137 | 1257760.485 | 2688570.3098 | 1257766.3364
64 | 2688602.4852 | 1257708.8782 | 2688600.7633 | 1257699.8094 | 2688599.6484 | 1257693.7686
65 | 2688645.0805 | 1257747.7944 | 2688641.0099 | 1257746.6251
66 | 2688591.6482 | 1257637.3776 | 2688593.6072 | 1257661.0388 | 2688599.6484 | 1257693.7686
67 | 2688645.0805 | 1257747.7944 | 2688647.9155 | 1257748.6088 | 2688657.1994 | 1257749.8031
68 | 2688755.2835 | 1257658.9027 | 2688756.6708 | 1257653.5491
69 | 2688755.2835 | 1257658.9027 | 2688754.835 | 1257660.6333
70 | 2688759.0604 | 1257644.3273 | 2688756.6708 | 1257653.5491
71 | 2688752.8379 | 1257668.34 | 2688754.835 | 1257660.6333
72 | 2688760.4338 | 1257639.0276 | 2688759.0604 | 1257644.3273
73 | 2688752.8379 | 1257668.34 | 2688752.6254 | 1257669.1602 | 2688748.0234 | 1257679.8551
74 | 2688735.7884 | 1257696.8612 | 2688748.0234 | 1257679.8551 | 2688748.0234 | 1257679.8551
75 | 2688732.9893 | 1257700.8483 | 2688735.4549 | 1257697.3248 | 2688735.7884 | 1257696.8612
76 | 2688755.8663 | 1257747.3384 | 2688761.0345 | 1257750.4941 | 2688765.1105 | 1257752.0522
77 | 2688755.8663 | 1257747.3384 | 2688747.1064 | 1257741.9898 | 2688740.7189 | 1257740.4575
78 | 2688775.2335 | 1257755.2543 | 2688771.2688 | 1257754.4062 | 2688765.1105 | 1257752.0522
79 | 2688715.619 | 1257736.3023 | 2688734.2506 | 1257738.9058 | 2688740.7189 | 1257740.4575
80 | 2688775.2335 | 1257755.2543 | 2688784.2272 | 1257757.1783
81 | 2688715.619 | 1257736.3023 | 2688714.7372 | 1257738.3899
82 | 2688715.619 | 1257736.3023 | 2688721.8926 | 1257719.7322
83 | 2688784.2272 | 1257757.1783 | 2688795.4797 | 1257759.5855
84 | 2688707.918 | 1257754.5344 | 2688714.7372 | 1257738.3899
85 | 2688721.8926 | 1257719.7322 | 2688722.4819 | 1257718.1757
86 | 2688795.4797 | 1257759.5855 | 2688807.7739 | 1257762.2156
87 | 2688707.918 | 1257754.5344 | 2688668.2784 | 1257750.951
88 | 2688732.9893 | 1257700.8483 | 2688724.3893 | 1257713.1379 | 2688722.4819 | 1257718.1757
89 | 2688668.2784 | 1257750.951 | 2688661.026 | 1257750.2954 | 2688657.1994 | 1257749.8031

## bus_geodata
| x | y | coords
0 | 2689265.0829 | 1258341.1249
1 | 2689261.0764 | 1258368.1952
2 | 2689222.9038 | 1258307.5945
3 | 2689219.9155 | 1258335.2489
4 | 2688875.4158 | 1257940.892
5 | 2689239.884 | 1258370.0438
6 | 2689199.5889 | 1258346.6843
7 | 2688492.4325 | 1257933.271
8 | 2688489.9393 | 1258454.7517
9 | 2688503.8598 | 1257870.0582
10 | 2688217.1838 | 1258625.5028
11 | 2688146.7791 | 1258820.3283
12 | 2688442.7378 | 1258543.0944
13 | 2688181.0426 | 1257516.567
14 | 2688276.6 | 1257742.022
15 | 2688080.1689 | 1257252.6877
16 | 2688714.635 | 1257848.3709
17 | 2688065.7453 | 1258129.7279
18 | 2688446.108 | 1257726.5427
19 | 2689188.1117 | 1258366.2828
20 | 2689201.7405 | 1258367.5002
21 | 2688480.4422 | 1258489.7022
22 | 2688051.09 | 1258134.8462
23 | 2688690.8123 | 1257822.1642
24 | 2688697.3102 | 1257793.8735
25 | 2689249.3772 | 1258398.6619
26 | 2689219.6262 | 1258365.9241
27 | 2689213.1057 | 1258366.4987
28 | 2688551.5841 | 1257783.285
29 | 2688484.7756 | 1258623.0171
30 | 2688486.9505 | 1258635.9179
31 | 2688485.6655 | 1258603.135
32 | 2688116.7265 | 1258802.0218
33 | 2688473.6106 | 1258543.3102
34 | 2688075.5115 | 1257245.9265
35 | 2688481.464 | 1257688.9888
36 | 2688507.1018 | 1257698.0007
37 | 2688484.5809 | 1257718.9513
38 | 2688875.6511 | 1257791.0223
39 | 2688824.8381 | 1257766.7436
40 | 2688702.4458 | 1257774.7885
41 | 2689249.4406 | 1258399.1554
42 | 2688062.5599 | 1257126.6707
43 | 2688022.6942 | 1257169.1631
44 | 2688050.0822 | 1257209.0096
45 | 2688074.7419 | 1257244.8092
46 | 2688588.8191 | 1257604.6312
47 | 2688590.3656 | 1257620.0921
48 | 2688591.4659 | 1257635.1761
49 | 2688115.4253 | 1258801.2292
50 | 2688099.6043 | 1258793.2814
51 | 2688493.5356 | 1258674.9776
52 | 2688478.0117 | 1258559.6637
53 | 2688512.1209 | 1257699.7639
54 | 2688528.2957 | 1257705.4519
55 | 2688547.976 | 1257712.6869
56 | 2688603.8127 | 1257733.3478
57 | 2688603.7803 | 1257715.6992
58 | 2688622.4384 | 1257740.3449
59 | 2688583.7218 | 1257755.293
60 | 2688570.3098 | 1257766.3364
61 | 2688577.4137 | 1257760.485
62 | 2688602.4852 | 1257708.8782
63 | 2688641.0099 | 1257746.6251
64 | 2688599.6484 | 1257693.7687
65 | 2688645.0805 | 1257747.7944
66 | 2688521.3999 | 1258675.7995
67 | 2688591.6482 | 1257637.3776
68 | 2688755.2835 | 1257658.9027
69 | 2688756.6708 | 1257653.5491
70 | 2688754.835 | 1257660.6333
71 | 2688759.0604 | 1257644.3273
72 | 2688752.8379 | 1257668.34
73 | 2688760.4338 | 1257639.0276
74 | 2688748.0234 | 1257679.8551
75 | 2688735.7884 | 1257696.8612
76 | 2688755.8663 | 1257747.3384
77 | 2688765.1106 | 1257752.0522
78 | 2688740.7189 | 1257740.4575
79 | 2688775.2335 | 1257755.2543
80 | 2688715.619 | 1257736.3023
81 | 2688784.2272 | 1257757.1783
82 | 2688714.7372 | 1257738.3899
83 | 2688721.8926 | 1257719.7322
84 | 2688795.4797 | 1257759.5855
85 | 2688707.918 | 1257754.5344
86 | 2688722.4819 | 1257718.1757
87 | 2688807.7739 | 1257762.2156
88 | 2688668.2784 | 1257750.951
89 | 2688657.1994 | 1257749.8031
90 | 2688732.9893 | 1257700.8483
91 | 2688617.2591 | 1257959.2585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1