## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6454-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6454-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6454-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6454-3_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_6454-3_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6454-3_0_4_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_6454-3_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_6454-3_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6454-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6454-3_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6454-3_0_4_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_6454-3_0_4_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_6454-3_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6454-3_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6454-3_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6454-3_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_6454-3_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6454-3_0_4_node_95 | 0.4 | n |  | TRUE
18 | bus_LV_6454-3_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_6454-3_0_4_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_6454-3_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_6454-3_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_6454-3_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_6454-3_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_6454-3_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_6454-3_0_4_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_6454-3_0_4_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_6454-3_0_4_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_6454-3_0_4_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_6454-3_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_6454-3_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_6454-3_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6454-3_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_6454-3_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_6454-3_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_6454-3_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_6454-3_0_4_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_6454-3_0_4_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_6454-3_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_6454-3_0_4_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_6454-3_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_6454-3_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6454-3_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_6454-3_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_6454-3_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_6454-3_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_6454-3_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_6454-3_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_6454-3_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_6454-3_0_4_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_6454-3_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_6454-3_0_4_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_6454-3_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_6454-3_0_4_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_6454-3_0_4_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_6454-3_0_4_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_6454-3_0_4_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_6454-3_0_4_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_6454-3_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6454-3_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_6454-3_0_4_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_6454-3_0_4_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_6454-3_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_6454-3_0_4_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_6454-3_0_4_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_6454-3_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_6454-3_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_6454-3_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6454-3_0_4_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_6454-3_0_4_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_6454-3_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6454-3_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6454-3_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_6454-3_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_6454-3_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_6454-3_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_6454-3_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6454-3_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_6454-3_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_6454-3_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_6454-3_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6454-3_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_6454-3_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_6454-3_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_6454-3_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6454-3_0_4_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_6454-3_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_6454-3_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_6454-3_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_6454-3_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_6454-3_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_6454-3_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_6454-3_0_4_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_6454-3_0_4_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_6454-3_0_4_node_84 | 0.4 | n |  | TRUE
95 | bus_MV_444_2_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6454-3_0_4_load_0 | 0 | 0.026843 | 0.0067275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6454-3_0_4_load_71 | 5 | 0.0052549 | 0.001317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6454-3_0_4_load_45 | 6 | 0.0069911 | 0.0017521 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6454-3_0_4_load_49 | 10 | 0.0035628 | 0.00089292 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6454-3_0_4_load_48 | 11 | 0.0062189 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6454-3_0_4_load_34 | 15 | 0.0031034 | 0.00077779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6454-3_0_4_load_95 | 17 | 0.0019988 | 0.00050095 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6454-3_0_4_load_72 | 18 | 0.0097171 | 0.0024353 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6454-3_0_4_load_93 | 19 | 0.0018622 | 0.00046672 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6454-3_0_4_load_47 | 20 | 0.0010879 | 0.00027266 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6454-3_0_4_load_43 | 21 | 0.021049 | 0.0052753 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6454-3_0_4_load_42 | 22 | 0.0028543 | 0.00071535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6454-3_0_4_load_46 | 23 | 0.0026909 | 0.00067441 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6454-3_0_4_load_32 | 24 | 0.0033642 | 0.00084314 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6454-3_0_4_load_100 | 26 | 0.00088099 | 0.0002208 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6454-3_0_4_load_94 | 28 | 0.0019014 | 0.00047653 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6454-3_0_4_load_13 | 29 | 0.016829 | 0.0042178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6454-3_0_4_load_14 | 30 | 0.0047082 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6454-3_0_4_load_15 | 31 | 0.012773 | 0.0032012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6454-3_0_4_load_16 | 32 | 0.0031522 | 0.00079001 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6454-3_0_4_load_17 | 33 | 0.010531 | 0.0026394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6454-3_0_4_load_67 | 34 | 0.010702 | 0.0026821 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6454-3_0_4_load_64 | 35 | 0.0030942 | 0.00077548 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6454-3_0_4_load_89 | 36 | 0.010878 | 0.0027263 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6454-3_0_4_load_88 | 37 | 0.0042001 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6454-3_0_4_load_65 | 38 | 0.0062723 | 0.001572 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6454-3_0_4_load_90 | 39 | 0.0019153 | 0.00048001 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6454-3_0_4_load_18 | 40 | 0.017492 | 0.004384 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6454-3_0_4_load_19 | 41 | 0.0078823 | 0.0019755 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6454-3_0_4_load_20 | 42 | 0.0039665 | 0.00099411 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6454-3_0_4_load_21 | 43 | 0.0056386 | 0.0014132 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6454-3_0_4_load_22 | 44 | 0.0071335 | 0.0017878 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6454-3_0_4_load_54 | 45 | 0.01384 | 0.0034685 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6454-3_0_4_load_57 | 46 | 0.0029902 | 0.0007494 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6454-3_0_4_load_58 | 48 | 0.0059858 | 0.0015002 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6454-3_0_4_load_23 | 49 | 0.011444 | 0.0028681 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6454-3_0_4_load_25 | 51 | 0.017597 | 0.0044101 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6454-3_0_4_load_26 | 52 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6454-3_0_4_load_28 | 54 | 0.007886 | 0.0019764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6454-3_0_4_load_98 | 55 | 0.0039861 | 0.00099902 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6454-3_0_4_load_29 | 56 | 0.0056878 | 0.0014255 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6454-3_0_4_load_99 | 57 | 0.000536 | 0.00013433 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6454-3_0_4_load_39 | 58 | 0.0032657 | 0.00081845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6454-3_0_4_load_38 | 59 | 0.0043563 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6454-3_0_4_load_30 | 60 | 0.0029584 | 0.00074145 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6454-3_0_4_load_31 | 61 | 0.0050447 | 0.0012643 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6454-3_0_4_load_35 | 63 | 0.023241 | 0.0058248 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6454-3_0_4_load_50 | 67 | 0.0056252 | 0.0014098 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6454-3_0_4_load_40 | 68 | 0.012264 | 0.0030737 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6454-3_0_4_load_41 | 69 | 0.019383 | 0.0048579 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6454-3_0_4_load_60 | 70 | 0.0040018 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6454-3_0_4_load_53 | 71 | 0.010445 | 0.0026177 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6454-3_0_4_load_52 | 72 | 0.0043263 | 0.0010843 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6454-3_0_4_load_55 | 73 | 0.0046429 | 0.0011636 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6454-3_0_4_load_56 | 74 | 0.019973 | 0.0050057 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6454-3_0_4_load_61 | 75 | 0.0061077 | 0.0015307 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6454-3_0_4_load_62 | 76 | 0.012241 | 0.0030678 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6454-3_0_4_load_74 | 78 | 0.010649 | 0.0026689 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6454-3_0_4_load_75 | 79 | 0.0044563 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6454-3_0_4_load_76 | 80 | 0.0085288 | 0.0021375 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6454-3_0_4_load_66 | 82 | 0.0036036 | 0.00090313 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6454-3_0_4_load_69 | 84 | 0.0016359 | 0.00040999 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6454-3_0_4_load_91 | 85 | 0.0013876 | 0.00034776 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6454-3_0_4_load_77 | 86 | 0.0044629 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6454-3_0_4_load_79 | 88 | 0.0026082 | 0.00065369 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6454-3_0_4_load_87 | 90 | 0.0016044 | 0.0004021 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6454-3_0_4_load_83 | 91 | 0.0062588 | 0.0015686 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6454-3_0_4_load_81 | 92 | 0.012241 | 0.003068 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6454-3_0_4_load_82 | 93 | 0.0091668 | 0.0022974 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6454-3_0_4_load_84 | 94 | 0.0015938 | 0.00039943 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6454-3_0_4_line_0 |  | 0 | 1 | 0.17652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6454-3_0_4_line_1 |  | 1 | 2 | 0.11663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6454-3_0_4_line_2 |  | 1 | 3 | 0.094609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6454-3_0_4_line_3 |  | 2 | 4 | 0.05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6454-3_0_4_line_4 |  | 2 | 5 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6454-3_0_4_line_5 |  | 3 | 16 | 0.019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6454-3_0_4_line_6 |  | 3 | 17 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6454-3_0_4_line_7 |  | 4 | 6 | 0.15295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6454-3_0_4_line_8 |  | 5 | 7 | 0.007169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6454-3_0_4_line_9 |  | 7 | 8 | 0.043236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6454-3_0_4_line_10 |  | 8 | 10 | 0.0041142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6454-3_0_4_line_11 |  | 9 | 10 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6454-3_0_4_line_12 |  | 9 | 11 | 0.011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6454-3_0_4_line_13 |  | 11 | 23 | 0.028708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6454-3_0_4_line_14 |  | 12 | 13 | 0.03808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6454-3_0_4_line_15 |  | 12 | 14 | 0.073977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6454-3_0_4_line_16 |  | 12 | 15 | 0.053083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6454-3_0_4_line_17 |  | 13 | 18 | 0.027919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6454-3_0_4_line_18 |  | 14 | 20 | 0.045751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6454-3_0_4_line_19 |  | 15 | 24 | 0.036983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6454-3_0_4_line_20 |  | 16 | 19 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6454-3_0_4_line_21 |  | 17 | 28 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6454-3_0_4_line_22 |  | 20 | 23 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6454-3_0_4_line_23 |  | 21 | 22 | 0.037797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6454-3_0_4_line_24 |  | 22 | 64 | 0.043478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6454-3_0_4_line_25 |  | 24 | 60 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6454-3_0_4_line_26 |  | 25 | 26 | 0.018705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6454-3_0_4_line_27 |  | 25 | 27 | 0.076007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6454-3_0_4_line_28 |  | 27 | 28 | 0.050828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6454-3_0_4_line_29 |  | 29 | 30 | 0.011662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6454-3_0_4_line_30 |  | 29 | 31 | 0.027283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6454-3_0_4_line_31 |  | 30 | 32 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6454-3_0_4_line_32 |  | 31 | 33 | 0.0054831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6454-3_0_4_line_33 |  | 32 | 34 | 0.026501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6454-3_0_4_line_34 |  | 32 | 35 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6454-3_0_4_line_35 |  | 33 | 36 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6454-3_0_4_line_36 |  | 34 | 37 | 0.025308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6454-3_0_4_line_37 |  | 35 | 38 | 0.033781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6454-3_0_4_line_38 |  | 36 | 39 | 0.0074181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6454-3_0_4_line_39 |  | 37 | 65 | 0.043442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6454-3_0_4_line_40 |  | 38 | 82 | 9.8777e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6454-3_0_4_line_41 |  | 40 | 41 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6454-3_0_4_line_42 |  | 40 | 42 | 0.009522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6454-3_0_4_line_43 |  | 41 | 43 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6454-3_0_4_line_44 |  | 42 | 44 | 0.037672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6454-3_0_4_line_45 |  | 43 | 45 | 0.015319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6454-3_0_4_line_46 |  | 44 | 46 | 0.004311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6454-3_0_4_line_47 |  | 45 | 47 | 0.028184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6454-3_0_4_line_48 |  | 46 | 48 | 0.022093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6454-3_0_4_line_49 |  | 47 | 72 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6454-3_0_4_line_50 |  | 47 | 71 | 0.043463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6454-3_0_4_line_51 |  | 47 | 67 | 0.028649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6454-3_0_4_line_52 |  | 49 | 50 | 0.038722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6454-3_0_4_line_53 |  | 49 | 51 | 0.0041903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6454-3_0_4_line_54 |  | 50 | 52 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6454-3_0_4_line_55 |  | 50 | 53 | 0.30339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6454-3_0_4_line_56 |  | 52 | 54 | 0.033953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6454-3_0_4_line_57 |  | 53 | 55 | 0.034561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6454-3_0_4_line_58 |  | 54 | 56 | 0.027812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6454-3_0_4_line_59 |  | 55 | 57 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6454-3_0_4_line_60 |  | 56 | 58 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6454-3_0_4_line_61 |  | 58 | 59 | 0.0079754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6454-3_0_4_line_62 |  | 59 | 68 | 0.0086554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6454-3_0_4_line_63 |  | 60 | 61 | 0.018816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6454-3_0_4_line_64 |  | 61 | 62 | 0.0022059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6454-3_0_4_line_65 |  | 62 | 63 | 0.0338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6454-3_0_4_line_66 |  | 62 | 64 | 0.023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6454-3_0_4_line_67 |  | 64 | 65 | 0.029538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6454-3_0_4_line_68 |  | 65 | 66 | 0.008494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6454-3_0_4_line_69 |  | 66 | 67 | 0.036004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6454-3_0_4_line_70 |  | 68 | 69 | 0.0051014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6454-3_0_4_line_71 |  | 69 | 70 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6454-3_0_4_line_72 |  | 70 | 71 | 0.005366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6454-3_0_4_line_73 |  | 72 | 73 | 0.012068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6454-3_0_4_line_74 |  | 73 | 74 | 0.0054885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6454-3_0_4_line_75 |  | 74 | 75 | 0.031107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6454-3_0_4_line_76 |  | 75 | 76 | 0.097386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6454-3_0_4_line_77 |  | 76 | 77 | 0.015756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6454-3_0_4_line_78 |  | 77 | 78 | 0.006251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6454-3_0_4_line_79 |  | 77 | 79 | 0.055843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6454-3_0_4_line_80 |  | 78 | 80 | 0.0064319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6454-3_0_4_line_81 |  | 79 | 81 | 0.023348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6454-3_0_4_line_82 |  | 80 | 86 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6454-3_0_4_line_83 |  | 81 | 85 | 0.0062845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6454-3_0_4_line_84 |  | 82 | 83 | 0.031713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6454-3_0_4_line_85 |  | 83 | 84 | 0.05114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6454-3_0_4_line_86 |  | 86 | 87 | 0.032328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6454-3_0_4_line_87 |  | 87 | 88 | 0.0026725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6454-3_0_4_line_88 |  | 88 | 89 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6454-3_0_4_line_89 |  | 89 | 90 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6454-3_0_4_line_90 |  | 89 | 91 | 0.030093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6454-3_0_4_line_91 |  | 91 | 92 | 0.0071207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6454-3_0_4_line_92 |  | 92 | 93 | 0.050907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6454-3_0_4_line_93 |  | 93 | 94 | 0.020634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6454-3_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 95 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2564534.1517 | 1206484.0758 | 2564540.6438 | 1206456.9107 | 2564540.6408 | 1206443.6365 | 2564499.3774 | 1206411.6866 | 2564433.4595 | 1206361.0443
1 | 2564534.1517 | 1206484.0758 | 2564530.6652 | 1206487.2984 | 2564518.8622 | 1206506.3128 | 2564483.6321 | 1206563.9555 | 2564477.7195 | 1206573.4961 | 2564488.4362 | 1206573.8213
2 | 2564534.1517 | 1206484.0758 | 2564547.5628 | 1206459.2597 | 2564557.6526 | 1206446.2256 | 2564581.4302 | 1206421.6035 | 2564582.3204 | 1206414.0161 | 2564580.874 | 1206406.0981
3 | 2564457.0294 | 1206606.8829 | 2564477.7195 | 1206573.4961 | 2564488.4362 | 1206573.8213
4 | 2564488.4362 | 1206573.8213 | 2564502.6352 | 1206574.2463
5 | 2564580.874 | 1206406.0981 | 2564596.9164 | 1206416.9977
6 | 2564580.874 | 1206406.0981 | 2564572.4339 | 1206398.9013
7 | 2564457.0294 | 1206606.8829 | 2564426.3113 | 1206587.1775 | 2564366.9588 | 1206547.8769 | 2564329.2972 | 1206522.7516
8 | 2564509.801 | 1206574.4609 | 2564502.6352 | 1206574.2463
9 | 2564509.801 | 1206574.4609 | 2564531.5994 | 1206575.1202 | 2564553.0175 | 1206575.7708
10 | 2564553.0175 | 1206575.7708 | 2564557.1084 | 1206576.2081
11 | 2564571.7364 | 1206577.7716 | 2564557.1084 | 1206576.2081
12 | 2564571.7364 | 1206577.7716 | 2564583.2006 | 1206577.8592
13 | 2564611.7323 | 1206576.5201 | 2564599.2269 | 1206576.5518 | 2564593.8208 | 1206577.9403 | 2564583.2006 | 1206577.8592
14 | 2564710.1943 | 1206589.8449 | 2564733.6661 | 1206559.8111
15 | 2564653.4867 | 1206543.5775 | 2564684.9578 | 1206567.2374 | 2564685.7311 | 1206570.6792 | 2564710.1943 | 1206589.8449
16 | 2564710.1943 | 1206589.8449 | 2564684.3543 | 1206636.2137
17 | 2564733.6661 | 1206559.8111 | 2564754.9911 | 1206577.8308
18 | 2564653.4867 | 1206543.5775 | 2564631.9505 | 1206569.1198 | 2564622.0552 | 1206576.4939
19 | 2564684.3543 | 1206636.2137 | 2564683.6335 | 1206637.5072 | 2564676.1641 | 1206658.9747 | 2564671.264 | 1206670.7698
20 | 2564596.9164 | 1206416.9977 | 2564604.5928 | 1206406.5192
21 | 2564559.5869 | 1206387.947 | 2564572.4339 | 1206398.9013
22 | 2564611.7323 | 1206576.5201 | 2564622.0552 | 1206576.4939
23 | 2564609.9539 | 1206707.6736 | 2564584.3805 | 1206691.1049 | 2564578.2327 | 1206687.1224
24 | 2564646.4426 | 1206731.3143 | 2564609.9539 | 1206707.6736
25 | 2564671.264 | 1206670.7698 | 2564663.1997 | 1206690.1813
26 | 2564503.2802 | 1206312.5296 | 2564491.4434 | 1206327.0126
27 | 2564503.2802 | 1206312.5296 | 2564510.9941 | 1206314.2401 | 2564523.7137 | 1206314.9647 | 2564548.3016 | 1206333.0952 | 2564556.7679 | 1206338.5701 | 2564564.9776 | 1206341.8119 | 2564568.2553 | 1206346.9175
28 | 2564568.2553 | 1206346.9175 | 2564549.398 | 1206379.2591 | 2564559.5869 | 1206387.947
29 | 2564766.2843 | 1206780.1433 | 2564759.1003 | 1206789.3298
30 | 2564766.2843 | 1206780.1433 | 2564774.0673 | 1206770.1908 | 2564784.7973 | 1206760.2186
31 | 2564750.362 | 1206800.5038 | 2564759.1003 | 1206789.3298
32 | 2564784.7973 | 1206760.2186 | 2564788.8137 | 1206756.4858
33 | 2564750.362 | 1206800.5038 | 2564728.3366 | 1206785.766
34 | 2564750.362 | 1206800.5038 | 2564763.0622 | 1206808.9934
35 | 2564796.6301 | 1206749.2214 | 2564788.8137 | 1206756.4858
36 | 2564728.3366 | 1206785.766 | 2564707.3034 | 1206771.6922
37 | 2564763.0622 | 1206808.9934 | 2564763.8139 | 1206809.4959 | 2564791.1393 | 1206827.7772
38 | 2564796.6301 | 1206749.2214 | 2564802.0638 | 1206744.1714
39 | 2564671.1996 | 1206747.532 | 2564697.7603 | 1206765.3067 | 2564707.3034 | 1206771.6922
40 | 2564791.2214 | 1206827.8321 | 2564791.1393 | 1206827.7772
41 | 2564702.6249 | 1206835.7375 | 2564690.3547 | 1206823.9529
42 | 2564702.6249 | 1206835.7375 | 2564709.1272 | 1206841.9826 | 2564709.5129 | 1206842.3108
43 | 2564674.8707 | 1206809.1529 | 2564678.1462 | 1206812.2273 | 2564690.3547 | 1206823.9529
44 | 2564709.5129 | 1206842.3108 | 2564738.2042 | 1206866.7238
45 | 2564663.7009 | 1206798.669 | 2564674.8707 | 1206809.1529
46 | 2564741.4874 | 1206869.5175 | 2564738.2042 | 1206866.7238
47 | 2564642.7086 | 1206779.875 | 2564653.5464 | 1206789.1381 | 2564663.7009 | 1206798.669
48 | 2564741.4874 | 1206869.5175 | 2564748.7927 | 1206875.7334 | 2564758.7059 | 1206883.3487
49 | 2564642.7086 | 1206779.875 | 2564639.0863 | 1206785.8332 | 2564626.2757 | 1206799.3905
50 | 2564642.7086 | 1206779.875 | 2564636.7097 | 1206774.9078 | 2564610.6685 | 1206750.5253
51 | 2564642.7086 | 1206779.875 | 2564645.9534 | 1206773.1186 | 2564639.3419 | 1206754.6252 | 2564640.2914 | 1206753.4455
52 | 2564501.1733 | 1206671.9007 | 2564479.6961 | 1206704.1207
53 | 2564477.372 | 1206707.6073 | 2564479.6961 | 1206704.1207
54 | 2564501.1733 | 1206671.9007 | 2564513.8383 | 1206679.143
55 | 2564501.1733 | 1206671.9007 | 2564495.4353 | 1206668.622 | 2564457.679 | 1206649.4253 | 2564422.1767 | 1206629.515 | 2564388.6805 | 1206609.3928 | 2564306.9294 | 1206559.3986 | 2564252.9948 | 1206525.9033 | 2564238.5358 | 1206519.1307
56 | 2564543.3128 | 1206695.9976 | 2564513.8383 | 1206679.143
57 | 2564238.5358 | 1206519.1307 | 2564231.0043 | 1206535.0739 | 2564245.7237 | 1206543.4346
58 | 2564566.8979 | 1206710.6603 | 2564559.8584 | 1206705.4589 | 2564543.3128 | 1206695.9976
59 | 2564256.7068 | 1206557.7212 | 2564243.0762 | 1206550.8325 | 2564245.7237 | 1206543.4346
60 | 2564566.8979 | 1206710.6603 | 2564572.5602 | 1206714.8442 | 2564575.8798 | 1206717.9523
61 | 2564581.7016 | 1206723.4033 | 2564575.8798 | 1206717.9523
62 | 2564581.7016 | 1206723.4033 | 2564588.0198 | 1206729.3191
63 | 2564663.1997 | 1206690.1813 | 2564655.9809 | 1206707.5577
64 | 2564655.1346 | 1206709.5948 | 2564655.9809 | 1206707.5577
65 | 2564682.9517 | 1206728.9073 | 2564656.677 | 1206710.664 | 2564655.1346 | 1206709.5948
66 | 2564646.4426 | 1206731.3143 | 2564650.7187 | 1206720.2159 | 2564655.1346 | 1206709.5948
67 | 2564646.4426 | 1206731.3143 | 2564671.1996 | 1206747.532
68 | 2564671.1996 | 1206747.532 | 2564666.0384 | 1206754.2887
69 | 2564666.0384 | 1206754.2887 | 2564666.8319 | 1206758.5753 | 2564660.7126 | 1206760.2014 | 2564643.4332 | 1206749.5424 | 2564640.2914 | 1206753.4455
70 | 2564588.0198 | 1206729.3191 | 2564591.7437 | 1206732.8058
71 | 2564606.7515 | 1206746.8577 | 2564591.7437 | 1206732.8058
72 | 2564610.6685 | 1206750.5253 | 2564606.7515 | 1206746.8577
73 | 2564626.2757 | 1206799.3905 | 2564617.987 | 1206808.1621
74 | 2564614.2174 | 1206812.1514 | 2564617.987 | 1206808.1621
75 | 2564635.5942 | 1206834.1479 | 2564635.5942 | 1206834.1479 | 2564631.6497 | 1206826.8117 | 2564614.2174 | 1206812.1514 | 2564614.2174 | 1206812.1514
76 | 2564635.5942 | 1206834.1479 | 2564633.3852 | 1206839.8976 | 2564632.456 | 1206842.2045 | 2564627.9371 | 1206853.371 | 2564601.116 | 1206877.4329 | 2564599.7632 | 1206886.5016 | 2564603.4406 | 1206893.6616 | 2564619.163 | 1206899.5826 | 2564624.4458 | 1206903.6092
77 | 2564632.3663 | 1206915.3797 | 2564632.4925 | 1206909.7424 | 2564624.4458 | 1206903.6092
78 | 2564632.3663 | 1206915.3797 | 2564628.4098 | 1206920.2192
79 | 2564632.3663 | 1206915.3797 | 2564636.6514 | 1206910.9295 | 2564643.0091 | 1206908.4904 | 2564650.8354 | 1206907.51 | 2564660.2856 | 1206909.7885 | 2564681.4787 | 1206923.5103
80 | 2564628.4098 | 1206920.2192 | 2564624.3388 | 1206925.1987
81 | 2564697.5816 | 1206940.2289 | 2564690.7697 | 1206931.4754 | 2564682.9491 | 1206924.4623 | 2564681.4787 | 1206923.5103
82 | 2564610.1687 | 1206939.3533 | 2564617.7436 | 1206933.2656 | 2564624.3388 | 1206925.1987
83 | 2564697.5816 | 1206940.2289 | 2564703.7664 | 1206941.3442
84 | 2564817.7411 | 1206845.2193 | 2564804.7953 | 1206836.9134 | 2564791.2214 | 1206827.8321
85 | 2564817.7411 | 1206845.2193 | 2564845.3965 | 1206802.2023
86 | 2564596.1317 | 1206964.9898 | 2564594.9242 | 1206958.8602 | 2564596.2245 | 1206951.1926 | 2564601.1171 | 1206946.6276 | 2564610.1687 | 1206939.3533
87 | 2564596.1317 | 1206964.9898 | 2564593.4972 | 1206965.439
88 | 2564581.6539 | 1206965.0204 | 2564590.3889 | 1206965.969 | 2564593.4972 | 1206965.439
89 | 2564581.6539 | 1206965.0204 | 2564569.1644 | 1206974.9581
90 | 2564581.6539 | 1206965.0204 | 2564572.5443 | 1206959.9162 | 2564568.3024 | 1206957.5401 | 2564559.0799 | 1206945.9789
91 | 2564554.6394 | 1206940.4124 | 2564559.0799 | 1206945.9789
92 | 2564554.6394 | 1206940.4124 | 2564544.5679 | 1206927.7868 | 2564527.3091 | 1206911.6027 | 2564517.9525 | 1206905.6371
93 | 2564517.9525 | 1206905.6371 | 2564508.6691 | 1206899.7182 | 2564499.918 | 1206895.7121

## bus_geodata
| x | y | coords
0 | 2564433.4595 | 1206361.0443
1 | 2564534.1517 | 1206484.0758
2 | 2564488.4362 | 1206573.8213
3 | 2564580.874 | 1206406.0981
4 | 2564457.0294 | 1206606.8829
5 | 2564502.6352 | 1206574.2463
6 | 2564329.2972 | 1206522.7516
7 | 2564509.801 | 1206574.4609
8 | 2564553.0175 | 1206575.7708
9 | 2564571.7364 | 1206577.7716
10 | 2564557.1084 | 1206576.2081
11 | 2564583.2006 | 1206577.8592
12 | 2564710.1943 | 1206589.8449
13 | 2564733.6661 | 1206559.8111
14 | 2564653.4867 | 1206543.5775
15 | 2564684.3543 | 1206636.2137
16 | 2564596.9164 | 1206416.9977
17 | 2564572.4339 | 1206398.9013
18 | 2564754.9911 | 1206577.8308
19 | 2564604.5928 | 1206406.5192
20 | 2564622.0552 | 1206576.4939
21 | 2564578.2327 | 1206687.1224
22 | 2564609.9539 | 1206707.6736
23 | 2564611.7323 | 1206576.5201
24 | 2564671.264 | 1206670.7698
25 | 2564503.2802 | 1206312.5296
26 | 2564491.4434 | 1206327.0126
27 | 2564568.2553 | 1206346.9175
28 | 2564559.5869 | 1206387.947
29 | 2564766.2843 | 1206780.1433
30 | 2564759.1003 | 1206789.3298
31 | 2564784.7973 | 1206760.2186
32 | 2564750.362 | 1206800.5038
33 | 2564788.8137 | 1206756.4858
34 | 2564728.3366 | 1206785.7661
35 | 2564763.0622 | 1206808.9934
36 | 2564796.6301 | 1206749.2214
37 | 2564707.3034 | 1206771.6922
38 | 2564791.1393 | 1206827.7772
39 | 2564802.0638 | 1206744.1714
40 | 2564702.6249 | 1206835.7375
41 | 2564690.3547 | 1206823.9529
42 | 2564709.5129 | 1206842.3108
43 | 2564674.8707 | 1206809.1529
44 | 2564738.2042 | 1206866.7238
45 | 2564663.7009 | 1206798.669
46 | 2564741.4874 | 1206869.5175
47 | 2564642.7086 | 1206779.875
48 | 2564758.7059 | 1206883.3487
49 | 2564479.6961 | 1206704.1207
50 | 2564501.1733 | 1206671.9007
51 | 2564477.372 | 1206707.6073
52 | 2564513.8383 | 1206679.143
53 | 2564238.5358 | 1206519.1307
54 | 2564543.3128 | 1206695.9976
55 | 2564245.7237 | 1206543.4346
56 | 2564566.8979 | 1206710.6603
57 | 2564256.7068 | 1206557.7212
58 | 2564575.8798 | 1206717.9523
59 | 2564581.7016 | 1206723.4033
60 | 2564663.1997 | 1206690.1813
61 | 2564655.9809 | 1206707.5577
62 | 2564655.1346 | 1206709.5948
63 | 2564682.9517 | 1206728.9073
64 | 2564646.4426 | 1206731.3143
65 | 2564671.1996 | 1206747.532
66 | 2564666.0384 | 1206754.2887
67 | 2564640.2914 | 1206753.4455
68 | 2564588.0198 | 1206729.3191
69 | 2564591.7437 | 1206732.8058
70 | 2564606.7515 | 1206746.8577
71 | 2564610.6685 | 1206750.5253
72 | 2564626.2757 | 1206799.3905
73 | 2564617.987 | 1206808.1621
74 | 2564614.2174 | 1206812.1514
75 | 2564635.5942 | 1206834.1479
76 | 2564624.4458 | 1206903.6092
77 | 2564632.3663 | 1206915.3797
78 | 2564628.4098 | 1206920.2192
79 | 2564681.4787 | 1206923.5103
80 | 2564624.3388 | 1206925.1987
81 | 2564697.5816 | 1206940.2289
82 | 2564791.2214 | 1206827.8321
83 | 2564817.7411 | 1206845.2193
84 | 2564845.3965 | 1206802.2023
85 | 2564703.7664 | 1206941.3442
86 | 2564610.1687 | 1206939.3533
87 | 2564596.1317 | 1206964.9898
88 | 2564593.4972 | 1206965.439
89 | 2564581.6539 | 1206965.0204
90 | 2564569.1644 | 1206974.9581
91 | 2564559.0799 | 1206945.9789
92 | 2564554.6394 | 1206940.4124
93 | 2564517.9525 | 1206905.6371
94 | 2564499.918 | 1206895.7121
95 | 2564642.7086 | 1206779.875

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1