## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-107_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-107_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-107_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6458-107_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6458-107_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6458-107_0_2_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_6458-107_0_2_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_6458-107_0_2_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_6458-107_0_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_6458-107_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6458-107_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6458-107_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6458-107_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6458-107_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6458-107_0_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_6458-107_0_2_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_6458-107_0_2_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_6458-107_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6458-107_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6458-107_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6458-107_0_2_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_6458-107_0_2_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_6458-107_0_2_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_6458-107_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6458-107_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6458-107_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6458-107_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6458-107_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6458-107_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6458-107_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6458-107_0_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6458-107_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6458-107_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6458-107_0_2_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6458-107_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6458-107_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6458-107_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6458-107_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6458-107_0_2_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_6458-107_0_2_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_6458-107_0_2_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_6458-107_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_6458-107_0_2_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_6458-107_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6458-107_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6458-107_0_2_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_6458-107_0_2_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6458-107_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6458-107_0_2_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6458-107_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6458-107_0_2_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6458-107_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6458-107_0_2_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6458-107_0_2_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_6458-107_0_2_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_6458-107_0_2_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_6458-107_0_2_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_6458-107_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_6458-107_0_2_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6458-107_0_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6458-107_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6458-107_0_2_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_6458-107_0_2_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6458-107_0_2_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6458-107_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6458-107_0_2_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6458-107_0_2_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6458-107_0_2_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6458-107_0_2_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6458-107_0_2_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6458-107_0_2_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6458-107_0_2_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6458-107_0_2_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_6458-107_0_2_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_6458-107_0_2_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_6458-107_0_2_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6458-107_0_2_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_6458-107_0_2_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_6458-107_0_2_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6458-107_0_2_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_6458-107_0_2_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6458-107_0_2_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_6458-107_0_2_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_6458-107_0_2_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_6458-107_0_2_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_6458-107_0_2_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_6458-107_0_2_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_6458-107_0_2_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_6458-107_0_2_node_89 | 0.4 | n |  | TRUE
89 | bus_MV_327_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-107_0_2_load_0 | 0 | 0.0017171 | 0.00043035 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-107_0_2_load_2 | 2 | 0.0017555 | 0.00043997 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-107_0_2_load_3 | 3 | 0.0015714 | 0.00039383 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-107_0_2_load_4 | 4 | 0.0019486 | 0.00048836 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-107_0_2_load_56 | 5 | 0.0010096 | 0.00025304 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-107_0_2_load_69 | 6 | 0.0011267 | 0.00028237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-107_0_2_load_57 | 7 | 0.0029429 | 0.00073755 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-107_0_2_load_25 | 8 | 0.0013575 | 0.00034021 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-107_0_2_load_5 | 9 | 0.0026281 | 0.00065866 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-107_0_2_load_6 | 10 | 0.0048914 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-107_0_2_load_7 | 11 | 0.002163 | 0.0005421 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-107_0_2_load_8 | 12 | 0.003435 | 0.00086089 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-107_0_2_load_9 | 13 | 0.0043542 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-107_0_2_load_30 | 14 | 0.0044817 | 0.0011232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-107_0_2_load_36 | 15 | 0.0024827 | 0.00062222 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-107_0_2_load_31 | 16 | 0.0028508 | 0.00071448 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-107_0_2_load_10 | 17 | 0.0015882 | 0.00039804 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-107_0_2_load_11 | 18 | 0.0026969 | 0.0006759 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-107_0_2_load_13 | 19 | 0.0028147 | 0.00070542 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-107_0_2_load_73 | 20 | 0.0031553 | 0.00079079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-107_0_2_load_74 | 21 | 0.0019482 | 0.00048827 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-107_0_2_load_75 | 22 | 0.0011061 | 0.0002772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-107_0_2_load_14 | 23 | 0.0060426 | 0.0015144 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-107_0_2_load_15 | 24 | 0.0019207 | 0.00048137 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-107_0_2_load_19 | 28 | 0.0024204 | 0.00060661 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-107_0_2_load_32 | 29 | 0.0015806 | 0.00039614 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-107_0_2_load_33 | 30 | 0.0067934 | 0.0017026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-107_0_2_load_39 | 31 | 0.0039234 | 0.00098329 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-107_0_2_load_34 | 32 | 0.0026966 | 0.00067583 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-107_0_2_load_20 | 33 | 0.0012631 | 0.00031656 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-107_0_2_load_21 | 34 | 0.0016077 | 0.00040292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-107_0_2_load_23 | 36 | 0.0010322 | 0.00025869 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-107_0_2_load_24 | 37 | 0.047276 | 0.011848 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-107_0_2_load_81 | 40 | 0.0016532 | 0.00041434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-107_0_2_load_44 | 41 | 0.0043484 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-107_0_2_load_91 | 42 | 0.0012224 | 0.00030637 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-107_0_2_load_26 | 43 | 0.0016805 | 0.00042117 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-107_0_2_load_27 | 44 | 0.0013871 | 0.00034763 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-107_0_2_load_28 | 45 | 0.00055047 | 0.00013796 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-107_0_2_load_40 | 47 | 0.0021369 | 0.00053556 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-107_0_2_load_38 | 49 | 0.0031237 | 0.00078286 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-107_0_2_load_48 | 50 | 0.0014173 | 0.00035521 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-107_0_2_load_45 | 51 | 0.0011807 | 0.00029591 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-107_0_2_load_35 | 52 | 0.0026589 | 0.00066639 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-107_0_2_load_61 | 53 | 0.0038677 | 0.00096934 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-107_0_2_load_68 | 54 | 0.0013862 | 0.00034742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-107_0_2_load_37 | 55 | 0.0046616 | 0.0011683 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-107_0_2_load_41 | 56 | 0.00186 | 0.00046615 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-107_0_2_load_42 | 57 | 0.0019602 | 0.00049128 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-107_0_2_load_43 | 58 | 0.0011268 | 0.00028239 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-107_0_2_load_49 | 59 | 0.0013064 | 0.00032742 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-107_0_2_load_50 | 60 | 0.0014968 | 0.00037515 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-107_0_2_load_64 | 61 | 0.0021516 | 0.00053924 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-107_0_2_load_63 | 62 | 0.0018065 | 0.00045276 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-107_0_2_load_51 | 63 | 0.0020818 | 0.00052175 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-107_0_2_load_52 | 64 | 0.0024723 | 0.00061961 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-107_0_2_load_53 | 65 | 0.0015849 | 0.00039721 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-107_0_2_load_54 | 66 | 0.0052246 | 0.0013094 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-107_0_2_load_55 | 67 | 0.00078112 | 0.00019577 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6458-107_0_2_load_58 | 68 | 0.0021246 | 0.00053246 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6458-107_0_2_load_59 | 69 | 0.0022418 | 0.00056184 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6458-107_0_2_load_66 | 70 | 0.0013033 | 0.00032665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6458-107_0_2_load_67 | 71 | 0.0015126 | 0.00037909 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6458-107_0_2_load_60 | 72 | 0.0012791 | 0.00032056 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6458-107_0_2_load_87 | 74 | 0.00032324 | 8.1012e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6458-107_0_2_load_65 | 76 | 0.0016502 | 0.00041358 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6458-107_0_2_load_70 | 77 | 0.0012416 | 0.00031117 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6458-107_0_2_load_72 | 78 | 0.0022861 | 0.00057294 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6458-107_0_2_load_84 | 79 | 0.0080623 | 0.0020206 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6458-107_0_2_load_78 | 80 | 0.0014534 | 0.00036427 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6458-107_0_2_load_83 | 81 | 0.0027873 | 0.00069857 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6458-107_0_2_load_79 | 82 | 0.0018985 | 0.0004758 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6458-107_0_2_load_77 | 83 | 0.0025659 | 0.00064308 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6458-107_0_2_load_80 | 84 | 0.0021289 | 0.00053356 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6458-107_0_2_load_85 | 85 | 0.0072711 | 0.0018223 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6458-107_0_2_load_86 | 86 | 0.00078182 | 0.00019594 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6458-107_0_2_load_88 | 87 | 0.00040325 | 0.00010106 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6458-107_0_2_load_89 | 88 | 0.00028741 | 7.2031e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-107_0_2_line_0 |  | 0 | 1 | 0.029184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-107_0_2_line_1 |  | 0 | 2 | 0.00039552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6458-107_0_2_line_2 |  | 1 | 3 | 0.0068891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-107_0_2_line_3 |  | 1 | 4 | 0.020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6458-107_0_2_line_4 |  | 3 | 5 | 0.0039829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6458-107_0_2_line_5 |  | 4 | 6 | 0.0037939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-107_0_2_line_6 |  | 5 | 7 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-107_0_2_line_7 |  | 6 | 8 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-107_0_2_line_8 |  | 7 | 70 | 0.03121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6458-107_0_2_line_9 |  | 8 | 35 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-107_0_2_line_10 |  | 9 | 10 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-107_0_2_line_11 |  | 9 | 11 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-107_0_2_line_12 |  | 10 | 12 | 0.0099746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-107_0_2_line_13 |  | 11 | 13 | 0.030796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-107_0_2_line_14 |  | 12 | 14 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-107_0_2_line_15 |  | 13 | 15 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-107_0_2_line_16 |  | 14 | 16 | 0.011721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6458-107_0_2_line_17 |  | 16 | 29 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6458-107_0_2_line_18 |  | 17 | 18 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-107_0_2_line_19 |  | 18 | 19 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-107_0_2_line_20 |  | 19 | 20 | 0.072341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-107_0_2_line_21 |  | 20 | 22 | 0.017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-107_0_2_line_22 |  | 20 | 21 | 0.0047599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-107_0_2_line_23 |  | 22 | 83 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-107_0_2_line_24 |  | 23 | 24 | 0.028009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-107_0_2_line_25 |  | 23 | 25 | 0.0080664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6458-107_0_2_line_26 |  | 24 | 26 | 0.022043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-107_0_2_line_27 |  | 25 | 27 | 0.05105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-107_0_2_line_28 |  | 25 | 28 | 0.04173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-107_0_2_line_29 |  | 26 | 29 | 0.022505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6458-107_0_2_line_30 |  | 26 | 30 | 0.018533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-107_0_2_line_31 |  | 27 | 31 | 0.053857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-107_0_2_line_32 |  | 30 | 32 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-107_0_2_line_33 |  | 32 | 52 | 0.046343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-107_0_2_line_34 |  | 33 | 34 | 0.044272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-107_0_2_line_35 |  | 33 | 35 | 0.009169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-107_0_2_line_36 |  | 34 | 36 | 0.0066297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-107_0_2_line_37 |  | 35 | 37 | 0.055854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-107_0_2_line_38 |  | 36 | 38 | 0.0081416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-107_0_2_line_39 |  | 37 | 39 | 0.27528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-107_0_2_line_40 |  | 38 | 40 | 0.0043324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-107_0_2_line_41 |  | 38 | 41 | 0.023566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-107_0_2_line_42 |  | 39 | 42 | 0.028661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-107_0_2_line_43 |  | 40 | 67 | 0.0058499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-107_0_2_line_44 |  | 41 | 57 | 0.0058952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-107_0_2_line_45 |  | 43 | 44 | 0.042524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-107_0_2_line_46 |  | 43 | 45 | 0.013272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-107_0_2_line_47 |  | 44 | 46 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-107_0_2_line_48 |  | 46 | 47 | 0.054231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-107_0_2_line_49 |  | 46 | 48 | 0.025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-107_0_2_line_50 |  | 47 | 49 | 0.033876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-107_0_2_line_51 |  | 48 | 50 | 0.02914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-107_0_2_line_52 |  | 48 | 51 | 0.028009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-107_0_2_line_53 |  | 49 | 55 | 0.035078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-107_0_2_line_54 |  | 50 | 59 | 0.014543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-107_0_2_line_55 |  | 51 | 58 | 0.0033147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-107_0_2_line_56 |  | 52 | 53 | 0.052336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-107_0_2_line_57 |  | 53 | 54 | 0.042157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-107_0_2_line_58 |  | 54 | 75 | 0.0098602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-107_0_2_line_59 |  | 56 | 57 | 0.0073687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-107_0_2_line_60 |  | 56 | 58 | 0.028183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-107_0_2_line_61 |  | 59 | 60 | 0.0069591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-107_0_2_line_62 |  | 60 | 61 | 0.024979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-107_0_2_line_63 |  | 61 | 62 | 0.020155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-107_0_2_line_64 |  | 62 | 76 | 0.0097347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-107_0_2_line_65 |  | 63 | 64 | 0.0016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-107_0_2_line_66 |  | 63 | 65 | 0.02498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-107_0_2_line_67 |  | 64 | 66 | 0.015838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-107_0_2_line_68 |  | 65 | 67 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-107_0_2_line_69 |  | 66 | 68 | 0.0024504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-107_0_2_line_70 |  | 68 | 69 | 0.02453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-107_0_2_line_71 |  | 69 | 72 | 0.018344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-107_0_2_line_72 |  | 70 | 71 | 0.040867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-107_0_2_line_73 |  | 71 | 77 | 0.018332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-107_0_2_line_74 |  | 72 | 73 | 0.057067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-107_0_2_line_75 |  | 73 | 74 | 0.57689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-107_0_2_line_76 |  | 74 | 87 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-107_0_2_line_77 |  | 74 | 86 | 0.0040103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-107_0_2_line_78 |  | 75 | 78 | 0.013269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-107_0_2_line_79 |  | 75 | 79 | 0.072493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6458-107_0_2_line_80 |  | 75 | 77 | 0.0082107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6458-107_0_2_line_81 |  | 78 | 80 | 0.021692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6458-107_0_2_line_82 |  | 79 | 81 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6458-107_0_2_line_83 |  | 80 | 82 | 0.0026173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6458-107_0_2_line_84 |  | 82 | 84 | 0.01814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6458-107_0_2_line_85 |  | 83 | 84 | 0.00085782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6458-107_0_2_line_86 |  | 85 | 86 | 0.048814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6458-107_0_2_line_87 |  | 87 | 88 | 0.0026289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-107_0_2_trafo_25 | 0.63 MVA 20/0.4 kV | 89 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2556194.9105 | 1203953.1815 | 2556177.005 | 1203976.227
1 | 2556176.7624 | 1203976.5393 | 2556177.005 | 1203976.227
2 | 2556194.9105 | 1203953.1815 | 2556199.9962 | 1203953.6777 | 2556201.7464 | 1203953.3577
3 | 2556194.9105 | 1203953.1815 | 2556191.2484 | 1203952.8193 | 2556177.4314 | 1203948.5629 | 2556175.3578 | 1203947.5235
4 | 2556201.7464 | 1203953.3577 | 2556205.6643 | 1203952.6414
5 | 2556175.3578 | 1203947.5235 | 2556171.9662 | 1203945.8233
6 | 2556222.9162 | 1203949.4872 | 2556205.6643 | 1203952.6414
7 | 2556153.6115 | 1203937.0093 | 2556159.8148 | 1203939.7319 | 2556171.9662 | 1203945.8233
8 | 2556222.9162 | 1203949.4872 | 2556224.1343 | 1203949.2645 | 2556240.8718 | 1203939.9362 | 2556245.9954 | 1203930.4175
9 | 2556138.3899 | 1203930.3287 | 2556153.6115 | 1203937.0093
10 | 2556250.4328 | 1204037.1555 | 2556260.2537 | 1204036.8602 | 2556262.1337 | 1204036.5575
11 | 2556232.9817 | 1204037.5198 | 2556241.1698 | 1204037.434 | 2556250.4328 | 1204037.1555
12 | 2556262.1337 | 1204036.5575 | 2556271.9815 | 1204034.9716
13 | 2556202.9145 | 1204032.1109 | 2556223.3916 | 1204037.6203 | 2556232.9817 | 1204037.5198
14 | 2556271.9815 | 1204034.9716 | 2556287.282 | 1204032.5077
15 | 2556191.8173 | 1204029.1253 | 2556202.9145 | 1204032.1109
16 | 2556298.6313 | 1204029.887 | 2556295.7709 | 1204031.1408 | 2556287.282 | 1204032.5077
17 | 2556298.6313 | 1204029.887 | 2556326.2126 | 1204017.7975
18 | 2556371.5632 | 1203840.6255 | 2556360.8182 | 1203841.5626
19 | 2556347.9564 | 1203842.6842 | 2556360.8182 | 1203841.5626
20 | 2556302.0401 | 1203786.783 | 2556347.9564 | 1203842.6842
21 | 2556302.0401 | 1203786.783 | 2556289.8248 | 1203798.8671
22 | 2556302.0401 | 1203786.783 | 2556305.4239 | 1203783.4355
23 | 2556280.4493 | 1203813.2147 | 2556285.0395 | 1203803.601 | 2556289.8248 | 1203798.8671
24 | 2556364.7039 | 1204007.9254 | 2556392.0774 | 1204013.8595
25 | 2556399.9607 | 1204015.5685 | 2556392.0774 | 1204013.8595
26 | 2556343.1612 | 1204003.2552 | 2556364.7039 | 1204007.9254
27 | 2556363.3988 | 1204051.0898 | 2556374.6886 | 1204037.5549 | 2556399.9607 | 1204015.5685
28 | 2556399.9607 | 1204015.5685 | 2556404.8707 | 1204013.8983 | 2556433.2095 | 1203990.8249
29 | 2556343.1612 | 1204003.2552 | 2556329.305 | 1204016.442 | 2556326.2126 | 1204017.7975
30 | 2556343.1612 | 1204003.2552 | 2556325.8642 | 1203996.5997
31 | 2556363.3988 | 1204051.0898 | 2556348.2225 | 1204060.6064 | 2556332.6758 | 1204069.4142 | 2556319.8375 | 1204075.1004 | 2556316.0216 | 1204076.4105
32 | 2556314.8187 | 1203992.3496 | 2556325.8642 | 1203996.5997
33 | 2556314.8187 | 1203992.3496 | 2556311.8882 | 1203991.222 | 2556289.8808 | 1203973.9291 | 2556279.3696 | 1203962.9296
34 | 2556086.6753 | 1203924.7614 | 2556094.9235 | 1203921.8218 | 2556100.3645 | 1203921.9929 | 2556111.0562 | 1203922.3143 | 2556129.8168 | 1203927.1562
35 | 2556138.3899 | 1203930.3287 | 2556133.0852 | 1203927.9998 | 2556129.8168 | 1203927.1562
36 | 2556086.6753 | 1203924.7614 | 2556080.4303 | 1203926.9871
37 | 2556138.3899 | 1203930.3287 | 2556146.6266 | 1203919.6287 | 2556148.6788 | 1203912.1204 | 2556143.4979 | 1203902.8532 | 2556125.9322 | 1203886.4955
38 | 2556073.9082 | 1203931.8602 | 2556080.4303 | 1203926.9871 | 2556080.4303 | 1203926.9871
39 | 2556125.9322 | 1203886.4955 | 2555947.3582 | 1203676.9937
40 | 2556073.9082 | 1203931.8602 | 2556070.1607 | 1203934.0341
41 | 2556073.9082 | 1203931.8602 | 2556072.736 | 1203950.346 | 2556073.8014 | 1203955.2748
42 | 2555947.3582 | 1203676.9937 | 2555940.4334 | 1203678.8904 | 2555927.1299 | 1203695.8096
43 | 2556065.1005 | 1203936.9694 | 2556070.1607 | 1203934.0341
44 | 2556075.0469 | 1203961.0369 | 2556073.8014 | 1203955.2748
45 | 2556104.0219 | 1204041.3535 | 2556118.5094 | 1204036.5579 | 2556132.2032 | 1204025.1505 | 2556138.1225 | 1204017.7965
46 | 2556146.4442 | 1204007.4578 | 2556138.1225 | 1204017.7965
47 | 2556094.2235 | 1204044.5969 | 2556104.0219 | 1204041.3535
48 | 2556094.2235 | 1204044.5969 | 2556147.0324 | 1204056.9358
49 | 2556084.233 | 1204026.8716 | 2556083.8743 | 1204042.1829 | 2556094.2235 | 1204044.5969
50 | 2556179.8826 | 1204065.2065 | 2556152.1124 | 1204058.1228 | 2556147.0324 | 1204056.9358
51 | 2556084.233 | 1204026.8716 | 2556055.4713 | 1204022.1896
52 | 2556084.233 | 1204026.8716 | 2556084.7322 | 1204005.8448 | 2556083.2582 | 1203999.0256
53 | 2556213.8718 | 1204073.8765 | 2556179.8826 | 1204065.2065
54 | 2556055.4713 | 1204022.1896 | 2556041.1175 | 1204019.8531
55 | 2556083.2582 | 1203999.0256 | 2556082.5579 | 1203995.7857
56 | 2556279.3696 | 1203962.9296 | 2556277.1999 | 1203960.6591 | 2556268.0572 | 1203944.3724 | 2556265.5528 | 1203913.957
57 | 2556265.5528 | 1203913.957 | 2556262.0934 | 1203871.9421
58 | 2556256.072 | 1203864.2704 | 2556262.043 | 1203871.3305 | 2556262.0934 | 1203871.9421
59 | 2556076.6037 | 1203968.2393 | 2556075.0469 | 1203961.0369
60 | 2556076.6037 | 1203968.2393 | 2556082.5579 | 1203995.7857
61 | 2556034.2488 | 1204018.735 | 2556041.1175 | 1204019.8531
62 | 2556034.2488 | 1204018.735 | 2556009.5942 | 1204014.7216
63 | 2555989.701 | 1204011.4833 | 2556009.5942 | 1204014.7216
64 | 2555980.0928 | 1204009.9193 | 2555989.701 | 1204011.4833
65 | 2556032.954 | 1203953.094 | 2556031.4416 | 1203953.6738
66 | 2556032.954 | 1203953.094 | 2556045.7801 | 1203948.1769 | 2556055.5062 | 1203942.535
67 | 2556031.4416 | 1203953.6738 | 2556016.6536 | 1203959.3429
68 | 2556065.1005 | 1203936.9694 | 2556055.5062 | 1203942.535
69 | 2556014.3655 | 1203960.2201 | 2556016.6536 | 1203959.3429
70 | 2556014.3655 | 1203960.2201 | 2555991.4609 | 1203969.0009
71 | 2555974.7394 | 1203976.5444 | 2555991.4609 | 1203969.0009 | 2555991.4609 | 1203969.0009
72 | 2556251.0513 | 1203890.2934 | 2556248.61 | 1203925.5601 | 2556245.9954 | 1203930.4175
73 | 2556254.3183 | 1203872.2916 | 2556251.3612 | 1203885.8172 | 2556251.0513 | 1203890.2934
74 | 2555932.6474 | 1204011.6376 | 2555935.3445 | 1204003.9355 | 2555941.1325 | 1203995.4879 | 2555961.972 | 1203982.3041 | 2555974.7394 | 1203976.5444
75 | 2555932.6474 | 1204011.6376 | 2555360.7716 | 1203935.7716
76 | 2555362.0991 | 1203925.5132 | 2555360.7716 | 1203935.7716
77 | 2555360.1484 | 1203939.7266 | 2555360.3538 | 1203939.0008 | 2555360.7716 | 1203935.7716
78 | 2556256.072 | 1203864.2704 | 2556261.7892 | 1203852.2964
79 | 2556256.072 | 1203864.2704 | 2556187.9868 | 1203839.3787
80 | 2556256.072 | 1203864.2704 | 2556254.3183 | 1203872.2916
81 | 2556261.7892 | 1203852.2964 | 2556271.1358 | 1203832.7208
82 | 2556187.9868 | 1203839.3787 | 2556191.122 | 1203818.8508
83 | 2556271.1358 | 1203832.7208 | 2556272.2636 | 1203830.3589
84 | 2556280.0797 | 1203813.9888 | 2556272.2636 | 1203830.3589
85 | 2556280.4493 | 1203813.2147 | 2556280.0797 | 1203813.9888
86 | 2555344.8087 | 1203986.0053 | 2555352.7717 | 1203965.7952 | 2555360.1484 | 1203939.7266
87 | 2555362.0991 | 1203925.5132 | 2555362.4365 | 1203922.906

## bus_geodata
| x | y | coords
0 | 2556177.005 | 1203976.227
1 | 2556194.9105 | 1203953.1815
2 | 2556176.7624 | 1203976.5393
3 | 2556201.7464 | 1203953.3577
4 | 2556175.3578 | 1203947.5235
5 | 2556205.6643 | 1203952.6414
6 | 2556171.9662 | 1203945.8233
7 | 2556222.9162 | 1203949.4872
8 | 2556153.6115 | 1203937.0093
9 | 2556250.4328 | 1204037.1555
10 | 2556262.1337 | 1204036.5575
11 | 2556232.9817 | 1204037.5198
12 | 2556271.9815 | 1204034.9716
13 | 2556202.9145 | 1204032.1109
14 | 2556287.282 | 1204032.5077
15 | 2556191.8173 | 1204029.1253
16 | 2556298.6313 | 1204029.887
17 | 2556371.5632 | 1203840.6255
18 | 2556360.8182 | 1203841.5626
19 | 2556347.9564 | 1203842.6842
20 | 2556302.0401 | 1203786.783
21 | 2556305.4239 | 1203783.4355
22 | 2556289.8248 | 1203798.8671
23 | 2556392.0774 | 1204013.8595
24 | 2556364.7039 | 1204007.9254
25 | 2556399.9607 | 1204015.5685
26 | 2556343.1612 | 1204003.2552
27 | 2556363.3988 | 1204051.0898
28 | 2556433.2095 | 1203990.8249
29 | 2556326.2126 | 1204017.7975
30 | 2556325.8642 | 1203996.5997
31 | 2556316.0216 | 1204076.4105
32 | 2556314.8187 | 1203992.3496
33 | 2556129.8168 | 1203927.1562
34 | 2556086.6753 | 1203924.7614
35 | 2556138.3899 | 1203930.3287
36 | 2556080.4303 | 1203926.9871
37 | 2556125.9322 | 1203886.4955
38 | 2556073.9082 | 1203931.8602
39 | 2555947.3582 | 1203676.9937
40 | 2556070.1607 | 1203934.0341
41 | 2556073.8014 | 1203955.2748
42 | 2555927.1299 | 1203695.8096
43 | 2556138.1225 | 1204017.7965
44 | 2556104.0219 | 1204041.3535
45 | 2556146.4442 | 1204007.4578
46 | 2556094.2235 | 1204044.5969
47 | 2556147.0324 | 1204056.9358
48 | 2556084.233 | 1204026.8715
49 | 2556179.8826 | 1204065.2065
50 | 2556055.4713 | 1204022.1896
51 | 2556083.2582 | 1203999.0256
52 | 2556279.3696 | 1203962.9296
53 | 2556265.5528 | 1203913.957
54 | 2556262.0933 | 1203871.9421
55 | 2556213.8718 | 1204073.8765
56 | 2556076.6037 | 1203968.2392
57 | 2556075.0469 | 1203961.0369
58 | 2556082.5579 | 1203995.7857
59 | 2556041.1175 | 1204019.8531
60 | 2556034.2488 | 1204018.735
61 | 2556009.5942 | 1204014.7216
62 | 2555989.701 | 1204011.4833
63 | 2556032.954 | 1203953.094
64 | 2556031.4416 | 1203953.6738
65 | 2556055.5062 | 1203942.535
66 | 2556016.6536 | 1203959.3429
67 | 2556065.1005 | 1203936.9694
68 | 2556014.3655 | 1203960.2201
69 | 2555991.4609 | 1203969.0009
70 | 2556245.9954 | 1203930.4175
71 | 2556251.0513 | 1203890.2934
72 | 2555974.7394 | 1203976.5444
73 | 2555932.6474 | 1204011.6376
74 | 2555360.7716 | 1203935.7716
75 | 2556256.072 | 1203864.2704
76 | 2555980.0928 | 1204009.9193
77 | 2556254.3183 | 1203872.2916
78 | 2556261.7892 | 1203852.2964
79 | 2556187.9868 | 1203839.3787
80 | 2556271.1358 | 1203832.7208
81 | 2556191.122 | 1203818.8508
82 | 2556272.2636 | 1203830.3589
83 | 2556280.4493 | 1203813.2147
84 | 2556280.0797 | 1203813.9888
85 | 2555344.8087 | 1203986.0053
86 | 2555360.1484 | 1203939.7266
87 | 2555362.0991 | 1203925.5132
88 | 2555362.4365 | 1203922.906
89 | 2556138.3899 | 1203930.3287

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1