## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-11_0_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_6458-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6458-11_0_4_node_122 | 0.4 | n |  | TRUE
5 | bus_LV_6458-11_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6458-11_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6458-11_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6458-11_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6458-11_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6458-11_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6458-11_0_4_node_125 | 0.4 | n |  | TRUE
12 | bus_LV_6458-11_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6458-11_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6458-11_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6458-11_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6458-11_0_4_node_109 | 0.4 | n |  | TRUE
17 | bus_LV_6458-11_0_4_node_114 | 0.4 | n |  | TRUE
18 | bus_LV_6458-11_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6458-11_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6458-11_0_4_node_126 | 0.4 | n |  | TRUE
21 | bus_LV_6458-11_0_4_node_103 | 0.4 | n |  | TRUE
22 | bus_LV_6458-11_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6458-11_0_4_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_6458-11_0_4_node_124 | 0.4 | n |  | TRUE
25 | bus_LV_6458-11_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6458-11_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6458-11_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6458-11_0_4_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_6458-11_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6458-11_0_4_node_100 | 0.4 | n |  | TRUE
31 | bus_LV_6458-11_0_4_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_6458-11_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6458-11_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6458-11_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6458-11_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6458-11_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6458-11_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6458-11_0_4_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_6458-11_0_4_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_6458-11_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_6458-11_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_6458-11_0_4_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_6458-11_0_4_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_6458-11_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_6458-11_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_6458-11_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6458-11_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6458-11_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6458-11_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_6458-11_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_6458-11_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6458-11_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6458-11_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_6458-11_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6458-11_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_6458-11_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6458-11_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_6458-11_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6458-11_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_6458-11_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_6458-11_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_6458-11_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_6458-11_0_4_node_118 | 0.4 | n |  | TRUE
64 | bus_LV_6458-11_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_6458-11_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_6458-11_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_6458-11_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_6458-11_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_6458-11_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_6458-11_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_6458-11_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6458-11_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_6458-11_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_6458-11_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_6458-11_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_6458-11_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6458-11_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_6458-11_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_6458-11_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_6458-11_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6458-11_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6458-11_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_6458-11_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_6458-11_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6458-11_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_6458-11_0_4_node_104 | 0.4 | n |  | TRUE
87 | bus_LV_6458-11_0_4_node_105 | 0.4 | n |  | TRUE
88 | bus_LV_6458-11_0_4_node_120 | 0.4 | n |  | TRUE
89 | bus_LV_6458-11_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_6458-11_0_4_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_6458-11_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_6458-11_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_6458-11_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_6458-11_0_4_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_6458-11_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_6458-11_0_4_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_6458-11_0_4_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_6458-11_0_4_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_6458-11_0_4_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_6458-11_0_4_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_6458-11_0_4_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_6458-11_0_4_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_6458-11_0_4_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_6458-11_0_4_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_6458-11_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_6458-11_0_4_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_6458-11_0_4_node_94 | 0.4 | n |  | TRUE
108 | bus_LV_6458-11_0_4_node_95 | 0.4 | n |  | TRUE
109 | bus_LV_6458-11_0_4_node_96 | 0.4 | n |  | TRUE
110 | bus_LV_6458-11_0_4_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_6458-11_0_4_node_119 | 0.4 | n |  | TRUE
112 | bus_LV_6458-11_0_4_node_101 | 0.4 | n |  | TRUE
113 | bus_LV_6458-11_0_4_node_97 | 0.4 | n |  | TRUE
114 | bus_LV_6458-11_0_4_node_127 | 0.4 | n |  | TRUE
115 | bus_LV_6458-11_0_4_node_112 | 0.4 | n |  | TRUE
116 | bus_LV_6458-11_0_4_node_110 | 0.4 | n |  | TRUE
117 | bus_LV_6458-11_0_4_node_106 | 0.4 | n |  | TRUE
118 | bus_LV_6458-11_0_4_node_108 | 0.4 | n |  | TRUE
119 | bus_LV_6458-11_0_4_node_111 | 0.4 | n |  | TRUE
120 | bus_MV_642_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-11_0_4_load_0 | 0 | 0.007079 | 0.0017742 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-11_0_4_load_1 | 1 | 0.00042001 | 0.00010526 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-11_0_4_load_3 | 3 | 0.00065085 | 0.00016312 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-11_0_4_load_122 | 4 | 0.0057519 | 0.0014416 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-11_0_4_load_4 | 6 | 0.010626 | 0.0026632 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-11_0_4_load_12 | 9 | 0.025781 | 0.0064614 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-11_0_4_load_125 | 11 | 0.003764 | 0.00094335 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-11_0_4_load_15 | 14 | 0.014649 | 0.0036714 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-11_0_4_load_114 | 17 | 0.0035029 | 0.00087792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-11_0_4_load_14 | 18 | 0.0028109 | 0.00070447 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-11_0_4_load_13 | 19 | 0.0050793 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-11_0_4_load_126 | 20 | 0.0071929 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-11_0_4_load_103 | 21 | 0.005224 | 0.0013093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-11_0_4_load_16 | 22 | 0.004697 | 0.0011772 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-11_0_4_load_107 | 23 | 0.0016396 | 0.00041093 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-11_0_4_load_124 | 24 | 0.0036224 | 0.00090786 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-11_0_4_load_17 | 25 | 0.0015865 | 0.00039762 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-11_0_4_load_19 | 26 | 0.0077733 | 0.0019482 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-11_0_4_load_102 | 28 | 0.0059747 | 0.0014974 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-11_0_4_load_21 | 29 | 0.0028314 | 0.00070961 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-11_0_4_load_100 | 30 | 0.0031256 | 0.00078335 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-11_0_4_load_98 | 31 | 0.004283 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-11_0_4_load_22 | 32 | 0.018036 | 0.0045202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-11_0_4_load_23 | 33 | 0.0025416 | 0.00063697 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-11_0_4_load_25 | 35 | 0.0044558 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-11_0_4_load_27 | 37 | 0.0042779 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-11_0_4_load_72 | 38 | 0.010526 | 0.0026381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-11_0_4_load_65 | 40 | 0.016306 | 0.0040867 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-11_0_4_load_54 | 41 | 0.0031129 | 0.00078017 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-11_0_4_load_121 | 42 | 0.0060834 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-11_0_4_load_64 | 43 | 0.0050038 | 0.0012541 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-11_0_4_load_52 | 44 | 0.0023579 | 0.00059095 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-11_0_4_load_28 | 45 | 0.0033243 | 0.00083315 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-11_0_4_load_29 | 46 | 0.0049702 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-11_0_4_load_31 | 48 | 0.0033927 | 0.0008503 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-11_0_4_load_33 | 50 | 0.003405 | 0.00085338 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-11_0_4_load_56 | 51 | 0.0038133 | 0.00095569 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-11_0_4_load_37 | 52 | 0.005465 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-11_0_4_load_34 | 53 | 0.00332 | 0.00083207 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-11_0_4_load_49 | 54 | 0.0025318 | 0.00063452 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-11_0_4_load_57 | 55 | 0.0039223 | 0.00098301 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-11_0_4_load_45 | 56 | 0.011008 | 0.0027589 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-11_0_4_load_35 | 57 | 0.0041292 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-11_0_4_load_50 | 58 | 0.003669 | 0.00091954 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-11_0_4_load_46 | 62 | 0.0048666 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-11_0_4_load_118 | 63 | 0.0054413 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-11_0_4_load_40 | 64 | 0.0053125 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-11_0_4_load_41 | 65 | 0.0071649 | 0.0017957 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-11_0_4_load_42 | 66 | 0.0062561 | 0.0015679 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-11_0_4_load_43 | 67 | 0.00608 | 0.0015238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-11_0_4_load_47 | 69 | 0.010728 | 0.0026887 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-11_0_4_load_48 | 70 | 0.0034188 | 0.00085684 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-11_0_4_load_55 | 72 | 0.0035478 | 0.00088916 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-11_0_4_load_51 | 73 | 0.0025243 | 0.00063266 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-11_0_4_load_74 | 74 | 0.0033099 | 0.00082953 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-11_0_4_load_75 | 75 | 0.0029516 | 0.00073973 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-11_0_4_load_80 | 76 | 0.0045722 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-11_0_4_load_78 | 77 | 0.0029559 | 0.00074082 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-11_0_4_load_60 | 78 | 0.0022769 | 0.00057064 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6458-11_0_4_load_61 | 79 | 0.0070925 | 0.0017775 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6458-11_0_4_load_62 | 80 | 0.0033327 | 0.00083524 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6458-11_0_4_load_63 | 81 | 0.0054021 | 0.0013539 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6458-11_0_4_load_66 | 82 | 0.0034475 | 0.00086403 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6458-11_0_4_load_67 | 83 | 0.0038912 | 0.00097524 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6458-11_0_4_load_69 | 84 | 0.0063971 | 0.0016033 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6458-11_0_4_load_70 | 85 | 0.0073406 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6458-11_0_4_load_120 | 88 | 0.0058149 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6458-11_0_4_load_71 | 89 | 0.0042445 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6458-11_0_4_load_73 | 90 | 0.013168 | 0.0033001 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6458-11_0_4_load_91 | 92 | 0.0062616 | 0.0015693 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6458-11_0_4_load_88 | 93 | 0.0026956 | 0.00067558 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6458-11_0_4_load_81 | 94 | 0.0029363 | 0.00073591 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6458-11_0_4_load_82 | 95 | 0.0022115 | 0.00055425 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6458-11_0_4_load_76 | 96 | 0.0022781 | 0.00057094 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6458-11_0_4_load_77 | 97 | 0.002931 | 0.00073459 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6458-11_0_4_load_79 | 98 | 0.0039774 | 0.00099683 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6458-11_0_4_load_83 | 99 | 0.0038573 | 0.00096673 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6458-11_0_4_load_89 | 101 | 0.0021631 | 0.00054213 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6458-11_0_4_load_85 | 102 | 0.00162 | 0.00040602 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6458-11_0_4_load_86 | 103 | 0.0054162 | 0.0013574 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6458-11_0_4_load_116 | 104 | 0.003465 | 0.00086842 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6458-11_0_4_load_92 | 105 | 0.0028192 | 0.00070657 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6458-11_0_4_load_93 | 106 | 0.0017329 | 0.00043431 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6458-11_0_4_load_94 | 107 | 0.0026573 | 0.00066599 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6458-11_0_4_load_96 | 109 | 0.0035255 | 0.00088357 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6458-11_0_4_load_119 | 111 | 0.0060574 | 0.0015181 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6458-11_0_4_load_97 | 113 | 0.0034708 | 0.00086987 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6458-11_0_4_load_127 | 114 | 0.008566 | 0.0021468 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6458-11_0_4_load_110 | 116 | 0.00263 | 0.00065915 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6458-11_0_4_load_106 | 117 | 0.0051397 | 0.0012881 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6458-11_0_4_load_108 | 118 | 0.0027229 | 0.00068241 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6458-11_0_4_load_111 | 119 | 0.005857 | 0.0014679 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-11_0_4_line_0 |  | 0 | 1 | 0.022587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-11_0_4_line_1 |  | 0 | 2 | 0.12717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6458-11_0_4_line_2 |  | 1 | 3 | 0.028504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-11_0_4_line_3 |  | 2 | 4 | 0.066289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6458-11_0_4_line_4 |  | 2 | 5 | 0.057367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6458-11_0_4_line_5 |  | 5 | 8 | 0.034446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-11_0_4_line_6 |  | 5 | 6 | 0.033544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-11_0_4_line_7 |  | 6 | 7 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-11_0_4_line_8 |  | 7 | 9 | 0.027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6458-11_0_4_line_9 |  | 8 | 10 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-11_0_4_line_10 |  | 8 | 11 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-11_0_4_line_11 |  | 10 | 18 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-11_0_4_line_12 |  | 10 | 19 | 0.012393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-11_0_4_line_13 |  | 10 | 15 | 0.025015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-11_0_4_line_14 |  | 11 | 20 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-11_0_4_line_15 |  | 12 | 13 | 0.028361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-11_0_4_line_16 |  | 12 | 14 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6458-11_0_4_line_17 |  | 13 | 21 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6458-11_0_4_line_18 |  | 13 | 20 | 0.0068137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-11_0_4_line_19 |  | 14 | 22 | 0.030924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-11_0_4_line_20 |  | 15 | 16 | 0.004575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-11_0_4_line_21 |  | 15 | 17 | 0.015513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-11_0_4_line_22 |  | 16 | 23 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-11_0_4_line_23 |  | 18 | 24 | 0.0031683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-11_0_4_line_24 |  | 21 | 28 | 0.024861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6458-11_0_4_line_25 |  | 22 | 25 | 0.0093994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6458-11_0_4_line_26 |  | 23 | 117 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-11_0_4_line_27 |  | 25 | 26 | 0.011657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-11_0_4_line_28 |  | 26 | 27 | 0.032486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-11_0_4_line_29 |  | 27 | 29 | 0.0028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6458-11_0_4_line_30 |  | 28 | 86 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6458-11_0_4_line_31 |  | 29 | 30 | 0.0071857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-11_0_4_line_32 |  | 30 | 31 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-11_0_4_line_33 |  | 31 | 113 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-11_0_4_line_34 |  | 32 | 33 | 0.01295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-11_0_4_line_35 |  | 32 | 34 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-11_0_4_line_36 |  | 33 | 35 | 0.014727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-11_0_4_line_37 |  | 34 | 36 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6458-11_0_4_line_38 |  | 34 | 37 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6458-11_0_4_line_39 |  | 35 | 38 | 0.0094255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-11_0_4_line_40 |  | 36 | 39 | 0.004967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6458-11_0_4_line_41 |  | 36 | 40 | 0.010633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-11_0_4_line_42 |  | 37 | 41 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6458-11_0_4_line_43 |  | 39 | 42 | 0.042512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6458-11_0_4_line_44 |  | 40 | 43 | 0.053384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-11_0_4_line_45 |  | 41 | 44 | 0.016101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-11_0_4_line_46 |  | 42 | 88 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6458-11_0_4_line_47 |  | 43 | 70 | 0.0016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-11_0_4_line_48 |  | 44 | 73 | 0.0018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-11_0_4_line_49 |  | 45 | 46 | 0.017438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-11_0_4_line_50 |  | 45 | 47 | 0.003623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-11_0_4_line_51 |  | 46 | 48 | 0.0046892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-11_0_4_line_52 |  | 47 | 49 | 0.004679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-11_0_4_line_53 |  | 47 | 50 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-11_0_4_line_54 |  | 48 | 51 | 0.017719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-11_0_4_line_55 |  | 49 | 52 | 0.0095039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-11_0_4_line_56 |  | 49 | 53 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-11_0_4_line_57 |  | 50 | 54 | 0.015505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-11_0_4_line_58 |  | 51 | 55 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-11_0_4_line_59 |  | 52 | 56 | 0.049237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-11_0_4_line_60 |  | 53 | 57 | 0.0099474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-11_0_4_line_61 |  | 54 | 58 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-11_0_4_line_62 |  | 55 | 76 | 0.0085055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-11_0_4_line_63 |  | 56 | 61 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-11_0_4_line_64 |  | 57 | 59 | 0.016878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-11_0_4_line_65 |  | 58 | 71 | 0.0027203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-11_0_4_line_66 |  | 59 | 60 | 0.089782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-11_0_4_line_67 |  | 60 | 63 | 0.07962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-11_0_4_line_68 |  | 61 | 62 | 0.0076216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-11_0_4_line_69 |  | 64 | 65 | 0.014909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-11_0_4_line_70 |  | 64 | 66 | 0.0026339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-11_0_4_line_71 |  | 65 | 67 | 0.016109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-11_0_4_line_72 |  | 66 | 68 | 0.008378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-11_0_4_line_73 |  | 68 | 69 | 0.033809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-11_0_4_line_74 |  | 68 | 70 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-11_0_4_line_75 |  | 71 | 72 | 0.02161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-11_0_4_line_76 |  | 71 | 73 | 0.021166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-11_0_4_line_77 |  | 72 | 74 | 0.025697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-11_0_4_line_78 |  | 74 | 75 | 0.017681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-11_0_4_line_79 |  | 75 | 94 | 0.016126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6458-11_0_4_line_80 |  | 76 | 77 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6458-11_0_4_line_81 |  | 77 | 96 | 9.2625e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6458-11_0_4_line_82 |  | 78 | 79 | 0.0093502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6458-11_0_4_line_83 |  | 79 | 80 | 0.030431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6458-11_0_4_line_84 |  | 80 | 81 | 0.0040305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6458-11_0_4_line_85 |  | 81 | 82 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6458-11_0_4_line_86 |  | 82 | 83 | 0.0004669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6458-11_0_4_line_87 |  | 83 | 84 | 0.0092932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6458-11_0_4_line_88 |  | 84 | 85 | 0.0054877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6458-11_0_4_line_89 |  | 85 | 89 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6458-11_0_4_line_90 |  | 86 | 87 | 0.023358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_6458-11_0_4_line_91 |  | 87 | 88 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_6458-11_0_4_line_92 |  | 87 | 89 | 0.0020396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6458-11_0_4_line_93 |  | 90 | 91 | 0.026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6458-11_0_4_line_94 |  | 91 | 92 | 0.0081852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6458-11_0_4_line_95 |  | 91 | 93 | 0.006373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6458-11_0_4_line_96 |  | 93 | 101 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6458-11_0_4_line_97 |  | 94 | 95 | 0.0094545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6458-11_0_4_line_98 |  | 95 | 101 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6458-11_0_4_line_99 |  | 96 | 97 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6458-11_0_4_line_100 |  | 97 | 98 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6458-11_0_4_line_101 |  | 98 | 99 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6458-11_0_4_line_102 |  | 99 | 100 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6458-11_0_4_line_103 |  | 100 | 102 | 0.002828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6458-11_0_4_line_104 |  | 100 | 103 | 0.0049689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6458-11_0_4_line_105 |  | 103 | 104 | 0.046001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6458-11_0_4_line_106 |  | 105 | 106 | 0.00034917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6458-11_0_4_line_107 |  | 105 | 107 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6458-11_0_4_line_108 |  | 106 | 108 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6458-11_0_4_line_109 |  | 107 | 109 | 0.022255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6458-11_0_4_line_110 |  | 108 | 110 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6458-11_0_4_line_111 |  | 108 | 111 | 0.020222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6458-11_0_4_line_112 |  | 110 | 112 | 0.082077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6458-11_0_4_line_113 |  | 110 | 113 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6458-11_0_4_line_114 |  | 112 | 114 | 0.049348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6458-11_0_4_line_115 |  | 112 | 115 | 0.042628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6458-11_0_4_line_116 |  | 115 | 116 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6458-11_0_4_line_117 |  | 116 | 119 | 0.0039664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6458-11_0_4_line_118 |  | 117 | 118 | 0.0042464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-11_0_4_trafo_68 | 0.63 MVA 20/0.4 kV | 120 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2561096.8578 | 1205424.4307 | 2561118.051 | 1205432.2414
1 | 2561108.7224 | 1205297.815 | 2561096.8578 | 1205424.4307
2 | 2561118.051 | 1205432.2414 | 2561118.051 | 1205432.2414 | 2561107.3721 | 1205458.6692
3 | 2561108.7224 | 1205297.815 | 2561060.3295 | 1205285.8022 | 2561043.9024 | 1205285.8928
4 | 2561120.8506 | 1205273.9668 | 2561113.2937 | 1205275.6949 | 2561093.9528 | 1205273.6089 | 2561092.2923 | 1205276.7437 | 2561108.7224 | 1205297.815
5 | 2561120.8506 | 1205273.9668 | 2561113.4896 | 1205267.2555 | 2561114.8167 | 1205265.4791 | 2561123.0255 | 1205244.7805
6 | 2561120.8506 | 1205273.9668 | 2561134.2872 | 1205280.4049 | 2561151.4357 | 1205287.7228
7 | 2561176.8117 | 1205299.972 | 2561162.8976 | 1205292.6141 | 2561151.4357 | 1205287.7228
8 | 2561176.8117 | 1205299.972 | 2561198.4694 | 1205316.3404
9 | 2561123.0255 | 1205244.7805 | 2561109.3269 | 1205242.4908 | 2561107.1044 | 1205242.2608
10 | 2561123.0255 | 1205244.7805 | 2561133.8857 | 1205246.7987
11 | 2561107.1044 | 1205242.2608 | 2561105.1425 | 1205235.3586 | 2561105.0618 | 1205228.5552
12 | 2561107.1044 | 1205242.2608 | 2561108.3729 | 1205229.9329
13 | 2561082.1601 | 1205240.5672 | 2561094.7514 | 1205241.0185 | 2561107.1044 | 1205242.2608
14 | 2561133.8857 | 1205246.7987 | 2561143.831 | 1205248.6469 | 2561154.5808 | 1205251.3162
15 | 2561161.1937 | 1205252.9583 | 2561151.7083 | 1205279.6909
16 | 2561151.7083 | 1205279.6909 | 2561168.2896 | 1205286.9333
17 | 2561161.1937 | 1205252.9583 | 2561175.4886 | 1205257.7018
18 | 2561161.1937 | 1205252.9583 | 2561154.5808 | 1205251.3162
19 | 2561168.2896 | 1205286.9333 | 2561177.1627 | 1205290.8089 | 2561191.3099 | 1205301.2671 | 2561194.0769 | 1205303.6447
20 | 2561077.5794 | 1205240.3081 | 2561082.1601 | 1205240.5672
21 | 2561082.1601 | 1205240.5672 | 2561080.5852 | 1205233.5291 | 2561076.4127 | 1205231.7109 | 2561072.6697 | 1205231.4944
22 | 2561077.5794 | 1205240.3081 | 2561076.7653 | 1205256.9377
23 | 2561105.0241 | 1205225.387 | 2561105.0618 | 1205228.5552
24 | 2561199.0841 | 1205265.5316 | 2561175.4886 | 1205257.7018
25 | 2561194.0769 | 1205303.6447 | 2561201.206 | 1205309.7704
26 | 2561076.17 | 1205269.0961 | 2561076.7653 | 1205256.9377
27 | 2561201.206 | 1205309.7704 | 2561210.0478 | 1205317.3676
28 | 2561234.6872 | 1205338.539 | 2561210.0478 | 1205317.3676
29 | 2561234.6872 | 1205338.539 | 2561237.1894 | 1205339.8671
30 | 2561217.7084 | 1205271.7117 | 2561199.0841 | 1205265.5316
31 | 2561243.5365 | 1205343.2358 | 2561237.1894 | 1205339.8671
32 | 2561259.9601 | 1205350.8073 | 2561253.7455 | 1205348.6541 | 2561243.5365 | 1205343.2358
33 | 2561272.3073 | 1205355.0855 | 2561259.9601 | 1205350.8073
34 | 2561212.2094 | 1205206.4225 | 2561224.3192 | 1205211.011
35 | 2561236.6099 | 1205215.6681 | 2561224.3192 | 1205211.011
36 | 2561198.4379 | 1205201.2044 | 2561212.2094 | 1205206.4225
37 | 2561246.5111 | 1205219.995 | 2561236.6099 | 1205215.6681
38 | 2561236.6099 | 1205215.6681 | 2561241.5268 | 1205205.7946
39 | 2561198.4379 | 1205201.2044 | 2561189.6239 | 1205197.8647
40 | 2561244.0901 | 1205224.3354 | 2561246.5111 | 1205219.995
41 | 2561246.5111 | 1205219.995 | 2561256.3982 | 1205223.9059
42 | 2561249.1316 | 1205190.5234 | 2561241.5268 | 1205205.7946
43 | 2561244.0901 | 1205224.3354 | 2561265.4555 | 1205233.6016 | 2561259.5994 | 1205245.3909 | 2561253.9564 | 1205243.1819
44 | 2561306.0394 | 1205243.5419 | 2561256.3982 | 1205223.9059
45 | 2561249.1316 | 1205190.5234 | 2561256.3087 | 1205176.1109
46 | 2561253.9564 | 1205243.1819 | 2561253.9564 | 1205243.1819 | 2561250.5391 | 1205249.8634 | 2561247.053 | 1205257.6683 | 2561245.9226 | 1205259.4886
47 | 2561306.0394 | 1205243.5419 | 2561307.5762 | 1205244.1498
48 | 2561257.1135 | 1205174.495 | 2561256.3087 | 1205176.1109
49 | 2561301.8792 | 1205144.807 | 2561288.6748 | 1205139.6419 | 2561285.6385 | 1205138.4577
50 | 2561305.2532 | 1205146.1268 | 2561301.8792 | 1205144.807
51 | 2561285.6385 | 1205138.4577 | 2561281.2699 | 1205136.7537
52 | 2561305.2532 | 1205146.1268 | 2561309.6003 | 1205147.8884
53 | 2561305.2532 | 1205146.1268 | 2561287.5666 | 1205149.4012
54 | 2561281.2699 | 1205136.7537 | 2561271.4331 | 1205132.9169 | 2561264.8006 | 1205130.2178
55 | 2561309.6003 | 1205147.8884 | 2561318.3089 | 1205151.6944
56 | 2561309.6003 | 1205147.8884 | 2561319.6228 | 1205144.4748
57 | 2561287.5666 | 1205149.4012 | 2561272.3206 | 1205152.2238
58 | 2561245.9492 | 1205122.5462 | 2561264.8006 | 1205130.2178
59 | 2561363.3314 | 1205171.6245 | 2561334.4905 | 1205158.7662 | 2561318.3089 | 1205151.6944
60 | 2561319.6228 | 1205144.4748 | 2561324.5745 | 1205142.7883 | 2561328.2806 | 1205139.8712
61 | 2561272.3206 | 1205152.2238 | 2561261.5623 | 1205154.2156
62 | 2561238.0632 | 1205119.3598 | 2561240.4844 | 1205120.3222 | 2561245.9492 | 1205122.5462
63 | 2561385.3185 | 1205181.4271 | 2561363.3314 | 1205171.6245
64 | 2561340.8363 | 1205128.6525 | 2561335.5552 | 1205134.1454 | 2561328.2806 | 1205139.8712
65 | 2561258.8875 | 1205154.7108 | 2561261.5623 | 1205154.2156
66 | 2561319.1744 | 1205051.5606 | 2561327.1412 | 1205055.5 | 2561324.0225 | 1205061.3458 | 2561323.4328 | 1205068.9205 | 2561324.6008 | 1205073.082 | 2561327.4423 | 1205077.2548 | 2561336.0222 | 1205087.7717 | 2561343.6777 | 1205102.3636 | 2561345.6846 | 1205106.8531 | 2561340.8363 | 1205128.6525
67 | 2561319.1744 | 1205051.5606 | 2561248.1574 | 1205015.5621
68 | 2561385.3185 | 1205181.4271 | 2561388.6824 | 1205188.2662
69 | 2561327.4526 | 1205243.6295 | 2561340.852 | 1205250.166
70 | 2561327.4526 | 1205243.6295 | 2561325.0853 | 1205242.4747
71 | 2561340.852 | 1205250.166 | 2561355.3304 | 1205257.2288
72 | 2561321.6666 | 1205250.1234 | 2561325.0853 | 1205242.4747
73 | 2561321.6666 | 1205250.1234 | 2561352.271 | 1205264.4902
74 | 2561321.6666 | 1205250.1234 | 2561310.0803 | 1205245.1403 | 2561307.5762 | 1205244.1498
75 | 2561258.8875 | 1205154.7108 | 2561247.2277 | 1205158.3332 | 2561238.4913 | 1205161.8034
76 | 2561258.8875 | 1205154.7108 | 2561261.582 | 1205165.5216 | 2561257.1135 | 1205174.495
77 | 2561238.4913 | 1205161.8034 | 2561226.2277 | 1205166.6746 | 2561213.7433 | 1205166.0327
78 | 2561213.7433 | 1205166.0327 | 2561196.0861 | 1205165.1248
79 | 2561196.0861 | 1205165.1248 | 2561179.9809 | 1205164.2967 | 2561179.9809 | 1205164.2967
80 | 2561226.39 | 1205114.7198 | 2561238.0632 | 1205119.3598
81 | 2561226.3039 | 1205114.6856 | 2561226.39 | 1205114.7198
82 | 2561315.6828 | 1205285.2999 | 2561324.9853 | 1205286.2439
83 | 2561315.6828 | 1205285.2999 | 2561285.4076 | 1205282.2275
84 | 2561281.3978 | 1205281.8206 | 2561285.4076 | 1205282.2275
85 | 2561281.3978 | 1205281.8206 | 2561271.1041 | 1205280.776
86 | 2561271.1041 | 1205280.776 | 2561270.6396 | 1205280.7289
87 | 2561261.3974 | 1205279.7603 | 2561262.3948 | 1205279.8922 | 2561270.6396 | 1205280.7289
88 | 2561261.3974 | 1205279.7603 | 2561255.957 | 1205279.0408
89 | 2561255.957 | 1205279.0408 | 2561242.5455 | 1205277.267
90 | 2561240.5234 | 1205276.9995 | 2561228.4276 | 1205274.3657 | 2561217.7084 | 1205271.7117
91 | 2561240.5234 | 1205276.9995 | 2561243.2317 | 1205270.0669 | 2561246.0748 | 1205262.8109 | 2561244.426 | 1205261.8989 | 2561245.9226 | 1205259.4886
92 | 2561240.5234 | 1205276.9995 | 2561242.5455 | 1205277.267
93 | 2561133.4705 | 1205176.2958 | 2561158.2499 | 1205185.8398
94 | 2561133.4705 | 1205176.2958 | 2561125.8514 | 1205176.6679 | 2561125.3157 | 1205176.5151
95 | 2561133.4705 | 1205176.2958 | 2561139.8362 | 1205175.9904
96 | 2561139.8362 | 1205175.9904 | 2561146.6177 | 1205175.6652 | 2561153.15 | 1205174.2662 | 2561157.7549 | 1205172.5552
97 | 2561171.1184 | 1205167.5897 | 2561179.9809 | 1205164.2967
98 | 2561157.7549 | 1205172.5552 | 2561171.1184 | 1205167.5897
99 | 2561226.3039 | 1205114.6856 | 2561213.9812 | 1205109.7875
100 | 2561213.9812 | 1205109.7875 | 2561202.5075 | 1205105.2268
101 | 2561192.0046 | 1205101.0521 | 2561202.5075 | 1205105.2268
102 | 2561173.1375 | 1205093.5235 | 2561181.9536 | 1205097.0569 | 2561192.0046 | 1205101.0521
103 | 2561173.1375 | 1205093.5235 | 2561170.5099 | 1205092.478
104 | 2561173.1375 | 1205093.5235 | 2561174.7118 | 1205088.8106
105 | 2561180.3005 | 1205051.1862 | 2561166.0439 | 1205084.6759 | 2561174.7118 | 1205088.8106 | 2561174.7118 | 1205088.8106
106 | 2561302.5118 | 1205329.1003 | 2561302.44 | 1205329.442
107 | 2561302.5118 | 1205329.1003 | 2561303.0047 | 1205326.7547 | 2561310.8653 | 1205314.6725
108 | 2561301.8791 | 1205358.3577 | 2561298.9321 | 1205346.1366 | 2561302.44 | 1205329.442
109 | 2561328.0103 | 1205304.0016 | 2561317.6115 | 1205304.9808 | 2561312.4183 | 1205312.2854 | 2561310.8653 | 1205314.6725
110 | 2561287.5394 | 1205360.3632 | 2561301.8791 | 1205358.3577
111 | 2561301.8791 | 1205358.3577 | 2561321.7206 | 1205362.2606
112 | 2561287.5394 | 1205360.3632 | 2561354.9687 | 1205407.4297
113 | 2561287.5394 | 1205360.3632 | 2561272.3073 | 1205355.0855
114 | 2561354.9687 | 1205407.4297 | 2561339.1093 | 1205409.6338 | 2561308.4838 | 1205423.1181
115 | 2561354.9687 | 1205407.4297 | 2561367.4789 | 1205448.1827
116 | 2561367.4789 | 1205448.1827 | 2561359.7792 | 1205448.9775 | 2561354.6477 | 1205448.1882
117 | 2561354.6477 | 1205448.1882 | 2561352.0876 | 1205445.1586
118 | 2561075.9623 | 1205273.3374 | 2561076.17 | 1205269.0961

## bus_geodata
| x | y | coords
0 | 2561096.8578 | 1205424.4307
1 | 2561118.051 | 1205432.2414
2 | 2561108.7224 | 1205297.815
3 | 2561107.3721 | 1205458.6692
4 | 2561043.9024 | 1205285.8928
5 | 2561120.8506 | 1205273.9668
6 | 2561151.4357 | 1205287.7228
7 | 2561176.8117 | 1205299.972
8 | 2561123.0255 | 1205244.7805
9 | 2561198.4694 | 1205316.3404
10 | 2561107.1044 | 1205242.2608
11 | 2561133.8857 | 1205246.7987
12 | 2561151.7083 | 1205279.6909
13 | 2561161.1937 | 1205252.9583
14 | 2561168.2896 | 1205286.9333
15 | 2561082.1601 | 1205240.5672
16 | 2561077.5794 | 1205240.3081
17 | 2561072.6697 | 1205231.4944
18 | 2561105.0618 | 1205228.5552
19 | 2561108.3729 | 1205229.9329
20 | 2561154.5808 | 1205251.3162
21 | 2561175.4886 | 1205257.7018
22 | 2561194.0769 | 1205303.6447
23 | 2561076.7653 | 1205256.9377
24 | 2561105.0241 | 1205225.387
25 | 2561201.206 | 1205309.7704
26 | 2561210.0478 | 1205317.3676
27 | 2561234.6872 | 1205338.539
28 | 2561199.0841 | 1205265.5316
29 | 2561237.1894 | 1205339.8671
30 | 2561243.5365 | 1205343.2358
31 | 2561259.9601 | 1205350.8073
32 | 2561224.3192 | 1205211.011
33 | 2561212.2094 | 1205206.4225
34 | 2561236.6099 | 1205215.6681
35 | 2561198.4379 | 1205201.2044
36 | 2561246.5111 | 1205219.995
37 | 2561241.5268 | 1205205.7946
38 | 2561189.6239 | 1205197.8647
39 | 2561244.0901 | 1205224.3354
40 | 2561256.3982 | 1205223.9059
41 | 2561249.1316 | 1205190.5234
42 | 2561253.9564 | 1205243.1819
43 | 2561306.0394 | 1205243.5419
44 | 2561256.3087 | 1205176.1109
45 | 2561301.8792 | 1205144.807
46 | 2561285.6385 | 1205138.4577
47 | 2561305.2532 | 1205146.1268
48 | 2561281.2699 | 1205136.7537
49 | 2561309.6003 | 1205147.8884
50 | 2561287.5666 | 1205149.4012
51 | 2561264.8006 | 1205130.2178
52 | 2561318.3089 | 1205151.6944
53 | 2561319.6228 | 1205144.4748
54 | 2561272.3206 | 1205152.2238
55 | 2561245.9492 | 1205122.5462
56 | 2561363.3314 | 1205171.6245
57 | 2561328.2806 | 1205139.8712
58 | 2561261.5623 | 1205154.2156
59 | 2561340.8363 | 1205128.6525
60 | 2561319.1744 | 1205051.5606
61 | 2561385.3185 | 1205181.4271
62 | 2561388.6824 | 1205188.2662
63 | 2561248.1574 | 1205015.5621
64 | 2561327.4526 | 1205243.6295
65 | 2561340.852 | 1205250.166
66 | 2561325.0853 | 1205242.4747
67 | 2561355.3304 | 1205257.2288
68 | 2561321.6666 | 1205250.1234
69 | 2561352.271 | 1205264.4902
70 | 2561307.5762 | 1205244.1498
71 | 2561258.8875 | 1205154.7108
72 | 2561238.4913 | 1205161.8034
73 | 2561257.1135 | 1205174.495
74 | 2561213.7433 | 1205166.0327
75 | 2561196.0861 | 1205165.1248
76 | 2561238.0632 | 1205119.3598
77 | 2561226.39 | 1205114.7198
78 | 2561324.9853 | 1205286.2439
79 | 2561315.6828 | 1205285.2999
80 | 2561285.4076 | 1205282.2275
81 | 2561281.3978 | 1205281.8206
82 | 2561271.1041 | 1205280.776
83 | 2561270.6396 | 1205280.7289
84 | 2561261.3974 | 1205279.7603
85 | 2561255.957 | 1205279.0408
86 | 2561217.7084 | 1205271.7117
87 | 2561240.5234 | 1205276.9995
88 | 2561245.9226 | 1205259.4887
89 | 2561242.5455 | 1205277.267
90 | 2561158.2499 | 1205185.8398
91 | 2561133.4705 | 1205176.2958
92 | 2561125.3157 | 1205176.5151
93 | 2561139.8362 | 1205175.9904
94 | 2561179.9809 | 1205164.2967
95 | 2561171.1184 | 1205167.5897
96 | 2561226.3039 | 1205114.6856
97 | 2561213.9812 | 1205109.7875
98 | 2561202.5075 | 1205105.2268
99 | 2561192.0046 | 1205101.0521
100 | 2561173.1375 | 1205093.5235
101 | 2561157.7549 | 1205172.5552
102 | 2561170.5099 | 1205092.478
103 | 2561174.7118 | 1205088.8106
104 | 2561180.3005 | 1205051.1862
105 | 2561302.5118 | 1205329.1003
106 | 2561302.44 | 1205329.442
107 | 2561310.8653 | 1205314.6725
108 | 2561301.8791 | 1205358.3577
109 | 2561328.0103 | 1205304.0016
110 | 2561287.5394 | 1205360.3632
111 | 2561321.7206 | 1205362.2606
112 | 2561354.9687 | 1205407.4297
113 | 2561272.3073 | 1205355.0855
114 | 2561308.4838 | 1205423.1181
115 | 2561367.4789 | 1205448.1827
116 | 2561354.6477 | 1205448.1882
117 | 2561076.17 | 1205269.0961
118 | 2561075.9623 | 1205273.3374
119 | 2561352.0876 | 1205445.1586
120 | 2561246.5111 | 1205219.995

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1