## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-13_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6458-13_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_6458-13_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6458-13_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6458-13_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6458-13_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6458-13_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6458-13_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6458-13_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_6458-13_0_4_node_86 | 0.4 | n |  | TRUE
11 | bus_LV_6458-13_0_4_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_6458-13_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6458-13_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_6458-13_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6458-13_0_4_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_6458-13_0_4_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_6458-13_0_4_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_6458-13_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_6458-13_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_6458-13_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6458-13_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6458-13_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6458-13_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6458-13_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6458-13_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_6458-13_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_6458-13_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6458-13_0_4_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_6458-13_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_6458-13_0_4_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_6458-13_0_4_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_6458-13_0_4_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_6458-13_0_4_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_6458-13_0_4_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_6458-13_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_6458-13_0_4_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_6458-13_0_4_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_6458-13_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_6458-13_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_6458-13_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6458-13_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_6458-13_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6458-13_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6458-13_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_6458-13_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6458-13_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6458-13_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6458-13_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_6458-13_0_4_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_6458-13_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_6458-13_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_6458-13_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_6458-13_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6458-13_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_6458-13_0_4_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_6458-13_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_6458-13_0_4_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_6458-13_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6458-13_0_4_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_6458-13_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6458-13_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_6458-13_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_6458-13_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_6458-13_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_6458-13_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_6458-13_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6458-13_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6458-13_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6458-13_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6458-13_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6458-13_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6458-13_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6458-13_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6458-13_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6458-13_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6458-13_0_4_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6458-13_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_6458-13_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_6458-13_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_6458-13_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_MV_641_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-13_0_4_load_0 | 0 | 0.043887 | 0.010999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-13_0_4_load_10 | 6 | 0.012097 | 0.0030319 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-13_0_4_load_86 | 10 | 0.02105 | 0.0052756 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-13_0_4_load_83 | 11 | 0.0050361 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-13_0_4_load_66 | 13 | 0.052342 | 0.013118 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-13_0_4_load_11 | 14 | 0.0048343 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-13_0_4_load_82 | 15 | 0.0095169 | 0.0023852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-13_0_4_load_62 | 16 | 0.0030852 | 0.00077321 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-13_0_4_load_85 | 19 | 0.0036471 | 0.00091405 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-13_0_4_load_17 | 21 | 0.0029864 | 0.00074846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-13_0_4_load_13 | 23 | 0.002125 | 0.00053258 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-13_0_4_load_34 | 25 | 0.061826 | 0.015495 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-13_0_4_load_42 | 26 | 0.0037202 | 0.00093238 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-13_0_4_load_84 | 28 | 0.0028955 | 0.00072569 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-13_0_4_load_89 | 32 | 0.0017849 | 0.00044734 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-13_0_4_load_64 | 33 | 0.0055572 | 0.0013928 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-13_0_4_load_65 | 35 | 0.0066209 | 0.0016594 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-13_0_4_load_12 | 36 | 0.0018683 | 0.00046823 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-13_0_4_load_14 | 37 | 0.0022809 | 0.00057164 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-13_0_4_load_16 | 38 | 0.0010194 | 0.00025549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-13_0_4_load_22 | 39 | 0.0011447 | 0.00028689 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-13_0_4_load_30 | 40 | 0.0030393 | 0.00076172 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-13_0_4_load_21 | 41 | 0.0011447 | 0.0002869 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-13_0_4_load_41 | 44 | 0.0049364 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-13_0_4_load_40 | 47 | 0.0024967 | 0.00062573 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-13_0_4_load_45 | 48 | 0.0042851 | 0.0010739 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-13_0_4_load_24 | 50 | 0.00098562 | 0.00024702 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-13_0_4_load_52 | 53 | 0.0037465 | 0.00093896 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-13_0_4_load_50 | 54 | 0.0071497 | 0.0017919 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-13_0_4_load_90 | 55 | 0.0028231 | 0.00070754 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-13_0_4_load_27 | 56 | 0.0043962 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-13_0_4_load_80 | 57 | 0.013017 | 0.0032624 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-13_0_4_load_87 | 59 | 0.0037316 | 0.00093523 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-13_0_4_load_54 | 60 | 0.0042278 | 0.0010596 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-13_0_4_load_51 | 61 | 0.0036883 | 0.00092438 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-13_0_4_load_46 | 62 | 0.0038517 | 0.00096534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-13_0_4_load_47 | 63 | 0.0047182 | 0.0011825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-13_0_4_load_48 | 64 | 0.0048807 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-13_0_4_load_49 | 65 | 0.0036851 | 0.00092356 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-13_0_4_load_57 | 68 | 0.002498 | 0.00062606 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-13_0_4_load_58 | 69 | 0.0027357 | 0.00068562 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-13_0_4_load_59 | 70 | 0.0052472 | 0.0013151 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-13_0_4_load_61 | 71 | 0.0028961 | 0.00072583 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-13_0_4_load_68 | 72 | 0.0090362 | 0.0022647 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-13_0_4_load_73 | 74 | 0.013017 | 0.0032625 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-13_0_4_load_78 | 76 | 0.0025853 | 0.00064793 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-13_0_4_load_74 | 77 | 0.01302 | 0.0032632 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-13_0_4_load_77 | 78 | 0.014746 | 0.0036956 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-13_0_4_load_75 | 79 | 0.014747 | 0.0036959 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-13_0_4_load_76 | 80 | 0.014848 | 0.0037212 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-13_0_4_line_0 |  | 0 | 1 | 0.049062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-13_0_4_line_1 |  | 1 | 4 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6458-13_0_4_line_2 |  | 1 | 2 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-13_0_4_line_3 |  | 2 | 3 | 0.04753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6458-13_0_4_line_4 |  | 3 | 8 | 0.026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6458-13_0_4_line_5 |  | 4 | 14 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-13_0_4_line_6 |  | 4 | 12 | 0.005077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-13_0_4_line_7 |  | 5 | 6 | 0.02568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-13_0_4_line_8 |  | 5 | 7 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6458-13_0_4_line_9 |  | 6 | 15 | 0.0061925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-13_0_4_line_10 |  | 7 | 11 | 0.024098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-13_0_4_line_11 |  | 7 | 8 | 0.010894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6458-13_0_4_line_12 |  | 8 | 9 | 0.077983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6458-13_0_4_line_13 |  | 8 | 10 | 0.052429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-13_0_4_line_14 |  | 9 | 16 | 0.026508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-13_0_4_line_15 |  | 9 | 17 | 0.003235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-13_0_4_line_16 |  | 9 | 18 | 0.003893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6458-13_0_4_line_17 |  | 10 | 19 | 0.041461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6458-13_0_4_line_18 |  | 11 | 28 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-13_0_4_line_19 |  | 12 | 13 | 0.004621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-13_0_4_line_20 |  | 14 | 33 | 0.028836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-13_0_4_line_21 |  | 15 | 34 | 0.034294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-13_0_4_line_22 |  | 17 | 59 | 0.037256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-13_0_4_line_23 |  | 18 | 48 | 0.0074877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-13_0_4_line_24 |  | 18 | 27 | 0.009226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-13_0_4_line_25 |  | 20 | 21 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6458-13_0_4_line_26 |  | 20 | 22 | 0.061299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-13_0_4_line_27 |  | 20 | 23 | 0.021796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-13_0_4_line_28 |  | 21 | 40 | 0.014515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-13_0_4_line_29 |  | 22 | 24 | 0.065599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6458-13_0_4_line_30 |  | 22 | 25 | 0.03161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-13_0_4_line_31 |  | 23 | 36 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-13_0_4_line_32 |  | 24 | 26 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-13_0_4_line_33 |  | 25 | 45 | 0.025562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-13_0_4_line_34 |  | 26 | 27 | 0.019438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-13_0_4_line_35 |  | 29 | 30 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-13_0_4_line_36 |  | 29 | 31 | 0.089699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-13_0_4_line_37 |  | 29 | 32 | 0.0085631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-13_0_4_line_38 |  | 30 | 72 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-13_0_4_line_39 |  | 31 | 57 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-13_0_4_line_40 |  | 33 | 35 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-13_0_4_line_41 |  | 34 | 75 | 0.05124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-13_0_4_line_42 |  | 36 | 37 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-13_0_4_line_43 |  | 37 | 38 | 0.023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-13_0_4_line_44 |  | 38 | 39 | 0.0011807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-13_0_4_line_45 |  | 39 | 41 | 0.00039126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-13_0_4_line_46 |  | 40 | 42 | 0.0030648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-13_0_4_line_47 |  | 41 | 49 | 0.02783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-13_0_4_line_48 |  | 42 | 56 | 0.027232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-13_0_4_line_49 |  | 43 | 44 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-13_0_4_line_50 |  | 43 | 45 | 0.070008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-13_0_4_line_51 |  | 45 | 46 | 0.004123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-13_0_4_line_52 |  | 46 | 47 | 0.0060727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-13_0_4_line_53 |  | 48 | 58 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-13_0_4_line_54 |  | 49 | 50 | 0.035438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-13_0_4_line_55 |  | 50 | 51 | 0.089513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-13_0_4_line_56 |  | 51 | 52 | 0.047815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-13_0_4_line_57 |  | 52 | 55 | 0.043705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-13_0_4_line_58 |  | 53 | 54 | 0.029475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-13_0_4_line_59 |  | 54 | 64 | 0.0037842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-13_0_4_line_60 |  | 58 | 60 | 0.033713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-13_0_4_line_61 |  | 58 | 61 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-13_0_4_line_62 |  | 60 | 66 | 0.0059036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-13_0_4_line_63 |  | 61 | 65 | 0.0013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-13_0_4_line_64 |  | 62 | 63 | 0.023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-13_0_4_line_65 |  | 62 | 64 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-13_0_4_line_66 |  | 63 | 65 | 0.00098645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-13_0_4_line_67 |  | 66 | 67 | 0.004939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-13_0_4_line_68 |  | 66 | 68 | 0.0090128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-13_0_4_line_69 |  | 67 | 69 | 0.013814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-13_0_4_line_70 |  | 67 | 70 | 0.0088927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-13_0_4_line_71 |  | 68 | 71 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-13_0_4_line_72 |  | 72 | 73 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-13_0_4_line_73 |  | 73 | 74 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-13_0_4_line_74 |  | 74 | 77 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-13_0_4_line_75 |  | 75 | 76 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-13_0_4_line_76 |  | 76 | 78 | 0.021409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-13_0_4_line_77 |  | 77 | 79 | 0.014675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-13_0_4_line_78 |  | 77 | 80 | 0.030986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-13_0_4_line_79 |  | 78 | 79 | 0.033865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-13_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 81 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2558481.7758 | 1204260.8697 | 2558475.9628 | 1204294.5738 | 2558482.3229 | 1204301.1554 | 2558487.9318 | 1204302.2159
1 | 2558458.2542 | 1204257.7319 | 2558466.9454 | 1204258.216 | 2558481.7758 | 1204260.8697
2 | 2558481.7758 | 1204260.8697 | 2558509.8345 | 1204266.6441
3 | 2558509.8345 | 1204266.6441 | 2558511.0841 | 1204261.4658 | 2558543.2415 | 1204270.2469 | 2558551.5811 | 1204267.2316
4 | 2558551.5811 | 1204267.2316 | 2558562.2375 | 1204270.2592 | 2558576.8785 | 1204274.1374
5 | 2558458.2542 | 1204257.7319 | 2558446.4251 | 1204257.1869
6 | 2558458.2542 | 1204257.7319 | 2558458.6449 | 1204252.6707
7 | 2558562.2919 | 1204281.354 | 2558557.0519 | 1204306.4942
8 | 2558562.2919 | 1204281.354 | 2558574.4724 | 1204284.7601
9 | 2558555.7883 | 1204312.5565 | 2558557.0519 | 1204306.4942
10 | 2558574.4724 | 1204284.7601 | 2558597.7426 | 1204291.0233
11 | 2558574.4724 | 1204284.7601 | 2558575.6351 | 1204279.1155 | 2558576.8785 | 1204274.1374
12 | 2558576.8785 | 1204274.1374 | 2558577.3046 | 1204273.0449 | 2558577.8003 | 1204271.0403 | 2558577.8745 | 1204268.5828 | 2558588.8376 | 1204267.5838 | 2558608.0283 | 1204264.949 | 2558615.7556 | 1204263.5723 | 2558643.0381 | 1204252.899 | 2558647.5696 | 1204251.4334
13 | 2558576.8785 | 1204274.1374 | 2558578.4334 | 1204274.5601 | 2558627.8465 | 1204286.425
14 | 2558647.5696 | 1204251.4334 | 2558662.0621 | 1204245.963 | 2558667.0038 | 1204244.4056 | 2558672.7281 | 1204243.2706
15 | 2558650.2073 | 1204253.3161 | 2558647.5696 | 1204251.4334
16 | 2558647.5696 | 1204251.4334 | 2558644.3892 | 1204249.1764
17 | 2558668.9208 | 1204291.9386 | 2558630.9901 | 1204287.1799 | 2558627.8465 | 1204286.425
18 | 2558597.7426 | 1204291.0233 | 2558607.2079 | 1204293.5709 | 2558617.9718 | 1204295.7689
19 | 2558458.8637 | 1204248.0555 | 2558458.6449 | 1204252.6707
20 | 2558446.4251 | 1204257.1869 | 2558417.6201 | 1204255.8599
21 | 2558548.7907 | 1204346.1292 | 2558555.7883 | 1204312.5565
22 | 2558650.2073 | 1204253.3161 | 2558651.484 | 1204254.2189 | 2558686.8925 | 1204258.7138
23 | 2558644.3892 | 1204249.1764 | 2558650.9911 | 1204245.6436
24 | 2558635.7859 | 1204252.5714 | 2558644.3892 | 1204249.1764
25 | 2558497.839 | 1204223.2141 | 2558479.1972 | 1204220.9918
26 | 2558497.839 | 1204223.2141 | 2558532.5873 | 1204234.7676 | 2558545.0791 | 1204238.0826 | 2558548.4469 | 1204226.8194
27 | 2558497.839 | 1204223.2141 | 2558504.065 | 1204202.3268
28 | 2558464.9594 | 1204218.2503 | 2558475.0201 | 1204220.4938 | 2558479.1972 | 1204220.9918
29 | 2558548.4469 | 1204226.8194 | 2558545.0791 | 1204238.0826 | 2558561.7689 | 1204242.2799 | 2558598.3108 | 1204244.8718
30 | 2558548.4469 | 1204226.8194 | 2558521.8822 | 1204219.3 | 2558523.0551 | 1204215.4742
31 | 2558512.8553 | 1204172.8365 | 2558504.065 | 1204202.3268
32 | 2558598.3108 | 1204244.8718 | 2558617.7662 | 1204245.2813
33 | 2558530.5481 | 1204191.0348 | 2558523.0551 | 1204215.4742
34 | 2558635.7859 | 1204252.5714 | 2558617.7662 | 1204245.2813
35 | 2558399.5054 | 1204292.0947 | 2558406.4141 | 1204295.515 | 2558413.7107 | 1204298.9216
36 | 2558392.5689 | 1204376.1353 | 2558392.2073 | 1204369.0226 | 2558406.4141 | 1204295.515 | 2558399.5054 | 1204292.0947
37 | 2558399.5054 | 1204292.0947 | 2558402.382 | 1204284.0292
38 | 2558413.7107 | 1204298.9216 | 2558418.0229 | 1204300.926 | 2558429.0702 | 1204305.6107
39 | 2558392.5689 | 1204376.1353 | 2558400.2113 | 1204382.2298 | 2558410.6685 | 1204385.0976
40 | 2558417.6201 | 1204255.8599 | 2558399.6245 | 1204255.0309
41 | 2558548.7907 | 1204346.1292 | 2558545.2686 | 1204345.0531 | 2558499.6637 | 1204331.096
42 | 2558518.9492 | 1204156.0934 | 2558512.8553 | 1204172.8365 | 2558512.8553 | 1204172.8365
43 | 2558518.9492 | 1204156.0934 | 2558526.9928 | 1204133.9931
44 | 2558526.9928 | 1204133.9931 | 2558527.3966 | 1204132.8836
45 | 2558527.3966 | 1204132.8836 | 2558527.5304 | 1204132.5159
46 | 2558461.968 | 1204217.5832 | 2558464.9594 | 1204218.2503
47 | 2558537.0488 | 1204106.3637 | 2558527.5304 | 1204132.5159
48 | 2558461.968 | 1204217.5832 | 2558445.5405 | 1204213.9179 | 2558435.7596 | 1204210.3806
49 | 2558598.0132 | 1204209.7317 | 2558602.6036 | 1204198.7651
50 | 2558530.5481 | 1204191.0348 | 2558556.0592 | 1204197.9834 | 2558578.3473 | 1204204.2208 | 2558598.0132 | 1204209.7317
51 | 2558531.715 | 1204187.08 | 2558530.5481 | 1204191.0348
52 | 2558531.715 | 1204187.08 | 2558533.2266 | 1204181.1984
53 | 2558673.2326 | 1204239.7709 | 2558654.682 | 1204243.6685 | 2558650.9911 | 1204245.6436
54 | 2558537.0488 | 1204106.3637 | 2558505.3497 | 1204090.5207
55 | 2558421.86 | 1204058.406 | 2558495.2127 | 1204085.4543 | 2558505.3497 | 1204090.5207
56 | 2558402.4232 | 1204101.0325 | 2558407.8124 | 1204097.0927 | 2558409.9007 | 1204091.108 | 2558421.86 | 1204058.406
57 | 2558402.4232 | 1204101.0325 | 2558443.669 | 1204115.8197
58 | 2558658.6074 | 1204164.3043 | 2558656.6939 | 1204175.149 | 2558674.1719 | 1204181.0978
59 | 2558674.1113 | 1204184.8814 | 2558674.1719 | 1204181.0978 | 2558674.1719 | 1204181.0978
60 | 2558673.2326 | 1204239.7709 | 2558701.4004 | 1204233.85 | 2558706.2369 | 1204232.8957
61 | 2558673.2326 | 1204239.7709 | 2558673.4704 | 1204224.9184
62 | 2558712.0288 | 1204231.7529 | 2558706.2369 | 1204232.8957
63 | 2558673.4704 | 1204224.9184 | 2558673.4918 | 1204223.5787
64 | 2558673.8787 | 1204199.4113 | 2558673.5076 | 1204222.5924
65 | 2558673.8787 | 1204199.4113 | 2558674.1113 | 1204184.8814
66 | 2558673.5076 | 1204222.5924 | 2558673.4918 | 1204223.5787
67 | 2558715.5448 | 1204235.2305 | 2558712.0288 | 1204231.7529
68 | 2558712.0288 | 1204231.7529 | 2558720.8764 | 1204230.0351
69 | 2558715.5448 | 1204235.2305 | 2558717.5594 | 1204237.2177 | 2558728.4229 | 1204238.8446
70 | 2558715.5448 | 1204235.2305 | 2558707.4369 | 1204236.5763 | 2558706.7684 | 1204236.6608
71 | 2558720.8764 | 1204230.0351 | 2558735.1373 | 1204227.2664
72 | 2558439.4558 | 1204310.0149 | 2558429.0702 | 1204305.6107
73 | 2558439.4558 | 1204310.0149 | 2558437.3374 | 1204324.1348
74 | 2558433.2697 | 1204351.2481 | 2558437.3374 | 1204324.1348
75 | 2558499.6637 | 1204331.096 | 2558497.7193 | 1204350.0024
76 | 2558481.2728 | 1204358.4475 | 2558486.1814 | 1204359.1837 | 2558497.277 | 1204354.3036 | 2558497.7193 | 1204350.0024
77 | 2558433.2697 | 1204351.2481 | 2558447.7821 | 1204353.4246
78 | 2558433.2697 | 1204351.2481 | 2558430.8998 | 1204367.0181 | 2558445.7865 | 1204369.149
79 | 2558447.7821 | 1204353.4246 | 2558481.2728 | 1204358.4475

## bus_geodata
| x | y | coords
0 | 2558487.9318 | 1204302.2159
1 | 2558481.7758 | 1204260.8697
2 | 2558509.8345 | 1204266.6441
3 | 2558551.5811 | 1204267.2316
4 | 2558458.2542 | 1204257.7319
5 | 2558562.2919 | 1204281.354
6 | 2558557.0519 | 1204306.4942
7 | 2558574.4724 | 1204284.7601
8 | 2558576.8785 | 1204274.1374
9 | 2558647.5696 | 1204251.4334
10 | 2558627.8465 | 1204286.425
11 | 2558597.7426 | 1204291.0233
12 | 2558458.6449 | 1204252.6707
13 | 2558458.8637 | 1204248.0555
14 | 2558446.4251 | 1204257.1869
15 | 2558555.7883 | 1204312.5565
16 | 2558672.7281 | 1204243.2706
17 | 2558650.2073 | 1204253.3161
18 | 2558644.3892 | 1204249.1764
19 | 2558668.9208 | 1204291.9386
20 | 2558497.839 | 1204223.2141
21 | 2558479.1972 | 1204220.9918
22 | 2558548.447 | 1204226.8194
23 | 2558504.065 | 1204202.3268
24 | 2558598.3108 | 1204244.8718
25 | 2558523.0551 | 1204215.4742
26 | 2558617.7662 | 1204245.2813
27 | 2558635.7859 | 1204252.5714
28 | 2558617.9718 | 1204295.7689
29 | 2558399.5054 | 1204292.0947
30 | 2558413.7107 | 1204298.9216
31 | 2558392.5689 | 1204376.1353
32 | 2558402.382 | 1204284.0292
33 | 2558417.6201 | 1204255.8599
34 | 2558548.7907 | 1204346.1292
35 | 2558399.6245 | 1204255.0309
36 | 2558512.8553 | 1204172.8365
37 | 2558518.9492 | 1204156.0934
38 | 2558526.9928 | 1204133.9931
39 | 2558527.3966 | 1204132.8836
40 | 2558464.9594 | 1204218.2503
41 | 2558527.5304 | 1204132.5159
42 | 2558461.968 | 1204217.5832
43 | 2558598.0132 | 1204209.7317
44 | 2558602.6036 | 1204198.7651
45 | 2558530.5481 | 1204191.0348
46 | 2558531.715 | 1204187.08
47 | 2558533.2266 | 1204181.1984
48 | 2558650.9911 | 1204245.6436
49 | 2558537.0488 | 1204106.3637
50 | 2558505.3497 | 1204090.5207
51 | 2558421.86 | 1204058.406
52 | 2558402.4232 | 1204101.0325
53 | 2558658.6074 | 1204164.3043
54 | 2558674.1719 | 1204181.0978
55 | 2558443.669 | 1204115.8197
56 | 2558435.7596 | 1204210.3806
57 | 2558410.6685 | 1204385.0976
58 | 2558673.2326 | 1204239.7709
59 | 2558686.8925 | 1204258.7138
60 | 2558706.2369 | 1204232.8957
61 | 2558673.4704 | 1204224.9184
62 | 2558673.8787 | 1204199.4113
63 | 2558673.5076 | 1204222.5924
64 | 2558674.1113 | 1204184.8814
65 | 2558673.4918 | 1204223.5787
66 | 2558712.0288 | 1204231.7529
67 | 2558715.5448 | 1204235.2305
68 | 2558720.8764 | 1204230.0351
69 | 2558728.4229 | 1204238.8446
70 | 2558706.7684 | 1204236.6608
71 | 2558735.1373 | 1204227.2664
72 | 2558429.0702 | 1204305.6107
73 | 2558439.4558 | 1204310.0149
74 | 2558437.3374 | 1204324.1348
75 | 2558499.6637 | 1204331.096
76 | 2558497.7193 | 1204350.0024
77 | 2558433.2697 | 1204351.2481
78 | 2558481.2728 | 1204358.4475
79 | 2558447.7821 | 1204353.4246
80 | 2558445.7865 | 1204369.149
81 | 2558511.0841 | 1204261.4658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1