## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-34_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6458-34_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6458-34_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6458-34_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6458-34_0_5_node_126 | 0.4 | n |  | TRUE
6 | bus_LV_6458-34_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_6458-34_0_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6458-34_0_5_node_127 | 0.4 | n |  | TRUE
9 | bus_LV_6458-34_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_6458-34_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6458-34_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6458-34_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6458-34_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6458-34_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6458-34_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6458-34_0_5_node_129 | 0.4 | n |  | TRUE
17 | bus_LV_6458-34_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6458-34_0_5_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_6458-34_0_5_node_128 | 0.4 | n |  | TRUE
20 | bus_LV_6458-34_0_5_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6458-34_0_5_node_130 | 0.4 | n |  | TRUE
22 | bus_LV_6458-34_0_5_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_6458-34_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6458-34_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6458-34_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6458-34_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6458-34_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6458-34_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6458-34_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_6458-34_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6458-34_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6458-34_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6458-34_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6458-34_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6458-34_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6458-34_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6458-34_0_5_node_120 | 0.4 | n |  | TRUE
38 | bus_LV_6458-34_0_5_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_6458-34_0_5_node_138 | 0.4 | n |  | TRUE
40 | bus_LV_6458-34_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6458-34_0_5_node_111 | 0.4 | n |  | TRUE
42 | bus_LV_6458-34_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6458-34_0_5_node_134 | 0.4 | n |  | TRUE
44 | bus_LV_6458-34_0_5_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_6458-34_0_5_node_136 | 0.4 | n |  | TRUE
46 | bus_LV_6458-34_0_5_node_133 | 0.4 | n |  | TRUE
47 | bus_LV_6458-34_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_6458-34_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_6458-34_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_6458-34_0_5_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_6458-34_0_5_node_165 | 0.4 | n |  | TRUE
52 | bus_LV_6458-34_0_5_node_166 | 0.4 | n |  | TRUE
53 | bus_LV_6458-34_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_6458-34_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_6458-34_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_6458-34_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6458-34_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_6458-34_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_6458-34_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_6458-34_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6458-34_0_5_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_6458-34_0_5_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_6458-34_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_6458-34_0_5_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6458-34_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6458-34_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6458-34_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_6458-34_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_6458-34_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_6458-34_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_6458-34_0_5_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_6458-34_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_6458-34_0_5_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_6458-34_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_6458-34_0_5_node_100 | 0.4 | n |  | TRUE
76 | bus_LV_6458-34_0_5_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_6458-34_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_6458-34_0_5_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_6458-34_0_5_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_6458-34_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_6458-34_0_5_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_6458-34_0_5_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_6458-34_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_6458-34_0_5_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_6458-34_0_5_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_6458-34_0_5_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_6458-34_0_5_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_6458-34_0_5_node_161 | 0.4 | n |  | TRUE
89 | bus_LV_6458-34_0_5_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_6458-34_0_5_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_6458-34_0_5_node_159 | 0.4 | n |  | TRUE
92 | bus_LV_6458-34_0_5_node_160 | 0.4 | n |  | TRUE
93 | bus_LV_6458-34_0_5_node_163 | 0.4 | n |  | TRUE
94 | bus_LV_6458-34_0_5_node_162 | 0.4 | n |  | TRUE
95 | bus_LV_6458-34_0_5_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_6458-34_0_5_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_6458-34_0_5_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_6458-34_0_5_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_6458-34_0_5_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_6458-34_0_5_node_124 | 0.4 | n |  | TRUE
101 | bus_LV_6458-34_0_5_node_123 | 0.4 | n |  | TRUE
102 | bus_LV_6458-34_0_5_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_6458-34_0_5_node_72 | 0.4 | n |  | TRUE
104 | bus_LV_6458-34_0_5_node_73 | 0.4 | n |  | TRUE
105 | bus_LV_6458-34_0_5_node_74 | 0.4 | n |  | TRUE
106 | bus_LV_6458-34_0_5_node_75 | 0.4 | n |  | TRUE
107 | bus_LV_6458-34_0_5_node_84 | 0.4 | n |  | TRUE
108 | bus_LV_6458-34_0_5_node_80 | 0.4 | n |  | TRUE
109 | bus_LV_6458-34_0_5_node_78 | 0.4 | n |  | TRUE
110 | bus_LV_6458-34_0_5_node_79 | 0.4 | n |  | TRUE
111 | bus_LV_6458-34_0_5_node_81 | 0.4 | n |  | TRUE
112 | bus_LV_6458-34_0_5_node_82 | 0.4 | n |  | TRUE
113 | bus_LV_6458-34_0_5_node_83 | 0.4 | n |  | TRUE
114 | bus_LV_6458-34_0_5_node_89 | 0.4 | n |  | TRUE
115 | bus_LV_6458-34_0_5_node_90 | 0.4 | n |  | TRUE
116 | bus_LV_6458-34_0_5_node_87 | 0.4 | n |  | TRUE
117 | bus_LV_6458-34_0_5_node_91 | 0.4 | n |  | TRUE
118 | bus_LV_6458-34_0_5_node_92 | 0.4 | n |  | TRUE
119 | bus_LV_6458-34_0_5_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_6458-34_0_5_node_93 | 0.4 | n |  | TRUE
121 | bus_LV_6458-34_0_5_node_96 | 0.4 | n |  | TRUE
122 | bus_LV_6458-34_0_5_node_157 | 0.4 | n |  | TRUE
123 | bus_LV_6458-34_0_5_node_97 | 0.4 | n |  | TRUE
124 | bus_LV_6458-34_0_5_node_103 | 0.4 | n |  | TRUE
125 | bus_LV_6458-34_0_5_node_105 | 0.4 | n |  | TRUE
126 | bus_LV_6458-34_0_5_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_6458-34_0_5_node_108 | 0.4 | n |  | TRUE
128 | bus_LV_6458-34_0_5_node_109 | 0.4 | n |  | TRUE
129 | bus_LV_6458-34_0_5_node_110 | 0.4 | n |  | TRUE
130 | bus_LV_6458-34_0_5_node_112 | 0.4 | n |  | TRUE
131 | bus_LV_6458-34_0_5_node_113 | 0.4 | n |  | TRUE
132 | bus_LV_6458-34_0_5_node_114 | 0.4 | n |  | TRUE
133 | bus_LV_6458-34_0_5_node_115 | 0.4 | n |  | TRUE
134 | bus_LV_6458-34_0_5_node_116 | 0.4 | n |  | TRUE
135 | bus_LV_6458-34_0_5_node_121 | 0.4 | n |  | TRUE
136 | bus_LV_6458-34_0_5_node_122 | 0.4 | n |  | TRUE
137 | bus_LV_6458-34_0_5_node_119 | 0.4 | n |  | TRUE
138 | bus_LV_6458-34_0_5_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_6458-34_0_5_node_154 | 0.4 | n |  | TRUE
140 | bus_LV_6458-34_0_5_node_153 | 0.4 | n |  | TRUE
141 | bus_LV_6458-34_0_5_node_131 | 0.4 | n |  | TRUE
142 | bus_LV_6458-34_0_5_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_6458-34_0_5_node_135 | 0.4 | n |  | TRUE
144 | bus_LV_6458-34_0_5_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_6458-34_0_5_node_139 | 0.4 | n |  | TRUE
146 | bus_LV_6458-34_0_5_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_6458-34_0_5_node_141 | 0.4 | n |  | TRUE
148 | bus_LV_6458-34_0_5_node_142 | 0.4 | n |  | TRUE
149 | bus_LV_6458-34_0_5_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_6458-34_0_5_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_6458-34_0_5_node_156 | 0.4 | n |  | TRUE
152 | bus_LV_6458-34_0_5_node_145 | 0.4 | n |  | TRUE
153 | bus_LV_6458-34_0_5_node_155 | 0.4 | n |  | TRUE
154 | bus_LV_6458-34_0_5_node_146 | 0.4 | n |  | TRUE
155 | bus_LV_6458-34_0_5_node_147 | 0.4 | n |  | TRUE
156 | bus_LV_6458-34_0_5_node_148 | 0.4 | n |  | TRUE
157 | bus_LV_6458-34_0_5_node_149 | 0.4 | n |  | TRUE
158 | bus_LV_6458-34_0_5_node_150 | 0.4 | n |  | TRUE
159 | bus_LV_6458-34_0_5_node_151 | 0.4 | n |  | TRUE
160 | bus_LV_6458-34_0_5_node_152 | 0.4 | n |  | TRUE
161 | bus_MV_641_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-34_0_5_load_0 | 0 | 0.059942 | 0.015023 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-34_0_5_load_4 | 2 | 0.081334 | 0.020384 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-34_0_5_load_126 | 5 | 0.0067224 | 0.0016848 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-34_0_5_load_40 | 7 | 0.0076692 | 0.0019221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-34_0_5_load_127 | 8 | 0.004416 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-34_0_5_load_35 | 9 | 0.0068541 | 0.0017178 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-34_0_5_load_6 | 10 | 0.0046052 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-34_0_5_load_7 | 11 | 0.0039755 | 0.00099635 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-34_0_5_load_9 | 13 | 0.0060643 | 0.0015199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-34_0_5_load_24 | 15 | 0.023084 | 0.0057854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-34_0_5_load_129 | 16 | 0.0041634 | 0.0010434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-34_0_5_load_42 | 18 | 0.012907 | 0.0032349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-34_0_5_load_130 | 21 | 0.0021091 | 0.00052858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-34_0_5_load_41 | 22 | 0.014046 | 0.0035203 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-34_0_5_load_12 | 23 | 0.0084101 | 0.0021078 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-34_0_5_load_14 | 25 | 0.0099338 | 0.0024897 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-34_0_5_load_15 | 26 | 0.016569 | 0.0041525 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-34_0_5_load_16 | 27 | 0.0038651 | 0.00096868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-34_0_5_load_26 | 28 | 0.0046113 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-34_0_5_load_18 | 29 | 0.0084449 | 0.0021165 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-34_0_5_load_17 | 31 | 0.0074325 | 0.0018628 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-34_0_5_load_22 | 34 | 0.0016269 | 0.00040775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-34_0_5_load_23 | 35 | 0.0074207 | 0.0018598 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-34_0_5_load_48 | 36 | 0.0033318 | 0.00083504 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-34_0_5_load_120 | 37 | 0.0024481 | 0.00061355 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-34_0_5_load_117 | 38 | 0.0019232 | 0.000482 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-34_0_5_load_138 | 39 | 0.012817 | 0.0032122 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-34_0_5_load_111 | 41 | 0.0017984 | 0.00045073 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-34_0_5_load_25 | 42 | 0.004242 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-34_0_5_load_134 | 43 | 0.0024991 | 0.00062632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-34_0_5_load_118 | 44 | 0.0010066 | 0.00025229 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-34_0_5_load_136 | 45 | 0.0066001 | 0.0016542 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-34_0_5_load_133 | 46 | 0.0040377 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-34_0_5_load_29 | 48 | 0.0061612 | 0.0015441 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-34_0_5_load_30 | 50 | 0.004732 | 0.001186 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-34_0_5_load_165 | 51 | 0.0042418 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-34_0_5_load_166 | 52 | 0.0085673 | 0.0021472 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-34_0_5_load_32 | 54 | 0.0022272 | 0.00055819 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-34_0_5_load_33 | 55 | 0.0042514 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-34_0_5_load_54 | 56 | 0.0050681 | 0.0012702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-34_0_5_load_55 | 58 | 0.0040901 | 0.0010251 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-34_0_5_load_61 | 59 | 0.002511 | 0.00062932 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-34_0_5_load_58 | 60 | 0.003573 | 0.00089549 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-34_0_5_load_36 | 61 | 0.0022375 | 0.00056077 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-34_0_5_load_38 | 62 | 0.002541 | 0.00063684 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-34_0_5_load_64 | 64 | 0.0024779 | 0.00062101 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-34_0_5_load_63 | 65 | 0.0017352 | 0.00043488 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-34_0_5_load_62 | 66 | 0.0025427 | 0.00063727 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-34_0_5_load_43 | 67 | 0.0054484 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-34_0_5_load_44 | 68 | 0.0028919 | 0.00072478 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-34_0_5_load_47 | 70 | 0.001939 | 0.00048595 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-34_0_5_load_49 | 71 | 0.0036925 | 0.00092542 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-34_0_5_load_50 | 72 | 0.0015314 | 0.00038381 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-34_0_5_load_106 | 73 | 0.0015311 | 0.00038373 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-34_0_5_load_100 | 75 | 0.0010741 | 0.00026918 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-34_0_5_load_104 | 76 | 0.0021809 | 0.00054658 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-34_0_5_load_52 | 77 | 0.0028744 | 0.0007204 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-34_0_5_load_53 | 78 | 0.0010349 | 0.00025937 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-34_0_5_load_98 | 79 | 0.0013662 | 0.00034241 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6458-34_0_5_load_76 | 80 | 0.0026633 | 0.00066749 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6458-34_0_5_load_85 | 81 | 0.002065 | 0.00051754 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6458-34_0_5_load_86 | 83 | 0.00224 | 0.00056141 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6458-34_0_5_load_56 | 84 | 0.002331 | 0.00058421 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6458-34_0_5_load_57 | 85 | 0.0023663 | 0.00059306 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6458-34_0_5_load_65 | 86 | 0.0026739 | 0.00067013 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6458-34_0_5_load_161 | 88 | 0.0017288 | 0.00043328 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6458-34_0_5_load_159 | 91 | 0.005521 | 0.0013837 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6458-34_0_5_load_162 | 94 | 0.0026127 | 0.0006548 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6458-34_0_5_load_95 | 96 | 0.002059 | 0.00051604 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6458-34_0_5_load_88 | 97 | 0.0022391 | 0.00056117 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6458-34_0_5_load_102 | 98 | 0.0012844 | 0.00032189 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6458-34_0_5_load_99 | 99 | 0.0012754 | 0.00031966 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6458-34_0_5_load_124 | 100 | 0.00083654 | 0.00020966 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6458-34_0_5_load_71 | 102 | 0.0031084 | 0.00077903 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6458-34_0_5_load_72 | 103 | 0.00071891 | 0.00018018 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6458-34_0_5_load_73 | 104 | 0.003131 | 0.0007847 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6458-34_0_5_load_74 | 105 | 0.0018537 | 0.00046459 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6458-34_0_5_load_75 | 106 | 0.0027625 | 0.00069235 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6458-34_0_5_load_84 | 107 | 0.0012626 | 0.00031644 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6458-34_0_5_load_80 | 108 | 0.0012448 | 0.00031197 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6458-34_0_5_load_78 | 109 | 0.0018222 | 0.00045669 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6458-34_0_5_load_79 | 110 | 0.0023814 | 0.00059683 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6458-34_0_5_load_81 | 111 | 0.0023449 | 0.00058768 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6458-34_0_5_load_82 | 112 | 0.0015514 | 0.00038882 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6458-34_0_5_load_83 | 113 | 0.0011105 | 0.00027831 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6458-34_0_5_load_89 | 114 | 0.0019776 | 0.00049562 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6458-34_0_5_load_90 | 115 | 0.0023055 | 0.00057781 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6458-34_0_5_load_87 | 116 | 0.0015185 | 0.00038056 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6458-34_0_5_load_91 | 117 | 0.0015675 | 0.00039285 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6458-34_0_5_load_94 | 119 | 0.0023296 | 0.00058386 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6458-34_0_5_load_93 | 120 | 0.0014414 | 0.00036126 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6458-34_0_5_load_157 | 122 | 0.0032745 | 0.00082066 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6458-34_0_5_load_97 | 123 | 0.0014176 | 0.00035529 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6458-34_0_5_load_103 | 124 | 0.0010738 | 0.00026911 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6458-34_0_5_load_105 | 125 | 0.001536 | 0.00038495 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6458-34_0_5_load_107 | 126 | 0.0022121 | 0.0005544 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6458-34_0_5_load_108 | 127 | 0.00097083 | 0.00024331 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6458-34_0_5_load_109 | 128 | 0.0020111 | 0.00050402 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6458-34_0_5_load_110 | 129 | 0.0014537 | 0.00036434 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6458-34_0_5_load_112 | 130 | 0.0015114 | 0.00037879 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6458-34_0_5_load_113 | 131 | 0.0012205 | 0.00030589 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6458-34_0_5_load_114 | 132 | 0.0020241 | 0.0005073 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6458-34_0_5_load_115 | 133 | 0.0012254 | 0.0003071 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6458-34_0_5_load_116 | 134 | 0.0025595 | 0.00064147 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6458-34_0_5_load_122 | 136 | 0.001462 | 0.00036641 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6458-34_0_5_load_125 | 138 | 0.0010351 | 0.00025942 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6458-34_0_5_load_154 | 139 | 0.00097886 | 0.00024533 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6458-34_0_5_load_153 | 140 | 0.0014314 | 0.00035873 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6458-34_0_5_load_131 | 141 | 0.0026424 | 0.00066225 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6458-34_0_5_load_132 | 142 | 0.0029421 | 0.00073735 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6458-34_0_5_load_135 | 143 | 0.003502 | 0.0008777 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6458-34_0_5_load_137 | 144 | 0.0019771 | 0.0004955 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6458-34_0_5_load_139 | 145 | 0.0017838 | 0.00044706 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6458-34_0_5_load_140 | 146 | 0.001178 | 0.00029523 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6458-34_0_5_load_142 | 148 | 0.001192 | 0.00029873 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6458-34_0_5_load_144 | 150 | 0.0010005 | 0.00025075 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6458-34_0_5_load_156 | 151 | 0.00079833 | 0.00020008 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_6458-34_0_5_load_145 | 152 | 0.00097053 | 0.00024324 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_6458-34_0_5_load_155 | 153 | 0.002067 | 0.00051804 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_6458-34_0_5_load_146 | 154 | 0.003067 | 0.00076866 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_6458-34_0_5_load_147 | 155 | 0.0020013 | 0.00050157 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_6458-34_0_5_load_148 | 156 | 0.001696 | 0.00042506 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_6458-34_0_5_load_149 | 157 | 0.0017782 | 0.00044565 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_6458-34_0_5_load_150 | 158 | 0.0016599 | 0.00041601 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_6458-34_0_5_load_151 | 159 | 0.0020744 | 0.0005199 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_6458-34_0_5_load_152 | 160 | 0.0017199 | 0.00043105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-34_0_5_line_0 |  | 0 | 1 | 0.03347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-34_0_5_line_1 |  | 1 | 2 | 0.02486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6458-34_0_5_line_2 |  | 1 | 3 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6458-34_0_5_line_3 |  | 2 | 4 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6458-34_0_5_line_4 |  | 3 | 6 | 0.076188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6458-34_0_5_line_5 |  | 3 | 7 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-34_0_5_line_6 |  | 4 | 5 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-34_0_5_line_7 |  | 5 | 8 | 0.011332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-34_0_5_line_8 |  | 6 | 9 | 0.018659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6458-34_0_5_line_9 |  | 8 | 19 | 0.00077894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-34_0_5_line_10 |  | 9 | 61 | 0.020094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6458-34_0_5_line_11 |  | 10 | 11 | 0.0003271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-34_0_5_line_12 |  | 10 | 12 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-34_0_5_line_13 |  | 11 | 13 | 0.024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-34_0_5_line_14 |  | 12 | 14 | 0.069382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-34_0_5_line_15 |  | 13 | 15 | 0.064665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-34_0_5_line_16 |  | 14 | 16 | 0.049812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6458-34_0_5_line_17 |  | 15 | 20 | 0.061378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6458-34_0_5_line_18 |  | 16 | 21 | 0.0028287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-34_0_5_line_19 |  | 17 | 18 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-34_0_5_line_20 |  | 17 | 19 | 0.023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-34_0_5_line_21 |  | 18 | 22 | 0.0069341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-34_0_5_line_22 |  | 20 | 32 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-34_0_5_line_23 |  | 21 | 141 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-34_0_5_line_24 |  | 22 | 67 | 0.025938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-34_0_5_line_25 |  | 23 | 24 | 0.05287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6458-34_0_5_line_26 |  | 23 | 25 | 0.0012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-34_0_5_line_27 |  | 24 | 26 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6458-34_0_5_line_28 |  | 24 | 27 | 0.0093492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6458-34_0_5_line_29 |  | 26 | 28 | 0.030312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6458-34_0_5_line_30 |  | 27 | 29 | 0.032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6458-34_0_5_line_31 |  | 28 | 30 | 0.0017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6458-34_0_5_line_32 |  | 29 | 31 | 0.027419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6458-34_0_5_line_33 |  | 30 | 47 | 0.011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6458-34_0_5_line_34 |  | 30 | 48 | 0.016319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-34_0_5_line_35 |  | 31 | 32 | 0.026295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6458-34_0_5_line_36 |  | 32 | 33 | 0.063814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6458-34_0_5_line_37 |  | 32 | 34 | 0.036781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-34_0_5_line_38 |  | 32 | 35 | 0.040127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-34_0_5_line_39 |  | 33 | 36 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-34_0_5_line_40 |  | 33 | 37 | 0.011809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-34_0_5_line_41 |  | 34 | 38 | 0.028753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-34_0_5_line_42 |  | 35 | 39 | 0.01649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-34_0_5_line_43 |  | 36 | 40 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-34_0_5_line_44 |  | 37 | 41 | 0.0040557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-34_0_5_line_45 |  | 38 | 44 | 0.02141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-34_0_5_line_46 |  | 39 | 45 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-34_0_5_line_47 |  | 40 | 70 | 0.02241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-34_0_5_line_48 |  | 40 | 68 | 0.010742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-34_0_5_line_49 |  | 41 | 129 | 0.0009815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-34_0_5_line_50 |  | 42 | 43 | 0.019484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-34_0_5_line_51 |  | 43 | 46 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-34_0_5_line_52 |  | 44 | 137 | 0.020251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-34_0_5_line_53 |  | 45 | 143 | 0.027426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-34_0_5_line_54 |  | 46 | 142 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-34_0_5_line_55 |  | 47 | 49 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-34_0_5_line_56 |  | 47 | 50 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6458-34_0_5_line_57 |  | 49 | 51 | 0.013989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-34_0_5_line_58 |  | 49 | 52 | 0.027047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-34_0_5_line_59 |  | 50 | 53 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6458-34_0_5_line_60 |  | 53 | 54 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-34_0_5_line_61 |  | 53 | 55 | 0.0083953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6458-34_0_5_line_62 |  | 54 | 56 | 0.0015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-34_0_5_line_63 |  | 55 | 57 | 0.015143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6458-34_0_5_line_64 |  | 56 | 58 | 0.0090828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-34_0_5_line_65 |  | 57 | 59 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6458-34_0_5_line_66 |  | 57 | 60 | 0.036404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-34_0_5_line_67 |  | 59 | 66 | 0.02676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6458-34_0_5_line_68 |  | 60 | 84 | 0.0082436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-34_0_5_line_69 |  | 61 | 62 | 0.0021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6458-34_0_5_line_70 |  | 62 | 63 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6458-34_0_5_line_71 |  | 63 | 64 | 0.028881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-34_0_5_line_72 |  | 63 | 65 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6458-34_0_5_line_73 |  | 65 | 66 | 0.0061899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6458-34_0_5_line_74 |  | 68 | 69 | 0.031047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-34_0_5_line_75 |  | 69 | 71 | 0.0086856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-34_0_5_line_76 |  | 69 | 72 | 0.03807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-34_0_5_line_77 |  | 70 | 73 | 0.008383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-34_0_5_line_78 |  | 71 | 74 | 0.024227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-34_0_5_line_79 |  | 72 | 75 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6458-34_0_5_line_80 |  | 73 | 76 | 0.031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6458-34_0_5_line_81 |  | 74 | 77 | 0.020926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6458-34_0_5_line_82 |  | 74 | 78 | 0.034706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6458-34_0_5_line_83 |  | 75 | 79 | 0.048469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6458-34_0_5_line_84 |  | 76 | 124 | 0.028309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6458-34_0_5_line_85 |  | 77 | 80 | 0.033935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6458-34_0_5_line_86 |  | 78 | 81 | 0.004544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6458-34_0_5_line_87 |  | 79 | 123 | 0.0052246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6458-34_0_5_line_88 |  | 80 | 82 | 0.0027551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6458-34_0_5_line_89 |  | 81 | 83 | 0.020718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6458-34_0_5_line_90 |  | 82 | 110 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6458-34_0_5_line_91 |  | 82 | 111 | 0.027981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6458-34_0_5_line_92 |  | 83 | 116 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6458-34_0_5_line_93 |  | 84 | 85 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6458-34_0_5_line_94 |  | 86 | 87 | 0.039247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6458-34_0_5_line_95 |  | 86 | 88 | 0.11311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6458-34_0_5_line_96 |  | 87 | 89 | 0.030845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6458-34_0_5_line_97 |  | 88 | 90 | 0.088387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6458-34_0_5_line_98 |  | 89 | 95 | 0.023619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6458-34_0_5_line_99 |  | 90 | 91 | 0.019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6458-34_0_5_line_100 |  | 91 | 92 | 0.027008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6458-34_0_5_line_101 |  | 92 | 93 | 0.16012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6458-34_0_5_line_102 |  | 93 | 94 | 0.030645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6458-34_0_5_line_103 |  | 95 | 98 | 0.029724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6458-34_0_5_line_104 |  | 95 | 99 | 0.033918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6458-34_0_5_line_105 |  | 96 | 97 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6458-34_0_5_line_106 |  | 97 | 116 | 0.029195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6458-34_0_5_line_107 |  | 99 | 123 | 0.04142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6458-34_0_5_line_108 |  | 100 | 101 | 0.068633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6458-34_0_5_line_109 |  | 101 | 136 | 0.022924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6458-34_0_5_line_110 |  | 102 | 103 | 0.00067903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6458-34_0_5_line_111 |  | 102 | 104 | 0.0069968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6458-34_0_5_line_112 |  | 103 | 105 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6458-34_0_5_line_113 |  | 104 | 106 | 0.016005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6458-34_0_5_line_114 |  | 105 | 107 | 0.014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6458-34_0_5_line_115 |  | 106 | 108 | 0.0046199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6458-34_0_5_line_116 |  | 108 | 109 | 0.012692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6458-34_0_5_line_117 |  | 109 | 110 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6458-34_0_5_line_118 |  | 111 | 112 | 0.001058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6458-34_0_5_line_119 |  | 112 | 113 | 0.0067574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6458-34_0_5_line_120 |  | 113 | 114 | 0.047928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6458-34_0_5_line_121 |  | 114 | 115 | 0.001001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6458-34_0_5_line_122 |  | 115 | 117 | 0.040765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6458-34_0_5_line_123 |  | 117 | 118 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6458-34_0_5_line_124 |  | 118 | 119 | 0.029607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6458-34_0_5_line_125 |  | 118 | 120 | 0.012007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6458-34_0_5_line_126 |  | 119 | 121 | 0.043933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6458-34_0_5_line_127 |  | 121 | 122 | 0.15987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6458-34_0_5_line_128 |  | 124 | 125 | 0.0017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6458-34_0_5_line_129 |  | 126 | 127 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6458-34_0_5_line_130 |  | 126 | 128 | 0.0051664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6458-34_0_5_line_131 |  | 127 | 129 | 0.024926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6458-34_0_5_line_132 |  | 130 | 131 | 0.006001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6458-34_0_5_line_133 |  | 130 | 132 | 0.028547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6458-34_0_5_line_134 |  | 131 | 133 | 0.001853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6458-34_0_5_line_135 |  | 132 | 134 | 0.0079559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6458-34_0_5_line_136 |  | 133 | 135 | 0.035164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6458-34_0_5_line_137 |  | 135 | 136 | 0.02167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6458-34_0_5_line_138 |  | 135 | 137 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6458-34_0_5_line_139 |  | 137 | 138 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6458-34_0_5_line_140 |  | 138 | 139 | 0.0063964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6458-34_0_5_line_141 |  | 139 | 140 | 0.0030678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6458-34_0_5_line_142 |  | 140 | 160 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6458-34_0_5_line_143 |  | 141 | 142 | 0.0052408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6458-34_0_5_line_144 |  | 143 | 144 | 0.00090697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6458-34_0_5_line_145 |  | 144 | 145 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_6458-34_0_5_line_146 |  | 145 | 146 | 0.00892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_6458-34_0_5_line_147 |  | 146 | 147 | 0.023399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_6458-34_0_5_line_148 |  | 147 | 148 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_6458-34_0_5_line_149 |  | 147 | 149 | 0.091084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_6458-34_0_5_line_150 |  | 148 | 150 | 0.0038898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_6458-34_0_5_line_151 |  | 149 | 151 | 0.061947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_6458-34_0_5_line_152 |  | 150 | 152 | 0.031187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_6458-34_0_5_line_153 |  | 152 | 153 | 0.0010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_6458-34_0_5_line_154 |  | 154 | 155 | 0.025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_6458-34_0_5_line_155 |  | 155 | 156 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_6458-34_0_5_line_156 |  | 156 | 157 | 0.0010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_6458-34_0_5_line_157 |  | 157 | 158 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_6458-34_0_5_line_158 |  | 158 | 159 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_6458-34_0_5_line_159 |  | 159 | 160 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-34_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 161 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2558323.7728 | 1204348.6005 | 2558326.2209 | 1204341.8796 | 2558332.6122 | 1204316.3499
1 | 2558323.7728 | 1204348.6005 | 2558309.0492 | 1204344.8903 | 2558300.2918 | 1204340.7759
2 | 2558323.7728 | 1204348.6005 | 2558339.8282 | 1204357.8379 | 2558345.8908 | 1204361.0307
3 | 2558289.0214 | 1204335.4807 | 2558300.2918 | 1204340.7759
4 | 2558416.1031 | 1204386.588 | 2558400.2113 | 1204382.2298 | 2558392.5689 | 1204376.1353 | 2558378.0155 | 1204370.6227 | 2558363.1241 | 1204370.0931 | 2558345.8908 | 1204361.0307
5 | 2558345.8908 | 1204361.0307 | 2558340.7548 | 1204380.8481
6 | 2558289.0214 | 1204335.4807 | 2558275.8131 | 1204328.1918
7 | 2558275.8131 | 1204328.1918 | 2558265.8913 | 1204322.7164
8 | 2558416.1031 | 1204386.588 | 2558413.113 | 1204405.0059
9 | 2558265.8913 | 1204322.7164 | 2558265.2093 | 1204322.34
10 | 2558413.113 | 1204405.0059 | 2558409.8929 | 1204424.8405
11 | 2558162.3906 | 1204310.0268 | 2558162.4199 | 1204309.701
12 | 2558165.2926 | 1204291.9792 | 2558163.7746 | 1204294.6358 | 2558162.4199 | 1204309.701
13 | 2558162.3906 | 1204310.0268 | 2558160.1576 | 1204334.8603
14 | 2558165.2926 | 1204291.9792 | 2558147.5819 | 1204283.2542 | 2558118.4201 | 1204268.8843 | 2558109.5344 | 1204266.7122 | 2558101.6836 | 1204268.8909
15 | 2558157.3734 | 1204399.4132 | 2558156.9303 | 1204385.9135 | 2558159.5903 | 1204341.1694 | 2558160.1576 | 1204334.8603
16 | 2558101.6836 | 1204268.8909 | 2558097.9273 | 1204278.8785 | 2558100.7663 | 1204289.887 | 2558110.7785 | 1204315.7926
17 | 2558170.1095 | 1204451.347 | 2558177.6465 | 1204445.6686 | 2558160.3707 | 1204420.8314 | 2558157.6078 | 1204406.5538 | 2558157.3734 | 1204399.4132
18 | 2558110.7785 | 1204315.7926 | 2558111.7982 | 1204318.4311
19 | 2558244.089 | 1204311.2039 | 2558232.8665 | 1204325.9892
20 | 2558244.089 | 1204311.2039 | 2558261.3008 | 1204320.4219 | 2558265.2093 | 1204322.34
21 | 2558228.6742 | 1204331.5124 | 2558232.8665 | 1204325.9892
22 | 2558170.1095 | 1204451.347 | 2558179.7993 | 1204466.2319
23 | 2558111.7982 | 1204318.4311 | 2558117.6685 | 1204333.6199
24 | 2558208.0163 | 1204315.8262 | 2558228.6742 | 1204331.5124
25 | 2558272.9501 | 1204483.5552 | 2558286.6733 | 1204432.4973
26 | 2558286.9848 | 1204431.3383 | 2558286.6733 | 1204432.4973
27 | 2558272.9501 | 1204483.5552 | 2558291.4483 | 1204488.3124
28 | 2558272.9501 | 1204483.5552 | 2558263.8958 | 1204481.2253
29 | 2558291.4483 | 1204488.3124 | 2558320.8048 | 1204495.862
30 | 2558232.2172 | 1204473.0735 | 2558263.8958 | 1204481.2253
31 | 2558322.5245 | 1204496.3043 | 2558320.8048 | 1204495.862
32 | 2558232.2172 | 1204473.0735 | 2558205.6632 | 1204466.2404
33 | 2558322.5245 | 1204496.3043 | 2558333.4679 | 1204499.0849
34 | 2558322.5245 | 1204496.3043 | 2558319.7768 | 1204512.3882
35 | 2558179.7993 | 1204466.2319 | 2558191.7024 | 1204464.8253 | 2558196.9532 | 1204463.9991 | 2558205.6632 | 1204466.2404
36 | 2558228.9691 | 1204505.8427 | 2558203.1981 | 1204490.9928 | 2558190.252 | 1204479.277 | 2558179.7993 | 1204466.2319
37 | 2558179.7993 | 1204466.2319 | 2558176.6754 | 1204481.7849 | 2558166.4065 | 1204500.0077
38 | 2558179.7993 | 1204466.2319 | 2558161.9343 | 1204463.6225 | 2558142.3651 | 1204453.4126
39 | 2558228.9691 | 1204505.8427 | 2558238.7101 | 1204509.4637
40 | 2558228.9691 | 1204505.8427 | 2558226.0637 | 1204515.6798 | 2558225.859 | 1204517.2183
41 | 2558152.612 | 1204525.2237 | 2558154.8561 | 1204520.5045 | 2558166.4065 | 1204500.0077
42 | 2558127.7451 | 1204445.7848 | 2558142.3651 | 1204453.4126
43 | 2558262.1394 | 1204518.1728 | 2558238.7101 | 1204509.4637
44 | 2558225.3239 | 1204521.2386 | 2558225.859 | 1204517.2183
45 | 2558152.612 | 1204525.2237 | 2558143.4176 | 1204544.5592
46 | 2558127.7451 | 1204445.7848 | 2558118.1096 | 1204440.7576
47 | 2558262.1394 | 1204518.1728 | 2558258.3551 | 1204540.261
48 | 2558262.1394 | 1204518.1728 | 2558271.3111 | 1204523.7652
49 | 2558225.1945 | 1204522.2115 | 2558225.3239 | 1204521.2386
50 | 2558131.8219 | 1204370.2405 | 2558138.8461 | 1204388.4149
51 | 2558124.3781 | 1204350.9804 | 2558131.8219 | 1204370.2405
52 | 2558134.7209 | 1204562.8479 | 2558143.4176 | 1204544.5592
53 | 2558093.7938 | 1204428.0712 | 2558118.1096 | 1204440.7576
54 | 2558119.5578 | 1204338.5083 | 2558124.3781 | 1204350.9804
55 | 2558333.4679 | 1204499.0849 | 2558337.7072 | 1204481.9788
56 | 2558333.4679 | 1204499.0849 | 2558348.2558 | 1204502.8314
57 | 2558337.7072 | 1204481.9788 | 2558324.1339 | 1204478.4384
58 | 2558337.7072 | 1204481.9788 | 2558339.0696 | 1204482.0805 | 2558342.8798 | 1204465.6222 | 2558340.4258 | 1204464.9835 | 2558341.5085 | 1204458.8169
59 | 2558375.4385 | 1204506.907 | 2558355.7586 | 1204504.7322 | 2558348.2558 | 1204502.8314
60 | 2558375.4385 | 1204506.907 | 2558375.0697 | 1204528.6768
61 | 2558375.4385 | 1204506.907 | 2558383.8187 | 1204506.4043
62 | 2558375.0431 | 1204530.2477 | 2558375.0697 | 1204528.6768
63 | 2558398.935 | 1204505.4976 | 2558383.8187 | 1204506.4043
64 | 2558374.8892 | 1204539.3293 | 2558375.0431 | 1204530.2477
65 | 2558398.935 | 1204505.4976 | 2558399.3654 | 1204491.3511
66 | 2558398.935 | 1204505.4976 | 2558435.3129 | 1204504.11
67 | 2558402.9579 | 1204464.945 | 2558399.7144 | 1204479.8776 | 2558399.3654 | 1204491.3511
68 | 2558443.539 | 1204504.2507 | 2558439.965 | 1204503.9326 | 2558435.3129 | 1204504.11
69 | 2558409.8929 | 1204424.8405 | 2558409.5474 | 1204426.9684
70 | 2558407.8833 | 1204437.2186 | 2558409.5474 | 1204426.9684
71 | 2558379.1762 | 1204438.7199 | 2558399.0582 | 1204436.0462 | 2558407.8833 | 1204437.2186
72 | 2558407.8833 | 1204437.2186 | 2558404.9915 | 1204455.5825 | 2558404.2718 | 1204458.8962
73 | 2558402.9579 | 1204464.945 | 2558404.2718 | 1204458.8962
74 | 2558294.4326 | 1204544.317 | 2558276.1815 | 1204526.7349 | 2558271.3111 | 1204523.7652
75 | 2558294.4326 | 1204544.317 | 2558300.6901 | 1204550.3406
76 | 2558294.4326 | 1204544.317 | 2558281.8339 | 1204565.862 | 2558280.0267 | 1204578.8488
77 | 2558256.9395 | 1204548.5237 | 2558258.3551 | 1204540.261
78 | 2558318.1442 | 1204567.1418 | 2558300.6901 | 1204550.3406
79 | 2558276.8328 | 1204601.3233 | 2558278.2272 | 1204591.7797 | 2558280.0267 | 1204578.8488
80 | 2558256.9395 | 1204548.5237 | 2558255.2552 | 1204558.355 | 2558254.1429 | 1204579.5159
81 | 2558318.1442 | 1204567.1418 | 2558332.2395 | 1204575.737 | 2558336.4977 | 1204576.9088
82 | 2558318.1442 | 1204567.1418 | 2558317.6061 | 1204571.7816 | 2558313.3798 | 1204601.5176
83 | 2558269.8254 | 1204649.2828 | 2558276.8328 | 1204601.3233
84 | 2558252.6569 | 1204607.7858 | 2558254.1429 | 1204579.5159
85 | 2558336.4977 | 1204576.9088 | 2558369.2166 | 1204585.9129
86 | 2558312.7404 | 1204606.0164 | 2558313.3798 | 1204601.5176
87 | 2558269.0701 | 1204654.4525 | 2558269.8254 | 1204649.2828
88 | 2558371.8729 | 1204586.6439 | 2558369.2166 | 1204585.9129
89 | 2558312.7404 | 1204606.0164 | 2558311.2842 | 1204616.2622 | 2558309.5733 | 1204626.489
90 | 2558371.8729 | 1204586.6439 | 2558378.0542 | 1204588.3461 | 2558390.1369 | 1204591.8705
91 | 2558371.8729 | 1204586.6439 | 2558370.1732 | 1204590.5246 | 2558364.6659 | 1204590.5631 | 2558363.1465 | 1204608.7368
92 | 2558307.8215 | 1204636.9602 | 2558309.5733 | 1204626.489
93 | 2558443.539 | 1204504.2507 | 2558462.5548 | 1204505.9432
94 | 2558226.9603 | 1204745.3708 | 2558188.5901 | 1204753.6221
95 | 2558188.5901 | 1204753.6221 | 2558120.2546 | 1204843.7618
96 | 2558214.5259 | 1204717.5977 | 2558214.7662 | 1204722.5767 | 2558217.2547 | 1204728.1513 | 2558226.9603 | 1204745.3708
97 | 2558070.4508 | 1204771.7076 | 2558084.0507 | 1204798.5493 | 2558103.8869 | 1204828.4602 | 2558120.2546 | 1204843.7618
98 | 2558214.5259 | 1204717.5977 | 2558215.9251 | 1204713.2077 | 2558219.3524 | 1204707.2914 | 2558225.406 | 1204698.3994 | 2558226.3417 | 1204697.3145
99 | 2558070.4508 | 1204771.7076 | 2558056.6875 | 1204773.5166 | 2558051.3413 | 1204771.6059
100 | 2558025.9085 | 1204762.516 | 2558051.3413 | 1204771.6059
101 | 2558025.9085 | 1204762.516 | 2557905.4537 | 1204868.0149
102 | 2557905.4537 | 1204868.0149 | 2557884.1981 | 1204863.3959 | 2557875.657 | 1204860.9193
103 | 2558226.3417 | 1204697.3145 | 2558230.0615 | 1204692.9748 | 2558235.7626 | 1204688.0542 | 2558240.3136 | 1204688.3447 | 2558244.406 | 1204688.316 | 2558246.6439 | 1204687.4332 | 2558247.4811 | 1204682.0798
104 | 2558226.3417 | 1204697.3145 | 2558225.5922 | 1204694.5737 | 2558225.7092 | 1204691.7379 | 2558226.7827 | 1204689.6959 | 2558230.2908 | 1204686.6251 | 2558230.8951 | 1204686.0205 | 2558231.4182 | 1204673.8433 | 2558239.6279 | 1204674.3547
105 | 2558302.4455 | 1204665.6165 | 2558299.4774 | 1204684.4035
106 | 2558302.4455 | 1204665.6165 | 2558303.1327 | 1204661.2671 | 2558304.4354 | 1204657.2001 | 2558307.8215 | 1204636.9602
107 | 2558239.6279 | 1204674.3547 | 2558246.0148 | 1204674.7526 | 2558248.5612 | 1204670.1321 | 2558251.659 | 1204667.1309 | 2558258.4998 | 1204665.2597 | 2558267.7962 | 1204663.1711 | 2558269.0701 | 1204654.4525
108 | 2558111.9949 | 1204619.6622 | 2558115.5618 | 1204622.7944 | 2558122.3781 | 1204627.1712 | 2558124.9601 | 1204630.8663 | 2558129.773 | 1204633.7785 | 2558136.2645 | 1204636.3232 | 2558143.4608 | 1204636.3282 | 2558157.0554 | 1204639.6902 | 2558163.8819 | 1204639.0308 | 2558170.9321 | 1204639.8928 | 2558174.4046 | 1204639.3237
109 | 2558111.9949 | 1204619.6622 | 2558112.6295 | 1204612.5536 | 2558119.043 | 1204598.1281
110 | 2558448.9553 | 1204608.489 | 2558448.3325 | 1204608.2185
111 | 2558441.915 | 1204605.4307 | 2558448.3325 | 1204608.2185
112 | 2558448.9553 | 1204608.489 | 2558460.5889 | 1204613.5428
113 | 2558441.915 | 1204605.4307 | 2558441.1123 | 1204605.082 | 2558426.3822 | 1204601.6283
114 | 2558473.5537 | 1204619.1747 | 2558460.5889 | 1204613.5428
115 | 2558421.8843 | 1204600.5737 | 2558426.3822 | 1204601.6283
116 | 2558421.8843 | 1204600.5737 | 2558412.1503 | 1204598.2914 | 2558409.5642 | 1204597.5371
117 | 2558409.5642 | 1204597.5371 | 2558390.1369 | 1204591.8705
118 | 2558363.0584 | 1204609.7912 | 2558363.1465 | 1204608.7368
119 | 2558363.0584 | 1204609.7912 | 2558362.4954 | 1204616.5251
120 | 2558362.4954 | 1204616.5251 | 2558361.0928 | 1204633.3013 | 2558355.5837 | 1204634.1625 | 2558352.5853 | 1204659.503
121 | 2558352.5853 | 1204659.503 | 2558352.4677 | 1204660.4971
122 | 2558352.4677 | 1204660.4971 | 2558351.1522 | 1204671.6148 | 2558345.0364 | 1204671.6576 | 2558342.428 | 1204694.9661
123 | 2558341.0845 | 1204706.9719 | 2558342.428 | 1204694.9661
124 | 2558341.0845 | 1204706.9719 | 2558370.3528 | 1204711.4343
125 | 2558341.0845 | 1204706.9719 | 2558329.5119 | 1204703.771
126 | 2558410.1098 | 1204728.7131 | 2558382.7771 | 1204713.3286 | 2558370.3528 | 1204711.4343
127 | 2558410.1098 | 1204728.7131 | 2558496.2911 | 1204863.3672
128 | 2558252.5637 | 1204609.5585 | 2558252.6569 | 1204607.7858
129 | 2558220.238 | 1204559.4536 | 2558221.9061 | 1204546.92
130 | 2558220.238 | 1204559.4536 | 2558219.5564 | 1204564.5749
131 | 2558221.9061 | 1204546.92 | 2558225.1945 | 1204522.2115
132 | 2558169.9466 | 1204587.0275 | 2558163.9937 | 1204586.2691
133 | 2558169.9466 | 1204587.0275 | 2558198.2642 | 1204590.635
134 | 2558163.9937 | 1204586.2691 | 2558162.1555 | 1204586.035
135 | 2558206.1564 | 1204591.6404 | 2558198.2642 | 1204590.635
136 | 2558127.8464 | 1204578.3272 | 2558162.1555 | 1204586.035 | 2558162.1555 | 1204586.035
137 | 2558127.8464 | 1204578.3272 | 2558119.043 | 1204598.1281
138 | 2558134.7209 | 1204562.8479 | 2558127.8464 | 1204578.3272
139 | 2558134.7209 | 1204562.8479 | 2558107.1318 | 1204544.6964
140 | 2558107.1318 | 1204544.6964 | 2558101.7882 | 1204541.1807
141 | 2558099.2254 | 1204539.4945 | 2558101.7882 | 1204541.1807
142 | 2558088.6255 | 1204532.5207 | 2558099.2254 | 1204539.4945
143 | 2558119.5578 | 1204338.5083 | 2558117.6685 | 1204333.6199
144 | 2558092.9897 | 1204427.6517 | 2558093.7938 | 1204428.0712
145 | 2558071.9645 | 1204416.6821 | 2558092.9897 | 1204427.6517
146 | 2558071.9645 | 1204416.6821 | 2558064.0562 | 1204412.556
147 | 2558043.3114 | 1204401.7327 | 2558064.0562 | 1204412.556
148 | 2558043.3114 | 1204401.7327 | 2558030.069 | 1204418.8772
149 | 2558043.3114 | 1204401.7327 | 2557999.4878 | 1204372.9585 | 2557967.1212 | 1204351.8192
150 | 2558027.6912 | 1204421.9556 | 2558030.069 | 1204418.8772
151 | 2557967.1212 | 1204351.8192 | 2557965.0297 | 1204370.2111 | 2557964.3526 | 1204392.8287 | 2557966.393 | 1204413.5372
152 | 2558008.6269 | 1204446.6375 | 2558027.6912 | 1204421.9556
153 | 2558007.9632 | 1204447.4967 | 2558008.6269 | 1204446.6375
154 | 2558023.9746 | 1204489.9853 | 2558045.0385 | 1204503.8437
155 | 2558045.0385 | 1204503.8437 | 2558056.2218 | 1204511.2015
156 | 2558056.2218 | 1204511.2015 | 2558057.0602 | 1204511.7531
157 | 2558067.1735 | 1204518.4069 | 2558057.0602 | 1204511.7531
158 | 2558067.1735 | 1204518.4069 | 2558078.6486 | 1204525.9566
159 | 2558088.6255 | 1204532.5207 | 2558078.6486 | 1204525.9566

## bus_geodata
| x | y | coords
0 | 2558332.6122 | 1204316.3499
1 | 2558323.7728 | 1204348.6005
2 | 2558300.2918 | 1204340.7759
3 | 2558345.8908 | 1204361.0307
4 | 2558289.0214 | 1204335.4807
5 | 2558275.8131 | 1204328.1918
6 | 2558416.1031 | 1204386.588
7 | 2558340.7548 | 1204380.8481
8 | 2558265.8913 | 1204322.7164
9 | 2558413.113 | 1204405.0059
10 | 2558162.4199 | 1204309.701
11 | 2558162.3906 | 1204310.0268
12 | 2558165.2926 | 1204291.9792
13 | 2558160.1576 | 1204334.8603
14 | 2558101.6836 | 1204268.8909
15 | 2558157.3734 | 1204399.4132
16 | 2558110.7785 | 1204315.7926
17 | 2558244.089 | 1204311.2039
18 | 2558232.8665 | 1204325.9892
19 | 2558265.2093 | 1204322.3401
20 | 2558170.1095 | 1204451.347
21 | 2558111.7982 | 1204318.4311
22 | 2558228.6742 | 1204331.5124
23 | 2558286.6733 | 1204432.4973
24 | 2558272.9501 | 1204483.5552
25 | 2558286.9848 | 1204431.3383
26 | 2558291.4483 | 1204488.3124
27 | 2558263.8958 | 1204481.2253
28 | 2558320.8048 | 1204495.862
29 | 2558232.2172 | 1204473.0735
30 | 2558322.5245 | 1204496.3043
31 | 2558205.6632 | 1204466.2404
32 | 2558179.7993 | 1204466.2319
33 | 2558228.9691 | 1204505.8427
34 | 2558166.4065 | 1204500.0077
35 | 2558142.3651 | 1204453.4126
36 | 2558238.7101 | 1204509.4636
37 | 2558225.859 | 1204517.2183
38 | 2558152.612 | 1204525.2237
39 | 2558127.7451 | 1204445.7848
40 | 2558262.1394 | 1204518.1728
41 | 2558225.3239 | 1204521.2386
42 | 2558138.8461 | 1204388.4149
43 | 2558131.8219 | 1204370.2405
44 | 2558143.4176 | 1204544.5592
45 | 2558118.1096 | 1204440.7576
46 | 2558124.3781 | 1204350.9804
47 | 2558333.4679 | 1204499.0849
48 | 2558319.7768 | 1204512.3882
49 | 2558337.7072 | 1204481.9788
50 | 2558348.2558 | 1204502.8314
51 | 2558324.1339 | 1204478.4384
52 | 2558341.5085 | 1204458.8169
53 | 2558375.4385 | 1204506.907
54 | 2558375.0697 | 1204528.6768
55 | 2558383.8187 | 1204506.4043
56 | 2558375.0431 | 1204530.2477
57 | 2558398.935 | 1204505.4976
58 | 2558374.8892 | 1204539.3293
59 | 2558399.3654 | 1204491.3511
60 | 2558435.3129 | 1204504.11
61 | 2558409.8929 | 1204424.8405
62 | 2558409.5474 | 1204426.9684
63 | 2558407.8833 | 1204437.2186
64 | 2558379.1762 | 1204438.7199
65 | 2558404.2718 | 1204458.8962
66 | 2558402.9579 | 1204464.945
67 | 2558208.0163 | 1204315.8262
68 | 2558271.3111 | 1204523.7652
69 | 2558294.4326 | 1204544.317
70 | 2558258.3551 | 1204540.261
71 | 2558300.6901 | 1204550.3406
72 | 2558280.0267 | 1204578.8488
73 | 2558256.9395 | 1204548.5237
74 | 2558318.1442 | 1204567.1418
75 | 2558276.8328 | 1204601.3233
76 | 2558254.1429 | 1204579.5159
77 | 2558336.4977 | 1204576.9088
78 | 2558313.3798 | 1204601.5176
79 | 2558269.8254 | 1204649.2828
80 | 2558369.2166 | 1204585.9129
81 | 2558312.7404 | 1204606.0164
82 | 2558371.8729 | 1204586.6439
83 | 2558309.5733 | 1204626.489
84 | 2558443.539 | 1204504.2507
85 | 2558462.5548 | 1204505.9432
86 | 2558188.5901 | 1204753.6221
87 | 2558226.9603 | 1204745.3708
88 | 2558120.2546 | 1204843.7617
89 | 2558214.5259 | 1204717.5977
90 | 2558070.4508 | 1204771.7076
91 | 2558051.3413 | 1204771.6059
92 | 2558025.9085 | 1204762.516
93 | 2557905.4537 | 1204868.0149
94 | 2557875.657 | 1204860.9193
95 | 2558226.3417 | 1204697.3145
96 | 2558299.4774 | 1204684.4035
97 | 2558302.4455 | 1204665.6165
98 | 2558247.4811 | 1204682.0798
99 | 2558239.6279 | 1204674.3547
100 | 2558174.4046 | 1204639.3237
101 | 2558111.9949 | 1204619.6622
102 | 2558448.3325 | 1204608.2185
103 | 2558448.9553 | 1204608.489
104 | 2558441.915 | 1204605.4307
105 | 2558460.5889 | 1204613.5428
106 | 2558426.3822 | 1204601.6283
107 | 2558473.5537 | 1204619.1747
108 | 2558421.8843 | 1204600.5737
109 | 2558409.5642 | 1204597.5371
110 | 2558390.1369 | 1204591.8705
111 | 2558363.1465 | 1204608.7368
112 | 2558363.0584 | 1204609.7912
113 | 2558362.4954 | 1204616.5251
114 | 2558352.5853 | 1204659.503
115 | 2558352.4677 | 1204660.4971
116 | 2558307.8215 | 1204636.9602
117 | 2558342.428 | 1204694.9661
118 | 2558341.0845 | 1204706.9719
119 | 2558370.3528 | 1204711.4343
120 | 2558329.5119 | 1204703.771
121 | 2558410.1098 | 1204728.7131
122 | 2558496.2911 | 1204863.3672
123 | 2558269.0701 | 1204654.4525
124 | 2558252.6569 | 1204607.7858
125 | 2558252.5637 | 1204609.5585
126 | 2558220.238 | 1204559.4536
127 | 2558221.9061 | 1204546.92
128 | 2558219.5564 | 1204564.5749
129 | 2558225.1945 | 1204522.2115
130 | 2558169.9466 | 1204587.0275
131 | 2558163.9937 | 1204586.2691
132 | 2558198.2642 | 1204590.635
133 | 2558162.1555 | 1204586.035
134 | 2558206.1564 | 1204591.6404
135 | 2558127.8464 | 1204578.3272
136 | 2558119.043 | 1204598.1281
137 | 2558134.7209 | 1204562.8479
138 | 2558107.1318 | 1204544.6964
139 | 2558101.7882 | 1204541.1807
140 | 2558099.2254 | 1204539.4945
141 | 2558117.6685 | 1204333.6199
142 | 2558119.5578 | 1204338.5083
143 | 2558093.7938 | 1204428.0712
144 | 2558092.9897 | 1204427.6517
145 | 2558071.9645 | 1204416.6821
146 | 2558064.0562 | 1204412.556
147 | 2558043.3114 | 1204401.7327
148 | 2558030.069 | 1204418.8772
149 | 2557967.1212 | 1204351.8192
150 | 2558027.6912 | 1204421.9556
151 | 2557966.393 | 1204413.5372
152 | 2558008.6269 | 1204446.6375
153 | 2558007.9632 | 1204447.4967
154 | 2558023.9746 | 1204489.9853
155 | 2558045.0385 | 1204503.8437
156 | 2558056.2218 | 1204511.2015
157 | 2558057.0602 | 1204511.7531
158 | 2558067.1735 | 1204518.4069
159 | 2558078.6486 | 1204525.9566
160 | 2558088.6255 | 1204532.5207
161 | 2558286.9848 | 1204431.3383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1