## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-37_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6458-37_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6458-37_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6458-37_0_4_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_6458-37_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6458-37_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6458-37_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6458-37_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_6458-37_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_6458-37_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6458-37_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6458-37_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_6458-37_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6458-37_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6458-37_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_6458-37_0_4_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_6458-37_0_4_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_6458-37_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_6458-37_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6458-37_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_6458-37_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_6458-37_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6458-37_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6458-37_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_6458-37_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_6458-37_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6458-37_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_6458-37_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_6458-37_0_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_6458-37_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_6458-37_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_6458-37_0_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_6458-37_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_6458-37_0_4_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_6458-37_0_4_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_6458-37_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_6458-37_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6458-37_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6458-37_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_6458-37_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_6458-37_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6458-37_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6458-37_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6458-37_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6458-37_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6458-37_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6458-37_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6458-37_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6458-37_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6458-37_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6458-37_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6458-37_0_4_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_6458-37_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6458-37_0_4_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_6458-37_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6458-37_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6458-37_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6458-37_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_6458-37_0_4_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_6458-37_0_4_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_6458-37_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_6458-37_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6458-37_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_6458-37_0_4_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_6458-37_0_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_6458-37_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_6458-37_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_6458-37_0_4_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_6458-37_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6458-37_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_6458-37_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6458-37_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6458-37_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6458-37_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6458-37_0_4_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_6458-37_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_6458-37_0_4_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_6458-37_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6458-37_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_6458-37_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_6458-37_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_6458-37_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6458-37_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_6458-37_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_6458-37_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_MV_641_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-37_0_4_load_0 | 0 | 0.066785 | 0.016738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-37_0_4_load_42 | 5 | 0.0081648 | 0.0020463 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-37_0_4_load_11 | 8 | 0.066686 | 0.016713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-37_0_4_load_16 | 10 | 0.054646 | 0.013696 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-37_0_4_load_51 | 13 | 0.021634 | 0.005422 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-37_0_4_load_49 | 16 | 0.0040037 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-37_0_4_load_43 | 17 | 0.0056635 | 0.0014194 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-37_0_4_load_50 | 18 | 0.061968 | 0.015531 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-37_0_4_load_65 | 22 | 0.017037 | 0.0042699 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-37_0_4_load_18 | 24 | 0.012531 | 0.0031407 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-37_0_4_load_41 | 25 | 0.0052012 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-37_0_4_load_39 | 28 | 0.0011314 | 0.00028356 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-37_0_4_load_45 | 29 | 0.004221 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-37_0_4_load_55 | 31 | 0.0023924 | 0.00059958 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-37_0_4_load_58 | 32 | 0.0037974 | 0.00095172 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-37_0_4_load_57 | 36 | 0.0043379 | 0.0010872 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-37_0_4_load_19 | 37 | 0.0050341 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-37_0_4_load_22 | 38 | 0.022561 | 0.0056543 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-37_0_4_load_35 | 40 | 0.0035509 | 0.00088993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-37_0_4_load_32 | 42 | 0.0019272 | 0.00048301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-37_0_4_load_28 | 43 | 0.0027369 | 0.00068594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-37_0_4_load_33 | 44 | 0.0017889 | 0.00044833 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-37_0_4_load_27 | 45 | 0.0045417 | 0.0011383 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-37_0_4_load_29 | 46 | 0.0024045 | 0.00060264 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-37_0_4_load_31 | 48 | 0.0023568 | 0.00059068 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-37_0_4_load_95 | 53 | 0.0058501 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-37_0_4_load_46 | 54 | 0.0098502 | 0.0024687 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-37_0_4_load_92 | 55 | 0.0024971 | 0.00062584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-37_0_4_load_53 | 56 | 0.0039278 | 0.0009844 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-37_0_4_load_52 | 57 | 0.0023922 | 0.00059954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-37_0_4_load_54 | 58 | 0.0033264 | 0.00083368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-37_0_4_load_59 | 59 | 0.0029874 | 0.00074872 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-37_0_4_load_93 | 60 | 0.0036265 | 0.00090889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-37_0_4_load_91 | 61 | 0.0018431 | 0.00046192 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-37_0_4_load_67 | 62 | 0.0037494 | 0.00093969 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-37_0_4_load_94 | 65 | 0.0036592 | 0.00091708 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-37_0_4_load_74 | 67 | 0.00073354 | 0.00018384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-37_0_4_load_71 | 68 | 0.00053684 | 0.00013454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-37_0_4_load_83 | 69 | 0.0018462 | 0.0004627 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-37_0_4_load_79 | 70 | 0.0015138 | 0.0003794 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-37_0_4_load_66 | 71 | 0.0035073 | 0.00087901 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-37_0_4_load_82 | 76 | 0.0056676 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-37_0_4_load_90 | 78 | 0.004649 | 0.0011652 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-37_0_4_load_77 | 79 | 0.0020135 | 0.00050463 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-37_0_4_load_80 | 80 | 0.0010371 | 0.00025993 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-37_0_4_load_84 | 81 | 0.0040741 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-37_0_4_load_88 | 82 | 0.0034908 | 0.00087488 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-37_0_4_load_78 | 83 | 0.0017772 | 0.00044541 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-37_0_4_load_81 | 84 | 0.0029512 | 0.00073963 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-37_0_4_load_87 | 85 | 0.0020731 | 0.00051956 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-37_0_4_load_89 | 86 | 0.0049667 | 0.0012448 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-37_0_4_line_0 |  | 0 | 1 | 0.11343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-37_0_4_line_1 |  | 1 | 2 | 0.17699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6458-37_0_4_line_2 |  | 2 | 9 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6458-37_0_4_line_3 |  | 2 | 10 | 0.0085098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6458-37_0_4_line_4 |  | 3 | 4 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6458-37_0_4_line_5 |  | 3 | 5 | 0.022221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6458-37_0_4_line_6 |  | 4 | 16 | 0.022618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6458-37_0_4_line_7 |  | 4 | 17 | 0.0016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-37_0_4_line_8 |  | 5 | 7 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6458-37_0_4_line_9 |  | 6 | 7 | 0.052529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-37_0_4_line_10 |  | 6 | 8 | 0.032982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-37_0_4_line_11 |  | 7 | 19 | 0.003221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6458-37_0_4_line_12 |  | 9 | 23 | 0.005348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6458-37_0_4_line_13 |  | 9 | 24 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-37_0_4_line_14 |  | 11 | 12 | 0.010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6458-37_0_4_line_15 |  | 11 | 13 | 0.03612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6458-37_0_4_line_16 |  | 12 | 18 | 0.031773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6458-37_0_4_line_17 |  | 13 | 14 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6458-37_0_4_line_18 |  | 14 | 15 | 0.031346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6458-37_0_4_line_19 |  | 15 | 26 | 0.031375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-37_0_4_line_20 |  | 15 | 25 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6458-37_0_4_line_21 |  | 15 | 27 | 0.024594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-37_0_4_line_22 |  | 16 | 18 | 0.026363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6458-37_0_4_line_23 |  | 19 | 29 | 0.057249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-37_0_4_line_24 |  | 19 | 20 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6458-37_0_4_line_25 |  | 20 | 21 | 0.040334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6458-37_0_4_line_26 |  | 20 | 22 | 0.02639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-37_0_4_line_27 |  | 21 | 30 | 0.17534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-37_0_4_line_28 |  | 21 | 31 | 0.041582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6458-37_0_4_line_29 |  | 23 | 25 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6458-37_0_4_line_30 |  | 24 | 37 | 0.080799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-37_0_4_line_31 |  | 26 | 28 | 0.015667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-37_0_4_line_32 |  | 27 | 38 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-37_0_4_line_33 |  | 28 | 52 | 0.0082885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-37_0_4_line_34 |  | 29 | 54 | 0.029338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-37_0_4_line_35 |  | 30 | 55 | 0.024291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-37_0_4_line_36 |  | 31 | 56 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6458-37_0_4_line_37 |  | 32 | 33 | 0.038618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-37_0_4_line_38 |  | 33 | 36 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-37_0_4_line_39 |  | 33 | 59 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-37_0_4_line_40 |  | 33 | 58 | 0.016257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-37_0_4_line_41 |  | 34 | 35 | 0.031029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-37_0_4_line_42 |  | 34 | 36 | 0.039707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-37_0_4_line_43 |  | 35 | 62 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-37_0_4_line_44 |  | 39 | 40 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-37_0_4_line_45 |  | 39 | 41 | 0.075467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-37_0_4_line_46 |  | 39 | 42 | 0.018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-37_0_4_line_47 |  | 41 | 43 | 0.042061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-37_0_4_line_48 |  | 42 | 44 | 0.01867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-37_0_4_line_49 |  | 43 | 45 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-37_0_4_line_50 |  | 44 | 50 | 0.028447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-37_0_4_line_51 |  | 46 | 47 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-37_0_4_line_52 |  | 47 | 48 | 0.07303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-37_0_4_line_53 |  | 48 | 49 | 0.0028595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-37_0_4_line_54 |  | 49 | 50 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-37_0_4_line_55 |  | 50 | 51 | 0.033847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-37_0_4_line_56 |  | 51 | 53 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-37_0_4_line_57 |  | 51 | 52 | 0.007549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-37_0_4_line_58 |  | 56 | 57 | 0.0031109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-37_0_4_line_59 |  | 57 | 58 | 0.029805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-37_0_4_line_60 |  | 59 | 60 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-37_0_4_line_61 |  | 60 | 61 | 0.031646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-37_0_4_line_62 |  | 61 | 86 | 0.017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-37_0_4_line_63 |  | 63 | 64 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-37_0_4_line_64 |  | 63 | 65 | 0.080854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-37_0_4_line_65 |  | 64 | 68 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-37_0_4_line_66 |  | 66 | 67 | 0.0077321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-37_0_4_line_67 |  | 66 | 68 | 0.030915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-37_0_4_line_68 |  | 67 | 75 | 0.04854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-37_0_4_line_69 |  | 69 | 70 | 0.014351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-37_0_4_line_70 |  | 70 | 83 | 0.014131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-37_0_4_line_71 |  | 71 | 72 | 0.0074188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-37_0_4_line_72 |  | 72 | 73 | 0.042653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-37_0_4_line_73 |  | 72 | 74 | 0.046104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-37_0_4_line_74 |  | 73 | 75 | 0.003195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-37_0_4_line_75 |  | 73 | 76 | 0.014355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-37_0_4_line_76 |  | 74 | 77 | 0.033304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-37_0_4_line_77 |  | 74 | 78 | 0.03531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-37_0_4_line_78 |  | 75 | 79 | 0.012109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-37_0_4_line_79 |  | 76 | 80 | 0.0066094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6458-37_0_4_line_80 |  | 77 | 81 | 0.0098062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6458-37_0_4_line_81 |  | 78 | 82 | 0.0093223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6458-37_0_4_line_82 |  | 79 | 83 | 0.0095223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6458-37_0_4_line_83 |  | 80 | 84 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6458-37_0_4_line_84 |  | 82 | 85 | 0.010568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6458-37_0_4_line_85 |  | 85 | 86 | 0.020445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-37_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 87 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2559819.0516 | 1204370.6172 | 2559809.5132 | 1204365.1785 | 2559747.0109 | 1204361.7875 | 2559735.794 | 1204361.2519 | 2559718.0285 | 1204374.4128 | 2559713.0225 | 1204378.5793
1 | 2559698.6322 | 1204444.4503 | 2559706.302 | 1204426.7106 | 2559719.2975 | 1204409.0461 | 2559720.9227 | 1204406.4002 | 2559720.5411 | 1204402.8453 | 2559730.7445 | 1204390.7583 | 2559742.987 | 1204384.3386 | 2559766.2096 | 1204385.0821 | 2559790.6747 | 1204391.8096 | 2559805.07 | 1204398.9054 | 2559814.6611 | 1204386.2446 | 2559812.8432 | 1204380.6426 | 2559813.8246 | 1204373.8988 | 2559819.0516 | 1204370.6172
2 | 2559714.4763 | 1204450.9246 | 2559698.6322 | 1204444.4503
3 | 2559698.6322 | 1204444.4503 | 2559693.8018 | 1204439.9805 | 2559692.6572 | 1204438.4283
4 | 2559578.7017 | 1204404.9739 | 2559571.3447 | 1204398.1533 | 2559563.406 | 1204398.6519
5 | 2559563.406 | 1204398.6519 | 2559541.7483 | 1204403.6232
6 | 2559578.7017 | 1204404.9739 | 2559581.9952 | 1204404.9071 | 2559598.8546 | 1204408.5059 | 2559600.7635 | 1204409.3425
7 | 2559578.7017 | 1204404.9739 | 2559577.0207 | 1204405.0064
8 | 2559526.0618 | 1204410.9903 | 2559538.151 | 1204404.4489 | 2559541.7483 | 1204403.6232
9 | 2559526.0618 | 1204410.9903 | 2559525.9261 | 1204408.9345 | 2559525.1979 | 1204407.005 | 2559523.9468 | 1204405.3682 | 2559522.265 | 1204404.1678 | 2559519.9779 | 1204403.4496 | 2559535.7498 | 1204395.8937 | 2559559.5315 | 1204390.4625
10 | 2559559.5315 | 1204390.4625 | 2559585.8657 | 1204383.3797 | 2559591.1512 | 1204381.2149
11 | 2559526.0618 | 1204410.9903 | 2559525.7454 | 1204412.5711 | 2559525.0707 | 1204414.0321
12 | 2559714.4763 | 1204450.9246 | 2559713.424 | 1204456.168
13 | 2559714.4763 | 1204450.9246 | 2559728.987 | 1204450.6003
14 | 2559642.0132 | 1204449.2253 | 2559648.3282 | 1204457.2315
15 | 2559648.3282 | 1204457.2315 | 2559660.6041 | 1204463.6297 | 2559680.6714 | 1204473.3032
16 | 2559642.0132 | 1204449.2253 | 2559624.1576 | 1204426.6001 | 2559621.9198 | 1204424.677
17 | 2559695.4745 | 1204473.566 | 2559692.9411 | 1204479.1529 | 2559684.3706 | 1204475.0864 | 2559680.6714 | 1204473.3032
18 | 2559695.4745 | 1204473.566 | 2559720.4992 | 1204485.4701 | 2559723.7884 | 1204487.0154
19 | 2559711.411 | 1204511.6798 | 2559717.917 | 1204492.8473 | 2559720.4992 | 1204485.4701 | 2559723.7884 | 1204487.0154
20 | 2559723.7884 | 1204487.0154 | 2559721.1238 | 1204469.8459
21 | 2559745.5998 | 1204498.4967 | 2559723.7884 | 1204487.0154
22 | 2559600.7635 | 1204409.3425 | 2559607.5223 | 1204412.3048 | 2559621.9198 | 1204424.677
23 | 2559525.0707 | 1204414.0321 | 2559527.6663 | 1204429.9124 | 2559528.8985 | 1204435.4849 | 2559531.0644 | 1204440.7621 | 2559533.6568 | 1204444.9913 | 2559536.8321 | 1204448.7941 | 2559540.544 | 1204452.093 | 2559544.7008 | 1204454.8107 | 2559549.2109 | 1204456.8924 | 2559553.8011 | 1204458.696
24 | 2559512.9361 | 1204413.8923 | 2559513.9112 | 1204415.2197 | 2559515.1736 | 1204416.2673 | 2559516.6392 | 1204417.0022 | 2559519.0156 | 1204417.4307 | 2559521.3863 | 1204417.0255 | 2559523.4931 | 1204415.8438 | 2559525.0707 | 1204414.0321
25 | 2559512.9361 | 1204413.8923 | 2559513.9112 | 1204415.2197 | 2559515.1736 | 1204416.2673 | 2559516.6392 | 1204417.0022 | 2559518.4611 | 1204430.9755 | 2559519.9564 | 1204436.0905 | 2559522.0816 | 1204440.9677 | 2559524.8057 | 1204445.5518 | 2559528.0902 | 1204449.7541
26 | 2559512.9361 | 1204413.8923 | 2559506.6846 | 1204414.146 | 2559486.612 | 1204415.704
27 | 2559619.8364 | 1204567.8761 | 2559619.5446 | 1204558.5061 | 2559624.073 | 1204537.508 | 2559625.6219 | 1204529.215 | 2559625.8193 | 1204521.3092 | 2559625.1155 | 1204515.1216 | 2559623.601 | 1204509.4175 | 2559621.6818 | 1204504.6055 | 2559619.0608 | 1204499.5093 | 2559616.3322 | 1204495.381 | 2559611.5963 | 1204490.2769 | 2559606.0185 | 1204486.6571 | 2559592.2599 | 1204480.358 | 2559557.6898 | 1204466.507 | 2559546.4298 | 1204461.8363 | 2559541.2883 | 1204459.7478 | 2559536.4618 | 1204457.0013 | 2559532.0345 | 1204453.6517 | 2559528.0902 | 1204449.7541
28 | 2559528.0902 | 1204449.7541 | 2559522.4526 | 1204453.0164 | 2559513.6957 | 1204456.2333 | 2559502.9312 | 1204457.3182 | 2559496.5384 | 1204470.7995
29 | 2559713.424 | 1204456.168 | 2559721.1238 | 1204469.8459
30 | 2559805.6815 | 1204473.2299 | 2559786.6935 | 1204464.6444 | 2559756.8722 | 1204453.2505 | 2559732.3127 | 1204450.526 | 2559728.987 | 1204450.6003
31 | 2559711.411 | 1204511.6798 | 2559721.5979 | 1204514.0567 | 2559726.0582 | 1204511.3716
32 | 2559745.5998 | 1204498.4967 | 2559762.6536 | 1204498.1359
33 | 2559733.1594 | 1204507.0968 | 2559726.0582 | 1204511.3716
34 | 2559553.8011 | 1204458.696 | 2559559.2793 | 1204460.8485 | 2559580.9972 | 1204469.6987
35 | 2559619.8364 | 1204567.8761 | 2559612.7551 | 1204591.112
36 | 2559488.3319 | 1204488.106 | 2559496.5384 | 1204470.7995
37 | 2559467.2631 | 1204532.5368 | 2559434.2067 | 1204512.5714
38 | 2559467.2631 | 1204532.5368 | 2559452.7836 | 1204551.3028
39 | 2559467.2631 | 1204532.5368 | 2559480.0623 | 1204541.4319
40 | 2559467.2631 | 1204532.5368 | 2559474.2287 | 1204517.8475
41 | 2559428.5272 | 1204582.7401 | 2559430.029 | 1204586.5542 | 2559429.5282 | 1204594.5511 | 2559447.0502 | 1204601.6802
42 | 2559428.5272 | 1204582.7401 | 2559452.7836 | 1204551.3028
43 | 2559447.0502 | 1204601.6802 | 2559456.7903 | 1204606.5834 | 2559460.7122 | 1204610.4579
44 | 2559796.9528 | 1204535.1818 | 2559797.5287 | 1204538.2241 | 2559799.3697 | 1204540.4907 | 2559802.8445 | 1204540.2449 | 2559811.6593 | 1204541.0859
45 | 2559796.9528 | 1204535.1818 | 2559805.7589 | 1204534.7332 | 2559812.3505 | 1204535.3002 | 2559815.9104 | 1204530.7514 | 2559861.4 | 1204550.8783 | 2559863.3275 | 1204546.7963
46 | 2559796.9528 | 1204535.1818 | 2559789.2592 | 1204537.0236 | 2559787.1137 | 1204542.6191 | 2559786.3142 | 1204545.8819 | 2559785.3739 | 1204545.907
47 | 2559863.3275 | 1204546.7963 | 2559825.0342 | 1204529.3961
48 | 2559767.8774 | 1204548.4422 | 2559769.0446 | 1204549.0558 | 2559772.3956 | 1204546.2539 | 2559785.3739 | 1204545.907
49 | 2559825.0342 | 1204529.3961 | 2559803.3618 | 1204519.5483
50 | 2559742.6987 | 1204535.2038 | 2559767.8774 | 1204548.4422
51 | 2559773.6237 | 1204604.1561 | 2559785.2422 | 1204605.4732
52 | 2559773.6237 | 1204604.1561 | 2559758.485 | 1204587.1932 | 2559746.6575 | 1204569.4075 | 2559743.7895 | 1204554.7742 | 2559741.2813 | 1204551.7227 | 2559732.1983 | 1204547.3679
53 | 2559729.6198 | 1204546.1317 | 2559732.1983 | 1204547.3679
54 | 2559729.6198 | 1204546.1317 | 2559742.6987 | 1204535.2038
55 | 2559740.7295 | 1204507.2346 | 2559739.1267 | 1204510.9586 | 2559746.3773 | 1204513.3554 | 2559744.8342 | 1204522.5155 | 2559742.6987 | 1204535.2038
56 | 2559740.7295 | 1204507.2346 | 2559749.479 | 1204510.7997 | 2559754.1564 | 1204512.8915
57 | 2559740.7295 | 1204507.2346 | 2559733.1594 | 1204507.0968
58 | 2559486.999 | 1204490.9169 | 2559488.3319 | 1204488.106
59 | 2559486.999 | 1204490.9169 | 2559474.2287 | 1204517.8475
60 | 2559497.4309 | 1204553.5027 | 2559480.0623 | 1204541.4319
61 | 2559517.1901 | 1204578.1377 | 2559498.6771 | 1204554.3688 | 2559497.4309 | 1204553.5027
62 | 2559517.1901 | 1204578.1377 | 2559525.1375 | 1204588.3416 | 2559527.4345 | 1204591.7729
63 | 2559425.1288 | 1204774.9945 | 2559431.1281 | 1204774.6201 | 2559436.3897 | 1204774.284 | 2559442.8736 | 1204776.9303
64 | 2559425.1288 | 1204774.9945 | 2559417.7398 | 1204783.5274 | 2559415.9029 | 1204793.0231 | 2559406.8577 | 1204839.7779 | 2559401.758 | 1204850.9411
65 | 2559442.8736 | 1204776.9303 | 2559444.242 | 1204770.1171 | 2559448.1063 | 1204760.7604
66 | 2559452.2645 | 1204730.6179 | 2559456.747 | 1204726.4516 | 2559457.6491 | 1204725.1153
67 | 2559452.2645 | 1204730.6179 | 2559453.0205 | 1204743.331 | 2559450.6329 | 1204754.6426 | 2559448.1063 | 1204760.7604
68 | 2559483.2724 | 1204683.9804 | 2559476.7644 | 1204696.7986 | 2559457.6491 | 1204725.1153
69 | 2559456.2327 | 1204660.5739 | 2559445.3822 | 1204651.1814
70 | 2559456.2327 | 1204660.5739 | 2559466.9171 | 1204669.8228
71 | 2559509.5578 | 1204650.9163 | 2559502.6494 | 1204648.2121
72 | 2559509.5578 | 1204650.9163 | 2559505.0749 | 1204660.63 | 2559485.6904 | 1204686.0763
73 | 2559554.9202 | 1204656.7781 | 2559549.2327 | 1204658.2731 | 2559541.5405 | 1204656.9246 | 2559509.5578 | 1204650.9163
74 | 2559485.6904 | 1204686.0763 | 2559483.2724 | 1204683.9804
75 | 2559485.6904 | 1204686.0763 | 2559496.2803 | 1204695.7668
76 | 2559554.9202 | 1204656.7781 | 2559567.0428 | 1204672.0155 | 2559568.057 | 1204685.8276
77 | 2559554.9202 | 1204656.7781 | 2559560.3243 | 1204648.2699 | 2559557.7641 | 1204640.9387 | 2559549.0438 | 1204625.806
78 | 2559483.2724 | 1204683.9804 | 2559474.1167 | 1204676.0549
79 | 2559501.1564 | 1204700.2287 | 2559496.2803 | 1204695.7668
80 | 2559568.057 | 1204685.8276 | 2559564.3317 | 1204694.8986
81 | 2559549.0438 | 1204625.806 | 2559544.3892 | 1204617.7288
82 | 2559474.1167 | 1204676.0549 | 2559466.9171 | 1204669.8228
83 | 2559501.1564 | 1204700.2287 | 2559513.1249 | 1204711.1807
84 | 2559538.8073 | 1204608.7628 | 2559541.7912 | 1204613.2203 | 2559544.3892 | 1204617.7288
85 | 2559538.8073 | 1204608.7628 | 2559527.4345 | 1204591.7729

## bus_geodata
| x | y | coords
0 | 2559713.0225 | 1204378.5793
1 | 2559819.0516 | 1204370.6172
2 | 2559698.6322 | 1204444.4503
3 | 2559563.406 | 1204398.6519
4 | 2559578.7017 | 1204404.9739
5 | 2559541.7483 | 1204403.6232
6 | 2559559.5315 | 1204390.4625
7 | 2559526.0618 | 1204410.9903
8 | 2559591.1512 | 1204381.2149
9 | 2559714.4763 | 1204450.9246
10 | 2559692.6572 | 1204438.4283
11 | 2559648.3282 | 1204457.2315
12 | 2559642.0132 | 1204449.2253
13 | 2559680.6714 | 1204473.3032
14 | 2559695.4745 | 1204473.566
15 | 2559723.7884 | 1204487.0154
16 | 2559600.7635 | 1204409.3425
17 | 2559577.0207 | 1204405.0064
18 | 2559621.9198 | 1204424.677
19 | 2559525.0707 | 1204414.0321
20 | 2559512.9361 | 1204413.8923
21 | 2559528.0902 | 1204449.7541
22 | 2559486.612 | 1204415.704
23 | 2559713.424 | 1204456.168
24 | 2559728.987 | 1204450.6003
25 | 2559721.1238 | 1204469.8459
26 | 2559711.411 | 1204511.6798
27 | 2559745.5998 | 1204498.4967
28 | 2559726.0582 | 1204511.3716
29 | 2559553.8011 | 1204458.696
30 | 2559619.8364 | 1204567.8761
31 | 2559496.5384 | 1204470.7995
32 | 2559434.2067 | 1204512.5714
33 | 2559467.2631 | 1204532.5368
34 | 2559428.5272 | 1204582.7401
35 | 2559447.0502 | 1204601.6802
36 | 2559452.7836 | 1204551.3028
37 | 2559805.6815 | 1204473.2299
38 | 2559762.6536 | 1204498.1359
39 | 2559796.9528 | 1204535.1818
40 | 2559811.6593 | 1204541.0859
41 | 2559863.3275 | 1204546.7963
42 | 2559785.3739 | 1204545.907
43 | 2559825.0342 | 1204529.3961
44 | 2559767.8774 | 1204548.4422
45 | 2559803.3618 | 1204519.5483
46 | 2559785.2422 | 1204605.4732
47 | 2559773.6237 | 1204604.1561
48 | 2559732.1983 | 1204547.3679
49 | 2559729.6198 | 1204546.1317
50 | 2559742.6987 | 1204535.2038
51 | 2559740.7295 | 1204507.2346
52 | 2559733.1594 | 1204507.0968
53 | 2559754.1564 | 1204512.8915
54 | 2559580.9972 | 1204469.6987
55 | 2559612.7551 | 1204591.112
56 | 2559488.3319 | 1204488.106
57 | 2559486.999 | 1204490.9169
58 | 2559474.2287 | 1204517.8475
59 | 2559480.0623 | 1204541.4319
60 | 2559497.4309 | 1204553.5027
61 | 2559517.1901 | 1204578.1377
62 | 2559460.7122 | 1204610.4579
63 | 2559425.1288 | 1204774.9945
64 | 2559442.8736 | 1204776.9303
65 | 2559401.758 | 1204850.9411
66 | 2559452.2645 | 1204730.6179
67 | 2559457.6491 | 1204725.1152
68 | 2559448.1063 | 1204760.7604
69 | 2559445.3822 | 1204651.1814
70 | 2559456.2327 | 1204660.5739
71 | 2559502.6494 | 1204648.2121
72 | 2559509.5578 | 1204650.9163
73 | 2559485.6904 | 1204686.0763
74 | 2559554.9202 | 1204656.7781
75 | 2559483.2724 | 1204683.9804
76 | 2559496.2803 | 1204695.7668
77 | 2559568.057 | 1204685.8276
78 | 2559549.0438 | 1204625.806
79 | 2559474.1167 | 1204676.0549
80 | 2559501.1564 | 1204700.2287
81 | 2559564.3317 | 1204694.8986
82 | 2559544.3892 | 1204617.7288
83 | 2559466.9171 | 1204669.8228
84 | 2559513.1249 | 1204711.1807
85 | 2559538.8073 | 1204608.7628
86 | 2559527.4345 | 1204591.7729
87 | 2559647.6782 | 1204448.8756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1