## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-50_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-50_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-50_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6458-50_0_4_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_6458-50_0_4_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_6458-50_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_6458-50_0_4_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_6458-50_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_6458-50_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6458-50_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6458-50_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6458-50_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6458-50_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6458-50_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6458-50_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6458-50_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6458-50_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_6458-50_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6458-50_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6458-50_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6458-50_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6458-50_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6458-50_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6458-50_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_6458-50_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6458-50_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6458-50_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6458-50_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6458-50_0_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_6458-50_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6458-50_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_6458-50_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_6458-50_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6458-50_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6458-50_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_6458-50_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6458-50_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6458-50_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6458-50_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6458-50_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_6458-50_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_6458-50_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6458-50_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6458-50_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6458-50_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6458-50_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6458-50_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6458-50_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6458-50_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6458-50_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6458-50_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_6458-50_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6458-50_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6458-50_0_4_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_6458-50_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6458-50_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_MV_642_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-50_0_4_load_0 | 0 | 0.011662 | 0.0029229 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-50_0_4_load_47 | 4 | 0.0093877 | 0.0023528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-50_0_4_load_44 | 7 | 0.0093384 | 0.0023404 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-50_0_4_load_3 | 8 | 0.02762 | 0.0069223 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-50_0_4_load_9 | 13 | 0.033398 | 0.0083704 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-50_0_4_load_20 | 15 | 0.0036569 | 0.00091651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-50_0_4_load_23 | 16 | 0.0025707 | 0.00064427 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-50_0_4_load_15 | 17 | 0.0046704 | 0.0011705 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-50_0_4_load_19 | 18 | 0.00080606 | 0.00020202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-50_0_4_load_11 | 19 | 0.018239 | 0.004571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-50_0_4_load_12 | 20 | 0.013744 | 0.0034445 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-50_0_4_load_13 | 21 | 0.0049587 | 0.0012428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-50_0_4_load_26 | 22 | 0.0054034 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-50_0_4_load_14 | 24 | 0.0028623 | 0.00071736 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-50_0_4_load_16 | 25 | 0.008857 | 0.0022198 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-50_0_4_load_18 | 26 | 0.0013636 | 0.00034176 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-50_0_4_load_32 | 27 | 0.0039923 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-50_0_4_load_37 | 28 | 0.0026346 | 0.0006603 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-50_0_4_load_33 | 29 | 0.0020322 | 0.00050932 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-50_0_4_load_21 | 30 | 0.010362 | 0.0025969 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-50_0_4_load_22 | 31 | 0.02093 | 0.0052456 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-50_0_4_load_24 | 32 | 0.0099638 | 0.0024972 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-50_0_4_load_25 | 33 | 0.0015762 | 0.00039504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-50_0_4_load_35 | 34 | 0.0023722 | 0.00059452 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-50_0_4_load_28 | 35 | 0.010845 | 0.002718 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-50_0_4_load_29 | 36 | 0.0041523 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-50_0_4_load_30 | 37 | 0.0073331 | 0.0018378 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-50_0_4_load_31 | 38 | 0.0084552 | 0.0021191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-50_0_4_load_56 | 39 | 0.0054248 | 0.0013596 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-50_0_4_load_57 | 40 | 0.0092196 | 0.0023107 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-50_0_4_load_34 | 41 | 0.002836 | 0.00071078 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-50_0_4_load_36 | 42 | 0.0026433 | 0.00066247 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-50_0_4_load_38 | 43 | 0.0029531 | 0.00074012 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-50_0_4_load_39 | 44 | 0.0028103 | 0.00070433 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-50_0_4_load_40 | 45 | 0.002223 | 0.00055715 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-50_0_4_load_52 | 47 | 0.0049491 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-50_0_4_load_41 | 48 | 0.0033443 | 0.00083817 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-50_0_4_load_42 | 49 | 0.0075526 | 0.0018929 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-50_0_4_load_43 | 50 | 0.021964 | 0.0055046 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-50_0_4_load_45 | 51 | 0.0014359 | 0.00035987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-50_0_4_load_50 | 52 | 0.0015361 | 0.00038499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-50_0_4_load_55 | 53 | 0.0012184 | 0.00030536 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-50_0_4_load_51 | 54 | 0.002581 | 0.00064686 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-50_0_4_load_53 | 55 | 0.0013274 | 0.00033268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-50_0_4_line_0 |  | 0 | 1 | 0.10519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-50_0_4_line_1 |  | 1 | 2 | 0.033115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6458-50_0_4_line_2 |  | 2 | 3 | 0.080241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-50_0_4_line_3 |  | 2 | 4 | 0.070385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6458-50_0_4_line_4 |  | 3 | 7 | 0.040835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6458-50_0_4_line_5 |  | 4 | 5 | 0.023838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-50_0_4_line_6 |  | 5 | 6 | 0.10589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-50_0_4_line_7 |  | 6 | 54 | 0.0056834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-50_0_4_line_8 |  | 7 | 49 | 0.021963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6458-50_0_4_line_9 |  | 8 | 9 | 0.0037723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-50_0_4_line_10 |  | 9 | 10 | 0.047462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-50_0_4_line_11 |  | 9 | 11 | 0.033541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-50_0_4_line_12 |  | 10 | 12 | 0.071619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-50_0_4_line_13 |  | 11 | 13 | 0.038741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-50_0_4_line_14 |  | 12 | 14 | 0.067857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6458-50_0_4_line_15 |  | 12 | 15 | 0.12277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6458-50_0_4_line_16 |  | 14 | 16 | 0.027656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6458-50_0_4_line_17 |  | 14 | 17 | 0.058565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6458-50_0_4_line_18 |  | 15 | 18 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6458-50_0_4_line_19 |  | 16 | 28 | 0.038565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6458-50_0_4_line_20 |  | 17 | 24 | 0.061816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6458-50_0_4_line_21 |  | 18 | 30 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6458-50_0_4_line_22 |  | 19 | 20 | 0.031445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-50_0_4_line_23 |  | 20 | 21 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-50_0_4_line_24 |  | 21 | 22 | 0.05949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6458-50_0_4_line_25 |  | 22 | 23 | 0.034621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6458-50_0_4_line_26 |  | 23 | 36 | 0.013224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6458-50_0_4_line_27 |  | 23 | 37 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-50_0_4_line_28 |  | 23 | 38 | 0.025343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-50_0_4_line_29 |  | 24 | 25 | 0.012165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6458-50_0_4_line_30 |  | 25 | 26 | 0.021976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-50_0_4_line_31 |  | 26 | 27 | 0.0264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-50_0_4_line_32 |  | 27 | 29 | 0.046346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-50_0_4_line_33 |  | 28 | 34 | 0.10743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6458-50_0_4_line_34 |  | 29 | 41 | 0.033757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-50_0_4_line_35 |  | 30 | 31 | 0.038407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6458-50_0_4_line_36 |  | 31 | 32 | 0.0079242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6458-50_0_4_line_37 |  | 32 | 33 | 0.034317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6458-50_0_4_line_38 |  | 33 | 35 | 0.0085834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6458-50_0_4_line_39 |  | 34 | 42 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6458-50_0_4_line_40 |  | 35 | 36 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6458-50_0_4_line_41 |  | 37 | 39 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-50_0_4_line_42 |  | 39 | 40 | 0.0049552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-50_0_4_line_43 |  | 42 | 43 | 0.041229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6458-50_0_4_line_44 |  | 43 | 44 | 0.029494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6458-50_0_4_line_45 |  | 44 | 45 | 0.0019596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6458-50_0_4_line_46 |  | 45 | 46 | 0.037082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6458-50_0_4_line_47 |  | 46 | 47 | 0.04966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6458-50_0_4_line_48 |  | 47 | 55 | 0.0040467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6458-50_0_4_line_49 |  | 48 | 49 | 0.039223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6458-50_0_4_line_50 |  | 48 | 50 | 0.023417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6458-50_0_4_line_51 |  | 50 | 51 | 0.054951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6458-50_0_4_line_52 |  | 51 | 52 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6458-50_0_4_line_53 |  | 52 | 53 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6458-50_0_4_line_54 |  | 53 | 55 | 0.0099794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-50_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 56 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2560686.9444 | 1204310.5922 | 2560664.0809 | 1204307.8082 | 2560634.8641 | 1204301.4198 | 2560587.9727 | 1204278.3774
1 | 2560686.9444 | 1204310.5922 | 2560675.5736 | 1204328.2216 | 2560675.1928 | 1204333.9162 | 2560672.3326 | 1204339.6939
2 | 2560672.3326 | 1204339.6939 | 2560667.6995 | 1204346.584 | 2560658.5281 | 1204367.7676 | 2560646.6952 | 1204383.3546 | 2560644.962 | 1204383.5551 | 2560639.399 | 1204383.2472 | 2560632.3898 | 1204379.358 | 2560631.4458 | 1204380.4093 | 2560636.8658 | 1204385.5541 | 2560635.0949 | 1204390.3908
3 | 2560672.3326 | 1204339.6939 | 2560658.3422 | 1204347.702 | 2560642.84 | 1204338.7438 | 2560615.7593 | 1204321.7354 | 2560612.3705 | 1204318.9586
4 | 2560635.0949 | 1204390.3908 | 2560602.4825 | 1204365.8157
5 | 2560606.0549 | 1204297.9972 | 2560606.2041 | 1204307.9018 | 2560606.2976 | 1204313.9824 | 2560612.3705 | 1204318.9586
6 | 2560606.0549 | 1204297.9972 | 2560577.6789 | 1204284.1771 | 2560512.2307 | 1204248.4571
7 | 2560512.2307 | 1204248.4571 | 2560507.18 | 1204245.8513
8 | 2560584.9419 | 1204352.5979 | 2560602.4825 | 1204365.8157
9 | 2560567.3107 | 1204515.143 | 2560571.0729 | 1204515.4187
10 | 2560567.3107 | 1204515.143 | 2560565.7352 | 1204505.8371 | 2560566.2108 | 1204498.3964 | 2560569.6116 | 1204492.7151 | 2560573.8062 | 1204487.4288 | 2560587.7209 | 1204477.2532
11 | 2560567.3107 | 1204515.143 | 2560558.653 | 1204511.5872 | 2560549.5666 | 1204534.0268
12 | 2560587.7209 | 1204477.2532 | 2560601.8189 | 1204482.1293 | 2560636.6134 | 1204494.6397 | 2560642.4467 | 1204494.4233 | 2560648.3936 | 1204488.3806 | 2560650.3381 | 1204483.3315
13 | 2560549.5666 | 1204534.0268 | 2560533.532 | 1204519.3136 | 2560526.0403 | 1204506.8895 | 2560525.6743 | 1204504.4455
14 | 2560621.6468 | 1204461.9535 | 2560665.1025 | 1204480.8437 | 2560665.6963 | 1204485.5202 | 2560657.5049 | 1204485.7522 | 2560650.3381 | 1204483.3315
15 | 2560650.3381 | 1204483.3315 | 2560618.0182 | 1204470.0043 | 2560588.4442 | 1204464.708 | 2560568.4038 | 1204463.1175 | 2560530.8537 | 1204466.0476
16 | 2560621.6468 | 1204461.9535 | 2560611.3269 | 1204453.2279 | 2560603.5787 | 1204448.0206 | 2560599.59 | 1204445.3397
17 | 2560621.6468 | 1204461.9535 | 2560612.4055 | 1204459.8801 | 2560569.8841 | 1204437.3709 | 2560569.0303 | 1204436.8851
18 | 2560505.2571 | 1204468.045 | 2560530.8537 | 1204466.0476
19 | 2560572.1515 | 1204418.5459 | 2560577.3825 | 1204424.3806 | 2560591.5438 | 1204439.9401 | 2560596.7321 | 1204443.4189 | 2560599.59 | 1204445.3397
20 | 2560512.0492 | 1204414.7222 | 2560541.8597 | 1204421.4252 | 2560569.0303 | 1204436.8851
21 | 2560505.2571 | 1204468.045 | 2560495.07 | 1204468.84 | 2560474.4808 | 1204468.9524
22 | 2560439.9812 | 1204507.558 | 2560457.4867 | 1204514.115 | 2560469.5988 | 1204518.1041
23 | 2560425.7466 | 1204501.7755 | 2560429.9562 | 1204503.8031 | 2560439.9812 | 1204507.558
24 | 2560425.7466 | 1204501.7755 | 2560405.3213 | 1204491.9378 | 2560396.9631 | 1204484.2446 | 2560383.6976 | 1204462.5147
25 | 2560355.8879 | 1204444.84 | 2560374.9683 | 1204450.7608 | 2560383.4037 | 1204462.0333 | 2560383.6976 | 1204462.5147
26 | 2560355.8879 | 1204444.84 | 2560369.0063 | 1204443.1685
27 | 2560355.8879 | 1204444.84 | 2560345.4052 | 1204441.1027
28 | 2560355.8879 | 1204444.84 | 2560362.4554 | 1204448.6206 | 2560367.791 | 1204452.4873 | 2560373.0285 | 1204457.6221 | 2560375.458 | 1204460.5972
29 | 2560500.8431 | 1204410.3525 | 2560506.1282 | 1204413.3908 | 2560512.0492 | 1204414.7222
30 | 2560500.8431 | 1204410.3525 | 2560481.7914 | 1204399.3996
31 | 2560481.7914 | 1204399.3996 | 2560458.9043 | 1204386.2418
32 | 2560458.9043 | 1204386.2418 | 2560447.2281 | 1204379.5292 | 2560416.7532 | 1204367.1908
33 | 2560505.888 | 1204334.5085 | 2560542.174 | 1204374.7301 | 2560562.2922 | 1204407.5487 | 2560572.1515 | 1204418.5459
34 | 2560416.7532 | 1204367.1908 | 2560385.4635 | 1204354.5225
35 | 2560474.4808 | 1204468.9524 | 2560466.7036 | 1204468.9949 | 2560437.6455 | 1204459.3094
36 | 2560430.1279 | 1204456.8037 | 2560437.6455 | 1204459.3094
37 | 2560430.1279 | 1204456.8037 | 2560398.4218 | 1204446.2356 | 2560397.5384 | 1204446.0848
38 | 2560389.0773 | 1204444.6409 | 2560397.5384 | 1204446.0848
39 | 2560505.888 | 1204334.5085 | 2560503.5106 | 1204331.8732 | 2560490.1328 | 1204317.6494
40 | 2560389.0773 | 1204444.6409 | 2560381.4307 | 1204443.3359 | 2560373.9323 | 1204442.5408 | 2560369.0063 | 1204443.1685
41 | 2560331.3277 | 1204438.3454 | 2560345.2963 | 1204441.0639 | 2560345.4052 | 1204441.1027
42 | 2560331.3277 | 1204438.3454 | 2560326.4638 | 1204437.3988
43 | 2560460.5922 | 1204288.9971 | 2560463.3912 | 1204290.9496 | 2560474.6957 | 1204301.2359 | 2560490.1328 | 1204317.6494
44 | 2560460.5922 | 1204288.9971 | 2560436.4016 | 1204272.1233
45 | 2560434.7944 | 1204271.0022 | 2560436.4016 | 1204272.1233
46 | 2560414.0143 | 1204244.5068 | 2560412.6949 | 1204249.7407 | 2560414.1526 | 1204255.0118 | 2560418.428 | 1204259.586 | 2560434.7944 | 1204271.0022
47 | 2560414.0143 | 1204244.5068 | 2560438.9424 | 1204257.9821 | 2560457.0493 | 1204269.2427
48 | 2560457.0493 | 1204269.2427 | 2560460.4857 | 1204271.3798
49 | 2560553.466 | 1204329.2137 | 2560556.0021 | 1204330.7914 | 2560573.9921 | 1204344.3467 | 2560584.9419 | 1204352.5979
50 | 2560553.466 | 1204329.2137 | 2560533.5824 | 1204316.8444
51 | 2560533.5824 | 1204316.8444 | 2560500.9559 | 1204296.548 | 2560486.9218 | 1204287.8202
52 | 2560477.876 | 1204282.1947 | 2560486.9218 | 1204287.8202
53 | 2560468.96 | 1204276.6499 | 2560477.876 | 1204282.1947
54 | 2560460.4857 | 1204271.3798 | 2560468.96 | 1204276.6499

## bus_geodata
| x | y | coords
0 | 2560587.9727 | 1204278.3774
1 | 2560686.9444 | 1204310.5922
2 | 2560672.3326 | 1204339.6939
3 | 2560635.0949 | 1204390.3908
4 | 2560612.3705 | 1204318.9586
5 | 2560606.0549 | 1204297.9972
6 | 2560512.2307 | 1204248.4571
7 | 2560602.4825 | 1204365.8157
8 | 2560571.0729 | 1204515.4187
9 | 2560567.3107 | 1204515.143
10 | 2560587.7209 | 1204477.2532
11 | 2560549.5666 | 1204534.0268
12 | 2560650.3381 | 1204483.3315
13 | 2560525.6743 | 1204504.4455
14 | 2560621.6468 | 1204461.9535
15 | 2560530.8537 | 1204466.0476
16 | 2560599.59 | 1204445.3397
17 | 2560569.0303 | 1204436.8851
18 | 2560505.2571 | 1204468.045
19 | 2560469.5988 | 1204518.1041
20 | 2560439.9812 | 1204507.558
21 | 2560425.7466 | 1204501.7755
22 | 2560383.6976 | 1204462.5147
23 | 2560355.8879 | 1204444.84
24 | 2560512.0492 | 1204414.7222
25 | 2560500.8431 | 1204410.3525
26 | 2560481.7914 | 1204399.3996
27 | 2560458.9043 | 1204386.2418
28 | 2560572.1515 | 1204418.5459
29 | 2560416.7532 | 1204367.1908
30 | 2560474.4808 | 1204468.9524
31 | 2560437.6455 | 1204459.3094
32 | 2560430.1279 | 1204456.8037
33 | 2560397.5384 | 1204446.0848
34 | 2560505.888 | 1204334.5085
35 | 2560389.0773 | 1204444.6409
36 | 2560369.0063 | 1204443.1685
37 | 2560345.4052 | 1204441.1027
38 | 2560375.458 | 1204460.5972
39 | 2560331.3277 | 1204438.3454
40 | 2560326.4638 | 1204437.3988
41 | 2560385.4635 | 1204354.5225
42 | 2560490.1328 | 1204317.6494
43 | 2560460.5922 | 1204288.9971
44 | 2560436.4016 | 1204272.1233
45 | 2560434.7944 | 1204271.0022
46 | 2560414.0143 | 1204244.5068
47 | 2560457.0493 | 1204269.2427
48 | 2560553.466 | 1204329.2137
49 | 2560584.9419 | 1204352.5979
50 | 2560533.5824 | 1204316.8444
51 | 2560486.9218 | 1204287.8202
52 | 2560477.876 | 1204282.1947
53 | 2560468.96 | 1204276.6499
54 | 2560507.18 | 1204245.8513
55 | 2560460.4857 | 1204271.3798
56 | 2560621.6468 | 1204461.9535

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1