## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-60_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-60_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-60_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6458-60_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6458-60_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6458-60_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6458-60_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6458-60_0_5_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_6458-60_0_5_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_6458-60_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6458-60_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6458-60_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_6458-60_0_5_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_6458-60_0_5_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_6458-60_0_5_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_6458-60_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6458-60_0_5_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_6458-60_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6458-60_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6458-60_0_5_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_6458-60_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6458-60_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6458-60_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6458-60_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6458-60_0_5_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_6458-60_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6458-60_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6458-60_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6458-60_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6458-60_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6458-60_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6458-60_0_5_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_6458-60_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6458-60_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6458-60_0_5_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_6458-60_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_6458-60_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_6458-60_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_6458-60_0_5_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_6458-60_0_5_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_6458-60_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6458-60_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6458-60_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6458-60_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6458-60_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6458-60_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6458-60_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6458-60_0_5_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_6458-60_0_5_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_6458-60_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6458-60_0_5_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_6458-60_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6458-60_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6458-60_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6458-60_0_5_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6458-60_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6458-60_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6458-60_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6458-60_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6458-60_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6458-60_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6458-60_0_5_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_6458-60_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_6458-60_0_5_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_6458-60_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6458-60_0_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6458-60_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_6458-60_0_5_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_6458-60_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6458-60_0_5_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_6458-60_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_6458-60_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6458-60_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6458-60_0_5_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_6458-60_0_5_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_6458-60_0_5_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_6458-60_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6458-60_0_5_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_6458-60_0_5_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_6458-60_0_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_6458-60_0_5_node_82 | 0.4 | n |  | TRUE
81 | bus_MV_642_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-60_0_5_load_0 | 0 | 0.051836 | 0.012991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-60_0_5_load_1 | 1 | 0.025849 | 0.0064783 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-60_0_5_load_6 | 6 | 0.0020649 | 0.00051752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-60_0_5_load_76 | 7 | 0.016534 | 0.0041437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-60_0_5_load_74 | 8 | 0.016842 | 0.0042209 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-60_0_5_load_12 | 9 | 0.024641 | 0.0061757 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-60_0_5_load_7 | 10 | 0.034973 | 0.0087652 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-60_0_5_load_49 | 14 | 0.035037 | 0.008781 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-60_0_5_load_28 | 16 | 0.0034235 | 0.000858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-60_0_5_load_48 | 19 | 0.03909 | 0.0097969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-60_0_5_load_15 | 20 | 0.0068718 | 0.0017222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-60_0_5_load_13 | 21 | 0.0034518 | 0.0008651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-60_0_5_load_18 | 22 | 0.0053879 | 0.0013503 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-60_0_5_load_50 | 24 | 0.054788 | 0.013731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-60_0_5_load_17 | 26 | 0.0042374 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-60_0_5_load_23 | 27 | 0.0021086 | 0.00052847 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-60_0_5_load_20 | 28 | 0.0077043 | 0.0019309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-60_0_5_load_19 | 30 | 0.0059147 | 0.0014824 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-60_0_5_load_41 | 31 | 0.0029629 | 0.00074257 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-60_0_5_load_26 | 32 | 0.0036514 | 0.00091512 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-60_0_5_load_24 | 33 | 0.0055998 | 0.0014034 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-60_0_5_load_40 | 36 | 0.0017941 | 0.00044965 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-60_0_5_load_38 | 37 | 0.0062177 | 0.0015583 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-60_0_5_load_59 | 38 | 0.0029237 | 0.00073276 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-60_0_5_load_60 | 39 | 0.0030556 | 0.00076581 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-60_0_5_load_31 | 40 | 0.0020725 | 0.00051941 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-60_0_5_load_32 | 41 | 0.0012648 | 0.00031698 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-60_0_5_load_35 | 44 | 0.0018494 | 0.0004635 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-60_0_5_load_36 | 45 | 0.0017071 | 0.00042785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-60_0_5_load_37 | 46 | 0.0015442 | 0.00038701 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-60_0_5_load_54 | 47 | 0.0019516 | 0.00048912 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-60_0_5_load_62 | 48 | 0.00044952 | 0.00011266 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-60_0_5_load_45 | 49 | 0.002138 | 0.00053584 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-60_0_5_load_61 | 50 | 0.0021513 | 0.00053916 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-60_0_5_load_44 | 52 | 0.004194 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-60_0_5_load_46 | 53 | 0.0026284 | 0.00065874 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-60_0_5_load_52 | 55 | 0.0030114 | 0.00075472 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-60_0_5_load_53 | 56 | 0.0016093 | 0.00040333 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-60_0_5_load_55 | 57 | 0.0014343 | 0.00035947 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-60_0_5_load_58 | 60 | 0.0017091 | 0.00042833 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-60_0_5_load_86 | 61 | 0.0011623 | 0.00029129 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-60_0_5_load_64 | 63 | 0.002366 | 0.00059297 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-60_0_5_load_63 | 64 | 0.0033767 | 0.00084628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-60_0_5_load_66 | 65 | 0.011021 | 0.0027621 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-60_0_5_load_67 | 66 | 0.0098511 | 0.0024689 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-60_0_5_load_68 | 67 | 0.024277 | 0.0060844 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-60_0_5_load_69 | 68 | 0.011928 | 0.0029895 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-60_0_5_load_85 | 69 | 0.012876 | 0.0032271 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-60_0_5_load_70 | 70 | 0.011413 | 0.0028603 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-60_0_5_load_71 | 71 | 0.014198 | 0.0035584 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-60_0_5_load_72 | 72 | 0.016266 | 0.0040766 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-60_0_5_load_84 | 73 | 0.014292 | 0.003582 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-60_0_5_load_83 | 74 | 0.016057 | 0.0040243 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-60_0_5_load_77 | 75 | 0.012839 | 0.0032178 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-60_0_5_load_78 | 76 | 0.003719 | 0.00093208 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-60_0_5_load_79 | 77 | 0.013318 | 0.0033377 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-60_0_5_load_80 | 78 | 0.0032998 | 0.000827 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-60_0_5_load_81 | 79 | 0.0036944 | 0.00092589 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-60_0_5_load_82 | 80 | 0.0036306 | 0.00090991 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-60_0_5_line_0 |  | 0 | 1 | 0.024063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6458-60_0_5_line_1 |  | 0 | 2 | 0.051723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6458-60_0_5_line_2 |  | 1 | 3 | 0.037612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6458-60_0_5_line_3 |  | 2 | 4 | 0.022402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6458-60_0_5_line_4 |  | 3 | 5 | 0.02994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6458-60_0_5_line_5 |  | 3 | 6 | 0.012961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-60_0_5_line_6 |  | 4 | 7 | 0.0093552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-60_0_5_line_7 |  | 4 | 8 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-60_0_5_line_8 |  | 5 | 9 | 0.047492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6458-60_0_5_line_9 |  | 5 | 10 | 0.040193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6458-60_0_5_line_10 |  | 6 | 11 | 0.029634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-60_0_5_line_11 |  | 7 | 12 | 0.021679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-60_0_5_line_12 |  | 8 | 13 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-60_0_5_line_13 |  | 9 | 14 | 0.088169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-60_0_5_line_14 |  | 10 | 15 | 0.053274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-60_0_5_line_15 |  | 11 | 16 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-60_0_5_line_16 |  | 12 | 73 | 0.0067687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6458-60_0_5_line_17 |  | 13 | 72 | 0.0077814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6458-60_0_5_line_18 |  | 14 | 24 | 0.055205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-60_0_5_line_19 |  | 15 | 17 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-60_0_5_line_20 |  | 15 | 18 | 0.052712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-60_0_5_line_21 |  | 17 | 19 | 0.030832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-60_0_5_line_22 |  | 18 | 20 | 0.023696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-60_0_5_line_23 |  | 18 | 21 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-60_0_5_line_24 |  | 20 | 22 | 0.010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-60_0_5_line_25 |  | 21 | 23 | 0.028263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6458-60_0_5_line_26 |  | 22 | 30 | 0.017448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-60_0_5_line_27 |  | 23 | 25 | 0.029839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-60_0_5_line_28 |  | 23 | 26 | 0.0090137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-60_0_5_line_29 |  | 25 | 27 | 0.0043204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6458-60_0_5_line_30 |  | 25 | 28 | 0.025596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-60_0_5_line_31 |  | 26 | 29 | 0.025101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-60_0_5_line_32 |  | 27 | 31 | 0.036502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-60_0_5_line_33 |  | 29 | 32 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-60_0_5_line_34 |  | 29 | 33 | 0.026629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-60_0_5_line_35 |  | 31 | 34 | 0.052001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-60_0_5_line_36 |  | 32 | 35 | 0.024488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-60_0_5_line_37 |  | 34 | 51 | 0.086066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-60_0_5_line_38 |  | 34 | 52 | 0.036646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-60_0_5_line_39 |  | 35 | 36 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-60_0_5_line_40 |  | 35 | 37 | 0.0082525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-60_0_5_line_41 |  | 37 | 43 | 0.03266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-60_0_5_line_42 |  | 38 | 39 | 0.0097334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-60_0_5_line_43 |  | 39 | 50 | 0.031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-60_0_5_line_44 |  | 40 | 41 | 0.034731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-60_0_5_line_45 |  | 40 | 42 | 0.060287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-60_0_5_line_46 |  | 41 | 43 | 0.0083646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-60_0_5_line_47 |  | 42 | 44 | 0.025031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-60_0_5_line_48 |  | 42 | 45 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-60_0_5_line_49 |  | 43 | 46 | 0.012128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-60_0_5_line_50 |  | 44 | 47 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-60_0_5_line_51 |  | 45 | 48 | 0.0077659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-60_0_5_line_52 |  | 47 | 49 | 0.029565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-60_0_5_line_53 |  | 48 | 50 | 0.027783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-60_0_5_line_54 |  | 51 | 53 | 0.013856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-60_0_5_line_55 |  | 52 | 54 | 0.037968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-60_0_5_line_56 |  | 54 | 55 | 0.01847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-60_0_5_line_57 |  | 54 | 56 | 0.066235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-60_0_5_line_58 |  | 56 | 57 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-60_0_5_line_59 |  | 57 | 58 | 0.041338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-60_0_5_line_60 |  | 58 | 59 | 0.026385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-60_0_5_line_61 |  | 58 | 60 | 0.020732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-60_0_5_line_62 |  | 59 | 61 | 0.022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-60_0_5_line_63 |  | 59 | 62 | 0.065921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-60_0_5_line_64 |  | 62 | 63 | 0.031635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-60_0_5_line_65 |  | 63 | 64 | 0.0021196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-60_0_5_line_66 |  | 65 | 66 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-60_0_5_line_67 |  | 65 | 67 | 0.022852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-60_0_5_line_68 |  | 66 | 68 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-60_0_5_line_69 |  | 67 | 69 | 0.31758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-60_0_5_line_70 |  | 68 | 70 | 0.0089134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-60_0_5_line_71 |  | 70 | 71 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-60_0_5_line_72 |  | 71 | 72 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-60_0_5_line_73 |  | 73 | 74 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-60_0_5_line_74 |  | 74 | 80 | 0.0093556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-60_0_5_line_75 |  | 75 | 76 | 0.026316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-60_0_5_line_76 |  | 75 | 77 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-60_0_5_line_77 |  | 76 | 78 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-60_0_5_line_78 |  | 78 | 79 | 0.02523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-60_0_5_line_79 |  | 79 | 80 | 0.017181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-60_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 81 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2560384.4139 | 1205621.1797 | 2560388.322 | 1205614.8317 | 2560395.4308 | 1205604.1673 | 2560397.3299 | 1205600.8852
1 | 2560353.7152 | 1205662.7114 | 2560359.8599 | 1205655.7554 | 2560374.5926 | 1205636.4019 | 2560380.2332 | 1205627.9707 | 2560384.4139 | 1205621.1797
2 | 2560416.5437 | 1205568.5845 | 2560410.8713 | 1205579.117 | 2560403.7548 | 1205589.7815 | 2560397.3299 | 1205600.8852
3 | 2560353.7152 | 1205662.7114 | 2560342.8327 | 1205682.3061
4 | 2560445.453 | 1205576.5302 | 2560434.539 | 1205574.2903 | 2560416.5437 | 1205568.5845
5 | 2560416.5437 | 1205568.5845 | 2560407.7723 | 1205564.874 | 2560404.865 | 1205563.0398
6 | 2560342.8327 | 1205682.3061 | 2560333.5202 | 1205681.4129
7 | 2560342.8327 | 1205682.3061 | 2560350.1432 | 1205689.628
8 | 2560445.453 | 1205576.5302 | 2560441.1979 | 1205595.4692 | 2560446.5001 | 1205610.487 | 2560455.4527 | 1205618.7079
9 | 2560445.453 | 1205576.5302 | 2560454.661 | 1205578.4257 | 2560470.0161 | 1205578.2681 | 2560485.3906 | 1205576.8952
10 | 2560379.8022 | 1205547.2278 | 2560404.865 | 1205563.0398
11 | 2560313.4334 | 1205673.8305 | 2560328.8521 | 1205680.9651 | 2560333.5202 | 1205681.4129
12 | 2560369.8297 | 1205700.1143 | 2560352.2275 | 1205691.7155 | 2560350.1432 | 1205689.628
13 | 2560529.3319 | 1205658.0323 | 2560527.0688 | 1205657.6125 | 2560519.1669 | 1205661.1224 | 2560497.3092 | 1205652.129 | 2560461.453 | 1205624.2177 | 2560455.4527 | 1205618.7079
14 | 2560538.3528 | 1205571.1442 | 2560486.6934 | 1205576.7788 | 2560485.3906 | 1205576.8952
15 | 2560379.8022 | 1205547.2278 | 2560368.6451 | 1205540.476 | 2560361.63 | 1205537.1888
16 | 2560313.4334 | 1205673.8305 | 2560309.3662 | 1205668.4201
17 | 2560369.8297 | 1205700.1143 | 2560377.5818 | 1205699.4394
18 | 2560583.6107 | 1205668.0995 | 2560529.3319 | 1205658.0323
19 | 2560538.3528 | 1205571.1442 | 2560544.0698 | 1205583.3688 | 2560551.0998 | 1205596.3407
20 | 2560538.3528 | 1205571.1442 | 2560569.9022 | 1205568.9118 | 2560590.9857 | 1205568.9389
21 | 2560551.0998 | 1205596.3407 | 2560554.8781 | 1205600.6515 | 2560558.3248 | 1205603.1412 | 2560569.5138 | 1205605.5796 | 2560578.8853 | 1205606.2604
22 | 2560590.9857 | 1205568.9389 | 2560614.6615 | 1205569.9161
23 | 2560590.9857 | 1205568.9389 | 2560591.706 | 1205548.0034
24 | 2560624.8495 | 1205570.8219 | 2560614.6615 | 1205569.9161
25 | 2560592.2725 | 1205519.7469 | 2560591.917 | 1205541.8729 | 2560591.706 | 1205548.0034
26 | 2560624.8495 | 1205570.8219 | 2560642.2286 | 1205572.367
27 | 2560592.2725 | 1205519.7469 | 2560606.2875 | 1205513.6063 | 2560615.6371 | 1205502.4047
28 | 2560592.2725 | 1205519.7469 | 2560583.5315 | 1205521.9474
29 | 2560615.6371 | 1205502.4047 | 2560611.5346 | 1205501.0502
30 | 2560615.6371 | 1205502.4047 | 2560639.9454 | 1205510.4228
31 | 2560558.6944 | 1205524.6386 | 2560575.4914 | 1205523.9715 | 2560583.5315 | 1205521.9474
32 | 2560576.3952 | 1205491.3177 | 2560594.8732 | 1205495.5493 | 2560611.5346 | 1205501.0502
33 | 2560558.6944 | 1205524.6386 | 2560539.1138 | 1205525.8484
34 | 2560558.6944 | 1205524.6386 | 2560554.9985 | 1205551.0096
35 | 2560525.7064 | 1205479.7095 | 2560576.3952 | 1205491.3177
36 | 2560514.6914 | 1205527.6319 | 2560533.9018 | 1205526.1704 | 2560539.1138 | 1205525.8484
37 | 2560525.7064 | 1205479.7095 | 2560537.2882 | 1205478.2541 | 2560599.0379 | 1205436.4438
38 | 2560525.7064 | 1205479.7095 | 2560518.1473 | 1205464.9846 | 2560511.0995 | 1205446.1668
39 | 2560514.0681 | 1205549.4707 | 2560514.6914 | 1205527.6319
40 | 2560514.6914 | 1205527.6319 | 2560506.4629 | 1205528.2592
41 | 2560473.8201 | 1205528.0366 | 2560479.9057 | 1205528.1741 | 2560502.2317 | 1205528.5817 | 2560506.4629 | 1205528.2592
42 | 2560282.5652 | 1205512.1396 | 2560292.2763 | 1205512.7982
43 | 2560292.2763 | 1205512.7982 | 2560306.9585 | 1205513.7939 | 2560323.1467 | 1205509.9495
44 | 2560431.1945 | 1205522.68 | 2560435.7948 | 1205524.0757 | 2560461.7172 | 1205527.7501 | 2560465.4578 | 1205527.8386
45 | 2560377.4636 | 1205496.4145 | 2560390.4878 | 1205505.9777 | 2560414.5315 | 1205517.6245 | 2560431.1945 | 1205522.68
46 | 2560473.8201 | 1205528.0366 | 2560465.4578 | 1205527.8386
47 | 2560377.4636 | 1205496.4145 | 2560401.5031 | 1205489.4383
48 | 2560377.4636 | 1205496.4145 | 2560357.6427 | 1205501.3641
49 | 2560473.8201 | 1205528.0366 | 2560472.2799 | 1205540.0648
50 | 2560423.6369 | 1205483.0151 | 2560401.5031 | 1205489.4383
51 | 2560357.6427 | 1205501.3641 | 2560350.1081 | 1205503.2456
52 | 2560452.0457 | 1205474.913 | 2560451.6457 | 1205474.887 | 2560423.6369 | 1205483.0151
53 | 2560323.1467 | 1205509.9495 | 2560325.5028 | 1205509.39 | 2560350.1081 | 1205503.2456
54 | 2560599.0379 | 1205436.4438 | 2560611.25 | 1205442.9908
55 | 2560497.7827 | 1205410.611 | 2560511.0995 | 1205446.1668
56 | 2560486.1382 | 1205424.4072 | 2560490.1235 | 1205422.0794 | 2560493.0065 | 1205416.3904 | 2560497.7827 | 1205410.611
57 | 2560497.7827 | 1205410.611 | 2560488.4046 | 1205401.4569 | 2560476.4827 | 1205398.6789 | 2560436.3957 | 1205406.7341
58 | 2560436.3957 | 1205406.7341 | 2560418.807 | 1205410.2685 | 2560413.9222 | 1205410.6047
59 | 2560372.6477 | 1205412.8102 | 2560394.1291 | 1205411.9668 | 2560413.9222 | 1205410.6047
60 | 2560346.186 | 1205412.7641 | 2560372.6477 | 1205412.8102
61 | 2560380.4728 | 1205432.0135 | 2560372.6477 | 1205412.8102
62 | 2560351.992 | 1205434.8491 | 2560346.186 | 1205412.7641
63 | 2560346.186 | 1205412.7641 | 2560280.0818 | 1205413.8719
64 | 2560280.0818 | 1205413.8719 | 2560289.2552 | 1205444.148
65 | 2560289.8698 | 1205446.1765 | 2560289.2552 | 1205444.148
66 | 2560448.9301 | 1205710.5341 | 2560434.1547 | 1205704.0841
67 | 2560470.495 | 1205714.509 | 2560461.5839 | 1205716.0579 | 2560448.9301 | 1205710.5341
68 | 2560434.1547 | 1205704.0841 | 2560418.8058 | 1205697.3837
69 | 2560470.495 | 1205714.509 | 2560540.3534 | 1206024.3105
70 | 2560418.8058 | 1205697.3837 | 2560415.8782 | 1205696.1057 | 2560410.1807 | 1205696.6017
71 | 2560410.1807 | 1205696.6017 | 2560393.7794 | 1205698.0294
72 | 2560393.7794 | 1205698.0294 | 2560377.5818 | 1205699.4394
73 | 2560298.8409 | 1205654.419 | 2560309.3662 | 1205668.4201
74 | 2560291.6004 | 1205648.9231 | 2560296.4359 | 1205651.2198 | 2560298.8409 | 1205654.419
75 | 2560239.2911 | 1205588.143 | 2560240.3771 | 1205602.7107 | 2560247.1314 | 1205612.2739
76 | 2560234.0147 | 1205577.0719 | 2560239.2911 | 1205588.143
77 | 2560247.1314 | 1205612.2739 | 2560257.0288 | 1205626.2874
78 | 2560257.0288 | 1205626.2874 | 2560263.6349 | 1205635.6408 | 2560276.0811 | 1205641.5522
79 | 2560276.0811 | 1205641.5522 | 2560291.6004 | 1205648.9231

## bus_geodata
| x | y | coords
0 | 2560384.4139 | 1205621.1797
1 | 2560397.3299 | 1205600.8852
2 | 2560353.7152 | 1205662.7114
3 | 2560416.5437 | 1205568.5845
4 | 2560342.8327 | 1205682.3061
5 | 2560445.453 | 1205576.5302
6 | 2560404.865 | 1205563.0398
7 | 2560333.5202 | 1205681.4129
8 | 2560350.1432 | 1205689.628
9 | 2560455.4527 | 1205618.7079
10 | 2560485.3906 | 1205576.8952
11 | 2560379.8022 | 1205547.2278
12 | 2560313.4334 | 1205673.8305
13 | 2560369.8297 | 1205700.1143
14 | 2560529.3319 | 1205658.0323
15 | 2560538.3528 | 1205571.1442
16 | 2560361.63 | 1205537.1888
17 | 2560551.0998 | 1205596.3407
18 | 2560590.9857 | 1205568.9389
19 | 2560578.8853 | 1205606.2604
20 | 2560614.6615 | 1205569.9161
21 | 2560591.706 | 1205548.0034
22 | 2560624.8495 | 1205570.8219
23 | 2560592.2725 | 1205519.7469
24 | 2560583.6107 | 1205668.0995
25 | 2560615.6371 | 1205502.4047
26 | 2560583.5315 | 1205521.9474
27 | 2560611.5346 | 1205501.0502
28 | 2560639.9454 | 1205510.4228
29 | 2560558.6944 | 1205524.6386
30 | 2560642.2286 | 1205572.367
31 | 2560576.3952 | 1205491.3177
32 | 2560539.1138 | 1205525.8484
33 | 2560554.9985 | 1205551.0096
34 | 2560525.7064 | 1205479.7095
35 | 2560514.6914 | 1205527.6319
36 | 2560514.0681 | 1205549.4707
37 | 2560506.4629 | 1205528.2592
38 | 2560282.5652 | 1205512.1396
39 | 2560292.2763 | 1205512.7982
40 | 2560431.1945 | 1205522.68
41 | 2560465.4578 | 1205527.8386
42 | 2560377.4636 | 1205496.4145
43 | 2560473.8201 | 1205528.0366
44 | 2560401.5031 | 1205489.4383
45 | 2560357.6427 | 1205501.3641
46 | 2560472.2799 | 1205540.0648
47 | 2560423.6369 | 1205483.0151
48 | 2560350.1081 | 1205503.2456
49 | 2560452.0457 | 1205474.913
50 | 2560323.1467 | 1205509.9495
51 | 2560599.0379 | 1205436.4438
52 | 2560511.0995 | 1205446.1668
53 | 2560611.25 | 1205442.9908
54 | 2560497.7827 | 1205410.611
55 | 2560486.1382 | 1205424.4072
56 | 2560436.3957 | 1205406.7341
57 | 2560413.9222 | 1205410.6047
58 | 2560372.6477 | 1205412.8102
59 | 2560346.186 | 1205412.7641
60 | 2560380.4728 | 1205432.0135
61 | 2560351.992 | 1205434.8491
62 | 2560280.0818 | 1205413.8719
63 | 2560289.2552 | 1205444.148
64 | 2560289.8698 | 1205446.1765
65 | 2560448.9301 | 1205710.5341
66 | 2560434.1547 | 1205704.0841
67 | 2560470.495 | 1205714.509
68 | 2560418.8058 | 1205697.3837
69 | 2560540.3534 | 1206024.3105
70 | 2560410.1807 | 1205696.6017
71 | 2560393.7794 | 1205698.0294
72 | 2560377.5818 | 1205699.4394
73 | 2560309.3662 | 1205668.4201
74 | 2560298.8409 | 1205654.419
75 | 2560239.2911 | 1205588.143
76 | 2560247.1314 | 1205612.2739
77 | 2560234.0147 | 1205577.0719
78 | 2560257.0288 | 1205626.2874
79 | 2560276.0811 | 1205641.5522
80 | 2560291.6004 | 1205648.9231
81 | 2560445.453 | 1205576.5302

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1