## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6458-6_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6458-6_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6458-6_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6458-6_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6458-6_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6458-6_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_6458-6_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_6458-6_0_4_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_6458-6_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6458-6_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_6458-6_0_4_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_6458-6_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_6458-6_0_4_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_6458-6_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_6458-6_0_4_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_6458-6_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6458-6_0_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_6458-6_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_6458-6_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_6458-6_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_6458-6_0_4_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_6458-6_0_4_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_6458-6_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_6458-6_0_4_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_6458-6_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_6458-6_0_4_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_6458-6_0_4_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_6458-6_0_4_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_6458-6_0_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_6458-6_0_4_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_6458-6_0_4_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_6458-6_0_4_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_6458-6_0_4_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_6458-6_0_4_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_6458-6_0_4_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_6458-6_0_4_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_6458-6_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_6458-6_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_6458-6_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6458-6_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6458-6_0_4_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_6458-6_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6458-6_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6458-6_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6458-6_0_4_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_6458-6_0_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_6458-6_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6458-6_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6458-6_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_6458-6_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6458-6_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6458-6_0_4_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_6458-6_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6458-6_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_6458-6_0_4_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_6458-6_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_6458-6_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6458-6_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_6458-6_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_6458-6_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6458-6_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_6458-6_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6458-6_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6458-6_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6458-6_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6458-6_0_4_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_6458-6_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_6458-6_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_6458-6_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_6458-6_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_6458-6_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6458-6_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6458-6_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_6458-6_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_6458-6_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6458-6_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_6458-6_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_6458-6_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_6458-6_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_6458-6_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_6458-6_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_6458-6_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_6458-6_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_6458-6_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_6458-6_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_6458-6_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_6458-6_0_4_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_6458-6_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_MV_326_1_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-6_0_4_load_0 | 0 | 0.0094749 | 0.0023746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-6_0_4_load_4 | 3 | 0.0065694 | 0.0016465 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-6_0_4_load_7 | 5 | 0.0069919 | 0.0017523 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-6_0_4_load_8 | 6 | 0.0058316 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-6_0_4_load_73 | 9 | 0.0020181 | 0.00050579 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-6_0_4_load_51 | 10 | 0.0070746 | 0.0017731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-6_0_4_load_56 | 12 | 0.007053 | 0.0017676 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-6_0_4_load_55 | 13 | 0.014862 | 0.0037248 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-6_0_4_load_57 | 14 | 0.00594 | 0.0014887 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-6_0_4_load_53 | 16 | 0.0063373 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-6_0_4_load_60 | 19 | 0.0049999 | 0.0012531 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-6_0_4_load_58 | 22 | 0.0057728 | 0.0014468 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-6_0_4_load_63 | 23 | 0.0030498 | 0.00076435 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-6_0_4_load_64 | 24 | 0.0016752 | 0.00041985 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-6_0_4_load_9 | 25 | 0.0098497 | 0.0024686 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-6_0_4_load_10 | 26 | 0.00095596 | 0.00023959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-6_0_4_load_12 | 29 | 0.0029742 | 0.0007454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-6_0_4_load_96 | 30 | 0.0024664 | 0.00061813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-6_0_4_load_94 | 31 | 0.0046472 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-6_0_4_load_92 | 33 | 0.0040724 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-6_0_4_load_14 | 35 | 0.011535 | 0.0028908 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-6_0_4_load_17 | 38 | 0.0062538 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-6_0_4_load_23 | 40 | 0.01492 | 0.0037393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-6_0_4_load_38 | 44 | 0.009015 | 0.0022594 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-6_0_4_load_35 | 45 | 0.010456 | 0.0026205 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-6_0_4_load_36 | 46 | 0.007413 | 0.0018579 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-6_0_4_load_61 | 48 | 0.018871 | 0.0047295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-6_0_4_load_29 | 49 | 0.0036055 | 0.00090361 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-6_0_4_load_28 | 50 | 0.0051816 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-6_0_4_load_26 | 51 | 0.012975 | 0.0032519 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-6_0_4_load_42 | 52 | 0.011147 | 0.0027937 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-6_0_4_load_37 | 53 | 0.0075146 | 0.0018833 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-6_0_4_load_27 | 56 | 0.0053656 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-6_0_4_load_24 | 57 | 0.0079069 | 0.0019817 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-6_0_4_load_30 | 58 | 0.0063556 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-6_0_4_load_48 | 59 | 0.0089338 | 0.002239 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-6_0_4_load_47 | 60 | 0.0097 | 0.0024311 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-6_0_4_load_39 | 61 | 0.010046 | 0.0025179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-6_0_4_load_40 | 62 | 0.028102 | 0.007043 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-6_0_4_load_46 | 64 | 0.010467 | 0.0026233 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-6_0_4_load_50 | 65 | 0.0061388 | 0.0015385 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-6_0_4_load_49 | 66 | 0.015833 | 0.0039681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-6_0_4_load_59 | 67 | 0.0049246 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-6_0_4_load_74 | 68 | 0.0048118 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-6_0_4_load_67 | 69 | 0.0031307 | 0.00078464 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-6_0_4_load_75 | 70 | 0.0090325 | 0.0022638 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-6_0_4_load_65 | 71 | 0.0056955 | 0.0014274 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-6_0_4_load_66 | 72 | 0.0075477 | 0.0018916 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-6_0_4_load_71 | 73 | 0.0053526 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-6_0_4_load_70 | 74 | 0.005061 | 0.0012684 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-6_0_4_load_72 | 75 | 0.0036292 | 0.00090956 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-6_0_4_load_76 | 76 | 0.0065254 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-6_0_4_load_77 | 77 | 0.0076362 | 0.0019138 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-6_0_4_load_78 | 78 | 0.0063233 | 0.0015848 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-6_0_4_load_79 | 79 | 0.0077777 | 0.0019493 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-6_0_4_load_80 | 80 | 0.0077007 | 0.00193 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-6_0_4_load_81 | 81 | 0.011028 | 0.0027638 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-6_0_4_load_82 | 82 | 0.0025145 | 0.0006302 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-6_0_4_load_83 | 83 | 0.002352 | 0.00058947 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6458-6_0_4_load_84 | 84 | 0.002551 | 0.00063934 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6458-6_0_4_load_85 | 85 | 0.0024006 | 0.00060164 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6458-6_0_4_load_86 | 86 | 0.0027665 | 0.00069335 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6458-6_0_4_load_87 | 87 | 0.011555 | 0.002896 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6458-6_0_4_load_88 | 88 | 0.0036682 | 0.00091933 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6458-6_0_4_load_89 | 89 | 0.0036666 | 0.00091894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-6_0_4_line_0 |  | 0 | 1 | 0.025506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6458-6_0_4_line_1 |  | 0 | 2 | 0.0034253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6458-6_0_4_line_2 |  | 1 | 3 | 0.0065829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-6_0_4_line_3 |  | 1 | 4 | 0.029093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6458-6_0_4_line_4 |  | 2 | 5 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6458-6_0_4_line_5 |  | 2 | 6 | 0.030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6458-6_0_4_line_6 |  | 3 | 10 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-6_0_4_line_7 |  | 4 | 11 | 0.019355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6458-6_0_4_line_8 |  | 4 | 12 | 0.011605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6458-6_0_4_line_9 |  | 5 | 14 | 0.0047912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-6_0_4_line_10 |  | 6 | 15 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6458-6_0_4_line_11 |  | 7 | 8 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-6_0_4_line_12 |  | 7 | 9 | 0.0081436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-6_0_4_line_13 |  | 8 | 16 | 0.0072165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-6_0_4_line_14 |  | 8 | 10 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-6_0_4_line_15 |  | 9 | 17 | 0.005961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-6_0_4_line_16 |  | 11 | 13 | 0.0080337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6458-6_0_4_line_17 |  | 13 | 21 | 0.024412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6458-6_0_4_line_18 |  | 14 | 22 | 0.046249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-6_0_4_line_19 |  | 15 | 23 | 0.0012762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6458-6_0_4_line_20 |  | 15 | 24 | 0.019231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-6_0_4_line_21 |  | 17 | 73 | 0.013633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-6_0_4_line_22 |  | 18 | 19 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-6_0_4_line_23 |  | 18 | 20 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6458-6_0_4_line_24 |  | 19 | 55 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-6_0_4_line_25 |  | 20 | 21 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6458-6_0_4_line_26 |  | 20 | 58 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-6_0_4_line_27 |  | 21 | 59 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-6_0_4_line_28 |  | 22 | 67 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-6_0_4_line_29 |  | 23 | 68 | 0.012975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6458-6_0_4_line_30 |  | 24 | 69 | 0.0087084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-6_0_4_line_31 |  | 25 | 26 | 0.062435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-6_0_4_line_32 |  | 25 | 27 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-6_0_4_line_33 |  | 26 | 28 | 0.075315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-6_0_4_line_34 |  | 27 | 29 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-6_0_4_line_35 |  | 28 | 30 | 0.067175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-6_0_4_line_36 |  | 30 | 31 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-6_0_4_line_37 |  | 31 | 90 | 0.045811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-6_0_4_line_38 |  | 32 | 33 | 0.030432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-6_0_4_line_39 |  | 32 | 34 | 0.23149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-6_0_4_line_40 |  | 33 | 90 | 0.039921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-6_0_4_line_41 |  | 34 | 89 | 0.14369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6458-6_0_4_line_42 |  | 35 | 36 | 0.018964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-6_0_4_line_43 |  | 35 | 37 | 0.017399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-6_0_4_line_44 |  | 36 | 38 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-6_0_4_line_45 |  | 37 | 39 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-6_0_4_line_46 |  | 38 | 40 | 0.005303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-6_0_4_line_47 |  | 39 | 47 | 0.003775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-6_0_4_line_48 |  | 39 | 48 | 0.029206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-6_0_4_line_49 |  | 41 | 42 | 0.043413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-6_0_4_line_50 |  | 41 | 43 | 0.03121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-6_0_4_line_51 |  | 41 | 44 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-6_0_4_line_52 |  | 42 | 52 | 0.0071736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-6_0_4_line_53 |  | 43 | 45 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-6_0_4_line_54 |  | 43 | 46 | 0.0097704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-6_0_4_line_55 |  | 44 | 53 | 0.0034955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-6_0_4_line_56 |  | 45 | 54 | 0.020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-6_0_4_line_57 |  | 47 | 49 | 0.01116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-6_0_4_line_58 |  | 48 | 55 | 0.025961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-6_0_4_line_59 |  | 49 | 56 | 0.0097211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-6_0_4_line_60 |  | 50 | 51 | 0.00044008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-6_0_4_line_61 |  | 51 | 56 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-6_0_4_line_62 |  | 52 | 63 | 0.043728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-6_0_4_line_63 |  | 53 | 61 | 0.01128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-6_0_4_line_64 |  | 54 | 58 | 0.003122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-6_0_4_line_65 |  | 54 | 57 | 0.014425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-6_0_4_line_66 |  | 59 | 60 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-6_0_4_line_67 |  | 60 | 66 | 0.023858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-6_0_4_line_68 |  | 61 | 62 | 0.0086675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-6_0_4_line_69 |  | 63 | 64 | 0.028292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-6_0_4_line_70 |  | 65 | 66 | 0.024586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-6_0_4_line_71 |  | 68 | 70 | 0.024283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6458-6_0_4_line_72 |  | 69 | 71 | 0.0089337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-6_0_4_line_73 |  | 70 | 76 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6458-6_0_4_line_74 |  | 71 | 72 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-6_0_4_line_75 |  | 73 | 74 | 0.00031205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-6_0_4_line_76 |  | 74 | 75 | 0.0062832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-6_0_4_line_77 |  | 76 | 77 | 0.0075136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6458-6_0_4_line_78 |  | 77 | 78 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6458-6_0_4_line_79 |  | 78 | 79 | 0.0023647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_6458-6_0_4_line_80 |  | 79 | 80 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_6458-6_0_4_line_81 |  | 80 | 81 | 0.00099995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_6458-6_0_4_line_82 |  | 81 | 82 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6458-6_0_4_line_83 |  | 82 | 83 | 0.0049659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6458-6_0_4_line_84 |  | 83 | 84 | 0.0098331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6458-6_0_4_line_85 |  | 84 | 85 | 0.012567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6458-6_0_4_line_86 |  | 85 | 86 | 0.014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6458-6_0_4_line_87 |  | 86 | 87 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6458-6_0_4_line_88 |  | 87 | 88 | 0.016472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6458-6_0_4_line_89 |  | 88 | 89 | 0.0075717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-6_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 91 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2561703.6809 | 1205351.7121 | 2561695.4005 | 1205375.8372
1 | 2561694.2885 | 1205379.0769 | 2561695.4005 | 1205375.8372
2 | 2561703.6809 | 1205351.7121 | 2561697.7845 | 1205348.785
3 | 2561703.6809 | 1205351.7121 | 2561719.566 | 1205354.645 | 2561719.2781 | 1205360.7281 | 2561724.4789 | 1205365.1861
4 | 2561694.2885 | 1205379.0769 | 2561705.7906 | 1205382.9053
5 | 2561694.2885 | 1205379.0769 | 2561686.2394 | 1205408.6225
6 | 2561678.144 | 1205340.7738 | 2561685.8179 | 1205342.8442 | 2561697.7845 | 1205348.785
7 | 2561724.4789 | 1205365.1861 | 2561729.1481 | 1205362.6768 | 2561730.357 | 1205356.6879 | 2561738.1701 | 1205358.1274
8 | 2561724.4789 | 1205365.1861 | 2561720.7692 | 1205376.1823
9 | 2561705.7906 | 1205382.9053 | 2561710.3366 | 1205384.4184
10 | 2561682.4072 | 1205422.6891 | 2561686.2394 | 1205408.6225
11 | 2561662.2742 | 1205336.4922 | 2561658.0008 | 1205342.5898 | 2561657.8966 | 1205346.4927
12 | 2561657.8966 | 1205346.4927 | 2561649.773 | 1205345.9224
13 | 2561662.2742 | 1205336.4922 | 2561655.6434 | 1205333.6443
14 | 2561662.2742 | 1205336.4922 | 2561678.144 | 1205340.7738
15 | 2561643.8266 | 1205345.5049 | 2561649.773 | 1205345.9224
16 | 2561738.1701 | 1205358.1274 | 2561740.7453 | 1205350.5177
17 | 2561756.9456 | 1205342.1422 | 2561749.9295 | 1205354.6499 | 2561740.7453 | 1205350.5177
18 | 2561753.0981 | 1205401.9202 | 2561741.2974 | 1205396.1844 | 2561716.2105 | 1205386.3734 | 2561710.3366 | 1205384.4184
19 | 2561682.4072 | 1205422.6891 | 2561683.6239 | 1205423.0744
20 | 2561682.4072 | 1205422.6891 | 2561670.9984 | 1205419.1717 | 2561664.0293 | 1205417.024
21 | 2561643.8266 | 1205345.5049 | 2561642.5396 | 1205351.172 | 2561641.7315 | 1205358.9519
22 | 2561769.1914 | 1205364.6319 | 2561784.5337 | 1205367.6205
23 | 2561769.1914 | 1205364.6319 | 2561773.2067 | 1205353.8667
24 | 2561800.4077 | 1205370.7128 | 2561784.5337 | 1205367.6205
25 | 2561773.2067 | 1205353.8667 | 2561756.9456 | 1205342.1422
26 | 2561773.2067 | 1205353.8667 | 2561774.5492 | 1205350.9119 | 2561775.0374 | 1205349.9416 | 2561780.6018 | 1205338.7662 | 2561781.3541 | 1205337.2394
27 | 2561756.9456 | 1205342.1422 | 2561747.9979 | 1205336.3576
28 | 2561771.1539 | 1205412.0239 | 2561757.1446 | 1205403.887 | 2561753.0981 | 1205401.9202
29 | 2561695.994 | 1205426.9912 | 2561683.6239 | 1205423.0744
30 | 2561655.7071 | 1205414.4594 | 2561664.0293 | 1205417.024
31 | 2561623.9346 | 1205560.4473 | 2561623.8154 | 1205560.2665 | 2561581.1305 | 1205531.8257 | 2561571.17 | 1205527.3329
32 | 2561632.8635 | 1205573.9827 | 2561623.9346 | 1205560.4473
33 | 2561631.4272 | 1205482.151 | 2561571.17 | 1205527.3329
34 | 2561632.8635 | 1205573.9827 | 2561653.3632 | 1205595.4706
35 | 2561631.4272 | 1205482.151 | 2561635.3311 | 1205486.0059 | 2561636.7453 | 1205489.4654 | 2561641.2839 | 1205485.5895 | 2561647.206 | 1205486.3184 | 2561666.2664 | 1205492.2324 | 2561686.0532 | 1205488.0916 | 2561691.5466 | 1205490.0862
36 | 2561713.6169 | 1205497.4823 | 2561704.0147 | 1205494.6131 | 2561691.5466 | 1205490.0862
37 | 2561755.5389 | 1205515.0157 | 2561740.1442 | 1205505.4981 | 2561720.3684 | 1205499.4996 | 2561713.6169 | 1205497.4823
38 | 2561814.7638 | 1205532.4789 | 2561794.13 | 1205510.1097
39 | 2561814.7638 | 1205532.4789 | 2561825.0287 | 1205533.1913 | 2561834.9229 | 1205538.9756 | 2561844.8815 | 1205536.9995 | 2561851.2292 | 1205541.239 | 2561860.3983 | 1205538.312 | 2561885.1662 | 1205538.8315 | 2561898.5456 | 1205542.5035 | 2561918.7844 | 1205548.3885 | 2561933.1098 | 1205548.9639 | 2561944.7625 | 1205551.4241 | 2561947.0589 | 1205559.6586 | 2561954.9412 | 1205567.2236 | 2561964.8129 | 1205571.8854 | 2561974.9461 | 1205568.6633 | 2561982.095 | 1205567.3836 | 2561990.6093 | 1205565.5393 | 2562001.3621 | 1205552.152 | 2562005.9019 | 1205552.0118 | 2562012.8926 | 1205548.5875 | 2562011.3625 | 1205538.8473
40 | 2561755.5389 | 1205515.0157 | 2561765.0514 | 1205512.2753 | 2561779.9441 | 1205507.5882 | 2561794.13 | 1205510.1097
41 | 2562011.3625 | 1205538.8473 | 2561976.6528 | 1205522.7042 | 2561926.2653 | 1205500.3246 | 2561891.6608 | 1205487.6165 | 2561878.7755 | 1205483.8997
42 | 2561838.5793 | 1205361.9075 | 2561837.291 | 1205366.2071 | 2561850.7429 | 1205371.555
43 | 2561867.3374 | 1205376.0757 | 2561861.1512 | 1205375.6929 | 2561850.7429 | 1205371.555
44 | 2561838.5793 | 1205361.9075 | 2561825.3008 | 1205356.2919
45 | 2561854.2519 | 1205382.7189 | 2561863.8892 | 1205381.601 | 2561864.1508 | 1205378.5086 | 2561868.7029 | 1205379.0798 | 2561870.7066 | 1205378.411 | 2561867.3374 | 1205376.0757
46 | 2561820.4166 | 1205354.2263 | 2561825.3008 | 1205356.2919
47 | 2561857.0218 | 1205385.2915 | 2561854.2519 | 1205382.7189
48 | 2561854.2519 | 1205382.7189 | 2561825.7461 | 1205376.3627
49 | 2561738.2382 | 1205261.0498 | 2561776.6213 | 1205281.5372
50 | 2561776.6213 | 1205281.5372 | 2561795.8834 | 1205293.8983 | 2561795.3815 | 1205302.2063
51 | 2561776.6213 | 1205281.5372 | 2561770.7984 | 1205290.3573 | 2561766.9632 | 1205296.1273
52 | 2561738.2382 | 1205261.0498 | 2561731.9929 | 1205257.5205
53 | 2561795.3815 | 1205302.2063 | 2561797.9235 | 1205303.6241 | 2561791.7063 | 1205316.237
54 | 2561795.3815 | 1205302.2063 | 2561791.039 | 1205310.9586
55 | 2561766.9632 | 1205296.1273 | 2561765.0283 | 1205299.0384
56 | 2561782.7341 | 1205334.439 | 2561791.7063 | 1205316.237
57 | 2561857.0218 | 1205385.2915 | 2561856.5104 | 1205392.1319 | 2561856.8193 | 1205396.4213
58 | 2561800.4077 | 1205370.7128 | 2561825.7461 | 1205376.3627
59 | 2561862.988 | 1205403.5691 | 2561859.03 | 1205400.754 | 2561856.8193 | 1205396.4213
60 | 2561884.0416 | 1205417.0351 | 2561884.3935 | 1205417.2994
61 | 2561862.988 | 1205403.5691 | 2561863.5381 | 1205403.9603 | 2561881.4607 | 1205415.0963 | 2561884.0416 | 1205417.0351
62 | 2561693.2541 | 1205237.2589 | 2561720.2068 | 1205250.8599 | 2561731.9929 | 1205257.5205
63 | 2561757.5451 | 1205301.9927 | 2561761.329 | 1205304.6039 | 2561765.0283 | 1205299.0384
64 | 2561782.7341 | 1205334.439 | 2561781.3541 | 1205337.2394
65 | 2561782.7341 | 1205334.439 | 2561795.912 | 1205340.3073
66 | 2561733.1538 | 1205326.7611 | 2561747.9979 | 1205336.3576
67 | 2561733.1538 | 1205326.7611 | 2561731.4047 | 1205325.6303 | 2561711.0965 | 1205317.7739
68 | 2561750.4114 | 1205297.0698 | 2561757.5451 | 1205301.9927
69 | 2561693.2541 | 1205237.2589 | 2561681.5009 | 1205263.0046
70 | 2561688.1664 | 1205308.9032 | 2561711.0965 | 1205317.7739
71 | 2561695.994 | 1205426.9912 | 2561719.1447 | 1205434.3214
72 | 2561647.1695 | 1205411.8284 | 2561655.7071 | 1205414.4594
73 | 2561719.1447 | 1205434.3214 | 2561736.6281 | 1205439.8573
74 | 2561647.1695 | 1205411.8284 | 2561644.6369 | 1205411.0479 | 2561628.46 | 1205406.0574
75 | 2561641.6992 | 1205359.2623 | 2561641.7315 | 1205358.9519
76 | 2561641.05 | 1205365.5119 | 2561641.6992 | 1205359.2623
77 | 2561736.6281 | 1205439.8573 | 2561743.7912 | 1205442.1253
78 | 2561743.7912 | 1205442.1253 | 2561763.1796 | 1205448.2643
79 | 2561765.434 | 1205448.9782 | 2561763.1796 | 1205448.2643
80 | 2561765.434 | 1205448.9782 | 2561787.4968 | 1205455.964
81 | 2561787.4968 | 1205455.964 | 2561788.4501 | 1205456.2658
82 | 2561788.4501 | 1205456.2658 | 2561805.7323 | 1205461.7379
83 | 2561805.7323 | 1205461.7379 | 2561810.4665 | 1205463.2369
84 | 2561819.8409 | 1205466.2052 | 2561810.4665 | 1205463.2369
85 | 2561819.8409 | 1205466.2052 | 2561831.8218 | 1205469.9987
86 | 2561831.8218 | 1205469.9987 | 2561844.4929 | 1205474.0108 | 2561845.4759 | 1205474.2944
87 | 2561845.4759 | 1205474.2944 | 2561855.6742 | 1205477.2361
88 | 2561855.6742 | 1205477.2361 | 2561871.5005 | 1205481.8012
89 | 2561871.5005 | 1205481.8012 | 2561878.7755 | 1205483.8997

## bus_geodata
| x | y | coords
0 | 2561695.4005 | 1205375.8372
1 | 2561703.6809 | 1205351.7121
2 | 2561694.2885 | 1205379.0769
3 | 2561697.7845 | 1205348.785
4 | 2561724.4789 | 1205365.1861
5 | 2561705.7906 | 1205382.9053
6 | 2561686.2394 | 1205408.6225
7 | 2561657.8966 | 1205346.4927
8 | 2561662.2742 | 1205336.4922
9 | 2561649.773 | 1205345.9224
10 | 2561678.144 | 1205340.7738
11 | 2561738.1701 | 1205358.1274
12 | 2561720.7692 | 1205376.1823
13 | 2561740.7453 | 1205350.5177
14 | 2561710.3366 | 1205384.4184
15 | 2561682.4072 | 1205422.6891
16 | 2561655.6434 | 1205333.6443
17 | 2561643.8266 | 1205345.5049
18 | 2561769.1914 | 1205364.6319
19 | 2561784.5337 | 1205367.6205
20 | 2561773.2067 | 1205353.8667
21 | 2561756.9456 | 1205342.1422
22 | 2561753.0981 | 1205401.9202
23 | 2561683.6239 | 1205423.0744
24 | 2561664.0293 | 1205417.024
25 | 2561623.9346 | 1205560.4473
26 | 2561571.17 | 1205527.3329
27 | 2561632.8635 | 1205573.9827
28 | 2561631.4272 | 1205482.151
29 | 2561653.3632 | 1205595.4706
30 | 2561691.5467 | 1205490.0862
31 | 2561713.6169 | 1205497.4823
32 | 2561814.7638 | 1205532.4789
33 | 2561794.13 | 1205510.1097
34 | 2562011.3625 | 1205538.8473
35 | 2561850.7429 | 1205371.555
36 | 2561838.5793 | 1205361.9075
37 | 2561867.3374 | 1205376.0757
38 | 2561825.3008 | 1205356.2919
39 | 2561854.2519 | 1205382.7189
40 | 2561820.4166 | 1205354.2263
41 | 2561776.6213 | 1205281.5372
42 | 2561738.2382 | 1205261.0498
43 | 2561795.3815 | 1205302.2063
44 | 2561766.9632 | 1205296.1273
45 | 2561791.7063 | 1205316.237
46 | 2561791.039 | 1205310.9586
47 | 2561857.0218 | 1205385.2915
48 | 2561825.7461 | 1205376.3627
49 | 2561856.8193 | 1205396.4213
50 | 2561884.3935 | 1205417.2994
51 | 2561884.0416 | 1205417.0351
52 | 2561731.9929 | 1205257.5205
53 | 2561765.0283 | 1205299.0384
54 | 2561782.7341 | 1205334.439
55 | 2561800.4077 | 1205370.7128
56 | 2561862.988 | 1205403.5691
57 | 2561795.912 | 1205340.3073
58 | 2561781.3541 | 1205337.2394
59 | 2561747.9979 | 1205336.3576
60 | 2561733.1538 | 1205326.7611
61 | 2561757.5451 | 1205301.9927
62 | 2561750.4114 | 1205297.0698
63 | 2561693.2541 | 1205237.2589
64 | 2561681.5009 | 1205263.0046
65 | 2561688.1664 | 1205308.9032
66 | 2561711.0965 | 1205317.7739
67 | 2561771.1539 | 1205412.0239
68 | 2561695.994 | 1205426.9912
69 | 2561655.7071 | 1205414.4594
70 | 2561719.1447 | 1205434.3214
71 | 2561647.1695 | 1205411.8284
72 | 2561628.46 | 1205406.0574
73 | 2561641.7315 | 1205358.9519
74 | 2561641.6992 | 1205359.2623
75 | 2561641.05 | 1205365.5119
76 | 2561736.6281 | 1205439.8573
77 | 2561743.7912 | 1205442.1253
78 | 2561763.1796 | 1205448.2643
79 | 2561765.434 | 1205448.9782
80 | 2561787.4968 | 1205455.964
81 | 2561788.4501 | 1205456.2658
82 | 2561805.7323 | 1205461.7379
83 | 2561810.4665 | 1205463.2369
84 | 2561819.8409 | 1205466.2052
85 | 2561831.8218 | 1205469.9987
86 | 2561845.4759 | 1205474.2944
87 | 2561855.6742 | 1205477.2361
88 | 2561871.5005 | 1205481.8012
89 | 2561878.7755 | 1205483.8997
90 | 2561755.5389 | 1205515.0157
91 | 2561773.2067 | 1205353.8667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1