## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6458-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6458-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6458-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6458-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6458-8_0_3_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_6458-8_0_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_6458-8_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6458-8_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6458-8_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6458-8_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6458-8_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_6458-8_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6458-8_0_3_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_6458-8_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_6458-8_0_3_node_95 | 0.4 | n |  | TRUE
18 | bus_LV_6458-8_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_6458-8_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6458-8_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_6458-8_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6458-8_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6458-8_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6458-8_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6458-8_0_3_node_105 | 0.4 | n |  | TRUE
26 | bus_LV_6458-8_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6458-8_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_6458-8_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6458-8_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6458-8_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_6458-8_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6458-8_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6458-8_0_3_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_6458-8_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_6458-8_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6458-8_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6458-8_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6458-8_0_3_node_100 | 0.4 | n |  | TRUE
39 | bus_LV_6458-8_0_3_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_6458-8_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6458-8_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6458-8_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6458-8_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6458-8_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6458-8_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6458-8_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6458-8_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6458-8_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6458-8_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6458-8_0_3_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_6458-8_0_3_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_6458-8_0_3_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_6458-8_0_3_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_6458-8_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6458-8_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6458-8_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6458-8_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6458-8_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6458-8_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6458-8_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6458-8_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6458-8_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_6458-8_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_6458-8_0_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_6458-8_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6458-8_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_6458-8_0_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_6458-8_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6458-8_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6458-8_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6458-8_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_6458-8_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_6458-8_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6458-8_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_6458-8_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_6458-8_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_6458-8_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6458-8_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_6458-8_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_6458-8_0_3_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_6458-8_0_3_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_6458-8_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_6458-8_0_3_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_6458-8_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_6458-8_0_3_node_104 | 0.4 | n |  | TRUE
86 | bus_LV_6458-8_0_3_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_6458-8_0_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_6458-8_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_6458-8_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_6458-8_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_6458-8_0_3_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_6458-8_0_3_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_6458-8_0_3_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_6458-8_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_6458-8_0_3_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_6458-8_0_3_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_6458-8_0_3_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_6458-8_0_3_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_6458-8_0_3_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_6458-8_0_3_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_6458-8_0_3_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_6458-8_0_3_node_94 | 0.4 | n |  | TRUE
103 | bus_MV_328_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-8_0_3_load_0 | 0 | 0.0032595 | 0.00081692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-8_0_3_load_6 | 6 | 0.00051632 | 0.0001294 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-8_0_3_load_103 | 7 | 0.00053496 | 0.00013407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-8_0_3_load_36 | 8 | 0.00050841 | 0.00012742 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-8_0_3_load_7 | 9 | 0.004799 | 0.0012028 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-8_0_3_load_21 | 13 | 0.00089544 | 0.00022442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-8_0_3_load_98 | 15 | 0.0037692 | 0.00094466 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-8_0_3_load_95 | 17 | 0.00093979 | 0.00023553 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-8_0_3_load_37 | 18 | 0.0026295 | 0.00065903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-8_0_3_load_24 | 20 | 0.00051857 | 0.00012997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-8_0_3_load_12 | 22 | 0.0022226 | 0.00055703 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-8_0_3_load_105 | 25 | 0.0056989 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-8_0_3_load_18 | 26 | 0.0020286 | 0.00050842 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-8_0_3_load_40 | 28 | 0.0021 | 0.00052632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-8_0_3_load_39 | 31 | 0.0043932 | 0.001101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-8_0_3_load_20 | 32 | 0.00075718 | 0.00018977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-8_0_3_load_93 | 33 | 0.0012369 | 0.00030998 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-8_0_3_load_38 | 34 | 0.0051104 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-8_0_3_load_25 | 35 | 0.00042404 | 0.00010627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-8_0_3_load_19 | 36 | 0.0012885 | 0.00032294 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-8_0_3_load_43 | 37 | 0.00099791 | 0.0002501 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-8_0_3_load_99 | 39 | 0.0012703 | 0.00031836 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-8_0_3_load_26 | 40 | 0.00041667 | 0.00010443 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-8_0_3_load_28 | 42 | 0.00077676 | 0.00019468 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-8_0_3_load_29 | 43 | 0.0002993 | 7.5013e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-8_0_3_load_31 | 45 | 0.0016194 | 0.00040586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-8_0_3_load_32 | 46 | 0.0043468 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-8_0_3_load_34 | 48 | 0.0019736 | 0.00049463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-8_0_3_load_106 | 50 | 0.0034307 | 0.00085982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-8_0_3_load_102 | 51 | 0.00070251 | 0.00017607 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-8_0_3_load_86 | 52 | 0.0011638 | 0.00029166 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-8_0_3_load_45 | 54 | 0.0010387 | 0.00026033 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-8_0_3_load_48 | 57 | 0.0015097 | 0.00037837 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-8_0_3_load_49 | 58 | 0.0018685 | 0.0004683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-8_0_3_load_50 | 59 | 0.00061275 | 0.00015357 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-8_0_3_load_51 | 60 | 0.0010403 | 0.00026072 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-8_0_3_load_53 | 62 | 0.0010291 | 0.00025791 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-8_0_3_load_67 | 63 | 0.0011188 | 0.00028039 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-8_0_3_load_73 | 66 | 0.00087262 | 0.0002187 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-8_0_3_load_55 | 68 | 0.0013666 | 0.0003425 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-8_0_3_load_56 | 69 | 0.00042884 | 0.00010748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-8_0_3_load_57 | 70 | 0.00075669 | 0.00018964 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-8_0_3_load_58 | 71 | 0.00030766 | 7.7108e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-8_0_3_load_59 | 72 | 0.0011326 | 0.00028385 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-8_0_3_load_60 | 73 | 0.0024815 | 0.00062193 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-8_0_3_load_74 | 74 | 0.00038224 | 9.5799e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-8_0_3_load_76 | 76 | 0.0023887 | 0.00059868 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-8_0_3_load_61 | 78 | 0.0019051 | 0.00047746 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-8_0_3_load_62 | 79 | 0.00087847 | 0.00022016 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-8_0_3_load_63 | 80 | 0.00059482 | 0.00014908 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-8_0_3_load_64 | 81 | 0.0033848 | 0.00084831 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-8_0_3_load_65 | 82 | 0.0017157 | 0.00043 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-8_0_3_load_66 | 83 | 0.0019573 | 0.00049054 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-8_0_3_load_104 | 85 | 0.0010862 | 0.00027223 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-8_0_3_load_71 | 86 | 0.00048572 | 0.00012173 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-8_0_3_load_72 | 87 | 0.0017422 | 0.00043663 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-8_0_3_load_83 | 88 | 0.0016166 | 0.00040515 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-8_0_3_load_88 | 89 | 0.0026277 | 0.00065856 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-8_0_3_load_78 | 91 | 0.0023375 | 0.00058584 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6458-8_0_3_load_80 | 92 | 0.0034696 | 0.00086955 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6458-8_0_3_load_81 | 93 | 0.0024116 | 0.00060442 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6458-8_0_3_load_84 | 94 | 0.0031905 | 0.0007996 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6458-8_0_3_load_85 | 95 | 0.0021692 | 0.00054366 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6458-8_0_3_load_97 | 96 | 0.0014721 | 0.00036895 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6458-8_0_3_load_96 | 97 | 0.0017437 | 0.00043701 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6458-8_0_3_load_89 | 98 | 0.0010095 | 0.000253 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6458-8_0_3_load_90 | 99 | 0.0058593 | 0.0014685 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6458-8_0_3_load_91 | 100 | 0.0020288 | 0.00050846 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6458-8_0_3_load_92 | 101 | 0.011751 | 0.0029451 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6458-8_0_3_load_94 | 102 | 0.00040096 | 0.00010049 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 101 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-8_0_3_line_0 |  | 0 | 1 | 0.018387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-8_0_3_line_1 |  | 1 | 2 | 0.008051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6458-8_0_3_line_2 |  | 1 | 3 | 0.04967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-8_0_3_line_3 |  | 1 | 4 | 0.051602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6458-8_0_3_line_4 |  | 2 | 5 | 0.013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6458-8_0_3_line_5 |  | 2 | 6 | 0.050472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6458-8_0_3_line_6 |  | 3 | 7 | 0.020969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-8_0_3_line_7 |  | 4 | 8 | 0.21837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6458-8_0_3_line_8 |  | 5 | 9 | 0.042912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6458-8_0_3_line_9 |  | 6 | 10 | 0.017347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6458-8_0_3_line_10 |  | 9 | 19 | 0.037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-8_0_3_line_11 |  | 10 | 20 | 0.038458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6458-8_0_3_line_12 |  | 10 | 21 | 0.086134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6458-8_0_3_line_13 |  | 11 | 12 | 0.37217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-8_0_3_line_14 |  | 11 | 13 | 0.059634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6458-8_0_3_line_15 |  | 12 | 18 | 0.044506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-8_0_3_line_16 |  | 13 | 32 | 0.034065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6458-8_0_3_line_17 |  | 14 | 15 | 0.061024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6458-8_0_3_line_18 |  | 14 | 16 | 0.23284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-8_0_3_line_19 |  | 14 | 17 | 0.027382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6458-8_0_3_line_20 |  | 15 | 24 | 0.091873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6458-8_0_3_line_21 |  | 16 | 27 | 0.083745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-8_0_3_line_22 |  | 16 | 28 | 0.6123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6458-8_0_3_line_23 |  | 17 | 33 | 0.0065283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6458-8_0_3_line_24 |  | 18 | 34 | 0.014604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-8_0_3_line_25 |  | 19 | 22 | 0.005679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6458-8_0_3_line_26 |  | 20 | 35 | 0.023648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-8_0_3_line_27 |  | 21 | 25 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-8_0_3_line_28 |  | 22 | 23 | 0.046767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-8_0_3_line_29 |  | 23 | 26 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6458-8_0_3_line_30 |  | 23 | 24 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-8_0_3_line_31 |  | 26 | 36 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-8_0_3_line_32 |  | 27 | 37 | 0.24514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6458-8_0_3_line_33 |  | 28 | 31 | 0.0044851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-8_0_3_line_34 |  | 29 | 30 | 0.59214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6458-8_0_3_line_35 |  | 29 | 31 | 0.04017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-8_0_3_line_36 |  | 30 | 38 | 0.1478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-8_0_3_line_37 |  | 30 | 39 | 0.090447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-8_0_3_line_38 |  | 32 | 36 | 0.037973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6458-8_0_3_line_39 |  | 33 | 100 | 0.048325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6458-8_0_3_line_40 |  | 35 | 40 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-8_0_3_line_41 |  | 38 | 51 | 0.068386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-8_0_3_line_42 |  | 40 | 41 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-8_0_3_line_43 |  | 41 | 42 | 0.030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-8_0_3_line_44 |  | 41 | 43 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-8_0_3_line_45 |  | 42 | 44 | 0.28169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-8_0_3_line_46 |  | 44 | 45 | 0.029328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-8_0_3_line_47 |  | 45 | 46 | 0.032949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-8_0_3_line_48 |  | 46 | 47 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-8_0_3_line_49 |  | 47 | 48 | 0.044745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-8_0_3_line_50 |  | 47 | 49 | 0.38731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-8_0_3_line_51 |  | 49 | 50 | 0.1722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-8_0_3_line_52 |  | 52 | 53 | 0.07592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-8_0_3_line_53 |  | 53 | 89 | 0.22764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-8_0_3_line_54 |  | 54 | 55 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-8_0_3_line_55 |  | 55 | 56 | 0.008659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-8_0_3_line_56 |  | 55 | 57 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-8_0_3_line_57 |  | 56 | 58 | 0.031931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-8_0_3_line_58 |  | 56 | 59 | 0.01007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6458-8_0_3_line_59 |  | 57 | 60 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-8_0_3_line_60 |  | 58 | 61 | 0.068757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-8_0_3_line_61 |  | 60 | 62 | 0.018657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-8_0_3_line_62 |  | 61 | 63 | 0.052562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-8_0_3_line_63 |  | 61 | 64 | 0.091226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-8_0_3_line_64 |  | 62 | 65 | 0.069597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-8_0_3_line_65 |  | 64 | 66 | 0.02641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-8_0_3_line_66 |  | 64 | 67 | 0.007078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-8_0_3_line_67 |  | 65 | 68 | 0.03826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-8_0_3_line_68 |  | 65 | 69 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-8_0_3_line_69 |  | 65 | 70 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-8_0_3_line_70 |  | 66 | 85 | 0.027449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-8_0_3_line_71 |  | 67 | 84 | 0.029187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-8_0_3_line_72 |  | 67 | 83 | 0.071536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-8_0_3_line_73 |  | 68 | 71 | 4.4073e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-8_0_3_line_74 |  | 69 | 72 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-8_0_3_line_75 |  | 70 | 73 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-8_0_3_line_76 |  | 71 | 74 | 0.010219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-8_0_3_line_77 |  | 72 | 75 | 0.048135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-8_0_3_line_78 |  | 75 | 76 | 0.080672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-8_0_3_line_79 |  | 75 | 77 | 0.064598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6458-8_0_3_line_80 |  | 77 | 91 | 0.15957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6458-8_0_3_line_81 |  | 78 | 79 | 0.048613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6458-8_0_3_line_82 |  | 78 | 80 | 0.0059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6458-8_0_3_line_83 |  | 79 | 81 | 0.022093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6458-8_0_3_line_84 |  | 80 | 82 | 0.031645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6458-8_0_3_line_85 |  | 82 | 83 | 0.0020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6458-8_0_3_line_86 |  | 84 | 86 | 0.001473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6458-8_0_3_line_87 |  | 84 | 87 | 0.027743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6458-8_0_3_line_88 |  | 86 | 88 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6458-8_0_3_line_89 |  | 87 | 89 | 0.070709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6458-8_0_3_line_90 |  | 88 | 90 | 0.1293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6458-8_0_3_line_91 |  | 90 | 94 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6458-8_0_3_line_92 |  | 90 | 93 | 0.051595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6458-8_0_3_line_93 |  | 92 | 93 | 0.043323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6458-8_0_3_line_94 |  | 94 | 95 | 0.027029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6458-8_0_3_line_95 |  | 95 | 96 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6458-8_0_3_line_96 |  | 96 | 97 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6458-8_0_3_line_97 |  | 97 | 102 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6458-8_0_3_line_98 |  | 98 | 99 | 0.15573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_6458-8_0_3_line_99 |  | 98 | 100 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_6458-8_0_3_line_100 |  | 99 | 101 | 0.14441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_6458-8_0_3_line_101 |  | 101 | 102 | 0.15739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-8_0_3_trafo_92 | 0.63 MVA 20/0.4 kV | 103 | 101 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2563431.816 | 1208524.7033 | 2563439.8096 | 1208511.7246 | 2563441.184 | 1208508.8967
1 | 2563424.0528 | 1208526.9189 | 2563431.816 | 1208524.7033
2 | 2563431.816 | 1208524.7033 | 2563440.6434 | 1208523.7041 | 2563462.0121 | 1208488.9642
3 | 2563431.816 | 1208524.7033 | 2563440.6434 | 1208523.7041 | 2563458.9927 | 1208523.3912 | 2563482.0236 | 1208515.4342
4 | 2563424.0528 | 1208526.9189 | 2563412.0696 | 1208520.3444
5 | 2563424.0528 | 1208526.9189 | 2563423.6682 | 1208549.6898 | 2563424.1293 | 1208561.6271 | 2563422.9235 | 1208577.3321
6 | 2563462.0121 | 1208488.9642 | 2563444.7348 | 1208477.0818
7 | 2563482.0236 | 1208515.4342 | 2563514.7825 | 1208521.9259 | 2563530.172 | 1208545.9675 | 2563546.1453 | 1208556.1421 | 2563560.7388 | 1208560.7442 | 2563571.9314 | 1208558.6634 | 2563597.4998 | 1208561.642 | 2563634.9911 | 1208572.5745 | 2563671.1342 | 1208583.082 | 2563679.4749 | 1208583.7261
8 | 2563412.0696 | 1208520.3444 | 2563392.9304 | 1208512.1463 | 2563375.268 | 1208498.8787
9 | 2563421.5956 | 1208594.6282 | 2563422.9235 | 1208577.3321
10 | 2563341.2569 | 1208484.5931 | 2563364.2903 | 1208490.6325 | 2563375.268 | 1208498.8787
11 | 2563421.5956 | 1208594.6282 | 2563435.1116 | 1208604.4841 | 2563453.537 | 1208616.0033
12 | 2563368.6886 | 1208587.6162 | 2563368.6343 | 1208581.2685 | 2563365.962 | 1208578.1387 | 2563367.8507 | 1208572.5239 | 2563370.7186 | 1208569.1377 | 2563373.7801 | 1208571.2645 | 2563376.0031 | 1208569.3275 | 2563381.2823 | 1208572.3523 | 2563386.037 | 1208566.742 | 2563408.6428 | 1208584.88 | 2563421.5956 | 1208594.6282
13 | 2562984.9007 | 1208022.5022 | 2562987.909 | 1208029.4541 | 2563044.8276 | 1208092.7031 | 2563068.787 | 1208122.6937 | 2563089.3101 | 1208138.0084 | 2563112.2459 | 1208173.4086 | 2563144.2058 | 1208216.2128 | 2563159.0558 | 1208223.9919 | 2563173.2122 | 1208246.217 | 2563193.8633 | 1208268.8132 | 2563210.1487 | 1208312.0372
14 | 2563210.1487 | 1208312.0372 | 2563211.448 | 1208320.534 | 2563214.2622 | 1208330.5778 | 2563215.5452 | 1208340.1198 | 2563217.4438 | 1208350.8809 | 2563223.6583 | 1208366.1956 | 2563225.2184 | 1208369.3568
15 | 2562984.9007 | 1208022.5022 | 2562974.2601 | 1208014.4638 | 2562967.5584 | 1208000.4197 | 2562954.7376 | 1207991.5165
16 | 2563243.0823 | 1208398.2396 | 2563237.0592 | 1208390.5044 | 2563229.8557 | 1208378.7534 | 2563225.2184 | 1208369.3568
17 | 2563157.0608 | 1208395.313 | 2563167.2245 | 1208397.707 | 2563180.3912 | 1208406.2637 | 2563207.7557 | 1208427.8919
18 | 2562955.3932 | 1208327.4594 | 2562975.967 | 1208332.6677 | 2563041.1071 | 1208340.6341 | 2563098.4596 | 1208335.92 | 2563157.5531 | 1208381.5243 | 2563157.0608 | 1208395.313
19 | 2563157.0608 | 1208395.313 | 2563148.3118 | 1208421.2597
20 | 2563279.8338 | 1208484.8608 | 2563207.7557 | 1208427.8919
21 | 2562907.8271 | 1208382.5315 | 2562922.5675 | 1208387.3646 | 2562955.3932 | 1208327.4594
22 | 2562955.3932 | 1208327.4594 | 2562902.9184 | 1208303.6727 | 2562813.3361 | 1208250.6793 | 2562751.061 | 1208191.7462 | 2562676.7095 | 1208102.1498 | 2562572.1216 | 1207978.9808 | 2562542.9962 | 1207917.5068 | 2562528.3428 | 1207905.6871
23 | 2563148.3118 | 1208421.2597 | 2563148.3118 | 1208421.2597 | 2563142.3649 | 1208423.953
24 | 2562942.7423 | 1207983.1866 | 2562954.7376 | 1207991.5165
25 | 2563341.2569 | 1208484.5931 | 2563336.1586 | 1208482.0915
26 | 2563474.6046 | 1208626.6994 | 2563459.8348 | 1208619.6297 | 2563456.9827 | 1208618.1575 | 2563453.537 | 1208616.0033
27 | 2563365.8973 | 1208608.3675 | 2563368.6886 | 1208587.6162
28 | 2563293.9689 | 1208461.9161 | 2563321.4315 | 1208474.8653 | 2563336.1586 | 1208482.0915
29 | 2563293.9689 | 1208461.9161 | 2563296.458 | 1208453.8072 | 2563289.0677 | 1208446.3413
30 | 2563293.9689 | 1208461.9161 | 2563288.0897 | 1208470.0903 | 2563283.8556 | 1208479.9777 | 2563279.8338 | 1208484.8608
31 | 2563289.0677 | 1208446.3413 | 2563268.9425 | 1208426.0099
32 | 2563022.2624 | 1208595.2073 | 2563014.3454 | 1208578.7805 | 2563002.5379 | 1208565.0682 | 2562996.4132 | 1208547.1294 | 2562990.2772 | 1208527.3897 | 2562968.0196 | 1208476.2879 | 2562938.0234 | 1208438.7087 | 2562909.5207 | 1208399.3305 | 2562907.8271 | 1208382.5315
33 | 2562524.8518 | 1207902.8712 | 2562528.3428 | 1207905.6871
34 | 2561992.5493 | 1207624.1511 | 2562007.9687 | 1207611.0674 | 2562015.1224 | 1207607.353 | 2562021.5286 | 1207603.2654 | 2562032.0779 | 1207600.263 | 2562043.671 | 1207598.7883 | 2562051.926 | 1207599.6583 | 2562060.4787 | 1207603.0947 | 2562069.6627 | 1207610.129 | 2562183.3199 | 1207712.5309 | 2562295.8212 | 1207768.7048 | 2562493.5852 | 1207877.6508
35 | 2562493.5852 | 1207877.6508 | 2562524.8518 | 1207902.8712
36 | 2561992.5493 | 1207624.1511 | 2561958.5704 | 1207625.3021 | 2561854.1188 | 1207579.1998
37 | 2561992.5493 | 1207624.1511 | 2561986.6008 | 1207630.8484 | 2561987.7939 | 1207639.09 | 2562018.0922 | 1207648.5575 | 2562028.474 | 1207666.9796 | 2562041.1278 | 1207682.819
38 | 2563268.9425 | 1208426.0099 | 2563256.3269 | 1208413.2651 | 2563245.795 | 1208401.7236 | 2563243.0823 | 1208398.2396
39 | 2563096.879 | 1208439.8092 | 2563122.9007 | 1208432.7681 | 2563142.3649 | 1208423.953
40 | 2563474.6046 | 1208626.6994 | 2563490.4819 | 1208634.2992
41 | 2561854.1188 | 1207579.1998 | 2561847.8513 | 1207585.9216 | 2561840.6337 | 1207598.6306 | 2561839.5179 | 1207607.2316 | 2561849.3981 | 1207622.0211 | 2561859.3666 | 1207628.0607 | 2561856.7743 | 1207634.0474
42 | 2563517.628 | 1208648.7251 | 2563504.048 | 1208640.7927 | 2563490.4819 | 1208634.2992
43 | 2563517.628 | 1208648.7251 | 2563544.5873 | 1208663.6539
44 | 2563517.628 | 1208648.7251 | 2563528.7521 | 1208661.542
45 | 2563775.1072 | 1208822.9627 | 2563768.3961 | 1208818.1563 | 2563750.6441 | 1208809.0592 | 2563703.2522 | 1208784.8677 | 2563687.7617 | 1208775.19 | 2563661.5676 | 1208753.0039 | 2563630.3388 | 1208724.256 | 2563593.2708 | 1208694.1544 | 2563574.8269 | 1208681.4267 | 2563558.3143 | 1208671.2553 | 2563544.5873 | 1208663.6539
46 | 2563775.1072 | 1208822.9627 | 2563799.345 | 1208839.4758
47 | 2563799.345 | 1208839.4758 | 2563814.0369 | 1208849.4854 | 2563826.4987 | 1208858.139
48 | 2563836.1292 | 1208864.8265 | 2563826.4987 | 1208858.139
49 | 2563836.1292 | 1208864.8265 | 2563859.5881 | 1208881.16 | 2563871.5941 | 1208891.9764
50 | 2563983.0487 | 1208770.0815 | 2564018.3948 | 1208890.414 | 2564011.0757 | 1208948.3913 | 2563966.7484 | 1208898.9314 | 2563884.6201 | 1208866.155 | 2563867.5806 | 1208864.1906 | 2563836.1292 | 1208864.8265
51 | 2563829.7637 | 1208695.5799 | 2563941.389 | 1208735.8254 | 2563983.0487 | 1208770.0815
52 | 2562988.4781 | 1208664.6347 | 2562950.9462 | 1208628.9812 | 2562930.1882 | 1208616.6332
53 | 2562988.4781 | 1208664.6347 | 2563017.4985 | 1208692.2144 | 2563081.2622 | 1208720.3346 | 2563144.9629 | 1208762.9418 | 2563176.0048 | 1208790.1489
54 | 2563323.8549 | 1208998.5378 | 2563320.4243 | 1209011.5973
55 | 2563315.2577 | 1208997.3123 | 2563323.8549 | 1208998.5378
56 | 2563323.8549 | 1208998.5378 | 2563346.8719 | 1209001.8156
57 | 2563315.2577 | 1208997.3123 | 2563285.4233 | 1208985.9323
58 | 2563315.2577 | 1208997.3123 | 2563311.2573 | 1209006.5538
59 | 2563346.8719 | 1209001.8156 | 2563362.6247 | 1209004.0589
60 | 2563221.1812 | 1208961.428 | 2563285.4233 | 1208985.9323
61 | 2563381.0957 | 1209006.6893 | 2563362.6247 | 1209004.0589
62 | 2563221.1812 | 1208961.428 | 2563172.1089 | 1208942.2316
63 | 2563221.1812 | 1208961.428 | 2563238.6001 | 1208889.5127 | 2563245.435 | 1208873.6948
64 | 2563449.8061 | 1209017.6627 | 2563423.6804 | 1209012.7537 | 2563381.0957 | 1209006.6893
65 | 2563245.435 | 1208873.6948 | 2563225.7163 | 1208873.661 | 2563219.9019 | 1208870.3502
66 | 2563248.2454 | 1208867.1959 | 2563245.435 | 1208873.6948
67 | 2563449.8061 | 1209017.6627 | 2563447.9346 | 1209000.0864 | 2563440.5183 | 1208986.9244 | 2563435.2584 | 1208985.3977
68 | 2563449.8061 | 1209017.6627 | 2563462.837 | 1209020.0332
69 | 2563449.8061 | 1209017.6627 | 2563439.9685 | 1209033.5602
70 | 2563196.0493 | 1208856.7681 | 2563219.9019 | 1208870.3502
71 | 2563259.8319 | 1208840.398 | 2563248.2454 | 1208867.1959
72 | 2563248.2454 | 1208867.1959 | 2563311.8988 | 1208899.8403
73 | 2563435.216 | 1208985.3854 | 2563435.2584 | 1208985.3977
74 | 2563486.7505 | 1209024.3835 | 2563462.837 | 1209020.0332
75 | 2563439.9685 | 1209033.5602 | 2563434.5 | 1209042.3973
76 | 2563425.4025 | 1208982.537 | 2563435.216 | 1208985.3854
77 | 2563534.1083 | 1209032.9987 | 2563486.7505 | 1209024.3835
78 | 2563534.1083 | 1209032.9987 | 2563540.4745 | 1208998.9069 | 2563553.2477 | 1208954.7257
79 | 2563534.1083 | 1209032.9987 | 2563581.6875 | 1209076.8323
80 | 2563581.6875 | 1209076.8323 | 2563694.0185 | 1209001.9366 | 2563718.8968 | 1209002.9966
81 | 2563348.637 | 1208914.4122 | 2563359.5336 | 1208917.9609 | 2563374.7984 | 1208884.0888
82 | 2563348.637 | 1208914.4122 | 2563342.9802 | 1208912.57
83 | 2563383.8756 | 1208863.947 | 2563374.7984 | 1208884.0888
84 | 2563313.721 | 1208900.7748 | 2563325.8292 | 1208906.9845 | 2563342.9802 | 1208912.57
85 | 2563313.721 | 1208900.7748 | 2563311.8988 | 1208899.8403
86 | 2563259.8319 | 1208840.398 | 2563260.5015 | 1208839.086
87 | 2563259.8319 | 1208840.398 | 2563243.1859 | 1208834.4863 | 2563234.4898 | 1208829.3924
88 | 2563265.1537 | 1208820.4784 | 2563266.0133 | 1208828.2863 | 2563260.5015 | 1208839.086
89 | 2563234.4898 | 1208829.3924 | 2563193.1531 | 1208805.1788 | 2563176.0048 | 1208790.1489
90 | 2563273.3413 | 1208711.341 | 2563241.4632 | 1208735.3182 | 2563260.6013 | 1208779.125 | 2563265.1537 | 1208820.4784
91 | 2563273.3413 | 1208711.341 | 2563287.1263 | 1208700.9733
92 | 2563273.3413 | 1208711.341 | 2563302.8034 | 1208744.2225 | 2563309.6379 | 1208747.1753
93 | 2563351.5179 | 1208757.7917 | 2563316.706 | 1208750.2291 | 2563309.6379 | 1208747.1753
94 | 2563287.1263 | 1208700.9733 | 2563298.9166 | 1208692.1056 | 2563311.1902 | 1208692.3487
95 | 2563311.1902 | 1208692.3487 | 2563334.2803 | 1208692.8059
96 | 2563334.2803 | 1208692.8059 | 2563342.5867 | 1208692.9703 | 2563346.2752 | 1208692.7747
97 | 2563364.8477 | 1208691.7899 | 2563346.2752 | 1208692.7747
98 | 2563087.0531 | 1208446.8161 | 2563079.5381 | 1208463.3766 | 2563081.3442 | 1208477.5735 | 2563087.59 | 1208488.0852 | 2563111.7552 | 1208518.4526 | 2563148.4868 | 1208556.2689 | 2563160.9132 | 1208565.6306 | 2563164.1777 | 1208567.8043
99 | 2563087.0531 | 1208446.8161 | 2563089.3025 | 1208441.8593 | 2563096.879 | 1208439.8092
100 | 2563164.1777 | 1208567.8043 | 2563178.8289 | 1208577.5599 | 2563206.7387 | 1208585.4362 | 2563251.6998 | 1208613.0297 | 2563280.9789 | 1208626.0231 | 2563293.9285 | 1208624.6334
101 | 2563364.8477 | 1208691.7899 | 2563378.881 | 1208691.0458 | 2563395.2208 | 1208689.1442 | 2563395.0001 | 1208684.1649 | 2563377.0072 | 1208662.0297 | 2563351.3482 | 1208640.6087 | 2563325.3628 | 1208630.3741 | 2563295.4889 | 1208624.466 | 2563293.9285 | 1208624.6334

## bus_geodata
| x | y | coords
0 | 2563441.184 | 1208508.8967
1 | 2563431.816 | 1208524.7033
2 | 2563424.0528 | 1208526.9189
3 | 2563462.0121 | 1208488.9642
4 | 2563482.0236 | 1208515.4342
5 | 2563412.0696 | 1208520.3444
6 | 2563422.9235 | 1208577.3321
7 | 2563444.7348 | 1208477.0818
8 | 2563679.4749 | 1208583.7261
9 | 2563375.268 | 1208498.8787
10 | 2563421.5956 | 1208594.6282
11 | 2563210.1487 | 1208312.0372
12 | 2562984.9007 | 1208022.5022
13 | 2563225.2184 | 1208369.3568
14 | 2563157.0608 | 1208395.313
15 | 2563207.7557 | 1208427.8919
16 | 2562955.3932 | 1208327.4594
17 | 2563148.3118 | 1208421.2597
18 | 2562954.7376 | 1207991.5165
19 | 2563341.2569 | 1208484.5931
20 | 2563453.537 | 1208616.0033
21 | 2563368.6886 | 1208587.6162
22 | 2563336.1586 | 1208482.0915
23 | 2563293.9689 | 1208461.9161
24 | 2563279.8338 | 1208484.8608
25 | 2563365.8973 | 1208608.3675
26 | 2563289.0677 | 1208446.3413
27 | 2562907.8271 | 1208382.5315
28 | 2562528.3428 | 1207905.6871
29 | 2562493.5852 | 1207877.6508
30 | 2561992.5493 | 1207624.1511
31 | 2562524.8518 | 1207902.8712
32 | 2563243.0823 | 1208398.2396
33 | 2563142.3649 | 1208423.953
34 | 2562942.7423 | 1207983.1866
35 | 2563474.6046 | 1208626.6994
36 | 2563268.9425 | 1208426.0099
37 | 2563022.2624 | 1208595.2073
38 | 2561854.1188 | 1207579.1998
39 | 2562041.1278 | 1207682.819
40 | 2563490.4819 | 1208634.2992
41 | 2563517.628 | 1208648.7251
42 | 2563544.5873 | 1208663.6539
43 | 2563528.7521 | 1208661.542
44 | 2563775.1072 | 1208822.9627
45 | 2563799.345 | 1208839.4758
46 | 2563826.4987 | 1208858.139
47 | 2563836.1292 | 1208864.8265
48 | 2563871.5941 | 1208891.9764
49 | 2563983.0487 | 1208770.0815
50 | 2563829.7637 | 1208695.5799
51 | 2561856.7743 | 1207634.0474
52 | 2562930.1882 | 1208616.6332
53 | 2562988.4781 | 1208664.6347
54 | 2563320.4243 | 1209011.5973
55 | 2563323.8549 | 1208998.5378
56 | 2563315.2577 | 1208997.3123
57 | 2563346.8719 | 1209001.8156
58 | 2563285.4233 | 1208985.9323
59 | 2563311.2573 | 1209006.5538
60 | 2563362.6247 | 1209004.0589
61 | 2563221.1812 | 1208961.428
62 | 2563381.0957 | 1209006.6893
63 | 2563172.1089 | 1208942.2316
64 | 2563245.435 | 1208873.6948
65 | 2563449.8061 | 1209017.6627
66 | 2563219.9019 | 1208870.3502
67 | 2563248.2454 | 1208867.1959
68 | 2563435.2584 | 1208985.3977
69 | 2563462.837 | 1209020.0332
70 | 2563439.9685 | 1209033.5602
71 | 2563435.216 | 1208985.3854
72 | 2563486.7505 | 1209024.3835
73 | 2563434.5 | 1209042.3973
74 | 2563425.4025 | 1208982.537
75 | 2563534.1083 | 1209032.9987
76 | 2563553.2477 | 1208954.7257
77 | 2563581.6875 | 1209076.8323
78 | 2563348.637 | 1208914.4122
79 | 2563374.7984 | 1208884.0888
80 | 2563342.9802 | 1208912.57
81 | 2563383.8756 | 1208863.947
82 | 2563313.721 | 1208900.7748
83 | 2563311.8988 | 1208899.8403
84 | 2563259.8319 | 1208840.398
85 | 2563196.0493 | 1208856.7681
86 | 2563260.5015 | 1208839.086
87 | 2563234.4898 | 1208829.3924
88 | 2563265.1537 | 1208820.4784
89 | 2563176.0048 | 1208790.1489
90 | 2563273.3413 | 1208711.341
91 | 2563718.8968 | 1209002.9966
92 | 2563351.5179 | 1208757.7917
93 | 2563309.6379 | 1208747.1753
94 | 2563287.1263 | 1208700.9733
95 | 2563311.1902 | 1208692.3487
96 | 2563334.2803 | 1208692.8059
97 | 2563346.2752 | 1208692.7747
98 | 2563087.0531 | 1208446.8161
99 | 2563164.1777 | 1208567.8043
100 | 2563096.879 | 1208439.8092
101 | 2563293.9285 | 1208624.6334
102 | 2563364.8477 | 1208691.7899
103 | 2563273.3413 | 1208711.341

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1