## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6458-97_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6458-97_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6458-97_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6458-97_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6458-97_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6458-97_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6458-97_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6458-97_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6458-97_0_5_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_6458-97_0_5_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_6458-97_0_5_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_6458-97_0_5_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_6458-97_0_5_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_6458-97_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6458-97_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6458-97_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6458-97_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6458-97_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_6458-97_0_5_node_109 | 0.4 | n |  | TRUE
19 | bus_LV_6458-97_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6458-97_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6458-97_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6458-97_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6458-97_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6458-97_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6458-97_0_5_node_113 | 0.4 | n |  | TRUE
26 | bus_LV_6458-97_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6458-97_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6458-97_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6458-97_0_5_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_6458-97_0_5_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_6458-97_0_5_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_6458-97_0_5_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_6458-97_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_6458-97_0_5_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_6458-97_0_5_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_6458-97_0_5_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_6458-97_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6458-97_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6458-97_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6458-97_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6458-97_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6458-97_0_5_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_6458-97_0_5_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_6458-97_0_5_node_117 | 0.4 | n |  | TRUE
45 | bus_LV_6458-97_0_5_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_6458-97_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6458-97_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6458-97_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6458-97_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6458-97_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6458-97_0_5_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_6458-97_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_6458-97_0_5_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_6458-97_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6458-97_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6458-97_0_5_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_6458-97_0_5_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_6458-97_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6458-97_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_6458-97_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_6458-97_0_5_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_6458-97_0_5_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_6458-97_0_5_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_6458-97_0_5_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_6458-97_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_6458-97_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_6458-97_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_6458-97_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_6458-97_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_6458-97_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_6458-97_0_5_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_6458-97_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_6458-97_0_5_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_6458-97_0_5_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_6458-97_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_6458-97_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_6458-97_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_6458-97_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6458-97_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_6458-97_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_6458-97_0_5_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_6458-97_0_5_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_6458-97_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_6458-97_0_5_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_6458-97_0_5_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_6458-97_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_6458-97_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_6458-97_0_5_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_6458-97_0_5_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_6458-97_0_5_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_6458-97_0_5_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_6458-97_0_5_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_6458-97_0_5_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_6458-97_0_5_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_6458-97_0_5_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_6458-97_0_5_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_6458-97_0_5_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_6458-97_0_5_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_6458-97_0_5_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_6458-97_0_5_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_6458-97_0_5_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_6458-97_0_5_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_6458-97_0_5_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_6458-97_0_5_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_6458-97_0_5_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_6458-97_0_5_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_6458-97_0_5_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_6458-97_0_5_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_6458-97_0_5_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_6458-97_0_5_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_6458-97_0_5_node_106 | 0.4 | n |  | TRUE
112 | bus_LV_6458-97_0_5_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_6458-97_0_5_node_108 | 0.4 | n |  | TRUE
114 | bus_MV_327_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6458-97_0_5_load_0 | 0 | 0.00070923 | 0.00017775 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6458-97_0_5_load_1 | 1 | 0.00062419 | 0.00015644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6458-97_0_5_load_2 | 2 | 0.0017373 | 0.00043541 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6458-97_0_5_load_11 | 6 | 0.0025207 | 0.00063174 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6458-97_0_5_load_10 | 7 | 0.00049195 | 0.00012329 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6458-97_0_5_load_58 | 8 | 0.00052948 | 0.0001327 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6458-97_0_5_load_19 | 10 | 0.003222 | 0.00080752 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6458-97_0_5_load_57 | 11 | 0.0022075 | 0.00055326 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6458-97_0_5_load_62 | 12 | 0.0005058 | 0.00012677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6458-97_0_5_load_6 | 13 | 0.0024686 | 0.00061869 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6458-97_0_5_load_7 | 14 | 0.0024683 | 0.00061861 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6458-97_0_5_load_8 | 15 | 0.0017861 | 0.00044763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6458-97_0_5_load_9 | 16 | 0.0032427 | 0.00081268 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6458-97_0_5_load_22 | 17 | 0.0013315 | 0.00033371 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6458-97_0_5_load_12 | 20 | 0.0031131 | 0.00078022 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6458-97_0_5_load_13 | 21 | 0.0029544 | 0.00074045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6458-97_0_5_load_14 | 22 | 0.0050495 | 0.0012655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6458-97_0_5_load_15 | 23 | 0.0021243 | 0.0005324 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6458-97_0_5_load_16 | 24 | 0.0023511 | 0.00058925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6458-97_0_5_load_17 | 26 | 0.004573 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6458-97_0_5_load_18 | 27 | 0.0028546 | 0.00071544 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6458-97_0_5_load_21 | 28 | 0.0022419 | 0.00056188 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6458-97_0_5_load_91 | 29 | 0.0026416 | 0.00066205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6458-97_0_5_load_64 | 30 | 0.0031822 | 0.00079754 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6458-97_0_5_load_90 | 31 | 0.0030944 | 0.00077553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6458-97_0_5_load_65 | 33 | 0.0044515 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6458-97_0_5_load_93 | 34 | 0.0056095 | 0.0014059 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6458-97_0_5_load_94 | 35 | 0.010862 | 0.0027224 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6458-97_0_5_load_23 | 37 | 0.0083493 | 0.0020925 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6458-97_0_5_load_24 | 38 | 0.0030987 | 0.00077661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6458-97_0_5_load_26 | 40 | 0.0085864 | 0.002152 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6458-97_0_5_load_116 | 42 | 0.0058761 | 0.0014727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6458-97_0_5_load_99 | 43 | 0.013122 | 0.0032887 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6458-97_0_5_load_117 | 44 | 0.0026006 | 0.00065176 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6458-97_0_5_load_103 | 45 | 0.0022408 | 0.0005616 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6458-97_0_5_load_29 | 46 | 0.024334 | 0.0060987 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6458-97_0_5_load_33 | 49 | 0.0018171 | 0.00045541 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6458-97_0_5_load_86 | 53 | 0.0036776 | 0.0009217 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6458-97_0_5_load_41 | 54 | 0.030076 | 0.0075378 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6458-97_0_5_load_38 | 55 | 0.02287 | 0.0057318 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6458-97_0_5_load_80 | 57 | 0.0025838 | 0.00064757 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6458-97_0_5_load_39 | 58 | 0.006119 | 0.0015336 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6458-97_0_5_load_40 | 59 | 0.0094618 | 0.0023713 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6458-97_0_5_load_35 | 60 | 0.026327 | 0.0065983 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6458-97_0_5_load_85 | 61 | 0.0037625 | 0.00094298 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6458-97_0_5_load_36 | 62 | 0.024106 | 0.0060415 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6458-97_0_5_load_89 | 63 | 0.0080706 | 0.0020227 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6458-97_0_5_load_88 | 64 | 0.00891 | 0.0022331 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6458-97_0_5_load_42 | 65 | 0.042161 | 0.010567 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6458-97_0_5_load_43 | 66 | 0.0054287 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6458-97_0_5_load_46 | 69 | 0.0016318 | 0.00040897 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6458-97_0_5_load_47 | 70 | 0.04311 | 0.010804 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6458-97_0_5_load_48 | 74 | 0.0012045 | 0.00030187 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6458-97_0_5_load_53 | 76 | 0.0017072 | 0.00042788 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6458-97_0_5_load_52 | 77 | 0.0039043 | 0.00097852 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6458-97_0_5_load_68 | 78 | 0.010606 | 0.0026582 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6458-97_0_5_load_67 | 79 | 0.0035705 | 0.00089486 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6458-97_0_5_load_54 | 80 | 0.0025254 | 0.00063292 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6458-97_0_5_load_55 | 81 | 0.003101 | 0.00077717 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6458-97_0_5_load_61 | 82 | 0.002736 | 0.0006857 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6458-97_0_5_load_66 | 83 | 0.0050391 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6458-97_0_5_load_59 | 84 | 0.0028108 | 0.00070444 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6458-97_0_5_load_60 | 85 | 0.0026969 | 0.0006759 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6458-97_0_5_load_69 | 86 | 0.0096855 | 0.0024274 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6458-97_0_5_load_70 | 87 | 0.003263 | 0.00081778 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6458-97_0_5_load_72 | 89 | 0.0020306 | 0.00050892 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6458-97_0_5_load_73 | 90 | 0.0048609 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6458-97_0_5_load_101 | 91 | 0.0063321 | 0.001587 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6458-97_0_5_load_102 | 93 | 0.0027444 | 0.00068781 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6458-97_0_5_load_75 | 94 | 0.0024996 | 0.00062645 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6458-97_0_5_load_76 | 95 | 0.0024007 | 0.00060167 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6458-97_0_5_load_78 | 97 | 0.0034316 | 0.00086005 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6458-97_0_5_load_79 | 98 | 0.0023008 | 0.00057664 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6458-97_0_5_load_87 | 99 | 0.0047318 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6458-97_0_5_load_82 | 100 | 0.010802 | 0.0027072 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6458-97_0_5_load_104 | 101 | 0.0017997 | 0.00045105 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6458-97_0_5_load_84 | 102 | 0.0019155 | 0.00048007 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6458-97_0_5_load_107 | 103 | 0.0013039 | 0.0003268 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6458-97_0_5_load_111 | 104 | 0.0098559 | 0.0024701 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6458-97_0_5_load_110 | 105 | 0.010083 | 0.0025271 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6458-97_0_5_load_95 | 106 | 0.012855 | 0.0032217 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6458-97_0_5_load_97 | 108 | 0.0090209 | 0.0022608 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6458-97_0_5_load_98 | 109 | 0.0089677 | 0.0022475 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6458-97_0_5_load_105 | 112 | 0.0010379 | 0.00026013 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6458-97_0_5_load_108 | 113 | 0.0009062 | 0.00022712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6458-97_0_5_line_0 |  | 0 | 1 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6458-97_0_5_line_1 |  | 0 | 2 | 0.037383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6458-97_0_5_line_2 |  | 1 | 3 | 0.012858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6458-97_0_5_line_3 |  | 3 | 4 | 0.024226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6458-97_0_5_line_4 |  | 3 | 5 | 0.022997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6458-97_0_5_line_5 |  | 4 | 6 | 0.0091063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6458-97_0_5_line_6 |  | 4 | 7 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6458-97_0_5_line_7 |  | 5 | 8 | 0.0092721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6458-97_0_5_line_8 |  | 5 | 9 | 0.028876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6458-97_0_5_line_9 |  | 6 | 10 | 0.010023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6458-97_0_5_line_10 |  | 8 | 11 | 0.0094513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6458-97_0_5_line_11 |  | 9 | 12 | 0.0030735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6458-97_0_5_line_12 |  | 10 | 19 | 0.022628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6458-97_0_5_line_13 |  | 11 | 84 | 0.026517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6458-97_0_5_line_14 |  | 12 | 58 | 0.029257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6458-97_0_5_line_15 |  | 13 | 14 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6458-97_0_5_line_16 |  | 13 | 15 | 0.061195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6458-97_0_5_line_17 |  | 15 | 16 | 0.00057657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6458-97_0_5_line_18 |  | 16 | 17 | 0.021861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6458-97_0_5_line_19 |  | 17 | 18 | 0.017608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6458-97_0_5_line_20 |  | 18 | 36 | 0.0067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6458-97_0_5_line_21 |  | 18 | 25 | 0.006632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6458-97_0_5_line_22 |  | 19 | 28 | 0.011593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6458-97_0_5_line_23 |  | 19 | 29 | 0.029724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6458-97_0_5_line_24 |  | 19 | 27 | 0.031464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6458-97_0_5_line_25 |  | 20 | 21 | 0.012223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6458-97_0_5_line_26 |  | 20 | 22 | 0.006068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6458-97_0_5_line_27 |  | 21 | 23 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6458-97_0_5_line_28 |  | 22 | 24 | 0.014083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6458-97_0_5_line_29 |  | 23 | 25 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6458-97_0_5_line_30 |  | 24 | 26 | 0.0080789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6458-97_0_5_line_31 |  | 26 | 27 | 0.022006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6458-97_0_5_line_32 |  | 28 | 30 | 0.015326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6458-97_0_5_line_33 |  | 29 | 31 | 0.021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6458-97_0_5_line_34 |  | 30 | 33 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6458-97_0_5_line_35 |  | 31 | 32 | 0.008346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6458-97_0_5_line_36 |  | 32 | 34 | 0.0098065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6458-97_0_5_line_37 |  | 32 | 35 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6458-97_0_5_line_38 |  | 33 | 83 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6458-97_0_5_line_39 |  | 36 | 42 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6458-97_0_5_line_40 |  | 36 | 110 | 0.002721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6458-97_0_5_line_41 |  | 37 | 38 | 0.0018507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6458-97_0_5_line_42 |  | 37 | 39 | 0.029027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6458-97_0_5_line_43 |  | 38 | 40 | 0.024836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6458-97_0_5_line_44 |  | 39 | 41 | 0.008269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6458-97_0_5_line_45 |  | 40 | 42 | 0.036272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6458-97_0_5_line_46 |  | 41 | 43 | 0.0049035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6458-97_0_5_line_47 |  | 44 | 45 | 0.0055133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6458-97_0_5_line_48 |  | 45 | 93 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6458-97_0_5_line_49 |  | 46 | 47 | 0.02861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6458-97_0_5_line_50 |  | 46 | 48 | 0.030188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6458-97_0_5_line_51 |  | 47 | 49 | 0.013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6458-97_0_5_line_52 |  | 48 | 50 | 0.02715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6458-97_0_5_line_53 |  | 49 | 51 | 0.0077107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6458-97_0_5_line_54 |  | 50 | 52 | 0.037509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6458-97_0_5_line_55 |  | 50 | 53 | 0.024508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6458-97_0_5_line_56 |  | 51 | 56 | 0.00988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6458-97_0_5_line_57 |  | 51 | 57 | 0.034427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6458-97_0_5_line_58 |  | 52 | 58 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6458-97_0_5_line_59 |  | 52 | 59 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6458-97_0_5_line_60 |  | 52 | 60 | 0.031558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6458-97_0_5_line_61 |  | 53 | 61 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6458-97_0_5_line_62 |  | 54 | 55 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6458-97_0_5_line_63 |  | 55 | 62 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6458-97_0_5_line_64 |  | 56 | 101 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6458-97_0_5_line_65 |  | 56 | 102 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6458-97_0_5_line_66 |  | 57 | 100 | 0.0048693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6458-97_0_5_line_67 |  | 59 | 63 | 0.030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6458-97_0_5_line_68 |  | 60 | 62 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6458-97_0_5_line_69 |  | 61 | 99 | 0.026587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6458-97_0_5_line_70 |  | 63 | 64 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6458-97_0_5_line_71 |  | 64 | 92 | 0.019341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6458-97_0_5_line_72 |  | 65 | 66 | 0.058509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6458-97_0_5_line_73 |  | 65 | 67 | 0.066064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6458-97_0_5_line_74 |  | 66 | 68 | 0.02852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6458-97_0_5_line_75 |  | 67 | 69 | 0.056854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6458-97_0_5_line_76 |  | 67 | 70 | 0.032042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6458-97_0_5_line_77 |  | 68 | 71 | 0.060305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6458-97_0_5_line_78 |  | 69 | 72 | 0.068688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6458-97_0_5_line_79 |  | 71 | 73 | 0.039023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6458-97_0_5_line_80 |  | 71 | 74 | 0.033525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6458-97_0_5_line_81 |  | 72 | 77 | 0.063622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6458-97_0_5_line_82 |  | 73 | 75 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6458-97_0_5_line_83 |  | 73 | 76 | 0.024851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6458-97_0_5_line_84 |  | 75 | 78 | 0.023141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6458-97_0_5_line_85 |  | 75 | 79 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6458-97_0_5_line_86 |  | 76 | 80 | 0.01961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6458-97_0_5_line_87 |  | 79 | 83 | 0.02817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6458-97_0_5_line_88 |  | 80 | 81 | 0.035034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6458-97_0_5_line_89 |  | 81 | 82 | 0.0012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6458-97_0_5_line_90 |  | 84 | 85 | 0.0024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6458-97_0_5_line_91 |  | 86 | 87 | 0.0085473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6458-97_0_5_line_92 |  | 86 | 88 | 0.031473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6458-97_0_5_line_93 |  | 87 | 89 | 0.020247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6458-97_0_5_line_94 |  | 88 | 90 | 0.0073422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6458-97_0_5_line_95 |  | 89 | 91 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6458-97_0_5_line_96 |  | 90 | 92 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6458-97_0_5_line_97 |  | 91 | 93 | 0.033601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6458-97_0_5_line_98 |  | 94 | 95 | 0.022699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6458-97_0_5_line_99 |  | 94 | 96 | 0.047728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6458-97_0_5_line_100 |  | 96 | 97 | 0.026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6458-97_0_5_line_101 |  | 96 | 98 | 0.010623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6458-97_0_5_line_102 |  | 97 | 99 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6458-97_0_5_line_103 |  | 101 | 103 | 0.019657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6458-97_0_5_line_104 |  | 103 | 111 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6458-97_0_5_line_105 |  | 104 | 105 | 0.041865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6458-97_0_5_line_106 |  | 105 | 106 | 0.048398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6458-97_0_5_line_107 |  | 106 | 107 | 0.039875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6458-97_0_5_line_108 |  | 107 | 108 | 0.05692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6458-97_0_5_line_109 |  | 108 | 109 | 0.034163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6458-97_0_5_line_110 |  | 109 | 110 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6458-97_0_5_line_111 |  | 111 | 113 | 0.025258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6458-97_0_5_line_112 |  | 111 | 112 | 0.0024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6458-97_0_5_trafo_58 | 0.63 MVA 20/0.4 kV | 114 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2556836.5093 | 1203570.1483 | 2556819.6494 | 1203562.5236
1 | 2556836.5093 | 1203570.1483 | 2556847.5894 | 1203575.1592 | 2556858.2039 | 1203587.8562 | 2556866.7603 | 1203589.2747
2 | 2556807.9335 | 1203557.2252 | 2556819.6494 | 1203562.5236
3 | 2556807.9335 | 1203557.2252 | 2556796.9897 | 1203578.8502
4 | 2556818.3148 | 1203536.6938 | 2556807.9335 | 1203557.2252
5 | 2556796.9897 | 1203578.8502 | 2556792.9107 | 1203586.9919
6 | 2556796.9897 | 1203578.8502 | 2556819.0196 | 1203586.3122
7 | 2556818.3148 | 1203536.6938 | 2556810.2263 | 1203532.1609
8 | 2556818.3148 | 1203536.6938 | 2556831.3591 | 1203510.918
9 | 2556792.9107 | 1203586.9919 | 2556788.421 | 1203595.9535
10 | 2556801.9814 | 1203527.5404 | 2556810.2263 | 1203532.1609
11 | 2556831.3591 | 1203510.918 | 2556832.7464 | 1203508.1754
12 | 2556778.2852 | 1203616.1848 | 2556788.421 | 1203595.9535
13 | 2556801.9814 | 1203527.5404 | 2556801.9814 | 1203527.5404 | 2556788.3156 | 1203550.2645
14 | 2556832.7464 | 1203508.1754 | 2556845.953 | 1203482.0682
15 | 2556855.4007 | 1203614.0095 | 2556833.0048 | 1203612.6418
16 | 2556855.4007 | 1203614.0095 | 2556866.3642 | 1203614.679 | 2556868.2627 | 1203598.4227 | 2556901.7671 | 1203603.2085
17 | 2556902.3379 | 1203603.29 | 2556901.7671 | 1203603.2085
18 | 2556902.3379 | 1203603.29 | 2556902.3379 | 1203603.29 | 2556899.6926 | 1203624.9907
19 | 2556897.5619 | 1203642.469 | 2556899.6926 | 1203624.9907
20 | 2556904.1965 | 1203643.5328 | 2556897.5619 | 1203642.469
21 | 2556893.3241 | 1203644.5787 | 2556897.2388 | 1203645.1284 | 2556897.5619 | 1203642.469
22 | 2556778.2852 | 1203616.1848 | 2556767.4426 | 1203612.0809
23 | 2556778.2852 | 1203616.1848 | 2556764.5568 | 1203642.548
24 | 2556778.2852 | 1203616.1848 | 2556807.8141 | 1203627.0501
25 | 2556856.2177 | 1203639.3824 | 2556868.3229 | 1203641.0775
26 | 2556856.2177 | 1203639.3824 | 2556850.2083 | 1203638.5408
27 | 2556868.3229 | 1203641.0775 | 2556880.3457 | 1203642.7612
28 | 2556850.2083 | 1203638.5408 | 2556836.2619 | 1203636.5878
29 | 2556893.3241 | 1203644.5787 | 2556880.3457 | 1203642.7612
30 | 2556828.4663 | 1203634.6492 | 2556832.1822 | 1203636.0165 | 2556836.2619 | 1203636.5878
31 | 2556807.8141 | 1203627.0501 | 2556828.4663 | 1203634.6492
32 | 2556767.4426 | 1203612.0809 | 2556753.1089 | 1203606.6556
33 | 2556755.5684 | 1203662.3792 | 2556759.6694 | 1203655.2198 | 2556764.5568 | 1203642.548
34 | 2556735.4313 | 1203599.9647 | 2556753.1089 | 1203606.6556
35 | 2556751.4201 | 1203669.6212 | 2556755.5684 | 1203662.3792
36 | 2556751.4201 | 1203669.6212 | 2556746.8041 | 1203676.2252 | 2556745.6746 | 1203677.5608
37 | 2556751.4201 | 1203669.6212 | 2556762.4213 | 1203682.1485 | 2556763.4805 | 1203691.8742
38 | 2556735.4313 | 1203599.9647 | 2556723.1838 | 1203595.329
39 | 2556904.1965 | 1203643.5328 | 2556918.7846 | 1203645.8795
40 | 2556904.1965 | 1203643.5328 | 2556903.6299 | 1203646.1939
41 | 2556980.6269 | 1203657.5634 | 2556978.8269 | 1203657.1328
42 | 2557006.2987 | 1203669.6211 | 2556999.8563 | 1203663.553 | 2556995.4861 | 1203662.0837 | 2556988.2917 | 1203659.3563 | 2556981.044 | 1203657.6632 | 2556980.6269 | 1203657.5634
43 | 2556954.5223 | 1203652.0746 | 2556967.1957 | 1203654.3502 | 2556978.8269 | 1203657.1328
44 | 2556998.103 | 1203668.3573 | 2557006.2987 | 1203669.6211
45 | 2556954.5223 | 1203652.0746 | 2556930.6511 | 1203647.7883 | 2556918.7846 | 1203645.8795
46 | 2556998.103 | 1203668.3573 | 2556993.9479 | 1203665.7535
47 | 2557032.8601 | 1203616.7476 | 2557035.9431 | 1203621.3184
48 | 2557032.8601 | 1203616.7476 | 2557023.8128 | 1203603.3347
49 | 2556797.5668 | 1203382.5789 | 2556806.9132 | 1203388.2254 | 2556816.5845 | 1203396.7157 | 2556820.5547 | 1203399.4502
50 | 2556839.5059 | 1203421.4304 | 2556834.0117 | 1203408.7185 | 2556820.5547 | 1203399.4502
51 | 2556797.5668 | 1203382.5789 | 2556804.3041 | 1203370.952
52 | 2556839.5059 | 1203421.4304 | 2556850.4226 | 1203430.6454 | 2556862.1637 | 1203436.0301
53 | 2556808.17 | 1203364.2805 | 2556804.3041 | 1203370.952
54 | 2556851.1094 | 1203471.875 | 2556855.9072 | 1203456.7316 | 2556862.1637 | 1203436.0301
55 | 2556862.1637 | 1203436.0301 | 2556879.7741 | 1203418.9862
56 | 2556813.1297 | 1203355.7286 | 2556808.17 | 1203364.2805
57 | 2556808.17 | 1203364.2805 | 2556842.5223 | 1203366.5443
58 | 2556851.1094 | 1203471.875 | 2556845.953 | 1203482.0682
59 | 2556851.1094 | 1203471.875 | 2556865.9728 | 1203476.0235
60 | 2556851.1094 | 1203471.875 | 2556822.734 | 1203458.0636
61 | 2556895.2124 | 1203404.0445 | 2556879.7741 | 1203418.9862
62 | 2556770.0266 | 1203434.3039 | 2556781.2088 | 1203439.1596
63 | 2556808.7573 | 1203451.2606 | 2556806.1209 | 1203449.9774 | 2556781.2088 | 1203439.1596
64 | 2556813.1297 | 1203355.7286 | 2556808.1667 | 1203345.9924 | 2556807.5242 | 1203345.4046
65 | 2556813.1297 | 1203355.7286 | 2556822.2711 | 1203343.1491
66 | 2556847.3811 | 1203366.8645 | 2556842.5223 | 1203366.5443
67 | 2556894.872 | 1203484.0895 | 2556865.9728 | 1203476.0235
68 | 2556822.734 | 1203458.0636 | 2556808.7573 | 1203451.2606
69 | 2556895.2124 | 1203404.0445 | 2556906.2587 | 1203393.3535 | 2556914.9852 | 1203386.3097
70 | 2556924.2259 | 1203490.7689 | 2556903.6004 | 1203486.5256 | 2556894.872 | 1203484.0895
71 | 2556943.1705 | 1203494.6664 | 2556924.2259 | 1203490.7689
72 | 2556619.4232 | 1203473.2079 | 2556611.1356 | 1203491.7956 | 2556606.9338 | 1203515.5508 | 2556607.184 | 1203529.5823
73 | 2556650.2015 | 1203415.9904 | 2556642.361 | 1203421.7618 | 2556619.4232 | 1203473.2079
74 | 2556607.2438 | 1203558.095 | 2556607.5257 | 1203548.7431 | 2556607.184 | 1203529.5823
75 | 2556650.2015 | 1203415.9904 | 2556642.6698 | 1203411.9318 | 2556641.6622 | 1203409.3932 | 2556639.1975 | 1203403.1854 | 2556602.0667 | 1203391.6269
76 | 2556650.2015 | 1203415.9904 | 2556674.0694 | 1203419.0741 | 2556681.5038 | 1203421.9633
77 | 2556650.0832 | 1203549.2003 | 2556640.9664 | 1203547.8992 | 2556635.6138 | 1203553.6414 | 2556636.8159 | 1203566.1732 | 2556615.4612 | 1203560.2141 | 2556607.2438 | 1203558.095
78 | 2556539.5436 | 1203400.6544 | 2556599.4949 | 1203399.9726 | 2556602.0667 | 1203391.6269
79 | 2556650.0832 | 1203549.2003 | 2556669.9265 | 1203575.4042 | 2556675.709 | 1203577.5078
80 | 2556650.0832 | 1203549.2003 | 2556651.1598 | 1203539.2757 | 2556655.2765 | 1203527.8393 | 2556660.57 | 1203517.757
81 | 2556551.8345 | 1203338.4739 | 2556550.9234 | 1203354.3896 | 2556545.0373 | 1203381.9259 | 2556539.5436 | 1203400.6544
82 | 2556675.709 | 1203577.5078 | 2556686.7554 | 1203581.5409
83 | 2556675.709 | 1203577.5078 | 2556688.288 | 1203556.0751
84 | 2556686.7554 | 1203581.5409 | 2556681.0296 | 1203603.9619
85 | 2556686.7554 | 1203581.5409 | 2556696.8376 | 1203585.357
86 | 2556688.288 | 1203556.0751 | 2556696.2785 | 1203542.4606 | 2556699.8074 | 1203540.9868
87 | 2556696.8376 | 1203585.357 | 2556723.1838 | 1203595.329
88 | 2556732.7219 | 1203529.4244 | 2556722.9641 | 1203531.3159 | 2556699.8074 | 1203540.9868
89 | 2556733.9278 | 1203529.1906 | 2556732.7219 | 1203529.4244
90 | 2556788.3156 | 1203550.2645 | 2556787.0531 | 1203552.3638
91 | 2556981.0099 | 1203532.7267 | 2556984.8879 | 1203540.3437
92 | 2556966.7304 | 1203504.6797 | 2556981.0099 | 1203532.7267
93 | 2556984.8879 | 1203540.3437 | 2556994.0742 | 1203558.3868
94 | 2556966.7304 | 1203504.6797 | 2556959.5889 | 1203502.9747
95 | 2557005.0231 | 1203575.4781 | 2556995.8581 | 1203561.8908 | 2556994.0742 | 1203558.3868
96 | 2556943.1705 | 1203494.6664 | 2556959.5889 | 1203502.9747
97 | 2557005.0231 | 1203575.4781 | 2557023.8128 | 1203603.3347
98 | 2556907.7372 | 1203332.9754 | 2556905.8606 | 1203332.0215 | 2556886.8201 | 1203324.1748
99 | 2556950.2839 | 1203354.6021 | 2556907.7372 | 1203332.9754
100 | 2556950.2839 | 1203354.6021 | 2556947.8409 | 1203359.7894 | 2556931.7921 | 1203372.7436
101 | 2556953.0211 | 1203364.866 | 2556950.2839 | 1203354.6021
102 | 2556931.7921 | 1203372.7436 | 2556914.9852 | 1203386.3097
103 | 2556807.5242 | 1203345.4046 | 2556793.0217 | 1203332.1353
104 | 2556783.3572 | 1203323.2927 | 2556793.0217 | 1203332.1353
105 | 2556869.9318 | 1203702.5424 | 2556828.2923 | 1203706.8806
106 | 2556869.9318 | 1203702.5424 | 2556916.0791 | 1203717.1291
107 | 2556955.5093 | 1203711.1892 | 2556916.0791 | 1203717.1291
108 | 2556952.3714 | 1203654.3558 | 2556955.5093 | 1203711.1892
109 | 2556952.3714 | 1203654.3558 | 2556949.4722 | 1203653.8447 | 2556918.6786 | 1203648.7054
110 | 2556903.6299 | 1203646.1939 | 2556918.6786 | 1203648.7054
111 | 2556783.3572 | 1203323.2927 | 2556780.764 | 1203315.0846 | 2556779.8976 | 1203311.033 | 2556779.2361 | 1203307.9583 | 2556779.766 | 1203300.239 | 2556780.3832 | 1203298.7365
112 | 2556783.3572 | 1203323.2927 | 2556781.5391 | 1203321.6491

## bus_geodata
| x | y | coords
0 | 2556836.5093 | 1203570.1483
1 | 2556819.6494 | 1203562.5236
2 | 2556866.7603 | 1203589.2747
3 | 2556807.9335 | 1203557.2252
4 | 2556796.9897 | 1203578.8502
5 | 2556818.3148 | 1203536.6938
6 | 2556792.9107 | 1203586.9919
7 | 2556819.0196 | 1203586.3122
8 | 2556810.2263 | 1203532.1609
9 | 2556831.3591 | 1203510.918
10 | 2556788.421 | 1203595.9535
11 | 2556801.9814 | 1203527.5404
12 | 2556832.7464 | 1203508.1754
13 | 2556855.4007 | 1203614.0095
14 | 2556833.0048 | 1203612.6418
15 | 2556901.7671 | 1203603.2085
16 | 2556902.3379 | 1203603.29
17 | 2556899.6926 | 1203624.9907
18 | 2556897.5619 | 1203642.469
19 | 2556778.2852 | 1203616.1848
20 | 2556856.2177 | 1203639.3824
21 | 2556868.3229 | 1203641.0775
22 | 2556850.2084 | 1203638.5408
23 | 2556880.3457 | 1203642.7612
24 | 2556836.2619 | 1203636.5878
25 | 2556893.3241 | 1203644.5787
26 | 2556828.4663 | 1203634.6492
27 | 2556807.8141 | 1203627.0501
28 | 2556767.4426 | 1203612.0809
29 | 2556764.5568 | 1203642.548
30 | 2556753.1089 | 1203606.6556
31 | 2556755.5684 | 1203662.3792
32 | 2556751.4201 | 1203669.6212
33 | 2556735.4313 | 1203599.9647
34 | 2556745.6746 | 1203677.5608
35 | 2556763.4805 | 1203691.8742
36 | 2556904.1965 | 1203643.5328
37 | 2556980.6269 | 1203657.5634
38 | 2556978.8269 | 1203657.1328
39 | 2557006.2987 | 1203669.6211
40 | 2556954.5223 | 1203652.0746
41 | 2556998.103 | 1203668.3573
42 | 2556918.7847 | 1203645.8795
43 | 2556993.9479 | 1203665.7535
44 | 2557035.9431 | 1203621.3183
45 | 2557032.8601 | 1203616.7476
46 | 2556820.5547 | 1203399.4502
47 | 2556797.5668 | 1203382.5789
48 | 2556839.5059 | 1203421.4304
49 | 2556804.3041 | 1203370.952
50 | 2556862.1637 | 1203436.0301
51 | 2556808.17 | 1203364.2805
52 | 2556851.1094 | 1203471.875
53 | 2556879.7741 | 1203418.9862
54 | 2556770.0266 | 1203434.3039
55 | 2556781.2088 | 1203439.1596
56 | 2556813.1297 | 1203355.7286
57 | 2556842.5223 | 1203366.5443
58 | 2556845.953 | 1203482.0682
59 | 2556865.9728 | 1203476.0235
60 | 2556822.734 | 1203458.0636
61 | 2556895.2123 | 1203404.0445
62 | 2556808.7573 | 1203451.2606
63 | 2556894.872 | 1203484.0895
64 | 2556924.2259 | 1203490.7689
65 | 2556619.4232 | 1203473.2079
66 | 2556607.184 | 1203529.5823
67 | 2556650.2015 | 1203415.9904
68 | 2556607.2438 | 1203558.095
69 | 2556602.0667 | 1203391.6269
70 | 2556681.5038 | 1203421.9633
71 | 2556650.0832 | 1203549.2003
72 | 2556539.5436 | 1203400.6544
73 | 2556675.709 | 1203577.5078
74 | 2556660.57 | 1203517.757
75 | 2556686.7554 | 1203581.5409
76 | 2556688.288 | 1203556.0751
77 | 2556551.8345 | 1203338.4739
78 | 2556681.0296 | 1203603.9619
79 | 2556696.8376 | 1203585.357
80 | 2556699.8074 | 1203540.9868
81 | 2556732.7219 | 1203529.4244
82 | 2556733.9278 | 1203529.1906
83 | 2556723.1838 | 1203595.329
84 | 2556788.3156 | 1203550.2645
85 | 2556787.0531 | 1203552.3638
86 | 2556981.0099 | 1203532.7267
87 | 2556984.8879 | 1203540.3437
88 | 2556966.7304 | 1203504.6797
89 | 2556994.0742 | 1203558.3868
90 | 2556959.5889 | 1203502.9747
91 | 2557005.0231 | 1203575.4781
92 | 2556943.1705 | 1203494.6664
93 | 2557023.8128 | 1203603.3347
94 | 2556907.7372 | 1203332.9754
95 | 2556886.8201 | 1203324.1748
96 | 2556950.2839 | 1203354.6021
97 | 2556931.7921 | 1203372.7436
98 | 2556953.0211 | 1203364.866
99 | 2556914.9852 | 1203386.3097
100 | 2556847.3811 | 1203366.8645
101 | 2556807.5242 | 1203345.4046
102 | 2556822.2711 | 1203343.1491
103 | 2556793.0217 | 1203332.1353
104 | 2556828.2923 | 1203706.8806
105 | 2556869.9318 | 1203702.5424
106 | 2556916.0791 | 1203717.1291
107 | 2556955.5093 | 1203711.1892
108 | 2556952.3714 | 1203654.3558
109 | 2556918.6786 | 1203648.7054
110 | 2556903.6299 | 1203646.1939
111 | 2556783.3572 | 1203323.2927
112 | 2556781.5391 | 1203321.6491
113 | 2556780.3832 | 1203298.7365
114 | 2556818.3148 | 1203536.6938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1