## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6459-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6459-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6459-2_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6459-2_0_6_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6459-2_0_6_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_6459-2_0_6_node_83 | 0.4 | n |  | TRUE
6 | bus_LV_6459-2_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6459-2_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_6459-2_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6459-2_0_6_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_6459-2_0_6_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_6459-2_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6459-2_0_6_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_6459-2_0_6_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_6459-2_0_6_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_6459-2_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6459-2_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6459-2_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6459-2_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6459-2_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6459-2_0_6_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_6459-2_0_6_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6459-2_0_6_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_6459-2_0_6_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_6459-2_0_6_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_6459-2_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6459-2_0_6_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_6459-2_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6459-2_0_6_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_6459-2_0_6_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_6459-2_0_6_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_6459-2_0_6_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_6459-2_0_6_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_6459-2_0_6_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_6459-2_0_6_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_6459-2_0_6_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6459-2_0_6_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6459-2_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_6459-2_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_6459-2_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6459-2_0_6_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_6459-2_0_6_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_6459-2_0_6_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_6459-2_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6459-2_0_6_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_6459-2_0_6_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_6459-2_0_6_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_6459-2_0_6_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_6459-2_0_6_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_6459-2_0_6_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_6459-2_0_6_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_6459-2_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_6459-2_0_6_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_6459-2_0_6_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_6459-2_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6459-2_0_6_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_6459-2_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_6459-2_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6459-2_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_6459-2_0_6_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_6459-2_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_6459-2_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_6459-2_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_6459-2_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_6459-2_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6459-2_0_6_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6459-2_0_6_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_6459-2_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_6459-2_0_6_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_6459-2_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6459-2_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_6459-2_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_6459-2_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_6459-2_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_6459-2_0_6_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6459-2_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_6459-2_0_6_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6459-2_0_6_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_6459-2_0_6_node_79 | 0.4 | n |  | TRUE
79 | bus_MV_444_2_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6459-2_0_6_load_0 | 0 | 0.040283 | 0.010096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6459-2_0_6_load_83 | 5 | 0.0025853 | 0.00064794 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6459-2_0_6_load_43 | 7 | 0.0055337 | 0.0013869 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6459-2_0_6_load_45 | 9 | 0.008075 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6459-2_0_6_load_55 | 10 | 0.021925 | 0.0054949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6459-2_0_6_load_61 | 14 | 0.016019 | 0.0040147 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6459-2_0_6_load_16 | 17 | 0.0069536 | 0.0017427 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6459-2_0_6_load_67 | 20 | 0.0030414 | 0.00076224 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6459-2_0_6_load_84 | 22 | 0.0035107 | 0.00087987 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6459-2_0_6_load_68 | 23 | 0.014133 | 0.003542 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6459-2_0_6_load_85 | 24 | 0.0058341 | 0.0014622 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6459-2_0_6_load_19 | 25 | 0.0066063 | 0.0016557 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6459-2_0_6_load_32 | 26 | 0.0042627 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6459-2_0_6_load_23 | 27 | 0.0036385 | 0.0009119 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6459-2_0_6_load_42 | 28 | 0.0042187 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6459-2_0_6_load_46 | 29 | 0.0057041 | 0.0014296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6459-2_0_6_load_63 | 30 | 0.0095596 | 0.0023959 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6459-2_0_6_load_53 | 32 | 0.021186 | 0.0053097 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6459-2_0_6_load_51 | 34 | 0.032866 | 0.008237 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6459-2_0_6_load_60 | 35 | 0.04908 | 0.012301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6459-2_0_6_load_49 | 37 | 0.058116 | 0.014565 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6459-2_0_6_load_44 | 39 | 0.0010287 | 0.00025781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6459-2_0_6_load_65 | 40 | 0.0050385 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6459-2_0_6_load_69 | 41 | 0.0019001 | 0.0004762 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6459-2_0_6_load_17 | 42 | 0.0044383 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6459-2_0_6_load_18 | 45 | 0.0076198 | 0.0019097 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6459-2_0_6_load_20 | 46 | 0.011608 | 0.0029092 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6459-2_0_6_load_22 | 47 | 0.0031299 | 0.00078443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6459-2_0_6_load_24 | 48 | 0.034768 | 0.0087138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6459-2_0_6_load_25 | 49 | 0.0037316 | 0.00093522 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6459-2_0_6_load_26 | 50 | 0.024205 | 0.0060663 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6459-2_0_6_load_27 | 51 | 0.025821 | 0.0064713 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6459-2_0_6_load_28 | 52 | 0.0047446 | 0.0011891 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6459-2_0_6_load_29 | 53 | 0.0074528 | 0.0018679 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6459-2_0_6_load_31 | 54 | 0.002327 | 0.00058321 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6459-2_0_6_load_33 | 55 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6459-2_0_6_load_39 | 57 | 0.0031048 | 0.00077814 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6459-2_0_6_load_38 | 58 | 0.0017936 | 0.00044952 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6459-2_0_6_load_35 | 59 | 0.0034028 | 0.00085282 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6459-2_0_6_load_40 | 60 | 0.0025829 | 0.00064735 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6459-2_0_6_load_41 | 61 | 0.0051199 | 0.0012832 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6459-2_0_6_load_36 | 62 | 0.0066717 | 0.0016721 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6459-2_0_6_load_37 | 63 | 0.031302 | 0.0078449 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6459-2_0_6_load_47 | 64 | 0.0039584 | 0.00099206 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6459-2_0_6_load_75 | 66 | 0.0041149 | 0.0010313 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6459-2_0_6_load_78 | 67 | 0.0011795 | 0.00029562 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6459-2_0_6_load_66 | 69 | 0.0018403 | 0.00046122 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6459-2_0_6_load_70 | 70 | 0.0014997 | 0.00037586 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6459-2_0_6_load_71 | 71 | 0.0014967 | 0.00037511 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6459-2_0_6_load_74 | 72 | 0.0015184 | 0.00038055 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6459-2_0_6_load_73 | 73 | 0.0012706 | 0.00031843 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6459-2_0_6_load_72 | 74 | 0.0019999 | 0.00050122 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6459-2_0_6_load_81 | 77 | 0.0048127 | 0.0012062 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6459-2_0_6_load_79 | 78 | 0.00059739 | 0.00014972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6459-2_0_6_line_0 |  | 0 | 1 | 0.085927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6459-2_0_6_line_1 |  | 1 | 2 | 0.027812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6459-2_0_6_line_2 |  | 1 | 3 | 0.10494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6459-2_0_6_line_3 |  | 2 | 4 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6459-2_0_6_line_4 |  | 2 | 5 | 0.02342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6459-2_0_6_line_5 |  | 3 | 19 | 0.085573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6459-2_0_6_line_6 |  | 3 | 23 | 0.03235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6459-2_0_6_line_7 |  | 4 | 26 | 0.021216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6459-2_0_6_line_8 |  | 4 | 27 | 0.02684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6459-2_0_6_line_9 |  | 6 | 7 | 0.036385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6459-2_0_6_line_10 |  | 6 | 8 | 0.21605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6459-2_0_6_line_11 |  | 6 | 9 | 0.028938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6459-2_0_6_line_12 |  | 7 | 28 | 0.027628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6459-2_0_6_line_13 |  | 8 | 10 | 0.024849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6459-2_0_6_line_14 |  | 9 | 29 | 0.046321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6459-2_0_6_line_15 |  | 11 | 12 | 0.024081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6459-2_0_6_line_16 |  | 11 | 13 | 0.043335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6459-2_0_6_line_17 |  | 11 | 14 | 0.024879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6459-2_0_6_line_18 |  | 12 | 30 | 0.054719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6459-2_0_6_line_19 |  | 12 | 31 | 0.085398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6459-2_0_6_line_20 |  | 13 | 32 | 0.034388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6459-2_0_6_line_21 |  | 13 | 33 | 0.052135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6459-2_0_6_line_22 |  | 13 | 34 | 0.066536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6459-2_0_6_line_23 |  | 15 | 16 | 0.018441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6459-2_0_6_line_24 |  | 15 | 17 | 3.3817e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6459-2_0_6_line_25 |  | 16 | 25 | 0.036252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6459-2_0_6_line_26 |  | 16 | 21 | 0.14203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6459-2_0_6_line_27 |  | 18 | 19 | 0.085181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6459-2_0_6_line_28 |  | 18 | 20 | 0.03302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6459-2_0_6_line_29 |  | 19 | 24 | 0.021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6459-2_0_6_line_30 |  | 21 | 22 | 0.077516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6459-2_0_6_line_31 |  | 23 | 41 | 0.0050327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6459-2_0_6_line_32 |  | 25 | 42 | 0.0065675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6459-2_0_6_line_33 |  | 26 | 43 | 0.010479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6459-2_0_6_line_34 |  | 27 | 44 | 0.016294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6459-2_0_6_line_35 |  | 28 | 61 | 0.00090046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6459-2_0_6_line_36 |  | 29 | 64 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6459-2_0_6_line_37 |  | 30 | 65 | 0.0065346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6459-2_0_6_line_38 |  | 31 | 66 | 0.05278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6459-2_0_6_line_39 |  | 33 | 35 | 0.034131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6459-2_0_6_line_40 |  | 36 | 37 | 0.055916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6459-2_0_6_line_41 |  | 36 | 38 | 0.16519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6459-2_0_6_line_42 |  | 36 | 39 | 0.036035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6459-2_0_6_line_43 |  | 38 | 40 | 0.10319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6459-2_0_6_line_44 |  | 39 | 63 | 0.007808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6459-2_0_6_line_45 |  | 40 | 65 | 0.019422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6459-2_0_6_line_46 |  | 42 | 45 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6459-2_0_6_line_47 |  | 43 | 55 | 0.0077219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6459-2_0_6_line_48 |  | 43 | 52 | 0.028859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6459-2_0_6_line_49 |  | 44 | 47 | 0.024702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6459-2_0_6_line_50 |  | 44 | 46 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6459-2_0_6_line_51 |  | 45 | 46 | 0.030552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6459-2_0_6_line_52 |  | 47 | 48 | 0.027913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6459-2_0_6_line_53 |  | 48 | 49 | 0.037389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6459-2_0_6_line_54 |  | 49 | 50 | 0.027996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6459-2_0_6_line_55 |  | 50 | 51 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6459-2_0_6_line_56 |  | 52 | 53 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6459-2_0_6_line_57 |  | 53 | 54 | 0.0029795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6459-2_0_6_line_58 |  | 54 | 56 | 0.037924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6459-2_0_6_line_59 |  | 55 | 57 | 0.017917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6459-2_0_6_line_60 |  | 56 | 58 | 0.0091822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6459-2_0_6_line_61 |  | 56 | 59 | 0.010547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6459-2_0_6_line_62 |  | 57 | 60 | 0.0065147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6459-2_0_6_line_63 |  | 58 | 61 | 0.0083267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6459-2_0_6_line_64 |  | 59 | 62 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6459-2_0_6_line_65 |  | 62 | 63 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6459-2_0_6_line_66 |  | 65 | 69 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6459-2_0_6_line_67 |  | 66 | 68 | 0.034525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6459-2_0_6_line_68 |  | 67 | 68 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6459-2_0_6_line_69 |  | 68 | 75 | 0.099841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6459-2_0_6_line_70 |  | 69 | 70 | 0.016007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6459-2_0_6_line_71 |  | 70 | 71 | 0.0090925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6459-2_0_6_line_72 |  | 71 | 72 | 0.0032051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6459-2_0_6_line_73 |  | 72 | 73 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6459-2_0_6_line_74 |  | 73 | 74 | 0.031594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6459-2_0_6_line_75 |  | 75 | 76 | 0.21048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6459-2_0_6_line_76 |  | 75 | 77 | 0.12074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6459-2_0_6_line_77 |  | 76 | 78 | 0.015505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6459-2_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 79 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2565872.2185 | 1206856.8202 | 2565844.8555 | 1206852.2635 | 2565809.1691 | 1206846.9098 | 2565788.5229 | 1206854.7968
1 | 2565857.0037 | 1206870.2484 | 2565870.808 | 1206870.7473 | 2565872.2185 | 1206856.8202
2 | 2565872.2185 | 1206856.8202 | 2565895.2303 | 1206859.79 | 2565911.1333 | 1206866.9251 | 2565916.8345 | 1206849.3381 | 2565916.9243 | 1206849.0819 | 2565920.9861 | 1206849.3032 | 2565931.4957 | 1206850.755 | 2565932.0169 | 1206836.8664 | 2565941.5047 | 1206831.1756 | 2565946.398 | 1206827.8568
3 | 2565857.0037 | 1206870.2484 | 2565862.7111 | 1206888.2369
4 | 2565857.0037 | 1206870.2484 | 2565845.1182 | 1206871.5284 | 2565833.9258 | 1206874.0192
5 | 2565880.3845 | 1206807.6234 | 2565884.8289 | 1206806.9198 | 2565892.1812 | 1206806.7664 | 2565894.8453 | 1206807.2181 | 2565895.6806 | 1206809.6814 | 2565897.4575 | 1206809.2487 | 2565899.8354 | 1206810.1801 | 2565902.9934 | 1206813.2304 | 2565906.72 | 1206817.3224 | 2565909.7219 | 1206820.9962 | 2565915.0675 | 1206827.6138 | 2565917.7701 | 1206825.5082 | 2565921.9429 | 1206830.4871 | 2565928.5423 | 1206838.276 | 2565932.0169 | 1206836.8664 | 2565941.5047 | 1206831.1756 | 2565946.398 | 1206827.8568
6 | 2565946.398 | 1206827.8568 | 2565926.6875 | 1206802.2055
7 | 2565862.7111 | 1206888.2369 | 2565864.3709 | 1206893.8972 | 2565865.8806 | 1206898.5912 | 2565868.6366 | 1206905.8017 | 2565869.8754 | 1206908.164
8 | 2565862.7111 | 1206888.2369 | 2565857.8017 | 1206888.7209 | 2565853.0943 | 1206887.3138 | 2565848.757 | 1206886.805 | 2565845.007 | 1206886.582 | 2565841.7742 | 1206886.4115 | 2565837.6467 | 1206886.6576 | 2565836.1951 | 1206887.0248
9 | 2566007.1169 | 1207027.4446 | 2566002.6933 | 1207025.113 | 2565991.6432 | 1207016.8492 | 2565980.2004 | 1207009.0546 | 2565976.9078 | 1207007.2783
10 | 2566007.1169 | 1207027.4446 | 2566010.2668 | 1207027.7712 | 2566013.9884 | 1207027.0162 | 2566015.8072 | 1207029.9519 | 2566018.4584 | 1207032.1603 | 2566021.6669 | 1207033.4315 | 2566025.1127 | 1207033.6453 | 2566029.4438 | 1207051.7531 | 2566044.1251 | 1207099.3962 | 2566170.0024 | 1207084.0819
11 | 2566007.1169 | 1207027.4446 | 2566001.2748 | 1207031.0244 | 2565996.022 | 1207033.945 | 2565985.8729 | 1207039.6284 | 2565981.9976 | 1207041.8035
12 | 2565950.9474 | 1206998.5693 | 2565954.2884 | 1206998.797 | 2565957.9125 | 1206999.599 | 2565964.7064 | 1207001.5612 | 2565971.0246 | 1207004.1043 | 2565976.9078 | 1207007.2783
13 | 2566170.0024 | 1207084.0819 | 2566178.2563 | 1207107.5197
14 | 2565981.9976 | 1207041.8035 | 2565976.3075 | 1207044.9972 | 2565974.359 | 1207047.3207 | 2565973.3671 | 1207049.3831 | 2565972.8306 | 1207051.2984 | 2565972.3003 | 1207052.9802 | 2565971.5317 | 1207054.2075 | 2565970.3069 | 1207055.4374 | 2565968.6965 | 1207057.0475 | 2565966.1691 | 1207059.1854 | 2565962.033 | 1207063.2447 | 2565960.1157 | 1207065.7014 | 2565958.9691 | 1207067.3089 | 2565958.3592 | 1207069.6804 | 2565958.2046 | 1207071.9048 | 2565958.5886 | 1207073.8926 | 2565959.3532 | 1207075.9672 | 2565960.3443 | 1207077.8757
15 | 2566081.2762 | 1207224.5661 | 2566078.7518 | 1207216.5649 | 2566074.0434 | 1207201.5944
16 | 2566108.8107 | 1207194.181 | 2566109.2195 | 1207196.5356 | 2566109.1529 | 1207202.2058 | 2566097.9275 | 1207200.4465 | 2566074.0434 | 1207201.5944
17 | 2566074.0434 | 1207201.5944 | 2566062.6447 | 1207194.8 | 2566052.0014 | 1207199.4355
18 | 2566081.2762 | 1207224.5661 | 2566061.812 | 1207232.7595 | 2566031.3201 | 1207245.8408 | 2566030.9462 | 1207246.0355
19 | 2566081.2762 | 1207224.5661 | 2566091.9011 | 1207258.3802 | 2566096.5958 | 1207273.6399 | 2566107.3561 | 1207305.8857
20 | 2566108.8107 | 1207194.181 | 2566106.3541 | 1207192.7497 | 2566101.4399 | 1207192.3442 | 2566096.5244 | 1207191.7274 | 2566094.0695 | 1207190.5963 | 2566092.5307 | 1207188.7596 | 2566087.4888 | 1207172.9852
21 | 2566108.8107 | 1207194.181 | 2566109.2195 | 1207196.5356 | 2566109.1529 | 1207202.2058 | 2566139.3283 | 1207206.9145 | 2566152.6998 | 1207209.0063
22 | 2566108.8107 | 1207194.181 | 2566106.3541 | 1207192.7497 | 2566101.4399 | 1207192.3442 | 2566096.5244 | 1207191.7274 | 2566094.0695 | 1207190.5963 | 2566092.5307 | 1207188.7596 | 2566082.1877 | 1207156.4002 | 2566082.2895 | 1207154.254 | 2566083.5207 | 1207152.8128 | 2566085.6756 | 1207152.0001 | 2566090.2764 | 1207150.7621 | 2566093.8236 | 1207150.0134
23 | 2565723.2774 | 1206941.3793 | 2565716.5705 | 1206924.1971
24 | 2565716.5705 | 1206924.1971 | 2565716.5691 | 1206924.194
25 | 2565723.2774 | 1206941.3793 | 2565734.8485 | 1206935.7095 | 2565754.8525 | 1206923.6326
26 | 2565670.3475 | 1207035.1929 | 2565668.5142 | 1207032.4241 | 2565652.5168 | 1207008.9253 | 2565645.46 | 1207000.9616 | 2565647.1166 | 1206998.1393 | 2565648.4485 | 1206994.3962 | 2565649.4769 | 1206992.1 | 2565651.3166 | 1206989.3879 | 2565654.9038 | 1206986.4211 | 2565673.4658 | 1206974.7074 | 2565705.946 | 1206954.2419 | 2565714.922 | 1206948.2202 | 2565723.2774 | 1206941.3793
27 | 2565843.8482 | 1206778.7945 | 2565863.5632 | 1206807.4753 | 2565854.4182 | 1206817.2444 | 2565855.0348 | 1206818.6861 | 2565855.6905 | 1206820.3166 | 2565855.7719 | 1206822.5619 | 2565865.8456 | 1206822.2595 | 2565874.1464 | 1206817.7649 | 2565880.3845 | 1206807.6234
28 | 2565843.8482 | 1206778.7945 | 2565838.3554 | 1206782.3169 | 2565829.8482 | 1206782.6437 | 2565822.3568 | 1206779.7851 | 2565815.7991 | 1206772.2845
29 | 2565880.3845 | 1206807.6234 | 2565867.9771 | 1206789.5288
30 | 2565670.3475 | 1207035.1929 | 2565673.6918 | 1207033.6394 | 2565678.253 | 1207032.1122 | 2565681.3327 | 1207032.15 | 2565683.9078 | 1207033.0134 | 2565686.1269 | 1207034.1124 | 2565688.5906 | 1207035.4323 | 2565691.1432 | 1207037.6744 | 2565692.6453 | 1207038.3883 | 2565694.3629 | 1207038.2339 | 2565696.9329 | 1207036.9072 | 2565711.8599 | 1207026.4598 | 2565723.6099 | 1207018.8767 | 2565725.9 | 1207017.7962 | 2565727.8898 | 1207017.3734 | 2565731.9716 | 1207017.1053 | 2565734.5587 | 1207017.4128 | 2565736.9753 | 1207018.4884 | 2565738.9197 | 1207019.4333
31 | 2565923.6211 | 1206798.2149 | 2565926.6875 | 1206802.2055
32 | 2565760.4749 | 1206920.2382 | 2565754.8525 | 1206923.6326
33 | 2565875.8471 | 1206916.7332 | 2565874.8057 | 1206915.4718 | 2565871.2813 | 1206910.845 | 2565869.8754 | 1206908.164
34 | 2565820.7129 | 1206892.0467 | 2565825.9936 | 1206890.0041 | 2565832.4302 | 1206887.9772 | 2565836.1951 | 1206887.0248
35 | 2565950.9474 | 1206998.5693 | 2565950.0491 | 1206998.5081
36 | 2565960.3443 | 1207077.8757 | 2565962.4901 | 1207082.0082 | 2565963.3241 | 1207082.9039 | 2565965.056 | 1207083.9279 | 2565967.3862 | 1207084.5261 | 2565969.7151 | 1207084.9018 | 2565972.3729 | 1207085.6093 | 2565973.2672 | 1207085.9008
37 | 2566025.456 | 1207249.5208 | 2566027.6509 | 1207247.7517 | 2566030.9462 | 1207246.0355
38 | 2566107.3561 | 1207305.8857 | 2566123.2714 | 1207356.2092
39 | 2566152.6998 | 1207209.0063 | 2566151.5974 | 1207202.3532 | 2566150.2899 | 1207197.0688 | 2566143.7344 | 1207176.1275
40 | 2565881.3735 | 1207074.2015 | 2565868.054 | 1207064.0166 | 2565865.9249 | 1207062.6947 | 2565859.2285 | 1207059.1645 | 2565856.8007 | 1207057.4663 | 2565836.2585 | 1207041.3503
41 | 2565881.3735 | 1207074.2015 | 2565864.0309 | 1207095.7131 | 2565849.1586 | 1207117.0327 | 2565847.7039 | 1207119.2534 | 2565847.1732 | 1207122.1803 | 2565847.3632 | 1207124.814 | 2565848.1279 | 1207126.8886 | 2565849.3 | 1207128.405 | 2565866.6132 | 1207149.5176 | 2565879.0185 | 1207152.7927 | 2565884.987 | 1207155.3711 | 2565890.5418 | 1207158.7412 | 2565895.8647 | 1207162.7685 | 2565902.1382 | 1207168.1467 | 2565916.2263 | 1207182.4852 | 2565918.2975 | 1207185.664 | 2565919.7647 | 1207188.2571 | 2565921.1865 | 1207192.229
42 | 2565881.3735 | 1207074.2015 | 2565894.741 | 1207054.3026 | 2565901.3255 | 1207044.1955
43 | 2565921.1865 | 1207192.229 | 2565924.3488 | 1207193.4004 | 2565927.5822 | 1207195.0606 | 2565933.3234 | 1207199.119 | 2565938.9212 | 1207203.3671 | 2565946.6308 | 1207207.2585 | 2565955.8686 | 1207209.8071 | 2565968.0626 | 1207213.3838 | 2565979.6256 | 1207218.3428 | 2565986.0414 | 1207224.6986 | 2565991.3929 | 1207233.7398 | 2565995.2971 | 1207238.3645 | 2566000.7313 | 1207241.9355 | 2566006.6641 | 1207244.6539
44 | 2565901.3255 | 1207044.1955 | 2565905.5875 | 1207037.6533 | 2565905.5875 | 1207037.6533
45 | 2566025.456 | 1207249.5208 | 2566007.2495 | 1207244.9222 | 2566006.6641 | 1207244.6539
46 | 2565760.4749 | 1206920.2382 | 2565772.6459 | 1206912.8902 | 2565776.5184 | 1206910.8228
47 | 2565875.8471 | 1206916.7332 | 2565883.4646 | 1206917.9985
48 | 2565875.8471 | 1206916.7332 | 2565894.2805 | 1206938.9381
49 | 2565820.7129 | 1206892.0467 | 2565829.7817 | 1206914.0515 | 2565830.1253 | 1206914.8856
50 | 2565820.7129 | 1206892.0467 | 2565804.3654 | 1206898.3855
51 | 2565804.3654 | 1206898.3855 | 2565787.7392 | 1206904.8323 | 2565776.5184 | 1206910.8228
52 | 2565830.1253 | 1206914.8856 | 2565831.4628 | 1206918.1331 | 2565816.6054 | 1206926.2229 | 2565810.761 | 1206929.4027 | 2565810.0313 | 1206929.7998
53 | 2565810.0313 | 1206929.7998 | 2565800.2699 | 1206935.1107 | 2565794.0161 | 1206938.5152 | 2565786.5344 | 1206942.5827 | 2565791.2782 | 1206952.1062
54 | 2565791.2782 | 1206952.1062 | 2565799.0582 | 1206967.7249 | 2565803.9708 | 1206977.0575
55 | 2565822.1333 | 1206968.5262 | 2565803.9708 | 1206977.0575
56 | 2565894.2805 | 1206938.9381 | 2565899.9587 | 1206945.7781 | 2565913.6006 | 1206964.0483
57 | 2565915.3832 | 1206966.4358 | 2565913.6006 | 1206964.0483
58 | 2565932.567 | 1206999.3105 | 2565932.6042 | 1206996.5087 | 2565932.3935 | 1206994.2419 | 2565931.5846 | 1206991.0892 | 2565930.4671 | 1206988.4719 | 2565929.4053 | 1206986.299 | 2565926.3052 | 1206981.3918 | 2565923.0696 | 1206976.7299 | 2565915.3832 | 1206966.4358
59 | 2565883.4646 | 1206917.9985 | 2565888.3981 | 1206918.818 | 2565896.0095 | 1206929.2534
60 | 2565932.567 | 1206999.3105 | 2565941.726 | 1206998.6577
61 | 2565932.567 | 1206999.3105 | 2565931.6812 | 1207002.6508 | 2565930.3628 | 1207004.7929 | 2565928.7638 | 1207007.07 | 2565927.648 | 1207008.4747
62 | 2565899.8485 | 1206934.5168 | 2565896.0095 | 1206929.2534
63 | 2565950.0491 | 1206998.5081 | 2565949.4733 | 1206998.4688 | 2565941.726 | 1206998.6577 | 2565941.726 | 1206998.6577
64 | 2565919.0402 | 1207019.5909 | 2565925.7742 | 1207010.8336 | 2565927.648 | 1207008.4747
65 | 2565919.0402 | 1207019.5909 | 2565916.5434 | 1207022.8377 | 2565905.5875 | 1207037.6533
66 | 2566025.456 | 1207249.5208 | 2566024.8137 | 1207252.8819 | 2566025.5007 | 1207256.0242 | 2566026.4982 | 1207258.9313 | 2566030.3772 | 1207265.4867
67 | 2566133.682 | 1207389.1273 | 2566123.2714 | 1207356.2092
68 | 2566133.682 | 1207389.1273 | 2566147.8569 | 1207385.7531
69 | 2566133.682 | 1207389.1273 | 2566140.5266 | 1207409.422 | 2566163.7932 | 1207484.3209
70 | 2566030.3772 | 1207265.4867 | 2566033.5463 | 1207270.8422 | 2566038.4009 | 1207279.3364
71 | 2566038.4009 | 1207279.3364 | 2566038.7458 | 1207279.9399 | 2566042.6911 | 1207287.3528
72 | 2566044.1969 | 1207290.1822 | 2566042.6911 | 1207287.3528
73 | 2566044.1969 | 1207290.1822 | 2566045.2405 | 1207292.1431 | 2566050.6161 | 1207304.4891
74 | 2566057.2502 | 1207335.2403 | 2566056.1524 | 1207328.2679 | 2566055.3596 | 1207322.5803 | 2566053.6293 | 1207312.4956 | 2566051.8895 | 1207307.4138 | 2566050.6161 | 1207304.4891
75 | 2566289.3523 | 1207608.7676 | 2566275.2015 | 1207627.3027 | 2566254.3015 | 1207611.39 | 2566230.3851 | 1207593.182 | 2566216.1913 | 1207581.367 | 2566205.9175 | 1207571.6532 | 2566196.2459 | 1207560.8909 | 2566188.6644 | 1207549.9945 | 2566180.9923 | 1207536.5416 | 2566174.6367 | 1207519.2902 | 2566163.7932 | 1207484.3209
76 | 2566163.7932 | 1207484.3209 | 2566189.4706 | 1207480.4951 | 2566202.0701 | 1207476.6102 | 2566214.1871 | 1207456.0742 | 2566225.5492 | 1207444.4921 | 2566236.1178 | 1207435.1046 | 2566247.7083 | 1207428.9354 | 2566261.7805 | 1207426.6241
77 | 2566289.3523 | 1207608.7676 | 2566276.904 | 1207599.5242

## bus_geodata
| x | y | coords
0 | 2565788.5229 | 1206854.7968
1 | 2565872.2185 | 1206856.8202
2 | 2565857.0037 | 1206870.2484
3 | 2565946.398 | 1206827.8568
4 | 2565862.7111 | 1206888.2369
5 | 2565833.9258 | 1206874.0192
6 | 2566007.1169 | 1207027.4446
7 | 2565976.9078 | 1207007.2783
8 | 2566170.0024 | 1207084.0819
9 | 2565981.9976 | 1207041.8035
10 | 2566178.2563 | 1207107.5197
11 | 2566074.0434 | 1207201.5944
12 | 2566081.2762 | 1207224.5661
13 | 2566108.8107 | 1207194.181
14 | 2566052.0014 | 1207199.4355
15 | 2565716.5705 | 1206924.1971
16 | 2565723.2774 | 1206941.3793
17 | 2565716.5691 | 1206924.194
18 | 2565843.8482 | 1206778.7945
19 | 2565880.3845 | 1206807.6234
20 | 2565815.7991 | 1206772.2845
21 | 2565670.3475 | 1207035.1929
22 | 2565738.9197 | 1207019.4333
23 | 2565926.6875 | 1206802.2055
24 | 2565867.9771 | 1206789.5288
25 | 2565754.8525 | 1206923.6326
26 | 2565869.8754 | 1206908.164
27 | 2565836.1951 | 1206887.0248
28 | 2565950.9474 | 1206998.5693
29 | 2565960.3443 | 1207077.8757
30 | 2566030.9462 | 1207246.0355
31 | 2566107.3561 | 1207305.8857
32 | 2566087.4888 | 1207172.9852
33 | 2566152.6998 | 1207209.0063
34 | 2566093.8236 | 1207150.0134
35 | 2566143.7344 | 1207176.1275
36 | 2565881.3735 | 1207074.2015
37 | 2565836.2585 | 1207041.3503
38 | 2565921.1865 | 1207192.229
39 | 2565901.3255 | 1207044.1955
40 | 2566006.6641 | 1207244.6539
41 | 2565923.6211 | 1206798.2149
42 | 2565760.4749 | 1206920.2382
43 | 2565875.8471 | 1206916.7332
44 | 2565820.7129 | 1206892.0467
45 | 2565776.5184 | 1206910.8228
46 | 2565804.3654 | 1206898.3855
47 | 2565830.1253 | 1206914.8856
48 | 2565810.0313 | 1206929.7998
49 | 2565791.2782 | 1206952.1062
50 | 2565803.9708 | 1206977.0575
51 | 2565822.1333 | 1206968.5262
52 | 2565894.2805 | 1206938.9381
53 | 2565913.6006 | 1206964.0483
54 | 2565915.3832 | 1206966.4358
55 | 2565883.4646 | 1206917.9985
56 | 2565932.567 | 1206999.3105
57 | 2565896.0095 | 1206929.2534
58 | 2565941.726 | 1206998.6577
59 | 2565927.648 | 1207008.4747
60 | 2565899.8485 | 1206934.5168
61 | 2565950.0491 | 1206998.5081
62 | 2565919.0402 | 1207019.5909
63 | 2565905.5875 | 1207037.6533
64 | 2565973.2672 | 1207085.9008
65 | 2566025.456 | 1207249.5208
66 | 2566123.2714 | 1207356.2092
67 | 2566147.8569 | 1207385.7531
68 | 2566133.682 | 1207389.1273
69 | 2566030.3772 | 1207265.4867
70 | 2566038.4009 | 1207279.3364
71 | 2566042.6911 | 1207287.3528
72 | 2566044.1969 | 1207290.1822
73 | 2566050.6161 | 1207304.4891
74 | 2566057.2502 | 1207335.2403
75 | 2566163.7932 | 1207484.3209
76 | 2566289.3523 | 1207608.7676
77 | 2566261.7805 | 1207426.6241
78 | 2566276.904 | 1207599.5242
79 | 2565932.567 | 1206999.3105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1