## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6459-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6459-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6459-5_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6459-5_0_4_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_6459-5_0_4_node_148 | 0.4 | n |  | TRUE
5 | bus_LV_6459-5_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_6459-5_0_4_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_6459-5_0_4_node_81 | 0.4 | n |  | TRUE
8 | bus_LV_6459-5_0_4_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_6459-5_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6459-5_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_6459-5_0_4_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_6459-5_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_6459-5_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_6459-5_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_6459-5_0_4_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_6459-5_0_4_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_6459-5_0_4_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_6459-5_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_6459-5_0_4_node_149 | 0.4 | n |  | TRUE
20 | bus_LV_6459-5_0_4_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_6459-5_0_4_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_6459-5_0_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_6459-5_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_6459-5_0_4_node_5 | 0.4 | n |  | TRUE
25 | bus_LV_6459-5_0_4_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_6459-5_0_4_node_7 | 0.4 | n |  | TRUE
27 | bus_LV_6459-5_0_4_node_8 | 0.4 | n |  | TRUE
28 | bus_LV_6459-5_0_4_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_6459-5_0_4_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_6459-5_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_6459-5_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6459-5_0_4_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_6459-5_0_4_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_6459-5_0_4_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_6459-5_0_4_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_6459-5_0_4_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_6459-5_0_4_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_6459-5_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_6459-5_0_4_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_6459-5_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_6459-5_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6459-5_0_4_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_6459-5_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6459-5_0_4_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_6459-5_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6459-5_0_4_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_6459-5_0_4_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_6459-5_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_6459-5_0_4_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_6459-5_0_4_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_6459-5_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_6459-5_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_6459-5_0_4_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6459-5_0_4_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_6459-5_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_6459-5_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_6459-5_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_6459-5_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_6459-5_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6459-5_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_6459-5_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_6459-5_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6459-5_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6459-5_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6459-5_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6459-5_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_6459-5_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6459-5_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_6459-5_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6459-5_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6459-5_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_6459-5_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_6459-5_0_4_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_6459-5_0_4_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_6459-5_0_4_node_120 | 0.4 | n |  | TRUE
76 | bus_LV_6459-5_0_4_node_119 | 0.4 | n |  | TRUE
77 | bus_LV_6459-5_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_6459-5_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_6459-5_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_6459-5_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_6459-5_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6459-5_0_4_node_122 | 0.4 | n |  | TRUE
83 | bus_LV_6459-5_0_4_node_121 | 0.4 | n |  | TRUE
84 | bus_LV_6459-5_0_4_node_123 | 0.4 | n |  | TRUE
85 | bus_LV_6459-5_0_4_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_6459-5_0_4_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_6459-5_0_4_node_124 | 0.4 | n |  | TRUE
88 | bus_LV_6459-5_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_6459-5_0_4_node_118 | 0.4 | n |  | TRUE
90 | bus_LV_6459-5_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_6459-5_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_6459-5_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_6459-5_0_4_node_152 | 0.4 | n |  | TRUE
94 | bus_LV_6459-5_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_6459-5_0_4_node_151 | 0.4 | n |  | TRUE
96 | bus_LV_6459-5_0_4_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_6459-5_0_4_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_6459-5_0_4_node_150 | 0.4 | n |  | TRUE
99 | bus_LV_6459-5_0_4_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_6459-5_0_4_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_6459-5_0_4_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_6459-5_0_4_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_6459-5_0_4_node_110 | 0.4 | n |  | TRUE
104 | bus_LV_6459-5_0_4_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_6459-5_0_4_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_6459-5_0_4_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_6459-5_0_4_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_6459-5_0_4_node_94 | 0.4 | n |  | TRUE
109 | bus_LV_6459-5_0_4_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_6459-5_0_4_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_6459-5_0_4_node_96 | 0.4 | n |  | TRUE
112 | bus_LV_6459-5_0_4_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_6459-5_0_4_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_6459-5_0_4_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_6459-5_0_4_node_106 | 0.4 | n |  | TRUE
116 | bus_LV_6459-5_0_4_node_107 | 0.4 | n |  | TRUE
117 | bus_LV_6459-5_0_4_node_108 | 0.4 | n |  | TRUE
118 | bus_LV_6459-5_0_4_node_127 | 0.4 | n |  | TRUE
119 | bus_LV_6459-5_0_4_node_136 | 0.4 | n |  | TRUE
120 | bus_LV_6459-5_0_4_node_133 | 0.4 | n |  | TRUE
121 | bus_LV_6459-5_0_4_node_125 | 0.4 | n |  | TRUE
122 | bus_LV_6459-5_0_4_node_139 | 0.4 | n |  | TRUE
123 | bus_LV_6459-5_0_4_node_138 | 0.4 | n |  | TRUE
124 | bus_LV_6459-5_0_4_node_134 | 0.4 | n |  | TRUE
125 | bus_LV_6459-5_0_4_node_111 | 0.4 | n |  | TRUE
126 | bus_LV_6459-5_0_4_node_112 | 0.4 | n |  | TRUE
127 | bus_LV_6459-5_0_4_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_6459-5_0_4_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_6459-5_0_4_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_6459-5_0_4_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_6459-5_0_4_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_6459-5_0_4_node_153 | 0.4 | n |  | TRUE
133 | bus_LV_6459-5_0_4_node_132 | 0.4 | n |  | TRUE
134 | bus_LV_6459-5_0_4_node_131 | 0.4 | n |  | TRUE
135 | bus_LV_6459-5_0_4_node_130 | 0.4 | n |  | TRUE
136 | bus_LV_6459-5_0_4_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_6459-5_0_4_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_6459-5_0_4_node_129 | 0.4 | n |  | TRUE
139 | bus_LV_6459-5_0_4_node_135 | 0.4 | n |  | TRUE
140 | bus_LV_6459-5_0_4_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_6459-5_0_4_node_142 | 0.4 | n |  | TRUE
142 | bus_LV_6459-5_0_4_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_6459-5_0_4_node_141 | 0.4 | n |  | TRUE
144 | bus_LV_6459-5_0_4_node_143 | 0.4 | n |  | TRUE
145 | bus_LV_6459-5_0_4_node_144 | 0.4 | n |  | TRUE
146 | bus_LV_6459-5_0_4_node_147 | 0.4 | n |  | TRUE
147 | bus_MV_444_2_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6459-5_0_4_load_0 | 0 | 0.0021204 | 0.00053142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6459-5_0_4_load_148 | 4 | 0.0049507 | 0.0012408 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6459-5_0_4_load_81 | 7 | 0.0042051 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6459-5_0_4_load_43 | 10 | 0.0030579 | 0.00076639 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6459-5_0_4_load_42 | 11 | 0.0028903 | 0.00072438 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6459-5_0_4_load_69 | 12 | 0.0090937 | 0.0022791 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6459-5_0_4_load_68 | 14 | 0.0091272 | 0.0022875 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6459-5_0_4_load_73 | 15 | 0.0014979 | 0.00037542 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6459-5_0_4_load_74 | 16 | 0.002447 | 0.00061327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6459-5_0_4_load_75 | 17 | 0.0046854 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6459-5_0_4_load_149 | 19 | 0.0038182 | 0.00095693 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6459-5_0_4_load_78 | 20 | 0.0038362 | 0.00096143 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6459-5_0_4_load_79 | 21 | 0.0020655 | 0.00051767 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6459-5_0_4_load_80 | 22 | 0.004151 | 0.0010403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6459-5_0_4_load_41 | 23 | 0.0038177 | 0.00095681 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6459-5_0_4_load_5 | 24 | 0.0014248 | 0.00035708 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6459-5_0_4_load_6 | 25 | 0.0099937 | 0.0025047 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6459-5_0_4_load_8 | 27 | 0.0022421 | 0.00056192 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6459-5_0_4_load_9 | 28 | 0.0018555 | 0.00046502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6459-5_0_4_load_10 | 29 | 0.001379 | 0.0003456 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6459-5_0_4_load_31 | 30 | 0.0019739 | 0.00049471 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6459-5_0_4_load_20 | 31 | 0.001957 | 0.00049047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6459-5_0_4_load_11 | 32 | 0.0037567 | 0.00094152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6459-5_0_4_load_12 | 33 | 0.00069162 | 0.00017334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6459-5_0_4_load_98 | 35 | 0.0063296 | 0.0015863 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6459-5_0_4_load_97 | 36 | 0.0043288 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6459-5_0_4_load_15 | 37 | 0.0021996 | 0.00055128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6459-5_0_4_load_16 | 38 | 0.0029312 | 0.00073462 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6459-5_0_4_load_18 | 40 | 0.00049985 | 0.00012527 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6459-5_0_4_load_99 | 42 | 0.004406 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6459-5_0_4_load_28 | 43 | 0.001826 | 0.00045765 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6459-5_0_4_load_29 | 45 | 0.0023213 | 0.00058177 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6459-5_0_4_load_21 | 46 | 0.0035562 | 0.00089127 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6459-5_0_4_load_25 | 49 | 0.0046285 | 0.00116 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6459-5_0_4_load_26 | 50 | 0.0036606 | 0.00091742 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6459-5_0_4_load_27 | 51 | 0.0042088 | 0.0010548 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6459-5_0_4_load_38 | 52 | 0.0077915 | 0.0019527 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6459-5_0_4_load_32 | 54 | 0.0024418 | 0.00061197 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6459-5_0_4_load_37 | 55 | 0.0026454 | 0.00066301 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6459-5_0_4_load_36 | 56 | 0.0032081 | 0.00080403 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6459-5_0_4_load_33 | 57 | 0.00081661 | 0.00020466 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6459-5_0_4_load_50 | 60 | 0.0018974 | 0.00047554 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6459-5_0_4_load_51 | 61 | 0.0012172 | 0.00030505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6459-5_0_4_load_49 | 62 | 0.0011419 | 0.00028618 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6459-5_0_4_load_52 | 64 | 0.0033489 | 0.0008393 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6459-5_0_4_load_45 | 66 | 0.0029406 | 0.00073698 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6459-5_0_4_load_47 | 67 | 0.0029113 | 0.00072965 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6459-5_0_4_load_44 | 68 | 0.0037906 | 0.00095001 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6459-5_0_4_load_56 | 69 | 0.00401 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6459-5_0_4_load_57 | 70 | 0.0031641 | 0.000793 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6459-5_0_4_load_58 | 71 | 0.011531 | 0.0028898 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6459-5_0_4_load_60 | 72 | 0.0097032 | 0.0024318 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6459-5_0_4_load_48 | 74 | 0.0037168 | 0.00093152 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6459-5_0_4_load_120 | 75 | 0.0031618 | 0.00079243 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6459-5_0_4_load_119 | 76 | 0.00314 | 0.00078696 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6459-5_0_4_load_62 | 78 | 0.0032104 | 0.0008046 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6459-5_0_4_load_65 | 79 | 0.0022398 | 0.00056135 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6459-5_0_4_load_64 | 80 | 0.0038539 | 0.00096588 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6459-5_0_4_load_63 | 81 | 0.0035811 | 0.00089751 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6459-5_0_4_load_122 | 82 | 0.0037201 | 0.00093235 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6459-5_0_4_load_123 | 84 | 0.0016469 | 0.00041275 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6459-5_0_4_load_67 | 86 | 0.0091004 | 0.0022808 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6459-5_0_4_load_124 | 87 | 0.00083537 | 0.00020936 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6459-5_0_4_load_77 | 88 | 0.0068726 | 0.0017224 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6459-5_0_4_load_118 | 89 | 0.0011093 | 0.00027801 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6459-5_0_4_load_71 | 91 | 0.0071205 | 0.0017846 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6459-5_0_4_load_152 | 93 | 0.077705 | 0.019475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6459-5_0_4_load_83 | 94 | 0.001096 | 0.00027469 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6459-5_0_4_load_151 | 95 | 0.0025097 | 0.00062899 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6459-5_0_4_load_84 | 96 | 0.0002556 | 6.4059e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6459-5_0_4_load_85 | 97 | 0.00081392 | 0.00020399 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6459-5_0_4_load_150 | 98 | 0.0029106 | 0.00072947 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6459-5_0_4_load_87 | 99 | 0.0029544 | 0.00074044 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6459-5_0_4_load_89 | 101 | 0.0024147 | 0.00060517 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6459-5_0_4_load_110 | 103 | 0.0029722 | 0.0007449 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6459-5_0_4_load_90 | 104 | 0.0014117 | 0.00035381 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6459-5_0_4_load_92 | 106 | 0.0038903 | 0.00097499 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6459-5_0_4_load_93 | 107 | 0.0029362 | 0.00073588 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6459-5_0_4_load_94 | 108 | 0.0012472 | 0.00031257 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6459-5_0_4_load_95 | 109 | 0.0085503 | 0.0021429 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6459-5_0_4_load_101 | 110 | 0.0036395 | 0.00091216 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6459-5_0_4_load_96 | 111 | 0.0050472 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6459-5_0_4_load_102 | 112 | 0.00094003 | 0.00023559 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6459-5_0_4_load_103 | 113 | 0.0022413 | 0.00056171 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6459-5_0_4_load_104 | 114 | 0.0017274 | 0.00043293 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6459-5_0_4_load_127 | 118 | 0.0013973 | 0.00035019 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6459-5_0_4_load_133 | 120 | 0.0012721 | 0.00031881 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6459-5_0_4_load_125 | 121 | 0.00094529 | 0.00023691 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6459-5_0_4_load_138 | 123 | 0.0024114 | 0.00060436 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6459-5_0_4_load_134 | 124 | 0.0010749 | 0.00026941 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6459-5_0_4_load_111 | 125 | 0.0026946 | 0.00067533 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6459-5_0_4_load_112 | 126 | 0.001652 | 0.00041404 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6459-5_0_4_load_113 | 129 | 0.0012483 | 0.00031286 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6459-5_0_4_load_117 | 131 | 0.0008474 | 0.00021238 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6459-5_0_4_load_153 | 132 | 0.002558 | 0.0006411 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6459-5_0_4_load_131 | 134 | 0.0016795 | 0.00042091 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6459-5_0_4_load_126 | 136 | 0.00080511 | 0.00020178 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6459-5_0_4_load_128 | 137 | 0.0011926 | 0.00029889 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6459-5_0_4_load_129 | 138 | 0.0014144 | 0.00035449 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6459-5_0_4_load_135 | 139 | 0.0017395 | 0.00043595 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6459-5_0_4_load_137 | 140 | 0.0026149 | 0.00065536 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6459-5_0_4_load_142 | 141 | 0.00082509 | 0.00020679 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6459-5_0_4_load_140 | 142 | 0.00088633 | 0.00022214 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6459-5_0_4_load_143 | 144 | 0.0010987 | 0.00027535 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6459-5_0_4_load_144 | 145 | 0.00028705 | 7.1942e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6459-5_0_4_load_147 | 146 | 0.00087221 | 0.0002186 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6459-5_0_4_line_0 |  | 0 | 1 | 0.0037342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6459-5_0_4_line_1 |  | 1 | 2 | 0.014361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6459-5_0_4_line_2 |  | 2 | 3 | 0.008936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6459-5_0_4_line_3 |  | 2 | 4 | 0.036299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6459-5_0_4_line_4 |  | 3 | 11 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6459-5_0_4_line_5 |  | 3 | 18 | 0.040641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6459-5_0_4_line_6 |  | 4 | 19 | 0.075636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6459-5_0_4_line_7 |  | 4 | 6 | 0.047614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6459-5_0_4_line_8 |  | 5 | 6 | 0.032878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6459-5_0_4_line_9 |  | 5 | 7 | 0.023497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6459-5_0_4_line_10 |  | 5 | 8 | 0.03832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6459-5_0_4_line_11 |  | 7 | 21 | 0.0021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6459-5_0_4_line_12 |  | 8 | 15 | 0.036757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6459-5_0_4_line_13 |  | 8 | 13 | 0.005932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6459-5_0_4_line_14 |  | 9 | 10 | 0.038271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6459-5_0_4_line_15 |  | 9 | 11 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6459-5_0_4_line_16 |  | 10 | 23 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6459-5_0_4_line_17 |  | 12 | 13 | 0.019966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6459-5_0_4_line_18 |  | 12 | 14 | 0.071379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6459-5_0_4_line_19 |  | 14 | 90 | 0.0091608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6459-5_0_4_line_20 |  | 15 | 16 | 0.028454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6459-5_0_4_line_21 |  | 16 | 17 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6459-5_0_4_line_22 |  | 18 | 52 | 0.054576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6459-5_0_4_line_23 |  | 18 | 47 | 0.006387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6459-5_0_4_line_24 |  | 19 | 98 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6459-5_0_4_line_25 |  | 20 | 21 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6459-5_0_4_line_26 |  | 20 | 22 | 0.0067366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6459-5_0_4_line_27 |  | 23 | 59 | 0.046878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6459-5_0_4_line_28 |  | 24 | 25 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6459-5_0_4_line_29 |  | 24 | 26 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6459-5_0_4_line_30 |  | 26 | 27 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6459-5_0_4_line_31 |  | 26 | 28 | 0.0070479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6459-5_0_4_line_32 |  | 27 | 29 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6459-5_0_4_line_33 |  | 28 | 30 | 0.0093754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6459-5_0_4_line_34 |  | 30 | 31 | 0.0095017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6459-5_0_4_line_35 |  | 31 | 39 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6459-5_0_4_line_36 |  | 32 | 33 | 0.029377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6459-5_0_4_line_37 |  | 33 | 34 | 0.032875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6459-5_0_4_line_38 |  | 34 | 35 | 0.049131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6459-5_0_4_line_39 |  | 35 | 36 | 0.061067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6459-5_0_4_line_40 |  | 36 | 111 | 0.021535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6459-5_0_4_line_41 |  | 37 | 38 | 0.023617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6459-5_0_4_line_42 |  | 37 | 39 | 0.0017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6459-5_0_4_line_43 |  | 38 | 40 | 0.0033872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6459-5_0_4_line_44 |  | 39 | 41 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6459-5_0_4_line_45 |  | 40 | 42 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6459-5_0_4_line_46 |  | 41 | 43 | 0.030073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6459-5_0_4_line_47 |  | 42 | 44 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6459-5_0_4_line_48 |  | 43 | 45 | 0.0237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6459-5_0_4_line_49 |  | 44 | 110 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6459-5_0_4_line_50 |  | 44 | 107 | 0.019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6459-5_0_4_line_51 |  | 45 | 53 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6459-5_0_4_line_52 |  | 46 | 47 | 0.0082017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6459-5_0_4_line_53 |  | 46 | 48 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6459-5_0_4_line_54 |  | 47 | 49 | 0.024042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6459-5_0_4_line_55 |  | 48 | 50 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6459-5_0_4_line_56 |  | 48 | 51 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6459-5_0_4_line_57 |  | 49 | 53 | 0.034334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6459-5_0_4_line_58 |  | 51 | 54 | 0.041393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6459-5_0_4_line_59 |  | 53 | 55 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6459-5_0_4_line_60 |  | 55 | 56 | 0.020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6459-5_0_4_line_61 |  | 56 | 58 | 0.065244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6459-5_0_4_line_62 |  | 57 | 58 | 0.023563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6459-5_0_4_line_63 |  | 59 | 69 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6459-5_0_4_line_64 |  | 59 | 65 | 0.033255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6459-5_0_4_line_65 |  | 60 | 61 | 0.0016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6459-5_0_4_line_66 |  | 60 | 62 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6459-5_0_4_line_67 |  | 61 | 63 | 0.036899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6459-5_0_4_line_68 |  | 62 | 67 | 0.028337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6459-5_0_4_line_69 |  | 63 | 64 | 0.04059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6459-5_0_4_line_70 |  | 64 | 65 | 0.0011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6459-5_0_4_line_71 |  | 66 | 67 | 0.0018022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6459-5_0_4_line_72 |  | 66 | 68 | 0.041126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6459-5_0_4_line_73 |  | 68 | 73 | 0.020068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6459-5_0_4_line_74 |  | 69 | 70 | 0.011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6459-5_0_4_line_75 |  | 70 | 71 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6459-5_0_4_line_76 |  | 71 | 72 | 0.0036308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6459-5_0_4_line_77 |  | 73 | 74 | 0.047758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6459-5_0_4_line_78 |  | 74 | 77 | 0.00048067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6459-5_0_4_line_79 |  | 75 | 76 | 0.024525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6459-5_0_4_line_80 |  | 76 | 83 | 0.0080758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6459-5_0_4_line_81 |  | 77 | 78 | 0.01967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_6459-5_0_4_line_82 |  | 78 | 79 | 0.04056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6459-5_0_4_line_83 |  | 79 | 80 | 0.0099133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6459-5_0_4_line_84 |  | 80 | 81 | 0.011564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_6459-5_0_4_line_85 |  | 81 | 82 | 0.054303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_6459-5_0_4_line_86 |  | 82 | 83 | 0.018958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6459-5_0_4_line_87 |  | 83 | 84 | 0.033501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_6459-5_0_4_line_88 |  | 84 | 133 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_6459-5_0_4_line_89 |  | 85 | 86 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_6459-5_0_4_line_90 |  | 85 | 87 | 0.04085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_6459-5_0_4_line_91 |  | 86 | 88 | 0.023306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6459-5_0_4_line_92 |  | 87 | 89 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_6459-5_0_4_line_93 |  | 89 | 130 | 0.012846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_6459-5_0_4_line_94 |  | 90 | 91 | 0.004969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6459-5_0_4_line_95 |  | 92 | 93 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6459-5_0_4_line_96 |  | 92 | 94 | 0.063582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6459-5_0_4_line_97 |  | 94 | 95 | 0.039363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6459-5_0_4_line_98 |  | 95 | 98 | 0.053614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6459-5_0_4_line_99 |  | 95 | 96 | 0.033855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6459-5_0_4_line_100 |  | 96 | 97 | 0.0011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6459-5_0_4_line_101 |  | 99 | 100 | 0.048825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6459-5_0_4_line_102 |  | 100 | 101 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6459-5_0_4_line_103 |  | 101 | 102 | 0.0088979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6459-5_0_4_line_104 |  | 102 | 103 | 0.017448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6459-5_0_4_line_105 |  | 103 | 125 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_6459-5_0_4_line_106 |  | 104 | 105 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6459-5_0_4_line_107 |  | 105 | 106 | 0.019626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6459-5_0_4_line_108 |  | 105 | 107 | 0.055317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6459-5_0_4_line_109 |  | 106 | 108 | 0.0001655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6459-5_0_4_line_110 |  | 108 | 109 | 0.035594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6459-5_0_4_line_111 |  | 109 | 111 | 0.0052954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6459-5_0_4_line_112 |  | 110 | 112 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6459-5_0_4_line_113 |  | 113 | 114 | 0.012557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6459-5_0_4_line_114 |  | 114 | 115 | 0.036989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6459-5_0_4_line_115 |  | 115 | 116 | 0.007463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_6459-5_0_4_line_116 |  | 115 | 117 | 0.013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_6459-5_0_4_line_117 |  | 116 | 118 | 0.053289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_6459-5_0_4_line_118 |  | 117 | 119 | 0.040875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_6459-5_0_4_line_119 |  | 117 | 120 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_6459-5_0_4_line_120 |  | 118 | 121 | 0.03264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_6459-5_0_4_line_121 |  | 119 | 122 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_6459-5_0_4_line_122 |  | 119 | 123 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6459-5_0_4_line_123 |  | 120 | 124 | 0.0084671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6459-5_0_4_line_124 |  | 121 | 136 | 0.025946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_6459-5_0_4_line_125 |  | 122 | 141 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6459-5_0_4_line_126 |  | 122 | 142 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_6459-5_0_4_line_127 |  | 124 | 139 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6459-5_0_4_line_128 |  | 125 | 126 | 0.081605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_6459-5_0_4_line_129 |  | 126 | 127 | 0.045963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
130 | LV_6459-5_0_4_line_130 |  | 127 | 128 | 0.003199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_6459-5_0_4_line_131 |  | 127 | 129 | 0.019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_6459-5_0_4_line_132 |  | 128 | 132 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6459-5_0_4_line_133 |  | 128 | 133 | 0.060989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_6459-5_0_4_line_134 |  | 129 | 130 | 0.02867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_6459-5_0_4_line_135 |  | 130 | 131 | 0.017455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6459-5_0_4_line_136 |  | 132 | 134 | 0.044789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6459-5_0_4_line_137 |  | 133 | 135 | 0.021474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_6459-5_0_4_line_138 |  | 135 | 138 | 0.0072118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
139 | LV_6459-5_0_4_line_139 |  | 136 | 137 | 0.023126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
140 | LV_6459-5_0_4_line_140 |  | 137 | 138 | 0.028497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
141 | LV_6459-5_0_4_line_141 |  | 139 | 140 | 0.041585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6459-5_0_4_line_142 |  | 142 | 143 | 0.0081066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
143 | LV_6459-5_0_4_line_143 |  | 143 | 144 | 0.026252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
144 | LV_6459-5_0_4_line_144 |  | 144 | 145 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
145 | LV_6459-5_0_4_line_145 |  | 145 | 146 | 0.10439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6459-5_0_4_trafo_82 | 0.63 MVA 20/0.4 kV | 147 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2565286.8032 | 1207150.4046 | 2565290.415 | 1207151.353
1 | 2565286.8032 | 1207150.4046 | 2565273.061 | 1207146.1046
2 | 2565281.2904 | 1207142.5657 | 2565273.061 | 1207146.1046
3 | 2565273.061 | 1207146.1046 | 2565264.0148 | 1207145.179 | 2565252.2706 | 1207143.202 | 2565237.4233 | 1207139.5222
4 | 2565281.2904 | 1207142.5657 | 2565286.4495 | 1207141.9019 | 2565292.1905 | 1207141.9351 | 2565297.9823 | 1207142.8463
5 | 2565298.3898 | 1207108.4356 | 2565295.8871 | 1207112.1634 | 2565292.9862 | 1207111.5021 | 2565283.2958 | 1207137.0064 | 2565281.2904 | 1207142.5657
6 | 2565237.4233 | 1207139.5222 | 2565232.9443 | 1207138.4122 | 2565208.9075 | 1207131.6821 | 2565176.4583 | 1207121.9108 | 2565164.9235 | 1207118.0243
7 | 2565237.4233 | 1207139.5222 | 2565236.6051 | 1207187.1294
8 | 2565236.6051 | 1207187.1294 | 2565252.0921 | 1207192.0529 | 2565268.064 | 1207196.6734
9 | 2565268.064 | 1207196.6734 | 2565266.0216 | 1207202.3886 | 2565265.0929 | 1207204.8065 | 2565258.059 | 1207217.8709
10 | 2565268.064 | 1207196.6734 | 2565280.8806 | 1207200.0339 | 2565305.1748 | 1207206.6293
11 | 2565258.059 | 1207217.8709 | 2565257.0618 | 1207219.723
12 | 2565305.1748 | 1207206.6293 | 2565300.9884 | 1207214.9917 | 2565287.2632 | 1207238.7121
13 | 2565305.1748 | 1207206.6293 | 2565307.4671 | 1207207.2496 | 2565310.969 | 1207207.9629
14 | 2565307.7874 | 1207146.1243 | 2565312.8391 | 1207147.907 | 2565317.9945 | 1207150.534 | 2565322.8306 | 1207153.1628 | 2565341.8476 | 1207163.4546
15 | 2565307.7874 | 1207146.1243 | 2565302.9034 | 1207144.4073 | 2565297.9823 | 1207142.8463
16 | 2565341.8476 | 1207163.4546 | 2565344.0893 | 1207164.6678 | 2565353.5646 | 1207168.7816 | 2565359.2055 | 1207171.2057 | 2565363.7461 | 1207172.7134 | 2565366.6581 | 1207173.2954
17 | 2565310.969 | 1207207.9629 | 2565304.6191 | 1207218.2502 | 2565300.9167 | 1207225.2022
18 | 2565298.4418 | 1207284.5067 | 2565292.1557 | 1207279.3241 | 2565286.6714 | 1207275.0536 | 2565284.6293 | 1207273.0088 | 2565283.6088 | 1207271.425 | 2565282.4014 | 1207269.0974 | 2565281.8377 | 1207267.611 | 2565281.3777 | 1207265.657 | 2565281.2821 | 1207263.6119 | 2565281.747 | 1207261.1967 | 2565300.9167 | 1207225.2022
19 | 2565303.4116 | 1207291.5098 | 2565303.4089 | 1207289.7421 | 2565302.7604 | 1207288.0672 | 2565298.4418 | 1207284.5067
20 | 2565287.2632 | 1207238.7121 | 2565273.0124 | 1207263.3407
21 | 2565267.7987 | 1207272.3511 | 2565273.0124 | 1207263.3407
22 | 2565298.3898 | 1207108.4356 | 2565305.0777 | 1207111.754 | 2565325.5158 | 1207122.0407 | 2565331.9491 | 1207124.7381 | 2565337.2744 | 1207126.4859 | 2565340.0258 | 1207127.6038 | 2565343.9533 | 1207129.582 | 2565347.6957 | 1207131.6621
23 | 2565292.505 | 1207105.9129 | 2565298.3898 | 1207108.4356
24 | 2565155.2058 | 1207114.75 | 2565164.9235 | 1207118.0243
25 | 2565244.8628 | 1207242.3807 | 2565257.0618 | 1207219.723
26 | 2565241.6692 | 1207248.3122 | 2565244.8628 | 1207242.3807
27 | 2565366.6581 | 1207173.2954 | 2565366.1666 | 1207220.1706
28 | 2565323.6356 | 1207027.809 | 2565340.4497 | 1207027.6586
29 | 2565308.3512 | 1207027.6541 | 2565323.4686 | 1207027.8105 | 2565323.6356 | 1207027.809
30 | 2565308.3512 | 1207027.6541 | 2565308.8233 | 1207007.4926
31 | 2565308.3512 | 1207027.6541 | 2565301.3036 | 1207027.5797
32 | 2565308.3208 | 1206991.1558 | 2565308.9904 | 1207000.3571 | 2565308.8233 | 1207007.4926
33 | 2565301.3036 | 1207027.5797 | 2565293.4238 | 1207027.4965 | 2565291.9295 | 1207027.4487
34 | 2565291.9295 | 1207027.4487 | 2565282.4327 | 1207027.1446
35 | 2565265.3143 | 1207026.5489 | 2565276.6845 | 1207026.9605 | 2565282.4327 | 1207027.1446
36 | 2565264.9255 | 1206945.6387 | 2565235.9562 | 1206940.7607
37 | 2565240.45 | 1206908.1938 | 2565235.9562 | 1206940.7607 | 2565235.9562 | 1206940.7607
38 | 2565240.45 | 1206908.1938 | 2565232.3772 | 1206907.3627 | 2565191.4396 | 1206904.8286
39 | 2565142.512 | 1206926.0588 | 2565146.4828 | 1206916.6036 | 2565150.4869 | 1206910.8546 | 2565155.8677 | 1206905.1755 | 2565159.9485 | 1206903.4284 | 2565165.7568 | 1206903.2387 | 2565191.4396 | 1206904.8286
40 | 2565142.512 | 1206926.0588 | 2565141.3157 | 1206928.9074 | 2565139.5737 | 1206936.5664 | 2565137.2742 | 1206946.905
41 | 2565263.6067 | 1207026.3232 | 2565240.193 | 1207023.2297
42 | 2565265.3143 | 1207026.5489 | 2565263.6067 | 1207026.3232
43 | 2565240.193 | 1207023.2297 | 2565236.835 | 1207022.786
44 | 2565265.3143 | 1207026.5489 | 2565261.3194 | 1207029.9741 | 2565255.945 | 1207032.8404
45 | 2565223.6339 | 1207021.0418 | 2565236.835 | 1207022.786
46 | 2565255.945 | 1207032.8404 | 2565258.1819 | 1207038.2749 | 2565254.5705 | 1207039.6634 | 2565253.411 | 1207040.3261 | 2565252.5006 | 1207041.9768 | 2565247.7874 | 1207058.4214
47 | 2565197.327 | 1207017.2963 | 2565222.768 | 1207020.9274 | 2565223.6339 | 1207021.0418
48 | 2565240.3278 | 1207080.905 | 2565244.2853 | 1207070.074 | 2565245.7118 | 1207065.6632 | 2565247.7874 | 1207058.4214
49 | 2565197.327 | 1207017.2963 | 2565201.062 | 1207001.6777
50 | 2565197.327 | 1207017.2963 | 2565178.4833 | 1207014.6028
51 | 2565235.634 | 1207093.8157 | 2565237.5196 | 1207088.5906 | 2565240.3278 | 1207080.905
52 | 2565292.505 | 1207105.9129 | 2565293.955 | 1207102.9138 | 2565295.1775 | 1207101.3169 | 2565297.3413 | 1207099.4477
53 | 2565310.3128 | 1207095.4254 | 2565306.6521 | 1207096.1805 | 2565299.7742 | 1207098.0883 | 2565297.3413 | 1207099.4477
54 | 2565292.505 | 1207105.9129 | 2565285.2059 | 1207103.3985 | 2565281.1697 | 1207102.3436 | 2565276.0151 | 1207101.173 | 2565271.6243 | 1207100.5872 | 2565269.2005 | 1207100.3624
55 | 2565310.3128 | 1207095.4254 | 2565305.4951 | 1207085.5367
56 | 2565310.3128 | 1207095.4254 | 2565317.4137 | 1207093.9498 | 2565325.5617 | 1207092.1145
57 | 2565235.634 | 1207093.8157 | 2565246.8552 | 1207097.3744 | 2565252.6558 | 1207098.4856 | 2565259.444 | 1207099.4577 | 2565269.2005 | 1207100.3624
58 | 2565365.9128 | 1207082.888 | 2565341.228 | 1207088.5859 | 2565325.5617 | 1207092.1145
59 | 2565235.634 | 1207093.8157 | 2565230.1786 | 1207091.9243 | 2565224.5852 | 1207089.8447 | 2565219.2423 | 1207087.8777
60 | 2565199.9141 | 1207082.1428 | 2565200.5282 | 1207082.2921 | 2565213.4673 | 1207085.7518 | 2565219.2423 | 1207087.8777
61 | 2565136.4375 | 1207067.0585 | 2565188.695 | 1207079.4152 | 2565199.9141 | 1207082.1428
62 | 2565136.4375 | 1207067.0585 | 2565138.2889 | 1207062.4895 | 2565143.9633 | 1207044.7414
63 | 2565366.1666 | 1207220.1706 | 2565363.018 | 1207226.5703 | 2565357.9315 | 1207237.237
64 | 2565366.1666 | 1207220.1706 | 2565377.5613 | 1207222.2277 | 2565392.5295 | 1207224.264 | 2565399.1778 | 1207224.7368
65 | 2565418.6575 | 1207264.9045 | 2565417.7163 | 1207266.3091
66 | 2565409.788 | 1207278.1795 | 2565412.4371 | 1207274.1877 | 2565417.7163 | 1207266.3091
67 | 2565439.4424 | 1207234.4639 | 2565435.7951 | 1207238.8209 | 2565433.0995 | 1207243.3724 | 2565425.6667 | 1207254.4441 | 2565418.6575 | 1207264.9045
68 | 2565409.788 | 1207278.1795 | 2565406.0453 | 1207283.8191 | 2565395.9954 | 1207302.903
69 | 2565439.4424 | 1207234.4639 | 2565432.3585 | 1207231.0142 | 2565427.1341 | 1207229.5771 | 2565421.5067 | 1207228.1423 | 2565414.8592 | 1207226.5022 | 2565406.8455 | 1207225.2925 | 2565400.3289 | 1207224.8202
70 | 2565399.1778 | 1207224.7368 | 2565400.3289 | 1207224.8202
71 | 2565395.1556 | 1207304.4976 | 2565395.9954 | 1207302.903
72 | 2565375.5377 | 1207340.6331 | 2565378.3076 | 1207336.0878 | 2565383.7998 | 1207326.0613 | 2565395.1556 | 1207304.4976
73 | 2565363.5398 | 1207356.6742 | 2565367.6557 | 1207351.8698 | 2565370.909 | 1207347.7819 | 2565374.8129 | 1207341.8224 | 2565375.5377 | 1207340.6331
74 | 2565357.9315 | 1207237.237 | 2565353.0606 | 1207247.4519
75 | 2565340.6582 | 1207275.3942 | 2565349.5416 | 1207254.8314 | 2565353.0606 | 1207247.4519
76 | 2565339.2183 | 1207278.7273 | 2565340.6582 | 1207275.3942
77 | 2565363.5398 | 1207356.6742 | 2565358.8198 | 1207356.9796 | 2565354.7346 | 1207356.6143 | 2565348.5942 | 1207355.8607 | 2565341.032 | 1207353.8036 | 2565334.7413 | 1207352.0504 | 2565327.398 | 1207349.7252 | 2565317.2795 | 1207346.3374
78 | 2565317.2795 | 1207346.3374 | 2565316.8237 | 1207346.1848
79 | 2565245.8391 | 1207391.0526 | 2565267.6044 | 1207402.3561
80 | 2565238.6722 | 1207387.3306 | 2565245.8391 | 1207391.0526
81 | 2565316.8237 | 1207346.1848 | 2565304.4002 | 1207341.0765 | 2565298.7229 | 1207338.4928
82 | 2565260.0228 | 1207326.9187 | 2565260.7499 | 1207326.9898 | 2565267.44 | 1207328.1069 | 2565273.355 | 1207329.3287 | 2565280.7352 | 1207331.4535 | 2565286.8685 | 1207333.5856 | 2565294.68 | 1207336.6529 | 2565298.7229 | 1207338.4928
83 | 2565260.0228 | 1207326.9187 | 2565251.9477 | 1207326.1296 | 2565250.1482 | 1207326.1008
84 | 2565238.6901 | 1207327.4109 | 2565242.3413 | 1207326.8972 | 2565247.3623 | 1207326.0563 | 2565250.1482 | 1207326.1008
85 | 2565221.6144 | 1207378.9588 | 2565238.6901 | 1207327.4109
86 | 2565238.6722 | 1207387.3306 | 2565221.6144 | 1207378.9588
87 | 2565238.6722 | 1207387.3306 | 2565220.6334 | 1207415.5608
88 | 2565210.3425 | 1207431.6657 | 2565220.6334 | 1207415.5608
89 | 2565153.3164 | 1207300.425 | 2565153.3558 | 1207298.0679 | 2565152.5973 | 1207295.7821 | 2565150.9971 | 1207293.9015 | 2565148.9864 | 1207292.0345 | 2565146.4242 | 1207289.4703 | 2565145.4875 | 1207288.6314
90 | 2565147.4323 | 1207340.849 | 2565153.3164 | 1207300.425
91 | 2565145.4875 | 1207288.6314 | 2565143.168 | 1207286.5543 | 2565140.1107 | 1207283.8485 | 2565137.2027 | 1207280.6637 | 2565136.0916 | 1207279.2027 | 2565135.2607 | 1207277.54 | 2565134.7027 | 1207275.7422 | 2565134.4248 | 1207273.7316 | 2565134.5671 | 1207272.0632 | 2565134.9098 | 1207269.5709
92 | 2565147.4323 | 1207340.849 | 2565166.0302 | 1207352.2891
93 | 2565176.9718 | 1207359.0197 | 2565166.0302 | 1207352.2891
94 | 2565303.4116 | 1207291.5098 | 2565303.1264 | 1207293.457 | 2565302.0097 | 1207296.2429
95 | 2565157.0157 | 1207181.6695 | 2565155.7527 | 1207182.8331 | 2565153.7796 | 1207184.8013 | 2565149.6792 | 1207189.6503 | 2565145.3392 | 1207195.1232
96 | 2565117.175 | 1207132.1176 | 2565157.0157 | 1207181.6695
97 | 2565105.575 | 1207094.5031 | 2565117.175 | 1207132.1176
98 | 2565155.2058 | 1207114.75 | 2565153.5942 | 1207114.2069 | 2565130.1974 | 1207105.1277 | 2565105.575 | 1207094.5031
99 | 2565105.575 | 1207094.5031 | 2565080.1253 | 1207116.83
100 | 2565080.1253 | 1207116.83 | 2565079.1073 | 1207116.4016
101 | 2564990.8941 | 1207277.9765 | 2565012.8265 | 1207268.2643 | 2565026.0606 | 1207265.0402 | 2565037.2744 | 1207264.7742
102 | 2564990.8941 | 1207277.9765 | 2565000.148 | 1207285.782 | 2565011.0318 | 1207295.9992
103 | 2565017.5192 | 1207302.0891 | 2565011.0318 | 1207295.9992
104 | 2565017.5192 | 1207302.0891 | 2565020.8756 | 1207305.2379 | 2565030.2403 | 1207314.0313
105 | 2565030.2403 | 1207314.0313 | 2565044.0193 | 1207326.9698 | 2565048.1294 | 1207329.916
106 | 2565123.8302 | 1207006.0757 | 2565106.9052 | 1207002.9483
107 | 2565123.8302 | 1207006.0757 | 2565127.8752 | 1206989.1647 | 2565128.361 | 1206986.9805
108 | 2565123.8302 | 1207006.0757 | 2565151.9993 | 1207010.6689 | 2565159.1462 | 1207011.8388 | 2565178.4833 | 1207014.6028
109 | 2565128.361 | 1206986.9805 | 2565128.3969 | 1206986.819
110 | 2565136.1246 | 1206952.0741 | 2565128.3969 | 1206986.819
111 | 2565136.1246 | 1206952.0741 | 2565137.2742 | 1206946.905
112 | 2565204.9572 | 1206985.3892 | 2565201.062 | 1207001.6777
113 | 2565449.862 | 1207482.2291 | 2565449.1452 | 1207481.992 | 2565437.3642 | 1207482.6884
114 | 2565400.554 | 1207486.1877 | 2565424.1161 | 1207483.4715 | 2565437.3642 | 1207482.6884
115 | 2565400.554 | 1207486.1877 | 2565393.1206 | 1207485.3194
116 | 2565400.554 | 1207486.1877 | 2565398.0816 | 1207493.7953 | 2565394.7967 | 1207497.661
117 | 2565393.1206 | 1207485.3194 | 2565340.2213 | 1207478.8864
118 | 2565368.2982 | 1207528.8439 | 2565394.7967 | 1207497.661
119 | 2565394.7967 | 1207497.661 | 2565403.0266 | 1207509.9757 | 2565406.4087 | 1207512.2267
120 | 2565308.1556 | 1207473.0232 | 2565309.9709 | 1207473.6079 | 2565328.5607 | 1207477.4684 | 2565340.2213 | 1207478.8864
121 | 2565368.2982 | 1207528.8439 | 2565361.0866 | 1207537.3351 | 2565349.7592 | 1207549.3301
122 | 2565368.2982 | 1207528.8439 | 2565392.6154 | 1207545.2104
123 | 2565406.4087 | 1207512.2267 | 2565413.4573 | 1207516.918
124 | 2565308.1556 | 1207473.0232 | 2565291.5972 | 1207467.6894 | 2565283.7301 | 1207464.3412
125 | 2565349.7592 | 1207549.3301 | 2565339.0466 | 1207562.8485
126 | 2565349.7592 | 1207549.3301 | 2565358.1197 | 1207561.4104
127 | 2565413.4573 | 1207516.918 | 2565429.4335 | 1207527.551
128 | 2565114.5841 | 1207377.1282 | 2565098.3703 | 1207367.3403 | 2565080.9682 | 1207353.4679 | 2565054.5107 | 1207334.4902 | 2565048.1294 | 1207329.916
129 | 2565153.9352 | 1207400.8782 | 2565129.5408 | 1207386.1572 | 2565114.5841 | 1207377.1282
130 | 2565153.9352 | 1207400.8782 | 2565156.6821 | 1207402.5297
131 | 2565153.9352 | 1207400.8782 | 2565163.1484 | 1207384.1375
132 | 2565156.6821 | 1207402.5297 | 2565144.9183 | 1207421.7761
133 | 2565156.6821 | 1207402.5297 | 2565183.5026 | 1207418.6708 | 2565210.3425 | 1207431.6657
134 | 2565176.9718 | 1207359.0197 | 2565163.1484 | 1207384.1375
135 | 2565176.9718 | 1207359.0197 | 2565193.3189 | 1207365.1396
136 | 2565144.9183 | 1207421.7761 | 2565172.3535 | 1207457.1789
137 | 2565210.3425 | 1207431.6657 | 2565229.6649 | 1207441.147
138 | 2565229.6649 | 1207441.147 | 2565232.4863 | 1207442.5313 | 2565236.2304 | 1207444.1249
139 | 2565262.4517 | 1207455.2848 | 2565283.7301 | 1207464.3412
140 | 2565262.4517 | 1207455.2848 | 2565236.2304 | 1207444.1249
141 | 2565457.5072 | 1207511.8159 | 2565440.1525 | 1207534.6851 | 2565429.4335 | 1207527.551
142 | 2565362.733 | 1207568.0763 | 2565358.1197 | 1207561.4104
143 | 2565362.733 | 1207568.0763 | 2565357.9668 | 1207581.3115 | 2565351.682 | 1207591.7498
144 | 2565351.682 | 1207591.7498 | 2565343.968 | 1207604.5617
145 | 2565343.968 | 1207604.5617 | 2565239.7983 | 1207597.738

## bus_geodata
| x | y | coords
0 | 2565290.415 | 1207151.353
1 | 2565286.8032 | 1207150.4046
2 | 2565273.061 | 1207146.1046
3 | 2565281.2904 | 1207142.5657
4 | 2565237.4233 | 1207139.5222
5 | 2565268.064 | 1207196.6734
6 | 2565236.6051 | 1207187.1294
7 | 2565258.059 | 1207217.8709
8 | 2565305.1748 | 1207206.6293
9 | 2565307.7874 | 1207146.1243
10 | 2565341.8476 | 1207163.4546
11 | 2565297.9823 | 1207142.8463
12 | 2565300.9167 | 1207225.2022
13 | 2565310.969 | 1207207.9629
14 | 2565298.4418 | 1207284.5067
15 | 2565287.2632 | 1207238.7121
16 | 2565273.0124 | 1207263.3407
17 | 2565267.7987 | 1207272.3511
18 | 2565298.3899 | 1207108.4356
19 | 2565164.9235 | 1207118.0243
20 | 2565244.8628 | 1207242.3807
21 | 2565257.0618 | 1207219.723
22 | 2565241.6692 | 1207248.3122
23 | 2565366.6581 | 1207173.2954
24 | 2565323.6356 | 1207027.809
25 | 2565340.4497 | 1207027.6586
26 | 2565308.3512 | 1207027.6541
27 | 2565308.8233 | 1207007.4926
28 | 2565301.3036 | 1207027.5797
29 | 2565308.3208 | 1206991.1558
30 | 2565291.9295 | 1207027.4487
31 | 2565282.4327 | 1207027.1446
32 | 2565264.9255 | 1206945.6387
33 | 2565235.9562 | 1206940.7607
34 | 2565240.45 | 1206908.1938
35 | 2565191.4396 | 1206904.8286
36 | 2565142.512 | 1206926.0588
37 | 2565263.6067 | 1207026.3232
38 | 2565240.193 | 1207023.2297
39 | 2565265.3143 | 1207026.5489
40 | 2565236.835 | 1207022.786
41 | 2565255.945 | 1207032.8404
42 | 2565223.6339 | 1207021.0418
43 | 2565247.7874 | 1207058.4214
44 | 2565197.327 | 1207017.2963
45 | 2565240.3278 | 1207080.9049
46 | 2565297.3413 | 1207099.4477
47 | 2565292.505 | 1207105.9129
48 | 2565310.3128 | 1207095.4254
49 | 2565269.2005 | 1207100.3624
50 | 2565305.4951 | 1207085.5367
51 | 2565325.5617 | 1207092.1145
52 | 2565347.6957 | 1207131.6621
53 | 2565235.634 | 1207093.8157
54 | 2565365.9128 | 1207082.888
55 | 2565219.2423 | 1207087.8777
56 | 2565199.9141 | 1207082.1428
57 | 2565143.9633 | 1207044.7414
58 | 2565136.4375 | 1207067.0585
59 | 2565366.1666 | 1207220.1706
60 | 2565417.7163 | 1207266.3091
61 | 2565418.6575 | 1207264.9045
62 | 2565409.788 | 1207278.1795
63 | 2565439.4424 | 1207234.4639
64 | 2565400.3289 | 1207224.8202
65 | 2565399.1778 | 1207224.7368
66 | 2565395.1556 | 1207304.4976
67 | 2565395.9954 | 1207302.903
68 | 2565375.5377 | 1207340.6331
69 | 2565357.9315 | 1207237.237
70 | 2565353.0606 | 1207247.4519
71 | 2565340.6582 | 1207275.3942
72 | 2565339.2183 | 1207278.7273
73 | 2565363.5398 | 1207356.6742
74 | 2565317.2795 | 1207346.3374
75 | 2565267.6045 | 1207402.3561
76 | 2565245.8391 | 1207391.0526
77 | 2565316.8237 | 1207346.1848
78 | 2565298.7229 | 1207338.4928
79 | 2565260.0228 | 1207326.9187
80 | 2565250.1482 | 1207326.1008
81 | 2565238.6901 | 1207327.4109
82 | 2565221.6144 | 1207378.9588
83 | 2565238.6722 | 1207387.3306
84 | 2565220.6334 | 1207415.5608
85 | 2565153.3164 | 1207300.425
86 | 2565145.4875 | 1207288.6314
87 | 2565147.4323 | 1207340.849
88 | 2565134.9098 | 1207269.5709
89 | 2565166.0302 | 1207352.2891
90 | 2565303.4116 | 1207291.5098
91 | 2565302.0097 | 1207296.2428
92 | 2565157.0157 | 1207181.6695
93 | 2565145.3392 | 1207195.1232
94 | 2565117.175 | 1207132.1176
95 | 2565105.575 | 1207094.5031
96 | 2565080.1253 | 1207116.83
97 | 2565079.1073 | 1207116.4016
98 | 2565155.2058 | 1207114.75
99 | 2565037.2744 | 1207264.7742
100 | 2564990.8941 | 1207277.9765
101 | 2565011.0318 | 1207295.9992
102 | 2565017.5192 | 1207302.0891
103 | 2565030.2403 | 1207314.0313
104 | 2565106.9052 | 1207002.9483
105 | 2565123.8302 | 1207006.0757
106 | 2565128.361 | 1206986.9805
107 | 2565178.4833 | 1207014.6028
108 | 2565128.3969 | 1206986.819
109 | 2565136.1246 | 1206952.0741
110 | 2565201.062 | 1207001.6777
111 | 2565137.2742 | 1206946.905
112 | 2565204.9572 | 1206985.3892
113 | 2565449.862 | 1207482.2291
114 | 2565437.3642 | 1207482.6884
115 | 2565400.554 | 1207486.1877
116 | 2565393.1206 | 1207485.3194
117 | 2565394.7967 | 1207497.661
118 | 2565340.2213 | 1207478.8864
119 | 2565368.2982 | 1207528.8439
120 | 2565406.4087 | 1207512.2267
121 | 2565308.1556 | 1207473.0232
122 | 2565349.7592 | 1207549.3301
123 | 2565392.6154 | 1207545.2104
124 | 2565413.4573 | 1207516.918
125 | 2565048.1294 | 1207329.9159
126 | 2565114.5841 | 1207377.1282
127 | 2565153.9352 | 1207400.8782
128 | 2565156.6821 | 1207402.5297
129 | 2565163.1484 | 1207384.1375
130 | 2565176.9718 | 1207359.0197
131 | 2565193.3189 | 1207365.1396
132 | 2565144.9183 | 1207421.7761
133 | 2565210.3425 | 1207431.6657
134 | 2565172.3535 | 1207457.1789
135 | 2565229.6649 | 1207441.147
136 | 2565283.7301 | 1207464.3412
137 | 2565262.4517 | 1207455.2848
138 | 2565236.2304 | 1207444.1249
139 | 2565429.4335 | 1207527.551
140 | 2565457.5072 | 1207511.8159
141 | 2565339.0466 | 1207562.8486
142 | 2565358.1197 | 1207561.4104
143 | 2565362.733 | 1207568.0763
144 | 2565351.682 | 1207591.7498
145 | 2565343.968 | 1207604.5617
146 | 2565239.7983 | 1207597.738
147 | 2565230.4355 | 1207185.32

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1