## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6459-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6459-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6459-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6459-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6459-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6459-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6459-6_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6459-6_0_5_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_6459-6_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_6459-6_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6459-6_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6459-6_0_5_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_6459-6_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_6459-6_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6459-6_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6459-6_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6459-6_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6459-6_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6459-6_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6459-6_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6459-6_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6459-6_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6459-6_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6459-6_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_6459-6_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6459-6_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_6459-6_0_5_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_6459-6_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6459-6_0_5_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_6459-6_0_5_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_6459-6_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6459-6_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6459-6_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6459-6_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6459-6_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_6459-6_0_5_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_6459-6_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6459-6_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6459-6_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6459-6_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6459-6_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6459-6_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6459-6_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6459-6_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6459-6_0_5_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_6459-6_0_5_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_6459-6_0_5_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_6459-6_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6459-6_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6459-6_0_5_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_6459-6_0_5_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_6459-6_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_6459-6_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6459-6_0_5_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_6459-6_0_5_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_6459-6_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_6459-6_0_5_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_6459-6_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_6459-6_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6459-6_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6459-6_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6459-6_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6459-6_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6459-6_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_6459-6_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6459-6_0_5_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_6459-6_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6459-6_0_5_node_106 | 0.4 | n |  | TRUE
68 | bus_LV_6459-6_0_5_node_109 | 0.4 | n |  | TRUE
69 | bus_LV_6459-6_0_5_node_105 | 0.4 | n |  | TRUE
70 | bus_LV_6459-6_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_6459-6_0_5_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_6459-6_0_5_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_6459-6_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_6459-6_0_5_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_6459-6_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_6459-6_0_5_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_6459-6_0_5_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_6459-6_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_6459-6_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_6459-6_0_5_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_6459-6_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_6459-6_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_6459-6_0_5_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_6459-6_0_5_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_6459-6_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_6459-6_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_6459-6_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_6459-6_0_5_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_6459-6_0_5_node_101 | 0.4 | n |  | TRUE
90 | bus_LV_6459-6_0_5_node_111 | 0.4 | n |  | TRUE
91 | bus_LV_6459-6_0_5_node_102 | 0.4 | n |  | TRUE
92 | bus_LV_6459-6_0_5_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_6459-6_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_6459-6_0_5_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_6459-6_0_5_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_6459-6_0_5_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_6459-6_0_5_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_6459-6_0_5_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_6459-6_0_5_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_6459-6_0_5_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_6459-6_0_5_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_6459-6_0_5_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_6459-6_0_5_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_6459-6_0_5_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_6459-6_0_5_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_6459-6_0_5_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_6459-6_0_5_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_6459-6_0_5_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_6459-6_0_5_node_113 | 0.4 | n |  | TRUE
110 | bus_MV_444_2_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6459-6_0_5_load_0 | 0 | 0.001009 | 0.00025288 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6459-6_0_5_load_1 | 1 | 0.0025977 | 0.00065105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6459-6_0_5_load_3 | 3 | 0.0021801 | 0.00054639 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6459-6_0_5_load_72 | 7 | 0.0048246 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6459-6_0_5_load_21 | 8 | 0.01408 | 0.0035287 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6459-6_0_5_load_8 | 9 | 0.0014457 | 0.00036233 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6459-6_0_5_load_7 | 10 | 0.0016506 | 0.00041367 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6459-6_0_5_load_71 | 11 | 0.002429 | 0.00060877 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6459-6_0_5_load_20 | 12 | 0.014533 | 0.0036423 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6459-6_0_5_load_9 | 13 | 0.0017794 | 0.00044597 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6459-6_0_5_load_10 | 14 | 0.0058055 | 0.001455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6459-6_0_5_load_11 | 15 | 0.0044462 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6459-6_0_5_load_13 | 17 | 0.0064752 | 0.0016228 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6459-6_0_5_load_14 | 18 | 0.0039269 | 0.00098418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6459-6_0_5_load_17 | 21 | 0.005955 | 0.0014925 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6459-6_0_5_load_22 | 22 | 0.0039012 | 0.00097773 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6459-6_0_5_load_23 | 23 | 0.0068182 | 0.0017088 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6459-6_0_5_load_18 | 24 | 0.0067837 | 0.0017002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6459-6_0_5_load_53 | 25 | 0.0033412 | 0.00083737 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6459-6_0_5_load_99 | 26 | 0.0077306 | 0.0019375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6459-6_0_5_load_19 | 27 | 0.01578 | 0.0039547 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6459-6_0_5_load_52 | 28 | 0.00457 | 0.0011453 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6459-6_0_5_load_24 | 30 | 0.015691 | 0.0039325 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6459-6_0_5_load_25 | 31 | 0.015869 | 0.0039772 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6459-6_0_5_load_26 | 32 | 0.016315 | 0.0040889 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6459-6_0_5_load_93 | 35 | 0.024679 | 0.0061852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6459-6_0_5_load_28 | 37 | 0.0027143 | 0.00068027 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6459-6_0_5_load_29 | 38 | 0.0034377 | 0.00086157 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6459-6_0_5_load_34 | 40 | 0.019246 | 0.0048236 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6459-6_0_5_load_37 | 41 | 0.0032034 | 0.00080284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6459-6_0_5_load_35 | 43 | 0.0030406 | 0.00076203 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6459-6_0_5_load_86 | 44 | 0.0052577 | 0.0013177 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6459-6_0_5_load_87 | 45 | 0.0028734 | 0.00072015 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6459-6_0_5_load_100 | 46 | 0.0028373 | 0.00071111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6459-6_0_5_load_39 | 47 | 0.0071531 | 0.0017927 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6459-6_0_5_load_40 | 48 | 0.0019013 | 0.00047652 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6459-6_0_5_load_92 | 49 | 0.008809 | 0.0022077 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6459-6_0_5_load_85 | 50 | 0.0032298 | 0.00080946 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6459-6_0_5_load_41 | 51 | 0.0011222 | 0.00028126 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6459-6_0_5_load_75 | 53 | 0.0011719 | 0.00029369 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6459-6_0_5_load_76 | 54 | 0.00099493 | 0.00024935 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6459-6_0_5_load_77 | 55 | 0.0069359 | 0.0017383 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6459-6_0_5_load_78 | 56 | 0.0014988 | 0.00037563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6459-6_0_5_load_43 | 57 | 0.0061153 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6459-6_0_5_load_44 | 58 | 0.0078386 | 0.0019645 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6459-6_0_5_load_47 | 61 | 0.004777 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6459-6_0_5_load_48 | 62 | 0.0028314 | 0.0007096 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6459-6_0_5_load_49 | 63 | 0.0027573 | 0.00069104 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6459-6_0_5_load_50 | 64 | 0.0026352 | 0.00066045 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6459-6_0_5_load_110 | 65 | 0.0012196 | 0.00030567 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6459-6_0_5_load_54 | 66 | 0.0010742 | 0.00026922 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6459-6_0_5_load_106 | 67 | 0.0046283 | 0.00116 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6459-6_0_5_load_109 | 68 | 0.0060414 | 0.0015141 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6459-6_0_5_load_105 | 69 | 0.0037481 | 0.00093936 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6459-6_0_5_load_55 | 70 | 0.0044229 | 0.0011085 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6459-6_0_5_load_108 | 71 | 0.0034555 | 0.00086604 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6459-6_0_5_load_107 | 72 | 0.0018788 | 0.00047087 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6459-6_0_5_load_57 | 73 | 0.0061906 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6459-6_0_5_load_58 | 74 | 0.002809 | 0.00070399 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6459-6_0_5_load_59 | 75 | 0.0051297 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6459-6_0_5_load_60 | 76 | 0.0007606 | 0.00019062 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6459-6_0_5_load_61 | 77 | 0.012763 | 0.0031987 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6459-6_0_5_load_62 | 78 | 0.0028641 | 0.00071781 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6459-6_0_5_load_63 | 79 | 0.0051478 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6459-6_0_5_load_65 | 81 | 0.0027181 | 0.00068122 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6459-6_0_5_load_66 | 82 | 0.0010092 | 0.00025293 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6459-6_0_5_load_67 | 83 | 0.0026333 | 0.00065997 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6459-6_0_5_load_68 | 84 | 0.0016941 | 0.00042457 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6459-6_0_5_load_69 | 85 | 0.0039784 | 0.00099708 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6459-6_0_5_load_73 | 86 | 0.0066779 | 0.0016736 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6459-6_0_5_load_70 | 87 | 0.0013057 | 0.00032723 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6459-6_0_5_load_74 | 88 | 0.003622 | 0.00090777 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6459-6_0_5_load_101 | 89 | 0.0051762 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6459-6_0_5_load_111 | 90 | 0.00096743 | 0.00024246 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6459-6_0_5_load_102 | 91 | 0.0018842 | 0.00047223 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6459-6_0_5_load_79 | 92 | 0.0027051 | 0.00067796 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6459-6_0_5_load_80 | 93 | 0.011476 | 0.0028761 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6459-6_0_5_load_81 | 94 | 0.0031581 | 0.00079151 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6459-6_0_5_load_83 | 96 | 0.0031783 | 0.00079655 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6459-6_0_5_load_90 | 98 | 0.0071759 | 0.0017984 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6459-6_0_5_load_91 | 99 | 0.012087 | 0.0030294 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6459-6_0_5_load_88 | 100 | 0.010934 | 0.0027403 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6459-6_0_5_load_89 | 101 | 0.0031547 | 0.00079064 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6459-6_0_5_load_95 | 103 | 0.0081324 | 0.0020382 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6459-6_0_5_load_96 | 104 | 0.017459 | 0.0043756 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6459-6_0_5_load_98 | 105 | 0.020041 | 0.0050228 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6459-6_0_5_load_103 | 106 | 0.0035818 | 0.00089768 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6459-6_0_5_load_104 | 107 | 0.0023837 | 0.0005974 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6459-6_0_5_load_112 | 108 | 0.0011364 | 0.00028481 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6459-6_0_5_load_113 | 109 | 0.0041921 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6459-6_0_5_line_0 |  | 0 | 1 | 0.031746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6459-6_0_5_line_1 |  | 1 | 2 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6459-6_0_5_line_2 |  | 2 | 3 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6459-6_0_5_line_3 |  | 2 | 4 | 0.049787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6459-6_0_5_line_4 |  | 2 | 5 | 0.063028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6459-6_0_5_line_5 |  | 3 | 6 | 0.019158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6459-6_0_5_line_6 |  | 4 | 7 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6459-6_0_5_line_7 |  | 5 | 8 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6459-6_0_5_line_8 |  | 6 | 9 | 0.0092774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6459-6_0_5_line_9 |  | 6 | 10 | 0.014317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6459-6_0_5_line_10 |  | 7 | 11 | 0.0068133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6459-6_0_5_line_11 |  | 8 | 12 | 0.020401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6459-6_0_5_line_12 |  | 9 | 13 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6459-6_0_5_line_13 |  | 11 | 87 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6459-6_0_5_line_14 |  | 13 | 14 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6459-6_0_5_line_15 |  | 14 | 15 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6459-6_0_5_line_16 |  | 15 | 16 | 0.04592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6459-6_0_5_line_17 |  | 16 | 17 | 0.033328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6459-6_0_5_line_18 |  | 17 | 18 | 0.027349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6459-6_0_5_line_19 |  | 18 | 19 | 0.0099093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6459-6_0_5_line_20 |  | 19 | 20 | 0.001736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6459-6_0_5_line_21 |  | 19 | 21 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6459-6_0_5_line_22 |  | 20 | 22 | 0.024868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6459-6_0_5_line_23 |  | 20 | 23 | 0.017082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6459-6_0_5_line_24 |  | 21 | 24 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6459-6_0_5_line_25 |  | 22 | 25 | 0.012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6459-6_0_5_line_26 |  | 23 | 26 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6459-6_0_5_line_27 |  | 24 | 27 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6459-6_0_5_line_28 |  | 25 | 28 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6459-6_0_5_line_29 |  | 26 | 29 | 0.0037408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6459-6_0_5_line_30 |  | 28 | 66 | 0.046573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6459-6_0_5_line_31 |  | 29 | 105 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6459-6_0_5_line_32 |  | 29 | 103 | 0.016064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6459-6_0_5_line_33 |  | 30 | 31 | 0.03026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6459-6_0_5_line_34 |  | 31 | 32 | 0.028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6459-6_0_5_line_35 |  | 32 | 33 | 0.034499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6459-6_0_5_line_36 |  | 33 | 34 | 0.007743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6459-6_0_5_line_37 |  | 34 | 35 | 0.004668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6459-6_0_5_line_38 |  | 34 | 36 | 0.007109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6459-6_0_5_line_39 |  | 35 | 49 | 0.0093244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6459-6_0_5_line_40 |  | 36 | 41 | 0.033152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6459-6_0_5_line_41 |  | 37 | 38 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6459-6_0_5_line_42 |  | 38 | 39 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6459-6_0_5_line_43 |  | 39 | 40 | 0.024503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6459-6_0_5_line_44 |  | 40 | 42 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6459-6_0_5_line_45 |  | 41 | 46 | 3.1008e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6459-6_0_5_line_46 |  | 42 | 47 | 0.024579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6459-6_0_5_line_47 |  | 42 | 48 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6459-6_0_5_line_48 |  | 43 | 44 | 0.039644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6459-6_0_5_line_49 |  | 44 | 45 | 0.0016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6459-6_0_5_line_50 |  | 45 | 100 | 0.0031537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6459-6_0_5_line_51 |  | 46 | 50 | 2.565e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6459-6_0_5_line_52 |  | 47 | 51 | 0.0097013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6459-6_0_5_line_53 |  | 48 | 52 | 0.0019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6459-6_0_5_line_54 |  | 49 | 102 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6459-6_0_5_line_55 |  | 50 | 96 | 3.0668e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6459-6_0_5_line_56 |  | 52 | 53 | 0.0064177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6459-6_0_5_line_57 |  | 52 | 54 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6459-6_0_5_line_58 |  | 53 | 55 | 0.0087423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6459-6_0_5_line_59 |  | 54 | 56 | 0.0092375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6459-6_0_5_line_60 |  | 55 | 89 | 0.0055333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6459-6_0_5_line_61 |  | 56 | 90 | 0.0078509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6459-6_0_5_line_62 |  | 57 | 58 | 0.0011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6459-6_0_5_line_63 |  | 57 | 59 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6459-6_0_5_line_64 |  | 58 | 60 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6459-6_0_5_line_65 |  | 59 | 61 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6459-6_0_5_line_66 |  | 60 | 62 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6459-6_0_5_line_67 |  | 60 | 63 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6459-6_0_5_line_68 |  | 60 | 64 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6459-6_0_5_line_69 |  | 62 | 65 | 0.0089875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6459-6_0_5_line_70 |  | 63 | 66 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6459-6_0_5_line_71 |  | 64 | 67 | 0.015811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6459-6_0_5_line_72 |  | 65 | 68 | 0.004986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6459-6_0_5_line_73 |  | 67 | 69 | 0.0036417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6459-6_0_5_line_74 |  | 68 | 90 | 0.00079731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6459-6_0_5_line_75 |  | 69 | 72 | 0.016305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6459-6_0_5_line_76 |  | 70 | 71 | 0.051277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6459-6_0_5_line_77 |  | 71 | 72 | 0.030824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6459-6_0_5_line_78 |  | 73 | 74 | 0.028681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6459-6_0_5_line_79 |  | 73 | 75 | 0.0058823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6459-6_0_5_line_80 |  | 74 | 76 | 0.00093554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6459-6_0_5_line_81 |  | 75 | 77 | 0.017158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6459-6_0_5_line_82 |  | 76 | 78 | 0.02601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6459-6_0_5_line_83 |  | 77 | 79 | 0.02358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6459-6_0_5_line_84 |  | 78 | 80 | 0.010836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6459-6_0_5_line_85 |  | 80 | 81 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6459-6_0_5_line_86 |  | 80 | 82 | 0.025416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6459-6_0_5_line_87 |  | 81 | 83 | 0.011709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6459-6_0_5_line_88 |  | 82 | 84 | 9.3721e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6459-6_0_5_line_89 |  | 83 | 85 | 0.011481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6459-6_0_5_line_90 |  | 84 | 86 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6459-6_0_5_line_91 |  | 85 | 87 | 0.0073646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6459-6_0_5_line_92 |  | 86 | 88 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6459-6_0_5_line_93 |  | 89 | 91 | 0.0020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6459-6_0_5_line_94 |  | 91 | 106 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6459-6_0_5_line_95 |  | 92 | 93 | 0.037584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6459-6_0_5_line_96 |  | 92 | 94 | 2.57e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6459-6_0_5_line_97 |  | 93 | 95 | 0.0072339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6459-6_0_5_line_98 |  | 94 | 96 | 3.2905e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6459-6_0_5_line_99 |  | 95 | 97 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6459-6_0_5_line_100 |  | 97 | 98 | 0.037348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6459-6_0_5_line_101 |  | 98 | 99 | 0.0015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6459-6_0_5_line_102 |  | 99 | 101 | 0.018586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6459-6_0_5_line_103 |  | 100 | 101 | 0.0031882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6459-6_0_5_line_104 |  | 102 | 103 | 0.0070364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_6459-6_0_5_line_105 |  | 104 | 105 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6459-6_0_5_line_106 |  | 106 | 107 | 0.0010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6459-6_0_5_line_107 |  | 107 | 108 | 0.0078547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6459-6_0_5_line_108 |  | 108 | 109 | 0.0045537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6459-6_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 110 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2565410.9497 | 1207173.4149 | 2565415.0236 | 1207176.3173 | 2565424.3798 | 1207182.1663 | 2565437.6806 | 1207190.5273
1 | 2565451.1676 | 1207199.1981 | 2565444.3744 | 1207194.735 | 2565437.6806 | 1207190.5273
2 | 2565451.1676 | 1207199.1981 | 2565456.3144 | 1207191.1859 | 2565459.6033 | 1207185.0749
3 | 2565451.1676 | 1207199.1981 | 2565456.5698 | 1207203.736 | 2565462.6854 | 1207210.6822 | 2565466.3354 | 1207215.964 | 2565470.2831 | 1207222.745 | 2565473.3503 | 1207229.8089 | 2565476.2335 | 1207235.2953 | 2565478.7926 | 1207239.9498
4 | 2565451.1676 | 1207199.1981 | 2565456.5698 | 1207203.736 | 2565462.6854 | 1207210.6822 | 2565476.2958 | 1207208.024 | 2565480.1497 | 1207207.8348 | 2565484.3337 | 1207208.1663 | 2565491.5815 | 1207209.7363 | 2565506.8692 | 1207213.1163 | 2565508.5517 | 1207213.4845
5 | 2565468.2925 | 1207168.0033 | 2565462.5205 | 1207179.6545 | 2565459.6033 | 1207185.0749
6 | 2565478.7926 | 1207239.9498 | 2565483.5075 | 1207246.6262 | 2565489.5576 | 1207254.6021
7 | 2565508.5517 | 1207213.4845 | 2565522.0226 | 1207209.5064
8 | 2565468.2925 | 1207168.0033 | 2565472.1853 | 1207159.5822
9 | 2565468.2925 | 1207168.0033 | 2565466.9399 | 1207165.5209 | 2565465.529 | 1207163.4946 | 2565463.4678 | 1207162.0724 | 2565457.6306 | 1207159.1741
10 | 2565489.5576 | 1207254.6021 | 2565493.6753 | 1207260.0304 | 2565493.6753 | 1207260.0304
11 | 2565541.588 | 1207203.7286 | 2565522.0226 | 1207209.5064
12 | 2565472.1853 | 1207159.5822 | 2565476.0272 | 1207151.2712 | 2565479.5261 | 1207143.6022 | 2565482.6615 | 1207137.5139 | 2565485.2393 | 1207132.9256
13 | 2565506.5241 | 1207269.2127 | 2565498.9927 | 1207263.0902 | 2565493.6753 | 1207260.0304
14 | 2565485.2393 | 1207132.9256 | 2565485.6192 | 1207132.2493 | 2565490.7901 | 1207123.0992
15 | 2565490.7901 | 1207123.0992 | 2565498.2398 | 1207109.9165
16 | 2565517.1758 | 1207068.1413 | 2565515.0011 | 1207073.3902 | 2565503.3818 | 1207100.8175 | 2565498.2398 | 1207109.9165
17 | 2565517.1758 | 1207068.1413 | 2565525.7224 | 1207077.297 | 2565536.7701 | 1207086.3714 | 2565541.8322 | 1207090.4594
18 | 2565563.11 | 1207107.642 | 2565541.8322 | 1207090.4594
19 | 2565570.8194 | 1207113.8677 | 2565563.11 | 1207107.642
20 | 2565572.1716 | 1207114.9605 | 2565570.8194 | 1207113.8677
21 | 2565570.8194 | 1207113.8677 | 2565568.6609 | 1207116.6707 | 2565561.7181 | 1207125.7604 | 2565557.6394 | 1207131.3484
22 | 2565572.1716 | 1207114.9605 | 2565589.7595 | 1207097.3795
23 | 2565572.1716 | 1207114.9605 | 2565579.1687 | 1207120.501 | 2565585.6437 | 1207125.4626
24 | 2565557.6394 | 1207131.3484 | 2565547.8862 | 1207144.7109
25 | 2565598.8747 | 1207088.2678 | 2565589.7595 | 1207097.3795
26 | 2565599.8149 | 1207136.3216 | 2565585.6437 | 1207125.4626
27 | 2565537.4004 | 1207159.7315 | 2565547.5959 | 1207145.1086 | 2565547.8862 | 1207144.7109
28 | 2565607.5071 | 1207083.5274 | 2565605.0963 | 1207083.4524 | 2565602.4422 | 1207084.7017 | 2565598.8747 | 1207088.2678
29 | 2565602.7842 | 1207138.5969 | 2565599.8149 | 1207136.3216
30 | 2565607.5071 | 1207083.5274 | 2565607.5071 | 1207083.5274 | 2565610.5979 | 1207085.4662 | 2565612.8121 | 1207087.0431 | 2565614.5266 | 1207087.6669 | 2565616.9479 | 1207086.9192 | 2565638.286 | 1207066.1731 | 2565642.663 | 1207061.9437
31 | 2565602.7842 | 1207138.5969 | 2565606.9898 | 1207134.7815 | 2565612.1936 | 1207127.3695
32 | 2565602.7842 | 1207138.5969 | 2565615.678 | 1207148.1784
33 | 2565564.6515 | 1207158.5073 | 2565571.0524 | 1207163.3165 | 2565572.969 | 1207160.7707 | 2565588.5716 | 1207171.7307
34 | 2565588.5716 | 1207171.7307 | 2565596.2167 | 1207177.101 | 2565597.5333 | 1207175.9817 | 2565607.1559 | 1207181.9183 | 2565611.9311 | 1207184.9728
35 | 2565640.5021 | 1207174.7105 | 2565625.1359 | 1207188.0179 | 2565617.0774 | 1207188.2646 | 2565611.9311 | 1207184.9728
36 | 2565640.5021 | 1207174.7105 | 2565641.6087 | 1207172.792 | 2565643.1064 | 1207167.4692
37 | 2565643.1064 | 1207167.4692 | 2565640.3365 | 1207165.7954 | 2565639.142 | 1207165.0061
38 | 2565643.1064 | 1207167.4692 | 2565649.9013 | 1207169.6201
39 | 2565631.4321 | 1207159.7628 | 2565636.4667 | 1207163.2385 | 2565639.142 | 1207165.0061
40 | 2565649.9013 | 1207169.6201 | 2565648.917 | 1207172.9832 | 2565647.6897 | 1207175.0693 | 2565642.7751 | 1207181.2122 | 2565631.2781 | 1207196.789
41 | 2565714.8931 | 1207196.2431 | 2565710.6906 | 1207175.8064 | 2565709.857 | 1207170.4165
42 | 2565706.7016 | 1207148.6251 | 2565707.0891 | 1207152.5251 | 2565708.0915 | 1207157.5777 | 2565709.3163 | 1207166.9204 | 2565709.857 | 1207170.4165
43 | 2565706.7016 | 1207148.6251 | 2565707.0897 | 1207143.4089 | 2565706.3994 | 1207126.5477 | 2565706.4146 | 1207124.151
44 | 2565706.511 | 1207108.9594 | 2565706.4146 | 1207124.151
45 | 2565631.2597 | 1207196.814 | 2565631.2781 | 1207196.789
46 | 2565706.511 | 1207108.9594 | 2565719.1268 | 1207117.0802 | 2565727.6513 | 1207121.1556 | 2565727.7628 | 1207121.2164
47 | 2565706.511 | 1207108.9594 | 2565699.8542 | 1207095.5712
48 | 2565661.8584 | 1207270.5806 | 2565701.3635 | 1207267.2674
49 | 2565661.8584 | 1207270.5806 | 2565660.2924 | 1207269.9707
50 | 2565657.3537 | 1207268.8264 | 2565660.2924 | 1207269.9707
51 | 2565631.2445 | 1207196.8346 | 2565631.2597 | 1207196.814
52 | 2565727.7628 | 1207121.2164 | 2565736.2828 | 1207125.8558
53 | 2565698.9872 | 1207093.8275 | 2565699.8542 | 1207095.5712
54 | 2565621.3257 | 1207152.3753 | 2565623.7863 | 1207154.4845 | 2565631.4321 | 1207159.7628
55 | 2565631.2262 | 1207196.8593 | 2565631.2445 | 1207196.8346
56 | 2565698.9872 | 1207093.8275 | 2565693.5128 | 1207097.1768
57 | 2565698.9872 | 1207093.8275 | 2565693.7001 | 1207081.4438
58 | 2565685.4891 | 1207099.3636 | 2565686.376 | 1207099.7147 | 2565688.3001 | 1207099.7703 | 2565690.2736 | 1207099.1585 | 2565693.5128 | 1207097.1768
59 | 2565693.7001 | 1207081.4438 | 2565693.0829 | 1207079.9982 | 2565689.6928 | 1207073.123
60 | 2565685.4891 | 1207099.3636 | 2565684.1888 | 1207098.849 | 2565681.5726 | 1207097.4522 | 2565680.5705 | 1207096.8498
61 | 2565686.2207 | 1207066.0816 | 2565689.6928 | 1207073.123
62 | 2565660.0927 | 1207020.0537 | 2565660.7324 | 1207020.9934
63 | 2565645.46 | 1207000.9616 | 2565652.5168 | 1207008.9253 | 2565660.0927 | 1207020.0537
64 | 2565670.3475 | 1207035.1929 | 2565668.5142 | 1207032.4241 | 2565660.7324 | 1207020.9934
65 | 2565645.46 | 1207000.9616 | 2565634.0319 | 1207007.6424 | 2565624.6352 | 1207011.8991 | 2565619.8023 | 1207012.4384 | 2565614.06 | 1207012.2159 | 2565611.7596 | 1207012.0364
66 | 2565670.3475 | 1207035.1929 | 2565671.7033 | 1207039.5431 | 2565672.442 | 1207042.3737 | 2565674.3927 | 1207045.7199 | 2565679.2354 | 1207053.093
67 | 2565670.3475 | 1207035.1929 | 2565656.2928 | 1207048.7736
68 | 2565670.3475 | 1207035.1929 | 2565673.6918 | 1207033.6394 | 2565678.253 | 1207032.1122 | 2565681.3327 | 1207032.15 | 2565683.434 | 1207032.8546
69 | 2565679.2354 | 1207053.093 | 2565681.5653 | 1207056.6403 | 2565683.6631 | 1207060.8947
70 | 2565642.663 | 1207061.9437 | 2565656.2928 | 1207048.7736
71 | 2565697.2303 | 1207036.6991 | 2565696.9329 | 1207036.9072 | 2565694.3629 | 1207038.2339 | 2565692.6453 | 1207038.3883 | 2565691.1432 | 1207037.6744 | 2565688.5906 | 1207035.4323 | 2565686.1269 | 1207034.1124 | 2565683.9078 | 1207033.0134 | 2565683.434 | 1207032.8546
72 | 2565685.8681 | 1207065.3665 | 2565683.6631 | 1207060.8947
73 | 2565700.2138 | 1207034.611 | 2565697.2303 | 1207036.6991
74 | 2565685.8681 | 1207065.3665 | 2565686.2207 | 1207066.0816
75 | 2565700.2138 | 1207034.611 | 2565711.8599 | 1207026.4598 | 2565713.6156 | 1207025.3267
76 | 2565741.2032 | 1207021.1545 | 2565771.6232 | 1207062.4329
77 | 2565741.2032 | 1207021.1545 | 2565738.9197 | 1207019.4333 | 2565736.9753 | 1207018.4884 | 2565734.5587 | 1207017.4128 | 2565731.9716 | 1207017.1053 | 2565727.8898 | 1207017.3734 | 2565725.9 | 1207017.7962 | 2565723.6099 | 1207018.8767 | 2565713.6156 | 1207025.3267
78 | 2565602.2182 | 1207333.574 | 2565597.2961 | 1207330.8595 | 2565585.5955 | 1207324.5013 | 2565577.3087 | 1207319.3772
79 | 2565602.2182 | 1207333.574 | 2565604.0391 | 1207334.5782 | 2565607.4878 | 1207336.1807
80 | 2565576.5129 | 1207318.8852 | 2565577.3087 | 1207319.3772
81 | 2565607.4878 | 1207336.1807 | 2565611.1522 | 1207337.8834 | 2565617.4849 | 1207340.3259 | 2565623.4424 | 1207342.4647
82 | 2565554.4687 | 1207305.0811 | 2565558.9934 | 1207307.868 | 2565573.5541 | 1207317.0556 | 2565576.5129 | 1207318.8852
83 | 2565646.2836 | 1207348.2985 | 2565643.0899 | 1207347.6155 | 2565624.0984 | 1207342.7002 | 2565623.4424 | 1207342.4647
84 | 2565545.2427 | 1207299.3983 | 2565554.4687 | 1207305.0811
85 | 2565545.2427 | 1207299.3983 | 2565534.7261 | 1207291.3547 | 2565530.6249 | 1207287.9829
86 | 2565545.2427 | 1207299.3983 | 2565541.0371 | 1207303.1804 | 2565530.6128 | 1207316.3259 | 2565528.5953 | 1207318.5228
87 | 2565530.6249 | 1207287.9829 | 2565524.9775 | 1207283.3399 | 2565521.4587 | 1207280.7016
88 | 2565528.5319 | 1207318.5918 | 2565528.5953 | 1207318.5228
89 | 2565512.273 | 1207273.8142 | 2565521.4587 | 1207280.7016
90 | 2565524.3016 | 1207329.4032 | 2565524.3016 | 1207329.4032 | 2565523.712 | 1207326.0603 | 2565524.485 | 1207322.9985 | 2565528.5319 | 1207318.5918
91 | 2565512.273 | 1207273.8142 | 2565511.132 | 1207272.9587 | 2565506.5241 | 1207269.2127
92 | 2565524.3016 | 1207329.4032 | 2565525.1544 | 1207332.2332 | 2565526.6534 | 1207333.7365 | 2565535.8916 | 1207341.6097
93 | 2565680.5705 | 1207096.8498 | 2565678.8115 | 1207095.7924
94 | 2565678.8115 | 1207095.7924 | 2565676.59 | 1207094.457 | 2565670.661 | 1207087.8614
95 | 2565631.1914 | 1207196.9064 | 2565625.0905 | 1207205.1723 | 2565614.7127 | 1207219.8516 | 2565609.0714 | 1207227.2873
96 | 2565631.1914 | 1207196.9064 | 2565631.2067 | 1207196.8857
97 | 2565604.699 | 1207233.0503 | 2565609.0714 | 1207227.2873
98 | 2565631.2067 | 1207196.8857 | 2565631.2262 | 1207196.8593
99 | 2565604.699 | 1207233.0503 | 2565603.6568 | 1207238.2148 | 2565601.5672 | 1207241.0952 | 2565600.8266 | 1207243.1895 | 2565600.587 | 1207245.1476 | 2565600.6297 | 1207247.2819
100 | 2565600.6297 | 1207247.2819 | 2565626.4413 | 1207257.3384 | 2565635.5223 | 1207260.5928
101 | 2565635.5223 | 1207260.5928 | 2565636.9914 | 1207261.1193
102 | 2565636.9914 | 1207261.1193 | 2565644.1487 | 1207263.6842 | 2565654.3828 | 1207267.6695
103 | 2565657.3537 | 1207268.8264 | 2565654.3828 | 1207267.6695
104 | 2565621.3257 | 1207152.3753 | 2565615.678 | 1207148.1784
105 | 2565612.1936 | 1207127.3695 | 2565612.1936 | 1207127.3695 | 2565620.6028 | 1207133.5105
106 | 2565669.9622 | 1207087.084 | 2565670.661 | 1207087.8614
107 | 2565664.7111 | 1207081.2425 | 2565669.9622 | 1207087.084
108 | 2565661.6668 | 1207077.8559 | 2565664.7111 | 1207081.2425

## bus_geodata
| x | y | coords
0 | 2565410.9497 | 1207173.4149
1 | 2565437.6806 | 1207190.5273
2 | 2565451.1676 | 1207199.1981
3 | 2565459.6033 | 1207185.0749
4 | 2565478.7926 | 1207239.9498
5 | 2565508.5517 | 1207213.4845
6 | 2565468.2925 | 1207168.0033
7 | 2565489.5576 | 1207254.6021
8 | 2565522.0226 | 1207209.5064
9 | 2565472.1853 | 1207159.5822
10 | 2565457.6306 | 1207159.1741
11 | 2565493.6753 | 1207260.0304
12 | 2565541.588 | 1207203.7286
13 | 2565485.2393 | 1207132.9256
14 | 2565490.7901 | 1207123.0992
15 | 2565498.2398 | 1207109.9165
16 | 2565517.1758 | 1207068.1413
17 | 2565541.8322 | 1207090.4594
18 | 2565563.11 | 1207107.6421
19 | 2565570.8194 | 1207113.8677
20 | 2565572.1716 | 1207114.9605
21 | 2565557.6394 | 1207131.3484
22 | 2565589.7595 | 1207097.3795
23 | 2565585.6437 | 1207125.4626
24 | 2565547.8862 | 1207144.7109
25 | 2565598.8747 | 1207088.2678
26 | 2565599.8149 | 1207136.3216
27 | 2565537.4004 | 1207159.7315
28 | 2565607.5071 | 1207083.5274
29 | 2565602.7842 | 1207138.5969
30 | 2565564.6515 | 1207158.5073
31 | 2565588.5716 | 1207171.7307
32 | 2565611.9311 | 1207184.9728
33 | 2565640.5021 | 1207174.7105
34 | 2565643.1063 | 1207167.4692
35 | 2565639.142 | 1207165.0061
36 | 2565649.9013 | 1207169.6201
37 | 2565714.8931 | 1207196.2431
38 | 2565709.857 | 1207170.4165
39 | 2565706.7016 | 1207148.6251
40 | 2565706.4146 | 1207124.151
41 | 2565631.2781 | 1207196.789
42 | 2565706.511 | 1207108.9594
43 | 2565701.3635 | 1207267.2674
44 | 2565661.8584 | 1207270.5806
45 | 2565660.2924 | 1207269.9707
46 | 2565631.2597 | 1207196.814
47 | 2565727.7628 | 1207121.2164
48 | 2565699.8542 | 1207095.5712
49 | 2565631.4321 | 1207159.7628
50 | 2565631.2445 | 1207196.8346
51 | 2565736.2828 | 1207125.8558
52 | 2565698.9872 | 1207093.8275
53 | 2565693.5128 | 1207097.1768
54 | 2565693.7001 | 1207081.4438
55 | 2565685.4891 | 1207099.3636
56 | 2565689.6928 | 1207073.123
57 | 2565660.0927 | 1207020.0537
58 | 2565660.7324 | 1207020.9934
59 | 2565645.46 | 1207000.9616
60 | 2565670.3475 | 1207035.1929
61 | 2565611.7596 | 1207012.0364
62 | 2565679.2354 | 1207053.093
63 | 2565656.2928 | 1207048.7736
64 | 2565683.434 | 1207032.8546
65 | 2565683.6631 | 1207060.8947
66 | 2565642.663 | 1207061.9437
67 | 2565697.2303 | 1207036.6991
68 | 2565685.8681 | 1207065.3665
69 | 2565700.2138 | 1207034.611
70 | 2565771.6232 | 1207062.4329
71 | 2565741.2032 | 1207021.1545
72 | 2565713.6156 | 1207025.3267
73 | 2565602.2182 | 1207333.574
74 | 2565577.3087 | 1207319.3772
75 | 2565607.4878 | 1207336.1807
76 | 2565576.513 | 1207318.8852
77 | 2565623.4424 | 1207342.4647
78 | 2565554.4687 | 1207305.0811
79 | 2565646.2836 | 1207348.2985
80 | 2565545.2427 | 1207299.3983
81 | 2565530.6249 | 1207287.9829
82 | 2565528.5953 | 1207318.5228
83 | 2565521.4587 | 1207280.7016
84 | 2565528.5319 | 1207318.5918
85 | 2565512.273 | 1207273.8142
86 | 2565524.3016 | 1207329.4032
87 | 2565506.5241 | 1207269.2127
88 | 2565535.8916 | 1207341.6097
89 | 2565680.5705 | 1207096.8498
90 | 2565686.2207 | 1207066.0816
91 | 2565678.8115 | 1207095.7924
92 | 2565631.1914 | 1207196.9064
93 | 2565609.0714 | 1207227.2873
94 | 2565631.2067 | 1207196.8857
95 | 2565604.699 | 1207233.0503
96 | 2565631.2262 | 1207196.8593
97 | 2565600.6297 | 1207247.2819
98 | 2565635.5223 | 1207260.5928
99 | 2565636.9914 | 1207261.1193
100 | 2565657.3537 | 1207268.8264
101 | 2565654.3828 | 1207267.6695
102 | 2565621.3257 | 1207152.3753
103 | 2565615.678 | 1207148.1784
104 | 2565620.6028 | 1207133.5105
105 | 2565612.1936 | 1207127.3695
106 | 2565670.661 | 1207087.8614
107 | 2565669.9622 | 1207087.084
108 | 2565664.7111 | 1207081.2425
109 | 2565661.6668 | 1207077.8559
110 | 2565640.5021 | 1207174.7105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1