## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6461-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6461-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6461-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6461-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6461-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6461-3_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6461-3_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6461-3_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6461-3_0_4_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_6461-3_0_4_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_6461-3_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6461-3_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6461-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6461-3_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_6461-3_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6461-3_0_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_6461-3_0_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_6461-3_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6461-3_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6461-3_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6461-3_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6461-3_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6461-3_0_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_6461-3_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_6461-3_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6461-3_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6461-3_0_4_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_6461-3_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6461-3_0_4_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_6461-3_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6461-3_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6461-3_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6461-3_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6461-3_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_6461-3_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6461-3_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6461-3_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6461-3_0_4_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_6461-3_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6461-3_0_4_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_6461-3_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_6461-3_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6461-3_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6461-3_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6461-3_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6461-3_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6461-3_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6461-3_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6461-3_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6461-3_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6461-3_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6461-3_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6461-3_0_4_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_6461-3_0_4_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_6461-3_0_4_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_6461-3_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6461-3_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_6461-3_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_6461-3_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_6461-3_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_6461-3_0_4_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_6461-3_0_4_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_6461-3_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6461-3_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_6461-3_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6461-3_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6461-3_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6461-3_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6461-3_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_6461-3_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_6461-3_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_6461-3_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_6461-3_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_6461-3_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_6461-3_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_6461-3_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_6461-3_0_4_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_6461-3_0_4_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6461-3_0_4_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_6461-3_0_4_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_6461-3_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_6461-3_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_6461-3_0_4_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_6461-3_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_6461-3_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_6461-3_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_6461-3_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_6461-3_0_4_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_6461-3_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_6461-3_0_4_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_6461-3_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_6461-3_0_4_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_6461-3_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_6461-3_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_6461-3_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_6461-3_0_4_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_6461-3_0_4_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_6461-3_0_4_node_99 | 0.4 | n |  | TRUE
98 | bus_MV_444_1_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6461-3_0_4_load_0 | 0 | 0.0010684 | 0.00026775 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6461-3_0_4_load_3 | 3 | 0.00070595 | 0.00017693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6461-3_0_4_load_4 | 4 | 0.0044332 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6461-3_0_4_load_7 | 5 | 0.00053338 | 0.00013368 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6461-3_0_4_load_6 | 7 | 0.0009286 | 0.00023273 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6461-3_0_4_load_88 | 9 | 0.0015109 | 0.00037866 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6461-3_0_4_load_8 | 10 | 0.0038862 | 0.00097397 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6461-3_0_4_load_9 | 11 | 0.0011467 | 0.00028738 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6461-3_0_4_load_11 | 14 | 0.0021595 | 0.00054123 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6461-3_0_4_load_55 | 15 | 0.00023944 | 6.001e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6461-3_0_4_load_69 | 16 | 0.0018312 | 0.00045893 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6461-3_0_4_load_12 | 17 | 0.0022104 | 0.00055398 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6461-3_0_4_load_13 | 18 | 0.0025498 | 0.00063904 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6461-3_0_4_load_19 | 20 | 0.0022251 | 0.00055766 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6461-3_0_4_load_15 | 21 | 0.007973 | 0.0019982 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6461-3_0_4_load_54 | 22 | 0.00029934 | 7.5023e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6461-3_0_4_load_53 | 23 | 0.002025 | 0.0005075 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6461-3_0_4_load_16 | 24 | 0.0036257 | 0.00090869 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6461-3_0_4_load_73 | 26 | 0.0022029 | 0.00055209 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6461-3_0_4_load_71 | 28 | 0.0016104 | 0.00040361 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6461-3_0_4_load_25 | 30 | 0.0022248 | 0.00055759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6461-3_0_4_load_20 | 31 | 0.017038 | 0.0042702 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6461-3_0_4_load_21 | 32 | 0.039748 | 0.0099619 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6461-3_0_4_load_34 | 36 | 0.0040861 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6461-3_0_4_load_79 | 37 | 0.037174 | 0.0093167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6461-3_0_4_load_29 | 38 | 0.037932 | 0.0095066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6461-3_0_4_load_27 | 40 | 0.0022251 | 0.00055765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6461-3_0_4_load_30 | 41 | 0.002453 | 0.00061478 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6461-3_0_4_load_31 | 42 | 0.0039457 | 0.00098888 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6461-3_0_4_load_37 | 43 | 0.013723 | 0.0034393 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6461-3_0_4_load_32 | 45 | 0.0030975 | 0.0007763 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6461-3_0_4_load_35 | 47 | 0.055197 | 0.013834 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6461-3_0_4_load_43 | 48 | 0.0020079 | 0.00050322 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6461-3_0_4_load_44 | 49 | 0.005787 | 0.0014503 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6461-3_0_4_load_46 | 51 | 0.001523 | 0.00038171 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6461-3_0_4_load_93 | 52 | 0.00080473 | 0.00020168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6461-3_0_4_load_91 | 53 | 0.0037077 | 0.00092923 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6461-3_0_4_load_92 | 54 | 0.00037562 | 9.4138e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6461-3_0_4_load_38 | 55 | 0.056187 | 0.014082 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6461-3_0_4_load_39 | 56 | 0.032025 | 0.0080261 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6461-3_0_4_load_40 | 57 | 0.0079299 | 0.0019874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6461-3_0_4_load_74 | 59 | 0.024456 | 0.0061291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6461-3_0_4_load_48 | 62 | 0.00025275 | 6.3344e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6461-3_0_4_load_49 | 63 | 0.00025941 | 6.5015e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6461-3_0_4_load_51 | 65 | 0.00021851 | 5.4765e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6461-3_0_4_load_52 | 66 | 0.0018965 | 0.00047532 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6461-3_0_4_load_57 | 67 | 0.00035071 | 8.7897e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6461-3_0_4_load_62 | 68 | 0.0019382 | 0.00048577 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6461-3_0_4_load_80 | 69 | 0.00026873 | 6.7349e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6461-3_0_4_load_56 | 71 | 0.00033009 | 8.2729e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6461-3_0_4_load_58 | 72 | 0.0012014 | 0.00030109 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6461-3_0_4_load_61 | 75 | 0.0012057 | 0.00030218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6461-3_0_4_load_82 | 77 | 0.0016433 | 0.00041185 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6461-3_0_4_load_84 | 78 | 0.00032102 | 8.0455e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6461-3_0_4_load_94 | 79 | 0.0011435 | 0.00028659 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6461-3_0_4_load_89 | 80 | 0.0011238 | 0.00028164 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6461-3_0_4_load_81 | 81 | 0.0014918 | 0.00037388 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6461-3_0_4_load_85 | 82 | 0.0010402 | 0.0002607 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6461-3_0_4_load_67 | 83 | 0.0014965 | 0.00037505 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6461-3_0_4_load_65 | 84 | 0.0015632 | 0.00039176 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6461-3_0_4_load_64 | 85 | 0.0024325 | 0.00060964 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6461-3_0_4_load_66 | 86 | 0.0024001 | 0.00060151 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6461-3_0_4_load_68 | 87 | 0.0036291 | 0.00090953 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6461-3_0_4_load_70 | 88 | 0.0022029 | 0.00055209 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6461-3_0_4_load_72 | 89 | 0.0022029 | 0.00055209 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6461-3_0_4_load_77 | 90 | 0.035762 | 0.0089628 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6461-3_0_4_load_95 | 91 | 0.0017693 | 0.00044342 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6461-3_0_4_load_86 | 92 | 0.00158 | 0.00039599 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6461-3_0_4_load_87 | 93 | 0.001019 | 0.00025538 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6461-3_0_4_load_96 | 94 | 0.0014298 | 0.00035834 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6461-3_0_4_load_97 | 95 | 0.0016834 | 0.00042191 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6461-3_0_4_load_98 | 96 | 0.0019519 | 0.00048919 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6461-3_0_4_load_99 | 97 | 0.004302 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6461-3_0_4_line_0 |  | 0 | 1 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6461-3_0_4_line_1 |  | 0 | 2 | 0.11416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6461-3_0_4_line_2 |  | 1 | 3 | 0.037097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6461-3_0_4_line_3 |  | 2 | 4 | 0.081736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6461-3_0_4_line_4 |  | 3 | 5 | 0.016707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6461-3_0_4_line_5 |  | 4 | 6 | 0.15014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6461-3_0_4_line_6 |  | 6 | 7 | 0.15585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6461-3_0_4_line_7 |  | 7 | 8 | 0.066939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6461-3_0_4_line_8 |  | 8 | 9 | 0.02874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6461-3_0_4_line_9 |  | 9 | 80 | 0.0043401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6461-3_0_4_line_10 |  | 10 | 11 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6461-3_0_4_line_11 |  | 11 | 12 | 0.024016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6461-3_0_4_line_12 |  | 12 | 13 | 0.012128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6461-3_0_4_line_13 |  | 12 | 14 | 0.027905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6461-3_0_4_line_14 |  | 13 | 15 | 0.049895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6461-3_0_4_line_15 |  | 13 | 16 | 0.012821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6461-3_0_4_line_16 |  | 14 | 17 | 0.020884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6461-3_0_4_line_17 |  | 15 | 22 | 0.0068873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6461-3_0_4_line_18 |  | 16 | 23 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6461-3_0_4_line_19 |  | 17 | 18 | 0.022338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6461-3_0_4_line_20 |  | 18 | 19 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6461-3_0_4_line_21 |  | 19 | 20 | 0.11763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6461-3_0_4_line_22 |  | 19 | 21 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6461-3_0_4_line_23 |  | 20 | 27 | 0.026177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6461-3_0_4_line_24 |  | 21 | 24 | 0.025538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6461-3_0_4_line_25 |  | 22 | 71 | 0.0031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6461-3_0_4_line_26 |  | 23 | 64 | 0.0025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6461-3_0_4_line_27 |  | 24 | 25 | 0.040271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6461-3_0_4_line_28 |  | 25 | 26 | 0.011805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6461-3_0_4_line_29 |  | 26 | 28 | 0.0092825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6461-3_0_4_line_30 |  | 27 | 29 | 0.043164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6461-3_0_4_line_31 |  | 27 | 30 | 0.038798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6461-3_0_4_line_32 |  | 28 | 88 | 0.0079536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6461-3_0_4_line_33 |  | 29 | 38 | 0.10277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6461-3_0_4_line_34 |  | 29 | 34 | 0.013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6461-3_0_4_line_35 |  | 30 | 40 | 0.010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6461-3_0_4_line_36 |  | 31 | 32 | 0.052085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6461-3_0_4_line_37 |  | 31 | 33 | 0.066874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6461-3_0_4_line_38 |  | 33 | 34 | 0.034818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6461-3_0_4_line_39 |  | 33 | 35 | 0.011734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6461-3_0_4_line_40 |  | 34 | 36 | 0.025658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6461-3_0_4_line_41 |  | 35 | 37 | 0.091715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6461-3_0_4_line_42 |  | 37 | 39 | 0.081678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6461-3_0_4_line_43 |  | 38 | 41 | 0.032112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6461-3_0_4_line_44 |  | 39 | 90 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6461-3_0_4_line_45 |  | 41 | 42 | 0.0032862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6461-3_0_4_line_46 |  | 42 | 43 | 0.013191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6461-3_0_4_line_47 |  | 43 | 44 | 0.038309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6461-3_0_4_line_48 |  | 44 | 47 | 0.097727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6461-3_0_4_line_49 |  | 45 | 46 | 0.030555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6461-3_0_4_line_50 |  | 46 | 47 | 0.078024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6461-3_0_4_line_51 |  | 46 | 48 | 0.18292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6461-3_0_4_line_52 |  | 48 | 49 | 0.062499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6461-3_0_4_line_53 |  | 49 | 50 | 0.035811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6461-3_0_4_line_54 |  | 50 | 51 | 0.053775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6461-3_0_4_line_55 |  | 51 | 52 | 0.041598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6461-3_0_4_line_56 |  | 52 | 54 | 0.049381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6461-3_0_4_line_57 |  | 53 | 54 | 0.053832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6461-3_0_4_line_58 |  | 55 | 56 | 0.007697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6461-3_0_4_line_59 |  | 55 | 57 | 0.031297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6461-3_0_4_line_60 |  | 56 | 58 | 0.042501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6461-3_0_4_line_61 |  | 58 | 59 | 0.032558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6461-3_0_4_line_62 |  | 59 | 60 | 0.051148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6461-3_0_4_line_63 |  | 60 | 61 | 0.09324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6461-3_0_4_line_64 |  | 61 | 90 | 0.044926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6461-3_0_4_line_65 |  | 62 | 63 | 0.02774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6461-3_0_4_line_66 |  | 62 | 64 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6461-3_0_4_line_67 |  | 63 | 65 | 0.010591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6461-3_0_4_line_68 |  | 64 | 66 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6461-3_0_4_line_69 |  | 65 | 67 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6461-3_0_4_line_70 |  | 66 | 68 | 0.0037179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6461-3_0_4_line_71 |  | 67 | 69 | 0.00048754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6461-3_0_4_line_72 |  | 68 | 70 | 0.013887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6461-3_0_4_line_73 |  | 70 | 81 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6461-3_0_4_line_74 |  | 70 | 83 | 0.033109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6461-3_0_4_line_75 |  | 72 | 73 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6461-3_0_4_line_76 |  | 73 | 74 | 0.032308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6461-3_0_4_line_77 |  | 73 | 75 | 0.006316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6461-3_0_4_line_78 |  | 74 | 76 | 0.027014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6461-3_0_4_line_79 |  | 74 | 77 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6461-3_0_4_line_80 |  | 75 | 78 | 0.020488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6461-3_0_4_line_81 |  | 76 | 79 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6461-3_0_4_line_82 |  | 76 | 80 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6461-3_0_4_line_83 |  | 77 | 81 | 0.005591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6461-3_0_4_line_84 |  | 78 | 82 | 0.011112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6461-3_0_4_line_85 |  | 79 | 91 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6461-3_0_4_line_86 |  | 82 | 92 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6461-3_0_4_line_87 |  | 83 | 84 | 0.0023167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6461-3_0_4_line_88 |  | 84 | 85 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6461-3_0_4_line_89 |  | 85 | 86 | 0.00093811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6461-3_0_4_line_90 |  | 86 | 87 | 0.0091001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6461-3_0_4_line_91 |  | 88 | 89 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6461-3_0_4_line_92 |  | 91 | 94 | 0.00067531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6461-3_0_4_line_93 |  | 92 | 93 | 0.0064012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6461-3_0_4_line_94 |  | 94 | 95 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6461-3_0_4_line_95 |  | 95 | 96 | 0.0013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6461-3_0_4_line_96 |  | 96 | 97 | 0.014523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6461-3_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 98 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2568145.6905 | 1207290.2735 | 2568132.268 | 1207287.7099
1 | 2568029.8539 | 1207241.3227 | 2568068.1755 | 1207268.1543 | 2568099.9998 | 1207281.5467 | 2568132.268 | 1207287.7099
2 | 2568145.6905 | 1207290.2735 | 2568155.3894 | 1207269.799 | 2568161.9732 | 1207256.9456
3 | 2568029.8539 | 1207241.3227 | 2568048.1486 | 1207218.7673 | 2568064.0135 | 1207195.4023 | 2568075.8947 | 1207174.0311
4 | 2568165.6362 | 1207240.8723 | 2568164.2688 | 1207252.4639 | 2568161.9732 | 1207256.9456
5 | 2568161.0118 | 1207054.5144 | 2568152.2931 | 1207056.4733 | 2568145.2618 | 1207061.1469 | 2568116.841 | 1207099.8653 | 2568103.7834 | 1207122.1923 | 2568079.6478 | 1207167.2804 | 2568075.8947 | 1207174.0311
6 | 2568161.0118 | 1207054.5144 | 2568168.6129 | 1207034.1179 | 2568220.4004 | 1206966.8032 | 2568239.1088 | 1206943.1123 | 2568250.8653 | 1206928.2249
7 | 2568294.742 | 1206877.979 | 2568285.6185 | 1206885.3651 | 2568278.8978 | 1206892.7273 | 2568250.8653 | 1206928.2249
8 | 2568294.742 | 1206877.979 | 2568286.8356 | 1206866.9038 | 2568278.3327 | 1206854.386
9 | 2568278.3327 | 1206854.386 | 2568275.894 | 1206850.7959
10 | 2568155.847 | 1206693.3781 | 2568164.1506 | 1206702.6748
11 | 2568179.0155 | 1206721.5198 | 2568167.9875 | 1206706.9706 | 2568164.1506 | 1206702.6748
12 | 2568186.3445 | 1206731.1972 | 2568179.0155 | 1206721.5198
13 | 2568179.0155 | 1206721.5198 | 2568202.3929 | 1206716.1919 | 2568206.0973 | 1206714.8856
14 | 2568186.3445 | 1206731.1972 | 2568164.8034 | 1206764.1865 | 2568155.5734 | 1206759.1895
15 | 2568186.3445 | 1206731.1972 | 2568194.0908 | 1206741.4135
16 | 2568225.5555 | 1206707.3545 | 2568219.2957 | 1206710.2316 | 2568206.0973 | 1206714.8856
17 | 2568149.5168 | 1206755.9105 | 2568155.5734 | 1206759.1895
18 | 2568194.0908 | 1206741.4135 | 2568207.5829 | 1206759.2076
19 | 2568225.5555 | 1206707.3545 | 2568243.5242 | 1206699.096 | 2568245.7958 | 1206697.9115
20 | 2568259.593 | 1206690.7167 | 2568245.7958 | 1206697.9115
21 | 2568259.593 | 1206690.7167 | 2568269.9444 | 1206685.3807 | 2568280.2224 | 1206680.5566 | 2568296.3996 | 1206676.8016 | 2568327.2613 | 1206667.4654 | 2568335.2522 | 1206664.3656 | 2568341.5804 | 1206658.9288 | 2568346.956 | 1206650.2176 | 2568353.2311 | 1206632.6725
22 | 2568259.593 | 1206690.7167 | 2568242.3649 | 1206671.4552
23 | 2568362.0467 | 1206608.0248 | 2568353.2311 | 1206632.6725
24 | 2568225.3398 | 1206652.4207 | 2568242.3649 | 1206671.4552
25 | 2568146.7062 | 1206754.3889 | 2568149.5168 | 1206755.9105
26 | 2568209.1047 | 1206761.2147 | 2568207.5829 | 1206759.2076
27 | 2568198.4924 | 1206622.4045 | 2568225.3398 | 1206652.4207
28 | 2568198.4924 | 1206622.4045 | 2568190.8909 | 1206631.4362
29 | 2568184.9137 | 1206638.5382 | 2568190.8909 | 1206631.4362
30 | 2568382.3163 | 1206571.5743 | 2568375.0554 | 1206576.1044 | 2568371.7877 | 1206580.8244 | 2568362.0467 | 1206608.0248
31 | 2568362.0467 | 1206608.0248 | 2568393.0728 | 1206631.3191
32 | 2568179.7922 | 1206644.6234 | 2568184.9137 | 1206638.5382
33 | 2568382.3163 | 1206571.5743 | 2568386.2436 | 1206580.8031 | 2568392.3709 | 1206589.0419 | 2568457.0354 | 1206640.2252
34 | 2568382.3163 | 1206571.5743 | 2568380.3688 | 1206558.5552
35 | 2568401.2897 | 1206637.4884 | 2568393.0728 | 1206631.3191
36 | 2568297.7384 | 1206440.3522 | 2568337.0529 | 1206474.5174
37 | 2568378.8684 | 1206523.7769 | 2568376.5492 | 1206510.9487 | 2568370.2122 | 1206503.3337 | 2568337.0529 | 1206474.5174
38 | 2568378.8684 | 1206523.7769 | 2568379.4417 | 1206535.7918 | 2568380.3688 | 1206558.5552
39 | 2568378.8684 | 1206523.7769 | 2568390.6274 | 1206524.237
40 | 2568380.3688 | 1206558.5552 | 2568406.0257 | 1206558.2746
41 | 2568390.6274 | 1206524.237 | 2568405.1498 | 1206493.765 | 2568428.1037 | 1206440.5445
42 | 2568469.4063 | 1206371.4889 | 2568448.4798 | 1206393.301 | 2568428.1037 | 1206440.5445
43 | 2568457.0354 | 1206640.2252 | 2568482.2145 | 1206660.155
44 | 2568469.4063 | 1206371.4889 | 2568482.7934 | 1206360.2567
45 | 2568482.2145 | 1206660.155 | 2568484.7913 | 1206662.1946
46 | 2568484.7913 | 1206662.1946 | 2568495.1342 | 1206670.3812
47 | 2568520.319 | 1206698.981 | 2568513.3888 | 1206689.8459 | 2568502.4804 | 1206676.1959 | 2568495.1342 | 1206670.3812
48 | 2568520.319 | 1206698.981 | 2568528.1602 | 1206692.0245 | 2568572.3289 | 1206633.5916 | 2568580.008 | 1206621.8889
49 | 2568623.8952 | 1206557.4213 | 2568607.0595 | 1206556.076 | 2568593.3948 | 1206556.2254
50 | 2568623.8952 | 1206557.4213 | 2568612.5669 | 1206572.2671 | 2568610.6508 | 1206575.19 | 2568580.008 | 1206621.8889
51 | 2568623.8952 | 1206557.4213 | 2568780.6377 | 1206651.7193
52 | 2568780.6377 | 1206651.7193 | 2568799.814 | 1206642.4775 | 2568804.796 | 1206639.8054 | 2568811.8931 | 1206631.5303 | 2568815.3435 | 1206628.2659 | 2568820.9478 | 1206628.2365 | 2568830.4595 | 1206633.7787 | 2568833.0051 | 1206635.8697
53 | 2568851.0162 | 1206666.1337 | 2568839.0666 | 1206640.8487 | 2568833.0051 | 1206635.8697
54 | 2568851.0162 | 1206666.1337 | 2568896.1714 | 1206695.3359
55 | 2568896.1714 | 1206695.3359 | 2568937.7696 | 1206695.2362
56 | 2568962.6479 | 1206737.8819 | 2568956.8614 | 1206727.5151 | 2568944.6443 | 1206706.2224 | 2568937.7696 | 1206695.2362
57 | 2568909.2067 | 1206731.4095 | 2568962.6479 | 1206737.8819
58 | 2568642.6637 | 1206497.4169 | 2568645.0454 | 1206490.0977
59 | 2568642.6637 | 1206497.4169 | 2568641.9626 | 1206499.5714 | 2568616.2923 | 1206513.13
60 | 2568636.6281 | 1206457.0423 | 2568652.3195 | 1206467.7434 | 2568645.0454 | 1206490.0977
61 | 2568636.6281 | 1206457.0423 | 2568617.643 | 1206449.049 | 2568607.502 | 1206442.7099
62 | 2568571.8312 | 1206406.9893 | 2568592.8996 | 1206433.5819 | 2568607.502 | 1206442.7099
63 | 2568517.21 | 1206331.38 | 2568541.4743 | 1206362.5581 | 2568571.8312 | 1206406.9893
64 | 2568517.21 | 1206331.38 | 2568482.7934 | 1206360.2567
65 | 2568200.6782 | 1206772.8173 | 2568184.3772 | 1206795.2622
66 | 2568209.1047 | 1206761.2147 | 2568200.6782 | 1206772.8173
67 | 2568184.3772 | 1206795.2622 | 2568178.1535 | 1206803.8317
68 | 2568209.1047 | 1206761.2147 | 2568222.3927 | 1206778.742
69 | 2568169.3008 | 1206816.0211 | 2568178.1535 | 1206803.8317
70 | 2568222.3927 | 1206778.742 | 2568224.6389 | 1206781.7048
71 | 2568169.3008 | 1206816.0211 | 2568169.0143 | 1206816.4155
72 | 2568233.0288 | 1206792.7713 | 2568224.6389 | 1206781.7048
73 | 2568233.0288 | 1206792.7713 | 2568239.8703 | 1206801.7963
74 | 2568233.0288 | 1206792.7713 | 2568258.1333 | 1206771.1846
75 | 2568230.434 | 1206840.8455 | 2568237.2925 | 1206850.6842
76 | 2568230.434 | 1206840.8455 | 2568249.8918 | 1206815.0161
77 | 2568230.434 | 1206840.8455 | 2568226.6336 | 1206845.8903
78 | 2568266.2264 | 1206836.5633 | 2568249.8918 | 1206815.0161
79 | 2568249.8918 | 1206815.0161 | 2568243.2479 | 1206806.2517
80 | 2568226.6336 | 1206845.8903 | 2568214.306 | 1206862.2548
81 | 2568266.2264 | 1206836.5633 | 2568278.4267 | 1206826.3887
82 | 2568266.2264 | 1206836.5633 | 2568275.894 | 1206850.7959
83 | 2568243.2479 | 1206806.2517 | 2568239.8703 | 1206801.7963
84 | 2568214.306 | 1206862.2548 | 2568214.306 | 1206862.2548 | 2568221.0344 | 1206871.0987
85 | 2568293.0341 | 1206814.2067 | 2568278.4267 | 1206826.3887
86 | 2568221.0344 | 1206871.0987 | 2568231.0981 | 1206884.3265
87 | 2568259.8899 | 1206769.6741 | 2568258.1333 | 1206771.1846
88 | 2568274.3993 | 1206757.1978 | 2568259.8899 | 1206769.6741
89 | 2568275.1106 | 1206756.5862 | 2568274.3993 | 1206757.1978
90 | 2568282.0106 | 1206750.6531 | 2568275.1106 | 1206756.5862
91 | 2568172.4381 | 1206653.3612 | 2568179.7922 | 1206644.6234
92 | 2568293.5528 | 1206813.7742 | 2568293.0341 | 1206814.2067
93 | 2568234.9739 | 1206889.4209 | 2568231.0981 | 1206884.3265
94 | 2568309.1064 | 1206800.8031 | 2568293.5528 | 1206813.7742
95 | 2568309.1064 | 1206800.8031 | 2568310.1482 | 1206799.9344
96 | 2568321.3015 | 1206790.6329 | 2568310.1482 | 1206799.9344

## bus_geodata
| x | y | coords
0 | 2568132.268 | 1207287.7099
1 | 2568145.6905 | 1207290.2735
2 | 2568029.8539 | 1207241.3227
3 | 2568161.9732 | 1207256.9456
4 | 2568075.8947 | 1207174.0311
5 | 2568165.6362 | 1207240.8723
6 | 2568161.0118 | 1207054.5144
7 | 2568250.8653 | 1206928.2249
8 | 2568294.742 | 1206877.979
9 | 2568278.3327 | 1206854.386
10 | 2568155.847 | 1206693.3781
11 | 2568164.1506 | 1206702.6748
12 | 2568179.0155 | 1206721.5198
13 | 2568186.3445 | 1206731.1972
14 | 2568206.0973 | 1206714.8856
15 | 2568155.5734 | 1206759.1895
16 | 2568194.0908 | 1206741.4135
17 | 2568225.5555 | 1206707.3545
18 | 2568245.7958 | 1206697.9115
19 | 2568259.593 | 1206690.7167
20 | 2568353.2311 | 1206632.6725
21 | 2568242.3649 | 1206671.4552
22 | 2568149.5168 | 1206755.9105
23 | 2568207.5829 | 1206759.2076
24 | 2568225.3398 | 1206652.4207
25 | 2568198.4924 | 1206622.4045
26 | 2568190.8909 | 1206631.4362
27 | 2568362.0467 | 1206608.0248
28 | 2568184.9137 | 1206638.5382
29 | 2568382.3163 | 1206571.5743
30 | 2568393.0728 | 1206631.3191
31 | 2568337.0529 | 1206474.5174
32 | 2568297.7384 | 1206440.3522
33 | 2568378.8684 | 1206523.7769
34 | 2568380.3688 | 1206558.5552
35 | 2568390.6274 | 1206524.237
36 | 2568406.0257 | 1206558.2746
37 | 2568428.1037 | 1206440.5445
38 | 2568457.0354 | 1206640.2252
39 | 2568469.4063 | 1206371.4889
40 | 2568401.2897 | 1206637.4884
41 | 2568482.2145 | 1206660.155
42 | 2568484.7913 | 1206662.1946
43 | 2568495.1342 | 1206670.3812
44 | 2568520.319 | 1206698.981
45 | 2568593.3948 | 1206556.2254
46 | 2568623.8952 | 1206557.4213
47 | 2568580.008 | 1206621.8889
48 | 2568780.6377 | 1206651.7193
49 | 2568833.0051 | 1206635.8697
50 | 2568851.0162 | 1206666.1337
51 | 2568896.1714 | 1206695.3359
52 | 2568937.7696 | 1206695.2362
53 | 2568909.2067 | 1206731.4095
54 | 2568962.6479 | 1206737.8819
55 | 2568642.6637 | 1206497.4169
56 | 2568645.0454 | 1206490.0977
57 | 2568616.2923 | 1206513.13
58 | 2568636.6281 | 1206457.0423
59 | 2568607.502 | 1206442.7099
60 | 2568571.8312 | 1206406.9893
61 | 2568517.21 | 1206331.38
62 | 2568200.6782 | 1206772.8173
63 | 2568184.3772 | 1206795.2622
64 | 2568209.1047 | 1206761.2147
65 | 2568178.1535 | 1206803.8317
66 | 2568222.3927 | 1206778.742
67 | 2568169.3008 | 1206816.0211
68 | 2568224.6389 | 1206781.7048
69 | 2568169.0143 | 1206816.4155
70 | 2568233.0287 | 1206792.7713
71 | 2568146.7062 | 1206754.3889
72 | 2568237.2925 | 1206850.6842
73 | 2568230.434 | 1206840.8455
74 | 2568249.8918 | 1206815.0161
75 | 2568226.6336 | 1206845.8903
76 | 2568266.2264 | 1206836.5633
77 | 2568243.2479 | 1206806.2517
78 | 2568214.306 | 1206862.2548
79 | 2568278.4267 | 1206826.3887
80 | 2568275.894 | 1206850.7959
81 | 2568239.8703 | 1206801.7963
82 | 2568221.0344 | 1206871.0987
83 | 2568258.1333 | 1206771.1846
84 | 2568259.8899 | 1206769.6741
85 | 2568274.3993 | 1206757.1978
86 | 2568275.1106 | 1206756.5862
87 | 2568282.0106 | 1206750.6531
88 | 2568179.7922 | 1206644.6234
89 | 2568172.4381 | 1206653.3612
90 | 2568482.7934 | 1206360.2567
91 | 2568293.0341 | 1206814.2067
92 | 2568231.0981 | 1206884.3265
93 | 2568234.9739 | 1206889.4209
94 | 2568293.5528 | 1206813.7742
95 | 2568309.1064 | 1206800.8031
96 | 2568310.1482 | 1206799.9344
97 | 2568321.3015 | 1206790.6329
98 | 2568380.3688 | 1206558.5552

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1