## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_66-17_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_66-17_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_66-17_0_7_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_66-17_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_66-17_0_7_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_66-17_0_7_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_66-17_0_7_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_66-17_0_7_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_66-17_0_7_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_66-17_0_7_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_66-17_0_7_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_66-17_0_7_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_66-17_0_7_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_66-17_0_7_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_66-17_0_7_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_66-17_0_7_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_66-17_0_7_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_66-17_0_7_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_66-17_0_7_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_66-17_0_7_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_66-17_0_7_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_66-17_0_7_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_66-17_0_7_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_66-17_0_7_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_66-17_0_7_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_66-17_0_7_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_66-17_0_7_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_66-17_0_7_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_66-17_0_7_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_66-17_0_7_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_66-17_0_7_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_66-17_0_7_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_66-17_0_7_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_66-17_0_7_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_66-17_0_7_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_66-17_0_7_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_66-17_0_7_node_9 | 0.4 | n |  | TRUE
37 | bus_LV_66-17_0_7_node_8 | 0.4 | n |  | TRUE
38 | bus_LV_66-17_0_7_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_66-17_0_7_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_66-17_0_7_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_66-17_0_7_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_66-17_0_7_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_66-17_0_7_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_66-17_0_7_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_66-17_0_7_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_66-17_0_7_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_66-17_0_7_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_66-17_0_7_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_66-17_0_7_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_66-17_0_7_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_66-17_0_7_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_66-17_0_7_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_66-17_0_7_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_66-17_0_7_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_66-17_0_7_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_66-17_0_7_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_66-17_0_7_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_66-17_0_7_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_66-17_0_7_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_66-17_0_7_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_66-17_0_7_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_66-17_0_7_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_66-17_0_7_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_66-17_0_7_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_66-17_0_7_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_66-17_0_7_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_66-17_0_7_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_66-17_0_7_node_52 | 0.4 | n |  | TRUE
69 | bus_MV_546_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_66-17_0_7_load_0 | 0 | 0.011178 | 0.0028015 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_66-17_0_7_load_5 | 2 | 0.006589 | 0.0016514 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_66-17_0_7_load_35 | 5 | 0.0060584 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_66-17_0_7_load_47 | 7 | 0.015411 | 0.0038623 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_66-17_0_7_load_74 | 10 | 0.0047251 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_66-17_0_7_load_72 | 12 | 0.0047379 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_66-17_0_7_load_71 | 13 | 0.0046515 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_66-17_0_7_load_78 | 19 | 0.084129 | 0.021085 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_66-17_0_7_load_51 | 22 | 0.0066515 | 0.001667 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_66-17_0_7_load_62 | 24 | 0.0074977 | 0.0018791 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_66-17_0_7_load_61 | 25 | 0.01158 | 0.0029022 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_66-17_0_7_load_79 | 26 | 0.036628 | 0.00918 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_66-17_0_7_load_63 | 29 | 0.036596 | 0.0091719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_66-17_0_7_load_73 | 32 | 0.0047487 | 0.0011901 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_66-17_0_7_load_69 | 34 | 0.0033638 | 0.00084305 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_66-17_0_7_load_68 | 35 | 0.0044729 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_66-17_0_7_load_8 | 37 | 0.024956 | 0.0062545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_66-17_0_7_load_26 | 38 | 0.0062991 | 0.0015787 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_66-17_0_7_load_30 | 39 | 0.019608 | 0.0049141 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_66-17_0_7_load_75 | 41 | 0.050024 | 0.012537 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_66-17_0_7_load_66 | 42 | 0.0051176 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_66-17_0_7_load_67 | 44 | 0.005137 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_66-17_0_7_load_57 | 46 | 0.013289 | 0.0033304 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_66-17_0_7_load_59 | 48 | 0.0066484 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_66-17_0_7_load_48 | 49 | 0.0082285 | 0.0020623 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_66-17_0_7_load_54 | 51 | 0.0097905 | 0.0024537 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_66-17_0_7_load_27 | 53 | 0.0064463 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_66-17_0_7_load_37 | 55 | 0.041702 | 0.010452 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_66-17_0_7_load_45 | 56 | 0.031888 | 0.007992 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_66-17_0_7_load_41 | 57 | 0.0064471 | 0.0016158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_66-17_0_7_load_39 | 60 | 0.023878 | 0.0059844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_66-17_0_7_load_46 | 61 | 0.0072056 | 0.0018059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_66-17_0_7_load_60 | 62 | 0.023878 | 0.0059844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_66-17_0_7_load_43 | 64 | 0.0055252 | 0.0013847 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_66-17_0_7_load_65 | 66 | 0.0051363 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_66-17_0_7_load_52 | 68 | 0.0066515 | 0.001667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_66-17_0_7_line_0 |  | 0 | 1 | 0.030851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_66-17_0_7_line_1 |  | 1 | 2 | 0.024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_66-17_0_7_line_2 |  | 2 | 6 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_66-17_0_7_line_3 |  | 3 | 4 | 0.011361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_66-17_0_7_line_4 |  | 3 | 5 | 0.02285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_66-17_0_7_line_5 |  | 4 | 7 | 0.02503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_66-17_0_7_line_6 |  | 4 | 8 | 0.014681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_66-17_0_7_line_7 |  | 6 | 14 | 0.039317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_66-17_0_7_line_8 |  | 8 | 39 | 0.022768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_66-17_0_7_line_9 |  | 8 | 36 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_66-17_0_7_line_10 |  | 9 | 10 | 0.019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_66-17_0_7_line_11 |  | 9 | 11 | 0.036562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_66-17_0_7_line_12 |  | 10 | 32 | 0.00066559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_66-17_0_7_line_13 |  | 11 | 38 | 0.028047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_66-17_0_7_line_14 |  | 12 | 13 | 0.008722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_66-17_0_7_line_15 |  | 13 | 31 | 0.018129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_66-17_0_7_line_16 |  | 14 | 54 | 0.025348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_66-17_0_7_line_17 |  | 14 | 55 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_66-17_0_7_line_18 |  | 14 | 53 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_66-17_0_7_line_19 |  | 15 | 16 | 0.02569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_66-17_0_7_line_20 |  | 15 | 17 | 0.18491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_66-17_0_7_line_21 |  | 16 | 41 | 0.0092272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_66-17_0_7_line_22 |  | 17 | 24 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_66-17_0_7_line_23 |  | 17 | 25 | 0.0026387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_66-17_0_7_line_24 |  | 18 | 19 | 0.015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_66-17_0_7_line_25 |  | 18 | 20 | 0.10773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_66-17_0_7_line_26 |  | 20 | 23 | 0.032603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_66-17_0_7_line_27 |  | 20 | 26 | 0.043276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_66-17_0_7_line_28 |  | 21 | 22 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_66-17_0_7_line_29 |  | 21 | 23 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_66-17_0_7_line_30 |  | 23 | 48 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_66-17_0_7_line_31 |  | 24 | 44 | 0.0055335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_66-17_0_7_line_32 |  | 25 | 45 | 0.025087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_66-17_0_7_line_33 |  | 27 | 28 | 0.036371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_66-17_0_7_line_34 |  | 27 | 29 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_66-17_0_7_line_35 |  | 28 | 39 | 0.022635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_66-17_0_7_line_36 |  | 29 | 40 | 0.031778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_66-17_0_7_line_37 |  | 30 | 31 | 0.044421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_66-17_0_7_line_38 |  | 30 | 32 | 0.023746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_66-17_0_7_line_39 |  | 31 | 34 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_66-17_0_7_line_40 |  | 33 | 34 | 0.0041071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_66-17_0_7_line_41 |  | 33 | 35 | 0.035265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_66-17_0_7_line_42 |  | 36 | 37 | 0.027365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_66-17_0_7_line_43 |  | 38 | 53 | 0.00036156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_66-17_0_7_line_44 |  | 40 | 65 | 0.002286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_66-17_0_7_line_45 |  | 40 | 60 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_66-17_0_7_line_46 |  | 42 | 43 | 0.0056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_66-17_0_7_line_47 |  | 43 | 66 | 0.018283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_66-17_0_7_line_48 |  | 43 | 64 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_66-17_0_7_line_49 |  | 45 | 62 | 0.027735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_66-17_0_7_line_50 |  | 45 | 59 | 0.027512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_66-17_0_7_line_51 |  | 46 | 47 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_66-17_0_7_line_52 |  | 47 | 48 | 0.019458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_66-17_0_7_line_53 |  | 47 | 67 | 0.017907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_66-17_0_7_line_54 |  | 49 | 50 | 0.030768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_66-17_0_7_line_55 |  | 50 | 52 | 0.006667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_66-17_0_7_line_56 |  | 51 | 52 | 0.024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_66-17_0_7_line_57 |  | 52 | 68 | 0.017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_66-17_0_7_line_58 |  | 54 | 56 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_66-17_0_7_line_59 |  | 54 | 57 | 0.023294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_66-17_0_7_line_60 |  | 56 | 61 | 6.4782e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_66-17_0_7_line_61 |  | 57 | 63 | 0.0058748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_66-17_0_7_line_62 |  | 58 | 59 | 0.02439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_66-17_0_7_line_63 |  | 58 | 60 | 0.028222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_66-17_0_7_line_64 |  | 59 | 61 | 0.026232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_66-17_0_7_line_65 |  | 62 | 67 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_66-17_0_7_line_66 |  | 63 | 64 | 0.020458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_66-17_0_7_line_67 |  | 65 | 68 | 0.01868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_66-17_0_7_trafo_44 | 0.63 MVA 20/0.4 kV | 69 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2684878.5338 | 1252961.8714 | 2684905.2485 | 1252946.4407
1 | 2684878.5338 | 1252961.8714 | 2684857.2463 | 1252974.8768
2 | 2684841.424 | 1252985.7913 | 2684840.8863 | 1252984.8718 | 2684857.2463 | 1252974.8768
3 | 2684901.1162 | 1253001.1357 | 2684904.0318 | 1253006.2147 | 2684908.8033 | 1253003.4365
4 | 2684901.1162 | 1253001.1357 | 2684881.7331 | 1253013.2364
5 | 2684908.8033 | 1253003.4365 | 2684911.9768 | 1253001.5806 | 2684930.4241 | 1252990.8257
6 | 2684908.8033 | 1253003.4365 | 2684910.5387 | 1253006.6193 | 2684915.8328 | 1253016.3359
7 | 2684807.2003 | 1253005.2828 | 2684832.1927 | 1252990.6628 | 2684834.6532 | 1252989.5861 | 2684839.042 | 1252987.1805 | 2684841.424 | 1252985.7913
8 | 2684915.8328 | 1253016.3359 | 2684896.2154 | 1253027.8927
9 | 2684915.8328 | 1253016.3359 | 2684930.039 | 1253040.2798
10 | 2684813.4161 | 1252944.8816 | 2684808.3924 | 1252935.7584 | 2684803.9637 | 1252927.7042
11 | 2684782.1004 | 1252963.6588 | 2684792.0901 | 1252958.5312 | 2684806.3346 | 1252948.2384 | 2684813.4161 | 1252944.8816
12 | 2684803.9637 | 1252927.7042 | 2684803.643 | 1252927.121
13 | 2684782.1004 | 1252963.6588 | 2684783.6992 | 1252966.3726 | 2684787.1787 | 1252972.1267 | 2684796.5728 | 1252987.6834
14 | 2684844.3638 | 1252903.2395 | 2684841.4962 | 1252898.0705 | 2684839.1054 | 1252899.5485
15 | 2684830.4816 | 1252883.6019 | 2684837.51 | 1252896.6012 | 2684839.1054 | 1252899.5485 | 2684839.1054 | 1252899.5485
16 | 2684785.275 | 1253018.112 | 2684807.2003 | 1253005.2828
17 | 2684807.2003 | 1253005.2828 | 2684818.3784 | 1253024.8564
18 | 2684807.2003 | 1253005.2828 | 2684796.7597 | 1252987.9929
19 | 2684651.2151 | 1253098.0556 | 2684673.9149 | 1253085.9041
20 | 2684651.2151 | 1253098.0556 | 2684644.0938 | 1253102.6239 | 2684637.7626 | 1253108.4157 | 2684663.5433 | 1253151.5388 | 2684713.786 | 1253122.068 | 2684735.4676 | 1253109.3573 | 2684741.0841 | 1253106.0574 | 2684745.5973 | 1253103.3866 | 2684764.9223 | 1253091.8877
21 | 2684673.9149 | 1253085.9041 | 2684675.1738 | 1253087.0563 | 2684677.6783 | 1253088.7044 | 2684681.9152 | 1253090.2861
22 | 2684764.9223 | 1253091.8877 | 2684760.5474 | 1253084.3638 | 2684757.0348 | 1253078.3212
23 | 2684764.9223 | 1253091.8877 | 2684767.1903 | 1253090.5391
24 | 2684705.5784 | 1253194.1274 | 2684699.9363 | 1253189.1985 | 2684694.2635 | 1253185.8927 | 2684693.4982 | 1253185.1919
25 | 2684705.5784 | 1253194.1274 | 2684719.4028 | 1253189.933 | 2684723.417 | 1253188.9118 | 2684726.4468 | 1253189.1776 | 2684729.7055 | 1253188.2123 | 2684736.3275 | 1253184.7822 | 2684738.4082 | 1253184.4006 | 2684750.1172 | 1253177.2182 | 2684763.9438 | 1253170.244 | 2684769.7728 | 1253166.8582 | 2684782.5328 | 1253189.0464 | 2684788.5777 | 1253185.3412 | 2684792.5172 | 1253183.2071
26 | 2684821.6099 | 1253168.3456 | 2684806.7543 | 1253175.5051 | 2684801.7044 | 1253178.2348 | 2684792.5172 | 1253183.2071
27 | 2684792.5172 | 1253183.2071 | 2684814.4469 | 1253220.5149
28 | 2684839.9833 | 1253155.8437 | 2684846.9942 | 1253152.6134
29 | 2684821.6099 | 1253168.3456 | 2684831.4523 | 1253159.7801 | 2684839.9833 | 1253155.8437
30 | 2684821.6099 | 1253168.3456 | 2684811.8234 | 1253151.224
31 | 2684757.0348 | 1253078.3212 | 2684754.2539 | 1253073.5373
32 | 2684788.7531 | 1253077.7179 | 2684767.1903 | 1253090.5391
33 | 2684876.7132 | 1253039.3817 | 2684879.5609 | 1253044.4597 | 2684894.513 | 1253071.1274
34 | 2684894.513 | 1253071.1274 | 2684877.1388 | 1253080.7635
35 | 2684876.7132 | 1253039.3817 | 2684896.2154 | 1253027.8927
36 | 2684859.6623 | 1253099.1159 | 2684880.8324 | 1253087.3659 | 2684877.1388 | 1253080.7635
37 | 2684792.1964 | 1252906.3155 | 2684830.4816 | 1252883.6019
38 | 2684792.1964 | 1252906.3155 | 2684799.3825 | 1252919.3726 | 2684803.643 | 1252927.121
39 | 2684830.4816 | 1252883.6019 | 2684842.5914 | 1252876.4143
40 | 2684840.4074 | 1252872.9359 | 2684842.5914 | 1252876.4143
41 | 2684840.4074 | 1252872.9359 | 2684853.7729 | 1252865.0213 | 2684862.0832 | 1252861.2375 | 2684872.3685 | 1252858.6718
42 | 2684930.039 | 1253040.2798 | 2684953.6312 | 1253026.4138
43 | 2684796.5728 | 1252987.6834 | 2684796.7597 | 1252987.9929
44 | 2684860.8188 | 1253101.0896 | 2684859.6623 | 1253099.1159
45 | 2684859.6623 | 1253099.1159 | 2684846.1027 | 1253075.9628
46 | 2684731.1901 | 1253033.8613 | 2684726.2376 | 1253036.6556
47 | 2684731.1901 | 1253033.8613 | 2684740.3786 | 1253049.668
48 | 2684731.1901 | 1253033.8613 | 2684742.9444 | 1253027.2244
49 | 2684788.7531 | 1253077.7179 | 2684794.2974 | 1253086.8375 | 2684803.1581 | 1253101.4193
50 | 2684788.7531 | 1253077.7179 | 2684790.8615 | 1253076.4583 | 2684791.4095 | 1253076.1325 | 2684812.0895 | 1253063.8303 | 2684812.394 | 1253063.6457
51 | 2684802.1673 | 1253134.3305 | 2684792.7211 | 1253140.5222 | 2684787.2125 | 1253143.8956
52 | 2684802.1673 | 1253134.3305 | 2684811.8234 | 1253151.224
53 | 2684802.1673 | 1253134.3305 | 2684817.7792 | 1253125.4806
54 | 2684873.0338 | 1253136.0132 | 2684874.0434 | 1253137.7067 | 2684878.6412 | 1253145.4562 | 2684888.3086 | 1253161.7403 | 2684888.7629 | 1253162.4566
55 | 2684873.0338 | 1253136.0132 | 2684878.9201 | 1253132.8506
56 | 2684878.9201 | 1253132.8506 | 2684889.4414 | 1253127.9977 | 2684899.5345 | 1253120.5689
57 | 2684878.9201 | 1253132.8506 | 2684870.0681 | 1253117.3187
58 | 2684785.275 | 1253018.112 | 2684793.859 | 1253032.0899 | 2684799.088 | 1253041.031
59 | 2684785.275 | 1253018.112 | 2684769.9555 | 1253027.0774 | 2684765.4204 | 1253023.8878
60 | 2684799.088 | 1253041.031 | 2684799.0912 | 1253041.0366
61 | 2684759.5536 | 1253023.5815 | 2684765.4204 | 1253023.8878
62 | 2684833.2907 | 1253050.9686 | 2684812.394 | 1253063.6457
63 | 2684833.2907 | 1253050.9686 | 2684835.3833 | 1253057.6591 | 2684846.1027 | 1253075.9628
64 | 2684812.394 | 1253063.6457 | 2684804.3188 | 1253049.9753 | 2684799.0912 | 1253041.0366
65 | 2684817.7792 | 1253125.4806 | 2684803.1581 | 1253101.4193
66 | 2684759.5536 | 1253023.5815 | 2684751.6253 | 1253027.5822 | 2684745.0804 | 1253030.8911 | 2684742.9444 | 1253027.2244
67 | 2684860.8188 | 1253101.0896 | 2684870.0681 | 1253117.3187

## bus_geodata
| x | y | coords
0 | 2684905.2485 | 1252946.4407
1 | 2684878.5338 | 1252961.8714
2 | 2684857.2463 | 1252974.8768
3 | 2684901.1162 | 1253001.1357
4 | 2684908.8033 | 1253003.4365
5 | 2684881.7331 | 1253013.2364
6 | 2684841.424 | 1252985.7913
7 | 2684930.4241 | 1252990.8257
8 | 2684915.8328 | 1253016.3359
9 | 2684813.4161 | 1252944.8816
10 | 2684803.9637 | 1252927.7042
11 | 2684782.1004 | 1252963.6588
12 | 2684844.3638 | 1252903.2395
13 | 2684839.1054 | 1252899.5485
14 | 2684807.2003 | 1253005.2828
15 | 2684651.2151 | 1253098.0556
16 | 2684673.9149 | 1253085.9041
17 | 2684764.9223 | 1253091.8877
18 | 2684705.5784 | 1253194.1274
19 | 2684693.4982 | 1253185.1919
20 | 2684792.5172 | 1253183.2071
21 | 2684839.9833 | 1253155.8437
22 | 2684846.9942 | 1253152.6134
23 | 2684821.6099 | 1253168.3456
24 | 2684757.0348 | 1253078.3212
25 | 2684767.1903 | 1253090.5391
26 | 2684814.4469 | 1253220.515
27 | 2684894.513 | 1253071.1274
28 | 2684876.7132 | 1253039.3817
29 | 2684877.1388 | 1253080.7635
30 | 2684792.1964 | 1252906.3155
31 | 2684830.4816 | 1252883.6019
32 | 2684803.643 | 1252927.121
33 | 2684840.4074 | 1252872.9359
34 | 2684842.5914 | 1252876.4143
35 | 2684872.3685 | 1252858.6718
36 | 2684930.039 | 1253040.2798
37 | 2684953.6312 | 1253026.4138
38 | 2684796.5728 | 1252987.6834
39 | 2684896.2154 | 1253027.8927
40 | 2684859.6623 | 1253099.1159
41 | 2684681.9152 | 1253090.2861
42 | 2684726.2376 | 1253036.6556
43 | 2684731.1901 | 1253033.8613
44 | 2684754.2539 | 1253073.5373
45 | 2684788.7531 | 1253077.7179
46 | 2684787.2125 | 1253143.8956
47 | 2684802.1673 | 1253134.3305
48 | 2684811.8234 | 1253151.224
49 | 2684888.7629 | 1253162.4566
50 | 2684873.0338 | 1253136.0132
51 | 2684899.5345 | 1253120.5689
52 | 2684878.9201 | 1253132.8506
53 | 2684796.7597 | 1252987.9929
54 | 2684785.275 | 1253018.112
55 | 2684818.3784 | 1253024.8564
56 | 2684799.088 | 1253041.031
57 | 2684765.4204 | 1253023.8878
58 | 2684833.2907 | 1253050.9686
59 | 2684812.394 | 1253063.6457
60 | 2684846.1027 | 1253075.9628
61 | 2684799.0912 | 1253041.0366
62 | 2684803.1581 | 1253101.4193
63 | 2684759.5536 | 1253023.5815
64 | 2684742.9444 | 1253027.2244
65 | 2684860.8188 | 1253101.0896
66 | 2684740.3786 | 1253049.668
67 | 2684817.7792 | 1253125.4806
68 | 2684870.0681 | 1253117.3187
69 | 2684790.8615 | 1253076.4583

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1