## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_66-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_66-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_66-1_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_66-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_66-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_66-1_0_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_66-1_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_66-1_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_66-1_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_66-1_0_2_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_66-1_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_66-1_0_2_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_66-1_0_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_66-1_0_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_66-1_0_2_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_66-1_0_2_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_66-1_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_66-1_0_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_66-1_0_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_66-1_0_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_66-1_0_2_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_66-1_0_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_66-1_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_66-1_0_2_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_66-1_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_66-1_0_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_66-1_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_66-1_0_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_66-1_0_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_66-1_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_66-1_0_2_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_66-1_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_66-1_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_66-1_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_66-1_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_66-1_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_66-1_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_66-1_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_66-1_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_66-1_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_66-1_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_66-1_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_66-1_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_66-1_0_2_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_66-1_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_66-1_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_66-1_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_66-1_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_66-1_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_66-1_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_66-1_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_66-1_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_66-1_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_MV_546_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_66-1_0_2_load_0 | 0 | 0.0068102 | 0.0017068 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_66-1_0_2_load_3 | 2 | 0.0002807 | 7.0351e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_66-1_0_2_load_4 | 3 | 0.019331 | 0.0048447 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_66-1_0_2_load_33 | 9 | 0.0015793 | 0.00039582 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_66-1_0_2_load_32 | 11 | 0.0013652 | 0.00034215 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_66-1_0_2_load_36 | 12 | 0.012019 | 0.0030124 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_66-1_0_2_load_34 | 13 | 0.012937 | 0.0032423 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_66-1_0_2_load_42 | 14 | 0.00031756 | 7.9589e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_66-1_0_2_load_35 | 18 | 0.0042583 | 0.0010672 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_66-1_0_2_load_54 | 19 | 0.0034526 | 0.0008653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_66-1_0_2_load_50 | 20 | 0.00023832 | 5.9728e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_66-1_0_2_load_49 | 21 | 0.00034574 | 8.6651e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_66-1_0_2_load_31 | 22 | 0.00044787 | 0.00011225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_66-1_0_2_load_38 | 23 | 0.015846 | 0.0039715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_66-1_0_2_load_56 | 24 | 0.0031753 | 0.0007958 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_66-1_0_2_load_40 | 25 | 0.00030811 | 7.7219e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_66-1_0_2_load_52 | 27 | 0.011429 | 0.0028645 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_66-1_0_2_load_20 | 29 | 0.0010548 | 0.00026435 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_66-1_0_2_load_14 | 30 | 0.014344 | 0.0035949 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_66-1_0_2_load_18 | 34 | 0.0022128 | 0.00055459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_66-1_0_2_load_22 | 35 | 0.0084994 | 0.0021301 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_66-1_0_2_load_19 | 36 | 0.013064 | 0.0032741 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_66-1_0_2_load_23 | 37 | 0.00065797 | 0.0001649 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_66-1_0_2_load_55 | 43 | 0.0019622 | 0.00049178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_66-1_0_2_load_30 | 44 | 0.00083948 | 0.00021039 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_66-1_0_2_load_39 | 45 | 0.00063395 | 0.00015888 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_66-1_0_2_load_41 | 46 | 0.00022425 | 5.6203e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_66-1_0_2_load_43 | 47 | 0.00030811 | 7.7219e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_66-1_0_2_load_44 | 48 | 0.00031141 | 7.8047e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_66-1_0_2_load_45 | 49 | 0.00030811 | 7.7219e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_66-1_0_2_load_46 | 50 | 0.00064686 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_66-1_0_2_load_47 | 51 | 0.00031799 | 7.9696e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_66-1_0_2_load_48 | 52 | 0.00039731 | 9.9576e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_66-1_0_2_line_0 |  | 0 | 1 | 0.045161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_66-1_0_2_line_1 |  | 1 | 2 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_66-1_0_2_line_2 |  | 1 | 3 | 0.098952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_66-1_0_2_line_3 |  | 2 | 4 | 0.013086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_66-1_0_2_line_4 |  | 3 | 5 | 0.072202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_66-1_0_2_line_5 |  | 4 | 6 | 0.044724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_66-1_0_2_line_6 |  | 5 | 14 | 0.065681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_66-1_0_2_line_7 |  | 5 | 15 | 0.1495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_66-1_0_2_line_8 |  | 6 | 8 | 0.1227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_66-1_0_2_line_9 |  | 6 | 10 | 0.17176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_66-1_0_2_line_10 |  | 7 | 8 | 0.092602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_66-1_0_2_line_11 |  | 7 | 9 | 0.028388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_66-1_0_2_line_12 |  | 8 | 11 | 0.078361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_66-1_0_2_line_13 |  | 10 | 12 | 0.016243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_66-1_0_2_line_14 |  | 10 | 13 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_66-1_0_2_line_15 |  | 11 | 22 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_66-1_0_2_line_16 |  | 12 | 23 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_66-1_0_2_line_17 |  | 13 | 18 | 0.04978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_66-1_0_2_line_18 |  | 14 | 25 | 0.0012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_66-1_0_2_line_19 |  | 15 | 19 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_66-1_0_2_line_20 |  | 16 | 17 | 0.039533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_66-1_0_2_line_21 |  | 16 | 18 | 0.062212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_66-1_0_2_line_22 |  | 17 | 24 | 0.04461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_66-1_0_2_line_23 |  | 19 | 28 | 0.003556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_66-1_0_2_line_24 |  | 20 | 21 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_66-1_0_2_line_25 |  | 21 | 52 | 0.022323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_66-1_0_2_line_26 |  | 22 | 41 | 0.36659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_66-1_0_2_line_27 |  | 25 | 45 | 0.0079998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_66-1_0_2_line_28 |  | 26 | 27 | 0.009551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_66-1_0_2_line_29 |  | 26 | 28 | 0.026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_66-1_0_2_line_30 |  | 26 | 29 | 0.0042417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_66-1_0_2_line_31 |  | 29 | 36 | 0.027548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_66-1_0_2_line_32 |  | 30 | 31 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_66-1_0_2_line_33 |  | 31 | 34 | 0.069233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_66-1_0_2_line_34 |  | 31 | 32 | 0.050982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_66-1_0_2_line_35 |  | 32 | 33 | 0.084823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_66-1_0_2_line_36 |  | 33 | 35 | 0.024385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_66-1_0_2_line_37 |  | 33 | 36 | 0.032869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_66-1_0_2_line_38 |  | 37 | 38 | 0.17674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_66-1_0_2_line_39 |  | 38 | 39 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_66-1_0_2_line_40 |  | 39 | 43 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_66-1_0_2_line_41 |  | 40 | 41 | 0.18571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_66-1_0_2_line_42 |  | 40 | 42 | 0.36574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_66-1_0_2_line_43 |  | 40 | 43 | 0.090387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_66-1_0_2_line_44 |  | 42 | 44 | 0.0016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_66-1_0_2_line_45 |  | 45 | 46 | 0.002341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_66-1_0_2_line_46 |  | 46 | 47 | 0.0014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_66-1_0_2_line_47 |  | 47 | 48 | 0.01734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_66-1_0_2_line_48 |  | 48 | 49 | 0.001321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_66-1_0_2_line_49 |  | 49 | 50 | 0.0064946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_66-1_0_2_line_50 |  | 50 | 51 | 0.0063243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_66-1_0_2_line_51 |  | 51 | 52 | 0.029729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_66-1_0_2_trafo_4 | 0.63 MVA 20/0.4 kV | 53 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2685059.4974 | 1252454.6833 | 2685064.1344 | 1252456.5736 | 2685101.3049 | 1252471.7612
1 | 2685059.4974 | 1252454.6833 | 2685065.0508 | 1252441.1195 | 2685067.0879 | 1252436.1409
2 | 2685059.4974 | 1252454.6833 | 2685053.7467 | 1252468.3222 | 2685042.6825 | 1252494.5943 | 2685031.1108 | 1252522.049 | 2685030.306 | 1252523.9611 | 2685025.3471 | 1252536.0769 | 2685021.1433 | 1252545.8987
3 | 2685072.0436 | 1252424.0292 | 2685067.0879 | 1252436.1409
4 | 2684994.0723 | 1252612.7972 | 2685001.1858 | 1252592.5284 | 2685021.1433 | 1252545.8987
5 | 2685072.0436 | 1252424.0292 | 2685082.774 | 1252398.4195 | 2685083.7609 | 1252395.9207 | 2685085.6802 | 1252391.0334 | 2685086.9727 | 1252387.7495 | 2685088.9858 | 1252382.6412
6 | 2684994.0723 | 1252612.7972 | 2685055.5604 | 1252635.8886
7 | 2684994.0723 | 1252612.7972 | 2684992.4578 | 1252616.4324 | 2684984.3758 | 1252636.3537 | 2684984.2166 | 1252641.1328 | 2684989.998 | 1252645.8415 | 2685038.3558 | 1252662.8927 | 2685087.0737 | 1252680.6054 | 2685093.6258 | 1252686.2927
8 | 2685088.9858 | 1252382.6412 | 2685089.4089 | 1252381.5576 | 2685091.0851 | 1252377.3118 | 2685093.5078 | 1252371.5311 | 2685113.2432 | 1252381.5777 | 2685120.2287 | 1252384.4357 | 2685158.1615 | 1252398.0911 | 2685170.1805 | 1252402.0334 | 2685169.6618 | 1252400.8362 | 2685149.2534 | 1252383.5521
9 | 2684943.5783 | 1252316.3717 | 2684947.1828 | 1252310.8081 | 2684955.4661 | 1252316.331 | 2684994.5347 | 1252337.674 | 2684999.4883 | 1252341.7037 | 2685002.3215 | 1252346.2366 | 2685002.5121 | 1252350.3091 | 2685010.0752 | 1252353.9425 | 2685018.6726 | 1252358.0801 | 2685022.6677 | 1252360.0056 | 2685025.238 | 1252358.141 | 2685028.3373 | 1252357.2737 | 2685031.1538 | 1252357.1808 | 2685034.2615 | 1252357.837 | 2685035.6113 | 1252358.4457 | 2685047.6269 | 1252364.2114 | 2685064.7659 | 1252372.1634 | 2685079.8913 | 1252378.9634 | 2685088.9858 | 1252382.6412
10 | 2685149.2534 | 1252383.5521 | 2685169.6618 | 1252400.8362 | 2685170.1805 | 1252402.0334 | 2685176.8059 | 1252404.2081 | 2685197.8501 | 1252410.3486 | 2685203.0217 | 1252411.2792 | 2685207.163 | 1252410.3825 | 2685210.9428 | 1252407.8572 | 2685216.339 | 1252398.9503 | 2685221.0558 | 1252402.1205 | 2685225.8775 | 1252404.8141
11 | 2685225.8775 | 1252404.8141 | 2685221.4118 | 1252414.6129 | 2685217.7149 | 1252418.1957 | 2685212.2023 | 1252420.5071 | 2685205.7413 | 1252421.1615
12 | 2685149.2534 | 1252383.5521 | 2685148.6098 | 1252392.0937 | 2685158.0269 | 1252424.7648 | 2685163.4179 | 1252432.4815 | 2685168.1803 | 1252439.2995 | 2685174.2283 | 1252456.3214
13 | 2684943.5783 | 1252316.3717 | 2684943.8388 | 1252323.9923 | 2684951.34 | 1252328.2344
14 | 2684943.5783 | 1252316.3717 | 2684935.9457 | 1252321.7886 | 2684933.8657 | 1252325.5999
15 | 2685181.8156 | 1252478.7802 | 2685177.2981 | 1252464.961 | 2685174.2283 | 1252456.3214
16 | 2684967.8261 | 1252337.5576 | 2684951.34 | 1252328.2344
17 | 2684904.5926 | 1252352.3531 | 2684916.1959 | 1252357.9773 | 2684933.8657 | 1252325.5999
18 | 2685055.5604 | 1252635.8886 | 2685056.6873 | 1252636.3118
19 | 2685093.6258 | 1252686.2927 | 2685094.7838 | 1252692.3583 | 2685092.2453 | 1252700.428 | 2685084.0952 | 1252711.9247
20 | 2684845.7357 | 1252363.6278 | 2684847.1357 | 1252359.6782 | 2684847.9171 | 1252351.4944 | 2684845.2532 | 1252333.5649 | 2684848.6106 | 1252325.2178
21 | 2684848.6106 | 1252325.2178 | 2684904.5926 | 1252352.3531
22 | 2684845.7357 | 1252363.6278 | 2684832.5133 | 1252400.9889 | 2684833.2595 | 1252405.9108
23 | 2685082.0387 | 1252714.8256 | 2685084.0952 | 1252711.9247
24 | 2685145.5687 | 1252670.6387 | 2685161.8167 | 1252678.6555 | 2685166.4215 | 1252681.3346
25 | 2685145.5687 | 1252670.6387 | 2685144.9407 | 1252670.3289 | 2685124.8837 | 1252662.2502
26 | 2685294.7787 | 1252827.4805 | 2685283.6629 | 1252797.053 | 2685266.8756 | 1252743.8156 | 2685262.4668 | 1252729.2412 | 2685257.3787 | 1252715.1907 | 2685228.0441 | 1252620.2747 | 2685210.6545 | 1252566.3394 | 2685193.0791 | 1252513.2355 | 2685181.8156 | 1252478.7802
27 | 2685064.1764 | 1252639.1243 | 2685056.6873 | 1252636.3118
28 | 2685084.5253 | 1252739.7802 | 2685075.455 | 1252742.8523
29 | 2685082.0387 | 1252714.8256 | 2685079.6739 | 1252718.1609 | 2685079.577 | 1252722.2737 | 2685083.5578 | 1252736.7307 | 2685084.5253 | 1252739.7802
30 | 2685084.5253 | 1252739.7802 | 2685085.8088 | 1252743.823
31 | 2685094.1451 | 1252770.0797 | 2685085.8088 | 1252743.823
32 | 2685165.4757 | 1252756.9228 | 2685181.6357 | 1252763.4645
33 | 2685165.4757 | 1252756.9228 | 2685161.2092 | 1252744.5076 | 2685157.4086 | 1252727.5068 | 2685152.2436 | 1252720.3605 | 2685134.4103 | 1252721.9277 | 2685122.8013 | 1252725.2078
34 | 2685165.4757 | 1252756.9228 | 2685167.7916 | 1252765.3847 | 2685162.8431 | 1252785.6956 | 2685158.8968 | 1252806.6325
35 | 2685104.0915 | 1252801.4078 | 2685113.4123 | 1252830.775 | 2685153.0765 | 1252817.2457 | 2685158.8968 | 1252806.6325
36 | 2685104.0915 | 1252801.4078 | 2685127.2411 | 1252793.7442
37 | 2685104.0915 | 1252801.4078 | 2685094.1451 | 1252770.0797
38 | 2685460.0387 | 1252871.3728 | 2685468.0605 | 1252874.5353 | 2685478.1543 | 1252871.1339 | 2685493.3286 | 1252863.447 | 2685511.9922 | 1252847.2152 | 2685525.5358 | 1252834.3565 | 2685535.9573 | 1252815.0701 | 2685538.7976 | 1252803.3911 | 2685541.0675 | 1252794.1058 | 2685541.1814 | 1252785.1784 | 2685541.9032 | 1252773.3466 | 2685546.0521 | 1252763.5546 | 2685549.906 | 1252755.8933 | 2685552.3708 | 1252751.4033 | 2685547.6645 | 1252744.4078
39 | 2685449.9573 | 1252878.6218 | 2685453.2497 | 1252876.9124 | 2685460.0387 | 1252871.3728
40 | 2685449.9573 | 1252878.6218 | 2685433.2068 | 1252852.5206
41 | 2685294.7787 | 1252827.4805 | 2685300.4138 | 1252844.4078 | 2685301.2576 | 1252847.122 | 2685306.2926 | 1252863.2733 | 2685306.884 | 1252865.1722 | 2685309.2089 | 1252858.8564 | 2685322.9623 | 1252821.4484 | 2685339.4569 | 1252781.3222 | 2685370.9747 | 1252762.3286 | 2685383.2644 | 1252777.2725
42 | 2685220.3749 | 1252484.0393 | 2685305.3799 | 1252715.5262 | 2685323.9208 | 1252708.8548 | 2685331.245 | 1252723.7827 | 2685332.9428 | 1252725.8976 | 2685335.0603 | 1252726.6398 | 2685352.7989 | 1252732.1661 | 2685362.2113 | 1252743.0655 | 2685362.1963 | 1252747.2463 | 2685368.3715 | 1252751.8276 | 2685374.025 | 1252759.0923 | 2685370.9747 | 1252762.3286 | 2685383.2644 | 1252777.2725
43 | 2685383.2644 | 1252777.2725 | 2685390.5857 | 1252786.1069 | 2685433.2068 | 1252852.5206
44 | 2685220.3749 | 1252484.0393 | 2685218.8546 | 1252484.6484
45 | 2685064.1764 | 1252639.1243 | 2685066.368 | 1252639.9473
46 | 2685067.6938 | 1252640.4452 | 2685066.368 | 1252639.9473
47 | 2685083.9269 | 1252646.5414 | 2685067.6938 | 1252640.4452
48 | 2685083.9269 | 1252646.5414 | 2685085.1636 | 1252647.0058
49 | 2685085.1636 | 1252647.0058 | 2685091.2436 | 1252649.2891
50 | 2685097.1642 | 1252651.5126 | 2685091.2436 | 1252649.2891
51 | 2685097.1642 | 1252651.5126 | 2685112.8481 | 1252657.4025 | 2685124.8837 | 1252662.2502

## bus_geodata
| x | y | coords
0 | 2685101.3049 | 1252471.7612
1 | 2685059.4974 | 1252454.6833
2 | 2685067.0879 | 1252436.1409
3 | 2685021.1433 | 1252545.8987
4 | 2685072.0436 | 1252424.0292
5 | 2684994.0723 | 1252612.7972
6 | 2685088.9858 | 1252382.6412
7 | 2685225.8775 | 1252404.8141
8 | 2685149.2534 | 1252383.5521
9 | 2685205.7413 | 1252421.1615
10 | 2684943.5783 | 1252316.3717
11 | 2685174.2283 | 1252456.3214
12 | 2684951.34 | 1252328.2344
13 | 2684933.8657 | 1252325.5999
14 | 2685055.5604 | 1252635.8886
15 | 2685093.6258 | 1252686.2927
16 | 2684848.6106 | 1252325.2178
17 | 2684845.7357 | 1252363.6278
18 | 2684904.5926 | 1252352.3531
19 | 2685084.0952 | 1252711.9247
20 | 2685166.4215 | 1252681.3346
21 | 2685145.5687 | 1252670.6387
22 | 2685181.8156 | 1252478.7802
23 | 2684967.8261 | 1252337.5576
24 | 2684833.2595 | 1252405.9108
25 | 2685056.6873 | 1252636.3118
26 | 2685084.5253 | 1252739.7802
27 | 2685075.455 | 1252742.8523
28 | 2685082.0387 | 1252714.8256
29 | 2685085.8088 | 1252743.823
30 | 2685181.6357 | 1252763.4645
31 | 2685165.4757 | 1252756.9228
32 | 2685158.8968 | 1252806.6325
33 | 2685104.0915 | 1252801.4078
34 | 2685122.8013 | 1252725.2078
35 | 2685127.2411 | 1252793.7442
36 | 2685094.1451 | 1252770.0797
37 | 2685547.6645 | 1252744.4078
38 | 2685460.0387 | 1252871.3728
39 | 2685449.9573 | 1252878.6218
40 | 2685383.2644 | 1252777.2725
41 | 2685294.7787 | 1252827.4805
42 | 2685220.3749 | 1252484.0393
43 | 2685433.2068 | 1252852.5206
44 | 2685218.8546 | 1252484.6484
45 | 2685064.1764 | 1252639.1243
46 | 2685066.368 | 1252639.9473
47 | 2685067.6938 | 1252640.4452
48 | 2685083.9269 | 1252646.5414
49 | 2685085.1636 | 1252647.0058
50 | 2685091.2436 | 1252649.2891
51 | 2685097.1642 | 1252651.5126
52 | 2685124.8837 | 1252662.2502
53 | 2684994.0723 | 1252612.7972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1