## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_66-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_66-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_66-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_66-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_66-21_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_66-21_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_66-21_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_66-21_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_66-21_0_4_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_66-21_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_66-21_0_4_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_66-21_0_4_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_66-21_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_66-21_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_66-21_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_66-21_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_66-21_0_4_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_66-21_0_4_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_66-21_0_4_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_66-21_0_4_node_86 | 0.4 | n |  | TRUE
20 | bus_LV_66-21_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_66-21_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_66-21_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_66-21_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_66-21_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_66-21_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_66-21_0_4_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_66-21_0_4_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_66-21_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_66-21_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_66-21_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_66-21_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_66-21_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_66-21_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_66-21_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_66-21_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_66-21_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_66-21_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_66-21_0_4_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_66-21_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_66-21_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_66-21_0_4_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_66-21_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_66-21_0_4_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_66-21_0_4_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_66-21_0_4_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_66-21_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_66-21_0_4_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_66-21_0_4_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_66-21_0_4_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_66-21_0_4_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_66-21_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_66-21_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_66-21_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_66-21_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_66-21_0_4_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_66-21_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_66-21_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_66-21_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_66-21_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_66-21_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_66-21_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_66-21_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_66-21_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_66-21_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_66-21_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_66-21_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_66-21_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_66-21_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_66-21_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_66-21_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_66-21_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_66-21_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_66-21_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_66-21_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_66-21_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_66-21_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_66-21_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_66-21_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_66-21_0_4_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_66-21_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_66-21_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_66-21_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_66-21_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_66-21_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_66-21_0_4_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_66-21_0_4_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_66-21_0_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_66-21_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_MV_469_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_66-21_0_4_load_0 | 0 | 0.0040503 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_66-21_0_4_load_1 | 1 | 0.0040515 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_66-21_0_4_load_3 | 3 | 0.0072672 | 0.0018213 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_66-21_0_4_load_81 | 8 | 0.0016219 | 0.00040648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_66-21_0_4_load_78 | 11 | 0.037764 | 0.0094647 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_66-21_0_4_load_15 | 12 | 0.0041631 | 0.0010434 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_66-21_0_4_load_59 | 14 | 0.0061596 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_66-21_0_4_load_47 | 15 | 0.0050388 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_66-21_0_4_load_95 | 16 | 0.0021307 | 0.00053401 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_66-21_0_4_load_88 | 18 | 0.026676 | 0.0066856 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_66-21_0_4_load_86 | 19 | 0.025776 | 0.00646 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_66-21_0_4_load_13 | 23 | 0.0037871 | 0.00094913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_66-21_0_4_load_14 | 24 | 0.0029974 | 0.00075121 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_66-21_0_4_load_43 | 25 | 0.0018294 | 0.0004585 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_66-21_0_4_load_54 | 27 | 0.0068089 | 0.0017065 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_66-21_0_4_load_16 | 28 | 0.0081279 | 0.0020371 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_66-21_0_4_load_19 | 30 | 0.0063404 | 0.0015891 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_66-21_0_4_load_20 | 31 | 0.0064158 | 0.0016079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_66-21_0_4_load_22 | 34 | 0.0085689 | 0.0021476 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_66-21_0_4_load_42 | 36 | 0.002804 | 0.00070274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_66-21_0_4_load_60 | 37 | 0.0013893 | 0.00034819 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_66-21_0_4_load_33 | 39 | 0.0070431 | 0.0017652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_66-21_0_4_load_68 | 42 | 0.0071649 | 0.0017957 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_66-21_0_4_load_96 | 44 | 0.0060314 | 0.0015116 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_66-21_0_4_load_91 | 45 | 0.0063016 | 0.0015793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_66-21_0_4_load_23 | 47 | 0.0076739 | 0.0019233 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_66-21_0_4_load_24 | 48 | 0.0068167 | 0.0017084 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_66-21_0_4_load_25 | 49 | 0.0069556 | 0.0017432 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_66-21_0_4_load_26 | 50 | 0.0035726 | 0.00089538 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_66-21_0_4_load_27 | 51 | 0.0078886 | 0.0019771 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_66-21_0_4_load_31 | 52 | 0.0069783 | 0.0017489 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_66-21_0_4_load_29 | 55 | 0.0061309 | 0.0015365 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_66-21_0_4_load_30 | 56 | 0.0053102 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_66-21_0_4_load_49 | 57 | 0.0052834 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_66-21_0_4_load_44 | 58 | 0.0068999 | 0.0017293 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_66-21_0_4_load_50 | 59 | 0.0050817 | 0.0012736 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_66-21_0_4_load_48 | 60 | 0.0073702 | 0.0018471 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_66-21_0_4_load_38 | 61 | 0.0021656 | 0.00054274 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_66-21_0_4_load_41 | 62 | 0.0073861 | 0.0018511 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_66-21_0_4_load_53 | 63 | 0.003773 | 0.0009456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_66-21_0_4_load_51 | 64 | 0.004187 | 0.0010494 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_66-21_0_4_load_37 | 65 | 0.0027623 | 0.0006923 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_66-21_0_4_load_56 | 67 | 0.0070765 | 0.0017735 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_66-21_0_4_load_55 | 69 | 0.0076463 | 0.0019163 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_66-21_0_4_load_52 | 70 | 0.0048455 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_66-21_0_4_load_57 | 71 | 0.00039151 | 9.8121e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_66-21_0_4_load_58 | 72 | 0.00024643 | 6.176e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_66-21_0_4_load_71 | 73 | 0.0012691 | 0.00031806 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_66-21_0_4_load_65 | 75 | 0.0015566 | 0.00039012 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_66-21_0_4_load_73 | 76 | 0.00071372 | 0.00017888 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_66-21_0_4_load_80 | 78 | 0.0032781 | 0.00082156 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_66-21_0_4_load_90 | 79 | 0.0025484 | 0.00063869 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_66-21_0_4_load_85 | 81 | 0.024002 | 0.0060154 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_66-21_0_4_load_76 | 82 | 0.00072547 | 0.00018182 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_66-21_0_4_load_77 | 83 | 0.0015818 | 0.00039643 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_66-21_0_4_load_89 | 84 | 0.0015963 | 0.00040008 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_66-21_0_4_load_93 | 85 | 0.011129 | 0.0027893 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_66-21_0_4_load_94 | 86 | 0.0005592 | 0.00014015 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_66-21_0_4_load_92 | 87 | 0.0039869 | 0.0009992 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_66-21_0_4_line_0 |  | 0 | 1 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_66-21_0_4_line_1 |  | 0 | 2 | 0.099512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_66-21_0_4_line_2 |  | 1 | 3 | 0.025632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_66-21_0_4_line_3 |  | 2 | 4 | 0.044857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_66-21_0_4_line_4 |  | 2 | 5 | 0.046693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_66-21_0_4_line_5 |  | 4 | 12 | 0.085555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_66-21_0_4_line_6 |  | 5 | 13 | 0.087785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_66-21_0_4_line_7 |  | 5 | 14 | 0.023937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_66-21_0_4_line_8 |  | 6 | 7 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_66-21_0_4_line_9 |  | 6 | 8 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_66-21_0_4_line_10 |  | 7 | 16 | 0.002916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_66-21_0_4_line_11 |  | 8 | 21 | 0.035366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_66-21_0_4_line_12 |  | 9 | 10 | 0.00637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_66-21_0_4_line_13 |  | 9 | 11 | 0.029805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_66-21_0_4_line_14 |  | 10 | 15 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_66-21_0_4_line_15 |  | 10 | 25 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_66-21_0_4_line_16 |  | 11 | 26 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_66-21_0_4_line_17 |  | 12 | 24 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_66-21_0_4_line_18 |  | 13 | 15 | 0.02433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_66-21_0_4_line_19 |  | 14 | 27 | 0.028923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_66-21_0_4_line_20 |  | 17 | 18 | 0.028595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_66-21_0_4_line_21 |  | 17 | 19 | 0.028589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_66-21_0_4_line_22 |  | 19 | 88 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_66-21_0_4_line_23 |  | 20 | 21 | 0.038906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_66-21_0_4_line_24 |  | 20 | 22 | 0.019926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_66-21_0_4_line_25 |  | 22 | 76 | 0.022797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_66-21_0_4_line_26 |  | 23 | 24 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_66-21_0_4_line_27 |  | 25 | 58 | 0.023566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_66-21_0_4_line_28 |  | 26 | 68 | 0.046463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_66-21_0_4_line_29 |  | 26 | 66 | 0.020818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_66-21_0_4_line_30 |  | 27 | 70 | 0.033926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_66-21_0_4_line_31 |  | 28 | 29 | 0.018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_66-21_0_4_line_32 |  | 29 | 30 | 0.010387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_66-21_0_4_line_33 |  | 29 | 31 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_66-21_0_4_line_34 |  | 30 | 35 | 0.027421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_66-21_0_4_line_35 |  | 31 | 36 | 0.0014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_66-21_0_4_line_36 |  | 32 | 33 | 0.004044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_66-21_0_4_line_37 |  | 32 | 34 | 0.02378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_66-21_0_4_line_38 |  | 33 | 37 | 0.016875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_66-21_0_4_line_39 |  | 34 | 38 | 0.023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_66-21_0_4_line_40 |  | 35 | 39 | 0.0082838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_66-21_0_4_line_41 |  | 36 | 40 | 0.023583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_66-21_0_4_line_42 |  | 37 | 46 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_66-21_0_4_line_43 |  | 38 | 41 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_66-21_0_4_line_44 |  | 38 | 42 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_66-21_0_4_line_45 |  | 40 | 62 | 0.031084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_66-21_0_4_line_46 |  | 40 | 65 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_66-21_0_4_line_47 |  | 41 | 43 | 0.04712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_66-21_0_4_line_48 |  | 41 | 44 | 0.10413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_66-21_0_4_line_49 |  | 43 | 45 | 0.034265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_66-21_0_4_line_50 |  | 45 | 79 | 0.0044095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_66-21_0_4_line_51 |  | 46 | 75 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_66-21_0_4_line_52 |  | 47 | 48 | 0.0048977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_66-21_0_4_line_53 |  | 47 | 49 | 0.026163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_66-21_0_4_line_54 |  | 48 | 50 | 0.0038895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_66-21_0_4_line_55 |  | 49 | 51 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_66-21_0_4_line_56 |  | 50 | 52 | 0.031261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_66-21_0_4_line_57 |  | 51 | 53 | 0.02734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_66-21_0_4_line_58 |  | 52 | 54 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_66-21_0_4_line_59 |  | 53 | 55 | 0.0070077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_66-21_0_4_line_60 |  | 53 | 56 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_66-21_0_4_line_61 |  | 54 | 60 | 0.040182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_66-21_0_4_line_62 |  | 54 | 61 | 0.001636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_66-21_0_4_line_63 |  | 55 | 57 | 0.031922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_66-21_0_4_line_64 |  | 56 | 58 | 0.006145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_66-21_0_4_line_65 |  | 57 | 59 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_66-21_0_4_line_66 |  | 61 | 65 | 0.019669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_66-21_0_4_line_67 |  | 63 | 64 | 0.026742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_66-21_0_4_line_68 |  | 64 | 70 | 0.015016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_66-21_0_4_line_69 |  | 66 | 67 | 0.0022587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_66-21_0_4_line_70 |  | 67 | 69 | 0.026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_66-21_0_4_line_71 |  | 68 | 81 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_66-21_0_4_line_72 |  | 68 | 82 | 0.0035837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_66-21_0_4_line_73 |  | 69 | 71 | 0.025572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_66-21_0_4_line_74 |  | 71 | 72 | 0.025439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_66-21_0_4_line_75 |  | 72 | 73 | 0.020475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_66-21_0_4_line_76 |  | 73 | 74 | 0.0078284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_66-21_0_4_line_77 |  | 74 | 75 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_66-21_0_4_line_78 |  | 74 | 77 | 0.013036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_66-21_0_4_line_79 |  | 76 | 80 | 0.032873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_66-21_0_4_line_80 |  | 77 | 78 | 0.031216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_66-21_0_4_line_81 |  | 79 | 87 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_66-21_0_4_line_82 |  | 80 | 83 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_66-21_0_4_line_83 |  | 81 | 88 | 0.024238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_66-21_0_4_line_84 |  | 83 | 84 | 0.032554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_66-21_0_4_line_85 |  | 84 | 88 | 0.039011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_66-21_0_4_line_86 |  | 85 | 86 | 0.040679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_66-21_0_4_line_87 |  | 85 | 87 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_66-21_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 89 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2685050.3163 | 1253926.707 | 2685046.4525 | 1253920.5611 | 2685040.5041 | 1253912.9432
1 | 2685085.7997 | 1254018.8674 | 2685083.3311 | 1254006.3558 | 2685080.1299 | 1253991.7988 | 2685073.331 | 1253971.886 | 2685065.7231 | 1253953.6629 | 2685056.78 | 1253936.9885 | 2685050.3163 | 1253926.707
2 | 2685024.6179 | 1253892.8281 | 2685030.8045 | 1253900.5213 | 2685040.5041 | 1253912.9432
3 | 2685056.1085 | 1254028.3594 | 2685067.2095 | 1254031.8992 | 2685074.9661 | 1254033.99 | 2685081.2859 | 1254034.7369 | 2685083.3185 | 1254034.5326 | 2685082.067 | 1254026.5863 | 2685083.3084 | 1254025.2587 | 2685084.8749 | 1254022.3123 | 2685085.7997 | 1254018.8674
4 | 2685085.7997 | 1254018.8674 | 2685094.1596 | 1254017.3085 | 2685087.0295 | 1253986.8497 | 2685093.681 | 1253984.9882
5 | 2685056.1085 | 1254028.3594 | 2685050.6551 | 1254025.0786 | 2685045.5563 | 1254019.7013 | 2684998.7656 | 1253965.2673
6 | 2685093.681 | 1253984.9882 | 2685104.2644 | 1253982.0269 | 2685143.6754 | 1253999.2063 | 2685153.3616 | 1253966.8209
7 | 2685093.681 | 1253984.9882 | 2685087.3572 | 1253968.2514 | 2685084.7351 | 1253962.8045
8 | 2685395.7671 | 1253857.7496 | 2685398.8077 | 1253855.6696 | 2685404.0582 | 1253852.087 | 2685412.0263 | 1253843.7177
9 | 2685395.7671 | 1253857.7496 | 2685387.8756 | 1253842.502 | 2685386.9675 | 1253841.0634
10 | 2685412.0263 | 1253843.7177 | 2685413.48 | 1253841.1899
11 | 2685364.0973 | 1253814.4158 | 2685370.3173 | 1253819.4759 | 2685380.9339 | 1253831.5047 | 2685386.9675 | 1253841.0634
12 | 2685168.9573 | 1253921.2327 | 2685174.7668 | 1253923.8849
13 | 2685174.7668 | 1253923.8849 | 2685177.6567 | 1253915.4978 | 2685194.5542 | 1253903.1399
14 | 2685168.9573 | 1253921.2327 | 2685160.3068 | 1253943.503
15 | 2685168.9573 | 1253921.2327 | 2685156.0073 | 1253912.8817
16 | 2685209.4798 | 1253890.0473 | 2685203.7059 | 1253896.4469 | 2685194.5542 | 1253903.1399
17 | 2684998.7656 | 1253965.2673 | 2684988.8962 | 1253953.7857
18 | 2685153.3616 | 1253966.8209 | 2685160.3068 | 1253943.503
19 | 2685084.7351 | 1253962.8045 | 2685078.4041 | 1253949.6531 | 2685071.159 | 1253937.2924
20 | 2685317.0757 | 1253948.2956 | 2685307.4467 | 1253951.515 | 2685291.9424 | 1253961.5019
21 | 2685317.0757 | 1253948.2956 | 2685313.1233 | 1253944.5359 | 2685301.3899 | 1253924.5984
22 | 2685287.2727 | 1253909.9819 | 2685298.511 | 1253919.7066 | 2685301.3899 | 1253924.5984
23 | 2685336.5867 | 1253789.267 | 2685335.637 | 1253791.2882 | 2685364.0973 | 1253814.4158
24 | 2685319.9701 | 1253783.0674 | 2685335.637 | 1253791.2882 | 2685336.5867 | 1253789.267
25 | 2685319.9701 | 1253783.0674 | 2685309.7638 | 1253803.4522
26 | 2684973.1121 | 1253935.4232 | 2684988.8962 | 1253953.7857
27 | 2685156.0073 | 1253912.8817 | 2685143.6135 | 1253904.8893 | 2685137.3179 | 1253898.7147
28 | 2685209.4798 | 1253890.0473 | 2685220.0586 | 1253896.3264 | 2685243.8625 | 1253895.4127 | 2685253.7655 | 1253892.0304
29 | 2685209.4798 | 1253890.0473 | 2685192.0256 | 1253878.6209
30 | 2685071.159 | 1253937.2924 | 2685067.6441 | 1253931.2958 | 2685052.1421 | 1253909.2201
31 | 2685214.7593 | 1253698.8781 | 2685231.4027 | 1253706.7375
32 | 2685214.7593 | 1253698.8781 | 2685219.563 | 1253689.6689
33 | 2685214.7593 | 1253698.8781 | 2685207.3671 | 1253713.05
34 | 2685230.1053 | 1253664.4172 | 2685224.172 | 1253680.8331 | 2685219.563 | 1253689.6689
35 | 2685207.3671 | 1253713.05 | 2685206.6853 | 1253714.357
36 | 2685275.0391 | 1253727.3449 | 2685271.3742 | 1253725.613
37 | 2685271.3742 | 1253725.613 | 2685281.7279 | 1253704.2051
38 | 2685275.0391 | 1253727.3449 | 2685267.7511 | 1253742.5654
39 | 2685291.9142 | 1253683.1431 | 2685281.7279 | 1253704.2051
40 | 2685230.1053 | 1253664.4172 | 2685238.0962 | 1253666.6008
41 | 2685195.7789 | 1253735.2661 | 2685206.6853 | 1253714.357
42 | 2685262.7395 | 1253753.0318 | 2685267.7511 | 1253742.5654
43 | 2685291.9142 | 1253683.1431 | 2685296.9086 | 1253672.7293
44 | 2685291.9142 | 1253683.1431 | 2685273.8342 | 1253676.3666 | 2685273.5836 | 1253676.2981
45 | 2685195.7789 | 1253735.2661 | 2685172.0988 | 1253730.6777 | 2685165.1441 | 1253731.0302
46 | 2685195.7789 | 1253735.2661 | 2685186.3632 | 1253754.0732
47 | 2685296.9086 | 1253672.7293 | 2685300.295 | 1253674.4127 | 2685303.8311 | 1253676.1761 | 2685313.6131 | 1253680.6981 | 2685303.381 | 1253707.4155
48 | 2685296.9086 | 1253672.7293 | 2685316.8935 | 1253631.0966 | 2685312.1929 | 1253622.1666 | 2685264.662 | 1253616.5872
49 | 2685303.381 | 1253707.4155 | 2685313.2676 | 1253708.3364 | 2685335.986 | 1253717.061
50 | 2685340.1024 | 1253718.6418 | 2685335.986 | 1253717.061
51 | 2685262.7395 | 1253753.0318 | 2685254.0253 | 1253769.2173
52 | 2685148.6581 | 1253823.3221 | 2685151.0345 | 1253819.0395
53 | 2685135.964 | 1253846.199 | 2685148.6581 | 1253823.3221
54 | 2685152.9217 | 1253815.6385 | 2685151.0345 | 1253819.0395
55 | 2685135.964 | 1253846.199 | 2685134.6833 | 1253848.507 | 2685130.7528 | 1253855.0016
56 | 2685168.0893 | 1253788.3039 | 2685152.9217 | 1253815.6385
57 | 2685116.5971 | 1253878.3921 | 2685130.7528 | 1253855.0016
58 | 2685176.5832 | 1253772.9965 | 2685168.0893 | 1253788.3039
59 | 2685116.5971 | 1253878.3921 | 2685111.9879 | 1253873.1136
60 | 2685116.5971 | 1253878.3921 | 2685132.9308 | 1253894.4118
61 | 2685176.5832 | 1253772.9965 | 2685197.7532 | 1253783.6868 | 2685199.5813 | 1253785.1141 | 2685200.287 | 1253786.4142 | 2685200.1805 | 1253788.0472 | 2685199.5997 | 1253789.6067 | 2685195.2081 | 1253797.8804
62 | 2685176.5832 | 1253772.9965 | 2685177.3776 | 1253771.5662
63 | 2685090.9919 | 1253849.0687 | 2685111.9879 | 1253873.1136
64 | 2685132.9308 | 1253894.4118 | 2685137.3179 | 1253898.7147
65 | 2685090.9919 | 1253849.0687 | 2685083.4796 | 1253840.4655
66 | 2685177.3776 | 1253771.5662 | 2685179.6895 | 1253767.4035 | 2685186.3632 | 1253754.0732
67 | 2685042.697 | 1253897.5477 | 2685026.1307 | 1253877.1031 | 2685025.8629 | 1253876.7696
68 | 2685042.697 | 1253897.5477 | 2685052.0574 | 1253909.0996 | 2685052.1421 | 1253909.2201
69 | 2685192.0256 | 1253878.6209 | 2685193.1007 | 1253876.6345
70 | 2685205.8923 | 1253853.437 | 2685202.2732 | 1253859.6872 | 2685193.1007 | 1253876.6345
71 | 2685253.7655 | 1253892.0304 | 2685263.2745 | 1253906.5783
72 | 2685253.7655 | 1253892.0304 | 2685256.2847 | 1253889.4815
73 | 2685205.8923 | 1253853.437 | 2685218.7062 | 1253831.3074
74 | 2685231.4537 | 1253809.2924 | 2685218.7062 | 1253831.3074
75 | 2685231.4537 | 1253809.2924 | 2685241.7137 | 1253791.5733
76 | 2685245.6364 | 1253784.7986 | 2685241.7137 | 1253791.5733
77 | 2685245.6364 | 1253784.7986 | 2685254.0253 | 1253769.2173
78 | 2685245.6364 | 1253784.7986 | 2685256.8121 | 1253791.5646
79 | 2685295.0467 | 1253832.8463 | 2685309.7638 | 1253803.4522
80 | 2685256.8121 | 1253791.5646 | 2685244.7065 | 1253811.6501 | 2685241.1876 | 1253818.5712
81 | 2685340.1024 | 1253718.6418 | 2685342.03 | 1253736.194
82 | 2685295.0467 | 1253832.8463 | 2685300.8032 | 1253848.9557
83 | 2685287.2727 | 1253909.9819 | 2685263.2745 | 1253906.5783
84 | 2685311.7576 | 1253879.6113 | 2685311.7576 | 1253879.6113 | 2685300.8032 | 1253848.9557
85 | 2685287.2727 | 1253909.9819 | 2685311.7576 | 1253879.6113
86 | 2685357.8223 | 1253744.0942 | 2685367.1942 | 1253748.7883 | 2685366.9997 | 1253752.8553 | 2685371.6989 | 1253757.6822 | 2685373.1317 | 1253762.4509 | 2685372.9239 | 1253776.8589
87 | 2685357.8223 | 1253744.0942 | 2685342.03 | 1253736.194

## bus_geodata
| x | y | coords
0 | 2685050.3163 | 1253926.707
1 | 2685040.5041 | 1253912.9432
2 | 2685085.7997 | 1254018.8674
3 | 2685024.6179 | 1253892.8281
4 | 2685056.1085 | 1254028.3594
5 | 2685093.681 | 1253984.9882
6 | 2685395.7671 | 1253857.7496
7 | 2685412.0263 | 1253843.7177
8 | 2685386.9675 | 1253841.0634
9 | 2685174.7668 | 1253923.8849
10 | 2685168.9573 | 1253921.2327
11 | 2685194.5542 | 1253903.1399
12 | 2684998.7656 | 1253965.2673
13 | 2685153.3616 | 1253966.8209
14 | 2685084.7351 | 1253962.8045
15 | 2685160.3068 | 1253943.503
16 | 2685413.48 | 1253841.1899
17 | 2685317.0757 | 1253948.2956
18 | 2685291.9424 | 1253961.5019
19 | 2685301.3899 | 1253924.5984
20 | 2685336.5867 | 1253789.267
21 | 2685364.0973 | 1253814.4158
22 | 2685319.9701 | 1253783.0674
23 | 2684973.1121 | 1253935.4232
24 | 2684988.8962 | 1253953.7857
25 | 2685156.0073 | 1253912.8817
26 | 2685209.4798 | 1253890.0473
27 | 2685071.159 | 1253937.2924
28 | 2685231.4027 | 1253706.7375
29 | 2685214.7593 | 1253698.8781
30 | 2685219.563 | 1253689.6689
31 | 2685207.3671 | 1253713.05
32 | 2685271.3742 | 1253725.613
33 | 2685275.0391 | 1253727.3449
34 | 2685281.7279 | 1253704.2051
35 | 2685230.1054 | 1253664.4172
36 | 2685206.6853 | 1253714.357
37 | 2685267.7511 | 1253742.5654
38 | 2685291.9142 | 1253683.1431
39 | 2685238.0962 | 1253666.6008
40 | 2685195.7789 | 1253735.2661
41 | 2685296.9086 | 1253672.7293
42 | 2685273.5836 | 1253676.2981
43 | 2685303.381 | 1253707.4155
44 | 2685264.662 | 1253616.5872
45 | 2685335.986 | 1253717.061
46 | 2685262.7395 | 1253753.0318
47 | 2685148.6581 | 1253823.3221
48 | 2685151.0345 | 1253819.0395
49 | 2685135.964 | 1253846.199
50 | 2685152.9217 | 1253815.6385
51 | 2685130.7528 | 1253855.0016
52 | 2685168.0893 | 1253788.3039
53 | 2685116.5971 | 1253878.3921
54 | 2685176.5832 | 1253772.9965
55 | 2685111.9879 | 1253873.1136
56 | 2685132.9308 | 1253894.4118
57 | 2685090.9919 | 1253849.0687
58 | 2685137.3179 | 1253898.7147
59 | 2685083.4796 | 1253840.4655
60 | 2685195.2081 | 1253797.8804
61 | 2685177.3776 | 1253771.5662
62 | 2685165.1441 | 1253731.0302
63 | 2685025.8629 | 1253876.7696
64 | 2685042.697 | 1253897.5477
65 | 2685186.3632 | 1253754.0732
66 | 2685192.0256 | 1253878.6209
67 | 2685193.1007 | 1253876.6345
68 | 2685253.7655 | 1253892.0304
69 | 2685205.8923 | 1253853.437
70 | 2685052.1421 | 1253909.2201
71 | 2685218.7062 | 1253831.3074
72 | 2685231.4537 | 1253809.2924
73 | 2685241.7137 | 1253791.5733
74 | 2685245.6364 | 1253784.7986
75 | 2685254.0253 | 1253769.2173
76 | 2685309.7638 | 1253803.4522
77 | 2685256.8121 | 1253791.5646
78 | 2685241.1876 | 1253818.5712
79 | 2685340.1024 | 1253718.6418
80 | 2685295.0467 | 1253832.8463
81 | 2685263.2745 | 1253906.5783
82 | 2685256.2847 | 1253889.4815
83 | 2685300.8032 | 1253848.9557
84 | 2685311.7576 | 1253879.6113
85 | 2685357.8223 | 1253744.0942
86 | 2685372.9239 | 1253776.8589
87 | 2685342.03 | 1253736.194
88 | 2685287.2727 | 1253909.9819
89 | 2685192.0256 | 1253878.6209

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1